SPECIFICATIONS

REPLACEMENT OF AIR CONDITIONERS FOR THE ARC BIOTECHNOLOGY PLATFORM

INTRODUCTION

The Biotechnology Platform (BTP) would like to obtain offers for replacement of currently existing under ceiling air conditioners with new split unit ones. The unit houses various technologies and sensitive equipment which require controlled and maintained temperatures for their optimal operation and to prevent equipment and data/analyses losses. Therefore, we request new mid wall air conditioners with locally available parts and components to replace the current existing ones. The air conditioners should be user-friendly, reliable, secure and a 1-year warranty. The old air conditioning units and its tubing will remain property of the ARC.

MANDATORY ACTIONS REQUIRED

- Suppliers are required to complete all items in Table 1 - Table of Compliance and Details to offer. Information should be provided in every column for all line items detailing compliance and details you offer (not our request). Any columns left empty will constitute an incomplete and non-compliant quotation.

- Suppliers are required to supply product information brochures as evidence for the specifications on offer with product details clearly listed.

Table 1. Table of Compliance and Details to Offer: Mandatory specifications

|  | Feature/Specification | Quantity | Comply (Y/N) | Details on Offer |
| --- | --- | --- | --- | --- |
|  | General |  |  |  |
| 1 | Supply, deliver and install (if electrical work is needed) new split unit mid wall air conditioners at the ARC Biotechnology Platform, Onderstepoort Campus, 100 Old Soutpan Road, Pretoria. | 1 |  |  |
| 2 | Provide a detailed, itemised quote that includes all costs for installing new split unit mid wall air conditioners that adheres to the requirements as listed within this specification. | 1 |  |  |
| 3 | Provide specification sheets of all the air conditioners models provided in the quotation. |  |  |  |
| 4 | Provide details on the operational lifespan of the units (in years) and that of all components, if different to the whole system. | All systems |  |  |
| 5 | Local technical support is a requirement. Provide details of the location of air conditioners components that are easily available within RSA. | 1 |  |  |
| 6 | A minimum one-year warranty is required. | 1yr min |  |  |
| 7 | The validity of the quotations must be indicated. |  |  |  |
| 8 | Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc. |  |  |  |
|  | Split Unit Air Conditioners specifications |  |  |  |
| 7 | 24000 BTU Air conditioners Mid Wall 24000 Btu/Hr Inverter. Eco-friendly R410A Gas Inverter efficiency with an A+ Energy Grade - Filter with antibacterial coating - Noise level Indoor High (41-46 dBA) / Low (26-30 dBA) - Net Dimension (Indoor, WxHxD) 1055 x 299 x 215 mm Provides both Cooling and Heating New piping to replace old piping | 5 units |  |  |
| 8 | 18000 BTU Air conditioners Mid Wall 18000 Btu/Hr Inverter Eco-friendly R410A Gas Inverter efficiency with an A+ Energy Grade - Filter with antibacterial coating - Noise level Indoor High (39-43 dBA) / Low (25-29 dBA) - Net Dimension (Indoor, WxHxD) 1055 x 299 x 215 mm Provides both Cooling and Heating New piping to replace old piping | 4 units |  |  |
| 9 | Inclusive of Warranty and Call Out for 12 months if needed. |  |  |  |

The ARC retains the right to add or reduce the number of units from the order to align with the available budget.