BLUE RA4 paP—0-]Q

## REQUEST FOR QUOTATION FOR GOODS AND SERVICES

Enquiries:

ONDERSTEPOORT BIOLOGICAL PRODUCTS LTD

PRIVATE BAG X7, ONDERSTEPOORT 0110

To:

Supplier:

Tel:

Fax:

Email:

From:

Date: 4 June 2024

Tel:   012 522 1500

Fax:

Email: purchasing@obpvaccines.co.za

Ms. Mr, Dr.………………….............................. .

Kindly provide the quotation for the following:  OBP 138/2024/25

Site briefing (inspection of forklift)

Date: 10th June 2024

Time: 11H00

Place: Onderstepoort Biological Products (OBP)

Address: 100 Old Soutpan Road

Onderstepoort

Pretoria

0110

| Compulsory Document Requirements | Yes/No |
| --- | --- |
| CSD Report (With a Tax Compliant status that is current) |  |
| Declarations SBD4 (Completed, signed & submitted) |  |
| Certified forklift service or repairs dealers or workshop |  |

NB: Please note that if any of the above requirements is not submitted with the quote it will be an immediate disqualification.

| Quantity | Product/Item Code | Specification |
| --- | --- | --- |
| To appoint a supplier to inspect and quote to repair a BATTERY-OPERATED forklift: |  |  |
| 1 | Repair of a battery-operated forklift. | - Rechargeable Battery - Load Capacity 1500Kg. - Model: CPD12TVE - Serial No: 2214004 - Self-Weight: 2100KG - Year :2012 |
| Requirements from the supplier (To be used to select the contractor) - Correct quotation and competency to deliver. - Lead time maximum 10 days after issuing of an order. - Capital to deliver on the scope. |  |  |

SBD 4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

………………………………………………………………………………

………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read, and I understand the contents of this disclosure.

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect.

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement, or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements, or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

---------------------------------                           ---------------------------------------

Position 	Name of bidder

Terms and Conditions:

-Submission should be no later than           (17 June 2024, 15H00)

-Please indicate your offer validity and lead time:

-All prices must be VAT exclusive, (Vat vendor please indicate as such) if no indication, prices will be evaluated as exclusive

-Quotation must be on a company letter head and strictly on a PDF format

-Quotations sent on Word or Excel format will not be accepted

-Quotations must be emailed back to: purchasing@obpvaccines.co.za

If no reply after 14 days of closing date your RFQ was unsuccessfully

-Orders above 30K will be BEE evaluated

-Please indicate if you are unable to quote and state the reason why

-Please note that fluctuations in the exchange rate (where applicable) will not be for the account of OBP.

-Payment terms:  30 days after statement

Bidders must be registered on CSD (Central Supplier Data base National Treasury) and be tax complaint

I agree that the offer herein shall remain binding upon me and open for acceptance by OBP during the validity period indicated.

Signature                                                                                                     Date

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.