Mini Prof Repair and Calibration

The following mini-profilers need to be repaired as guided by (but not limited to) the outlined observations from the engineering team. The service provider is appointed to make the mini-profilers functional. The serial numbers of the profilers and specific observations are noted below:

# Serial No:  131-1319

- Assess and refurbish as necessary:

- Digital Encoder (inner)

- Digital Encoder (outer)

- Litton brush block

- Litton slip ring with V-groove

- Litton extension for MiniProf wheel

- MiniProf printed circuit board

- Reference pins

- MiniProf Service & Calibration

- Additional repairs:

# Serial No:  131-1393

- Assess and refurbish as necessary:

- Digital Encoder (inner)

- Digital Encoder (outer)

- Litton brush block

- Litton slip ring with V-groove

- Litton extension for MiniProf wheel

- MiniProf printed circuit board

- Reference pins

- MiniProf Service & Calibration

- Additional repairs:

  - Cable connector previously damaged and repaired –USB power short circuit

# Serial No:  131-1395

- Assess and refurbish as necessary:

- Digital Encoder (inner)

- Digital Encoder (outer)

- Litton brush block

- Litton slip ring with V-groove

- Litton extension for MiniProf wheel

- MiniProf printed circuit board

- Reference pins

- MiniProf Service & Calibration

- Additional repairs:

  - N/A

# Serial No:  131-1706

- Assess and refurbish as necessary:

- Digital Encoder (inner)

- Digital Encoder (outer)

- Litton brush block

- Litton slip ring with V-groove

- Litton extension for MiniProf wheel

- MiniProf printed circuit board

- Reference pins

- MiniProf Service & Calibration

- Additional repairs:

  - N/A

# Serial No:  162-2138

- Assess and refurbish as necessary:

- Digital Encoder (inner)

- Digital Encoder (outer)

- Litton brush block

- Litton slip ring with V-groove

- Litton extension for MiniProf wheel

- MiniProf printed circuit board

- Reference pins

- Battery

- MiniProf Service & Calibration

- Additional repairs:

  - N/A

# Pictorials

|  | Digital encoder and printed circuit board |
| --- | --- |
|  | MiniProf printed circuit board |
|  | Reference pin |
|  | Magnetic wheel |
|  | Missing connector and screws |