{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":19,"n_cols":6,"rows_kept":19}
[null,null,"Pricing Schedule Automated 3D Scanner (Super Scanner)"]
["Item","Part Number","Description","Qty","Unit Price","Total Price"]
[1,null,"ScanBox 8195 complete with Atos 5X Sensor Heads",1]
[2,null,"Linear Rail",2]
[3,null,"Power Supply",2]
[4,null,"ATOS 5X Sensor",2]
[5,null,"MV1000 for ATOS 5X",2]
[6,null,"HyperScale 1m",2]
[7,null,"Magnetic Holder",2]
[8,null,"Thermometer",2]
[9,null,"Plus 45M (3000) for ATOS 5/5X",2]
[10,null,"4.0m CFK Scalebar Set 40x20mm",1]
[11,null,"2.0m CFK Scalebar Set",1]
[12,null,"Reference Cubes","4 sets"]
[13,null,"Internal Dongle (62601)",2]
[]
[null,null,"SUB-TOTAL",null,null,{"$f":"F3+F4+F5+F6","v":{"v":0,"d":"R0.00"}}]
[null,null,"VALUE ADDED TAX @ 15 %",null,null,{"$f":"F17*0.15","v":{"v":0,"d":"R0.00"}}]
[null,null,"TOTAL COST",null,null,{"$f":"F17+F18","v":{"v":0,"d":"R0.00"}}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}