# Sentech Content and Media Operations IP Managed Switched Outlet PDU

# Project Overview:

Sentech  Content and Media Operations require IP Managed Switched Outlets PDU to power the new EFC Racks.

# Specifications:

The following are the specifications for the PDUs that will be installed:

• Power Distribution Units (PDUs): 4  x units of IP Managed Switched Outlet PDUs, with minimum of 20 Switched Power Outlets(IEC) per PDU.

Note: Each PDU should be Managed by Web Browser or Application and terminate on 32A 2P plus earth Industrial Plug.

# Scope of Work:

The scope of work for this project includes several key activities:

- Installation of PDUs supplied.

- On- Site Demonstration of how the PDUs IP Address is configured

- On- Site Demonstration of how the PDUs power outlets are switched individually  remotely(Web Browser or Application)

- Provide full documentation of the PDUs, Datasheets and Manuals

- Perform User Acceptance Tests that will demonstrate all the Mandatory Criteria Items 1 to 6.

Administrative Compliance Before Site Handover:

- Completion of OHS/Safety file spec & sect 37 agreement to be provided

- National Key Point Security Clearance of the person(s) for on-site for installations