| TENDER NUMBER | NCDOH/RFQ/012/CONTR-2025-2026 |
| --- | --- |
| DEPARTMENT | NOTHERN CAPE – HEALTH |
| TENDER TYPE | REQUEST FOR BID (OPEN TENDER) |
| PROVINCE | NORTHERN CAPE |
| ADVERT DATE | Tuesday, 07 July 2026 |
| COMPULSORY BRIEFING SESSION DATE | Monday, 13 July 2026 @ 10:00 |
| BRIEFING VENUE | Lyndrust Auditorium Robert Mangaliso Sobukwe Hospital Complex. 144 Du Toitspan Rd Memorial Road Area Kimberley 8301 Northern Cape |
| CLOSING DATE | Thursday, 30 July 2026 Time: 11:00 |
| Place where goods, works or services are required | Robert Mangaliso Subukwe Hospital, Kimberley, 8301, Sol Plaatjie Local Municipality, Northern Cape. |
| Special Condition’s | N/A |
| Enquires | Eric Nqampi |
| Contact Details | 045 838 7080 |
| Email address | eqpmss@gmail.com |
| This tender is available from | www.etenders.gov.za |

## Objectives

The primary objective of this tender is to invite prospective contractors to tender for the upgrades and renovations at the Robert Mangaliso Sobukwe Hospital (Laundry).

## Scope

The scope encompasses:

- Self-levelling screed

- New floor finish with epoxy

- Repaint existing concrete ceilings

- Prepare surface and paint walls

- Remove and replace all cracked or damaged glazing, inspect windows, service latches, stays and handles.

- Remove doors complete with frames, lock supply and install new timber door including frames

- New electrical cabling

- New plumbing and equipment

- Remove benches, remove existing timber lockers, install new steel shelving as per architects’ specification

- Remove existing wash hand basins

- Remove existing water closets

- Remove existing shower stalls

- Remove urinals

- Supply and install the following items

- Install new water closet

- Install new wash hand basin

- Install new urinals

- Install new 600 X 600 mm mirror

- Replace waterproofing to existing concrete roofs

- Replace damaged screeds to existing concrete roofs

- Prepare and repaint soffits of concrete slab

- Remove gutters and replace with new gutters

- Supply and install new downpipes

- Replace grano screed

- Repair of staircase

## Technical Requirements

The technical requirements include:

- Adherence to CIDB grading standards (minimum of Grade 5GB or equivalent) and CIDB Standard for Uniformity in Construction Procurement.

- Compliance with the JBCC 2000 Principal Building Agreement and associated contract data.

- Use of specified materials, products, and workmanship as per the tender documents and relevant standards (e.g., SABS, PW371).

- Implementation of health and safety standards in line with Occupational Health and Safety Act (Act 85 of 1993) and Construction Regulations 2014.

- Provision of quality assurance, testing, and inspection procedures, including concrete testing, steelwork certification, and safety compliance.

- Incorporation of local content and B-BBEE requirements, with specified minimum thresholds for local procurement.

- Provision for project management, scheduling, and coordination to ensure timely completion within the stipulated construction period.

## Skills Requirements

The tender mandates the following skills and personnel qualifications:

- Qualified Construction Manager/Supervisor with a National Diploma or higher, registered with SACPCMP (Pr. CM-SACPCMP), with experience on projects exceeding R10 million.

- SHEQ (Safety, Health, Environment, Quality) Officer with relevant qualifications (NQF Level 6 or higher) and experience on large projects.

- Electrical and Mechanical engineers and technicians with appropriate registration and experience in healthcare or similar infrastructure projects.

- Key personnel must provide certified proof of qualifications and experience, including certificates of registration, project references, and relevant training.

- Bank rating and financial stability to ensure capacity to undertake the project.

- Compliance with the CIDB registration and grading requirements, including active registration on the CSD database.

- Demonstrated capacity to manage health and safety, environmental standards, and quality assurance processes.

This summary is AI generated. Download the tender documents for all the information.

| Name of Bidder |  |
| --- | --- |
| Contact Person |  |
| Company Reg. |  |
| Cell / Tel Number |  |
| E-mail Address |  |
| CSD Number |  |
| Signature of Bidder |  |