NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and |  |  |
| for | SUPPLY AND DELIVERY OF BOILER TUBES AND RELATED STEEL ON AN AS AND WHEN REQUIRED BASIS FOR THE PERIOD OF FIVE (5) YEARS AT MAJUBA POWER STATION |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 2 |
| Part C2 | Pricing Data | 27 |
| Part C3 | Scope of Work | 6 |
| CONTRACT No. |  |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | 3 |
| C1.2a | Contract Data provided by the Purchaser | 6 |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | 17 |
| C1.3 | Proforma Guarantees | [n/a ●] |

C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

#### Supply and delivery of Boiler tubes and related steel on an as and when required basis for the period of five (5) years at Majuba Power Station

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is1 | R |
|  | ………………. including VAT |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |
| --- | --- |
| Name(s) |  |
| Capacity |  |
| For the tenderer: |  |
| (Insert name and address of organisation) |  |
| Name & signature of witness | Date |

1 This total is required by the Purchaser for budgeting purposes only. Actual amounts due will be assessed in terms of the conditions of contract.

Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer. In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data. Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1	Agreements and Contract Data, (which includes this Form of Offer and Acceptance) Part C2	Pricing Data

Part C3	Scope of Work: Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance. No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |
| --- | --- |
| Name(s) |  |
| Capacity | General Manager Majuba Power Station |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
|  | (Insert name and address of organisation) |
| Name & signature of witness | Date |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

  - This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

  - The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

  - A tenderer’s covering letter must not be included in the final contract document. Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | For the tenderer: |  | For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  | General Manager Majuba Power Station |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser

#### [Instructions to the contract compiler: (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some SC3 options are always selected by Eskom Holdings SOC Ltd. The remaining SC3 options are identified by shading in the left hand column. In the event that the option is not required select and delete the whole row. Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause | Statement | Data |
| --- | --- | --- |
| 1 | General |  |
|  | The conditions of contract are the core clauses and the clauses for Options |  |
|  |  | X1: Price adjustment for inflation |
|  |  | X2 Changes in the law X7 Delay damages |
|  |  | Z: Additional conditions of contract |
|  | of the NEC3 Supply Contract (April 2013) 2 | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |
| 10.1 | The Purchaser is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |
|  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |
|  | Tel No. |  |
|  | Fax No. |  |
| 10.1 | The Supply Manager is (name): | Khaya Gumede |
|  | Address | Eskom Holdings SOC Ltd Majuba Power Station Volksrust/Amersfoort |
|  | Tel | +27 17 799 3799 |

2 Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

|  | Fax e-mail | N/A sibiyain@eskom.co.za |
| --- | --- | --- |
| 11.2(13) | The goods are | SUPPLY AND DELIVERY OF BOILER TUBES AND RELATED STEEL |
| 11.2(13) | The services are | Supply and delivery to Majuba Power Station |
| 11.2(14) | The following matters will be included in the Risk Register | Delays on delivery |
| 11.2(15) | The Goods Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |
| 11.2(15) | The Supply Requirements as part of the Goods Information is in | Annexure A to this Contract Data |
| 12.2 | The law of the contract is the law of | The Republic of South Africa |
| 13.1 | The language of this contract is | English |
| 13.3 | The period for reply is | Five working days |
| 2 | The Supplier’s main | Data required by this section of the core |

responsibilities

3	Time

#### clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

| 30.1 | The starting date is. | TBC |  |  |
| --- | --- | --- | --- | --- |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  | 1 |  |  | As per task order |
| 30.2 | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. | On request |  |  |
| 31.1 | The Supplier is to submit a first programme for acceptance within | N/A |  |  |

| 32.2 | The Supplier submits revised programme at intervals no longer than | N/A |
| --- | --- | --- |
| 4 | Testing and defects |  |
| 42 | The defects date is | 1 weeks after Delivery. |
| 43.2 | The defect correction period is | 4 weeks |
|  | except that the defect correction period for and the defect correction period for | N/A N/A |
| 42.2 | The defects access period is | Defected spare will not accepted |
|  | except that the defect access period for and the defect access period for | N/A N/A |

| 5 | Payment |  |
| --- | --- | --- |
| 50.1 | The assessment interval is | Assessment will be done after every delivery |
| 51.1 | The currency of this contract is the | South African Rand |
| 51.2 | The period within which payments are made is |  |
|  |  | 30 days |
| 51.4 | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |
| 6 | Compensation events | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |
| 7 | Title | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |
| 8 | Risks, liabilities, indemnities and insurance |  |
| 80.1 | These are additional Purchaser’s risks | - Offloading of goods at delivery place. - Quality problems - Delivery delays - Industrial Actions - Rainfall 6.Community strikes |
| 88.1 | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  |
|  |  | R0.0 (zero Rand) |

| 88.2 | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to | - for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and - for all other existing Purchaser’s property the applicable deductible as at contract date |
| --- | --- | --- |
| 88.3 | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: | R[●] |
| 88.4 | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | R[●] A 12-month warrantee on the spares supplied will be provided on condition that the Purchaser stores, installs and maintains them correctly, however fair wear and tear will be excluded. This would also cover the spares supplied at the end of the contract period for 12 months after delivery. |
| 88.5 | The end of liability date is | N/A. |
| 9 | Termination and dispute resolution |  |
| 94.1 | The Adjudicator is | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |
|  | Address | [●] |
|  | Tel No. | [●] |
|  | Fax No. | [●] |
|  | e-mail | [●] |
| 94.2(3) | The Adjudicator nominating body is: | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |
| 94.4(2) | The tribunal is: | arbitration |
| 94.4(5) | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |
| 94.4(5) | The place where arbitration is to be held is | [●] South Africa |
|  | The person or organisation who will choose an arbitrator |  |

if the Parties cannot agree a choice or

- if the arbitration procedure does not state who selects an arbitrator, is

10	Data for Option clauses

#### the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

| X1 | Price adjustment for inflation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| X1.1 | The base date for indices is |  |  |  |  |  |  |
|  | The proportions used to calculate the Price Adjustment Factor are: | proport ion | linked to index for |  | Index prepared by |  |  |
|  |  | 0.50 | Material - Seifsa Table Q-(A) Stainless Steel Flat Products (Hot rolled Steel type 316) |  |  | SEIFSA |  |  |
|  |  | 0.35 | Labour - Seifsa Table C3 Actual Labour Cost (All Hourly paid employees) |  |  | SEIFSA |  |  |
|  |  | 0.05 | Transport - Seifsa Table L2(A) Road Freight Costs |  |  | SEIFSA |  |  |
|  |  | 0.15 non adjustable |
| X2 | Changes in the law |  |  |  |  |  |
| X2.1 | A change in the law of | Republic of South Africa is a compensation event if it occurs after the Contract Date |  |  |  |  |
| X7 | Delay damages |  |  |  |  |  |
| X7.1 | Delay damages for the late Delivery are | Delivery of |  | amount per day |  |  |
|  |  |  |  | 0.5 % of the order |  |  |
| Z | The additional conditions of contract are |  |  |  |  |  |

#### Z1	Cession delegation and assignment

Z1.1 The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

Z1.2 Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry.

#### Z2	Joint ventures

Z2.1 If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

Z2.2 Unless already notified to the Purchaser, the persons or organisations notify the Supply

|  | Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |
| --- | --- |
| Z2.3 | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |
| Z3 | Change of Broad Based Black Economic Empowerment (B-BBEE) status |
| Z3.1 | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |
| Z3.2 | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |
| Z3.3 | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |
| Z3.4 | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |
| Z4 | Confidentiality |
| Z4.1 | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |
| Z4.2 | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |
| Z4.3 | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |
| Z4.5 | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does |

|  | not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |
| --- | --- |
| Z6 | Health, safety and the environment: Add to core clause 25.4 |
| Z6.1 | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and - undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |
| Z6.2 | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |
| Z7.1 | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |
| Z7.2 | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |
| Z7.3 | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |
| Z8 | Notifying compensation events |
| Z8.1 | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |
| Z9 | Purchaser’s limitation of liability |
| Z9.1 | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |
| Z9.2 | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |

| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |
| --- | --- | --- |
| Z10.1 | or had a business rescue order granted against it. |  |
| Z11 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |
| Z11.1 | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |
| Z12 | Ethics |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| Affected Party |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |
| Coercive Action |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |
| Collusive Action |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |
| Committing Party |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |
| Corrupt Action |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |
| Fraudulent Action |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |
| Obstructive Action |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |
| Prohibited Action |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the |  |

Supplier ensures that the Committing Party co-operates fully with an investigation.

#### Z13Insurance

#### Z	13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

#### INSURANCE TABLE A

| Insurance against | Minimum amount of cover or minimum limit of indemnity |
| --- | --- |
| Loss of or damage to the goods, plant and materials | The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. |
| Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract | Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law. |
| Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this Contract | The amount required by the applicable law |

#### Z _13.2	Replace core clause 87 with the following:

| Insurance by the Purchaser | 87 |  |
| --- | --- | --- |
|  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |

#### INSURANCE TABLE B

| Insurance against or name of policy | Minimum amount of cover or minimum of indemnity |
| --- | --- |
| Assets All Risk | Per the insurance policy document |
| Contract Works insurance | Per the insurance policy document |
| Environmental Liability | Per the insurance policy document |
| General and Public Liability | Per the insurance policy document |
| Motor Fleet and Mobile Plant | Per the insurance policy document |
| Cyber Liability | Per the insurance policy document |
| Nuclear Material Damage and Business Interruption | Per the insurance policy document |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000. However users will probably wish to use Incoterms 2010 which the details below are based on.	Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 20103 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place. Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP | Eskom Majuba PS Main Stores |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10. These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licenses, authorizations, and formalities | B2 | Licenses, authorizations, and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |

3 International Chamber of Commerce, Incoterms 2010, Paris, January 2011

| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| --- | --- | --- | --- |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].

| 1. The requirements for the supply are | Constraints (see clause 11.2 (5)) - No compensation is payable if the Supplier arrives on site without prior arrangement with the Purchaser. - All goods shall be delivered to the Main stores - The Purchaser has the right to refuse acceptance of any spares supplied which in the opinion of Purchaser, does not meet the requirements specified and will have a detrimental effect on equipment/plant performance. - The Supplier ensures that all items to be supplied are to the standard and quality accepted by the Purchaser and ensures that they are suitable for the purpose intended for by the manufacturer. - Material certificates will be submitted with all the spares delivered, if material certificate are not supplied with the delivery, the delivered items will not be accepted. - The Supplier shall have no claim against the Purchaser in respect of delay due to the above constraints. |  |
| --- | --- | --- |
| 2. The requirements for transport are | Supplier is responsible for transporting the goods to the delivery place. |  |
| 3. The delivery place is | Majuba Power Station - Main Stores |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser/Supplier |
| 5. Information to be provided by the Supplier | Title of document |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

Part two - Data provided by the Supplier

[Instructions to the contract compiler: (delete this note before issue to tenderers with an enquiry) Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected. In the event that the option is not required select and delete the whole row.]

| Clause | Statement | Data |
| --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |

4 Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

5 Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za

| 11.2(11) | The tendered total of the Prices is |  |  |  |
| --- | --- | --- | --- | --- |
| 11.2(12) | The price schedule is in: |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | AS per task Order |
| 31.1 | The programme identified in the Contract Data is contained in: As per task order |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is |  |  |  |
|  |  |  | N/A |  |

PART 2: PRICING DATA

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions |  |
| C2.2 | The price schedule | 1 |

C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and | 11 |  |
| --- | --- | --- |
| defined terms | 11.2 | (11) The Prices are the amounts stated in the price column of the Price |
|  |  | Schedule. Where a quantity is stated for an item in the Price Schedule, the |
|  |  | Price is calculated by multiplying the quantity by the rate. |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is |
|  |  | - the Price for each lump sum item in the Price Schedule which the Supplier has completed, - where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, - plus other amounts to be paid to the Supplier, - less amounts to be paid by or retained from the Supplier. |
|  |  | Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”. This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information. This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule. The Price Schedule is only a pricing document.

Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary. Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

  - Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

  - Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

  - Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

  - Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change  to the Prices is as a result of a compensation event per clause 60.1;

  - Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

| Item | Material Nr | Short Text | UoM | Quantity | Rate | Total Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0185558 | TUBE BLR STR:44.5 MM;4 MM;15MO3;LG 6 M | M | 4 400 |  |  |
| 2 | 0598222 | TUBE BLR STR:44.5 MM;6.3 MM;10CRMO9-10 | M | 2 000 |  |  |
| 3 | 0598266 | TUBE BLR STR:44.5 MM;4.5 MM;16MO3;SMLS | M | 2 000 |  |  |
| 4 | 0598221 | TUBE BLR STR:44.5 MM;7.1 MM;10CRMO9-10 | M | 6 000 |  |  |
| 5 | 0183200 | TUBE BLR STR:44.5 MM;5 MM;X20CRMOV121 | M | 50 000 |  |  |
| 6 | 0183199 | TUBE BLR STR:44.5 MM;5.6 MM;X20CRMOV121 | M | 30 000 |  |  |
| 7 | 0185569 | TUBE BLR STR:OD 57 MM;3.7 MM;LG 6 M;SMLS | M | 12 000 |  |  |
| 8 | 0183198 | TUBE BLR STR:60.3 MM;3.9 MM;LG 6 M;SMLS | M | 14 400 |  |  |
| 9 | 0598256 | TUBE BLR STR:57 MM;3.6 MM;16MO3;SMLS | M | 3 000 |  |  |
| 10 | 0183197 | TUBE BLR STR:OD 57 MM;5 MM;13CRMO44 | M | 24 000 |  |  |
| 11 | 0185568 | TUBE BLR STR:OD 57 MM;3.7 MM;13CRMO44 | M | 2 400 |  |  |
| 12 | 0185578 | TUBE BLR STR:OD 57 MM;3.7 MM;10CRMO910 | M | 2 400 |  |  |
| 13 | 0598206 | TUBE BLR STR:57 MM;4.5 MM;10CRMO9-10 | M | 1 200 |  |  |
| 14 | 0598260 | TUBE BLR STR:51 MM;4.5 MM;16MO3;SMLS | M | 2 100 |  |  |
| 15 | 0598370 | TUBE BLR STR:44.5 MM;8 MM;13CRM04-5 | M | 1 800 |  |  |
| 16 | 0598525 | TUBE BLR STR:38 MM;4.5 MM;16M03;SMLS | M | 1 800 |  |  |
| 17 | 0598154 | TUBE BLR STR:31.8 MM;5.6 MM;16M03;SMLS | M | 1 800 |  |  |
| 18 | 0598263 | TUBE BLR STR:48.3 MM;6.3 MM;16MO3;SMLS | M | 2 400 |  |  |
| 19 | 0598165 | TUBE BLR STR:44.5 MM;5.6 MM;16MO3;SMLS | M | 6 000 |  |  |
| 20 | 0056048 | TUBE BLR STR:38 MM;4.5 MM;15MO3;LG 6 M | M | 600 |  |  |
| 21 | 0598160 | TUBE BLR STR:38 MM;6.3 MM;16M03;SMLS | M | 1 800 |  |  |
| 22 | 640601 | REDUCER:BOILER;60.3 X 57 MM;WELDED | EA | 2000 |  |  |
| 23 | 640604 | WYE PIPE:DIA 44.5 X LG 160 MM;BW;16MO3 | EA | 1700 |  |  |
| 24 | 647065 | LUG:SUPPORT;WD 12 X LG 35.3 X HT 32 MM | EA | 1000 |  |  |
| 25 | 641366 | SHIELD:PROTECTION;SS GR 316 | EA | 5000 |  |  |
| 26 | 647063 | SHIELD:PRIMARY REHEATER STRAIGHT | EA | 5000 |  |  |
| 27 | 641228 | SHIELD:PROTECTION;SS GR 316 | EA | 15000 |  |  |
| 28 | 638372 | SHIELD:PROTECTION;OD 61 X THK 1.8 MM | EA | 8000 |  |  |
| 29 | 641230 | SHIELD:BANGLES;OD 61 X WD 50 X THK 4 MM | EA | 16000 |  |  |
| 30 | 641227 | SHIELD:PROTECTION;16M03 | EA | 3000 |  |  |
| 31 | 235014 | BAR RD:10 MM;LG 6 M;SA 479 GR 316L | M | 1200 |  |  |
| 32 | 185233 | METAL EXPNDD:25 MM;50 MM;SS GR 316 | EA | 400 |  |  |
| 33 | 640605 | STRIP:SEAL;WD 115 MM;LG 1.1 M;THK 8 MM | EA | 100 |  |  |
| 34 | 17181 | ANGLE STRCTRL:40 MM;5 MM;LG 6 M;MS | KG | 5346 |  |  |
| 35 | 630287 | ANGLE STRCTRL:50 MM;5 MM;LG 6 M;SS | M | 600 |  |  |
| 36 | 640598 | GASKET PC:ID 530 X OD 560 MM;THK 45 MM | EA | 80 |  |  |
| 37 | 641226 | BRACKET:TOP SUPPORT;15M03 | EA | 1000 |  |  |
| 38 | 639848 | BLOCK:STOPPER;WD 6 MM;LG 40 MM;HT 20 MM | EA | 10000 |  |  |
| 39 | 639849 | BLOCK:STOPPER;WD 6 MM;LG 25 MM;HT 30 MM | EA | 25000 |  |  |
| 40 | 641235 | BRACKET:WALL MOUNTING;SS GR 316 | EA | 1000 |  |  |
| 41 | 641234 | BRACKET:WALL MOUNTING;SS GR 316 | EA | 4000 |  |  |
| 42 | 640768 | BRACKET:RETAINING;SS GR 316 | EA | 1000 |  |  |
| 43 | 639806 | ROPE:CERAMIC FIBER;BREADED/TWISTED | M | 5000 |  |  |
| 44 | 641233 | SEAL:GASKET;OD 18 X THK 2 MM;COPPER | EA | 120 |  |  |
| 45 | 641232 | SEAL:GASKET;OD 18 X THK 2 MM;ALUMINIUM | EA | 120 |  |  |
| 46 | 640778 | PLATE MTL:WD 165 X LG 950 X THK 3 MM | EA | 800 |  |  |
| 47 | 640780 | PLATE MTL:WD 225.5 X LG 950 X THK 3 MM | EA | 800 |  |  |
| 48 | 640769 | PLATE MTL:WD 298.5 X LG 950 X THK 3 MM | EA | 800 |  |  |
| 49 | 640779 | PLATE MTL:WD 313.5 X LG 950 X THK 3 MM | EA | 1600 |  |  |
|  |  | Total amount |  |  |  | R - |

# PART 3: SCOPE OF WORK

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 2 19 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information |  |
|  | Total number of pages |  |

C3.1: PURCHASER’S GOODS INFORMATION

Contents

Part 3: Scope of Work	1

C3.1: Purchaser’s Goods Information	2

- Overview and purpose of the goods and services	3

- Specification and description of the goods	3

  - Factory acceptance testing (FAT)	10

- Supply Requirements	10

- Specification of the services to be provided	10

- Constraints on how the Supplier Provides the Goods	11

  - Programming constraints	11

  - Work to be done by the Delivery Date	11

  - Marking the goods	11

  - Constraints at the delivery place and place of use	11

  - Cooperating with Others	12

  - Services & other things to be provided by the Purchaser or Supplier	12

  - Management meetings	12

  - Documentation control	12

  - Health and safety risk management	13

  - Environmental constraints and management	13

  - Quality	13

  - Invoicing and payment	14

C3.2 Supplier’s Goods Information	14

    - Overview and purpose of the goods and services

To place a five (5) years contract for the supply and delivery of Boiler Tubes and boiler related Spares steel as and when required Contract is expected to start on the …… and end on the …… for Majuba Power Station Therefore purchase orders will be placed as and when required to replenish stock level at Majuba Power Station Stores

    - Specification and description of the goods

Supply and delivery of  Boiler Tubes and boiler related Spares steel with unique material numbers and material specifications as detailed in the table below

Supplier responsible for ensuring that he/she is performing against the correct drawing revision number (if applicable).

| Item No. | Material No. | Short Description | Material Description |  |
| --- | --- | --- | --- | --- |
| 1. | 0185558 | TUBE BLR STR:44.5 MM;4 MM;15MO3;LG 6 M | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 4 MM; MATERIAL: 15MO3; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 17175 3.1A/C; MATERIAL DATA SHEETS TO BE SUPPLIED, MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION |  |
| 2. | 0598222 | TUBE BLR STR:44.5 MM;6.3 MM;10CRMO9-10 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 6.3 MM; MATERIAL: 10CRMO9-10; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 3. | 0598226 | TUBE BLR STR:44.5 MM;4.5 MM;16MO3; SMLS | INFORMATION REQUIREMENTS AND THE SUPPLIER WILL COMPLY TO THE FOLLOWING STANDARD (SEE PROCUREMENT OF HIGH-PRESSURE PIPEWORK AND BOILER TUBING MATERIAL STANDARD IN THE GENERATION DIVISION 240-87733094 LATEST REVISION); MATERIAL CERTIFICATION TO EN10204/3.2; CONDUCT A MATERIAL ANALYSIS (SPECTROMETER TEST) ON EACH BATCH OF MATERIAL AT THE SUPPLIER’S PREMISES PRIOR DELIVERY TO THE POWER STATION. |  |
| 4. | 0598221 | TUBE BLR STR:44.5 MM;7.1 MM;10CRMO9-10 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 7.1 MM; MATERIAL: 10CRMO9-10; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 5. | 0183200 | TUBE BLR STR:44.5 MM;5 MM;X20CRMOV121 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 5 MM; MATERIAL: X20CRMOV121; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 171753.1A; MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION; DELIVER AS PER SPEC UNIQUE IDENTIFIER:474-10206 REV 2 |  |

| 6. | 0183199 | TUBE BLR STR:44.5 MM;5.6 MM;X20CRMOV121 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 5.6 MM; MATERIAL: X20CRMOV121; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 171753.1A; MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION; DELIVER AS PER SPEC UNIQUE IDENTIFIER:474-10206 REV 2 |
| --- | --- | --- | --- |
| 7. | 0185569 | TUBE BLR STR:OD 57 MM;3.7 MM;ST35.8;LG 6 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: OD 57 MM; WALL THICKNESS: 3.7 MM; MATERIAL: ST35.8; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; TYPE: REHEATER 1 HAJ11-14; GRADE: ST35.8III; SPECIFICATION: DIN 17175 3.1A/C; MATERIAL DATA SHEETS TO BE SUPPLIED, MUST BE FULL LENGTH COLOUR CODED |
| 8. | 0183198 | TUBE BLR STR:60.3 MM;3.9 MM;LG 6 M;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 60.3 MM; WALL THICKNESS: 3.9 MM; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; GRADE: ST35.8; SPECIFICATION: DIN 171753.1A; MUST BE FULL LENGTH COLOUR CODED |
| 9. | 0598256 | TUBE BLR STR:57 MM;3.6 MM;16MO3;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 57 MM; WALL THICKNESS: 3.6 MM; MATERIAL: 16MO3; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |
| 10 | 0183197 | TUBE BLR STR:OD 57 MM;5 MM;13CRMO44 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: OD 57 MM; WALL THICKNESS: 5 MM; MATERIAL: 13CRMO44; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 171753.1A; MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION! |
| 11 | 0185568 | TUBE BLR STR:OD 57 MM;3.7 MM;13CRMO44 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: OD 57 MM; WALL THICKNESS: 3.7 MM; MATERIAL: 13CRMO44; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 17175 3.1A/C; MATERIAL DATA SHEETS TO BE SUPPLIED,MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION |
| 12. | 0185578 | TUBE BLR STR:OD 57 MM;3.7 MM;10CRMO910 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: OD 57 MM; WALL THICKNESS: 3.7 MM; MATERIAL: 10CRMO910; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: CAPPED; SPECIFICATION: DIN 17175 3.1A/C; MATERIAL DATA SHEETS TO BE SUPPLIED ON DELIVERY, MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION |

| 13. | 0598206 | TUBE BLR STR:57 MM;4.5 MM;10CRMO9-10 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 57 MM; WALL THICKNESS: 4.5 MM; MATERIAL: 10CRMO9-10; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| --- | --- | --- | --- | --- |
| 14. | 598260 | TUBE BLR STR:51 MM;4.5 MM;16MO3;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 51 MM; WALL THICKNESS: 4.5 MM; MATERIAL: 16MO3; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 15. | 0598370 | TUBE BLR STR:44.5 MM;8 MM;13CRM04-5 | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 8 MM; MATERIAL: 13CRM04-5; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 16. | 0598525 | TUBE BLR STR:38 MM;4.5 MM;16M03;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 38 MM; WALL THICKNESS: 4.5 MM; MATERIAL: 16M03; LENGTH: 6-11.8 M; STRUCTURE: SMLS; TYPE: SUPERHEATER 2; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2; EN10204 3.2; ADHERE TO ESKOM GOODS INFORMATION REQUIREMENTS AND THE SUPPLIER WILL COMPLY TO THE FOLLOWING STANDARD (SEE PROCUREMENT OF HIGH PRESSURE PIPEWORK AND BOILER TUBING MATERIAL STANDARD IN THE GENERATION DIVISION 240-87733094 LATEST REVISION); MATERIAL CERTIFICATION TO EN10204/3.2; CONDUCT A MATERIAL ANALYSIS (SPECTROMETER TEST) ON EACH BATCH OF MATERIAL |  |
| 17. | 0598154 | TUBE BLR STR:31.8 MM;5.6 MM;16M03;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 31.8 MM; WALL THICKNESS: 5.6 MM; MATERIAL: 16M03; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 18. | 0598263 | TUBE BLR STR:48.3 MM;6.3 MM;16MO3;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 48.3 MM; WALL THICKNESS: 6.3 MM; MATERIAL: 16MO3; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 19. | 0598165 | TUBE BLR STR:44.5 MM;5.6 MM;16MO3;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 44.5 MM; WALL THICKNESS: 5.6 MM; MATERIAL: 16MO3; LENGTH: 6-11.8 M; STRUCTURE: SMLS; TYPE: EVAPORATOR/BURNERS CONNECTING; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2; EN10204 3.2 MATERIAL CERTIFICATE; ADHERE TO ESKOM GOODS INFORMATION REQUIREMENTS AND THE SUPPLIER WILL COMPLY TO THE FOLLOWING STANDARD (SEE PROCUREMENT OF HIGH PRESSURE PIPEWORK AND BOILER TUBING MATERIAL STANDARD IN THE GENERATION DIVISION 240-87733094 LATEST REVISION); MATERIAL CERTIFICATION TO EN10204/3.2; CONDUCT A MATERIAL ANALYSIS (SPECTROMETER TEST) ON EACH BATCH OF MATERIAL AT THE SUPPLIER’S PREMISES PRIOR DELIVERY TO THE POWER STATION; THE POWER STATION AIA WILL BE PRESENT TO REVIEW AND VERIFIED THE SPECTROMETER RESULTS. MATERIAL NOT MEETING THE REQUIREMENTS WILL BE REJECTED; THE SPECTROMETER RESULTS MUST CORRESPOND WITH THE MATERIAL CERTIFICATE; ALL THE DOCUMENTATION WILL BE EVALUATED BY ENGINEERING INCLUDING THE SPECTROMETER TEST RESULTS SIGNED BY POWER STATION AIA UPON DELIVERY BEFORE ACCEPTANCE OF THE MATERIAL; NOTE MATERIAL WILL NOT BE ACCEPTED WITHOUT THE MATERIAL CERTIFICATES AND THE SPECTROMETER TEST CERTIFICATE SIGNED AND VERIFIED BY POWER STATION |  |
| 20. | 0056048 | TUBE BLR STR:38 MM;4.5 MM;15MO3;LG 6 M | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 38 MM; WALL THICKNESS: 4.5 MM; MATERIAL: 15MO3; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: PLAIN; SPECIFICATION: DIN 17175; REFERENCE NO: BOILERTUBINGFIN380DX4-5, UNK; FINNED SOLID EXTRUDED, FIN SIZE 6MM THICK X 50MM OVERALL WIDTH X 10MM RADIUS, CERTIFICATION TO EN 10204 (E) 3.2, ALTERNATIVE MATERIAL BS3059 GRADE 243 PART 2:1990, SPECIFICATION 11 TABLE 8 TEST CATEGORY 1, NOTE: DELIVERY REQUIREMENTS; IDENTIFICATION: HARD STAMPPED 300 MM FROM END OF PIPE BOTH ENDS, COLOUR CODED TROUGHOUT THE LENGTH OF PIPE EVERY 300MM, AND PAINTED WITH CORROSION INHIBITOR, END CAPS BOTH SIDES, PIPE ENDS TO BE BEVELLED, NOTE: IF FOR ANY REASON EDDIE CURRENT TESTS HAVE BEEN PERFORMED, END USER TO BE NOTIFIED IF ANY PART OF PIPE HAS NOT BEEN TESTED, CERTIFICATES ARE REQUIRED AS PROOF WITH EVERY DELIVERY, MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION |  |
| 21. | 0598160 | TUBE BLR STR:38 MM;6.3 MM;16M03;SMLS | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 38 MM; WALL THICKNESS: 6.3 MM; MATERIAL: 16M03; LENGTH: 6-11.8 M; STRUCTURE: SMLS; DELIVER AS PER SPEC UNIQUE IDENTIFIER: 474-10206 REV 2 |  |
| 22. | 0640601 | REDUCER:BOILER;60.3 X 57 MM;WELDED | REDUCER: TYPE: BOILER; NOMINAL SIZE: 60.3 X 57 MM; CONNECTION: WELDED; MATERIAL: ST35.8; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 23 | 0640604 | WYE PIPE:DIA 44.5 X LG 160 MM;BW;16MO3 | WYE, PIPE: SIZE: DIA 44.5 X LG 160 MM; CONNECTION: BW; MATERIAL: 16MO3; RATING: 30 DEG; TYPE: BIFURCATION; WALL THK: 32MM; PROVIDE QCP BEFORE MANUFACTURING AND MATERIAL CERTIFICATE 3.2 IS REQUIRED ON EVERY DELIVERY; AN X-RAY MUST BE DONE BEFORE DELIVERY |  |
| 24 | 0647065 | LUG:SUPPORT;WD 12 X LG 35.3 X HT 32 MM | LUG: TYPE: SUPPORT; DIMENSIONS: WD 12 X LG 35.3 X HT 32 MM; MATERIAL: X10CRA17; ATTACHMENT METHOD: WELD; COLOR: BLACK; CASTLE LUG FOR WELD IN BETWEEN BOILER TUBE |  |
| 25 | 0641366 | SHIELD:PROTECTION;SS GR 316 | SHIELD: TYPE: PROTECTION; DIMENSIONS: OD 44.5 X LG 50 X THK 4 MM; MATERIAL: SS GR 316; BANGLES NON SLOTTED PROTECTIONVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 26 | 0647063 | SHIELD:PRIMARY REHEATER STRAIGHT | SHIELD: TYPE: PRIMARY REHEATER STRAIGHT; DIMENSIONS: ID 44.5 X WD 4 X LG 1.8 MM; MATERIAL: SS GR 316; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 27 | 0638372 | SHIELD:PROTECTION;OD 61 X THK 1.8 MM | SHIELD: TYPE: PROTECTION; DIMENSIONS: OD 61 X THK 1.8 MM; MATERIAL: SS GR 316-310; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 28 | 0641230 | SHIELD:BANGLES;OD 61 X WD 50 X THK 4 MM | SHIELD: TYPE: BANGLES; DIMENSIONS: OD 61 X WD 50 X THK 4 MM; MATERIAL: SS GR 316; NON SLOTTED PROTECTIONVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 29 | 0641227 | SHIELD:PROTECTION;16M03 | SHIELD: TYPE: PROTECTION; DIMENSIONS: WD 2.9 X OD 63.5 X LG 70 X THK 8 MM; MATERIAL: 16M03; EVAPORATOR MEMBRANE PROTECTION; 70 X 110 X 8MM PLATE WELDEDVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |
| 30 | 0235014 | BAR RD:10 MM;LG 6 M;SA 479 GR 316L | BAR, ROUND: NOMINAL DIAMETER: 10 MM; LENGTH: 6 M; MATERIAL: SA 479 GR 316L; SPECIFICATION: DSG-310-048; Q2:2:1:NEV; CONDITION-ANNEALED |  |
| 31 | 0185233 | METAL EXPNDD:25 MM;50 MM;SS GR 316 | METAL, EXPANDED: SIZE: WD 50 MM X LG 3 M X THK 4.5 MM; SHORTWAY: 25 MM; LONGWAY: 50 MM; MATERIAL: SS GR 316; BASIC SHAPE STYLE: DIAMOND MESH; HOLE SIZE: 4MM WEBB, THE SHORT WAY OF MESH TO RUN PARALLEL TO THE WIDTH OF THE SHEET |  |
| 32 | 0640605 | STRIP:SEAL;WD 115 MM;LG 1.1 M;THK 8 MM | STRIP: TYPE: SEAL; WIDTH: 115 MM; LENGTH: 1.1 M; THICKNESS: 8 MM; MATERIAL: SS GR 316; APPLICATION: DIPPER SHUTER |  |
| 33 | 0017181 | ANGLE STRCTRL:40 MM;5 MM;LG 6 M;MS | ANGLE, STRUCTURAL: LEG LENGTH: 40 MM; MATERIAL THICKNESS: 5 MM; LENGTH: 6 M; MATERIAL: MS; PROCESS: HOT ROLLED; WEIGHT: 2.97 KG/M; SPECIFICATION: SABS 1431; GRADE: 300WA 43A; 17.82 KG/LENGTH; ISCOR FILE REFERENCE D1.2.1.1 |  |

| 34 | 0630287 | ANGLE STRCTRL:50 MM;5 MM;LG 6 M;SS | ANGLE, STRUCTURAL: LEG LENGTH: 50 MM; MATERIAL THICKNESS: 5 MM; LENGTH: 6 M; MATERIAL: SS |
| --- | --- | --- | --- |
| 35 | 0640598 | GASKET PC:ID 530 X OD 560 MM;THK 45 MM | GASKET, PRE CUT: DIMENSIONS: ID 530 X OD 560 MM; THICKNESS: 45 MM; TYPE: PRESSURE SEAL; MATERIAL: GRAPHITE; SHAPE: CIRCULAR |
| 36 | 0641226 | BRACKET:TOP SUPPORT;15M03 | BRACKET: TYPE: TOP SUPPORT; MATERIAL: 15M03; DIMENSIONS: WD 200 X LG 250 X HT 55 MM; TO FIT 38 MM PIPE; EDGES TO BE MACHINED; EVAPORATOR SEALING HOPPER SHOES |
| 37 | 0639848 | BLOCK:STOPPER;WD 6 MM;LG 40 MM;HT 20 MM | BLOCK: TYPE: STOPPER; WIDTH: 6 MM; LENGTH: 40 MM; HEIGHT: 20 MM; MATERIAL: SS GR 316-310 |
| 38 | 0639849 | BLOCK:STOPPER;WD 6 MM;LG 25 MM;HT 30 MM | BLOCK: TYPE: STOPPER; WIDTH: 6 MM; LENGTH: 25 MM; HEIGHT: 30 MM; MATERIAL: SS GR 316 |
| 39 | 0641235 | BRACKET:WALL MOUNTING;SS GR 316 | BRACKET: TYPE: WALL MOUNTING; MATERIAL: SS GR 316; DIMENSIONS: ID 44.5 X LG 77 X THK 6 MM |
| 40 | 0641234 | BRACKET:WALL MOUNTING;SS GR 316 | BRACKET: TYPE: WALL MOUNTING; MATERIAL: SS GR 316; DIMENSIONS: ID 57 X LG 83 X THK 6 MM |
| 41 | 0640768 | BRACKET:RETAINING;SS GR 316 | BRACKET: TYPE: RETAINING; MATERIAL: SS GR 316; DIMENSIONS: ID 60.3 X THK 6 MM |

| 42 | 0639806 | ROPE:CERAMIC FIBER;BREADED/TWISTED | ROPE: MATERIAL: CERAMIC FIBER; DIMENSIONS: WD 10 X HT 10 X LG 30 MM; STRUCTURE: BREADED/TWISTED; STRENGTH: 90 KPA |
| --- | --- | --- | --- |
| 43 | 0641233 | SEAL:GASKET;OD 18 X THK 2 MM;COPPER | SEAL: TYPE: GASKET; DIMENSIONS: OD 18 X THK 2 MM; MATERIAL: COPPER; APPLICATION: HYDRO PRESS GAUGES |
| 44 | 0641232 | SEAL:GASKET;OD 18 X THK 2 MM;ALUMINIUM | SEAL: TYPE: GASKET; DIMENSIONS: OD 18 X THK 2 MM; MATERIAL: ALUMINIUM; APPLICATION: HYDRO PRESS GAUGES; HOLE 6 MM |
| 45 | 0640778 | PLATE MTL:WD 165 X LG 950 X THK 3 MM | PLATE, METAL: DIMENSIONS: WD 165 X LG 950 X THK 3 MM; MATERIAL: 15M03; BEND S SHAPE AND HOLES DRILLED 14 MM |
| 46 | 0640780 | PLATE MTL:WD 225.5 X LG 950 X THK 3 MM | PLATE, METAL: DIMENSIONS: WD 225.5 X LG 950 X THK 3 MM; MATERIAL: 15M03; BEND S SHAPE AND RADIAL ARCHESS DRILLED ON ONE SIDE |
| 47 | 0056048 | TUBE BLR STR:38 MM;4.5 MM;15MO3;LG 6 M | TUBE, BOILER STRAIGHT: NOMINAL SIZE: 38 MM; WALL THICKNESS: 4.5 MM; MATERIAL: 15MO3; LENGTH: 6 M; STRUCTURE: SMLS; ENDS: PLAIN; SPECIFICATION: DIN 17175; REFERENCE NO: BOILERTUBINGFIN380DX4-5, UNK; FINNED SOLID EXTRUDED, FIN SIZE 6MM THICK X 50MM OVERALL WIDTH X 10MM RADIUS, CERTIFICATION TO EN 10204 (E) 3.2, ALTERNATIVE MATERIAL BS3059 GRADE 243 PART 2:1990, SPECIFICATION 11 TABLE 8 TEST CATEGORY 1, NOTE: DELIVERY REQUIREMENTS; IDENTIFICATION: HARD STAMPPED 300 MM FROM END OF PIPE BOTH ENDS, COLOUR CODED TROUGHOUT THE LENGTH OF PIPE EVERY 300MM, AND PAINTED WITH CORROSION INHIBITOR, END CAPS BOTH SIDES, PIPE ENDS TO BE BEVELLED, NOTE: IF FOR ANY REASON EDDIE CURRENT TESTS HAVE BEEN PERFORMED, END USER TO BE NOTIFIED IF ANY PART OF PIPE HAS NOT BEEN TESTED, CERTIFICATES ARE REQUIRED AS PROOF WITH EVERY DELIVERY, MUST BE FULL LENGTH COLOUR CODED WITH BRIGHT ENAMEL PAINT AND TUBES MUST HAVE NO VISIBLE SURFACE CORROSION |
| 48 | 0641228 | SHIELD: PROTECTION;SS GR 316 | SHIELD: TYPE: PROTECTION; DIMENSIONS: OD 44.5 X LG 50 X THK 4 MM; MATERIAL: SS GR 316; BANGLES SLOTTED PROTECTION; WD 12 MM; DP 24.5 MMVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
| 40 | 0640769 | PLATE MTL: WD 298.5 X LG 950 X THK 3 MM | PLATE, METAL: DIMENSIONS: WD 298.5 X LG 950 X THK 3 MM; MATERIAL: 15M03; FLAT PLATE AND RADIAL 22MM; ARCHESS DRILLED ON ONE SIDE |
| 50 | 0640779 | PLATE MTL: WD 313.5 X LG 950 X THK 3 MM | PLATE, METAL: DIMENSIONS: WD 313.5 X LG 950 X THK 3 MM; MATERIAL: 15M03; FLAT PLATE AND RADIAL 22MM; ARCHESS DRILLED ON ONE SIDE |

## 2.1	Factory acceptance testing (FAT)

Material Data Sheet and Test Certificate where applicable.

    - Supply Requirements

Goods are required on an as and when required basis.

Requests for delivery will be made on a contract release order starting with a 45 number. Delivery is expected according to the agreed timelines with the supplier upon signing off the contract.

Delivery of some components will be expected within 8 to 10 months after receipt of Eskom Official order as specified by the contractor.

The purchases will endeavor as far possible to order in batches for ease of delivery

    - Specification of the services to be provided.

- Supply and delivery of Boiler Tubes as and when required

- No delivery will be accepted without an official contract release order.

- Supplier Delivery Note must indicate partial delivery if partial delivery is made.

- The stock number, quantity and material short description must be stated on the delivery note

- Each delivery to be recorded on receiving register and each delivery note must have unique number.

- Each delivery note to state the relevant release order number

    - Constraints on how the Supplier Provides the Goods

## Programming constraints

Delivery times will be stated on the official purchase order

## Work to be done by the Delivery Date

- Supplier to quote the Eskom official purchase order in all delivery notes and invoices

- Goods must be well packaged and safely transported to Majuba Power Station – Stores at all times.

- Eskom to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end- user of the product. Rejected goods must be collected by the supplier and the correct goods be supplied/delivered back to the client within 14 days.

- Only goods as specified will be accepted. Any goods which do not meet the specifications will be rejected.

      - Marking the goods

Packaging and Marking must be as follows:

Name of the supplier, Purchase Order Number, Material Number and Quantity Delivered

        - Key Performance Indicator Table

| KPA Description | Performance Measure/ Indicator | Target |
| --- | --- | --- |
| Purchase Order delivery to site | Lead time agreed on the contract to be lead time on each PO and supplier delivery must match these lead times or as agreed by the Purchase and Supplier | 98% |
| Packaging and Preliminary Marking of goods before delivery | All items must be wrapped with a clear plastic, bubble wrap that is clear or be placed inside cardboards for preservation purposes items that are not adhering to packaging and markings will be rejected upon delivery and the marking should be as follows Name of the Supplier, Purchase Order Number, Material Number, Part Number and Serial Number and Delivery date | 100% |
| Customer Survey done by the supplier to be submitted to Purchaser | To measure service level of the supplier by the purchaser | 4 times per year from start of the contract |

## Constraints at the delivery place and place of use

Supplier must follow Eskom Life Saving Rules when delivering goods to Majuba Power Station

- Open, Isolate, test , earth, bond and insulate before touching

No person may work on any electrical network unless:

He has been trained and authorised as competent for the task to be done

- Hook up at heights

- Buckle up

No person may drive any vehicle on Eskom business and/or on Eskom premises: Unless the driver and all passengers are wearing seat belts

- Be Sober

No person is allowed to work under the influence of drugs and/or alcohol

- Ensure you have permit to work

When an authorization limitation exists, no person shall work without the required permit to work

Majuba Power Station Delivery Times are as follows 08h00 A.M to 16h00 P.M Monday to Thursday 08h00 A.M to 11h30 A.M on Friday

No delivery is accepted afterhours, weekends and including public holidays unless the Supplier is requested by the Purchaser in writing prior delivery to site

## Cooperating with Others

N/A since it’s a supply and delivery contract

      - Services & other things to be provided by the Purchaser or Supplier

Eskom Majuba Power Station will provide resources to offload the goods being delivered (Cranes and forklift for offloading purposes)

Small items the can be offloaded by the supplier personnel

## Management meetings

General meetings to be held as and when required and maybe requested by either party Supplier or Purchaser.

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods. Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

All goods being delivered to Majuba Main Stores must have the following Unique delivery note number per delivery

Delivery note – must have unique number, date of delivery, items that were delivered (material number, material short description, serial number and quantity delivered)

Delivery note must come in duplicates so that one copy is kept at Main Stores and other goes with the supplier for invoicing purposes and as a proof of delivery

Both copies of delivery notes to be stamped with receiving stamp of Majuba Power Station and must have the signature of the receiver as well as the receiving personnel full manes

## Health and safety risk management

#### The Supplier shall comply with the health and safety requirements (7 Annexure C 3 OHS Tender Evaluation Low Risk, Annexure A Supplier Risk Category 240-77433139 and 240-73418055 MANUFACTURE OR LOW RISK SERVICES) and all these documents will form part of the tender documents.

## Environmental constraints and management

#### The Supplier shall comply with the environmental criteria and constraints [Environmental Management Requirements for Contractors and Suppliers ENV/GEN/SPEC/01]

## Quality

Supplier Contract Quality Requirements Specification (QM 58) 240-105658000 must be followed. Note: The supplier should be ISO 9001 certified as per client’s requirement under QM58

Service Level Table

The following table depicts the level of performance required of the Contractor. Should the Contractor be unable to meet these requirements, Low Service Damages will be claimed from the Contractor.

The total Low Service Damages will be limited to 10% per month per order based on as and when required supply

Table 6: Service Level Table for Low Service Damages

| No. | Description | Employer’s Requirement | Damages payable by Contractor |
| --- | --- | --- | --- |
| 1 | On time delivery to Majuba Power Station | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number | 5% of the outstanding item/s r if an item/s ordered is delivered one week later, 7.5% of the outstanding item/s r if an item/s ordered is delivered two to three weeks later and 10% of the outstanding item/s if an item/s are delivered later than four weeks. |
| 2 | Packaging and Preliminary Marking of goods before delivery | All items must be packaged properly for transport and short term storage. Items that are not adhering to packaging and markings will be rejected upon delivery. The marking should be as follows Name of the Supplier, Purchase Order Number, Material Number, Part Number and Serial Number and Delivery date |  |

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

- Name and address of the Supplier and the Supply Manager;

- The contract number and title;

- Supplier’s VAT registration number;

- The Purchaser’s VAT registration number.

- Description of goods and services provided for each item invoiced based on the Price Schedule;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

  - Supplier Development and Localisation (SD&L)

The Contractor complies with the requirements stipulated for SD&L provided by the Service Manager and these form part of this contract.

Supplier Commitments:

C3.2 SUPPLIER’S GOODS INFORMATION

See Paragraph 2 under heading Specification and description of the goods