eskom holdings SOC ltd

Contract No. _________

supply of relays




	[image: image1.jpg]R Eskom






NEC3 Supply Contract (SC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	(Reg No. ___________ )

	for


	Supply and Delivery of Relays
Insert title of the goods and services

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	

	Part C2
	Pricing Data
	

	Part C3
	Scope of Work
	

	
	
	

	CONTRACT No.
	

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 
	

	C1.2a
	Contract Data provided by the Purchaser
	

	C1.2b
	Contract Data provided by the Supplier
	


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and Delivery of Relays
The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Value Added Tax @ 15% is
	R 

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words) 



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Purchaser


	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	X17:
Low performance damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	011 800 8111

	
	Fax No.
	N/A

	10.1
	The Supply Manager is (name): 
	Senesh Pillay

	
	Address
	Medupi Power Station

	
	Tel
	

	
	Fax
	N/A

	
	e-mail
	

	11.2(13)
	The goods are 
	Supply of Relays Spares as per SOW (241-202230)

	11.2(14)
	The following matters will be included in the Risk Register
	· Inclement Weather (rain)

· Labour strike and Community Unrest

· Lead time of material

· Poor quality of material

· Wrong material delivered
· Early warning will be used by both Parties for new risks

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	Five working days

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	Relays
	To be agreed as per order

	30.2
	The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date.
	To be agreed by both Parties

	31.1
	The Supplier is to submit a first programme for acceptance within 
	Four weeks of the Contract Date.

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	Five working days

	4
	Testing and defects
	

	42
	The defects date is 
	Fifty-two weeks after Delivery.

	43.2
	The defect correction period is 
	Four weeks

	42.2
	The defects access period is  
	Seven days

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	Four weeks after assessment is completed and signed by Supply Manager.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 
(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance
	

	80.1
	These are additional Purchaser’s risks  
	1. Obsolete Goods

	
	
	2. Preservation 

	
	
	3. Change in works information

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	R0.0 (zero Rand)

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event 
and

(2) for all other existing Purchaser’s property the  applicable deductible as at contract date 

	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	The total price of the design, manufacturing and delivery

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	The task order

	88.5
	The end of liability date is 
	One years after Delivery of the whole of the goods and services.

	9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	
	e-mail
	

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes.

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	12%
	Transport Table L2A
	SEIFSA, Road Freight Costs

	
	
	73%
	Material

Table U-A
	SEIFSA, (PPI) Final Manufactured goods

	
	
	15%
	non-adjustable
	Fixed

	
	
	100%

	
	

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	Republic of South Africa is a compensation event if it occurs after the Contract Date

	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	Spares as per task order
	2% of the total value of the task order per day to a maximum of 20% of the task order

	X17
	Low performance damages
	

	X17.1
	The amounts for low performance damages are:
	Amount
	performance level

	
	
	2% of the Purchase order
	Incorrect spare delivered 

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for Eskom

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

· undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B

Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation.


Annexure A:
Supply Requirements
The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]
	1. The requirements for the supply are
	[State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing]

	2. The requirements for transport are 
	The goods will be transported on the road

	3. The delivery place is
	The delivery location is Medupi Power Station Stores

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	Supplier

	
	Checking packing and marking before dispatch
	Supplier

	
	Contracting for transport
	Supplier

	
	Pay costs of transport
	Supplier

	
	Arrange access to delivery place
	Purchaser 

	
	Loading the goods
	Supplier

	
	Unloading the goods
	Purchaser

	For international procurement
	Undertake export requirements
	

	
	Undertake import requirements
	

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Test results and maintenance manuals

	For international procurement
	Licences, authorisations and other formalities associated with export of the goods 

	
	Air Waybill or Bill of Lading with associated landing, delivery and forwarding order 

	
	The Bill of Entry endorsed by the importation authority

	
	Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay

	
	Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable

	
	Specify other import documents required by authorised officials. 


All other information NOT pertinent to the above is given in the balance of the Goods Information
C1.2 Contract Data

Part two - Data provided by the Supplier
Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	

	11.2(11)
	The tendered total of the Prices is
	R 

(in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	
	

	
	
	2
	
	

	
	
	3
	
	

	31.1
	The programme identified in the Contract Data is contained in:
	

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	      %


Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	


C2.1 Pricing assumptions

1. How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

2. Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

3. Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
3.1. Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Item nr
	Description
	Unit
	Quantity
	Rate
	Price

	575163
	RELAY, CONTROL: CONTACT RATING: 10A; CONTACT ARRANGEMENT: 3 CHANGE OVER; COIL VOLTAGE: 24 VDC; ACTION: 6, 3; MOUNT: RAIL; TERMINAL: SCREW; ENCLOSURE RATING: IP50; TYPE: PLUG IN; MANUF P/N: LZX; PT370024
	EA
	72
	
	

	641114
	RELAY, CONTROL: CONTACT RATING: 12 A; CONTACT ARRANGEMENT: 1NO 1NC; COIL VOLTAGE: 110 VAC; ACTION: SPDT; MOUNT: DIN RAIL; TERMINAL: SCREW; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: OPEN; TYPE: HIGH VOLTAGE; SUPPL P/N: 3BHL000986P4000
	EA
	18
	
	

	575167
	RELAY, CONTROL: CONTACT RATING: 16A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 230 VAC; ACTION: 4PST; MOUNT: CLAMPING; TERMINAL: TOP 5 SCREW; SPECIFICATION: MCRA022ATN; TYPE: AUXILIARY TRIP; MANUF P/N: 100024
	EA
	60
	
	

	575162
	RELAY, CONTROL: CONTACT RATING: 16A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 230 VDC; ACTION: 4PST; MOUNT: CLAMPING; TERMINAL: TOP 5 SCREW; SPECIFICATION: MCRC022ATN; TYPE: AUXILIARY; MANUF P/N: 100029
	EA
	36
	
	

	575164
	RELAY, CONTROL: CONTACT RATING: 16A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 24 VDC; ACTION: 4PST; MOUNT: CLAMPING; TERMINAL: TOP 5 SCREW; SPECIFICATION: MCRI022ATD; TYPE: INTERPOSING; MANUF P/N: 100532
	EA
	60
	
	

	575204
	RELAY, CONTROL: CONTACT RATING: 16A; CONTACT ARRANGEMENT: 3NO 1NC; COIL VOLTAGE: 220 VDC; ACTION: 4PST; MOUNT: CLAMPING; TERMINAL: TOP 5 SCREW; SPECIFICATION: MCRC031ATN; TYPE: AUXILIARY; MANUF P/N: 100019
	EA
	30
	
	

	575165
	RELAY, CONTROL: CONTACT RATING: 16A; CONTACT ARRANGEMENT: 3NO 1NC; COIL VOLTAGE: 24 VDC; ACTION: 4PST; MOUNT: CLAMPING; TERMINAL: TOP 5 SCREW; SPECIFICATION: MCRI031ATD; TYPE: AUXILIARY TRIP; MANUF P/N: 100531
	EA
	60
	
	

	575178
	RELAY, CONTROL: CONTACT RATING: 1A-5A; CONTACT ARRANGEMENT: 4 NO CONTACTS, 10 INPUTS, 3CT / 3CT; COIL VOLTAGE: 220 VDC; ACTION: 3P; MOUNT: PANEL; TERMINAL: 14 TERMINALS; CONTACT MATERIAL: SILVER ALLOY; ENCLOSURE RATING: IP20, IP54; TYPE: MOTOR MANAGEMENT SYSTEM; MANUF P/N: 10092725; MM300-G-E-H-D-3-C-A-C
	EA
	221
	
	

	575201
	RELAY, CONTROL: CONTACT RATING: 1A-5A; CONTACT ARRANGEMENT: 24 INPUTS / 16 OUTPUTS; COIL VOLTAGE: 220 VDC; ACTION: 3P; MOUNT: PANEL; TERMINAL: 36 TERMINALS REAR; CONTACT MATERIAL: SILVER ALLOY; SPECIFICATION: IEC 61850; TYPE: DIGITAL BAY CONTROLLER; MANUF P/N: 10093867; F650-N-E-C-F-2-G-1-NI-6E
	EA
	36
	
	

	575634
	RELAY, CONTROL: CONTACT RATING: 2 A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 230VAC/24VDC; ACTION: SPST; MOUNT: BASE; ENCLOSURE RATING: IP65; SPECIFICATION: EN50216-2
	EA
	12
	
	

	576761
	RELAY, CONTROL: CONTACT RATING: 2 A; CONTACT ARRANGEMENT: 3NO 3NC; COIL VOLTAGE: 230 VAC; ACTION: SPST; MOUNT: BRACKET; CONTACT MATERIAL: BRASS; ENCLOSURE RATING: IP55; TYPE: TRIP AND ALARM; REFERENCE NO: EE50216-2; SHORT TIME CURRENT: 10ARMS FOR 30 MS
	EA
	12
	
	

	575177
	RELAY, CONTROL: CONTACT RATING: 22A - 110A; CONTACT ARRANGEMENT: 1NO 1NC; COIL VOLTAGE: 230V; MOUNT: PANEL; TERMINAL: 4 CONTACTS; SPECIFICATION: RE2M; TYPE: ELECTRONIC OVERLOAD; MANUF P/N: 101873; 3 PHASE
	EA
	12
	
	

	576148
	RELAY, CONTROL: CONTACT RATING: 250VAC 7A; CONTACT ARRANGEMENT: 1NO 1NC; COIL VOLTAGE: 230 VAC; ACTION: 4PDT; MOUNT: PLUG IN; TERMINAL: 14 PIN PLUG IN; ENCLOSURE RATING: IP65; TYPE: GENERAL PURPOSE; MANUF P/N: 55.34.8.230.0040; 4 POLE; 58 SERRIES ONLY WITH 94 SERRIES SOCKET; DIMENSIONS: WD 27.7 X DEPTH 20.7 X HT 37.2MM; OPERATING POWER: 1.5VA; OPERATING TEMPERATURE: -40 TO 85 DEG C
	EA
	30
	
	

	245625
	RELAY, CONTROL: COIL VOLTAGE: 24 VDC; CONTACT MATERIAL: AU; MANUF P/N: 2961121, MANUFACTURER: PHOENIX CONTACT (PTY) LTD
	EA
	6
	
	

	575154
	RELAY, CONTROL: CONTACT RATING: 30A - 150A; CONTACT ARRANGEMENT: 1NO 1NC; COIL VOLTAGE: 230V; MOUNT: PANEL; TERMINAL: 4 CONTACTS; SPECIFICATION: RE3E; TYPE: ELECTRONIC OVERLOAD; MANUF P/N: 101874
	EA
	60
	
	

	575179
	RELAY, CONTROL: CONTACT RATING: 5A; CONTACT ARRANGEMENT: 3 CHANGE OVER CONTACTS; COIL VOLTAGE: 220 VDC; ACTION: 1P; MOUNT: PANEL; TERMINAL: 8 SCREW; ENCLOSURE RATING: IP40, IP00, IP20; SPECIFICATION: EN60529-1; 2000-12; TYPE: DC FAIL; MANUF P/N: 10092759; RA7O
	EA
	120
	
	

	583389
	RELAY, CONTROL: CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 2C/O; COIL VOLTAGE: 400/690 V; ACTION: 3P; MOUNT: RAIL; TERMINAL: DIN EN 50 005; TYPE: UNDERVOLTAGE; MANUF P/N: BA9043/002
	EA
	12
	
	

	583386
	RELAY, CONTROL: CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 2NO; COIL VOLTAGE: 340 VDC; ACTION: (2) DPDT; MOUNT: RAIL; TERMINAL: 10 SCREW; CONTACT MATERIAL: AGNI; SPECIFICATION: ELDEC DDCA; TYPE: DC EARTH PROTECTION; MANUF P/N: 10092531; ELDEC DDCA
	EA
	6
	
	

	583387
	RELAY, CONTROL: CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 2NO; COIL VOLTAGE: 340 VDC; ACTION: (2) DPDT; MOUNT: RAIL; TERMINAL: 10 SCREW; CONTACT MATERIAL: AGNI; TYPE: DC EARTH PROTECTION; MANUF P/N: 10092532; ELDEC-DDCB
	EA
	24
	
	

	693482
	RELAY, CONTROL: CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 4 POLE; COIL VOLTAGE: 24 VDC; ACTION: SINLGE PHASE; MOUNT: PLUG IN MOUNT; TERMINAL: 8/11 PIN PLUG 22.5MM WIDE; SCREWLESS TERMINALS OUTPUT: 4 CONTACTS; CONTACT MATERIAL: AGNI + AU; ENCLOSURE RATING: IP 54; SPECIFICATION: IEC 61810-7; TYPE: NON LATCHING RELAY DPDT; OEM P/N: 7S.14.9.024.0220; 24V DC COIL NON-LATCHING RELAY DPDT; 6A; 250V SWITCHING CURRENT DIN RAIL; 4 POLE; DATASHEET REQUIRED UPON RFQ 2 NO + 2 NC; UN 24V; EN 50205 TYPE A
	EA
	239
	
	

	575184
	RELAY, CONTROL: CONTACT RATING: 220 V 10 A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 24 VDC; ACTION: SPDT; MOUNT: HORIZONTAL; TERMINAL: 11 PIN; CONTACT MATERIAL: COPPER; TYPE: INTERPOSING; MANUF P/N: 60.13
	EA
	24
	
	

	576762
	RELAY, CONTROL: CONTACT RATING: 2 A; CONTACT ARRANGEMENT: 3NO 3NC; COIL VOLTAGE: 12VAC/250VDC; ACTION: SPST; MOUNT: BRACKET; CONTACT MATERIAL: MAGNETIC CONTACT TUBE; ENCLOSURE RATING: IP55; TYPE: TRIP AND ALARM; MANUF P/N: DR50 08-38.44-0236; APPLICABLE TO 3.5 AND 12.5 MVA TRANSFORMERS
	EA
	12
	
	

	576763
	RELAY, CONTROL: CONTACT RATING: 2 A; CONTACT ARRANGEMENT: 3NO 3NC; COIL VOLTAGE: 5VAC/250VDC; ACTION: SPST; MOUNT: BRACKET; CONTACT MATERIAL: MAGNETIC CONTACT TUBE; ENCLOSURE RATING: IP56; TYPE: TRIP AND ALARM; MANUF P/N: DS50-09-26.38.44-236
	EA
	12
	
	

	649129
	RELAY, CONTROL: CONTACT RATING: 1250 VA; CONTACT ARRANGEMENT: 10NO 10NC; COIL VOLTAGE: 220-250 V; ACTION: SPST; MOUNT: FLUSH; TERMINAL: 48 PIN; ENCLOSURE RATING: IP50; SPECIFICATION: ESI 48-4; MANUF P/N: MVAJ205TB1010A; WITH MAXIMUM OF 5A AND 300V; 20 PHASES
	EA
	12
	
	

	583385
	RELAY, CONTROL: CONTACT RATING: 4 A; CONTACT ARRANGEMENT: 2SPDT; COIL VOLTAGE: 300-500 V; ACTION: 3P; MOUNT: RAIL; TERMINAL: SCREW; MANUF P/N: CM-PVS.41; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	12
	
	

	583388
	RELAY, CONTROL: CONTACT RATING: 5 A; CONTACT ARRANGEMENT: 2NC; COIL VOLTAGE: 230/400 V; ACTION: DPDT; MOUNT: RAIL; TERMINAL: SCREW; TYPE: UNDERVOLTAGE; MANUF P/N: VMD258
	EA
	60
	
	

	246125
	RELAY, OVERLOAD: TRIP RANGE: 14-20 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 3 A; TERMINAL: CAPTIVE CLAMP; MOUNT: DIRECT; APPLICATION: CONTACTOR MOTOR STARTER 3RT1; SUPPL P/N: 3RU1126-4BBO
	EA
	18
	
	

	630202
	RELAY, OVERLOAD: TRIP RANGE: 17.5-22 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 3P, 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 50 A; TERMINAL: 3 CAPTIVE SCREW; MOUNT: BASE ADAPTOR; CONTACT: CL 10; ENCLOSURE RATING: VDE 0106T100; CONTACT MATERIAL: BIMETALLIC; APPLICATION: PROTECTION; OPERATING TEMP RANGE: 75 DEG C; STORAGE TEMP RANGE: -25 TO 68 DEG C; SPECIFICATION: THERMAL OVERLOAD RELAY; REFERENCE NO: SSJF 000022; SUPPL P/N: SSJF 000022
	EA
	60
	
	

	247732
	RELAY, OVERLOAD: TRIP RANGE: 25-250 A; TYPE: PROGRAMMABLE; RESET: AUTOMATIC/MANUAL; CURRENT: 260 A; MOUNT: BRACKET; ENCLOSURE RATING: IP65; APPLICATION: MOTOR; SUPPL P/N: MA250; REQUIRED FOR USE ON BUFFALO FEEDER, MULTI PROTECTION FUNCTION; THE RELAY MUST BE PRE-PROGRAMMED PRIOR DELIVERY
	EA
	18
	
	

	663816
	RELAY, OVERLOAD: TRIP RANGE: 0.28-0.4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NC 1NO; RESET: AUTOMATIC/MANUAL; CURRENT: 2/1 A; TERMINAL: SCREW; MOUNT: CONTACTOR; ENCLOSURE RATING: IP20; APPLICATION: COAL STACKER AND RECLAIMER; OPERATING TEMP RANGE: -20 TO 70 DEG C; STORAGE TEMP RANGE: -50 TO 80 DEG C; SPECIFICATION: IEC 60947; MANUF P/N: 3RU1116-0EB0; 2A @ 230VAC; 1 A @ 400VAC; SIZE S00; WD 45 X HT 87 X DP 78MM; 3 POLE
	EA
	36
	
	

	663817
	RELAY, OVERLOAD: TRIP RANGE: 0.55-0.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NC 1NO; RESET: AUTOMATIC/MANUAL; CURRENT: 1/2 A; TERMINAL: SCREW; MOUNT: CONTACTOR; ENCLOSURE RATING: IP20; OPERATING TEMP RANGE: -20 TO 70 DEG C; STORAGE TEMP RANGE: -20 TO 80 DEG C; SPECIFICATION: IEC 60947; MANUF P/N: 3RU1116-0HB0; SIZE S00; CLASS 10; NUMBER OF POLES 3; WD 45 X HT 87 X DP 78MM; INSULATION VOLTAGE 690V; SURGE VOLTAGE RESISTANCE RATED VALUE 6KV; TYPE OF PROTECTION DMT98 ATEX G001; DIN EN 81346-2:F
	EA
	18
	
	

	583393
	RELAY, OVERLOAD: TRIP RANGE: 1.4-2 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 6 A; TERMINAL: 5 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1116-1BBO
	EA
	24
	
	

	583394
	RELAY, OVERLOAD: TRIP RANGE: 1.8-2.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 10 A; TERMINAL: 5 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1116-1CB0
	EA
	24
	
	

	583395
	RELAY, OVERLOAD: TRIP RANGE: 3.5-5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 20 A; TERMINAL: 5 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1116-1FB0
	EA
	24
	
	

	583391
	RELAY, OVERLOAD: TRIP RANGE: 0.35-0.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 2 A; TERMINAL: 5 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1116-OFBO
	EA
	36
	
	

	583392
	RELAY, OVERLOAD: TRIP RANGE: 0.9-1.25 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 4 A; TERMINAL: 5 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1116-OKBO
	EA
	24
	
	

	583390
	RELAY, OVERLOAD: TRIP RANGE: 20-25 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO/MANUAL; CURRENT: 63 A; TERMINAL: 4 SCREW; MOUNT: DIRECT; MANUF P/N: 3RU1126-4DBO
	EA
	24
	
	

	616566
	RELAY, SOLID STATE: TYPE: DIGITAL MONITORING; COIL VOLTAGE: 160-690 VAC; CONTACT RATING: 5 A; POTENTIAL: 220 VAC; CURRENT: 5 A; CONTACT ARRANGEMENT: 2NC; ACTION: SPDT; MOUNT: SNAP ON; SUPPL P/N: 3UG4633-1AL30
	EA
	12
	
	

	576738
	RELAY, TIME DELAY: OPERATION: 0.1S-300HR; CONTACT ARRANGEMENT: 2NC; ACTION: 2 CHANGEOVER; CONTACT RATING: 5 A; COIL VOLTAGE: 230VAC/24VDC; TERMINAL: 9 SCREW; MOUNT: RAIL; CONTACT MATERIAL: AGNI 90/10; MANUF P/N: NGZ720.455-01-04
	EA
	6
	
	

	683636
	RELAY, TIME DELAY: OPERATION: ON-DELAYED WITH 1 C/O (SPDT) CONTACT; CONTACT ARRANGEMENT: 1 C/O; ACTION: 1 C/O (SPDT); CONTACT RATING: 4 (AC-12); 3 (AC-15) A; COIL VOLTAGE: 24 (A1-A2) VDC; 230 (A1-B1) VAC; TERMINAL: SCREW TERMINALS AND 6 TERMINALS; MOUNT: DIN RAIL; CONTACT MATERIAL: AGCDO; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947; IEC 61812-1; SUPPL P/N: 1SVR550107R2100
	EA
	30
	
	

	576737
	RELAY, TIME DELAY: OPERATION: 0.15S-300HR; CONTACT ARRANGEMENT: 2NO; ACTION: 2 CHANGEOVER; CONTACT RATING: 5 A; COIL VOLTAGE: 230VAC/24VDC; TERMINAL: 9 SCREW; MOUNT: RAIL; CONTACT MATERIAL: AGNI 90/10; OEM P/N: NGZ72.445-01-02, OEM: GE STEAM POWER SERVICE
	EA
	30
	
	

	701015
	RELAY, TIME DELAY: OPERATION: DELAYED ON OPERATION; CONTACT ARRANGEMENT: 2NC; ACTION: DPDT; CONTACT RATING: 15 A; COIL VOLTAGE: 230 VAC; TERMINAL: 11; MOUNT: PLUGGED ON A RELAY BASE; OEM P/N: ST100; TIME RANGE: UP TO 120 SEC; COAL BUFFALO FEEDER SPARE; SLIMLINE
	EA
	96
	
	

	700993
	RELAY, TIME DELAY: OPERATION: DELAYED ON OPERATION; CONTACT ARRANGEMENT: 2NC; ACTION: DPDT; CONTACT RATING: 15 A; COIL VOLTAGE: 230 VAC; TERMINAL: 11; MOUNT: PLUGGED ON A RELAY BASE; OEM P/N: ST101; ST101; TIME RANGE: UP TO 240 MIN; COAL BUFFALO FEEDER SPARE; SLIMLINE
	EA
	96
	
	

	670156
	RELAY, TIME DELAY: OPERATION: 10 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: SPDT; CONTACT RATING: 10 A; COIL VOLTAGE: 230VAC/24VDC; TERMINAL: 11 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: IP20; MANUF P/N: T2D
	EA
	6
	
	

	671070
	RELAY, THERMAL: TYPE: MOTOR PROTECTION; COIL VOLTAGE: 24 VDC; CONTACT RATING: 3 A; CONTACT ARRANGEMENT: 2 CO; ENCLOSURE RATING: IP20; OVERALL WIDTH: 100 MM; OVERALL LENGTH: 90 MM; OVERALL HEIGHT: 22.5 MM; MANUF P/N: 3RN2012-1BA30; SCREW TYPE; TERMINAL 2 CHANGE OVER; CONTACTS 24V AC/DC; MANUAL/AUTO/REMOTE RESET WITH ATEX APPROVAL 2 LEDS; READY/TRIPPED TEST RESET BUTTONVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	18
	
	

	622127
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 220 VAC; CONTACT RATING: 16-24 A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: PLASTIC; SUPPL P/N: 193-TAC24; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	90
	
	

	620475
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 0.65-1.1 A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; SUPPL P/N: 113703; RT1F; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	60
	
	

	637641
	RELAY, THERMAL: TYPE: PLUGGABLE INTERFACE; COIL VOLTAGE: 230 VAC; CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 4NO 4NC; ENCLOSURE RATING: IP40; REFERENCE NO: 1SVR405613R3100; SUPPL P/N: CR-M230AC4L; SPDT; WITH LEDVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	18
	
	

	575152
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 5.5A-8.5A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113709; RT11M; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	12
	
	

	575149
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 0.16A-0.26A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113700; RT1B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	48
	
	

	575232
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 1A-1.5A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113704; RT1G; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	48
	
	

	575212
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 2.5A-4A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113707; RT1K; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	60
	
	

	575202
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 4A-6.3A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113708; RT1L; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	24
	
	

	575180
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 1.3A-1.9A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113705; RT1N; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	60
	
	

	575166
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 10A-16A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113711; RT1P; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	12
	
	

	575153
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 14.5A-18A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113712; RT1S; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	12
	
	

	575141
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 21A-26A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113714; RT1U; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	18
	
	

	575203
	RELAY, THERMAL: TYPE: OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT RATING: 8A-12A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: OPEN; MANUF P/N: 113710; RT1N; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	60
	
	

	588769
	RELAY: TYPE: REED; COIL VOLTAGE: 5 VDC; CONTACT ARRANGEMENT: 1NC; CONTACT RATING: 0.5 A; ACTION: SPST; TERMINAL: 8 PIN SOLDER; MOUNT: PCB; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: RHODIUM; MANUF P/N: 1782775, MANUFACTURER: RS COMPONENTS; SPECIFICATION: C.O.C; Q4:NSF:NC:0
	EA
	60
	
	

	604419
	RELAY: TYPE: INTERFACE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: SINGLE CONTACT; CONTACT RATING: 140 W; ACTION: DPDT; TERMINAL: 14 PIN; MOUNT: DIN RAIL; ENCLOSURE RATING: 6 KV; MANUF P/N: 2966171, MANUFACTURER: PHOENIX CONTACT (PTY) LTD
	EA
	72
	
	

	580258
	RELAY: TYPE: INTERFACE MODULE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1; CONTACT RATING: 6 A; ACTION: SPDT; TERMINAL: SCREWLESS; MOUNT: RAIL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG/NI; MANUF P/N: 38.61.7.024.0050
	EA
	36
	
	

	648050
	RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3CO; CONTACT RATING: 24 VDC; ACTION: 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: SOCKET; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AGNI SILVER NICKEL; MANUF P/N: 3BHL001374P001; REFERENCE NO: 60.13.9.024.0040; 250 VOLT AC CONTACT; RATED LOAD @ 250 VAC IS 500 VA; TEMPERATURE -40 TO 70 DEG C;ENVIRONMENTAL PROTECTION RT1
	EA
	6
	
	

	656372
	RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 110 VAC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 230 V; ACTION: ST; TERMINAL: 10; MOUNT: SCREW/SNAP ON; ENCLOSURE RATING: IP20; MANUF P/N: 3RH1131-1AF00; SIZE S00; INSULATION VOLTAGE 690V; 6A-230V; 3A-400V
	EA
	30
	
	

	656132
	RELAY: TYPE: TIMING; COIL VOLTAGE: 24-230 V; CONTACT ARRANGEMENT: 1CO; CONTACT RATING: 24-250 V; ACTION: SPDT; TERMINAL: SCREW; MOUNT: SCREW/SNAP ON; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AGSNO2; MANUF P/N: 3RP1512-1AP30; 1 CHANGE OVER CONTACT; 1 TIME RANGE 1.5 TO 30 SECONDS
	EA
	12
	
	

	656103
	RELAY: TYPE: COUPLING; COIL VOLTAGE: 24-240 V; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 3 A; ACTION: 1P; TERMINAL: SCREW; MOUNT: SNAP ON; ENCLOSURE RATING: IP20; CONTACT MATERIAL: HARD GOLD PLATED; MANUF P/N: 3RS1800-1HW01; SWITCHING BEHAVIOUR MONOSTABLE; AMBIENT MINIMUM TEMPERATURE -25 TO MAXIMUM 60 DEG C
	EA
	90
	
	

	656171
	RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 6NO 4NC; CONTACT RATING: 24 VDC; ACTION: 10P; TERMINAL: SCREW; MOUNT: SNAP ON AND SCREW; ENCLOSURE RATING: IP20; SPECIFICATION: EN 50011; MANUF P/N: 3TH43 64-0BB4; 64E; SIZE OF CONTACTOR 0; AMBIENT TEMPERATURE DURING OEPRATION -25 TO 55 DEG C
	EA
	18
	
	

	667340
	RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 8 A; ACTION: DPDT; TERMINAL: 8 BLADE TERMINAL; MOUNT: PLUG IN; ENCLOSURE RATING: RT II; CONTACT MATERIAL: AGNI; MANUF P/N: 46.52.9.024.0040
	EA
	18
	
	

	661301
	RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2CO; CONTACT RATING: 10 A; ACTION: DPDT; TERMINAL: 8 QUICK CONNECT TERMINALS; MOUNT: PLUG IN; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG NI; MANUF P/N: 55.32.9.024.0040; 8 PIN; FOR USE ON US 1 &2 HPU
	EA
	12
	
	

	580257
	RELAY: TYPE: CONTROL; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3; CONTACT RATING: 20 A; ACTION: 3PDT; TERMINAL: PLUG IN; MOUNT: SOCKET; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG/NI; MANUF P/N: 55.33.9.024.0090
	EA
	18
	
	

	581672
	RELAY: TYPE: ELECTROMAGNETIC; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4CO; CONTACT RATING: 7 A; ACTION: 4PDT; TERMINAL: 14 PIN; MOUNT: SOCKET; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AGNI; OEM P/N: 55.34.9.024.0090, OEM: GE STEAM POWER SERVICE
	EA
	30
	
	

	581673
	RELAY: TYPE: ELECTROMAGNETIC; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 4CO; CONTACT RATING: 7 A; ACTION: 4PDT; TERMINAL: 14 PIN; MOUNT: SOCKET; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AGNI; OEM P/N: 55.34.9.220.0090, OEM: GE STEAM POWER SERVICE
	EA
	12
	
	

	663369
	RELAY: TYPE: BRAKE; COIL VOLTAGE: 440VAC/30VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 440 VAC @ 3.5A/30 VDC @ 12A; ACTION: SPST; TERMINAL: 4 PIN; MOUNT: SCREW; ENCLOSURE RATING: IP20; MANUF P/N: 6SL3252-0BB00-0AA0; FOR ASH PLANT (EMERGENCY ASH RECLAIMER)
	EA
	24
	
	

	575260
	RELAY: TYPE: 8 PIN; COIL VOLTAGE: 230VAC; TERMINAL: 2 CONTACTS; MOUNT: RACK
	EA
	24
	
	

	609277
	RELAY: TYPE: AC MONOSTABLE; COIL VOLTAGE: 6-230 VAC; 6-220 VDC; CONTACT ARRANGEMENT: 3NC; CONTACT RATING: 10 A; ACTION: 3PDT; TERMINAL: 11 PIN; MOUNT: SOCKET; ENCLOSURE RATING: IP20; CONTACT MATERIAL: 90/10AGNI; SPECIFICATION: IEC 61810-1; SUPPL P/N: 7-1393091-7; S-RMT321220; MT SERIES AC WITH TEST BUTTON VERSION
	EA
	36
	
	

	226177
	RELAY: TYPE: AUXILIARY; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 6NO; CONTACT RATING: 300 VAC 5 A 1250 VA; MOUNT: PANEL; CONTACT MATERIAL: CU SILVER PLTD; SUPPL P/N: MVAA11T1NA1151A
	EA
	12
	
	

	502174
	RELAY: TYPE: BI-STABLE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 6NO 6NC; CONTACT RATING: 220-250 V; ACTION: 2P20T; TERMINAL: 48 SCREW; MOUNT: FLUSH; ENCLOSURE RATING: IP52; CONTACT MATERIAL: AGNI; MANUF P/N: MVAJ 205TB1010A
	EA
	12
	
	

	576726
	RELAY: COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 8 CHANGEOVER LATCHING; CONTACT RATING: 10 A; ACTION: 8PST; TERMINAL: 32 BASE CLAMP TERMINALS; MOUNT: BASE CLAMP; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AGNI; OEM P/N: BJ-8BB-220V, OEM: GE STEAM POWER SERVICE
	EA
	18
	
	

	681330
	RELAY: TYPE: CM-PVS.41; COIL VOLTAGE: 230 VAC; 24 VDC; CONTACT ARRANGEMENT: 2 SPDT OPEN/CLOSE; 2NO/2NC; CONTACT RATING: 4 A; ACTION: THREE-PHASE MONITORING RELAY; TERMINAL: 6 SCREW; MOUNT: DIN RAIL (IEC 60715); ENCLOSURE RATING: RELAY HOUSING RATED AT IP50; SPECIFICATION: IEC 60255-6; SUPPL P/N: CM-PVS.41; THE SUPPLIER SHOULD PROVISE DATASHEET OF THIS COMPONENT TO THE END USER DURING THE PROCUREMENT PROCESSES; THREE PHASE MONITORING RELAY: MEASURING RANGE: 3 X 300 - 500VAC
	EA
	24
	
	

	616800
	RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 0.1-1.1 VAC; CONTACT ARRANGEMENT: 4NO; CONTACT RATING: 18 A; ACTION: SPDT; TERMINAL: SCREW; MOUNT: PUSH ON; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947-5-1; IEC 61000; SUPPL P/N: 3RT2316-1BB40; MOUNTING RAIL ACCORDING TO DIN EN 50022
	EA
	24
	
	

	632165
	RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO; CONTACT RATING: 10 A; ACTION: 1; TERMINAL: 10; MOUNT: SCREW; ENCLOSURE RATING: IP20; 3RH2140 1BB40; INSULATION VOLTAGE 690 VOLT; DIMENSION WD 45 X HT 57.5 X DP 73MM; TO BE SUPPLIED WITH TOP MOUNTED AUXILIARY CONTACT WITH 4 NORMAL CLOSED CONTACT
	EA
	24
	
	

	609275
	RELAY: TYPE: DC MONOSTABLE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NC; CONTACT RATING: 250 V 10 A; ACTION: ST; TERMINAL: 11 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: 90/10AGN ALLOY; SPECIFICATION: IEC61810; SUPPL P/N: 7-1393091-0; S-RMT321024; MT SERIES DC WITH TEST BUTTON VERSION
	EA
	36
	
	

	661270
	RELAY: TYPE: CONTROL; COIL VOLTAGE: 380-440 V; CONTACT ARRANGEMENT: 4NO; CONTACT RATING: 10 A; ACTION: 3P; TERMINAL: 10; MOUNT: SURFACE; ENCLOSURE RATING: GENERAL PURPOSE; SPECIFICATION: IEC/EN 60947-5-1; MANUF P/N: DIL ER40-E; MODEL NO: XTRM10A40; RATED IMPULSE WITHSTAND VOLTAGE 6000V
	EA
	66
	
	

	678530
	RELAY: TYPE: DT3030; COIL VOLTAGE: 24/48 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 5 A; ACTION: 2 TERMINAL BLOCK; DIP SWITCHES; CT CONNECTONS AND COMMS.CONNECTION; TERMINAL: SCREW; MOUNT: PANEL/FIXED MOUNT; ENCLOSURE RATING: IP00; SPECIFICATION: IEC 255; ANSI C37.90; 1989; UL 1053; SUPPL P/N: 3BHB017877R0001; DT3030 3BHB017877R0001; DT3030
	EA
	6
	
	

	644081
	RELAY: TYPE: EARTH FAULT MONITOR; COIL VOLTAGE: 12-280 VDC; CONTACT RATING: 10.8-308 VDC; SUPPL P/N: 5701300046
	EA
	48
	
	

	699103
	RELAY: TYPE: EDR 3000; COIL VOLTAGE: 19-300 VDC; CONTACT ARRANGEMENT: BINARY OUTPUT 4 CO CONTACTS; CONTACT RATING: BINARY OUTPUT 5 A; ACTION: CT CONNECTION; BINARY OUTPUT AND DIGITAL INPUTS AND COMMS PORTS; TERMINAL: SCREW TYPE TERMINALS FOR CT CONNECTIONS BINARY OUTPUT AND DIGITAL INPUTS; MOUNT: PANEL MOUNTED; ENCLOSURE RATING: IP00; SPECIFICATION: IEC 61000 AND IEC60255; OEM P/N: 2UBA012258R0001; S3-MISC REPLACEMENT KIT FOR DT-3030 PROTECTION RALAY USED BY ABB ACS 5000 VSD INCLUDING EDR-3000 RELAY; FDR 3000 HAS LCD DISPLAY WITH 128 X 64 PIXEL AND LEDS; DIGITAL (MAX 300 VDC & 270 VAC) NOMINAL CT CURRENT IS 1A/5A; RS232 INTERFACE AND RS485
	EA
	30
	
	

	663839
	RELAY: TYPE: EMERGENCY STOP MODULE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 2 A; ACTION: 3PST; TERMINAL: SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: GOLD PLATED; MANUF P/N: BD 5935  48/ 61 24VDC; THERMAL CURRENT 10A MAX; IMPULSE VOLTAGE 4KV; THERMOPLASTIC; WD 45 X HT 74 X DP 121 MM; 48 CONTACTS
	EA
	18
	
	

	669285
	RELAY: TYPE: POWER PLUG-IN; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2CO; CONTACT RATING: 5 A; ACTION: DPDT; TERMINAL: 8 TERMINALS AND PCB PIN; MOUNT: PLUG IN; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG NI; MANUF P/N: G2R-2-SNI-24VDC-(S)
	EA
	6
	
	

	234486
	RELAY: TYPE: GENERATOR TRANSFORMER PROTECTION; COIL VOLTAGE: 220 VDC; CONTACT RATING: 250 V 5 A; MOUNT: FLANGE; ENCLOSURE RATING: IP52; SUPPL P/N: P63384891140-304-406-60604E09; P63384891140305406610712462921800; P633 MULTIPLE FUNCTION
	EA
	12
	
	

	633001
	RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 250 VDC; ACTION: 4PDT; TERMINAL: PUSH ON; MOUNT: PLUG; ENCLOSURE RATING: NEMA 6; CONTACT MATERIAL: NI PLTD; SUPPL P/N: 55.34.9.024.0040; FINDER GENERAL PURPOSE RELAY; PRODUCT RANGE 55 SERIES; CONTACT CONFIGURATION 4PDT; CONTACT CURRENT 7A; RELAY MOUNTING SOCKET; CONTACT MATERIAL SILVER NICKEL; COIL RESISTANCE 600 OHMS; RELAY MUST BE COMPLETE WITH BASE; BASE MUST BE PANEL MOUNT WITH SOLDER CONNECTIONS; M3 SCREW FIXING; METAL RETAINING CLIP
	EA
	12
	
	

	627605
	RELAY: TYPE: HARD GOLD PLTD; COIL VOLTAGE: 220-240 VDC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 48 VDC; ACTION: 3PDT; TERMINAL: 15 PIN PLUG IN; MOUNT: PCB; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC EN 60947-5-1; SUPPL P/N: 3RS1800-1HP01
	EA
	48
	
	

	580194
	RELAY: TYPE: IED 80TE; MOUNT: FRONT PANEL; ENCLOSURE RATING: IP20; SPECIFICATION: EN6025S-27;2005; MANUF P/N: P39191R001A; POWER SUPPLY; VX 60-250 VDC / 100-230VAC; 50/60HZ; OPERATING RANGE 48-300VDC / 85-253VAC (RMS); AUX SUPPLY INPUT BURDEN 11W/24VA; RATINGS LOW FREQ MEASURING INPUTS 0.25, 0.5; DC FIELD VOLTAGE INPUTS 1200VDC MAX; TERMINALS AC VOLTAGE INPUTS; PROTECTIVE CONDUCTOR TERMINAL; CURRENT LOOP OUTPUT
	EA
	12
	
	

	502189
	RELAY: TYPE: INDICATION; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 220 VDC; ACTION: 1P2T; TERMINAL: 6 SCREW; MOUNT: FLUSH; ENCLOSURE RATING: IP52; CONTACT MATERIAL: AGNI; MANUF P/N: MVAX12 B1DAB 001A
	EA
	12
	
	

	583383
	RELAY: TYPE: INDICATOR; COIL VOLTAGE: 230 V; CONTACT ARRANGEMENT: 2DPDT; CONTACT RATING: 15 A; ACTION: 2P; TERMINAL: SCREW; MOUNT: RAIL; ENCLOSURE RATING: IP55; CONTACT MATERIAL: AGNI; MANUF P/N: 49.52.8.230.0060
	EA
	6
	
	

	583382
	RELAY: TYPE: INTERFACE; COIL VOLTAGE: 230 V; CONTACT ARRANGEMENT: 3NO; CONTACT RATING: 10 A; ACTION: 3SPDT; MOUNT: SCREW; ENCLOSURE RATING: IP55; CONTACT MATERIAL: AGNI; MANUF P/N: CR-M230AC3L+CR-M355
	EA
	12
	
	

	597747
	RELAY: TYPE: PLUG IN; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 6 A; ACTION: 4P; TERMINAL: SCREW; MOUNT: PLUG IN; ENCLOSURE RATING: IP00; SPECIFICATION: DIN EN50022; OEM P/N: LZX: PT570024; 4 CONTACTS
	EA
	12
	
	

	659257
	RELAY: TYPE: PLUG IN; COIL VOLTAGE: 24 V; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 2 A; ACTION: 4PDT; TERMINAL: PLUG IN; MOUNT: BASE; ENCLOSURE RATING: IP20/IP67; CONTACT MATERIAL: AGNI 90/10; SPECIFICATION: IEC 60947; MANUF P/N: LZX:PT570524; AMBIENT TEMPERATURE DURING OPERATION -40 TO 70 DEG C; WD 22.5 X HT 28 X DP 35 MM; MONOSTABLE SWITCHING; THERMAL CURRENT 6A; OUTPUT RELAY AT AC-15 AT 250 V = 2A; AMPACITY OF THE OUTPUT RELAY AT DC 13 AT 24 V = 4A; UR, VDE, EAC, CE APPROVED
	EA
	48
	
	

	580195
	RELAY: TYPE: MICOM IED PROTECTION/CNTR 40TE; TERMINAL: PIN TERMINAL; MOUNT: FLUSH; ENCLOSURE RATING: IP20; MANUF P/N: P1325494040NVOBE00; CT, 1A/5A; VT, 50-130V 4 POLE; WITHOUT ADITIONAL BINARY OPTIONS; POWER SUPPLY AND ADDITIONAL OUTPUTS, VA 48-250VDC/100-230VAC; PC INTERFACE DIN 41652 CONNECTOR TYPE D-SUB; 9 PIN
	EA
	12
	
	

	581671
	RELAY: TYPE: OVERCURRENT; COIL VOLTAGE: 48-250VAC/DC; CONTACT ARRANGEMENT: 7NO 3NC; CONTACT RATING: 5 A; ACTION: 3 SPDT/4 SPST; TERMINAL: 54 PIN; MOUNT: PANEL; ENCLOSURE RATING: IP52; CONTACT MATERIAL: AGCDO; OEM P/N: MICOM PI22, OEM: GE STEAM POWER SERVICE
	EA
	12
	
	

	576752
	RELAY: TYPE: PLC INTERFACE; COIL VOLTAGE: 230 VAC; 220 VDC; CONTACT ARRANGEMENT: 1; CONTACT RATING: 50 MA; ACTION: SPDT; TERMINAL: 9 SCREW; MOUNT: RAIL; ENCLOSURE RATING: IP67; CONTACT MATERIAL: AGSNO; OEM P/N: PLCRSC-230UC/21AU, OEM: GE STEAM POWER SERVICE
	EA
	24
	
	

	576751
	RELAY: TYPE: PLC INTERFACE; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1; CONTACT RATING: 50 MA; ACTION: SPDT; TERMINAL: SCREW; MOUNT: RAIL; ENCLOSURE RATING: IP67; CONTACT MATERIAL: AGSNO; OEM P/N: PLCRSC-24UC/31AU, OEM: GE STEAM POWER SERVICE
	EA
	78
	
	

	576697
	RELAY: TYPE: PLUGABLE INTERFACE; COIL VOLTAGE: 110 V; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 110 V; ACTION: SPDT; TERMINAL: 14 PIN PLUG IN; MOUNT: SOCKET; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AGNI/AU 5UM; MANUF P/N: CR-M110AC4L
	EA
	6
	
	

	576690
	RELAY: TYPE: PLUGABLE INTERFACE; COIL VOLTAGE: 250VAC-24VDC; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 250 V 6 A; ACTION: SPDT; TERMINAL: 14 PIN PLUG IN; MOUNT: SOCKET; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AGNI/AU 5UM; MANUF P/N: CR-MO24DC4
	EA
	12
	
	

	583381
	RELAY: TYPE: PLUGGABLE INDUSTRIAL; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: SINGLE; CONTACT RATING: 5 A; ACTION: 4PDT; TERMINAL: 12; MOUNT: ANY POSITION; ENCLOSURE RATING: RT I; CONTACT MATERIAL: AGNI HARD GOLD PLATED; MANUF P/N: 2834096; REL-IR/LDP-24DC/4X21AU; DEGREE OF POLLUTION 2; WITH POWER CONTACTS AND ADDITIONAL HARD GOLD PLATING; TEST BUTTON; STATUS LED; FREE WHEELING DIODE; MECHANICAL SWITCH POSITION INDICATOR; POLARITY A1+, A2; OPERATION TEMPERATURE -55 TO 70 DEG C; WD 21.5MM X HT 28MM X DP 36MM
	EA
	12
	
	

	672091
	RELAY: TYPE: PLUG-IN; COIL VOLTAGE: 24 VAC; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 6 A; ACTION: 4 C/O; TERMINAL: 14 PIN FLAT; MOUNT: BASE MOUNTED; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AGNI; SPECIFICATION: IEC 61810-1 IEC 60529; OEM P/N: RXN4AB2B7; INSULATION VOLTAGE: 250VAC; IMPULSE WITHSTAND VOLTAGE: 2,5KV; RESISTIVE RATED LOAD: 6A @ 250 VAC; MAX SWITCH CAPACITY: 1500VA /168W; COAL RESISTANCE: 180 (OHM); 1P40
	EA
	6
	
	

	502172
	RELAY: TYPE: PROTECTION; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 12NO 8NC; CONTACT RATING: 220 VDC; ACTION: 16P54T; TERMINAL: 114 SCREW; MOUNT: FLUSH; ENCLOSURE RATING: IP10; IP50; IP52; MANUF P/N: P125 BB0W112 BB; 3I
	EA
	12
	
	

	502195
	RELAY: TYPE: PROTECTION; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 17NO 34NC; CONTACT RATING: 220 VDC; ACTION: 17P18T; TERMINAL: 76 SCREW; MOUNT: FLUSH; ENCLOSURE RATING: IP52; IP20; MANUF P/N: P634 8481144 PE02L00; 3 I & 3 V
	EA
	12
	
	

	502183
	RELAY: TYPE: PROTECTION; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 24NO 24NC; CONTACT RATING: 220 VDC 10 A; ACTION: 14P51T; TERMINAL: 156 SCREW; MOUNT: FLUSH; ENCLOSURE RATING: IP20; MANUF P/N: P345 316 C6M0330K; 3I & 3V
	EA
	12
	
	

	581493
	RELAY: TYPE: PLC-RSC-24DC/21-21/AEX; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 6 A; ACTION: DPDT; TERMINAL: 8 BRIDGE SOCKET; MOUNT: DIN RAIL; ENCLOSURE RATING: IP65; CONTACT MATERIAL: AGNI; MANUF P/N: REL22; REFERENCE NO: PLC-RSC-24DC/21-21/AEX
	EA
	30
	
	

	594720
	RELAY: TYPE: BELT PROTECTION SYSTEM; COIL VOLTAGE: 12 VAC/DC; CONTACT ARRANGEMENT: 14NO; CONTACT RATING: 10 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: PLUG IN/SOLDER TERMINAL; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AG ALLOY; SPECIFICATION: ELT REL31; OEM P/N: REL31 12VDC; EQUIPPED WITH LED INDICATOR & PUSH TO TEST BUTTON
	EA
	114
	
	

	594923
	RELAY: TYPE: BELT PROTECTION SYSTEM; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 14NO; CONTACT RATING: 10 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: PLUG IN/SOLDER TERMINAL; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AG ALLOY; SPECIFICATION: ELT REL31; OEM P/N: REL31 24VDC; EQUIPPED WITH LED INDICATOR & PUSH TO TEST BUTTON
	EA
	161
	
	

	690276
	RELAY: TYPE: RM 6; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO; CONTACT RATING: 10 A; ACTION: 3NO (SPST); TERMINAL: PLUG IN; MOUNT: PLUG-IN VERSION ON BASE; ENCLOSURE RATING: IP 00; CONTACT MATERIAL: AGCDO; SPECIFICATION: IEC 61810; OEM P/N: 3BHB010569R0001; RM602024; CONTACT GAP 3MM; RATED VOLTAGE 230VAC; SWITCHING POWER 3800VA; FREQUECY OF OPERATION WITH/WITHOUT LOAD PER HOUR 960/6000/H
	EA
	18
	
	

	616567
	RELAY: TYPE: SIRIUS SAFETY; COIL VOLTAGE: 0.85-1.1 VAC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 5 A; ACTION: SPDT; TERMINAL: SCREW ON; MOUNT: PUSH ON; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947-5-1; IEC 61000; SUPPL P/N: 3SK1111-1AB30
	EA
	12
	
	

	571314
	RELAY: TYPE: SAFETY; COIL VOLTAGE: 24 VDC; SPECIFICATION: SIL3; MANUF P/N: SPE-2981020
	EA
	36
	
	

	580255
	RELAY: TYPE: THERMAL OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 1 A; ACTION: 3PDT; TERMINAL: SCREW; MOUNT: HOOK IN; ENCLOSURE RATING: IP20; MANUF P/N: T7DU1.0
	EA
	6
	
	

	580256
	RELAY: TYPE: THERMAL OVERLOAD; COIL VOLTAGE: 690 VAC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 4 A; ACTION: 3PDT; TERMINAL: SCREW; MOUNT: HOOK IN; ENCLOSURE RATING: IP20; MANUF P/N: T7DU4.0
	EA
	6
	
	

	115655
	RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220-230 VAC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 500 VAC 4 A; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: KFA6-SR2-EX1.W.LB; AMPLIFIER SWITCH F KEI-1
	EA
	0
	
	

	663431
	RELAY: TYPE: CONTROL; COIL VOLTAGE: 120 V; CONTACT ARRANGEMENT: 4NO; CONTACT RATING: 10 A; ACTION: 4P; TERMINAL: SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: GENERAL PURPOSE; MANUF P/N: DIL ER-40; XTRM10A-40
	EA
	60
	
	


	The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Contents

24Part 3: Scope of Work


25C3.1: Purchaser’s Goods Information


261
Overview and purpose of the goods and services


262
Specification and description of the goods


272.1
Factory acceptance testing (FAT)


272.2
Other tests and inspections and commissioning in place of use


272.3
Operating manuals and maintenance schedules


273
Supply Requirements


274
Specification of the services to be provided


275
Constraints on how the Supplier Provides the Goods


275.1
Programming constraints


275.2
Work to be done by the Delivery Date


285.3
Constraints at the delivery place and place of use


285.4
Services & other things to be provided by the Purchaser or Supplier


285.5
Management meetings


285.6
Documentation control


285.7
Health and safety risk management


285.8
Environmental constraints and management


285.9
Quality


285.10
Invoicing and payment


295.11
Contract change management


295.12
Provision of bonds and guarantees


295.13
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


296
Procurement


296.1
Subcontracting


296.1.1
Preferred subcontractors


296.1.2
Limitations on subcontracting


296.1.3
Spares and consumables


296.1.4
SD&L requirements


306.1.5
Cataloguing requirements by the Supplier


307
List of drawings


307.1
Drawings issued by the Purchaser


30C3.2
Supplier’s Goods Information




1 Overview and purpose of the goods and services
The reliability and availability of the Relays in general, is a concern for Medupi Power station due to unplanned downtime, and it has contributed too many production risks on the Units.  Initiatives to improve the reliability and availability of the Relays amongst others includes, placing spares supply contracts for continuous involvement on the plant on a daily basis. The Goods to be supplied by the supplier are stated on Medupi Power Station Scope of work for the supply of Relays 241-202230 revision 1.
2 Specification and description of the goods
This document will cover the requirements for the Supply of the Relays at Medupi Power Station. 
2.1 Factory acceptance testing (FAT)

The Supply Manager will inform the Supplier on the task order if factory acceptance test is required before delivery. The factory acceptance test will be performed by the engineer from Eskom. The Supply Manager shall provide the information of engineer to witness factory acceptance test. The test procedure or plan must be shared with the Supply Manager for acceptance before the actual testing date.
2.2 Other tests and inspections and commissioning in place of use

All goods are to be tested and quality checked by the Supply Manager engineers upon Delivery. The Supplier does not need to witness the test and quality checks. 

2.3 Operating manuals and maintenance schedules
Where applicable; test certificates, material certificate, manuals, General Arrangement (GA) drawing/s, Approved Inspection Authority (AIA) stamp and signature provided as required. All documents must be obtained during or before delivery of goods.

Data capturing forms information must be supplied and must meet an acceptable level.
3 Supply Requirements

The Works Information specifies the required spares, quantities of spares to be supplied by the Supplier/OEM and conditions for acceptance The spares and quantities to be supplied are stated on Medupi Power Station Scope of work for the supply of Relays 241-202230 revision 1.

The following are supplier’s requirements:

a) The spares and components will be supplied to the “goods received” section of the Medupi main store where they will be received by the material management section.  The spares will be delivered with all of the required data books and certificates, where required. 

Medupi Stores Working Times: Monday – Thursdays:
07h00 – 16h00






Fridays:


07H00 – 12h00

b) Only once the spares have passed the Quality control checks and are booked into the system can payment be effected.

c) The Spare has to be the same in all respects when compared to the original equipment, supplied to Eskom by OEM under contract. This includes all aspects such as design, materials and material specifications, manufacturing, including manufacturing processes and acceptance testing.  Where spares offered deviate from the original in any respect, it should be indicated to the Employer.

d) It is the Contractor’s responsibility to ensure that correct spares are delivered.  If the incorrect spares are delivered, the spares will have to be replaced with the correct spares at the Contractor cost.  This includes transport and delivery.

e) The Delivery and Transport Costs (including off-loading items) must be included in the quotation.

The following packaging requirements should be adhered to:

a) The Goods are to be packaged in such a manner that they can be transported and stored for an extended period of time without resulting in damage to the goods. 

b) This includes damage due to moisture ingress, corrosion, vibration from the power station etc.

c) Where lifting gear is utilised to move the goods, the packaging should allow the lifting operation and ensure that the goods are not damaged in any way during the process. 

d) It will also not be necessary to open packaging for any lifting or transport operation.  

e) Where eyebolts are fitted to move the goods, these eyebolts should be fitted in such a way that they can be easily removed and replaced with the Purchaser’s eyebolts, ensuring that the packaging stays intact.

f) The different spares types are to be packaged separately in such a way that each type can be stored separately. 

g) Packaging and labelling of spares should ensure that the spare can be identified without opening the packaging. 

h) Where possible the packaging should ensure that parts can be positively identified through the packaging. Where this is not possible, the packaging should allow opening and closing of the packaging and still maintain the packaging integrity afterwards. 

i) Delivery packaging to have the following detail on it as a minimum (removable adhesive sticker if possible):

· Order number,

· A short description of the component

· The stock number 

· Manufacturing date, where possible

4 Specification of the services to be provided

Refer to Medupi Power Station Scope of work for the supply of Relays 241-202230 revision 1.
5 Constraints on how the Supplier Provides the Goods

5.1 Programming constraints 

The Supplier to provide delivery plan (as per clause 31.2) of the goods after receiving the task order.
5.2 Work to be done by the Delivery Date

No incorrect, damaged or faulty spares will be accepted. All spares will be inspected before and after offloading. Where testing is required, the test will be done during delivery. All required manuals and test certificates must be available during delivery. 

5.3 Constraints at the delivery place and place of use

The Supplier shall adhere to Eskom speed limit of 40 km/h while driving on site. The preferred delivery times are Monday to Thursday between 07:00-16:00 and Friday between 07:00-12:00. However, for urgent delivery, the Supplier will communicate with the Supply Manager to agree on the time and date of delivery. 

The Supplier shall adhere to Eskom Life Saving rules

5.4 Services & other things to be provided by the Purchaser or Supplier
The Purchaser will provide the overhead cranes and forklift during offloading of the goods. The Purchaser will also provide the operator for both machines. 

5.5 Management meetings

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

5.6 Documentation control

Contractual communication can be done though emails. For urgent request, both Parties can use telephone as form of communication, however it should be confirmed by email. 

5.7 Health and safety risk management

The Supplier shall comply with the health and safety requirements of ISO 45001 and OHSAct No.85 of 1993.
5.8 Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints.

5.9 Quality

The Supplier shall comply with the requirements of ISO 9001:2015.

5.10 Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

· Name and address of the Supplier and the Supply Manager; 

· The contract number and title;

· Supplier’s VAT registration number;

· The Purchaser’s VAT registration number which is 4740101508.
· Description of goods and services provided for each item invoiced based on the Price Schedule;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

Procedure for invoice submission and payment

· All Electronic invoices must be sent in PDF format only. 

· An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

· The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.” 

· All queries and follow up on invoice payments should made by contacting the FSS Contact Centre:   Tel: 011 800 5060 or email:fss@eskom.co.za

5.11 Contract change management 
The Purchaser will provide a standard form for contract communications. Forms for compensation event, instructions, risk register, early warning, notifications

5.12 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract. 

5.13 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
The Supplier will prepare the assessment of compensation event and the Purchaser must review before accepting. Both parties keep records of the assessment for a period of 12 months after the contract has expired. The compensation event prices should be as Price List of the contract.

6 Procurement
6.1 Subcontracting
6.1.1 Preferred subcontractors

The Supplier has full responsibility of Providing the Goods whether subcontracting or not

6.1.2 Limitations on subcontracting

The Supplier can only subcontract 30% minimum of the contract value.

6.1.3 Spares and consumables
The Purchaser may instruct the Supplier to deliver part of the spares as the need arise due to plant condition

6.1.4 SD&L requirements
6.1.5 Cataloguing requirements by the Supplier
When spares are procured, the spare specifications are captured on Data Capturing Forms (DCF’s) and then to SAP materials management. The Supplier will be required to complete the DCF were Eskom does not have information

7 List of drawings

7.1 Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  

	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.

It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.




This section could also be compiled as a separate file.



� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.







Contract
- 23 -
SC3 


Contract
- 20 -
SC3 

