Specifications for chicken facility rectal thermometers.

Number to be ordered: 3 thermometers

Description

| Display Type | LCD Fahrenheit and Celsius |
| --- | --- |
| Type | Handheld |
| Measurement Time | 6, 10 or 30 seconds |
| Working Temperature | 5°C to 42°C (41°F to 107.6°F) |
| Dimensions | 19.8 x 3.3 x 12.2 cm |
| Battery | CR2032, 3V lithium coin cell battery |
| Reading | Decimal Minimum, Actual and Maximum Temperature |
| Memory | Last completed read-out is stored in memory. Errors are not Recorded. |

Specifications for Chicken facility Insect traps

Number to be ordered: 2 fly traps

Description: High Voltage Insect Killer

| Rated Voltage | 220V-240V˜50/60Hz |
| --- | --- |
| Rated output | 30W |
| Dimensions (mm) | 540 x 113 x 273 mm |
| Range | 100 meters squared |
| Light | Purple UV-A light |
| Tube | 2X15W |
| Killing Mechanism | Electric grid |

Specifications for Chicken Facility scale

Number to be ordered: 1 scale

Description

| Capacity (max.) | 20 kg 44 lb |
| --- | --- |
| Readability | 0.005 kg 0.005 lb |
| Weighing units kg and lb | kg and lb |
| Power | 6V, 500mA DC adapter |
| Batteries | 4 x AA size |
| Pan Size | 560 x 285 mm (22” x 11.2”) |
| Overall Size (w x h x d) | 560 x 350 x 175 mm |