Clarification E3037NTCSAMWP No 1

| TENDERER CLARIFICATION REQUEST | NTCSA RESPONSE TO CLARIFICATION |
| --- | --- |
| - Are you able to provide me with more info on the HV reactor? | - The rating range is 10 MVAr to 133.33 MVAr and the voltage range is 11 kV to 765 kV (in either 3-phase or single-phase configuration). Please refer to the attached power reactor specification 240-60725684 for more technical details. |