Clarification E3037NTCSAMWP No 1
	TENDERER CLARIFICATION REQUEST 
	NTCSA RESPONSE TO CLARIFICATION

	1. Are you able to provide me with more info on the HV reactor? 
	1. The rating range is 10 MVAr to 133.33 MVAr and the voltage range is 11 kV to 765 kV (in either 3-phase or single-phase configuration).
Please refer to the attached power reactor specification 240-60725684 for more technical details.




