Eskom Holdings SOC Ltd

Contract number _________

contract title: Provision of maintenance of Lifts at Medupi Power Station for a period of 60 months (5YRS)



	[image: image1.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Provision of maintenance of Lifts at Medupi Power Station for a period of 60 months (5YRS) Insert title of the service

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Employer
	[●]

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Provision of maintenance of Lifts at Medupi Power Station for a period of 60 months (5YRS) 
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A or C
	The offered total of the Prices exclusive of VAT is 
	R [●]

	Option E
	The first forecast of the total Defined Cost plus the Fee exclusive of VAT is
	R [●]

	
	Sub total
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]




This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X17:
Low service damages

	
	
	X18:
Limitation of liability

	
	
	X19:
Task Order

	
	
	

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	10.1
	The Service Manager is (name): 
	Portia Lutumbu

	
	Address
	Medupi Power Station, Steenbokpan Road

	
	Tel
	

	
	Fax
	N/A

	
	e-mail
	MedupiGxTenders@eskom.co.za

	11.2(2)
	The Affected Property is
	Medupi Power Station

	11.2(13)
	The service is 
	Provision of maintenance of Lifts at Medupi Power Station for a period of 60 months (5YRS)

	11.2(14)
	The following matters will be included in the Risk Register
	All risks will be identified prior and addressed and registered during the risk register meeting that will take place as agreed between the parties

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	 Two (2) weeks

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	1 week/s of the Contract Date

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The service period is
	60 Months (5 Years)

	4
	Testing and defects
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25 day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and  if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	As per NEC TSC3 clause 60

	7
	Use of Equipment Plant and Materials
	As per NEC TSC3 clause 70

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. [●]

	
	
	2. [●]

	
	
	3. [●]

	9
	Termination
	As per NEC TSC3 clause 90

	91.1
	Reason for termination
	This contract will end if the total contract value is depleted or at the end date of the contract whichever comes first.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	4 weeks.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	[●]

	A
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	 South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation 
	 Suggested CPA

	X1.1
	The base date for indices is 
	Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes.

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	0,65
	[Labour]
	[SEIFSA TABLE C3 AHPE]

	
	
	0,15
	[CPI]
	[SEIFSA TABLE D4]

	
	
	0.5
	[Transport]
	SEIFSA Table L2 B

	
	
	[0,15]
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X17
	Low service damages
	

	X17.1
	The service level table is in
	

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

the total of the Prices at the Contract Date

and 

the amounts excluded and unrecoverable from the Employer’s insurance) plus the applicable deductibles

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

Defects due to his design, plan and specification,

Defects due to manufacture and fabrication outside the Affected Property, 

loss of or damage to property (other than the Employer’s property, Plant and Materials),

death of or injury to a person and

infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	12 months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	7 days of receiving the Task Order

	Z
	The additional conditions of contract are
	Z1 to Z14 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z11.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z11.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z11.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z11.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


Z12

Insurance

Z _12_.1
Replace core clause 83 with the following:
	Insurance cover
	83
	

	
	83.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.



	
	83.2
	The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. 

INSURANCE TABLE A

Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage caused by the Contractor to the Employer’s property
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Plant and Materials
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Equipment
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service
Loss of or damage to property

The replacement cost

Bodily injury to or death of a person

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law



	
	
	

	
	
	


Z __12.2
Replace core clause 86 with the following:

	Insurance by the Employer
	86
	

	
	86.1
	The Employer provides the insurances stated in the Insurance Table B

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy

Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document

General and Public Liability

Per the insurance policy document

Transportation (Marine)

Per the insurance policy document

Motor Fleet and Mobile Plant

Per the insurance policy document

Terrorism

Per the insurance policy document

Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption

Per the insurance policy document

Nuclear Material Damage Terrorism

Per the insurance policy document




	Z13
	Nuclear Liability

	Z13.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z13.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 44 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.3
	Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 44 of 1999, or any replacement section dealing with the same subject matter.

	Z13.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z14
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z14.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z14.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z14.3
	The Employer manages asbestos and ACM according to the Standard.

	Z14.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z14.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z14.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z14.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering contractor:

1. Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(15)
	The Service Information for the Contractor’s plan is in:
	     

	21.1
	The plan identified in the Contract Data is contained in:
	     

	24.1
	The key people are:
	

	
	1

Name:
	     

	
	

Job:
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	2

Name:
	     

	
	

Job
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	
	     

	
	
	CV's (and further key person's data including CVs) are in      .

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(19)
	The tendered total of the Prices is
	R     

	C
	Target contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(20)
	The tendered total of the Prices is
	R     

	E
	Cost reimbursable contract
	

	11.2(12)
	The price list is in
	     


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list


	Item
	Description
	Unit
	Quantity 
	 Rate 

	 
	 
	 
	 
	 

	1
	PRELIMINARIES & GENERAL
	 
	 
	 

	 
	 
	 
	 
	 

	1.1
	Site Establishment
	 
	 
	 

	 
	 
	 
	 
	 

	 
	The contractor will be required to a price to purchase the Units in which case the units will become the property of the employer. 
	 
	 
	 

	 
	 
	 
	 
	 

	 
	The price to purchase the units should include :
	 
	 
	 

	 
	(a) Installation of Sewage removal pipes from the ablution mobile units to the nearest connection sewage pipeline of the employer.                                                                                                                                                                                       (b) Connection of potable water from the supply
by the Employer to the various units that require potable water.                                                                         (c) Connection of power from the nearest Eskom supply
point to the various mobile workspace units.                                          (d) Siting and erection at designated contractor lay down area.                                                                         (e) All Certificates of compliance.                                                                  (f) All fittings (excluding furniture).                                                             (g) Container should be in accordance with Eskom safety Requirements                                                                                                                                        
	 
	 
	 

	 
	 
	 
	 
	 

	1.1.1
	12m x 3m Mobile Office
	Each
	1
	 

	1.1.2
	15m x 7m Mobile Office
	Each
	1
	 

	1.1.3
	Mobile toilets male and female
	Each
	2
	 

	1.1.4
	6m x 2.35m Mobile tool containers
	Each
	1
	 

	1.1.5
	Establishment 
	Sum
	1
	 

	 
	 
	 
	 
	 

	1.2
	Occupational Health and Safety
	 
	 
	 

	 
	 
	 
	 
	 

	1.2.1
	Site Specific SHE File
	Once-off
	1
	 

	1.2.2
	First Aid Box (one box per 5 years)
	Once-off
	1
	 

	 
	 
	 
	 
	 

	1.3
	Personal Protective Equipment 
	 
	 
	 

	 
	 
	 
	 
	 

	1.3.1
	PPE (Issued once a year) (14 employees)
	Yearly
	5
	 

	 
	PPE per Outage (4 employees)
	Per Outage
	50
	 

	 
	 
	 
	 
	 

	1.4
	Medicals 
	 
	 
	 

	 
	 
	 
	 
	 

	1.4.1
	Pre-entry assessment (14 employees)
	Once off
	1
	 

	 
	Pre-entry assessment for Outage (4 employees)
	Per Outage
	50
	 

	1.4.2
	Periodic (Yearly) (14 employees)
	Yearly
	4
	 

	1.4.3
	Exit assessment (14 employees)
	Once off
	1
	 

	 
	Exit assessment for Outage (4 employees)
	Per Outage
	50
	 

	 
	 
	 
	 
	 

	1.5
	Security Clearance
	 
	 
	 

	 
	 
	 
	 
	 

	1.5.1
	Criminal security clearance as defined by Eskom Standards. (14 employees)
	Yearly 
	5
	 

	 
	Criminal security clearance as defined by Eskom Standards for Outage. (4 employees)
	Per Outage
	50
	 

	 
	 
	 
	 
	 

	 
	 
	 
	 
	 

	1.6
	Transport
	 
	 
	 

	 
	 
	 
	 
	 

	1.6.1
	7 Seater (1 car)
	Monthly
	60
	 

	1.6.2
	Double Cab Bakkie (4x4) (2 bakkies)
	Monthly
	60
	 

	1.6.2
	Single Cab Bakkie (1 bakkie)
	Monthly
	60
	 

	 
	 
	 
	 
	 

	1.7
	Telecommunication 
	 
	 
	 

	 
	 
	 
	 
	 

	1.7.1
	Cell phones (Technicians and Site Manager) (5 employees)
	Monthly
	60
	 

	 
	 
	 
	 
	 

	1.8
	Annexure Report
	 
	 
	 

	 
	 
	 
	 
	 

	1.8.1
	Registered Lift Inspector (done every 2 years)
	Per inspection
	3
	 

	1.8.2
	Allowance for breakdowns (10%)
	%
	10%
	 

	 
	 
	 
	 
	 

	 
	 
	 
	 
	 

	2
	PROVISION OF MANPOWER
	 
	 
	 

	 
	 
	 
	 
	 

	2.1
	Normal time - Monday - Friday
	 
	 
	 

	 
	 
	 
	 
	 

	2.1.1
	Site Manager 
	Hours
	10380
	 

	2.1.2
	Safety Officer 
	Hours
	10380
	 

	2.1.3
	Lift Technician 
	Hours
	41520
	 

	2.1.4
	Technician Assistance
	Hours
	62280
	 

	 
	 
	 
	 
	 

	 
	Note: All overtime will be subject to the authorisation and approval of management as stipulated in clause 3.8 of the Eskom Conditions of Service Document 32-0019M.Overtime
	 
	 
	 

	 
	 
	 
	 
	 

	2.2
	Weekday Overtime
	 
	 
	 

	 
	 
	 
	 
	 

	2.2.1
	Technician (2 employees)
	Hours
	9600
	 

	2.2.2
	Technician Assistance (2 employees)
	Hours
	9600
	 

	 
	 
	 
	 
	 

	 
	Saturday Overtime
	 
	 
	 

	 
	 
	 
	 
	 

	 
	Technician (2 employees)
	Hours
	2080
	 

	 
	Technician Assistance (2 employees)
	Hours
	2080
	 

	 
	 
	 
	 
	 

	 
	Sunday and Public Holiday Overtime
	 
	 
	 

	 
	 
	 
	 
	 

	 
	Technician (2 employees)
	 
	2560
	 

	 
	Technician Assistance (2 employees)
	 
	2560
	 

	 
	 
	 
	 
	 

	2.3
	Standby
	 
	 
	 

	 
	 
	 
	 
	 

	2.3.1
	Technician (2 employees)
	Period 
	2160
	 

	2.3.2
	Technician Assistance (2 employees)
	Period 
	2160
	 

	 
	 
	 
	 
	 

	2.4
	Outage
	 
	 
	 

	 
	 
	 
	 
	 

	2.4.1
	Lift Operators - Day shift (2 employees)
	Hours
	30096
	 

	2.4.2
	Lift Operators - Night shift (2 employees)
	Hours
	30096
	 

	 
	 
	 
	 
	 




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	

	C3.2
	Contractor’s Service Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s service Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s service Information
2
1
Description of the service
4
1.1
Executive overview
4
1.2
Employer’s requirements for the service
4
1.3
Interpretation and terminology
4
2
Management strategy and start up.
5
2.1
The Contractor’s plan for the service
5
2.2
Management meetings
5
2.3
Contractor’s management, supervision and key people
6
2.4
Provision of bonds and guarantees
6
2.5
Documentation control
6
2.6
Invoicing and payment
6
2.7
Contract change management
6
2.8
Records of Defined Cost to be kept by the Contractor
7
2.9
Insurance provided by the Employer
7
2.10
Training workshops and technology transfer
7
2.11
Design and supply of Equipment
7
2.12
Things provided at the end of the service period for the Employer’s use
7
2.12.1
Equipment
7
2.12.2
Information and other things
7
2.13
Management of work done by Task Order
8
3
Health and safety, the environment and quality assurance
9
3.1
Health and safety risk management
9
3.2
Environmental constraints and management
9
3.3
Quality assurance requirements
9
4
Procurement
10
4.1
People
10
4.1.1
Minimum requirements of people employed
10
4.1.2
BBBEE and preferencing scheme
10
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
10
4.2
Subcontracting
10
4.2.1
Preferred subcontractors
10
4.2.2
Subcontract documentation, and assessment of subcontract tenders
10
4.2.3
Limitations on subcontracting
11
4.2.4
Attendance on subcontractors
11
4.3
Plant and Materials
11
4.3.1
Specifications
11
4.3.2
Correction of defects
11
4.3.3
Contractor’s procurement of Plant and Materials
11
4.3.4
Tests and inspections before delivery
11
4.3.5
Plant & Materials provided “free issue” by the Employer
12
4.3.6
Cataloguing requirements
12
5
Working on the Affected Property
13
5.1
Employer’s site entry and security control, permits, and site regulations
13
5.2
People restrictions, hours of work, conduct and records
13
5.3
Health and safety facilities on the Affected Property
13
5.4
Environmental controls, fauna & flora
13
5.5
Cooperating with and obtaining acceptance of Others
13
5.6
Records of Contractor’s Equipment
13
5.7
Equipment provided by the Employer
14
5.8
Site services and facilities
14
5.8.1
Provided by the Employer
14
5.8.2
Provided by the Contractor
14
5.9
Control of noise, dust, water and waste
14
5.10
Hook ups to existing works
14
5.11
Tests and inspections
14
5.11.1
Description of tests and inspections
14
5.11.2
Materials facilities and samples for tests and inspections
14
6
List of drawings
15
6.1
Drawings issued by the Employer
15


1 Description of the service
1.1 Executive overview 

The scope of work cover’s the Preventative Maintenance, Corrective maintenance (repairs), Service, Statutory Inspections, Assessments, and issue annexures on Lifts installed at Medupi Power Station as contemplated in the Occupational Health and Safety Act 85 of 1993, Reference: Lifts, Escalators and Passenger Conveyors Regulations including after-hours\’s emergency Standby service and provision of spares for all repairs/eventualities.

a) The scope comprises of the preventative maintenance on lifts installed at Medupi Power Station.

b) Exclusions: Lifts under construction shall be excluded at the start of this contract and will form part of contract once guarantee and warrantee expires or on instruction from the employer.

c) The contractor must provide preventative maintenance service as per the OEM’s maintenance.

d) The contractor shall provide qualified and competent lift technician/mechanic with requites equipment and tools to execute maintenance and operating services.

e) The contractor shall be conversant with OEM’s equipment to be maintained.

f) The contractor ensures that the scheduled and emergencies maintenance service is timeously performed regardless of any industrial actions, provided unrestricted access is given
1.2 Employer’s requirements for the service
Maintenance and Repairs

a)
The contractor shall inspect, service, repair and maintain the lifts under this contract at Medupi Power Station to meet their functional requirements. Only OEM spares, material, equipment, and appliances shall be used. In the event of limited supply, the exception of alternative reputable suppliers must first be cleared with the Employer.

b)
The contractor shall maintain the lifts as per OEM’s specification, SANS 53015, and SANS 1545-1

c)
All work shall comply with legal and statutory requirement, Occupational Health and Safety Act 85 of 1993-Lifts Escalators and Passenger Conveyors Regulations

d)
Equipment and materials employed shall be new and manufactured in accordance to EN-81 standards and approved by the resident duly appointed juristic local authorities in SA. Specific brand equipment must be used for the same OEM.

e)
All maintenance activities shall be recorded. These records shall be available for inspection by the Employer in a Record Book, at all times. The record book must be kept updated by the Contractor and stored on site in the locked machine compartment. It shall be available at any time for audit/review.

f)
Planned monthly maintenance shall be carried out according to the SANS 53015-Maintenance for lifts-Rules for maintenance instructions.

g)
Maintenance shall be carried out during normal working hours Monday to Friday, with the exception of emergency breakdown, where response to call out may be after hours and weekends.

NOTE: Maintenance includes but not limited to the machine room, pit, ropes, and car and surrounding areas in and around the lift shaft i.e. all equipment related to the lift.  

h)
The contractor may not perform any modifications to a lift without prior approval from the Employer. The contractor shall identify the risk for any required modifications and inform the Employer thereof in writing for approval. The Contractor shall provide the Employer with the mitigations to minimise the risk where required.

1.3 Interpretation and terminology

The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	NEC 
	New Engineering Contract

	ISO
	International Standard Organisation

	OEM 
	Original Equipment Manufacturer 

	OHS Act
	Occupational Health and Safety Act

	PPE
	Personal Protective Equipment

	PSR
	Plant Safety Regulation

	RP 
	Responsible Person

	SANAS
	South African National Accreditation System

	SANS
	South African National Standards


2 Management strategy and start up.

2.1 The Contractor’s plan for the service
In the case of a breakdown that lasts longer than 2 hours the contractor shall provide a detail activity schedule in MS Project Plan to correct any defects needed to get the lift operational.

This MS Projects Schedule includes:

a)
Description of defect.

b)
Reasons for lengthy repairs.

c)
Activities and sub activities detailing repair regime.

d)
Spare required.

e)
Additional manpower required. Additional manpower must be requested in writing by the contractor to the Employers Representative, Employers Representative shall issue a task order allowing the contractor to bring in additional resources.

f)
Date lift will be back in service.

2.2 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Attendance by:

	Risk register and compensation events
	Monthly
	Employer, Contract Technicians and Contractor

	Safety meeting
	Monthly
	Employer, Contractor and contract Technicians

	Assessment meetings
	Monthly
	Employer, Contractor and contract Technicians

	Contractual Meeting
	Monthly
	Employer, Contractor and contract Technicians


· Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

· All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.3 Contractor’s management, supervision and key people

State any additional constraining requirements on Contractor’s supervision and key people that are not already stated in other sections such as for Health and Safety.  This section could be used to solicit an organogram from the Contractor showing his people and their lines of authority / communication.  This would be essential if the Contractor is a Joint Venture. 

	Designation
	Site Manager
	Safety officer
	Lift Technician/Mechanic
	Technician Assistant
	Lift Operators (Outages)

	Quantity
	1
	1
	4
	6
	6


i.
Competent Lift Mechanic means a person who-

ii.
Has completed a leadership or apprenticeship in the trade of lift mechanic.

iii.
Has completed an electrical or mechanical trade qualification and has had at least one year post qualification general practical experience on lifts; or

iv.
Has obtained a minimum of a NQF level five (5) electrical or mechanical engineering qualification and has had at least one (1) year post qualification general practical experience on lifts.

v.
The contractor shall ensure that only competent persons be allowed to work on plant the Employers Representative is entitled to verify the qualifications of the Contractor.

vi.
The contractor must be knowledgeable about the conditions and scope of work contained in this contract and capable of executing the scope of work.

vii.
The Employers Representative may, having stated reasons, instruct the Contractor to remove a key person. The Contractor then arranges that, after one day, key person has no further connection with the work included in this contract.

viii.
The Contractor may not replace any of the staff members, without prior written request and approval thereof from the Employers Representative.
2.4 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Service Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

2.5 Documentation control

a) Document management control will be handled as per the Employer’s document and records management procedure 32-1216 which is obtainable from the Employers Representative All communication will be in writing.

b) All NEC standard forms shall be used, e.g. Task orders, Early Warnings, Defect certificates and Assessments. 
c) The Contractor will provide on-site record of all activities carried out on the equipment. 

d) This record will be permanently displayed and kept in the machine compartment/room.

2.6 Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to 

_________________________ 

and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

2.7 Contract change management 

a) The Service Manager issues a Task order to The Contractor to authorise the execution of the work.

b) In the event where it is identified that there is additional work to be done outside the scope of work on the Task order, the Contractor will give The Service Manager an early warning with a written quotation.

c) If agreed, the Service Manager issues a revised Task Order or additional Task Order.

d) The Contractor starts the work on the starting date of the Task Order. 

e) In case of compensation event either party will notify the other. And NEC3 TSC clause 60 has to be followed. 
2.8 Records of Defined Cost to be kept by the Contractor
In order to substantiate the Defined Cost of compensation events, the Employer may require the contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment.

The contractor will complete the site daily log, and this will be submitted to the Employers Representatives for his signature before 12am of the following morning barring weekends. The Friday and weekend logs will be submitted before 12 am Mondays. The log will include but not be limited to the following:

a)
Date and day

b)
Site Conditions

c)
Work Done

d)
Labour on site

e)
Any incidents during that period

f)
Any communication that took place

2.9 Insurance provided by the Employer
Reference to TSC3 Core Clause 86.1

2.10 Training workshops and technology transfer

The Employer may request the contractor to provide lift user training, the employer will notify the contractor if and when such training is required.
2.11 Design and supply of Equipment

Equipment supplied must be in safe working order at all times, irrespective whether the employer or the contractor provides the equipment. Regular maintenance must be done on all equipment used to execute the services required
2.12 Things provided at the end of the service period for the Employer’s use

2.12.1 Equipment

All equipment and spares that belong to the employer which are with the contractor must be handed back to the employer.

2.12.2 Information and other things

All record books and service information must be given to the employer.

2.13 Management of work done by Task Order

A task order will be issued for tasks at hand as per description from the Employers Representative who will be managing this contract on the Employer’s behalf.
3 Health and safety, the environment and quality assurance

3.1 Health and safety risk management

Eskom Medupi Power Station’s responsibility and commitment is to ensure a safe working environment is in line with its Safety, Health, Environmental and Quality Policy, along with legislative obligations. The SHE Specification will be issued through Tender Bulletin, and it is compulsory for the appointed contractor to comply with the requirements of the SHE Specification

The Contractor will be required to comply with the following legal and other requirements throughout the duration of the contract:

· Occupational Health and Safety Act 85 of 1993

· Contract and Contractor OHS Management (32-726)

· Eskom Life Saving Rules

· Eskom OHS Specification

· Eskom SHEQ Induction

· COIDA Act

· Eskom Incident Management Procedure (32-95)

· Monthly Safety File Evaluation Checklist

3.2  Occupational Hygiene Programme

Occupational Hygiene Programme (OHP) are programme devoted to the recognition, evaluation and control of those environmental factors, arising in or from the workplace that may cause illness, injury, or discomfort. 

The main objective of the OHP is to help reduce the risk of hazardous exposures, ensure regulatory compliance and to improve working conditions. Appropriate occupational hygiene practices needs to be applied to the various departmental areas in accordance with the Occupational Health & Safety Act in order to fulfil this requirement.

The Occupational Hygiene Programme clearly defines and stipulates the responsibilities of all workplace parties involved in its development, administration and implementation of the program.

       Occupational Hygiene Programme within the workplace should be an integral part of the    

       Overall appointed contractor strategy for a healthy workplace. Occupational Health and safety 

       Legislation and other workplace policies or programs can provide a basis for a healthier 

       Workplace.

       The contractor must conduct the following Occupational Hygiene Survey during the first year   

       of the duration of the contract:

· Illumination Survey

· Noise Survey

· Indoor Air Quality Survey

· Ergonomic Surveys 

· Silica or Dust Survey
3.3 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in Medupi Power Station Environmental Requirements for Contractors and Suppliers 240-90508511_ 

3.4 Quality assurance requirements

Quality Requirements

a)
The Contractor guarantees to utilize the OEM approved parts, components and lubricants. 

b)
The Employer may, by arrangement, inspect completed work. If, in opinion of the employer, the work does not comply with the quality requirements expected from Contractor, the Employer shall instruct the contractor to rectify the faults at no additional cost to the employer. The Contractor will comply with the instructions.

c)
All Quality Control documentation must be submitted to the Employer’s Representative for acceptance prior to any work commencing.

d)
The Contractor shall comply with the quality requirements as stated in QM-58(As applicable).

4 Procurement

Local Procurement Content 

“Local Procurement Content” refers to value added in South Africa by South African resources. Where a single contract involves a combination of local and imported goods and/or services, the tender response must be separated into its components as per the Price Schedule included with the tender documents. Local procurement content is total spending minus the imported component. 

Tenderers are required to submit their proposals in the table below.

	Local Procurement Content 
	Eskom target
	Tenderer Proposal

	
	100%
	


Jobs. Tenderers are required to submit proposals for the type and number of jobs that will be created and retained in South Africa as a direct result of being awarded a contract.
	Type of Jobs to be created
	Number of Jobs to be created

	
	


	Type of Jobs to be retained
	Number of Jobs to be retained

	
	


4.1 People

4.1.1 Minimum requirements of people employed

Before starting work on a Task the Contractor shall provide to the Service Manager for their acceptance outline details of persons to be employed for work in the Task, to the extent that the Service Manager has requested in the Task Order.

The Contractor shall not commence work in a Target Order until such a person to be employed have been accepted by the Service Manager. The Service Manager may not accept persons who are in their opinion not adequately qualified or experienced to undertake the work in the task.

The Contractor shall provide for the Service Manager’s acceptance similar details for new or replacement persons employed after work in the Task Order has commenced.

Notwithstanding this requirement, the Service Manager or SSM may at any time instruct the Contractor to provide the full Curriculum Vitae of a person to be employed if they consider the outline details to be insufficient.

For the purpose of this contract, persons employed for work in the Task Order shall include any person, whether under contract of employment to the Contractor, Subcontractor or others.

Skills development

Tenderers are required to submit proposals in a table below for developing the skills of unemployed candidates in the country. Skills development is intended to address Eskom’s core, scarce and critical skills and the scarce and critical skills.  These skills are also included in a 2020 list of occupations in high demand as stipulated in the Government Gazette 43937.   Candidates shall be from all provinces in the country, and their composition shall be representative of the population demographics of South Africa

	Skill type / Occupation
	Eskom target
	Outout
	Proposed Number of Candidates

	Lifting Machine Inspector Technician
	04
	Certificate
	

	Riggers
	03
	Trade Test
	


The process of developing these skills shall involve the participation by tenderers directly and through their supply network.  In certain cases, the SETA’s accredited training providers can be approached to participate in developing critical and scarce skills.

4.1.2 BBBEE and preferencing scheme

The Contractor shall ensure that it maintains the B-BBEE’s level of contribution with which it was awarded a contract. Should the Contractor for any reason, including a change in legislation, lose its status then it will be given 184 days to comply.

4.1.3 Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Service Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
4.2 Subcontracting

4.2.1 Preferred subcontractors
See attached SDL&I template
Only sub- Contractors authorized by the Employer will carry out work on the equipment in terms of this contract.

a)
Preferred subcontractors

b)
If the Contractor subcontracts work, he is responsible for providing the Service as per the contract.

c)
This implies that the Subcontractor’s employees and equipment is the Contractor’s.

d)
Limitations on subcontracting

i.
The Contractor submits in writing the name of each propose Subcontractors with certificates and registration documentation to the Employers Representative for acceptance/ rejection.

ii.
The Contractor does not appoint a proposed Subcontractor until the Employers Representative has accepted him.

e)
 Possession, Control of Equipment

f)
 The contractor will not assume possession or control of any part of the equipment all of                    which shall remain exclusively the property of the Employer.

4.2.2 Subcontract documentation, and assessment of subcontract tenders

As per SDL&I strategy

4.2.3 Limitations on subcontracting

As per SDL&I strategy

4.2.4 Attendance on subcontractors

As per SDL&I strategy

4.3 Plant and Materials

4.3.1 Specifications

a)
The contactor shall provide parts and labour to replace or repair the following:

i.
All parts including but not limited to door locks, door contacts, door operators, alarm systems, switches and holders, relays, liner circuits, reads and tape, proximities, striker arms, solenoids, cables and wiring(generator), breaks and liners, overloads, door closing mechanism, all relevant components for the day-to-day operation of the lifts, springs, flexible conductors and selectors. 

ii.
Moving parts or parts subject to normal wear and tear, selector, brake and governor including metal and carbon contacts, contact holders, insulators, springs, flexible conductors, arc deflectors or barriers where these can be replaced individually and are not integral parts of a switch which must be replaced as a complete unit will be included.

iii.
The internal contacts of car-mounted stopping switches, brakes, car operating panel, car door interlock, and elevator shaft mounted operational switches, interior lighting, push buttons and landing door interlocks.

iv.
Brushes for motors.

v.
Suspension ropes, governor ropes, AC motors, Trailing cables and gearboxes.

vi.
Lubricants and cleaning materials

vii.
The employer reserves the right to supply any spare parts which may be required by the contract in the satisfactory execution of the required Works Information.

viii.
The contractor shall have available critical spares for repairs and replacements as per Addendum A.

ix.
The Employer may designate a storage place for the Contractor if required

4.3.2 Correction of defects

a)
The contractor shall provide spares and labour, to carry out all repairs irrespective of the cause of damage or fault. The contractor will however not be liable for any costs involved which arise as a result of accidental damage or vandalism. Repairs arising from activities shall be for Eskom’s account with prior approval from Eskom by issue of a task order.

b)
The Contractor shall submit a quotation for the repairs to the Employers Representative. The quotation must detail all resources needed to do the repairs. The contractor shall provide detail repair program and a comprehensive service report.

c)
The contractor shall be responsible for all minor and major repairs needed to keep the lifts in a reliable, safe and running condition.

4.3.3 Contractor’s procurement of Plant and Materials

The contractor will keep regularly spares for all lifts to ensure that downtime is kept to a minimum.

a)
All the parts shall be made available on site within 24 hours for replacement and rectification of the works.

b)
The contractor shall keep adequate stocks of essential spare parts, equipment and other components which are necessary to maintain the safe and satisfactory working condition and components of the lifts at all times.

c)
A permanent replacement of the genuine equipment, parts and /or components with alternative products shall not be implemented without the approval of the Employer.

d)
Any replacement of equipment, parts and /or components due to non-availability of spare parts and/or obsolescence shall be substantiated by the OEM of the product.

e)
The contractor shall provide a list of critical spares to the Employer, for APPROVAL where the need exists.

f)
The parts on this approved list shall then kept by the contractor as critical spares

4.3.4 Tests and inspections before delivery  
It is the responsibility of the contractor to ensure that all spares are tested and have valid test certificate before being installed at the plant. All spares that need to be calibrated must be done before being fitted to the lift. The Employer and Contractor must agree on the needs to attend to factory acceptance tests,

4.3.5 Plant & Materials provided “free issue” by the Employer
Both parties shall agree if there is any Plant and Material that the Contractor may require to execute work. All other Plant and Materials are to be provided by the contractor
4.3.6 Cataloguing requirements by the Contractor
The Employer requires the contractor to provide a list of critical spares to be kept on site, the contractor will be responsible for cataloguing such spares.
5 Working on the Affected Property

5.1 Employer’s site entry and security control, permits, and site regulations

Employer’s site entry and security control, permits and site regulations

a)
The contractor’s safety file is approved by Employers Safety department.

b)
All personnel have undergone screening for criminal records and outstanding arrests warrants.

c)
All personnel have attended site-specific safety induction training.

d)
Compiled with the requirements as stated in the General Works Information

5.2 People restrictions, hours of work, conduct and records

Employer’s normal working hours will apply and contractor’s key people delivering service will sign a daily attendance register as per the Employer’s condition of service.

The Contractors Regular Working Hours,

The Contractors Regular Working Hours in terms of the contract, are Monday to Thursdays 07:00 to 16:15, Fridays 07:00 to 12:00 excluding Public Holidays. All work done outside normal working hours will be at no additional cost to the employer

Callouts-Overtime

i.
The contractor shall provide a callout service to respond to any stoppage or malfunction of the equipment at any time after the Contractor’s working hours, providing a 24hour standby service, with response time of within  45 minutes for  emergencies.

ii.
Callout service shall consist of emergency adjustments to restore an inoperative or faulty unit to safe and satisfactory condition.

iii.
In the case of major breakdown, a repair plan of action must be submitted to the Employer within 2 hours.

iv.
Repair work to commence on the exact time agreed between the Employer and the Contractor on this plan of action. No additional cost to the Employer for this service will be acceptable if during normal working hours.

v.
Before leaving the site and on completion of execution of work each time, the contractor shall report to the Employer Representative for signing off the job card. In the event of an emergency, after-hours or weekend work, all job cards shall be signed off by the Employer Representative on the following day.

vi.
Planned overtime must be approved by Eskom before commencement of work.

vii.
Non-technical personnel (e.g. Site manager and safety officer) will not be required to work standby and overtime.

viii.
Standby and cell phone allowance will be paid as per Eskom standby procedure.

ix.
Lift operators will be working on shift basis during outages, as and when required to assist in operating the lift.

x.
Shift allowance will be paid to lift operators as per the Eskom shift allowance procedure.

xi.
The contractor shall provide qualified personnel on a 24-hour standby service for the duration of the contract.

5.3 Health and safety facilities on the Affected Property

The Contractor is required to ( where applicable) undergo departmental safety induction programme for every building where the service will be rendered. 

5.4 Environmental controls, fauna & flora

The Contractor shall comply with Medupi Power station Environmental requirements for Contractors and Suppliers Doc 240-90508511.

5.5 Cooperating with and obtaining acceptance of Others

Except as directed by the Employer, the Contractor shall in no way interfere with, remove, adjust or operate plant, materials and/or equipment of/or being supplied or operated by Other Contractors
5.6 Records of Contractor’s Equipment

The contractor is responsible for maintaining the asset register equipment on site and shall be audited by the Employer from time to time.
5.7 Equipment provided by the Employer
None
5.8 Site services and facilities

5.8.1 Provided by the Employer
a)
Site establishment fee applicable to this contract will be paid to the contractor as quoted.

b)
The employer will provide site establishment area, Contractor to provide their own office containers, furniture and Appliances with equipment which may be inclusive of workstations, ablution systems and distribution Box and tools required for site establishment as per the specification on table 1 below:

5.8.2 Provided by the Contractor
The employer will provide site establishment area, Contractor to provide their own office containers, furniture and Appliances with equipment which may be inclusive of workstations, ablution systems and distribution Box and tools required for site establishment as per the specification on table 1 below:

	Description 
	Est QTY
	Size
	Detail layout
	Furniture 

	Mobile Office

(Site manager, Safety officer)
	1
	12 x 3 m
	2 offices, kitchen, and toilet
	2 office tables, 2 office chairs, 4 visitors chairs

	Mobile office

4 Technicians, 6 Technician assistance 
	1
	15 x 7 m
	1 office, 1 kitchen, large open plan area for workers
	1office table, 1 office chair, tables with chair for 10 people

	Mobile toilets male and female
	1
	
	Female: 3 toilets, 3 basins 

Male: 2 toilets, 3 urinals, 2 basins
	None

	Mobile tool containers 
	1
	6 x 2.35m
	Steel Shipping container with shelving.
	Shelving on both long sides and checkout counter on one side.


5.9 Control of noise, dust, water and waste 

The Contractor shall comply with the safety, health and environmental requirements stated in the project SHE Specification.
5.10 Hook ups to existing works

The performance of the works which affects the Employer’s operations or the systems of other contractors shall be scheduled to be performed only at times approved by the Employer .The procedure for carrying out work which of necessity interrupts the Employer’s operations, or the systems of Other Contractors, or imposes abnormal operating conditions on their systems, is subject to approval of the Employer.
5.11 Tests and inspections

5.11.1 Description of tests and inspections

The contractor shall ensure that the testing is done in accordance with Occupational Health and Safety Act(85 of 1993) under Lift, Escalator and Passenger Conveyor regulations 6.
The Contractor is responsible for providing quality inspection as per the scope requirements and rectifies all defects within agreed time period. The contractor shall supply the end of job documentation associated with the services. The end of job documentation consists of the signed off (where applicable) completion forms of acceptable by the Employer.

5.11.2 Materials facilities and samples for tests and inspections 

The Employer will provide electrical connection point for testing and inspection. The contractor will provide other materials required for execution of the service .in some instances , the Employer representative may request samples for testing /inspection
6 List of drawings

6.1 Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

	Drawing  number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







Contract
- ii -
TSC3 Cover pages


_1826203509.unknown

