{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Annex C","Annex D","Annex E"],"not_rendered":{"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Annex C","index":0,"n_rows":231,"n_cols":17,"rows_kept":231,"merged":[[6,5,6,8],[6,15,7,16],[7,5,7,8],[8,5,8,8],[9,5,9,8],[10,5,10,8],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[19,4,19,5],[20,4,20,5],[21,4,21,5],[22,4,22,5],[23,4,23,5],[24,4,24,5],[25,4,25,5],[26,4,26,5],[27,4,27,5],[29,4,29,5],[31,4,31,5],[32,4,32,5],[33,4,33,5],[34,4,34,5],[35,4,35,5],[36,4,36,5],[37,4,37,5],[38,4,38,5],[39,4,39,5],[40,4,40,5],[41,4,41,5],[42,4,42,5],[44,4,44,5],[46,4,46,5],[48,4,48,5],[49,4,49,5],[50,4,50,5],[51,4,51,5],[52,4,52,5],[53,4,53,5],[55,4,55,5],[56,4,56,5],[57,4,57,5],[58,4,58,5],[59,4,59,5],[61,4,61,5],[62,4,62,5],[63,4,63,5],[64,4,64,5],[65,4,65,5],[67,4,67,5],[68,4,68,5],[69,4,69,5],[70,4,70,5],[71,4,71,5],[73,4,73,5],[74,4,74,5],[75,4,75,5],[76,4,76,5],[77,4,77,5],[78,4,78,5],[79,4,79,5],[80,4,80,5],[81,4,81,5],[83,4,83,5],[84,4,84,5],[85,4,85,5],[86,4,86,5],[87,4,87,5],[89,4,89,5],[90,4,90,5],[91,4,91,5],[92,4,92,5],[93,4,93,5],[94,4,94,5],[95,4,95,5],[96,4,96,5],[97,4,97,5],[98,4,98,5],[100,4,100,5],[101,4,101,5],[102,4,102,5],[103,4,103,5],[104,4,104,5],[105,4,105,5],[106,4,106,5],[107,4,107,5],[108,4,108,5],[109,4,109,5],[110,4,110,5],[111,4,111,5],[113,4,113,5],[114,4,114,5],[115,4,115,5],[116,4,116,5],[117,4,117,5],[118,4,118,5],[120,4,120,5],[121,4,121,5],[122,4,122,5],[123,4,123,5],[124,4,124,5],[125,4,125,5],[127,4,127,5],[128,4,128,5],[129,4,129,5],[130,4,130,5],[131,4,131,5],[132,4,132,5],[133,4,133,5],[134,4,134,5],[135,4,135,5],[136,4,136,5],[137,4,137,5],[138,4,138,5],[139,4,139,5],[140,4,140,5],[141,4,141,5],[142,4,142,5],[143,4,143,5],[144,4,144,5],[145,4,145,5],[146,4,146,5],[147,4,147,5],[148,4,148,5],[149,4,149,5],[150,4,150,5],[151,4,151,5],[152,4,152,5],[153,4,153,5],[154,4,154,5],[155,4,155,5],[156,4,156,5],[157,4,157,5],[158,4,158,5],[159,4,159,5],[160,4,160,5],[161,4,161,5],[162,4,162,5],[163,4,163,5],[164,4,164,5],[165,4,165,5],[166,4,166,5],[167,4,167,5],[168,4,168,5],[169,4,169,5],[170,4,170,5],[171,4,171,5],[172,4,172,5],[173,4,173,5],[174,4,174,5],[175,4,175,5],[176,4,176,5],[177,4,177,5],[178,4,178,5],[179,4,179,5],[180,4,180,5],[181,4,181,5],[182,4,182,5],[183,4,183,5],[184,4,184,5],[185,4,185,5],[186,4,186,5],[187,4,187,5],[188,4,188,5],[189,4,189,5],[190,4,190,5],[191,4,191,5],[192,4,192,5],[193,4,193,5],[194,4,194,5],[195,4,195,5],[196,4,196,5],[197,4,197,5],[198,4,198,5],[199,4,199,5],[200,4,200,5],[201,4,201,5],[202,4,202,5],[203,4,203,5],[204,4,204,5],[205,4,205,5],[206,4,206,5],[207,4,207,5],[208,4,208,5],[209,4,209,5],[210,4,210,5],[211,4,211,5],[212,4,212,5],[213,4,213,5],[214,4,214,5],[215,4,215,5],[216,4,216,5],[217,4,217,5],[218,4,218,5],[219,4,219,5],[220,4,220,5],[221,4,221,5],[222,4,222,5],[223,4,223,5],[224,4,224,5]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":16},"SATS 1286.2011"]
[{"$nulls":3},"Annex C"]
[]
[{"$nulls":3},"Local Content Declaration - Summary Schedule "]
[]
[null,null,"(C1)","Tender No.",{"$nulls":11},"Note: VAT to be excluded from all calculations"]
[null,null,"(C2)","Tender description: "]
[null,null,"(C3)","Designated product(s)"]
[null,null,"(C4)","Tender Authority:"]
[null,null,"(C5)","Tendering Entity name:"]
[null,null,"(C6)","Tender Exchange Rate:",null,"Pula",null,"EU",null,"GBP"]
[null,null,"(C7)","Specified local content %"]
[{"$nulls":6},"Calculation of local content",{"$nulls":6},"Tender  summary"]
[{"$nulls":3},"Tender item no's","List of items",null,"Tender price - each \n(excl VAT)","Exempted imported value","Tender value  net of exempted imported  content","Imported value","Local value","Local content % (per item)",null,"Tender Qty","Total tender value","Total exempted imported content","Total Imported content"]
[{"$nulls":3},"(C8)","(C9)",null,"(C10)","(C11)","(C12)","(C13)","(C14)","(C15)",null,"(C16)","(C17)","(C18)","(C19)"]
[]
[{"$nulls":3},"SECTION NO 2","Bill 2"]
[]
[{"$nulls":4},"CONCRETE, FORMWORK & REINFORCEMENT"]
[]
[{"$nulls":3},1,"Raft slab and thickenings",{"$nulls":8},13]
[{"$nulls":3},2,"Aprons",{"$nulls":8},4]
[{"$nulls":3},3,"Making and testing 150 x 150 x 150mm concrete strength test cube\n(Provisional)",{"$nulls":8},2]
[{"$nulls":3},7,"Bars in various diameters",{"$nulls":8},6.8]
[{"$nulls":3},8,"Ref 245 fabric reinforcement in concrete surface beds, slabs, etc",{"$nulls":8},29]
[]
[{"$nulls":4},"Bill 5"]
[]
[{"$nulls":4},"PLUMBING & DRAINAGE"]
[]
[{"$nulls":3},3,"Storm water channel (fitted with 250micron polyethylene underlay\nsheeting)",{"$nulls":8},1]
[{"$nulls":3},5,"110mm UPVC Pipe laid in and including trenches not exceeding 1m\ndeep.",{"$nulls":8},60]
[{"$nulls":3},6,"110mm UPVC Pipe encased in concrete laid in and including trenches\nnot exceeding 1m deep.",{"$nulls":8},5]
[{"$nulls":3},7,"110mm Bends",{"$nulls":8},6]
[{"$nulls":3},8,"110mm Access bends",{"$nulls":8},4]
[{"$nulls":3},9,"110mm Junctions",{"$nulls":8},5]
[{"$nulls":3},10,"110mm Access junction",{"$nulls":8},4]
[{"$nulls":3},11,"Manhole 800 x 800 x 1000mm deep",{"$nulls":8},1]
[{"$nulls":3},13,"110mm Gulley including precast surround and PVC grating etc. not\nexceeding 500mm deepn",{"$nulls":8},1]
[{"$nulls":3},15,"32mm water supply in and including trenches not exceeding 1m deep to\njoin onto existing water supply to other Blocks",{"$nulls":8},60]
[{"$nulls":3},16,"Fittings to 32mm pipe",{"$nulls":8},7]
[{"$nulls":3},17,"32mm gate valve",{"$nulls":8},1]
[]
[{"$nulls":4},"Bill 6"]
[]
[{"$nulls":4},"PERIMETER FENCE"]
[]
[{"$nulls":3},1,"2100mm high palisade fence",{"$nulls":8},44]
[{"$nulls":3},2,"300mm high flat razor wire fence to tops of gates and fences",{"$nulls":8},44]
[{"$nulls":3},3,"1800mm wide x 2100mm high pedestrian gate",{"$nulls":8},1]
[{"$nulls":3},5,"1800mm high hoarding barrier",{"$nulls":8},80]
[]
[{"$nulls":4},"Bill 7"]
[]
[{"$nulls":4},"SITE CLEARANCE & PAVING"]
[]
[{"$nulls":3},4,"20mm thick sand bed on compacted earth in preparation for paving\nblocks (measured elsewhere); allow for grout in paver joints or other\nsuitable adhesive",{"$nulls":8},30]
[]
[{"$nulls":3},"SECTION NO 3","Bill 1"]
[]
[{"$nulls":4},"ALTERATIONS"]
[]
[{"$nulls":3},5,"Allow a sum of R15 000.00 (Fifteen Thousand Rands) for repair work to\nrust damaged steel columns in platform sheds. Amount to include the\nreplacement of redundant steel sections and/or welding or bolting new\nsteel plates to existing steel surfaces",{"$nulls":8},1]
[]
[{"$nulls":4},"Bill 2"]
[]
[{"$nulls":4},"PRECAST CONCRETE"]
[]
[{"$nulls":3},1,"2000mm wide pre-cast concrete steps to existing staircase",{"$nulls":8},10]
[]
[{"$nulls":4},"Bill 3"]
[]
[{"$nulls":4},"PLUMBING AND DRAINAGE"]
[]
[{"$nulls":3},1,"400mm wide x 200mm high box gutters",{"$nulls":8},42]
[{"$nulls":3},2,"150mm diameter downpipe to match gutters",{"$nulls":8},66]
[{"$nulls":3},3,"Extra over eaves gutter for stopped end",{"$nulls":8},32]
[{"$nulls":3},4,"Extra over eaves gutter for outlet for 150mm diameter pipe",{"$nulls":8},{"v":32,"d":"32 "}]
[{"$nulls":3},5,"Rain water shoe",{"$nulls":8},{"v":32,"d":"32 "}]
[]
[{"$nulls":4},"Bill 5"]
[]
[{"$nulls":4},"SITE CLEARANCE AND PAVING"]
[]
[{"$nulls":3},3,"20mm thick sand bed on compacted earth in preparation for paving\nblocks (measured elsewhere); allow for grout in paver joints or other\nsuitable adhesive",{"$nulls":8},{"v":210,"d":"210 "}]
[]
[{"$nulls":3},"SECTION NO 4","Bill 1"]
[]
[{"$nulls":4},"ABT CONTAINERS"]
[]
[{"$nulls":3},1,"Container of size: 12190mm long x 2350mm wide x 3400mm high",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},3,"203 x 203 x 46kg/m I-section columns",{"$nulls":8},{"v":0.1,"d":"0.10"}]
[{"$nulls":3},4,"203 x 203 x 46kg/m I-section beams",{"$nulls":8},0.05]
[{"$nulls":3},5,"M16 HD Bolts",{"$nulls":8},{"v":16,"d":"16 "}]
[{"$nulls":3},6,"Steel lightweight frame comprising hollow sections below floors complete\nwith steel tread plate below floors to required and approved thickness",{"$nulls":8},{"v":53,"d":"53 "}]
[{"$nulls":3},7,"Steel lightweight frame comprising hollow sections to internal side of\ncontainer walls (from floor to ceiling)",{"$nulls":8},{"v":130,"d":"130 "}]
[]
[{"$nulls":4},"Bill 2"]
[]
[{"$nulls":4},"ROOF COVERINGS"]
[]
[{"$nulls":3},1,"Roof coverings with a pitch not exceeding 12 degree complete with\nflashing on edges",{"$nulls":8},{"v":62,"d":"62 "}]
[{"$nulls":3},2,"150 x 150 x 6mm eaves gutter",{"$nulls":8},{"v":17,"d":"17 "}]
[{"$nulls":3},3,"100 x 75mm downpipe to match gutters",{"$nulls":8},{"v":14,"d":"14 "}]
[{"$nulls":3},4,"Extra over eaves gutter for stopped end",{"$nulls":8},{"v":6,"d":"6 "}]
[{"$nulls":3},5,"Extra over eaves gutter for bends",{"$nulls":8},{"v":4,"d":"4 "}]
[{"$nulls":3},6,"Extra over eaves gutter for outlet for 150mm diameter pipe",{"$nulls":8},{"v":4,"d":"4 "}]
[{"$nulls":3},7,"Extra over rainwater pipe for offset",{"$nulls":8},{"v":4,"d":"4 "}]
[{"$nulls":3},8,"Rain water shoe",{"$nulls":8},{"v":4,"d":"4 "}]
[]
[{"$nulls":4},"Bill 4"]
[]
[{"$nulls":4},"CARPENTRY & JOINERY"]
[]
[{"$nulls":3},1,"Door type D01 of overall size 900 x 2120mm high including frame",{"$nulls":8},{"v":4,"d":"4 "}]
[{"$nulls":3},2,"Door type D02 of overall size 900 x 2120mm high including frame",{"$nulls":8},{"v":6,"d":"6 "}]
[]
[{"$nulls":4},"Bill 5"]
[]
[{"$nulls":4},"FLOORING SYSTEMS"]
[]
[{"$nulls":3},1,"25mm thick screed",{"$nulls":8},{"v":11,"d":"11 "}]
[{"$nulls":3},2,"60mm thick mortar bed",{"$nulls":8},{"v":53,"d":"53 "}]
[]
[{"$nulls":4},"Bill 6"]
[]
[{"$nulls":4},"IRONMONGERY"]
[]
[{"$nulls":3},1,"75mm four lever upright mortice lockset with satin chrome furniture",{"$nulls":8},{"v":10,"d":"10 "}]
[{"$nulls":3},2,"Indicator bolt with 'red/green' indicator",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},3,"Grade 304 stainless steel round D lever handle on a long backplate with a profiled cylinder opening fixed to timber doors with matching screws",{"$nulls":8},{"v":10,"d":"10 "}]
[{"$nulls":3},4,"Satin stainless steel paper towel dispenser with min 600 folded paper\ntowels and cylinder lock, plugged and screwed to the wall with stainless\nsteel screws.",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},5,"Satin stainless steel waste disposal bins with capacity of plus minus 40\nlitres and with a frame inside the dispenser to hold a liner, plugged and\nscrewed to the wall with stainless steel screws",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},6,"Satin stainless steel liquid soap dispenser complete with replaceable and\nrefillable 1 litre container, cylinder lock all plugged and screwed to walls\nwith stainless steel screws",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},7,"Vandal resistant satin stainless steel 3 tier lockable toilet roll holder with\ncentral shaft system and cylinder lock, plugged sand screwed to walls\nwith stainless steel screws",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},8,"Satin stainless steel sanitary towel disposal bins with capacity of\nminimum 10 litres, free standing or wall mounted (plugged and screwed\nto the wall with stainless steel screws)",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},9,"32mm diameter stainless steel cistern back rail in satin polished finish\ncomplete with SS fixing screws and plastic wall plugs, installed at 800mm\nabove floor level as per manufacturer\" s instructions.",{"$nulls":8},{"v":1,"d":"1 "}]
[{"$nulls":3},10,"300 x 300 x 300mm x 32mm diameter stainless steel dog-leg side grab\nrail, without centre flange in satin polished finish complete with SS fixing\nscrews and plastic wall plugs, as per manufacturer\" s instructions.",{"$nulls":8},{"v":1,"d":"1 "}]
[]
[{"$nulls":4},"Bill 7"]
[]
[{"$nulls":4},"METALWORK"]
[]
[{"$nulls":3},1,"Aluminium window type W01 of size 900 x 900mm high",{"$nulls":8},{"v":3,"d":"3 "}]
[{"$nulls":3},2,"Aluminium window type W02 of size 600 x 900mm high",{"$nulls":8},{"v":6,"d":"6 "}]
[{"$nulls":3},3,"Aluminium window type W03 of size 2000 x 1200mm high",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},4,"Door type D02 of overall size 900 x 2120mm high including frame",{"$nulls":8},{"v":1,"d":"1 "}]
[{"$nulls":3},5,"To walls",{"$nulls":8},{"v":130,"d":"130 "}]
[{"$nulls":3},6,"To exterior walls including mounting",{"$nulls":8},{"v":130,"d":"130 "}]
[{"$nulls":3},7,"Feature cladding to external side of container walls (allow a PC sum of\nR550/m2 for the supply of all material)",{"$nulls":8},{"v":20,"d":"20 "}]
[]
[{"$nulls":4},"Bill 9"]
[]
[{"$nulls":4},"PLUMBING AND DRAINAGE"]
[]
[{"$nulls":3},12,"50mm Pipes fixed to walls, ceilings, roofs, floors, or laid in filling",{"$nulls":8},{"v":24,"d":"24 "}]
[{"$nulls":3},13,"50mm Bends",{"$nulls":8},{"v":16,"d":"16 "}]
[{"$nulls":3},14,"50mm access bends",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},15,"50mm tee",{"$nulls":8},{"v":6,"d":"6 "}]
[{"$nulls":3},16,"110mm bend",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},17,"110 mm Access bend",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},18,"110 mm Reducer",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},19,"110mm Pan connector",{"$nulls":8},{"v":5,"d":"5 "}]
[{"$nulls":3},21,"15mm Pipe fixed to walls, ceilings, chased in, etc.",{"$nulls":8},{"v":32,"d":"32 "}]
[{"$nulls":3},22,"22mm Pipe fixed to walls, ceilings, chased in, etc.",{"$nulls":8},{"v":15,"d":"15 "}]
[{"$nulls":3},23,"28mm Pipe fixed to walls, ceilings, chased in, etc.",{"$nulls":8},{"v":20,"d":"20 "}]
[{"$nulls":3},24,"15mm Fittings",{"$nulls":8},{"v":38,"d":"38 "}]
[{"$nulls":3},25,"22mm Fittings",{"$nulls":8},{"v":13,"d":"13 "}]
[{"$nulls":3},26,"28mm Fittings",{"$nulls":8},{"v":15,"d":"15 "}]
[{"$nulls":3},27,"15mm Gate valve",{"$nulls":8},{"v":6,"d":"6 "}]
[{"$nulls":3},28,"22mm Gate valve",{"$nulls":8},{"v":9,"d":"9 "}]
[{"$nulls":3},29,"28mm Gate valve",{"$nulls":8},{"v":2,"d":"2 "}]
[]
[{"$nulls":3},"SECTION NO 5","Bill 1"]
[]
[{"$nulls":4},"ELECTRICAL WORK"]
[]
[{"$nulls":3},2,"Supply and lay electrical cable sleeves / Black",{"$nulls":8},{"v":100,"d":"100 "}]
[{"$nulls":3},3,"35mm² 4 core 1000V PVC / SWA / PVC Copper Cable",{"$nulls":8},{"v":100,"d":"100 "}]
[{"$nulls":3},4,"10mm² 4 core 1000V PVC / SWA / PVC Copper Cable",{"$nulls":8},{"v":110,"d":"110 "}]
[{"$nulls":3},5,"6mm² 4 core 1000V PVC / SWA / PVC Copper Cable",{"$nulls":8},{"v":50,"d":"50 "}]
[{"$nulls":3},6,"16mm² Bare Copper Earth Wire",{"$nulls":8},{"v":100,"d":"100 "}]
[{"$nulls":3},7,"6mm² Bare Copper Earth Wire",{"$nulls":8},{"v":110,"d":"110 "}]
[{"$nulls":3},8,"4mm² Bare Copper Earth Wire",{"$nulls":8},{"v":50,"d":"50 "}]
[{"$nulls":3},9,"35mm² 4 core PVC / SWA / PVC",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},10,"10mm² 4 core 1000V PVC / SWA / PVC Copper Cable",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},11,"6mm² 4 core 1000V PVC / SWA / PVC Copper Cable",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},12,"10mm² Bare Copper Earth Wire",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},13,"6mm² Bare Copper Earth Wire",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},14,"4mm² Bare Copper Earth Wire",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},15,"Supply and Install 25KVA transformer on existing Steel - Hpole including\nall termination cables",{"$nulls":8},{"v":1,"d":"1 "}]
[{"$nulls":3},20,"25mm - Galvanised conduit including bending, short lengths, draw boxes, cutting, bands, jointing, couplings, saddles and wastage as per SABS 1065. Fixed to surface or laid in or flush",{"$nulls":8},{"v":50,"d":"50 "}]
[{"$nulls":3},21,"100 x 50 x 50mm",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},22,"100 x 100 x 50mm",{"$nulls":8},{"v":16,"d":"16 "}]
[{"$nulls":3},23,"100 x 50 x 50mm Standard white coverplates complete with chrome\nscrews.",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},24,"100 x 100 x 50mm Standard white coverplates complete with chrome\nscrews.",{"$nulls":8},{"v":16,"d":"16 "}]
[{"$nulls":3},25,"1.5mm²",{"$nulls":8},{"v":600,"d":"600 "}]
[{"$nulls":3},26,"2.5mm²",{"$nulls":8},{"v":250,"d":"250 "}]
[{"$nulls":3},27,"4mm²",{"$nulls":8},{"v":250,"d":"250 "}]
[{"$nulls":3},28,"1.5mm²",{"$nulls":8},{"v":500,"d":"500 "}]
[{"$nulls":3},29,"2.5mm²",{"$nulls":8},{"v":500,"d":"500 "}]
[{"$nulls":3},41,"2 compartment power skirting installed in the offices server room,, service\ndesk and Information desk (To include All elbows, corners sections, Tsections&\nend caps)",{"$nulls":8},{"v":50,"d":"50 "}]
[{"$nulls":3},42,"127 mm wide x 76 mm deep (for electronic services, P9000)",{"$nulls":8},{"v":30,"d":"30 "}]
[{"$nulls":3},52,"4 core Multimode fiber OM3 Cable",{"$nulls":8},{"v":230,"d":"230 "}]
[{"$nulls":3},62,"CAT6a STP Cable",{"$nulls":8},{"v":230,"d":"230 "}]
[{"$nulls":3},72,"Supply and install 6mm² x 4 core insisting cable sleeves for the Mast",{"$nulls":8},{"v":150,"d":"150 "}]
[{"$nulls":3},79,"Supply and install 4mm² x 4 core insisting cable sleeves for the Mast",{"$nulls":8},{"v":40,"d":"40 "}]
[{"$nulls":3},84,"20mm galvanised conduit 4m length with complete with fischer plugs,\nsaddles",{"$nulls":8},{"v":20,"d":"20 "}]
[{"$nulls":3},85,"9.5mm dia solid Al round air termination conductor including all fixing\naccessories",{"$nulls":8},{"v":60,"d":"60 "}]
[{"$nulls":3},86,"10mm dia solid Al alloy down conductors mounted to the the earth\nelectrode.",{"$nulls":8},{"v":60,"d":"60 "}]
[{"$nulls":3},87,"70mm² (BCEW) bare stranded copper conductor laid in a trench for the creation of ring earth electrode in trench 500mm below ground. Allow for excavation of soil",{"$nulls":8},{"v":60,"d":"60 "}]
[{"$nulls":3},88,"Termination of down conductors to roof sheeting, including all fixing accessories",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},89,"16mm dia. 1 500mm long copper earth electrodes driven into\nground+clamps",{"$nulls":8},{"v":8,"d":"8 "}]
[{"$nulls":3},90,"16mm² Dia. x 500mm long copper roof termination rod/\nAir termination rod",{"$nulls":8},{"v":8,"d":"8 "}]
[]
[{"$nulls":4},"Bill 2"]
[]
[{"$nulls":4},"MECHANICAL WORK"]
[]
[{"$nulls":3},7,"890mm Heigh x 590mm Width x 285mm Depth Fire Extinguishers Cabinet comes with Vandal Proof System",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},8,"65mm Hydrant Valves",{"$nulls":8},{"v":2,"d":"2 "}]
[{"$nulls":3},9,"Dia. 65mm Twin Fire Booster Stand Pipe & Non-Return Valve",{"$nulls":8},{"v":1,"d":"1 "}]
[{"$nulls":3},13,"Allow for full water reticulation of fire water from the main water intake tank to the proposed fire water tanks and the fire hydrant system.This shall include all required excavation , Laying of Class 16 uPVC 100mm pressure pipes with rubber ring joints ,bedding and padding. This shall ensure a reliable and consistant water suppy for fire protection system",{"$nulls":8},{"v":1,"d":"1 "}]
[]
[{"$nulls":13}," (C20)  Total tender  value",{"v":0,"d":"R  0"}]
[{"$nulls":3},"Signature of tenderer from Annex B",{"$nulls":10},"(C21) Total Exempt imported content",{"v":0,"d":"R  0"}]
[{"$nulls":14},"(C22) Total Tender value net of exempt imported content",{"v":0,"d":"R  0"}]
[{"$nulls":15},"(C23) Total Imported content",{"v":0,"d":"R  0"}]
[{"$nulls":15},"(C24) Total local content",{"v":0,"d":"R  0"}]
[{"$nulls":3},"Date: ",{"$nulls":11},"(C25) Average local content % of tender"]

{"sheet":"Annex D","index":1,"n_rows":59,"n_cols":16,"rows_kept":59,"merged":[[6,10,8,11],[13,2,13,6],[14,3,14,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[20,13,21,15],[24,3,24,4],[25,3,25,4],[26,3,26,4],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4],[31,3,31,4],[32,3,32,4],[33,3,33,4],[36,2,36,6],[37,2,37,3],[38,2,38,3],[39,2,39,3],[40,2,40,3],[41,2,41,3],[42,2,42,3],[43,2,43,3],[44,2,44,3],[47,6,47,7],[48,2,48,3],[49,2,49,3],[50,2,50,3],[51,2,51,3],[52,2,52,3],[53,2,53,3],[57,13,58,15]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":15},"SATS 1286.2011"]
[null,null,"Annex D"]
[]
[null,null,"Imported Content Declaration - Supporting Schedule to Annex C"]
[]
[null,"(D1)","Tender No.",{"$nulls":7},"Note: VAT to be excluded from all calculations"]
[null,"(D2)","Tender description: "]
[null,"(D3)","Designated Products:"]
[null,"(D4)","Tender Authority:"]
[null,"(D5)","Tendering Entity name:"]
[null,"(D6)","Tender Exchange Rate:",null,"Pula",null,"EU",{"v":9,"d":"R  9.00"},"GBP",{"v":12,"d":"R  12.00"}]
[]
[null,null,"A. Exempted imported content",{"$nulls":4},"Calculation of imported content",{"$nulls":6},"Summary"]
[null,null,"Tender item no's","Description of imported content",null,"Local supplier","Overseas Supplier","Forign currency value as per Commercial Invoice","Tender   Exchange Rate","Local value of imports","Freight costs to port of entry","All locally incurred landing costs & duties","Total landed cost excl VAT",null,"Tender Qty","Exempted imported value"]
[null,null,"(D7)","(D8)",null,"(D9)","(D10)","(D11)","(D12)","(D13)","(D14)","(D15)","(D16)",null,"(D17)","(D18)"]
[]
[]
[]
[{"$nulls":14}," (D19) Total exempt imported value",{"v":0,"d":"R  0"}]
[{"$nulls":13},"This total must correspond with Annex C - C 21"]
[]
[]
[null,null,"B. Imported directly by the Tenderer",{"$nulls":4},"Calculation of imported content",{"$nulls":6},"Summary"]
[null,null,"Tender item no's","Description of imported content",null,"Unit of measure","Overseas Supplier","Forign currency value as per Commercial Invoice","Tender Rate of Exchange","Local value of imports","Freight costs to port of entry","All locally incurred landing costs & duties","Total landed cost excl VAT",null,"Tender Qty","Total imported value"]
[null,null,"(D20)","(D21)",null,"(D22)","(D23)","(D24)","(D25)","(D26)","(D27)","(D28)","(D29)",null,"(D30)","(D31)"]
{"$rows_empty":7}
[{"$nulls":3},"`"]
[{"$nulls":14},"(D32)Total imported value by tenderer",{"v":0,"d":"R  0"}]
[]
[null,null,"C. Imported by a 3rd party and supplied to the Tenderer",{"$nulls":4},"Calculation of imported content",{"$nulls":6},"Summary"]
[null,null,"Description of imported content",null,"Unit of measure","Local supplier","Overseas Supplier","Forign currency value as per Commercial Invoice","Tender Rate of Exchange","Local value of imports","Freight costs to port of entry","All locally incurred landing costs & duties","Total landed cost excl VAT",null,"Quantity imported","Total imported value"]
[null,null,"(D33)",null,"(D34)","(D35)","(D36)","(D37)","(D38)","(D39)","(D40)","(D41)","(D42)",null,"(D43)","(D44)"]
[]
[]
[]
[]
[]
[null,null,"`"]
[{"$nulls":14},"(D45) Total imported value by 3rd party",{"v":0,"d":"R  0"}]
[]
[null,null,"D. Other foreign currency payments",{"$nulls":3},"Calculation of foreign currency payments",{"$nulls":8},"Summary of payments"]
[null,null,"Type of payment",null,"Local supplier making the payment","Overseas beneficiary","Foreign currency value paid","Tender Rate of Exchange",{"$nulls":7},"Local value of payments"]
[null,null,"(D46)",null,"(D47)","(D48)","(D49)","(D50)",{"$nulls":7},"(D51)"]
[]
[]
[]
[]
[{"$nulls":14},"(D52) Total of  foreign currency payments declared by tenderer and/or 3rd party"]
[null,null,"Signature of tenderer from Annex B"]
[{"$nulls":14},"(D53) Total of imported content & foreign currency payments - (D32), (D45) & (D52) above",{"v":0,"d":"R  0"}]
[{"$nulls":13},"This total must correspond with Annex C  - C 23"]
[null,null,"Date: "]

{"sheet":"Annex E","index":2,"n_rows":43,"n_cols":10,"rows_kept":43,"merged":[[2,2,2,8],[4,2,4,9],[6,7,7,8],[13,4,13,6],[14,4,14,6],[15,4,15,6],[16,4,16,6],[17,4,17,6],[18,4,18,6],[19,4,19,6],[20,4,20,6],[21,4,21,6],[22,4,22,6],[23,4,23,6],[24,4,24,6],[25,4,25,6],[26,4,26,6],[36,7,36,8]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":8},"SATS 1286.2011"]
[null,null,"Annex E"]
[]
[null,null,"Local Content Declaration - Supporting Schedule to Annex C"]
[]
[null,"(E1)","Tender No.",{"$nulls":4},"Note: VAT to be excluded from all calculations"]
[null,"(E2)","Tender description: "]
[null,"(E3)","Designated products:"]
[null,"(E4)","Tender Authority:"]
[null,"(E5)","Tendering Entity name:"]
[]
[]
[{"$nulls":3},"Local Products (Goods, Services and Works)","Description of items purchased",null,null,"Local suppliers","Value","% of LC"]
[{"$nulls":4},"(E6)",null,null,"(E7)","(E8)"]
{"$rows_empty":12}
[{"$nulls":7},"(E9) Total local products (Goods, Services and Works)",{"v":0,"d":"R 0"}]
[]
[null,null,"(E10)","Manpower costs","( Tenderer's manpower cost)",{"$nulls":3},{"v":0,"d":"R 0"}]
[]
[null,null,"(E11)","Factory overheads","(Rental, depreciation & amortisation, utility costs, consumables etc.)",{"$nulls":3},{"v":0,"d":"R 0"}]
[]
[null,null,"(E12)","Administration overheads and mark-up",null,"(Marketing, insurance, financing, interest etc.)",null,null,{"v":0,"d":"R 0"}]
[]
[{"$nulls":7},"(E13)  Total local content",{"v":0,"d":"R 0"}]
[{"$nulls":7},"This total must correspond with Annex C  - C24"]
[]
[null,null,"Signature of tenderer from Annex B"]
[]
[]
[]
[null,null,"Date: "]