[image: image10.jpg]<\

ARC ¢ LNR

Excellence in Research and Development



Agricultural Research Council-NRE
141 Cresswell Rd
Weavind Park
Pretoria,
0184

            Request for quotation: RFQ-016587
Closing Date: 
8 September 2023 at 11h00 

VAT Registration:
4140125313

Delivery address: 6 sites within a 10 km radius in the selected village in the North West province, Taung (Mokassa1, Mokassa 2 and Lokgabeng).
Request for Quotation for supply and delivery of construction materials for 6 cubic meter biogas digester for 6 households in North West Province ‬‬‬ 
Good day

1. You are kindly requested to submit a written quotation to the Agricultural Research Council as per the below specifications.
Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za
1.1 SPECIFICATION IN DETAIL
	Specifications for the supply and delivery of construction materials for 6 cubic meter biogas digester for 6 households in Northwest Province

	DESCRIPTION

QTY 

UNIT

AMOUNT (EX. VAT)

1.

MATERIALS FOR DIGESTER CHAMBER
Bricks (220 x 110 x70) (clay)

12 000

Bricks

42.5 N Cement (50 kg) 

330

Bags

Coarse sand (river sand) (m3) NB: May not be replaced with crusher dust!
30

m3
Fine sand (plaster sand) (m3)

30

m3
Underground PVC- 110 mm diameter pipe (6m length). SABS approved

3

Each

2.5 mm binding wire ( 5 kg)
1 

Each 

[image: image1.png]



Black plastic sheeting 250 micron (3m x 30m roll) SABS approved
6

Rolls

SUB-TOTAL FOR 1
2.

MATERIALS FOR CONCRETE SLAB COVERS
6 mm x 6 m round bar

6

Each

Reinforce mesh sheet  (6 m x 2.4 m 5.6 mm) 
6

Sheets

SUB-TOTAL FOR 2 
3.

GAS PIPELINE CONNECTION
[image: image2.png]



Galvanized standpipe 20mm x 300mm (threaded ends, must be thick to allow for welding)

6

Each

 [image: image3.png]



 20 mm galvanized nipple barrel

12

Each

   [image: image4.jpg]



20x20x20 mm galvanized tee

6

Each

   [image: image5.jpg]



Brass ball valve lever 20 mm

12

Each

[image: image6.jpg]



PVC ball valve (20 mm diameter)

6

Each

[image: image7.png]



20 mm compression elbow 

12

Each

[image: image11.png]



20 x ½”mm compression female elbow 

6

Each

[image: image8.jpg]



HDPE male coupler 20mm x 3/4

6

Each

[image: image9.png]



HDPE male tee 20mm x 3/4

6

Each

SUB-TOTAL FOR 3
4.

DELIVERY CHARGES 

Transport and delivery of materials to project 6 sites within a 10 km radius in the selected village in the North West province, Taung (Mokassa1, Mokassa 2 and Lokgabeng).

1

Each

 


2. Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below: 

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A
          Requirements (Administrative):

         (NOTE: Failure to provide the below-listed documents May lead to disqualification) 
	Description 
	Comply 
	Do Not Comply 

	1. Submission of original valid Tax pin or a Tax Compliance 

Status letter issued by the South African Revenue Services 
	 
	 

	2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4)
	 
	 

	3. Local Content Declaration (Annex C, D, E)
	
	

	4. Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.
	 
	 

	5. BBBEE Certificate or Sworn Affidavit 
	
	


3. All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A
4 Administrative Requirements:

4.1 Valid Tax Pin issued by the South African Revenue Services (SARS).

4.2 Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.
4.3 Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.
4.4 The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

4.5 The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

4.6 Your written quotation must be emailed to   KubhekaL@arc.agric.za 
4.7 Standard conditions:

4.8 The validity of the quotations must be indicated.

4.9 Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

4.10 No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

4.11 The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

4.12 ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

4.13 Quotes should be submitted on official letterhead and duly signed.

4.14 Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

4.15 The General Conditions of Contract issued by the National Treasury are applicable.

4.16 The ARC supply chain management code of conduct is applicable.

4.17 Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

4.18 Your quotation must indicate the delivery date.

4.19 The ARC reserves the right to do due diligence on the quotations.

4.20 The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka
Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za 
Supply Chain Management: ARC



Page 2 of 3

