{"text_format":"3","workbook":"xlsx","n_sheets":11,"sheets":["NLC CCTV & ACCESS CONTROL MP","NLC CCTV & ACCESS CONTROL NC","NLC CCTV & ACCESS CONTROL FS)","NLC CCTV & ACCESS CONTROL NW ","NLC CCTV & ACCESS CONTROL EC ","NLC CCTV & ACCESS CONTROL KZN","NLC CCTV & ACCESS CONTROL LIMP)","NLC CCTV & ACCESS CONTROL WC)","NLC CCTV & ACCESS CONTROL GP","Sheet1","Sheet3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900"}

{"sheet":"NLC CCTV & ACCESS CONTROL MP","index":0,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV NELSPRUIT PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",6,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",5,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",11,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1000m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL NELPRUIT PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatible to Time \nand Attendance)","Each",12,"R","R"]
[2,"Power Supply","Each",12,"R","R"]
[3,"Zl-Bracket","Each",6,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",6,"R","R"]
[5,"Break Glass","Each",6,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Nelpruit Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL NC","index":1,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV KIMBERLY PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",8,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",6,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",14,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1200m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL KIMBERLY PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatible to Time \nand Attendance)","Each",8,"R","R"]
[2,"Power Supply","Each",8,"R","R"]
[3,"Zl-Bracket","Each",4,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",4,"R","R"]
[5,"Break Glass","Each",4,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Kimberly Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL FS)","index":2,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV FREE STATE PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",7,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",5,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",12,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1100m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL FREE STATE PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatible to Time \nand Attendance)","Each",16,"R","R"]
[2,"Power Supply","Each",16,"R","R"]
[3,"Zl-Bracket","Each",8,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",8,"R","R"]
[5,"Break Glass","Each",8,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Free State Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL NW ","index":3,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV MAHIKENG PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",6,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",3,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",9,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1000m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL MAHIKENG PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatible to Time \nand Attendance)","Each",6,"R","R"]
[2,"Power Supply","Each",6,"R","R"]
[3,"Zl-Bracket","Each",4,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",4,"R","R"]
[5,"Break Glass","Each",4,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Mahikeng Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL EC ","index":4,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV EAST LONDON PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",8,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",7,"R","R"]
[4,"NVR 24-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",15,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1400m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL EAST LONDON PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Comoatible ti Time \nand Attendance)","Each",6,"R","R"]
[2,"Power Supply","Each",6,"R","R"]
[3,"Zl-Bracket","Each",3,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",3,"R","R"]
[5,"Break Glass","Each",3,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Mahikeng Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL KZN","index":5,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV DURBAN PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",1,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",6,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",7,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","900m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL DURBAN PROVINCIAL OFFICE "]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatible to Time \nand Attendance)","Each",10,"R","R"]
[2,"Power Supply","Each",10,"R","R"]
[3,"Zl-Bracket","Each",5,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",5,"R","R"]
[5,"Break Glass","Each",5,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Durban Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL LIMP)","index":6,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV POLOKWANE PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",6,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",6,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",12,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","1100m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL  POLOKWANE PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Compatable to Time \nand Attendance)","Each",14,"R","R"]
[2,"Power Supply","Each",14,"R","R"]
[3,"Zl-Bracket","Each",7,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",7,"R","R"]
[5,"Break Glass","Each",7,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Polokwane  Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL WC)","index":7,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,3],[25,0,25,5],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[37,1,37,4],[38,1,38,4],[39,1,39,4],[42,0,42,5],[45,1,45,3]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN  REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV CAPE TOWN  PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",2,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",1,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",6,"R","R"]
[4,"NVR 16-ch 1U 4K","Each",1,"R","R"]
[5,"32Inch full HD professional display (include HDMI cable and brackets)","Each",1,"R","R"]
[6,"3KVA Line Interactive UPS","Each",1,"R","R"]
[7,"Inline surge protectors","Each",7,"R","R"]
[8,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[9,"Cat-06 E Cable","Each","900m","R","R"]
[10,"9U Wall Mount Cabinet","Each",1]
[11,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[12,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL CAPE TOWN  PROVINCIAL OFFICE "]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control  (Comoatible ti Time \nand Attendance)","Each",10,"R","R"]
[2,"Power Supply","Each",10,"R","R"]
[3,"Zl-Bracket","Each",5,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",5,"R","R"]
[5,"Break Glass","Each",5,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Cape Town  Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"NLC CCTV & ACCESS CONTROL GP","index":8,"n_rows":55,"n_cols":6,"rows_kept":55,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[18,1,18,4],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,0,22,3],[24,0,24,5],[25,0,26,0],[25,1,26,1],[25,2,26,2],[25,3,26,3],[25,4,26,4],[25,5,26,5],[36,1,36,4],[37,1,37,4],[38,1,38,4],[41,0,41,5],[44,1,44,3],[48,0,48,5],[49,0,50,0],[49,1,50,1],[49,2,50,2],[49,3,50,3],[49,4,50,4],[49,5,50,5]]}
[{"$error":"#VALUE!"}]
["REQUEST FOR PROPOSAL FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS, SECURITY MONITORING CONTROL AND ACCESS CONTROL INDLUDING MAINTENANCE FOR THE PERIOD OF 5 YEARS AS AN WHEN REQUIRED FOR THE NATIONAL LOTTERIES COMMISSION IN THE HEAD OFFICE AND PROVINCIAL OFFICES"]
[]
["1. CCTV PRETORIA   PROVINCIAL OFFICE"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"Western Digital Surveillance Hard Disk 10TB","Each",4,"R","R"]
[2,"4 MP,8mm IR  outdoor  Dome Network Camera,","Each",15,"R","R"]
[3,"4 MP ,8mm IR Indoor Dome Network Camera","Each",35,"R","R"]
[4,"NVR 64-ch 1U 4K","Each",4,"R","R"]
[5,"3KVA Line Interactive UPS","Each",1,"R","R"]
[6,"Inline surge protectors","Each",7,"R","R"]
[7,"Smart Managed, 24 port Switch","Each",1,"R","R"]
[8,"Cat-06 E Cable","Each","3000m","R","R"]
[9,"9U Wall Mount Cabinet","Each",1,"R"]
[10,"Sundries and Consumables(Bosals/ PVC Pipes ,\nenclosures RJ45 connectors trenching etc)","Each",1,"R","R"]
[11,"Installation,Commissioning and Training","Each",1,"R","R"]
[]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub -Total","R"]
[]
["2. ACCESS CONTROL PRETORIA  PROVINCIAL OFFICE "]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"IPS 65 Video  Bio acces control (Compatible to Time \nand Attendance)","Each",20,"R","R"]
[2,"Power Supply","Each",20,"R","R"]
[3,"Zl-Bracket","Each",10,"R","R"]
[4," Electro Magnetic Lock 280Kg","Each",10,"R","R"]
[5,"Break Glass","Each",10,"R","R"]
[6,"Enrolment And Playback PC With Monitor","Each",1,"R","R"]
[7,"Sundries and Consumables(Cabling,Trunking etc)","Each",1,"R","R"]
[8,"Installation, Commissioning and Training","Each",1,"R","R"]
[]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":5},"R"]
[{"$nulls":4},"Sub Total","R"]
[]
["3. Maintenance Pretoria  Province"]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[1,"As an when required SLA (Maintance Services)",0,1,"R","R"]
[]
[{"$nulls":4},"Sub-Total","R"]
[]
[]
["4.      PRETORIA MAIN CONTROL ROOM "]
["No","Description","Unit","Qty","Unit Price","Total Price"]
[]
[1,"VIDEO WALL","Each",1]
[2,"i7 PC  With Enhanced Video card and 3 outputs","Each",2]
[3,"1gig Line of network (from each site ) ","Each",8]
[{"$nulls":4},"Sub-Total","R"]

{"sheet":"Sheet1","index":9,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":10,"n_rows":0,"n_cols":0,"rows_kept":0}