TSC – SPECIFICATION

| No. | Item Description | Specifications | Farm | Delivery Address |
| --- | --- | --- | --- | --- |
| 1 | 2 x 32000BTU Split wall air conditioner unit | - Wifi Enabled - Auto Restart Function - Rapid Heating & Cooling - Super - quiet Moto - Remote Control with LCD Display - Self-Cleaning Function - Sleep Mode – Timer - Air out-let swing adjustment - Modern white flat design - R410a Gas Refrigerant - Heating and Cooling - 3 Year Comprehensive Warranty and 5 Year - Includes installation | Nelspruit | ARC – Nelspruit farm |