Medical grade copper pipe measurements in meters (m) for the installation for gas pipelines.

- CO2 measurements in meters (m) and paint quantity

- 469m

- 8x paints

- O2 measurements in meters (m) and paint quantity

- 325m

- 4x paints

- Vacuum line in meters (m) and paint quantity

- 40m

- 8x paints

- Compressed air

- 10m

- 4 x Auto release air moisture

- 5 x Valve boxes

- Connections for CO2, O2, compressed Air and a vacuum line

- Ingersoll rand vacuum pump (To be serviced and the pipe lines to be pressure tested and leakages must be repaired).

- Model: 7v

- Serial number: 627236

Summary

- All pipe lines must be correctly colour coded and tagged according to the current gas regulations.

- All pipes must be tagged at the supply and at the end-user side and 4-taggs in between.

Evaluation Criteria

| ITEM NUMBER | COMPLY or NOT COMPLY | COMMENTS |
| --- | --- | --- |
| - CO2 measurements |  |  |
| - O2 measurements |  |  |
| - Vacuum line |  |  |
| - Compressed air |  |  |
| - 4 x Auto release air moisture |  |  |
| - 5 x Valve boxes |  |  |
| - Ingersoll rand vacuum pump |  |  |
| - Summary |  |  |