|  | Standard | Technology |
| --- | --- | --- |

| Title: | Execution of Site Preparation and Earthworks Standard |  |  | Unique Identifier: |  |  |  | 240-57127953 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Alternative Reference Number: |  |  |  | N/A |  |  |  |
|  |  |  |  | Area of Applicability: |  |  |  | Engineering |  |  |  |
|  |  |  |  | Documentation Type: |  |  |  | Standard |  |  |  |
|  |  |  |  | Revision: |  |  |  | 1.0 |  |  |  |
|  |  |  |  | Total Pages: |  |  |  | 23 |  |  |  |
|  |  |  |  | Next Review Date: |  |  |  | October 2015 |  |  |  |
|  |  |  |  | Disclosure Classification: |  |  |  | CONTROLLED DISCLOSURE |  |  |  |
| Compiled by |  | Approved by |  |  |  | Authorised by |  |  |  |
| ………………………………….. |  | ………………………………….. |  |  |  | ………………………………….. |  |  |  |
| M. Were Chief Technologist |  |  | V. Kobus Chief Engineer |  |  |  | T. Velen Chief Engineer |  |  |  |
| Date: …………………………… |  | Date: …………………………… |  |  |  | Date: …………………………… |  |  |  |
| Supported by TDAC |  |  |  |
| ………………………………….. |  |  |  |
| D. Odendaal TDAC Chairperson |  |  |  |
| Date: …………………………… |  |  |  |

# CONTENTS

Page

1. Introduction	4

2. Supporting Clauses	4

2.1 Scope	4

2.1.1 Purpose	4

2.1.2 Applicability	4

2.2 Normative/Informative References	4

2.2.1 Normative	5

2.2.2 Informative	5

2.3 Definitions	5

2.3.1 Classification	6

2.4 Abbreviations	6

2.5 Roles and Responsibilities	6

2.6 Process for monitoring	6

2.7 Related/Supporting Documents	6

3. execution of site preparation and earthworks standard	6

3.1 GENERAL	6

3.1.1 Existing Services and Facilities	6

3.1.2 Site Levels	7

3.1.3 Site Investigations	7

3.1.4 Classification of Soils And Rocks	7

3.1.4.1 Soil classification	7

3.1.4.2 Rock classification	7

3.1.5 Seismic Aspects	8

3.2 SITE PREPARATION	8

3.2.1 General	8

3.2.2 Demolition And Site Clearance	8

3.2.3 Clearing of Vegetation and Stripping of Top Soil	9

3.2.4 Treatment Of Existing Ditches And Water Courses	9

3.2.5 Treatment of Underground Cavities	9

3.2.6 Treatment Of Subsoils	9

3.2.7 Faults and Other Geological Disturbances	10

3.2.8 Provision of Site Drainage	10

3.2.9 Earthworks	11

3.2.10 Provision of Temporary Access	11

3.2.11 Laydown and Stockpile Areas	11

3.2.12 Shore Protection, Coastal Defence and River Works	11

3.3 EARTHWORKS	11

3.3.1 General	11

3.3.2 Design of Cuttings, Excavations, Embankments and General Fill	12

3.3.3 Excavation and Filling	13

3.3.3.1 General	13

3.3.3.2 Excavation	13

3.3.3.3 Excavation in rock	13

3.3.3.4 Disposal of materials accruing	14

3.3.3.5 Filling	14

3.3.3.6 Rockfill	15

3.3.4 Compaction	15

3.3.5 Trenches and Pits	16

3.3.5.1 General	16

3.3.5.2 Design	16

3.3.5.3 Construction	17

3.4 SHORE AND RIVER EMBANKMENT PROTECTION	17

4. Authorisation	18

5. Revisions	18

6. Development team	19

7. Acknowledgements	19

Appendix A : FIELD COMPACTION TRIALS - POSSIBLE PROCEDURE	20

Appendix B : INDICATIONS REGARDING COMPACTION	21

# Introduction

Distribution and intended use

The distribution of this document is confined to companies undertaking designs on behalf of eskom enterprises division – capital expansion department or managed by them and to contractors nominated by them.

This document is intended for use in power generating facilities and, where applicable, supply/marketing installations.

Minimum requirements

The minimum technical requirements as laid down in this manual shall be applied to the design, materials selected, planning and execution of site preparation, earthworks and scour protection works.

Supplementary to these requirements, work shall be carried out in accordance with recognized and accepted theories, methods, codes of practice, standards and good engineering practice.

As a rule the requirements of this manual shall be adhered to.

If national and/or local regulations exist in which some of the requirements may be more stringent than in this document, the contractor shall determine by careful scrutiny which of the requirements are the more stringent and which combination of requirements will be acceptable as regards safety, economic and legal aspects. In all cases the contractor shall inform the principal of any deviation from the requirements of this document which is considered to be necessary in order to comply with national and/or local regulations. The principal may then negotiate with the authorities concerned with the object of obtaining agreement to follow this document as closely as possible.

# Supporting Clauses

## Scope

This manual contains minimum requirements and guidance on the design, planning, materials and construction for:

site preparation

earthworks

It shall be used in conjunction with other specifications relevant to site site preparation and earthworks.

### Purpose

None

### Applicability

This document shall apply throughout Eskom Holdings Limited Divisions.

## Normative/Informative References

Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.

### Normative

- None

### Informative

- None

## Definitions

| Definition | Description |
| --- | --- |
| Shall and Should | the word `shall' is to be understood as mandatory and the word `should' as strongly recommended to comply with the requirements of this manual. |
| Principal | the party which initiates the project and ultimately pays for its design and construction. The Principal will generally specify the technical requirements. The Principal may also include an agent or consultant, authorized to act for the Principal. |
| Contractor | the party which carries out all or part of the design, engineering, procurement, construction and commissioning for the project. The Principal may sometimes undertake all or part of the duties of the Contractor. |
| Suitable materials | shall comprise all that which is acceptable in a natural or processed state in terms of its intended use and shall be specified for each application. |
| Unsuitable material | other than suitable material and shall amongst others include: ###### material from swamps and marshes ###### peat, logs, stumps and perishable materials ###### material susceptible to spontaneous combustion ###### materials with undefined properties ###### materials having a moisture content greater than the maximum permitted for such materials ###### building rubble and domestic and industrial wastes (unless otherwise approved by the principal) ###### soils and rock susceptible to deterioration/change of their properties (unless otherwise approved by the principal). |
| Rock | those geological strata or deposits and any hard material requiring the use of blasting or approved pneumatic tools for its removal. |
| Rockfill | those geological strata or deposits and any hard material requiring the use of blasting or approved pneumatic tools for its removal. |
| Soils | all suitable non-cemented granular and cohesive soils. |
| Silt | non-clayey soils with individual particle size less than 0.06 mm. |
| Cemented soils | soils in which the grains or aggregates adhere firmly, bound together by a material which acts as a cementing agent, e.g. lime, silica, aluminium hydrates, etc. |

### Classification

###### Controlled Disclosure: Controlled Disclosure to External Parties (either enforced by law, or discretionary).

## Abbreviations

None

## Roles and Responsibilities

None

## Process for monitoring

None

## Related/Supporting Documents

None

# execution of site preparation and earthworks standard

## GENERAL

### Existing Services and Facilities

The nature and location of all existing aboveground and underground services, and facilities shall be ascertained on site and adjacent areas, where necessary by hand excavation, before commencing site investigations, site preparation works and earthworks.

Every precaution shall be taken including the provision of all necessary temporary supporting, bridging shoring and safety barriers to protect these services and facilities from damage or interference during the execution of the works. The stability of existing above and underground services and the measures considered to be necessary should be proven by calculations based on realistic assumptions and/or available data.

The principal shall be notified in writing should any previously unrecorded services or other objects be discovered during investigations. A description, dimensions, levels related to reference datum and other relevant details of such services shall be accurately recorded and supplied to the principal.

A certificate or permit shall be obtained from the principal or the responsible body, confirming that services have been cut off and made safe and specifying any services or other facilities adjacent to the work including related safety aspects and measures which must be maintained during the execution of the work.

In the event that services such as drains or natural drainage of a certain area require to be cut during the execution of the works these shall be made good to the satisfaction of the principal, and where applicable a temporary or permanent rerouting shall be provided.

In the event that services or facilities are accidentally cut or damaged, these shall be made good as directed by the principal.

### Site Levels

When selecting site levels (e.g. high point of paving), the following considerations shall be taken into account:

Surface water run off should be able to take place under gravity via the plant drainage systems to public water.

Site lay-out/plot plan and related safety aspects should be adhered to.

Cut and fill should be economically planned such that cut and fill balancing is optimized including allowances for earthen structures and general fill, bulking, wastage and unsuitable materials.

Danger of flooding should not exist (highest sea level, river level, etc.) or alternatively the area should be adequately protected.

Prior to the commencement of work a limited number of permanent survey beacons shall be strategically placed on site and accurately related to the plant and/or national grid system for time and level.

Prior to the commencement of work the original site surface levels shall be surveyed and recorded on an appropriate drawing.

### Site Investigations

Prior to the commencement of site preparation and earthworks a site investigation shall be carried out. This investigation should include but not be limited to soils, topographical, hydrological and geohydrological surveys (and under certain conditions engineering geological surveys).

The design, materials, planning and execution of site preparation and earthworks shall be based on the results of a recently completed full scale or confirmatory site investigation.

### Classification of Soils and Rocks

#### Soil classification

The `Sandy' and `Clayey' character of finegrained soils (e.g. sandy clay, silty sand, clayey sand) shall be determined with the aid of Atterberg limits, e.g. plasticity index (PI) of clean sand is < 4. The durability of sand shall be shown by the determination of its calcium content, its chemical stability in general and the `hardness' of the particles.

#### Rock classification

Rock quality classification diagrams: (a), general purpose classification (the sub-division on the top and that on the right of the diagram refer to suggestions by The Geological Society of London); (b) and (c) alternative methods of sub-division (Ref.: Franklin Broch and Walton 1971).

Rock is a natural aggregate of mineral particles connected by `strong and permanent' cohesive forces. Igneous and metamorphic rocks, e.g. marble granite, etc., consist of interlocking crystals. Sedimentary rocks, e.g. sand stone, limestone, etc., consist of closely packed mineral grains, often bound together by a natural cement. Since the terms `strong and permanent' are subject to different interpretations, the boundary between rocks and cemented soils is necessarily arbitrary.

Aspects such as the degree of weathering, chemical stability, fracture spacing, bedding plane spacing, strength, structure/texture durability and hardness determine the engineering character of rocks.

### Seismic Aspects

Design and execution of site preparation and earthworks shall be based on the seismic conditions and relevant consequences prevalent in the area under consideration.

Liquefaction potential shall be thoroughly investigated by means of laboratory and field tests. In situ checks should be carried out upon completion of the earthworks.

## SITE PREPARATION

### General

Site preparation may consist of one or more of the following activities:

demolition and site clearance (3.2.2)

clearing of vegetation and stripping of top soil (3.2.3)

treatment of existing ditches and water courses (3.2.4)

treatment of underground cavities (3.2.5)

treatment of subsoils (3.2.6)

provision of site drainage (surface and subsurface) (3.2.8)

earthworks (3.2.9)

provision of temporary access and laydown areas (3.2.10) and (3.2.11)

shore protection works (3.2.12).

### Demolition and Site Clearance

Demolition works shall include but may not be limited to the demolition and removal of buildings, structures, culverts, roads, pavements, above and underground services and associated foundations.

Site clearance shall include but may not be limited to the taking down or grubbing up and immediate removal from site of surface obstructions and unsuitable materials, such as debris, rubble, gates, fences, shrubs, hedges, trees, stumps and roots.

The principal may direct to leave in place certain items such as fences, shrubs, trees, or other features required for incorporation in landscaping. The contractor shall, under such conditions, be responsible for the care and protection of such items during the course of the works.

Demolition and site clearance works shall be planned and executed in a manner such that the safety of personnel, the work and adjacent property is guaranteed and such that a minimum of inconvenience is caused.

All necessary temporary works such as safety barriers, fences, safety nets, coverings and screens shall be provided to protect personnel and adjacent property from injury or damage caused by demolition operations.

All necessary dead or raking shores to support existing work shall be provided during demolition and associated operations.

All materials arising from demolition and site clearance work except materials specified for re-use or as otherwise specified by the principal shall be removed from site as the work progresses, and shall be disposed of. Such materials should not be permitted to accumulate and the site shall be maintained in a safe and workmanlike condition at all times.

Materials required for re-use shall be stored in a safe location and protected from damage or deterioration as agreed with the principal.

Materials removed from site shall be disposed of in accordance with governing local and national laws and regulations.

### Clearing of Vegetation and Stripping of Top Soil

All areas to be excavated, filled or constructed upon, should be stripped entirely of vegetation and top soil to a suitable depth below ground level, as indicated by the site investigation and agreed with the principal.

Vegetation e.g. endangered trees and/or plant species intended for re-use, as agreed with the principal, shall be handled in an approved manner.

Vegetation intended for re-use shall be removed to a location approved by the principal where it shall be neatly stacked and regularly watered and tended until required for replanting.

Top soil intended for re-use as agreed with the principal shall be stock-piled and/or spread at approved locations.

The remaining top soil and vegetation shall be disposed of at locations agreed by the principal. Disposal shall be carried out in accordance with national and local laws and regulations.

### Treatment Of Existing Ditches And Water Courses

Existing drainage ditches and water courses shall be temporarily or permanently rerouted, where necessary, in order to prevent

unacceptable rise or fall in ground water level in, and flooding of, the site

unacceptable changes to the hydrological and geohydrological regimes of the adjacent areas.

The invert and sides of abandoned ditches and water courses shall be cleared of unsuitable deposits which shall be disposed of in a manner approved by the principal.

Filling and compaction of cleared ditches and water courses shall be carried out in accordance with (3.3.3) and (3.3.4).

Erosion protection where required for rerouted water courses shall be designed and constructed in accordance with (3.4).

### Treatment of Underground Cavities

Where naturally occurring cavities e.g. caverns, underground water courses or man-made cavities, e.g. mineworkings, wells, basements are detected under or adjacent to the construction area, these shall be suitably treated in consultation with the principal.

The selected treatment shall take into account not only the effect on the geohydrology of the surrounding areas but also the requirements of the structures to be founded within the influence zone of the cavities.

### Treatment Of Subsoils

In cases where a change in the permeability, an increase in strength/friction properties/density or a decrease in the liquefaction susceptability/compressibility of the subsoil (i.e. reduction in subsequent settlements) is required, consideration shall be given to the use of soils improvement methods, e.g.:

shallow or surface compaction

deep compaction (e.g. vibroflotation, dynamic compaction, stone columns)

vertical and/or horizontal drainage

injection of grouts or chemicals

soils replacement

preloading.

The design of such improvement shall be based on a thorough soils investigation and shall take into account the soil type (e.g. whether cohesive, granular, cemented) particle strength, particle size and shape analysis, silt content, in-situ density, mineralogical and chemical composition and primary as well as secondary permeability of the soil to be treated.

In general it should be noted that:

Clay, clayey and silty layers cannot be effectively compacted by means of mechanical compaction. Preloading is the only effective method, although it may take a significant period of time to obtain the required degree of compaction/consolidation (i.e. a number of months or years).

Deep compaction will not be effective at low stress levels (i.e. in the first 1.5 to 4.0 metres below ground level) and should always be followed up by a shallow surface compaction. The site may alternatively be `surcharged' during deep compaction.

The secondary permeability (i.e. water flow through cracks and subsurface channels and cavities) is generally more critical and complicated than primary permeability (i.e. water flow through pores). Secondary permeability may exist/develop in cemented soils, dried out clays and especially in rocks.

### Faults and Other Geological Disturbances

If faults and or other geological disturbances exist at the site the long-term behaviour hereof and the behaviour during earthquake, if applicable, shall be investigated by an expert in the field. A second opinion on such investigations is often considered desirable. The conclusions of this investigation shall be taken into consideration for the subsequent earthworks (and foundation and structural design).

### Provision of Site Drainage

Adequate drainage systems shall be provided to deal with ground water and surface water run off.

Permanent surface water run off drainage systems shall be designed in accordance with acceptable procedures, codes and guidelines.

Temporary surface water run off drains (e.g. ditches) and subsoil water drains (e.g. horizontal buried drains, vertical drains) shall be provided in order to prevent flooding and maintain access on site during construction until the permanent drainage systems are brought into operation.

The requirements of construction plant, work progress, building pits and meteorological conditions shall be taken into consideration.

Disturbance of the natural water drainage systems, both surface and subsurface, by construction activities in the area shall be taken into account and where necessary measures shall be taken to eliminate any detrimental effects.

Examples of disturbances:

Excavation may lead to a lowering of ground water levels in the adjacent area which may cause foundation settlements and consequently damage to foundations and supported structures. Drying out of vegetation can also occur.

General fill and embankments may lead to a general raising of the ground water level in the fill and surrounding areas with unacceptable consequences such as uplift of foundations and buried structures, corrosion and drainage problems. Drainage problems may become critical during extreme conditions.

### Earthworks

Earthworks forming part of site preparation works shall be designed and executed in accordance with (3.3).

### Provision of Temporary Access

Suitable temporary roads should be laid to provide all-weather access for construction activities including site preparation.

The temporary access routes should preferably coincide with the planned permanent routes.

Temporary access shall be designed to suit climatic, traffic and subsoil conditions.

The effects of heavy traffic along temporary roads (e.g. propagation of dust clouds, damage to existing structures by vibrations, disturbance of surface and subsurface drainage) shall be taken into consideration and where necessary suitable precautions shall be taken.

Traffic routing schemes should be established, especially for large-scale works.

### Laydown and Stockpile Areas

Permanent laydown areas normally located inside battery or module limits for the laying down of bundles, trays, columns, and other structures during shutdown or maintenance of plants shall be designed and constructed in accordance with the procedure for roads, paving, surfacing slope protection and fencing.

Temporary laydown areas (included in the contractors areas) required for construction activities should be suitably levelled and provided with suitable access, temporary paving and surface drainage where required.

The area shall be drained such that stored materials remain dry and the area remains accessible (surface and possibly subsurface drainage may be required).

For stockpiling see (3.3.3.4).

### Shore Protection, Coastal Defence and River Works

Shore, river embankment and scour protection works forming part of site preparation works shall be designed and executed in accordance with (3.4).

## EARTHWORKS

### General

Site preparation for earthworks shall be designed, planned and executed in accordance with (3.2).

The effect of earthworks on neighbouring structures, services, etc., shall be analysed (for both short- and long-term effects) and detrimental effects shall be avoided or appropriate measures taken to safeguard the integrity of the item in question.

Similarly the effects of dewatering or disturbance of the existing geohydrological conditions as a result of earthworks on neighbouring structures, services, etc., shall be taken into account.

Examples are:

change in horizontal earth pressure on foundations (especially piled foundations) may turn out to be unacceptable

damage to foundations and structures as a result of differential settlements caused by lowering and raising of ground water level, placement of fill or other surcharge excavation and horizontal soil movement

damage to foundations and structures by vibrations caused by earth moving equipment and heavy traffic.

- The possible effect of earthquake on earthworks with respect to:

liquefaction/excess pore water pressure build-up

change in soil/rock properties

change in loading situation

which shall be investigated and where necessary suitable measures taken.

Assumption with respect to magnitude of earthquake, earthquake coefficient, safety factors, etc., shall be made in agreement with the principal.

### Design of Cuttings, Excavations, Embankments and General Fill

The macro and micro stability of cuttings, excavation and embankment slopes and the related soil/rock deformations shall be analysed in accordance with the procedure for geotechnical and foundation engineering.

Design of cuttings, excavation and embankment slopes shall include erosion protection of slopes, and take into consideration aspects such as wind, rain, running surface water, seepage water, freezing and temperature effects.

Soil deformation with respect to settlements due to consolidation, compression of soil skeleton, movements required to develop shear resistance, the consequence of sliding and squeezing, etc., shall all be analysed in accordance with the procedure for geotechnical and foundation engineering.

Extreme hydrological and meteorological conditions shall be assumed in agreement with the principal for the design of earthworks. The impact of earthworks on ground water levels and the influence on drainage shall be analysed and where appropriate designed for.

Temporary conditions (i.e. short-term), e.g. extreme excess pore water pressure during filling, sliding of a soil mass, etc., shall be included in the design considerations. Vertical stability of excavations (uplift, piping, boiling, etc.) should be checked.

Possible change in soil and ground water properties due to earthworks, such as change in pH value and sulphate content, shall be investigated/studied.

### Excavation and Filling

#### General

Site preparation for earthworks shall be planned and executed in accordance with (3.2).

Excavation and filling activities shall take into account the results of the stability and soil deformation analyses carried out in accordance with (3.3.2).

The planning of excavation and filling activities shall take into account the climatic conditions prevalent during the construction period. Drawings shall be prepared prior to commencing work showing locations of excavation, tipping and filling including quantities of each type or class of material to be moved to or from sections defined on the drawings.

Soil behaviour and soil properties (and possible changing hereof) during and after the execution of earthworks should be monitored if required and agreed with the principal.

Aspects such as settlements, horizontal movements, sliding, ground water levels, piezometric pore pressure and excess pore water pressure development, ground water composition should be monitored if required and agreed with the principal.

#### Excavation

Plant selection for excavation and earth movement shall take into account type of materials to be excavated, method of excavation, prevailing weather conditions and type of transport to be used.

Unsuitable material detected below stripped ground level or below foundation level in areas of cut should be excavated to firm ground. The resultant excavation shall be filled to the required levels with suitable materials which shall be deposited, spread and compacted in accordance with (3.3.3.5) and (3.3.4).

The excavation of an area of cut shall be so timed that the foundation level is not exposed to the deteriorating influence of the weather for longer than can be avoided.

Earth moving plant shall be routed such that minimum damage is caused to the natural subsoil structure of exposed formations.

The suitability of the subsoil below excavation level shall be proven by additional testing when it concerns excavation for foundation for concrete or steel structures, pipelines and storage tanks.

#### Excavation in rock

Where excavation in rock by mechanical or hand methods prove to be impractical or uneconomic, drilling and blasting should be considered.

Drilling and blasting shall be carried out only with the explicit written permission of the principal.

The contractor shall comply in all respects with the most stringent local and national laws, regulations and standards, the explosives manufacturer's recommendations and the direction of the principal relating to the storage, transportation, handling and use of explosives.

Blasting operations shall be carried out and supervised only by personnel qualified in and fully conversant with the handling and use of explosives.

The contractor shall be responsible for determining the danger zone likely to be created during blasting operations and he shall be responsible for evacuating this area of personnel and placing the necessary safety barriers. The contractor shall also ensure, by placing heavy blasting mats, or taking similar precautions, when necessary, such that no damage is caused to personnel and property on or off site during blasting operations.

Rock shall be broken down to a size suitable for excavation, transportation, deposition and possible compaction. Where necessary field trials should be carried out.

Blasting operations shall be planned and executed such that damage to or deterioration of the parent rock is avoided.

Weathered or unsuitable rock susceptible to deterioration, encountered below foundation level, shall be replaced by well-compacted sound crushed rock or lean concrete.

The `flatness' tolerances of the formation level shall be agreed upon with the principal but in general should not exceed plus or minus 75 mm.

In certain cases it may be worth considering covering the formation level with a layer (e.g. 500 mm) of well draining sandy soil providing the `flatness' tolerances are adhered to.

#### Disposal of materials accruing

Suitable materials intended for re-use should be used as soon after excavation as possible otherwise they shall be stock-piled at a location approved by the principal.

Temporary stockpiling shall be such that the properties and composition of materials intended for use as construction materials at a later stage will not change.

The influence of stockpiling on ground water, drainage and adjacent structures and services shall be investigated and where necessary suitable measures should be taken.

Areas used for temporary stockpiling shall be kept clean and orderly and shall be restored to their original condition before completion of works.

Unsuitable materials and suitable material not intended for re-use shall be removed from the work site and disposed of at a location approved by the principal. Materials shall be disposed of in accordance with local and national laws and regulations.

#### Filling

Suitable fill materials shall be placed, spread and compacted in basically horizontal layers of equal thickness appropriate to the requirements of the selected compaction plant.

Fill shall be built up evenly over the full width of the area with a slope sufficient to allow efficient surface drainage of rain water and prevent ponding.

The placing of fill shall not commence until the area to be filled has been inspected and approved by the principal.

The settlements and stability of both fill and the subsoil underneath should, dependent on the intended use of the filled area, be monitored both during and after construction. Instruments which should be considered are piezometers, settlement gauges, inclinometers and electrical pore water pressure gauges, placed on, in, or under the fill.

The rate of filling shall be considered and shall take into account the stability of the embankment and its foundation in relation to pore water pressures. The rate of filling shall, where necessary, be determined by calculation and/or by monitoring of the dissipation of excess pore water pressures.

In certain cases subsurface drainage may be required in which case attention shall be paid to the long-term behaviour hereof (e.g. danger of clogging).

The suitability of fill material shall be regularly checked by (field) laboratory tests. (e.g. plasticity index, sit content, grain size distribution) whilst random samples should be taken as the basis of an independent thorough and detailed cross check.

#### Rockfill

Rockfill should be placed in layer thicknesses compatible with the available rock moving plant, compaction plant and the properties of the rock itself.

The best possible grading of the rockfill to be placed should be obtained in order to prevent subsequent `collapse settlements'.

Rockfill obtained from a strong or moderately strong parent rock should be watered, after placing and prior to compaction, in order to reduce frictional resistance between rock fragments and thus enhance compaction thereby avoiding subsequent `collapse settlements'.

The gradation of the rockfill in its upper layer, under roads and under other areas where finer fill material is placed, shall be such that loss of finer material due to wash-out, etc., cannot occur.

The gradation of the rockfill in its lower layers where it is placed on softer (or fine grained) materials shall be such that loss of rock into the soft material is prevented.

Rockfill placed under the foundations of structures of any importance shall consist of sound rock not susceptible to deterioration. The properties of rock used for these purposes should be determined by laboratory tests. See also the .procedure for site investigations.

Unsuitable materials, including weathered rock and rock susceptible to deterioration, should be removed prior to commencing rockfill operation.

Rockfill obtained from a weak or poor parent rock (e.g. mud stones, shales, mar and chalk) should not be watered prior to compaction in view of the danger of rock fragment disintegration.

Thicknesses of dry rock layer should be limited in order to prevent possible `collapse settlements'.

Field trials should be carried out in order to determine the optimum layer thickness of rockfill, the method of compaction, the numbers of passes, the amount of watering, variability of grading and the type of compaction plant required to obtain optimum compaction results.

The maximum rock fragment diameter should not exceed two thirds of the layer thickness.

### Compaction

Compaction trials should be carried out on each soil type to be placed in areas of fill, in order to confirm layer thicknesses of material placed, and the type of machine and number of passes required to obtain optimum compaction for given soil moisture contents. These trials should also be used to determine the variability of the proposed fill material for different weather conditions. A possible field trial procedure is shown in Appendix A.

The principal may decide to wave compaction trials for a material class if the properties of the fill materials have previously been related to various types of plant available, layer thicknesses of fill material placed and number of passes of the plant in question.

An indication of the number of passes of various types of compaction plant required to obtain optimum compaction for different thickness of various soil types is shown in Appendix B. The indicated values should be confirmed by field trials.

The degree of compaction required, which is determined by the engineering properties required for the fill to carry out its design function, shall be specified in terms of minimum percentage of the maximum dry density obtained from a standard laboratory test or other approved method for each class of fill to be placed. Consideration should be given to the use of methods such as Dynamic Cone Penetration and Mod AASHTO densities, as a means of checking in-situ density during the progress of the work especially where large areas of fill are being placed and quick results are required, the acceptance parameters for cone resistances or other approved methods shall be determined and agreed during field trials.

The compaction requirements and type of plant, based on the laboratory tests and field trials, shall be agreed with the principal prior to the commencement of the work.

A minimum of five in-situ dry density tests shall be carried out per hectare, per layer and evenly spread over the area being compacted, unless otherwise approved by the principal.

The top 500 mm of subgrade to roads and railways and under foundations shall be compacted to a minimum of 95% of the maximum density at optimum moisture content obtained by means of the Mod AASHTO Test unless otherwise approved by the principal.

The principal should carry out comparative field density tests during the course of the work. Should the results of the tests carried out by the contractor or the comparative tests carried out by the principal indicate that the agreed compaction requirements have not been met, the contractor shall make good the deficiencies to the satisfaction of the principal.

It should be noted that non-cohesive materials can only be compacted by vibratory equipment. Application of heavy `tracked' vehicles for compaction of thin layers can also be effective.

### Trenches and Pits

#### General

Trenches and pits are excavated, and where applicable provided with temporary support and drainage, to enable some form of permanent construction to be founded at the level of the bottom of the excavation and also to enable any permanent support to the ground faces to be formed.

#### Design

The design of excavations for trenches and pits should take into account the results of a soil investigation.

Aspects such as:

variations in the soil conditions and in the geological structure

depth of excavation

the existence of ground water and surface water

the type and extent of excavation

the topography of the site

the proximity of items such as roads, buildings and buried services

construction traffic and activities near the excavation, e.g. stockpiling

shall be taken into account when determining whether the sides of excavations should be freestanding, sloping or temporarily supported.

The sides of trenches and pits shall be designed such that they are stable and the safety of personnel, the integrity of adjacent structures and any permanent works in the excavation itself are ensured. Deformation of soil and the temporary retaining structures (which always occurs) shall be checked and shown to be within acceptable limits.

The stability and deformation behaviour of slopes, temporary retaining structures and the base of deep excavations (e.g. heave) shall be verified by calculations. Potential vertical stability and uplift problems shall be investigated. Refer to the procedure for geotechnical and foundation engineering for the design aspects of excavated slopes and cuttings.

Temporary supports shall be designed as an earth-retaining structure, capable of resisting horizontal soil and ground water pressures. Reference is made to the procedure for geotechnical and foundation engineering for the design aspects of earth-retaining structures.

Sufficient work space shall be provided in order to allow the safe working of personnel, equipment, supports and ancillaries.

Suitable drainage and/or dewatering systems shall be designed to prevent or limit ingress of surface or subsurface water into excavations. Unacceptable effects on neighbouring ground water level or pore water pressure shall be prevented.

#### Construction

Temporary supports shall be placed as soon as possible after (in some cases before) excavation.

Temporary supports shall be maintained such that the integrity of the sides of the excavation is not impaired.

Excavation materials accruing shall be disposed of in accordance with (3.3.3.4).

Any pockets of soft soil, loose rocks or other unsuitable materials in the bottom of pits and trenches shall be removed to firm ground and shall be backfilled with suitable materials placed and compacted in accordance with (3.3.4) and (3.3.5).

The softening and deterioration of suitable ground exposed at the bottom of an excavation shall be avoided. Where the bottom of an excavation has reached such a condition that it is unsuitable, the ground shall be treated in accordance with (3.3.3.2).

The bottom of all excavations for soil bearing foundation shall be compacted immediately before the placing of blinding or foundation materials.

Trenches and pits shall be backfilled with suitable materials which should be compacted to the same degree or better as the surrounding soils. Sometimes neighbouring structures or structures constructed in the excavation are governing as regards the degree of compaction.

Temporary excavation supports should be removed as backfilling and compaction proceeds, such that unacceptable movement of the supported ground does not occur.

Voids caused by extracted supports should be filled and compacted. Treatment methods of possible slips and cave-ins of the sides of excavations shall be agreed with the principal.

The monitoring of soil deformations, ground water levels, piezometric pore water pressure variations during and possibly after construction work shall be taken into consideration.

In the event excavation works are carried out in the vicinity of structures of any importance the above-mentioned monitoring shall be carried out (e.g. within a distance, from the edge of the excavation, of 5 to 15 times the excavated depth, depending on the subsoil conditions and the stability of the neighbouring structures).

Quality control of backfill materials and compaction should be carried out.

## SHORE AND RIVER EMBANKMENT PROTECTION

When selecting a coastal location or a location near a river embankment the possible need for protection of the hinterland against flooding and the possible need for shoreline/river bank stabilization shall be investigated.

Measures shall be taken to provide the required protection with least disturbance to the environment and to current and future land use.

When analyzing the problem, hydraulic, morphological, geological, geotechnical coastal engineering and environmental aspects shall be considered.

The hydraulic aspects shall include amongst others wind, waves, currents, tides, seiches, storm surges (due to barometric pressure, wind and waves), tsunamis, rainfall intensities, storm water run off, river discharges, floating debris and the basic bathymetry/topography of the area.

The morphological aspects shall include amongst others sediment transport (rate and direction), erosion/sedimentation patterns, changes in shoreline alignment (seasonal fluctuations as well as long-term development) and changes in meander pattern and bedslope of rivers.

The geological aspects shall include long-term sea level change and general soil subsidence.

The geotechnical aspects shall include amongst others the bearing capacity and stability of the subsoil and the sensitivity for settlements and for erosIon.

Considerations shall be given to the availability and cost of construction materials, contractors equipment and the maintenance cost.

When assessing the environmental impact, consideration shall also be given to possible effects on coastal or river dynamics in adjacent areas and to the aspect of silt content and its variation.

Where protective measures may be expected to result in significant effects on physical or ecological aspects of the environment, legal and social consequences shall also be considered.

All hydraulic, meteorological and morphological data available shall be evaluated and if possible statistically analyzed in order to derive design criteria. Combinations of hydraulic parameters that can reasonably be assumed to occur simultaneously shall be considered. The critical combination that results in maximum water levels at the structure site shall be adopted to determine the required embankment and shore line levels and strength. Settlements and stability of structures/foundations shall be taken into account. The critical combination that results in maximum forces on the structure or its parts shall be adopted for structural design.

An economic evaluation, which includes the frequency of occurrence of adopted design conditions and of other reasonable combinations, the damage potential of the considered combinations, the repairability of the structure and the permissible risk, should be carried out in order to find the optimal solution from economical/technical/safety point of view. If an economic evaluation would not be carried out, the critical combination having a return period of 100 years might be adopted for the design in agreement with the principal.

For the design of coastal structures, the calculation methods described in the `Shore Protection Manual' of the US Army Coastal Engineering Research Center, may be used.

# Authorisation

This document has been seen and accepted by:

| Name | Designation |
| --- | --- |

# Revisions

| Date | Rev. | Compiler | Remarks |
| --- | --- | --- | --- |
| November 2012 | 0.2 | M. Were | Draft Document for review created from xxx |
| November 2012 | 1 |  | Final Document approved |

# Development team

None

# Acknowledgements

None

: FIELD COMPACTION TRIALS - POSSIBLE PROCEDURE

A test area 20 m long by 15 m wide should be prepared on the actual site of construction from which the top soil has been removed. The fill material to be used should then be spread over this area in three strips 5 m wide, the depth of the loose material in the strips being varied over the range of thicknesses. Normally, the range of values investigated would be from 150 to 450 mm. No adjustment should be made to the moisture content of the fill material which, apart from minor fluctuations, should be in its natural moisture condition.

The test area should then be compacted with the plant it has been decided to use and the mean dry density of the full depth of each strip determined after 2, 4 and 8 passes for all types of plant except for sheepsfoot rollers, for which the measurements of dry density should be made after 4, 8 and 16 passes. The dry densities of the soil should be determined by sand-replacement method and it is recommended that the mean of five determinations should be obtained for each soil condition.

This procedure should be repeated, if possible, at two other moisture contents, the values suggested being the optimum moisture content given by the Mod AASHTO compaction test and a moisture content intermediate between this value and the natural moisture content of the soil. If the natural moisture content of the soil is similar to the optimum moisture content, it is suggested that the additional tests be made at moisture contents 3% on either side of this value. These tests should be made on strips of fresh fill material laid on an adjacent area from which the topsoil has been removed.

The test procedure has been described in detail, but it can usually be considerably shortened by noting the trend of the early results, and by the experience of the engineers carrying out the tests. These trials would take about a week to complete, and could be started as soon as the necessary plant arrives on the site, while the preliminary clearing operations are in progress. The trials can thus be completed before the main construction starts. From the results of the trials and a knowledge of the costs of the various procedures, it is possible to determine the most economical procedure to be adopted to obtain the specified degree of compaction, and the subsequent control work can be simplified.

: INDICATIONS REGARDING COMPACTION

| Type of compaction plant | Category | Cohesive soils |  | Well-graded granular and dry cohesive soils |  | Uniformly graded material |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mass per metre width of roll: | D | N | D | N | D | N |
| Smooth- wheeled roller | over 2100 kg up to 2700 kg over 2700 kg up to 5400 kg over 5400 kg | 125 125 150 | 8 6 4 | 125 125 150 | 10 8 8 | 125 125 unsuitable | 10* 8* |
| Grip roller | over 2700 kg up to 5400 kg over 5400 kg up to 8000 kg over 8000 kg | 150 150 150 | 10 8 4 | unsuitable 125 150 | 12 12 | 150 unsuitable unsuitable | 10 |
| Tamping roller | over 4000 kg | 225 | 4 | 150 | 12 | 250 | 4 |
| Pneumatic- tyred roller | Mass per wheel over 1000 kg up to 1500 kg over 1500 kg up to 2000 kg over 2000 kg up to 2500 kg over 2500 kg up to 4000 kg over 4000 kg up to 6000 kg over 6000 kg up to 8000 kg over 8000 kg up to 12000 kg over 12000 kg | 125 150 175 225 300 350 400 450 | 6 5 4 4 4 4 4 4 | unsuitable unsuitable 125 125 125 150 150 175 | 12 10 10 8 8 6 | 150 unsuitable unsuitable unsuitable unsuitable unsuitable unsuitable unsuitable | 10* |
| Vibrating roller | Mass per metre width of a vibrating roller over 270 kg up to 450 kg over 700 kg up to 1300 kg over 1300 kg up to 1800 kg over 1800 kg up to 2300 kg over 2300 kg up to 2900 kg over 2900 kg up to 3600 kg over 3600 kg up to 4300 kg over 4300 kg up to 5000 kg over 5000 kg | unsuitable 100 125 150 175 200 225 250 275 | 12 8 4 4 4 4 4 4 4 4 | 75 125 150 150 175 200 225 250 275 | 16 12 8 4 4 4 4 4 4 | 150 150 200 225 250 275 300 300 300 | 16* 6 10* 12* 10* 8* 8* 6* 4* |
| Vibrating- plate compactor | Mass per unit area of base plate: over 880 kg up to 1100 kg over 1100 kg up to 1200 kg over 1200 kg up to 1400 kg over 1400 kg up to 1800 kg over 1800 kg up to 2100 kg over 2100 kg | unsuitable unsuitable unsuitable 100 150 200 | 6 6 6 | unsuitable 75 75 125 150 200 | 10 6 6 5 5 | 75 100 150 150 200 250 | 6 6 6 4 4 4 |
| Vibro-tamper | Mass: over 50 kg up to 65 kg over 65 kg up to 75 kg over 75 kg | 100 125 200 | 3 3 3 | 100 125 150 | 3 3 3 | 150 200 225 | 3 3 3 |
| Power rammer | Mass: 100 kg up to 500 kg over 500 kg | 150 275 | 4 8 | 150 275 | 6 12 | unsuitable unsuitable |  |
| Dropping weight compactor | Mass of rammer over 500 kg Height of drop: over 1 m up to 2 m over 2 m | 600 600 | 4 2 | 600 600 | 8 4 | 450 unsuitable | 8 |

D = Maximum depth of compacted layer (mm)

N = Minimum number of passes

DEFINITIONS AND REQUIREMENTS ASSOCIATED WITH THE TABLE

A.	The depth of compacted layer is the height by which the embankment is raised by each successive compacted layer.

B.	The number of passes is the number of times that each point on the surface of the layer being compacted has been traversed by the item of compaction plant.

C.	The compactive effort of each compactor is a function of the mass of the machine and the compaction plant in Appendix B - page 1 is listed in terms of their masses. The mass per metre width of roll is the total mass on the roll divided by the total roll width. Where a smooth-wheeled roller has more than one axle, the machine shall be assessed on the basis of the axle giving the highest value of mass per metre width.

D.	A tamping roller, for the purposes of this manual, is a machine with a roll or rolls from which `feet' project. The projected end area of each `foot' shall exceed 0.01 m2 and the sum of the area of the feet shall exceed 15% of the area of the cylinder swept by the ends of the feet. The requirements for tamping roller apply to machines that have 2 rolls in tandem. If only one tamping roll traverses each point on the surface of the layer on any one pass of the machine, the minimum number of passes shall be twice the number given in the tabel.

E.   (i)	For pneumatic-tyred rollers mass per wheel is the total mass of the roller divided by the number      of wheels.

(ii)	In assessing the number of passes of pneumatic-tyred rollers the effective width shall be the sum of the widths of the individual wheel tracks together with the sum of the spacing between the wheel tracks provided that each spacing does not exceed 230 mm. Where the spacings exceed 230 mm the effective width shall be the sum of the widths of the individual wheel tracks only.

F.	Vibrating rollers are self-propelled or towed smooth-wheeled rollers having means of applying mechanical vibration to one or more rolls.

(i)	The requirements for vibrating rollers are based on the use of the lowest gear on a self-propelled machine with mechanical transmission and a speed of 1.5-2.5 km/h for a towed machine, or a self-propelled machine with hydrostatic transmission. If higher gears or speeds are used an increased number of passes shall be provided in proportion of the increase in speed of travel.

(ii)	Where the mechanical vibration is applied to two rolls in tandem, the minimum number of passes shall be half the number given in the table for the appropriate mass per metre width of one vibrating roll. If one roll differs in mass per metre width from the other, the number of passes shall be calculated as for the roll with the smallest value. Alternatively the machine may be treated as having a single vibrating roll with a mass per metre width equal to that of the roll with the higher value.

(iii)	Vibrating-type rollers operating without vibration will be classified as smooth-wheeled rollers.

(iv)	Vibrating rollers shall be operated with their vibratory mechanism operating only at the frequency of vibration recommended by the manufacturers. All such rollers shall be equipped or provided with a device automatically indicating the frequency at which the mechanism is operating.

G.	Vibrating-plate compactors are machines having a baseplate to which is attached a source of vibration consisting of one or 2 eccentrically weighted shafts.

(i)	The mass per unit area of baseplate of a vibrating-plate compactor is calculated by its working condition by its area in contact with compacted soil.

(ii)	Vibrating-plate compactors shall be operated at the frequency of vibration recommended by the manufacturers. They shall normally be operated at travelling speeds of less than 1 km/h but if higher speeds are necessary the number of passes shall be increased in proportion to the increase in speed of travel.

H.	Vibro-tampers are machines in which an engine-driven reciprocating mechanism acts on a spring system through which oscillations are set up in a baseplate.

I.	Power rammers are machines which are actuated by explosions in an internal combustion cylinder, each explosion being controlled manually by the operator.

J.	In the case of power rammers and dropping-weight compactors one pass will be considered as made when the compacting shoe has made one strike on the area in question.

K.	For items marked the rollers shall be towed by track-laying tractors. Self-propelled rollers are unsuitable.