| To whom it may concern | Date | 27 November 2025 |
| --- | --- | --- |
|  | Enquiries | Spha Madondo |
|  | E-mail address | Madondst@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number |  |
| --- | --- |
| Description / Project Title | Supply, delivery, and commissioning of a viscometer assembly complete with sample changer for Research Testing and Development for a period of three (3) months. |
| Tender Questions Closing Date | Five (5) working days before the deadline. |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | What is the relationship between tender no. E2188CXRTD -supply, delivery, and commissioning of a viscometer assembly complete with sample changer for research testing and development for a period of three (3) months and tender no. E2141CXMWP -The supply, delivery and commissioning of an automated stability (S-value) analyser, according to ASTM D7157, to perform analytical testing relating to Asphaltene Precipitation in Fuel Oil samples to Petroleum Sciences laboratories in Rosherville, Johannesburg for a period of three (03) months. Are they duplicate? | - The viscometer as per tender no. E2188CXRTD is to determine the viscosity of lubrication oil samples, hydraulic oil samples and transformer oil samples. - The S-Value Tester as per tender no. E2141CXMWP is to determine the stability of fuel oils to establish the tendency to precipitate asphaltenes as a sludge. As per the statements above regarding the two instruments it is clear that those are different systems for different purposes, thus no duplication. | 27 November 2025 |
|  | I would like to request an extension for the attached tender. The reason for this request is that we are still awaiting outstanding documents from the OEM, which are required to complete the technical evaluation. We kindly ask for additional time to ensure that our submission is accurate and fully compliant. Thank you for your understanding, and we look forward to your positive response. | Extension granted, the new closing date is 23 January 2026 10h00 (South Africa Standard Time – SAST) | 09 December 2025 |