NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________) |  |
| for | THE SUPPLY AND DELIVERY OF MILLING PLANT SPARES TO MAJUBA POWER STATION FOR PERIOD OF 5 YEARS |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 18 |
| Part C2 | Pricing Data | 9 |
| Part C3 | Scope of Work | 36 |
| Enquiry No. |  |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance | 3 |
| C1.2a | Contract Data provided by the Purchaser | 13 |
| C1.2b | Contract Data provided by the Supplier | 2 |

C1.1 Form of Offer & Acceptance

- Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

- Title of the Contract:

THE SUPPLY AND DELIVERY OF MILLING PLANT SPARES TO MAJUBA POWER STATION FOR PERIOD OF 5 YEARS

The tenderer, identified in the Offer signature block, has

|  | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

- Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity | General Manager Majuba Power Station |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

- Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | - For the tenderer: |  | - For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  | General Manager Majuba Power Station |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

- Part one - Data provided by the Purchaser

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  |  | - Statement |  | - Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | - General |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law X7: Delay damages |  |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | Joseph Selialia |  |  |  |  |  |
|  |  |  | Address |  | Eskom Holdings SOC Ltd Majuba Power Station, Volksrust / Amersfoort 2470 |  |  |  |  |  |
|  |  |  | Tel No. |  | +27 17 799 3786 |  |  |  |  |  |
|  |  |  | e-mail |  | SelialJN@eskom.co.za |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | THE SUPPLY AND DELIVERY OF MILLING PLANT SPARES (The Products) TO MAJUBA POWER STATION FOR PERIOD OF 5 YEARS |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | 1 week |  |  |  |  |  |
| - 2 |  |  | - The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| - 3 |  |  | - Time |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  | [●] |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | goods |  |  |  | delivery date |  |
|  |  |  |  |  | 1 | As per Task Order |  |  | As per Task Order |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  | On request |  |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | 2 weeks of the Contract Date. |  |  |  |  |  |
| - 4 |  |  | - Testing and defects |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | 1 weeks after Delivery. |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | 4 weeks |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | 2 days |  |  |  |  |  |
| - 5 |  |  | - Payment |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | After every Delivery |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | 30 Days |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |
| - 6 |  |  | - Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| - 7 |  |  | - Title |  | - There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| - 8 |  |  | - Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |
| 80.1 |  |  | These are additional Purchaser’s risks |  | 1. None |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R0.0 (zero Rand) |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and (2) for all other existing Purchaser’s property the applicable deductible as at contract date |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | The Total value of the Goods |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | The Total value of the Goods |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | 7 years after Delivery of the whole of the goods and services. |  |  |  |  |  |
| - 9 |  |  | - Termination and dispute resolution |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | As agreed within the boundaries of South Africa |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
| - 10 |  |  | - Data for Option clauses |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | [●]. |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion |  | linked to index for | Index prepared by |  |  |
|  |  |  |  |  | 0.90 |  | Seifsa: Table G-1 (Mechanical) | XXXXX |  |  |
|  |  |  |  |  | 0.10 |  | non-adjustable |  |  |  |
|  |  |  |  |  | 1.00 |  |  |  |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | The Republic of South Africa, is a compensation event if it occurs after the Contract Date |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | As per Service Level Table in Part 3; Scope of Work |  |  |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and - undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

|  | Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

- The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP | Eskom Majuba PS Main Stores |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

- The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [Constraints (see clause 11.2 (5)) • No compensation is payable if the Supplier arrives on site without prior arrangement with the Purchaser. • All goods shall be delivered to the Main stores • The Purchaser has the right to refuse acceptance of any consumables which in the opinion of Purchaser, does not meet the requirements specified and will have a detrimental effect on equipment/plant performance. • The Supplier ensures that all items to be supplied are to the standard and quality accepted by the Purchaser and ensures that they are suitable for the purpose intended for by the manufacturer. • Material (TEST) certificates as well as complete data packs will be submitted with all the SSC Spares delivered to site. • The Supplier shall have no claim against the Purchaser in respect of delay due to the above constraints. |  |
| --- | --- | --- |
| 2. The requirements for transport are | Supplier is responsible for transporting the goods to the delivery place. |  |
| 3. The delivery place is | Majuba Power Station - Main Stores |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser/Supplier |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements | Supplier |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | 7 |

C2.1 Pricing assumptions

- How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is - the Price for each lump sum item in the Price Schedule which the Supplier has completed, - where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, - plus other amounts to be paid to the Supplier, - less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

- Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

- Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

- Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Item nr | Stock Number | Description | Unit | Quantity | Rate | Price |
| --- | --- | --- | --- | --- | --- | --- |
|  | 0644072 | VALVE:S10L;SAFETY;1/2 IN;10 BAR;SPRING | EA | 10 |  |  |
|  | 0214080 | PISTON:AIR CANNON;OD 150 X WD 148 MM;AL | EA | 10 |  |  |
|  | 0630291 | GEARBOX:DAMPER;3:1;29 RPM;2 KW;DAMPER | EA | 40 |  |  |
|  | 0639803 | BUSH:LOCATING;ID 35 MM;OD 52 MM;LG 20 MM | EA | 100 |  |  |
|  | 0625658 | COMPENSATOR:BELLOW;BUNKER/COAL FEEDER | EA | 150 |  |  |
|  | 0630285 | GUIDE:GLIDES;ID 270 X OD 390 X THK 25 MM | EA | 200 |  |  |
|  | 0640379 | GLAND PCKNG:SQ 9.5 MM;SEALING | EA | 1000 |  |  |
|  | 0630633 | CLAMP:LOCKING ELEMENT;OD 110 X WD 39.5 | EA | 400 |  |  |
|  | 0623376 | COUPLING:NON SELF CENTERING;SS | EA | 200 |  |  |
|  | 0635076 | SEAL:FELT;OD 181.2 X THK 16.5 MM;STEEL | EA | 300 |  |  |
|  | 0708615 | GEARBOX:REDUCER SPUR;78:78:1;1445/3.47 | EA | 15 |  |  |
|  | 0210856 | SCRAPER:STANDARD FEEDER FLIGHT;MS | EA | 3000 |  |  |
|  | 0210862 | WASHER:FEEDER LINK PIN;ID 33 MM;OD 50 MM | EA | 27000 |  |  |
|  | 0210857 | PIN:FEEDER CHAIN LINK;32 MM;LG 115 MM;SS | EA | 13500 |  |  |
|  | 0210859 | PIN CTTR SPLT:6 MM;LG 50 MM;SS | EA | 27000 |  |  |
|  | 0210863 | SCRAPER:CHAIN FLIGHT;76 X 340 X 20 MM | EA | 350 |  |  |
|  | 0217192 | LINK CHN TXMSN:COAL FEEDER;260 MM;PIN | EA | 13500 |  |  |
|  | 0725527 | ASSY:CHAIN;MILL FEEDER;LG 23.4 M;STL | EA | 60 |  |  |
|  | 0185677 | VALVE GATE:690 MM;KNIFE;CI BS 1452;VITON | EA | 30 |  |  |
|  | 0242375 | RESIN:EPOXY;CAN 20 KG | KG | 15000 |  |  |
|  | 0639804 | CLAMP:PIPE;85-90 MM;MS GALV | EA | 1000 |  |  |
|  | 0622360 | COUPLING SHFT:SEAL AIR FAN;38 X 50 MM | EA | 336 |  |  |
|  | 0631457 | IMPELLER:CENTRIFUGAL;CARBON STEEL | EA | 40 |  |  |
|  | 0643791 | SPINDLE:BALL LOADING GATE;35 MM;LG 540 | EA | 90 |  |  |
|  | 0644972 | DAMPER:VH0001;FLOW;DIA 400 MM | EA | 150 |  |  |
|  | 0214332 | ROD:MILL SCREW FEEDER DRIVE PIN;GR EN26 | EA | 300 |  |  |
|  | 0717189 | COVER:B39-058;ASSEMBLY COMPONENT | EA | 300 |  |  |
|  | 0630286 | FOLLOWER:GLAND;ID 170 X OD 270 X THK 14 | EA | 200 |  |  |
|  | 0640377 | CLAMP:PIPE;ID 178 X OD 192 X WD 21 MM | EA | 200 |  |  |
|  | 0644073 | BLOCK:SCREW CONVEYOR HOUSING;WD 10 MM | EA | 150 |  |  |
|  | 0640378 | GLAND PCKNG:SQ 12.7 MM;SEALING | EA | 1500 |  |  |
|  | 0631374 | SEALANT:ACRYLIC;TUBE 50 ML;PASTE | EA | 2000 |  |  |
|  | 0665223 | BOX:MILL HOT BOX;WD 2.45 M;LG 3.585 M | EA | 10 |  |  |
|  | 0623966 | GASKET:AIR SEAL BOX;ID 1.94 X OD 2.33 MM | EA | 500 |  |  |
|  | 0211132 | FILTER:MILL MAIN GEARBOX;22 | EA | 1000 |  |  |
|  | 0665222 | SUPPORT:BLOCK, SET;RUBBER POLYMER | EA | 100 |  |  |
|  | 0226743 | SHEET:TEFLON 467MP;LG 3 M X THK 0.5 MM | EA | 300 |  |  |
|  | 0661429 | SEAL LBRNTH:OIL;ID 200 X OD 234 X THK 26 | EA | 60 |  |  |
|  | 0665164 | SEAL OIL:MAIN GEARBOX;ID 175 MM;OD 200 | EA | 20 |  |  |
|  | 0665162 | SEAL OIL:MAIN GEARBOX;ID 360 MM;OD 400 | EA | 20 |  |  |
|  | 0213634 | COUPLING:HYDRO FLOW;320 MM;AL ALLOY | EA | 30 |  |  |
|  | 0643675 | COUPLING SHFT:PM40;SPLINED;160 MM;OD 490 | EA | 10 |  |  |
|  | 0226415 | COUPLING SHFT FLEX:GRID;41 MM;226 KNM;CI | EA | 10 |  |  |
|  | 0665221 | PUMP:OIL;501 X 260 X 300 MM;91 L/MIN;400 | EA | 20 |  |  |
|  | 0198097 | ROTOR:MILL GIRTH GEAR SEAL | EA | 15 |  |  |
|  | 0198095 | ROTOR:MILL MAIN SEAL | EA | 150 |  |  |
|  | 0633202 | FILTER ELMNT:ELEMENT;PAPER;10 UM | EA | 60 |  |  |
|  | 0161579 | GREASE INDSTRL:GENERAL PURPOSE, EP | KG | 10000 |  |  |
|  | 0001779 | INSERT:MATERIAL;RUBBER | EA | 1680 |  |  |
|  | 0218924 | COMPOUND SEALG:GASKET;RED;SILICON | EA | 3000 |  |  |
|  | 0109186 | DISK CUTNG:OD 115 MM;22.23 MM;THK 2.5 MM | EA | 4200 |  |  |
|  | 0036045 | DISK GRINDG:115 MM;22.23 MM;13300 RPM | EA | 1680 |  |  |
|  | 0633197 | GREASE:BEARING;-40 TO 150 DEG C | KG | 10000 |  |  |
|  | 0017038 | FUEL PARFFN:REGULAR;PLASTIC DRUM;20 L | L | 10000 |  |  |
|  | 0205419 | PENETRANT:CAN AEROSOL 800 ML | EA | 2000 |  |  |
|  | 0016810 | CLOTH:CLEANING RAGS;COTTON 100 PCT | KG | 20000 |  |  |
|  | 0639806 | ROPE:CERAMIC FIBER;WD 10 X HT 10 X LG 30 | EA | 3360 |  |  |
|  | 0623384 | SCRW SET:M6;RH;20 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0218518 | WASHER FLAT:M6;ID 7 MM;13 MM;THK 1 MM | EA | 33600 |  |  |
|  | 0087662 | NUT HEX:M12;1.75 MM;10 MM;HTS;8.8 | EA | 33600 |  |  |
|  | 0087701 | WASHER FLAT:M12;ID 13.5 MM;24 MM;THK 2.5 | EA | 33600 |  |  |
|  | 0246444 | WASHER:SPRING;M12;ID 12 MM;OD 21 MM;STL | EA | 33600 |  |  |
|  | 0623382 | SCRW SET:M12;RH;40 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0623372 | SCRW SET:M12;RH;30 MM;HEX;MILD STEEL | EA | 33600 |  |  |
|  | 0623387 | SCRW SET:M12;RH;75 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0623378 | BOLT T:M12;LG 72 MM;RH;HTS;8.8 | EA | 33600 |  |  |
|  | 0623959 | SCREW CAP:M12;LG 25 MM;METRIC;ALLEN CAP | EA | 33600 |  |  |
|  | 0623962 | SCREW CAP:M12;LG 35 MM;METRIC;ALLEN CAP | EA | 33600 |  |  |
|  | 0623379 | STUD ALL THRD:M12;LG 75 MM;RH;HTS;8.8 | EA | 33600 |  |  |
|  | 0623381 | SCRW SET:M16;RH;30 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0623383 | SCRW SET:M16;RH;55 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0642905 | SCREW:GRUB;16 MM;LG 80 MM;2.5 MM;HT8.8 | EA | 33600 |  |  |
|  | 0623385 | SCRW SET:M16;RH;100 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0218527 | NUT HEX:M16;12.8 MM;MS CD PLTD;4.8 | EA | 33600 |  |  |
|  | 0218517 | WASHER FLAT:M16;ID 17 MM;30 MM;THK 2.5 | EA | 33600 |  |  |
|  | 0640380 | WASHER:SPRING;ID 16 MM;OD 24 MM;THK 4 MM | EA | 33600 |  |  |
|  | 0640077 | WASHER:RNG;ID 16 MM;OD 20 MM;THK 3 MM | EA | 33600 |  |  |
|  | 0640066 | WASHER:TAPER;ID 17 MM;OD SQ 40 MM;STL | EA | 33600 |  |  |
|  | 0623374 | STUD ALL THRD:M20;LG 90 MM;RH;HTS;8.8 | EA | 33600 |  |  |
|  | 0623380 | SCRW SET:M20;RH;100 MM;HEX;HTS | EA | 33600 |  |  |
|  | 0218522 | WASHER FLAT:M20;ID 22 MM;37 MM;THK 2.5 | EA | 33600 |  |  |
|  | 0246450 | WASHER:SPRING;M20;ID 20 MM;OD 33 MM;STL | EA | 33600 |  |  |
|  | 0640472 | NUT LK:M20;NYLOCK;LH 2.5 TPI;STL;20 MM | EA | 33600 |  |  |
|  | 0218528 | NUT HEX:M20;17 MM;MS CD PLTD;4.8 | EA | 33600 |  |  |
|  | 0640477 | WASHER FLAT:M20;ID 20 MM;SQ 40 MM;THK 5 | EA | 33600 |  |  |
|  | 0640471 | BOLT MACH:17 MM;LG 70 MM;HEX;HT8.8;MS;LH | EA | 33600 |  |  |
|  | 0623388 | SCRW SET:M20;RH;60 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0623373 | SCRW SET:M12;RH;65 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0639807 | WASHER:BACKING;ID 13 MM;OD 40 MM;THK 4 | EA | 33600 |  |  |
|  | 0623386 | SCRW SET:M20;RH;120 MM;HEX;HTS GR 8.8 | EA | 33600 |  |  |
|  | 0215869 | TAPE THRD:SEALING;WD 5 MM;PTFE | EA | 1680 |  |  |
|  | 0631374 | SEALANT:ACRYLIC;TUBE 50 ML;PASTE | EA | 1680 |  |  |
|  | 0035295 | ELECTRODE WELDG:3.15 MM;A5.1-81; E7018-1 | EA | 1000 |  |  |
|  | 0035294 | ELECTRODE WELDG:2.5 MM;A5.1-81; E7018-1 | EA | 1000 |  |  |
|  | 0631760 | ELECTRODE WELDG:DIA 6.4 X LG 305 MM;65G | EA | 900 |  |  |
|  | 0642904 | DISK GRINDG:PFF 115 A 60 SG/22.23;115 MM | EA | 1000 |  |  |
|  | 0553045 | DISK CUTNG:22.23 MM;THK 2.5 MM;6600 RPM | EA | 1000 |  |  |
|  | 0109170 | DISK GRINDG:230 MM;22.3 MM;80;6600 RPM | EA | 1000 |  |  |
|  | 0017147 | PLATE MTL:MS BS 4360, SABS 1431;141.3 KG | EA | 1000 |  |  |
|  | 0162438 | PLATE MTL:STL BENNOX;SS10-200;HOT ROLLED | EA | 1000 |  |  |
|  | 0162359 | PLATE MTL:MS;EN43A;HOT ROLLED;235.5 KG | EA | 1000 |  |  |
|  | 0017153 | BAR FLAT:WD 25 MM;LG 6 M;THK 5 MM;EN43A | EA | 1000 |  |  |
|  | 0631411 | ANGLE STRCTRL:25 MM;3 MM;LG 6 M | EA | 1000 |  |  |
|  | 0017100 | BAR RD:10 MM;LG 6 M;MS BS 4360;EN43A | EA | 1000 |  |  |
|  | 0194331 | SOLVENT:ELEC CLNR;25 L | EA | 500 |  |  |
|  | 0630287 | ANGLE STRCTRL:50 MM;5 MM;LG 6 M;SS | EA | 672 |  |  |
|  | 0630583 | SHIM STCK:THK 0.1 MM;SQ 100 MM;SS | EA | 200 |  |  |
|  | 0630618 | SHIM STCK:THK 0.9 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0630573 | SHIM STCK:THK 3 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0630631 | SHIM STCK:THK 0.2 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0630626 | SHIM STCK:THK 0.3 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0630625 | SHIM STCK:THK 0.4 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0630624 | SHIM STCK:THK 0.05 MM;SQ 75 MM;SS | EA | 200 |  |  |
|  | 0633198 | GREASE:GEAR;-10 TO 140 DEG C;180 KG | KG | 360 |  |  |
|  | 0630634 | FITTING:PUSH ON;1/4 IN X 8 MM;SS | EA | 10 |  |  |
|  | 0219126 | KIT:METAL REPAIR;COMPOUND STICK | EA | 1000 |  |  |
|  | 0640076 | OIL AUTOMTV:ENGINE;SAE 20W50;CF/SF | KG | 50 |  |  |
|  | 0215332 | ELECTRODE WELDG:5 MM;A5.1; E7018-1 | EA | 400 |  |  |
|  | 0256307 | SOLVENT:CLEANING;DRUM PLASTIC 25 L;LIQD | KG | 500 |  |  |
|  | 0747483 | SPRING:5441 COUPLING;10 x 40 MM (8 per set) | SETS | 50 |  |  |
|  | 0738265 | GEAR HLCL:91;35 MM;188 MM;95 MM | EA | 120 |  |  |
|  | 0738266 | GEAR HLCL:82;40 MM;223 MM;28 MM | EA | 120 |  |  |
|  | 0738270 | GEAR HLCL:82;40 MM;223 MM;28 MM | EA | 120 |  |  |
|  | 0738362 | GEAR HLCL:56;70 MM;210 MM;70 MM | EA | 120 |  |  |
|  | 0738269 | RACK & PNIN STEERG GEAR:GEARBOX;15;36 MM | EA | 120 |  |  |
|  | 0738267 | RACK & PNIN STEERG GEAR:GEARBOX;15;65 MM | EA | 120 |  |  |
|  | 0750776 | BOLT:FITTED;16 MM;LG 75 MM;HEXAGON;10.9 | EA | 200 |  |  |
|  | 0750777 | NUT:FITTED NYLOCK;EN19 | EA | 200 |  |  |

| The total of the Prices |  |
| --- | --- |

- PART 3: SCOPE OF WORK

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 35 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information |  |
|  | Total number of pages |  |

PART C3: SCOPE OF WORK	1	C3 SC3 COVER PAGE

C3.1: PURCHASER’S GOODS INFORMATION

- Contents

Part 3: Scope of Work	1

C3.1: Purchaser’s Goods Information	2

- Overview and purpose of the goods and services	3

- Specification and description of the goods	3

  - Purchaser’s design	32

  - Procedure for submission and acceptance of Supplier’s design	32

  - Other requirements of the Supplier’s design	32

  - Use of Supplier’s design	32

  - Manufacture & fabrication	32

  - Factory acceptance testing (FAT)	32

- Supply Requirements	32

- Specification of the services to be provided	32

- Constraints on how the Supplier Provides the Goods	33

  - Programming constraints	33

  - Work to be done by the Delivery Date	33

  - Marking the goods	33

  - Constraints at the delivery place and place of use	34

  - Cooperating with Others	34

  - Services & other things to be provided by the Purchaser or Supplier	34

  - Management meetings	34

  - Documentation control	35

  - Health and safety risk management	35

  - Environmental constraints and management	35

  - Quality	35

  - Invoicing and payment	36

C3.2 Supplier’s Goods Information	36

    - Overview and purpose of the goods and services

The supply and delivery of The Products on an as and when required basis to Majuba    Power Station

Purchase orders will be placed as and when required to replenish stock levels at Majuba Power Station Only goods delivered according to the specifications on the item below will be accepted.

    - Specification and description of the goods

Supply and delivery of The Products with unique material numbers and material specifications as detailed in the table below

| Item No. | Materia | Material Description | Purchase Order Text |
| --- | --- | --- | --- |
|  | 0644072 | VALVE:S10L;SAFETY;1/2 IN;10 BAR;SPRING | VALVE: TYPE: SAFETY; VALVE SIZE: 1/2 IN; DESIGN RATING: 10 BAR; TEMPERATURE RATING: -45 TO -185 DEG C; CONNECTION: INLET 15; OUTLET 15 BSP MM; OPERATED: SPRING; BODY MATERIAL: BRONZE; OEM P/N: S10L; OPERATED SPRING AT RANGE 3-10 BAR; AIR CANNON; PRESS 10 BAR; 13 MM |
|  | 0214080 | PISTON:AIR CANNON;OD 150 X WD 148 MM;AL | PISTON: TYPE: AIR CANNON; DIMENSIONS: OD 150 X WD 148 MM; MATERIAL: ALUMINIUM; SUPPL P/N: C-01-045; DUAL STAGE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630291 | GEARBOX:DAMPER;3:1;29 RPM;2 KW;DAMPER | GEARBOX: TYPE: DAMPER; RATIO: 3:1; SPEED: 29 RPM; POWER: 2 KW; SHAFT SIZE: 25 X 25 MM; APPLICATION: DAMPER; ROTATION DIRECTION: FORWARD/REVERSE; MANUF P/N: NTB200; 661NM TORQUE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0639803 | BUSH:LOCATING;ID 35 MM;OD 52 MM;LG 20 MM |  |
|  | 0625658 | COMPENSATOR:BELLOW;BUNKER/COAL FEEDER | COMPENSATOR: TYPE: BELLOW; APPLICATION: BUNKER/COAL FEEDER; BASE GLASS CLOTH WEIGHT NO LESS THAN 700GR/SQM; MULTI FILM CHEMICAL BARRIER NO LESS THAN 23MM THICK; OVERALL MATERIAL THICKNESS NO LESS THAN 99MM; OVERALL MATERIAL WEIGHT NO LESS THAN 1500GR/SQM; TENSILE STRENGTH WF NO LESS THAN 6129N/50MM |
|  | 0630285 | GUIDE:GLIDES;ID 270 X OD 390 X THK 25 MM | GUIDE: TYPE: GLIDES; DIMENSIONS: ID 270 X OD 390 X THK 25 MM; MATERIAL: GR 350 WA; MANUF P/N: ZDGU56-SK; NDE FEEDER GUIDE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0640379 | GLAND PCKNG:SQ 9.5 MM;SEALING | GLAND, PACKING: DIMENSIONS: SQ 9.5 MM; TYPE: SEALING; MATERIAL: GLASS FIBER DRY |
|  | 0630633 | CLAMP:LOCKING ELEMENT;OD 110 X WD 39.5 | CLAMP: TYPE: LOCKING ELEMENT; DIMENSIONS: OD 110 X WD 39.5 MM; MATERIAL: STL FINEST; SHAFT DIAMETER: 70 MM; NON SELF CENTERING; FLK 200 |
|  | 0623376 | COUPLING:NON SELF CENTERING;SS | COUPLING: TYPE: NON SELF CENTERING; SIZE: ID 120 X OD 165 X WD 70 MM; MATERIAL: STAINLESS STEEL; MANUF P/N: 120/165/70; DOBIKON LOCKING ELEMENT |
|  | 0635076 | SEAL:FELT;OD 181.2 X THK 16.5 MM;STEEL | SEAL: TYPE: FELT; DIMENSIONS: OD 181.2 X THK 16.5 MM; MATERIAL: STEEL; MANUF P/N: FSV528; MILL FEEDER DE; BORE DIAMETER 125 MM |
|  | 0708615 | GEARBOX:REDUCER SPUR;78:78:1;1445/3.47 | GEARBOX: TYPE: REDUCER SPUR; RATIO: 78:78:1; SPEED: 1445/3.47 RPM; POWER: 5.5 KW; SHAFT SIZE: V70 X 140 MM; APPLICATION: FEEDER; ROTATION DIRECTION: CLOCKWISE; MANUF P/N: D121-G13254-G63M4; ELECTRIC DRIVE MOTOR COOLED WITH FAN MOUNTING TYPE M1; OIL TYPE: SIMILAR TO SHELL OMALA 220; 29L OR CALTEX EQUIVALENT; MINIMUM FEEDER SPEED 0.34RPM; VARIABLE SPEED DRIVEN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0210856 | SCRAPER:STANDARD FEEDER FLIGHT;MS | SCRAPER: TYPE: STANDARD FEEDER FLIGHT; DIMENSIONS: 340 X 70 X 20 MM; MATERIAL: MS; APPLICATION: MILL COAL FEEDER; CHAMPHORED ON ONE END FOR WELDING |
|  | 0210862 | WASHER:FEEDER LINK PIN;ID 33 MM;OD 50 MM | WASHER: TYPE: FEEDER LINK PIN; INSIDE DIAMETER: 33 MM; OUTSIDE DIAMETER: 50 MM; THICKNESS: 3 MM; MATERIAL: STAINLESS STEEL |
|  | 0210857 | PIN:FEEDER CHAIN LINK;32 MM;LG 115 MM;SS | PIN: TYPE: FEEDER CHAIN LINK; DIAMETER: 32 MM; LENGTH: 115 MM; MATERIAL: STAINLESS STEEL; HOLES 8MM FROM BOTH ENDS AND CHAMPHORED 3MM |
|  | 0210859 | PIN CTTR SPLT:6 MM;LG 50 MM;SS | PIN, COTTER SPLIT: DIAMETER: 6 MM; LENGTH: 50 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0210863 | SCRAPER:CHAIN FLIGHT;76 X 340 X 20 MM | SCRAPER: TYPE: CHAIN FLIGHT; DIMENSIONS: 76 X 340 X 20 MM; MATERIAL: VRN 500; 9 DEG ANGLE MACHINED ON ONE SIDE, CHAMPHORED ON BOTH ENDS FOR WELDING, FOR MILL COAL FEEDER |
|  | 0217192 | LINK CHN TXMSN:COAL FEEDER;260 MM;PIN | LINK, CHAIN TRANSMISSION: TYPE: COAL FEEDER; MATERIAL: STL DROP FORGED; PITCH: 260 MM; FASTENING METHOD: PIN; SUPPL P/N: 2N20; MACHINED AND HEAT TREATED |
|  | 0725527 | ASSY:CHAIN;MILL FEEDER;LG 23.4 M;STL | ASSEMBLY: TYPE: CHAIN; APPLICATION: MILL FEEDER; DIMENSIONS: LG 23.4 M; MATERIAL: STEEL; COMPRISING: LINKS, SCRAPER, WASHERS, PINS, SPLIT PINS; CHAIN ASSEMBLY CONSISTS OF, 90 X CHAIN LINKS (0217192), 20 X SCRAPER (0210863),160 X SCRAPER STANDARD (0210856), 90 X PIN (0210857), 180 X SPLIT PIN (0210859) |
|  | 0185677 | VALVE GATE:690 MM;KNIFE;CI BS 1452;VITON | VALVE, GATE: VALVE SIZE: 690 MM; TYPE: KNIFE; BODY MATERIAL: CI BS 1452; TRIM: BLADE CR WELD 3CR12; SPINDLE BS 970 GR 416 S21; OPERATED: CHAIN WHEEL; SOFTGOODS: VITON; STEM DESIGN: OUTSIDE SCREW; STYLE: PILLAR; GRADE: 14; MILD STEEL BS970 PILLARS; CORROSION PROTECTION CARBOLINE ZINC; MUST ME SUPPLIED WITH MATERIAL AND TEST CERTIFICATE |
|  | 0242375 | RESIN:EPOXY;CAN 20 KG | RESIN: TYPE: EPOXY; CONTAINER: CAN 20 KG; SUPPL P/N: ARCBX1; REFERENCE NO: 1108583; MODIFIED RESIN REACTED WITH AN ALIPHATIC CURING AGENT POLYMER CERAMIC COM POSITE QC TO BE DONE BY ASH AND COAL SUPERVISOR MATERIAL SAFETY DATA SHEETS WITH ENVIRONMENTAL INFORMATION IN THE 16 POINT FORMAT TO BE PROVIDED WITH EVERY DELIVERY AS REQUIRED BY THE OCCUPATIONAL HEALTH AND SAFETY ACT |
|  | 0639804 | CLAMP:PIPE;85-90 MM;MS GALV | CLAMP: TYPE: PIPE; DIMENSIONS: 85-90 MM; MATERIAL: MS GALV; PF PIPE EXPANSION BELLOW UNICLAMP |
|  | 0622360 | COUPLING SHFT:SEAL AIR FAN;38 X 50 MM | COUPLING, SHAFT: TYPE: SEAL AIR FAN; BORE: 38 X 50 MM; OUTSIDE DIAMETER: 211 MM; LENGTH: 50 MM; MATERIAL: CAST IRON/STEEL; SPECIFICATION: F80H; SUPPL P/N: 033E0303; FENNAFLEX COUPLING COMPLETE WITH TYRE AND 2517 TAPERLOCK BUSHES; FOR 28MM AND 50MM SHAFT DIAMETER |
|  | 0631457 | IMPELLER:CENTRIFUGAL;CARBON STEEL | IMPELLER: TYPE: CENTRIFUGAL; DIMENSIONS: WD 402MM X LG 1.67 M X HT 1.753 MM; MATERIAL: CARBON STEEL; MANUF P/N: HRB515/1.05; MILL SEAL AIR FAN IMPELLER; PERFOMANCE; SUCTION PRESSURE 9KPA; DISCHARGE PRESSURE 14KPA; AIR DENSITY 1083KG/M3; AIR FLOW 8000M3/H; MASS 714KG; SPEED 1445R/MIN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0643791 | SPINDLE:BALL LOADING GATE;35 MM;LG 540 | SPINDLE: TYPE: BALL LOADING GATE; DIAMETER: 35 MM; LENGTH: 540 MM; MATERIAL: MILD STEEL; UNIT 1-3; INCLUDING BRASS NUT TO SUIT AUMA ACTUATOR; ACE THREADED |
|  | 0644972 | DAMPER:VH0001;FLOW;DIA 400 MM | DAMPER: TYPE: FLOW; DIMENSIONS: DIA 400 MM; MATERIAL: SS 3CR12-16; APPLICATION: BALL LOADING TUBE; OEM P/N: VH0001; ISOLATING SLIDE GATE; BALL LOADING SHUT; WITH CAST IRON BODY HOUSING BS1452 GRADE 220; SPINDLE UNIT 1-3 BALL LOADING GATE; DIAMETER 35MM; MATERIAL MILD STEEL; LENGTH 540MM; INCLUDING NUT; ACE THREADED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0214332 | ROD:MILL SCREW FEEDER DRIVE PIN;GR EN26 | ROD: TYPE: MILL SCREW FEEDER DRIVE PIN; DIMENSIONS: DIA 50 X LG 740 MM; MATERIAL: GR EN26; SCREW FEEDER/MILL END CONNECTING ROD FOR MAJUBA P/S; ACT 2001/866 FOR THE SUPLYING; MACHINING; MILLING HEAT TREATMENT AND MECHANICAL TESTING OF DRIVE RODS COMPLETE WITH TWO NUTS PER ROD; SUPPLY CENTRE BOSS IN 070M20 EN3A; MATERIAL; NUTS AND TEST PIECES TO SPECIAL CONDITION AS PER MAJUBA SPECIFICATION; MECHANICAL TESTING OF THE TEST PIECES TO CONFIRM ACHIEVED RESULTS AFTER HEAT TREATMENT; SUPPLY OF MATERIAL; HEAT TREATMENT AND MECHANICAL TESTING CERTIFICATION; MACHINING; MILLING AND THREADING OF HEX NUTS TO HAVE A APPLICATION OF PROTECTIVE TECTYL AFTER INSPECTION; MATERIAL 826M40EN26 |
|  | 0717189 | COVER:B39-058;ASSEMBLY COMPONENT | COVER: TYPE: ASSEMBLY COMPONENT; DIMENSIONS: OD: 72 X ID:1 66 X ID:2 56 X HT: 40 X THK: 15 MM; MATERIAL: MILD STEEL; COLOR: RED OXIDE; APPLICATION: SCREW CONVEYOR ROD THREAD COVER; SPECIFICATION: 43A BS 4360; OEM P/N: B39-058, OEM: STEINMULLER AFRICA; PACKAGE FOR LONG TERM STORAGE |
|  | 0630286 | FOLLOWER:GLAND;ID 170 X OD 270 X THK 14 | FOLLOWER: TYPE: GLAND; DIMENSIONS: ID 170 X OD 270 X THK 14 MM; MATERIAL: MILD STEEL; PCD 230MM X 4 HOLES; SCREW CONVEYOR SHAFT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0640377 | CLAMP:PIPE;ID 178 X OD 192 X WD 21 MM | CLAMP: TYPE: PIPE; DIMENSIONS: ID 178 X OD 192 X WD 21 MM; MATERIAL: MS GALV; DRAWING NO: C178-192-21 REV |
|  | 0644073 | BLOCK:SCREW CONVEYOR HOUSING;WD 10 MM | BLOCK: TYPE: SCREW CONVEYOR HOUSING; WIDTH: 10 MM; LENGTH: 25 MM; HEIGHT: 25 MM; MATERIAL: MILD STEEL; L-SHAPE |
|  | 0640378 | GLAND PCKNG:SQ 12.7 MM;SEALING | GLAND, PACKING: DIMENSIONS: SQ 12.7 MM; TYPE: SEALING; MATERIAL: GLASS FIBER DRY |
|  | 0631374 | SEALANT:ACRYLIC;TUBE 50 ML;PASTE | SEALANT: TYPE: ACRYLIC; CONTAINER: TUBE 50 ML; MATERIAL: PASTE; COLOR: WHITE TO OFF WHITE; TEMPERATURE RATING: -15 TO +/-150 DEG C; APPLICATION: FLANGE/THREAD |
|  | 0665223 | BOX:MILL HOT BOX;WD 2.45 M;LG 3.585 M | BOX: TYPE: MILL HOT BOX; WIDTH: 2.45 M; LENGTH: 3.585 M; DEPTH: 650 MM; MATERIAL: S355 JR+AR; COLOR: RED OXIDE; 11056141; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0623966 | GASKET:AIR SEAL BOX;ID 1.94 X OD 2.33 MM | GASKET: TYPE: AIR SEAL BOX; DIMENSIONS: ID 1.94 X OD 2.33 MM; MATERIAL: MELRATH TETRA GLASS; APPLICATION: TRUNNION SEAL; PCD 2.29 MM |
|  | 0211132 | FILTER:MILL MAIN GEARBOX;22 | FILTER: TYPE: MILL MAIN GEARBOX; DIMENSIONS: ID 42.5 X OD 79.5 X LG 207 MM; MATERIAL: INORGANIC FIBRES, IMPREGNATED AND BONDED WITH EPOXY RESINS; MICRON: 22; SPECIFICATION: BETA 1000 ISO 16889, ISO 4406 16/14/08 MUST ACHIEVE; SUPPL P/N: HC2235FCT6; PI8315; DRAWING NO: 40 REV 1; REFERENCE NO: 31.03.00; APPLIED FILTRARTION SERVICES; MAHLE; 768.099. |
|  | 0665222 | SUPPORT:BLOCK, SET;RUBBER POLYMER | SUPPORT: TYPE: BLOCK, SET; DIMENSIONS: WD 46 X LG 135 X HT 56 MM; MATERIAL: RUBBER POLYMER; APPLICATION: MILLS MAIN GEARBOX HIGH SPEED SM60 RUBBER BLOCKS FOR PM40 HOLSET COUPLING; SPECIFICATION: NM45 GR; 11048749; COLOR: BLACK; TEMP: 100 DEG C; SET OF 16 |
|  | 0226743 | SHEET:TEFLON 467MP;LG 3 M X THK 0.5 MM | SHEET: MATERIAL: TEFLON 467MP; DIMENSIONS: LG 3 M X THK 0.5 MM; TYPE: MOTOR INSULATION; DRAWING NO: BP6662-FR14 HSRE14/160/140 REV 1; PA FAN; COMPONENT PRESERVED AND PACKED FOR TRANSPORT AND LONG TERM STORAGE; 200MP ADHESIVE |
|  | 0661429 | SEAL LBRNTH:OIL;ID 200 X OD 234 X THK 26 | SEAL, LABYRINTH: TYPE: OIL; DIMENSIONS: ID 200 X OD 234 X THK 26 MM; MATERIAL: POLYTHEMIDE; APPLICATION: MILL MOTOR BEARING; SUPPL P/N: 11048560; DRAWING NO: BP8326/200 REV 0; ASSEMBLY BP11725; ITEMS TO BE SUPPLIED WITH CERTIFICATE OF CONFORMANCE |
|  | 0665164 | SEAL OIL:MAIN GEARBOX;ID 175 MM;OD 200 | SEAL, OIL: TYPE: MAIN GEARBOX; INSIDE DIAMETER: 175 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 15 MM; MATERIAL: RUBBER NITRILE; SPECIFICATION: SM175X200X15; SUPPL P/N: X65-031752-0015 |
|  | 0665162 | SEAL OIL:MAIN GEARBOX;ID 360 MM;OD 400 | SEAL, OIL: TYPE: MAIN GEARBOX; INSIDE DIAMETER: 360 MM; OUTSIDE DIAMETER: 400 MM; WIDTH: 20 MM; MATERIAL: RUBBER; SPECIFICATION: SM360X400X20 V-BASL; SUPPL P/N: X65-033604-0020 |
|  | 0213634 | COUPLING:HYDRO FLOW;320 MM;AL ALLOY | COUPLING: TYPE: HYDRO FLOW; SIZE: 320 MM; MATERIAL: AL ALLOY; SUPPL P/N: HB320-200; DRAWING NO: HANSEN TRANSMISSION 98HB 320 775 C REV 1; INCLUDING DRUM BRAKE WITH 200 MM DIA, MILL AUX BEARING TRAIN |
|  | 0643675 | COUPLING SHFT:PM40;SPLINED;160 MM;OD 490 | COUPLING, SHAFT: TYPE: SPLINED; BORE: 160 MM; OUTSIDE DIAMETER: 490 MM; LENGTH: 329 MM; MATERIAL: STEEL; OEM P/N: PM40 |
|  | 0226415 | COUPLING SHFT FLEX:GRID;41 MM;226 KNM;CI | COUPLING, SHAFT FLEXIBLE: TYPE: GRID; BORE DIAMETER: 41 MM; TORQUE: 226 KNM; MATERIAL: CI; SPEED: 860 RPM; SUPPL P/N: 5441; 325 MM BORE, 870 MM OUTSIDE DIAMETER, 610 MM LENGTH; FORGED STEEL AND ALLOY; OD 870MM; SERIES 54, HUB LENGTH: 305MM, VERTICAL COVERS BORED AND KEYED, SUPPLIER TO ENSURE CORRECT SIZES; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0665221 | PUMP:OIL;501 X 260 X 300 MM;91 L/MIN;400 | PUMP: TYPE: OIL; SIZE: 501 X 260 X 300 MM; CAPACITY: 91 L/MIN; SPEED: 1420 RPM; RATING: 0.5-3 BAR; DRIVER: ELECTRIC MOTOR 5.5 KW INCLUDED; SPECIFICATION: ISO 1302; POTENTIAL: 400 V; CASING MATERIAL: AL CAST; APPLICATION: MILL MAIN GEARBOX OIL LUB AP008; SUPPL P/N: 109-3D02069; 11048749; OPERATING PRESSURE OUTPUT: MAX 10 BAR |
|  | 0198097 | ROTOR:MILL GIRTH GEAR SEAL | ROTOR: TYPE: MILL GIRTH GEAR SEAL; SUPPL P/N: RB11/1.0; FOR DONKIN AIR FAN, 1440 RPM, 0.55KW; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0198095 | ROTOR:MILL MAIN SEAL | ROTOR: TYPE: MILL MAIN SEAL; SUPPL P/N: HRB515/1.05; FOR AIR FAN, WITH DISCHARGE DAMPER, CLASS/PITCH 4, 1450 RPM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0633202 | FILTER ELMNT:ELEMENT;PAPER;10 UM | FILTER, ELEMENT: TYPE: ELEMENT; DIMENSIONS: ID 24.14 X OD 47 X LG 114 MM; MATERIAL: PAPER; FILTERING RETENTION: 10 UM; MANUF P/N: HP0652A10AH; P=PAPER; A=INORGANIC MICROFIBRE; M=METAL; QUICK CLOSE DAMPER; MP FILTRI |
|  | 0161579 | GREASE INDSTRL:GENERAL PURPOSE, EP | GREASE, INDUSTRIAL: TYPE: GENERAL PURPOSE, EP; VISCOSITY RATING: NOT APLICABLE; CONTAINER: DRUM 18 KG; GRADE: NLGI 2; TRADE NAME: MULTIFAK EP2; SUPPL P/N: EP2; ESKOM SPECIFICATION GGSS 0894, LUBE CODE GPG-2LEP, SUPPLIER NOTE REQUIRED THE NEW STANDARD FOR RELIABILITY POINT 1 TO 16 MATERIAL SAFETY DATA SHEET WITH EVERY DELIVERY; MULTIFAK |
|  | 0001779 | INSERT:MATERIAL;RUBBER | INSERT: TYPE: MATERIAL; DIMENSIONS: WD 1.2 M X LG 11 M X THK 3 MM; MATERIAL: RUBBER; COLOUR: BLACK |
|  | 0218924 | COMPOUND SEALG:GASKET;RED;SILICON | COMPOUND, SEALING: TYPE: GASKET; COLOR: RED; CONTAINER: TUBE PLASTIC 310 ML; MATERIAL: SILICON; HEAT RESISTANT TO 300DEG C - 572DEG F |
|  | 0109186 | DISK CUTNG:OD 115 MM;22.23 MM;THK 2.5 MM | DISK, CUTTING: OUTSIDE DIAMETER: 115 MM; ARBOR SIZE: 22.23 MM; THICKNESS: 2.5 MM; GRIT: 80; ABRASIVE MATERIAL: AL OXIDE; SPEED: 13300 RPM; BOND/BACKING: RESINOID; USAGE DESIGN: CI/NON FERROUS METALS/STL; SUPPL P/N: EHT115-2A46-SG; SIZE 2.5MM |
|  | 0036045 | DISK GRINDG:115 MM;22.23 MM;13300 RPM | DISK, GRINDING: DIAMETER: 115 MM; ARBOR SIZE: 22.23 MM; SPEED: 13300 RPM; ABRASIVE MATERIAL: SIC; BOND/BACKING: RESINOID; SUPPL P/N: E115-6 A24Q PS FORTE; ONLY PHERD BRAND ACCEPTABLE FOR SAFETY REASONS; SIZE 6MM |
|  | 0633197 | GREASE:BEARING;-40 TO 150 DEG C | GREASE: TYPE: BEARING; TEMPERATURE RATING: -40 TO 150 DEG C; CONTAINER: DRUM 25 KG; TRADE NAME: COMPOUND WRL |
|  | 0017038 | FUEL PARFFN:REGULAR;PLASTIC DRUM;20 L | FUEL, PARAFFIN: FUEL GRADE: REGULAR; UNIT PACKAGE TYPE: PLASTIC DRUM; UNIT PACKAGE QUANTITY: 20 L; TYPE: ILLUMINATING; MATERIAL SAFETY DATA SHEETS WITH ENVIRONMENTAL INFORMATION IN THE 16 POINT FORMAT TO BE PROVIDED WITH EVERY DELIVERY AS REQUIRED BY THE OCCUPATIONAL HEALTH AND SAFETY ACT; NO SUBSTANCES AND/OR INGREDIENTS THAT FALL UNDER TABLE 1 CATAGORY WILL BE USED; ANY CHEMICAL FALLING UNDER TABLE 3 OF THE SAME REGULATIONS SHALL NOT BE USED; SHALL BE BIODEGRADABLE AND OZONE FRIENDLY; COPY OF MSDS TO BE SENT TO MEDICAL CENTRE AND SAFETY RISK; PLEASE ENSURE THAT THE PLASTIC CONTAINER TO BE SUPPLIED IN IS NOT SEE THRU AND IS MARKED ACCORDINGLY |
|  | 0205419 | PENETRANT:CAN AEROSOL 800 ML | PENETRANT: CONTAINER: CAN AEROSOL 800 ML; SUPPL P/N: 800; FLUID |
|  | 0016810 | CLOTH:CLEANING RAGS;COTTON 100 PCT | CLOTH: TYPE: CLEANING RAGS; MATERIAL: COTTON 100 PCT; NEW COLOURED INTERLOCK WIPERS, PACKED IN 5 KILOGRAM BUNDELS AND SUPPLIED IN 50 KILOGRAM BAILS; SIZE: 5 K |
|  | 0639806 | ROPE:CERAMIC FIBER;WD 10 X HT 10 X LG 30 | ROPE: MATERIAL: CERAMIC FIBER; DIMENSIONS: WD 10 X HT 10 X LG 30 MM; STRUCTURE: BREADED/TWISTED; STRENGTH: 90 KPA |
|  | 0623384 | SCRW SET:M6;RH;20 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M6; THREAD: RH; THREAD LENGTH: 20 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0218518 | WASHER FLAT:M6;ID 7 MM;13 MM;THK 1 MM | WASHER, FLAT: NOMINAL SIZE: M6; INSIDE DIAMETER: 7 MM; OUTER SIZE: 13 MM; THICKNESS: 1 MM; MATERIAL: MS CD PLTD |
|  | 0087662 | NUT HEX:M12;1.75 MM;10 MM;HTS;8.8 | NUT, HEX: DIAMETER: M12; THREAD: 1.75 MM; NUT HEIGHT: 10 MM; MATERIAL: HTS; GRADE: 8.8 |
|  | 0087701 | WASHER FLAT:M12;ID 13.5 MM;24 MM;THK 2.5 | WASHER, FLAT: NOMINAL SIZE: M12; INSIDE DIAMETER: 13.5 MM; OUTER SIZE: 24 MM; THICKNESS: 2.5 MM; MATERIAL: MS BLACK; SPECIFICATION: BS 1449 PART 3B |
|  | 0246444 | WASHER:SPRING;M12;ID 12 MM;OD 21 MM;STL | WASHER: TYPE: SPRING; NOMINAL SIZE: M12; INSIDE DIAMETER: 12 MM; OUTSIDE DIAMETER: 21 MM; THICKNESS: 2.5 MM; MATERIAL: STL; GRADE: 10.9; SPECIFICATION: DIN 127B; SQUARE CROSS SECTION, GUIDE RING CAP SCREW, FD FAN ROTATING ASSY, ITEM TO BE PACKED IN QUANTITIES OF 32 PER PACKET, PACKAGE TO BE MARKED WITH ESKOM STOCK NUMBER AND DESCRIPTION |
|  | 0623382 | SCRW SET:M12;RH;40 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M12; THREAD: RH; THREAD LENGTH: 40 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0623372 | SCRW SET:M12;RH;30 MM;HEX;MILD STEEL | SCREW, SET: NOMINAL THREAD DIAMETER: M12; THREAD: RH; THREAD LENGTH: 30 MM; HEAD STYLE: HEX; MATERIAL: MILD STEEL; TO BE FULLY THREADED; HT 8.8 |
|  | 0623387 | SCRW SET:M12;RH;75 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M12; THREAD: RH; THREAD LENGTH: 75 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0623378 | BOLT T:M12;LG 72 MM;RH;HTS;8.8 | BOLT, T: DIAMETER: M12; LENGTH: 72 MM; THREAD: RH; MATERIAL: HTS; GRADE: 8.8; HEX HEAD |
|  | 0623959 | SCREW CAP:M12;LG 25 MM;METRIC;ALLEN CAP | SCREW, CAP: DIAMETER: M12; LENGTH: 25 MM; THREAD: METRIC; HEAD: ALLEN CAP; MATERIAL: HTS; GRADE: 8.8; TO BE FULLY THREADE |
|  | 0623962 | SCREW CAP:M12;LG 35 MM;METRIC;ALLEN CAP | SCREW, CAP: DIAMETER: M12; LENGTH: 35 MM; THREAD: METRIC; HEAD: ALLEN CAP; MATERIAL: HTS; GRADE: 8.8; TO BE FULLY THREADED |
|  | 0623379 | STUD ALL THRD:M12;LG 75 MM;RH;HTS;8.8 | STUD, ALL THREAD: DIAMETER: M12; LENGTH: 75 MM; THREAD: RH; MATERIAL: HTS; GRADE: 8.8; TO BE FULLY THREADED |
|  | 0623381 | SCRW SET:M16;RH;30 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M16; THREAD: RH; THREAD LENGTH: 30 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0623383 | SCRW SET:M16;RH;55 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M16; THREAD: RH; THREAD LENGTH: 55 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0642905 | SCREW:GRUB;16 MM;LG 80 MM;2.5 MM;HT8.8 | SCREW: TYPE: GRUB; DIAMETER: 16 MM; LENGTH: 80 MM; THREAD: 2.5 MM; HEAD: SOCKET HEX; MATERIAL: HT8.8 |
|  | 0623385 | SCRW SET:M16;RH;100 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M16; THREAD: RH; THREAD LENGTH: 100 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0218527 | NUT HEX:M16;12.8 MM;MS CD PLTD;4.8 | NUT, HEX: DIAMETER: M16; NUT HEIGHT: 12.8 MM; MATERIAL: MS CD PLTD; GRADE: 4.8 |
|  | 0218517 | WASHER FLAT:M16;ID 17 MM;30 MM;THK 2.5 | WASHER, FLAT: NOMINAL SIZE: M16; INSIDE DIAMETER: 17 MM; OUTER SIZE: 30 MM; THICKNESS: 2.5 MM; MATERIAL: MS CD PLTD; TO BE DELIVERED IN BAGS OF 10 KG |
|  | 0640380 | WASHER:SPRING;ID 16 MM;OD 24 MM;THK 4 MM | WASHER: TYPE: SPRING; INSIDE DIAMETER: 16 MM; OUTSIDE DIAMETER: 24 MM; THICKNESS: 4 MM; MATERIAL: STL |
|  | 0640077 | WASHER:RNG;ID 16 MM;OD 20 MM;THK 3 MM | WASHER: TYPE: RING; INSIDE DIAMETER: 16 MM; OUTSIDE DIAMETER: 20 MM; THICKNESS: 3 MM; MATERIAL: COPPER |
|  | 0640066 | WASHER:TAPER;ID 17 MM;OD SQ 40 MM;STL | WASHER: TYPE: TAPER; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: SQ 40 MM; THICKNESS: 3.5 MM; MATERIAL: STL; SQUARE; HT 8.8; ID 13MM; 4MM THICK |
|  | 0623374 | STUD ALL THRD:M20;LG 90 MM;RH;HTS;8.8 | STUD, ALL THREAD: DIAMETER: M20; LENGTH: 90 MM; THREAD: RH; MATERIAL: HTS; GRADE: 8.8; TO BE FULLY THREADED |
|  | 0623380 | SCRW SET:M20;RH;100 MM;HEX;HTS | SCREW, SET: NOMINAL THREAD DIAMETER: M20; THREAD: RH; THREAD LENGTH: 100 MM; HEAD STYLE: HEX; MATERIAL: HTS; TO BE FULLY THREADED |
|  | 0218522 | WASHER FLAT:M20;ID 22 MM;37 MM;THK 2.5 | WASHER, FLAT: NOMINAL SIZE: M20; INSIDE DIAMETER: 22 MM; OUTER SIZE: 37 MM; THICKNESS: 2.5 MM; MATERIAL: MS CD PLTD |
|  | 0246450 | WASHER:SPRING;M20;ID 20 MM;OD 33 MM;STL | WASHER: TYPE: SPRING; NOMINAL SIZE: M20; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 33 MM; THICKNESS: 4 MM; MATERIAL: STL; GRADE: 10.9; SPECIFICATION: DIN 127B; SQUARE SECTION, COUPLING TO ADAPTOR CAP SCREW WASHER, FD FAN ROTATING ASSY, ITEMS TO BE PACKED IN QUANTITIE S OF 32 PER PACKET, PACKAGE TO BE MARKED WITH ESKOM STOCK NUMBER AND DESCRIPTION |
|  | 0640472 | NUT LK:M20;NYLOCK;LH 2.5 TPI;STL;20 MM | NUT, LOCK: DIAMETER: M20; LOCKING METHOD: NYLOCK; THREAD: LH 2.5 TPI; MATERIAL: STL; NUT HEIGHT: 20 MM; TYPE: HEX |
|  | 0218528 | NUT HEX:M20;17 MM;MS CD PLTD;4.8 | NUT, HEX: DIAMETER: M20; NUT HEIGHT: 17 MM; MATERIAL: MS CD PLTD; GRADE: 4.8 |
|  | 0640477 | WASHER FLAT:M20;ID 20 MM;SQ 40 MM;THK 5 | WASHER, FLAT: NOMINAL SIZE: M20; INSIDE DIAMETER: 20 MM; OUTER SIZE: SQ 40 MM; THICKNESS: 5 MM; MATERIAL: STEEL |
|  | 0640471 | BOLT MACH:17 MM;LG 70 MM;HEX;HT8.8;MS;LH | BOLT, MACHINE: DIAMETER: 17 MM; LENGTH: 70 MM; HEAD: HEX; GRADE: HT8.8; MATERIAL: MILD STEEL; THREAD: LH; THREAD LENGTH: 30 MM; TYPE: MACHINED; M16 MACHINED BOLT |
|  | 0623388 | SCRW SET:M20;RH;60 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M20; THREAD: RH; THREAD LENGTH: 60 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0623373 | SCRW SET:M12;RH;65 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M12; THREAD: RH; THREAD LENGTH: 65 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0639807 | WASHER:BACKING;ID 13 MM;OD 40 MM;THK 4 | WASHER: TYPE: BACKING; INSIDE DIAMETER: 13 MM; OUTSIDE DIAMETER: 40 MM; THICKNESS: 4 MM; MATERIAL: STL; WASHER HT8.8 |
|  | 0623386 | SCRW SET:M20;RH;120 MM;HEX;HTS GR 8.8 | SCREW, SET: NOMINAL THREAD DIAMETER: M20; THREAD: RH; THREAD LENGTH: 120 MM; HEAD STYLE: HEX; MATERIAL: HTS GR 8.8; TO BE FULLY THREADED |
|  | 0215869 | TAPE THRD:SEALING;WD 5 MM;PTFE | TAPE, THREAD: TYPE: SEALING; WIDTH: 5 MM; MATERIAL: PTFE; DIMENSIONS: LG 25M X THK 2MM |
|  | 0631374 | SEALANT:ACRYLIC;TUBE 50 ML;PASTE | SEALANT: TYPE: ACRYLIC; CONTAINER: TUBE 50 ML; MATERIAL: PASTE; COLOR: WHITE TO OFF WHITE; TEMPERATURE RATING: -15 TO +/-150 DEG C; APPLICATION: FLANGE/THREAD |
|  | 0035295 | ELECTRODE WELDG:3.15 MM;A5.1-81; E7018-1 | ELECTRODE, WELDING: SIZE: 3.15 MM; AWS CLASS: A5.1-81; E7018-1; MATERIAL: STL ALLOY; CONTAINER: BOX 4 KG; SUPPL P/N: 075-283; DELIVERY WILL NOT BE ACCEPTED IF HAZARDOUS CHEMICAL DATA SHEET IS NOT SUPPLIED WITH EVERY DELIVERY |
|  | 0035294 | ELECTRODE WELDG:2.5 MM;A5.1-81; E7018-1 | ELECTRODE, WELDING: SIZE: 2.5 MM; AWS CLASS: A5.1-81; E7018-1; MATERIAL: STL LOW HYDROGEN COATED; CONTAINER: BOX 4 KG; SUPPL P/N: 075-282; TEST CERTIFIC ATE TO BE ISSUED WITH EVERY DELIVERY, DELIVERY WILL NOT BE ACCEPTED IF HAZARDOUS CHEMICAL DATA SHEET IS NOT SUPPLIED WITH EVERY DELI VERY |
|  | 0631760 | ELECTRODE WELDG:DIA 6.4 X LG 305 MM;65G | ELECTRODE, WELDING: SIZE: DIA 6.4 X LG 305 MM; AWS CLASS: 65G; MATERIAL: CARBON; CONTAINER: BOX 2 KG; CARBON GOUGING RODS |
|  | 0642904 | DISK GRINDG:PFF 115 A 60 SG/22.23;115 MM | DISK, GRINDING: DIAMETER: 115 MM; ARBOR SIZE: 22.2 MM; GRIT: 60; SPEED: 13300 RPM; SPECIFICATION: PFF 115 A 60 SG/22.23; THICKNESS: 17 MM; OEM P/N: PFF 115 A 60 SG/22.23; SG-A; 115 X 17 X 22.23MM |
|  | 0553045 | DISK CUTNG:22.23 MM;THK 2.5 MM;6600 RPM | DISK CUTNG:22.23 MM;THK 2.5 MM;6600 RPM |
|  | 0109170 | DISK GRINDG:230 MM;22.3 MM;80;6600 RPM | DISK, GRINDING: DIAMETER: 230 MM; ARBOR SIZE: 22.3 MM; GRIT: 80; SPEED: 6600 RPM; SHAPE: A24; REFERENCE NO: 80P230-6A24; PFERD TYPE ONLY; BOND/BACKING RESINOID BOND; THK 6MM |
|  | 0017147 | PLATE MTL:MS BS 4360, SABS 1431;141.3 KG | PLATE, METAL: MATERIAL: MS BS 4360, SABS 1431; GRADE: 300WA EN43A; PROCESS: HOT ROLLED; WEIGHT: 141.3 KG; DIMENSIONS: WD 1.2 M X LG 2.5 M X THK 6 MM |
|  | 0162438 | PLATE MTL:STL BENNOX;SS10-200;HOT ROLLED | PLATE, METAL: MATERIAL: STL BENNOX; GRADE: SS10-200; PROCESS: HOT ROLLED; WEIGHT: 188.4 KG; DIMENSIONS: WD 1.2 M X LG 2.5 M X THK 8 MM; SUPPL P/N: SS10-200; OR WEAR PLATE 200 |
|  | 0162359 | PLATE MTL:MS;EN43A;HOT ROLLED;235.5 KG | PLATE, METAL: MATERIAL: MS; GRADE: EN43A; PROCESS: HOT ROLLED; SPECIFICATION: BS 4360-1972 TABLE 6; WEIGHT: 235.5 KG; DIMENSIONS: WD 1.2 M X LG 2.5 M X THK 10 MM |
|  | 0017153 | BAR FLAT:WD 25 MM;LG 6 M;THK 5 MM;EN43A | BAR, FLAT: WIDTH: 25 MM; LENGTH: 6 M; THICKNESS: 5 MM; MATERIAL: MS BS 4360; PROCESS: HOT ROLLED; GRADE: EN43A; WEIGHT: 0.98 KG/M; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0631411 | ANGLE STRCTRL:25 MM;3 MM;LG 6 M | ANGLE, STRUCTURAL: LEG LENGTH: 25 MM; MATERIAL THICKNESS: 3 MM; LENGTH: 6 M; MATERIAL: ALLUMINIUM |
|  | 0017100 | BAR RD:10 MM;LG 6 M;MS BS 4360;EN43A | BAR, ROUND: NOMINAL DIAMETER: 10 MM; LENGTH: 6 M; MATERIAL: MS BS 4360; PROCESS: HOT ROLLED; GRADE: EN43A; WEIGHT: 0.62 KG/M; 3.72 KG/LENGTH |
|  | 0194331 | SOLVENT:ELEC CLNR;25 L | SOLVENT: TYPE: ELECTRICAL CLEANER; CONTAINER: 25 L; SUPPL P/N: FO655; MATERIAL SAFETY DATA SHEETS WITH ENVIRONMENTAL INFORMATION IN THE 16 POINT FORMAT TO BE PROVIDED WITH EVERY DELIVERY AS REQUIRED BY THE OCCUPATIONAL HEALTH AND SAFETY ACT; ENVIRO |
|  | 0630287 | ANGLE STRCTRL:50 MM;5 MM;LG 6 M;SS | ANGLE, STRUCTURAL: LEG LENGTH: 50 MM; MATERIAL THICKNESS: 5 MM; LENGTH: 6 M; MATERIAL: STAINLESS STEEL |
|  | 0630583 | SHIM STCK:THK 0.1 MM;SQ 100 MM;SS | SHIM, STOCK: THICKNESS: 0.1 MM; DIMENSIONS: SQ 100 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630618 | SHIM STCK:THK 0.9 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 0.9 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE |
|  | 0630573 | SHIM STCK:THK 3 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 3 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630631 | SHIM STCK:THK 0.2 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 0.2 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630626 | SHIM STCK:THK 0.3 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 0.3 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630625 | SHIM STCK:THK 0.4 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 0.4 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0630624 | SHIM STCK:THK 0.05 MM;SQ 75 MM;SS | SHIM, STOCK: THICKNESS: 0.05 MM; DIMENSIONS: SQ 75 MM; MATERIAL: STAINLESS STEEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |
|  | 0633198 | GREASE:GEAR;-10 TO 140 DEG C;180 KG | GREASE: TYPE: GEAR; TEMPERATURE RATING: -10 TO 140 DEG C; CONTAINER: 180 KG; TRADE NAME: COMPOUND WRL; SPRAYABLE RUNNING-IN LUBRICANT FOR GEARS; RUNNING IN LUBRICANT FOR HIGH PERFOMANCE GEAR DRIVES RUNNING UNDER CRITICAL OPERATION CONDITION HAVING BIG TOOTH WIDTHS AND RUNNING WITH HIGH SPEED; NLGI-GRADE:00.FZG A/2; 76/50 DAMAGE LOAD STAGE:>12; GIRTH GEAR RUNNING IN COMPOUND GREASE |
|  | 0630634 | FITTING:PUSH ON;1/4 IN X 8 MM;SS | FITTING: TYPE: PUSH ON; SIZE: 1/4 IN X 8 MM; MATERIAL: STAINLESS STEEL; MANUF P/N: PC-08-1/4; MALE FITTING TO TUBE STRAIGHT |
|  | 0219126 | KIT:METAL REPAIR;COMPOUND STICK | KIT: TYPE: METAL REPAIR; COMPRISING: COMPOUND STICK; SUPPLIED IN 0.125KG UNITS |
|  | 0640076 | OIL AUTOMTV:ENGINE;SAE 20W50;CF/SF | OIL, AUTOMOTIVE: TYPE: ENGINE; GRADE: SAE 20W50; CLASS: CF/SF; CONTAINER: DRUM 210 L; TRADE NAME: CASTROL GTX; TRUNNION BEARINGS SEAL SOAKING OIL; GRADE API SF/CF4 |
|  | 0215332 | ELECTRODE WELDG:5 MM;A5.1; E7018-1 | ELECTRODE, WELDING: SIZE: 5 MM; AWS CLASS: A5.1; E7018-1; MATERIAL: LOW HYDROGEN; CONTAINER: BOX 6 KG; 1718-1 |
|  | 0256307 | SOLVENT:CLEANING;DRUM PLASTIC 25 L;LIQD | SOLVENT: TYPE: CLEANING; CONTAINER: DRUM PLASTIC 25 L; PHYSICAL FORM: LIQUID; COLOR: CLEAR |
|  | 0747483 | SPRING:5441 COUPLING;10 x 40 MM | SPRING: TYPE: 5441 COUPLING; DIMENSIONS: 10 x 40 MM; MATERIAL: HIGH CARBON STEEL HEAT TREATED & HARDENED; REFERENCE NO: SPRING CODE L410AA; SPRING CODE-L411AA; TOTAL NUUMBER OF GRID SEGMENTS IS 8, WIDTH OF RINGS 280MM, NUMBER OF RINGS PER CYCLE IS 64, NUMBER OF LAYERS PER SEC IS 2, NUMBER OF RINGS PER SEGMENT IS 16, NUMBER OF SEGMENTS PER LAYER IS 4. MUST BE HEAT TREATED & HARDENED, MATERILA CERFICATE & HEAT TREATMENT & HARDENING CERTIFICATES TO BE SUPLLIED ON DELIVERY.DELIVERED AS A SET, INCLUDES 4 PER SET. |
|  | 0738265 | GEAR HLCL:91;35 MM;188 MM;95 MM | GEAR, HELICAL: TEETH: 91; BORE: 35 MM; DIAMETER: 188 MM; FACE WIDTH: 95 MM; MATERIAL: CARBON STEEL; ITEM TO BE DELIVERED WITH MATERIAL CERTIFICATES & HEAT TREATMENT CERTIFICATES. |
|  | 0738266 | GEAR HLCL:82;40 MM;223 MM;28 MM | GEAR, HELICAL: TEETH: 82; BORE: 40 MM; DIAMETER: 223 MM; FACE WIDTH: 28 MM; MATERIAL: CARBON STEEL; ITEM TO BE DELIVERED WITH MATERIAL CERTIFICATES & HEAT TREATMENT CERTIFICATES. |
|  | 0738270 | GEAR HLCL:82;40 MM;223 MM;28 MM | GEAR, HELICAL: TEETH: 56; BORE: 70 MM; DIAMETER: 210 MM; FACE WIDTH: 70 MM; MATERIAL: CARBON STEEL; ITEM TO BE DELIVERED WITH MATERIAL CERTIFICATES & HEAT TREATMENT CERTIFICATES. |
|  | 0738362 | GEAR HLCL:56;70 MM;210 MM;70 MM | GEAR, HELICAL: TEETH: 91; BORE: 35 MM; DIAMETER: 188 MM; FACE WIDTH: 22 MM; MATERIAL: CARBON STEEL; ITEMS TO BE DELIVERED WITH MATERIAL CERTIFICATES, INCLUDING HEAT TREATMENT CERTIFICATES. |
|  | 0738269 | RACK & PNIN STEERG GEAR:GEARBOX;15;36 MM | RACK AND PINION, STEERING GEAR: APPLICATION: GEARBOX; ACCESSORY COMPONENTS: NO COMPONENTS; RACK MATERIAL: CARBON STEEL; RACK TEETH QUANTITY: 15; RACK WIDTH: 36 MM; PINION MATERIAL: CARBON STTEL; PINION TEETH QUANTITY: 15; PINION DIAMETER: 120 MM; ITEM TO BE DELIVERED WITH MATERIAL CERTIFICATES & HEAT TREATMENT CERTIFICATES. |
|  | 0738267 | RACK & PNIN STEERG GEAR:GEARBOX;15;65 MM | RACK AND PINION, STEERING GEAR: APPLICATION: GEARBOX; ACCESSORY COMPONENTS: NO COMPONENTS; RACK MATERIAL: CARBON STEEL; RACK TEETH QUANTITY: 15; RACK WIDTH: 65 MM; PINION MATERIAL: CARBON STTEL; PINION TEETH QUANTITY: 15; PINION DIAMETER: 253 MM; ITEM TO BE DELIVERED WITH MATERIAL CERTIFICATES & HEAT TREATMENT CERTIFICATES. |
|  | 0750776 | BOLT:FITTED;16 MM;LG 75 MM;HEXAGON;10.9 | BOLT: TYPE: FITTED; DIAMETER: 16 MM; LENGTH: 75 MM; HEAD: HEXAGON; GRADE: 10.9; MATERIAL: EN 19; THREAD LENGTH: 30 MM; LENGHT OF THREADS 30 MM +/- 0.2MM, BOLT LENGHT 75MM WITH +/- 0.1MM TOLERANCE INCLUDING THE HEAD. PITCH 2MM. MATERIAL CERTIFICATE REQUIRED ON DELIVERY. |
|  | 0750777 | NUT:FITTED NYLOCK;EN19 | NUT: TYPE: FITTED NYLOCK; THREAD: 16.5 ( +/- 0.02 MM TOLERANCE; MATERIAL: EN19; MATERIAL CERTIFICATE REQQUIRED ON DELIVERY |

  - Purchaser’s design

All Specifications will be issued to the supplier. The supplier will be required to assist where possible in terms of providing extra drawings and verification of the shapes/ manipulations

The supplier will deliver goods as per provided specification under specification and description of goods table.

The supplier is responsible for ensuring that they are performing against the correct drawing revision number (if applicable).

  - Procedure for submission and acceptance of Supplier’s design

Before the supplier can deliver the material, data sheet and some physical samples must be submitted to the purchaser for verification . The supplier will still be liable to supply the correct products that will precisely be applicable to the Majuba Plant

  - Other requirements of the Supplier’s design

The supplier will be required to provide data sheets for all manufactured products and also provide the pressure testing certificate for the safety valves and material certificates where applicable. The certificates will then be the property of Eskom.

  - Use of Supplier’s design

The Supplier will deliver as per purchaser’s specifications.

  - Manufacture & fabrication

No manufacturing and fabrication required only the supply and deliver of material as per order.

  - Factory acceptance testing (FAT)

Supplier to provide material certificates and pressure testing certificates where applicable for all delivered material

    - Supply Requirements

Goods are required on an as and when required basis.

Requests for delivery will be made on a contract release order starting with a 45 number. Delivery is expected within 6 to 8 weeks after receipt of Eskom official order.

The purchases will endeavor as far possible to order in batches for ease of delivery

    - Specification of the services to be provided

- Supply and delivery of Milling Plant Spares as and when required

- No delivery will be accepted without an official contract release order.

- Supplier Delivery Note must indicate partial delivery if partial delivery is made.

- The stock number, quantity and material short description must be stated on the delivery note

- Each delivery to be recorded on receiving register and each delivery note must have unique number.

- Each delivery note to state the relevant release order number

    - Constraints on how the Supplier Provides the Goods

  - Programming constraints

Delivery times will be stated on the official purchase order

The delivery will be as per purchaser’s requirement. Some of the request will be based on the demand as per Unit outage (unit overhaul) or mill outage requirement. All deliveries will be done via Majuba Power Station Stores with the delivery note as proof of delivery

  - Work to be done by the Delivery Date

- Supplier to quote the Eskom official purchase order in all delivery notes and invoices

- Goods must be well packaged and safely transported

- Eskom to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end- user of the product rejected goods must be collected and the correct goods supplied within 14 days.

- Only goods as specified will be accepted. Any goods which do not meet the specifications will be rejected.

  - Marking the goods

Packaging and Marking must be as follows:

Name of the supplier, Purchase Order Number, Material Number and Quantity Delivered And each component must have a unique identification linked to the relevant supplier.

    - Key Performance Indicator Table

| KPA Description | Performance Measure/ Indicator | Target |
| --- | --- | --- |
| Purchase Order delivery to site | Lead time agreed on the contract to be lead time on each PO and supplier delivery must match these lead times | 98% |
| Packaging and Preliminary Marking of goods before delivery | All items must be wrapped with a clear plastic, bubble wrap that is clear or be placed inside cardboards for preservation purposes items that are not adhering to packaging and markings will be rejected upon delivery and the marking should be as follows Name of the Supplier, Purchase Order Number, Material Number, Part Number and Serial Number and Delivery date | 100% |
| Customer Survey done by the supplier to be submitted to purchaser | To measure service level of the supplier by the purchaser | 4 times per year from start of the contract |

  - Constraints at the delivery place and place of use

Supplier must follow Eskom Life Saving Rules when delivering goods to Majuba Power Station

- Open, Isolate, test , earth, bond and insulate before touching

No person may work on any electrical network unless:

He has been trained and authorised as competent for the task to be done

- Hook up at heights

- Buckle up

No person may drive any vehicle on Eskom business and/or on Eskom premises: Unless the driver and all passengers are wearing seat belts

- Be Sober

No person is allowed to work under the influence of drugs and/or alcohol

- Ensure you have permit to work

When an authorization limitation exists, no person shall work without the required permit to work Majuba Power Station Delivery Times are as follows

The supplier must deliver goods between 08:30 to 16:00 on Mondays – Thursday and 08:30 to 11:30 on Fridays. No deliveries to be done on weekends unless prior arrangements done with the supplier, purchaser and Stores.

  - Cooperating with Others

N/A since it’s a supply and delivery contract

  - Services & other things to be provided by the Purchaser or Supplier

Eskom Majuba Power Station will provide resources to offload the goods being delivered (Cranes and forklift for offloading purposes)

Small items the can be offloaded by the supplier personnel

  - Management meetings

General meetings to be held as and when required and maybe requested by either party Supplier or Purchaser

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods. Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

  - Documentation control

All goods being delivered to Majuba Main Stores must have the following Unique delivery note number per delivery

Delivery note – must have unique number, date of delivery, items that were delivered (material number, material short description, serial number and quantity delivered)

Delivery note must come in duplicates so that one copy is kept at Main Stores and other goes with the supplier for invoicing purposes and as a proof of delivery

Both copies of delivery notes to be stamped with receiving stamp of Majuba Power Station and must have the signature of the receiver as well as the receiving personnel full manes

  - Health and safety risk management

The Supplier shall comply with the health and safety requirements (7 Annexure C 3 OHS Tender Evaluation Low Risk, Annexure A Supplier Risk Category 240-77433139 and 240-73418055 MANUFACTURE OR LOW RISK SERVICES) and all these document will form part of the tender documents

  - Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints [Environmental Management Requirements for Contractors and Suppliers ENV/GEN/SPEC/01]

  - Quality

Supplier must provide data sheets, delivery notes and pressure testing certificates for all the safety valves to the purchaser.

The supplier must use suitable packaging method for the safety of each and every component.

- Supplier Contract Quality Requirements Specification (QM 58) 240-105658000 must be followed.

Service Level Table

The following table depicts the level of performance required of the Contractor. Should the Contractor be unable to meet these requirements, Low Service Damages will be claimed from the Contractor.

The total Low Service Damages will be limited to 10% per month per order based on as and when required supply

Table 6: Service Level Table for Low Service Damages

| No. | Description | Employer’s Requirement | Damages payable by Contractor |
| --- | --- | --- | --- |
| 1 | On time delivery to Majuba Power Station | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number | 5% of the total purchase order if an order is delivered one week later, 7.5% of the total purchase order if an order is delivered two to three weeks later and 10% of the total purchase order delivered later than four weeks and all the deductions to be subtracted from the original invoice of the purchase order |
| 2 | All Body Personnel Protective Equipment | All Body Personnel Protective Equipment out of spec before lapse of warrantees and guarantees must be removed from plant and be replaced within 31 days from the date it was officially reported to the supplier and the supplier to bear all the cost and risk of replacing the out of spec grease | Period between 32 days to 45 days penalties of 5% will be charged from the total cost of the item, period between 46 days to 59 days penalties of 7.5% from the total cost of the item, 60 days and above 10% of the total cost of the item failed will be charged as penalties |
| 3 | Packaging and Preliminary Marking of goods before delivery | All items must be wrapped with a clear plastic, bubble wrap that is clear or be placed inside cardboards for preservation purposes items that are not adhering to packaging and markings will be rejected upon delivery and the marking should be as follows Name of the Supplier, Purchase Order Number, Material Number, Part Number and Serial Number and Delivery date | 6% of the total purchase |

  - Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

- Name and address of the Supplier and the Supply Manager;

- The contract number and title;

- Supplier’s VAT registration number;

- The Purchaser’s VAT registration number.

- Description of goods and services provided for each item invoiced based on the Price Schedule;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

C3.2 SUPPLIER’S GOODS INFORMATION

See Paragraph 172 under heading Specification and description of the goods.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011