[image: image2.png]OJBP

ONDERSTEPOORT

BIOLOGICAL PRODUCTS



BLUE RA4 paP—0-]Q
Enquiries:







ONDERSTEPOORT BIOLOGICAL PRODUCTS LTDPRIVATE BAG X7, ONDERSTEPOORT 0110


Ms. Mr, Dr.………………….............................. .
Kindly provide the quotation for the following:  OBP  585/2023/24
Compulsory Site briefing:

Date: 120th February 2024
Time: 12H00

Place: Onderstepoort Biological Products

Address: 100 Old Soutpan Road

Onderstepoort

Pretoria

0110
	Compulsory Document Requirements
	Yes/No

	CSD Report (With a Tax Compliant status that is current)
	

	Declarations SBD4 (Completed, signed & submitted)
	

	Proof of similar work in the past 12 months (minimum of 2 references with contact details for verification)
	

	Project plan 
	

	Valid letter of good standing
	

	Valid registration with CIDB (proof of registration must be attached) with minimum grading of GB01 and not higher than GB03
	

	CIDB REQUIRMENTS
	

	CIDB Grading

· It is estimated that tenderers must have a CIDB contractor grading designation of …GB01. not higher...GB03. 
CRS Number 

Status 

Grading 

Expiry Date 

-----------------------

   -----------------------
------------------------

------------------------


	

	· It is estimated that tenderers must have a CIDB contractor grading designation of GB01… not higher …GB03... potentially emerging enterprises who satisfy criteria stated in the Tender Data may submit tender offers.
	

	C.2.1 Only those tenderers who are registered with the CIDB or are capable of being so prior to the evaluation of submissions, in a contractor grading designation equal to or higher than a contractor grading designation determined in accordance with the sum tendered, or a value determined in accordance with Regulation 25 (1B) or 25(7A) of the Construction Industry Development Regulations, for a …GB...* class of construction work, are eligible to have their tenders evaluated.

	

	Every member of the joint venture is registered with the CIDB.
2. the lead partner has a contractor grading designation in the …GB...* class of construction work; or not lower than one level below the required grading designation in the class of works construction works under considerations and possess the required recognition status.
3. the combined contractor grading designation calculated in accordance with the Construction Industry Development Regulations is equal to or higher than a contractor grading designation determined in accordance with the sum tendered for a ..GB.…. * Class of construction work or a value determined in accordance with Regulation 25 (1B) or 25 (7A) of the Construction Industry Development Regulations.
	


NB: Please note that if any of the above requirements is not submitted with the quote it will be an immediate disqualification.

	Quantity
	Product/Item Code
	Specification

	To appOINT A seRvice provider to do renovation work at stable 166

	Please see attached BOQ for description of activates and quantities


[image: image1.png]ITEM Quantities
DESCRIPTION UNIT RATE AMOUNT
NO Original | Total to Date

1. 'SECTION 1:
Contractor's initial obligation in respect to the Occupational Health and Safety

11 Act and Construction Regulations, including the preparation of a Health & Sum 1,00
Safety Plan.

12 Provision for occupational health and safety signage, pictograms and notices Sum 1,00

TOTAL CARRIED FORWARD

BROUGHT FORWARD

2 SECTION 2:

01 Clear and grade vegetation at the identified areaup to top soil. Inclusive of 2 13 098,00
cleaning all vegetation on the exisiting slab.

22 Remove 6 trees on the north-western fence line no 7,00

03 Demolish above ground brick foundation (make level with existing concrete slab))| 3 360
of the feeding trough opposite the north gate security guard hut m '

24 Clean and remove rust and old paint on the existing feed trough m? 720

2.5 Demolish brick wall (20m x 1.1m) separating the two stables. m* 22,00

3 SECTION 3 :
Construct a foundation and a brick base (identical to the demolshed foundation)

3.1 and install the feeding trough (using the same one that was removed) on the m’ 4,32
north eastem side of the existing building
Construct a 20m long wooden stable fence (treated with CCA) using 2.1m

39 high wooden poles (2560mm dia). Pole foundation must be 300mm deep in m 2000
15mpa concrete. Horizontal poles must be at a spacing of 460mm from ground ’
level (4 horizontal lines from ground level)
Construct a 90m long wooden stable fence (treated with CCA) using 2.1m
high wooden poles (2560mm dia). Pole foundation must be 300mm deep in

3.3 15mpa concrete. Horizontal poles must be at a spacing of 460mm from ground m 90,00
level (4 horizontal lines from ground level) New fence must be 4m away from
the north westem existing fence

24 Replace broken crash pans with 4.2m x 0.35m x 0.03m wooden crash pans o 6.00
(CCA treated) :

3.5 Install IBR roof sheet 0.5mm on top of feeding trough (painted) m? 15,00

4 SECTION 4 :
Clean rust and paint on the steel fence and gates at 1.8m high (with 4 horizonta

4.1 m 262,00
cross members at 400mm spaces)

12 Paint fence steel and gates at 1.8m high (with 4 horizonta cross members at m 262,00
400mm spaces)

GRAND TOTAL BROUGHT FORWARD

VAT 15%

GRAND TOTAL|





SBD 4
BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process. 

2. Bidder’s declaration

2.1 
Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest
 in the enterprise, 


employed by the state?





YES/NO


2.1.1
If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.
	Full Name
	Identity Number
	Name of State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


2.2
Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO


                                          

2.2.1     If so, furnish particulars:

………………………………………………………………………………

………………………………………………………………………………

2.3 
Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?



YES/NO
2.3.1 If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

3 DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 
I have read, and I understand the contents of this disclosure.
3.2
I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect.

3.3 
The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement, or arrangement with any competitor. However, communication between partners in a joint venture or consortium
 will not be construed as collusive bidding.

3.4 
In addition, there have been no consultations, communications, agreements, or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4
The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 
There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT. 

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.  

………………………………
 ..…………………………………………… 



Signature
                          Date

………………………………
………………………………………………
---------------------------------                           ---------------------------------------

Position 
Name of bidder

Terms and Conditions:
-Submission should be no later than           (27th February  2024, 15H00)  
-Please indicate your offer validity and lead time:


-All prices must be VAT exclusive, (Vat vendor please indicate as such) if no indication, prices will be evaluated as exclusive
-Quotation must be on a company letter head and strictly on a PDF format    
-Quotations sent on Word or Excel format will not be accepted  
-Quotations must be emailed back to: purchasing@obpvaccines.co.za   
 If no reply after 14 days of closing date your RFQ was unsuccessfully  

-Orders above 30K will be BEE evaluated

-Please indicate if you are unable to quote and state the reason why

-Please note that fluctuations in the exchange rate (where applicable) will not be for the account of OBP.

-Payment terms:  30 days after statement
Bidders must be registered on CSD (Central Supplier Data base National Treasury) and be tax complaint 

I agree that the offer herein shall remain binding upon me and open for acceptance by OBP during the validity period indicated.
Signature                                                                                                     Date




REQUEST FOR QUOTATION FOR GOODS AND SERVICES





� 


























From:  


Date13 February 2024


Tel:   012 522 1500


Fax:


Email: purchasing @obpvaccines.co.za





To:   


Supplier:


Tel:  


Fax:


Email: 








� the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.








� Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.





PAGE  
DOC NO.: PM-ME-002-F001 (EDITION 05) Page 3 of 1

