Reception Renovations (Entrance) Requisition number 064078

1. Remove the old tiles (from outside reception entrance ,foyer,passage and toilets) – or tile over if more practical (check door clearance)
2. Supply and install tiles ground pearl mat 600X1200 at the reception (non-slip, no-chip, durable, extra box or two need to be supplied) supply to come and confirm measurements
3. Reception wall to be plastered and painted with a light beige colour (washable enamel paint)
4. Reception frames to be re-painted in dark brown colour (all preparations for painting to be done as well, paint fit for use indoors on metal)
5. Supply and install two Bright Star Lighting 3 Light Spotlight - Black (50W) x3
6. Reception wood desk to be restored (to sand and vanished the wood)

**Ground pearl mat tile 600 x 1200**



.

**Floor plan at reception**

