Eskom Holdings SOC Ltd

Contract number _____________
Installation of Plastic Bird Perch Diverters on various Transmission lines in the Free State

Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s works Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   
1Part 3: Scope of Work

C3.1: Employer’s works Information
2
1
Description of the works
5
1.1
Executive overview
5
1.2
Employer’s objectives and purpose of the works
5
1.3
Interpretation and terminology
5
2
Management and start up.
5
2.1
Management meetings
5
2.2
Documentation control
6
2.3
Health and safety risk management
6
2.4
Environmental constraints and management
7
2.5
Quality assurance requirements
7
2.6
Programming constraints
7
2.7
Contractor’s management, supervision and key people
7
2.8
Invoicing and payment
7
2.9
Insurance provided by the Employer
8
2.10
Contract change management
8
2.11
Provision of bonds and guarantees
8
2.12
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
8
2.13
Training workshops and technology transfer
8
3
Engineering and the Contractor’s design
9
3.1
Employer’s design
9
3.2
Parts of the works which the Contractor is to design
9
3.3
Procedure for submission and acceptance of Contractor’s design
9
3.4
Other requirements of the Contractor’s design
9
3.5
Use of Contractor’s design
9
3.6
Design of Equipment
9
3.7
Equipment required to be included in the works
10
3.8
As-built drawings, operating manuals and maintenance schedules
10
4
Procurement
11
4.1
People
11
4.1.1
Minimum requirements of people employed on the Site
11
4.1.2
BBBEE and preferencing scheme
11
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
11
4.2
Subcontracting
11
4.2.1
Preferred subcontractors
11
4.2.2
Subcontract documentation, and assessment of subcontract tenders
11
4.2.3
Limitations on subcontracting
12
4.2.4
Attendance on subcontractors
12
4.3
Plant and Materials
12
4.3.1
Quality
12
4.3.2
Plant & Materials provided “free issue” by the Employer
12
4.3.3
Contractor’s procurement of Plant and Materials
12
4.3.4
Spares and consumables
12
4.4
Tests and inspections before delivery
13
4.5
Marking Plant and Materials outside the Working Areas
13
4.6
Contractor’s Equipment (including temporary works).
13
4.7
Cataloguing requirements
13
5
Construction
14
5.1
Temporary works, Site services & construction constraints
14
5.1.1
Employer’s Site entry and security control, permits, and Site regulations
14
5.1.2
Restrictions to access on Site, roads, walkways and barricades
14
5.1.3
People restrictions on Site; hours of work, conduct and records
14
5.1.4
Health and safety facilities on Site
14
5.1.5
Environmental controls, fauna & flora, dealing with objects of historical interest
14
5.1.6
Title to materials from demolition and excavation
14
5.1.7
Cooperating with and obtaining acceptance of Others
15
5.1.8
Publicity and progress photographs
15
5.1.9
Contractor’s Equipment
15
5.1.10
Equipment provided by the Employer
15
5.1.11
Site services and facilities
15
5.1.12
Facilities provided by the Contractor
15
5.1.13
Existing premises, inspection of adjoining properties and checking work of Others
15
5.1.14
Survey control and setting out of the works
16
5.1.15
Excavations and associated water control
16
5.1.16
Underground services, other existing services, cable and pipe trenches and covers
16
5.1.17
Control of noise, dust, water and waste
16
5.1.18
Sequences of construction or installation
16
5.1.19
Giving notice of work to be covered up
16
5.1.20
Hook ups to existing works
16
5.2
Completion, testing, commissioning and correction of Defects
17
5.2.1
Work to be done by the Completion Date
17
5.2.2
Use of the works before Completion has been certified
17
5.2.3
Materials facilities and samples for tests and inspections
17
5.2.4
Commissioning
17
5.2.5
Start-up procedures required to put the works into operation
17
5.2.6
Take over procedures
18
5.2.7
Access given by the Employer for correction of Defects
18
5.2.8
Performance tests after Completion
18
5.2.9
Training and technology transfer
18
5.2.10
Operational maintenance after Completion
18
6
Plant and Materials standards and workmanship
19
6.1
Investigation, survey and Site clearance
19
6.2
Building works
19
6.3
Civil engineering and structural works
19
6.4
Electrical & mechanical engineering works
20
6.5
Process control and IT works
20
6.6
Other [as required]
20
7
List of drawings
21
7.1
Drawings issued by the Employer
21
C3.2
Contractor’s Works Information
22


1 Description of the works
1.1 Executive overview 
Transmission Lines Faults has been identified as one of the key factors that affect the overall performance of Transmission Lines. In 2019/20 bird faults contributed ~43% (326) of the total number of line faults experienced on the Transmission network. Bird faults are one of the contributors to System Minute losses, in the event of trip & lock-outs
The six Transmission lines were identified as poor performing in the Free State Grid they require mitigation.
1.2 Employer’s objectives and purpose of the works
The objective of the work is to install the plastic bird perch diverters and stainless steel straps on various Transmission lines in the Southern Grid: Free State. This will improve the lines performance by reducing the line faults.
The detailed scope of work document 240-156074231 Scope of Work for the Installation of Plastic Bird Perch Diverters and Stainless Steel Straps on the Free State Grid Lines must be used. The scope of work is as follows;

· The submission of any temporary work and safe work procedure to Eskom for acceptance and approval before any work can commence 

· Induction and Risk assessment including access to farms
· Site establishment (Only where agreed in writing with landowner, otherwise no site establishment on private property.

· Collection of free issue material from Beta or Leander substation. No material will be removed from those area without Eskom knowledge and approval. All signed material removal permits must be kept in file for audit and records.  
· Installation of the plastic bird perch diverters and stainless steel straps on the identified towers. See the table below for reference. The installation should be done as per Plastic Bird Perch Diverter Installation Guideline 240-156074235
· Dispose of the spoils, rubble and other waste generated during construction to registered land fill site
Below is the table with details;

	Line Name
	Bird Guards
	Stainless Steel straps

	Grootvlei – Leander 1 400 kV
	11 220
	33 660

	Everest – Perseus 1 275 kV
	6 060
	18 180

	Beta – Hydra 1 400 kV
	9 180
	27 540

	Grootvlei – Theseus 1 400 kV
	5 640
	16 920

	Hydra – Perseus 2 400 kV
	14 220
	42 660

	Hydra – Perseus 3 400 kV
	10 020
	30 060

	GRAND TOTAL
	56 340
	169 020


1.3 Interpretation and terminology
The following abbreviations are used in this Works Information:

	Abbreviation
	Meaning given to the abbreviation

	AFC
	Approved for Construction

	EA
	Engineering Assistant

	kV
	Kilo Volt

	HV
	High Voltage

	OBL
	Outside battery limits

	PM
	Project Manager

	QS
	Quantity Surveyor

	SS
	Site Supervisor 

	ORHVS
	Operating Regulations for High Voltage Systems


2 Management and start up.

2.1 Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Inaugural meeting
	After safety and environmental files have been audited and approved. 
	Contractor’s Site Office
	PM, QS, Site Supervisor, EA, Grid safety and environmental representatives and the Contractor. 

	Toolbox talk and risk assessment
	Daily before work begins.
	Contractor’s Site Office
	Contractor with employees and Site Supervisor.

	Risk register and compensation events
	As necessary.
	Contractor’s Site Office
	PM, Contractor and Site Supervisor.

	Overall contract progress and feedback meeting
	Monthly on site.
	Contractor’s Site Office
	PM, Contractor, Site Supervisor, and Grid representatives.


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.2 Documentation control

2.2.1 Contractual communication

· All correspondence is to be addressed to the Project Manager with a sequential numbering system.
· Properly compiled letters on official Company letterhead or forms attached to an email and not as a message in an email itself.

2.2.2 Site communication

· Site instruction issued by the Site Supervisor with instruction from PM.

· Any communication to be addressed to the PM.
· Contractor daily site diary which must be signed daily and be kept up to date at all times.
2.3 Health and safety risk management
The Contractor shall comply with the health and safety requirements contained in Annexure A to this Works Information.

No work will commence on site before all the Access Permits and the relevant Health and Safety files are in place – according to the Eskom standard 32-136.  These files must be compiled, presented and evaluated by the East Grid before work commence on site.

The Contractor must have an Eskom Certified and Authorized ORHVS person (Valid as requested by ESKOM) available on site at all times in accordance with Eskom Authorisation Standard in terms of Regulations for High-Voltage Systems 240-70413865 (34-146).  The authorization procedure for a permit to work shall be done before the Contractor commences work on site. The contractors Responsible Person has to be interviewed and authorised by the relevant Regional High Voltage Plant personnel before any work can commence on Site.

Copies of the Valid Eskom ORHVS Certificates, not expiring before the contractual end date, are to be submitted with the Health and Safety files before work on site commence. 

The Contractor shall make his own arrangements for the provision of accommodation for his employees. No accommodation or camping will be allowed on site.

The Contractor shall control his activities and processes in accordance with the Occupational Health & Safety Act No. 85 of 1993, and Eskom’s Safety Standard 32-726, as amended: Occupational Health and Safety Requirements (Eskom Employees, Contractors and Sub-contractors during construction work. 

Safety meetings are to be held regularly and copies of the minutes must be maintained and submitted to Eskom at the monthly progress meetings when requested.

Please note that only after the safety file has been assessed and accepted by Transmission Southern Grid SHEQ department shall any construction work commence on site.

The authorization procedure for a permit to work shall be done before the Contractor commences work on site. The contractors Responsible Person has to be interviewed and authorised by the East Grid High Voltage Plant personnel before any work can commence on Site.  Copies of the Valid Eskom ORHVS Certificates are to be submitted before any construction work commence on site. 

The Contractor shall comply with all health and safety requirements.
2.4 Environmental constraints and management
The Contractor shall control his activities and processes in accordance with Eskom’s Safety, Health, Environmental and Quality Policy 32-727. The Eskom EMP provides for the Aspects and Impacts that will require management and must be followed strictly during installation of bird perch diverters and related works of the project in the Southern Grid in the Free State. For tendering purposes, contractor shall prepare a separate mitigation plan for all environmental concerns raised through the EMP and in any other relevant forum such clarification meetings

Any changes to the approved environmental mitigation plan (method statement / EMP) shall be reported and approved by the Grid Environmental Advisor and Project Manager prior to the commencement of work and during construction. The supplier must ensure that all sub-contractors’ environmental mitigation plan comply with legal and Eskom requirements and also includes all the environmental risks associated with the scope of work. 

In addition, the Contractor is required to ensure that all goods, services or works supplied in terms of this tender also conform to all applicable environment legislation(s), Eskom’s Contractor Health and Safety Requirements 32-136, SHE Specification and all other related Eskom and Construction Regulations.
The contractor is to send a flash report for any environmental incidences that has occurred on site as soon as possible or within 24 hours to the SS /Grid Environmental Advisor and PM clearly stating any impact to the environment.

No environmental records shall be destroyed or discarded by the supplier. Eskom and the supplier shall agree that the supplier retains certain environmental records. 

Waste generated during construction of the works must be disposed of at a registered site and contractor shall retain records of disposal. 

Deviations from these requirements will be regarded as a non-conformance. Should there be concerns regarding environmental performance and non-conformance to environmental requirements, management engagements and interventions will be introduced to determine a means to addressing the shortfalls.
Once these interventions have been explored and exhausted, then the Eskom supplier disciplinary process must be followed.
· The containers in which waste is stored must be intact and not corroded or in any other way rendered unfit for the safe storage of waste; 

· Adequate measures must be in place to prevent accidental spillage, or leakage, and in the case of an incident, adequate mitigation measures are in place to mitigate, and to prevent re-occurrence of the incident; 

· Skips/bins must be closed to prevent the waste from being blown away, or rain entering and increasing volume of waste; 

· Hazardous waste must be stored in covered containers and only open when waste is added or emptied 

· Nuisances such as odour, visual impacts and breeding of vectors must be prevented from arising; 

· Pollution of the environment and harm to health must be prevented by not  disposing waste or permit waste to be disposed of on (any land, water-body or at any facility); 

· throwing, dropping, depositing, spilling or in any other way discarding any litter into or onto any public place, land, vacant erf, stream, watercourse, street or road, or on any place to which the general public has access, except in a container or a place specifically provided for such disposal; 

· disposing of waste in a manner that is likely to cause pollution of the environment or harm to health and well-being (e.g. the burning or burying of waste); 

· disposing of unclassified waste and 

· using unlicensed/unpermitted waste disposal facilities for Eskom waste. 

· Ensure that Safe Disposal Certificates are retained for hazardous wastes that has been disposed of 

Health and safety facilities on Site 

The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction. No work on site will be allowed to commence before the toilet facilities are available on site.

Contractor shall ensure that the Portable Toilet Hiring Company is registered with the relevant Municipality and a copy of the permit to be obtained.

Contractor to ensure that proof of disposal from portable toilet waste is obtained from the Permitted Portable Toilet Hiring Company.

Environmental controls, fauna & flora, dealing with objects of historical interest 

The ILLEGAL transporting, handling, purchasing and selling, poaching and killing of fauna and flora will NOT be tolerated.
· Offenders will be prosecuted.
· All fauna kills as a result of the activities of the contractor must be reported.
· NO protected or endangered plants and trees may be removed or damaged in any way.
· The necessary permission to be obtained should it be necessary to cut or removed any desired, protected or endangered plant or tree.
· It is essential that construction staff be educated in endangered plants and trees.
· Sites and areas of archaeological and cultural significance should be identified on sites and demarcated prior to commencing work.
· Graves are not to be interfered with in any way.
· Supervisors to ensure that the location of these sites are communicated to their employees.
Site services and facilities

A site for the Contractor’s yard will be provided adjacent to the site of the works where possible. The Contractor shall not occupy any area on site other than what’s allocated to them.

The contractor shall supply all plant and materials to complete the works.

Electricity is available on site. The Contractor shall provide all connections, extensions and additional supply points necessary for the works.  Any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense. 

Adequate and/or continuous supply is not guaranteed and no claims for delay or standing time as a result of insufficiencies or failures will be considered. Any measures which the contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense. 

Water is not available on site.  The contractor shall supply and test all water brought to site for construction and drinking purposes. The testing is for the Contractors own account.

Ensure no water pollution due to your activities taking place. Water usage on site to be verified with the site responsible person, the Project leader/Business Unit Environmental advisor to ensure compliance with legislation. 

Control of noise, dust, water and waste 

The contractor to ensure no nuisance is caused to the landowner, his land occupants and / or his facilities.
Contractor shall monitor dust and noise caused by mobile & other equipment during construction according to environmental legislation.
Mitigation measures to be implemented as required/agreed upon with the project leader/environmental advisor.
Take over procedures

The Contractor is to arrange an inspection at least 1 week before completion to inspect and identify any outstanding or incorrect items.

No project to be signed off before the Business Unit has assured that no environmental liabilities exist.

The responsible person, project leader or Business Unit Environmental advisor to carry out a physical inspection before acceptance of work done is made.

No invoice to be processed before any acceptance is made.

All environmental documentation / file compiled during the project / contract to be handed over to the Grid Environmental Advisor.
2.5 Quality assurance requirements

The Contractor and all sub-contractors shall comply with the requirements listed in the Employer’s Quality requirement standard, ‘Supplier Contract Quality Requirements Specification’, document identifier – QM58. The Contractor shall comply with Eskom’s Safety, Health, Environmental and Quality Policy 32-727.

The Employer places emphasis on the provision of a comprehensive Quality Management System (QMS) for all phases of the project. The QMS of the contractor shall comply with the requirements of ISO 9001. The contractor and all of the contractors’ suppliers shall hold a valid certificate of compliance for their QMS to the requirements of ISO 9001:2008. The Employer may at his sole discretion carry out an audit on any supplier or sub-supplier’s QMS for compliance. 

The contractor will appoint a designated individual to function as Project Quality Manager responsible for the overall quality of the work carried out.

The contractor shall develop and submit a Contract/Project Quality Management Plan (CQP) for the contract. This CQP shall describe the project quality requirements and shall also describe the requirement for continued compliance to the requirement of ISO 9001. The contractor may adopt the basics of this document from the ISO 10005:2005 and ISO 10006:2003 normative documents.  

Within 4 weeks from contract date, the contractor shall prepare and submit with the CQP also a project Inspection and Test Plan (ITP) for all equipment included in the scope. The project ITP shall detail all elements of the Works Information (Scope) and shall itemize the required quality levels for each of these components. The Employer reserves the right to review and add inspection witness and hold points to the project ITP before approval.  

The contractor may not proceed with any work or procurement of material before the contract quality plan and inspection and test plan have been reviewed and approved by the Employer.

The contractor shall indicate in the project ITP which items are of a proprietary nature where the level of certification is limited to standard documentation and certificates of conformity. For such items the proprietary specifications may not be inferior to the international standards for such items or the specifications of the Employer. The contractor needs to satisfy the Employer that the proprietary specifications meet the Employer specifications. 

All equipment not shown as proprietary equipment in the project ITP shall be designed / manufactured / constructed by an ISO 9001 certified organization. The relevant portions of the project ITP shall be issued to the supplier to ensure that all of the quality requirements are complied with. The contractor shall ensure that the suppliers develop and apply approved quality plans for the design / manufacture / construction / testing / commissioning of the equipment. Each of these quality plans shall be submitted to the Employer for review and inclusion of intervention points.

The Contractor will be responsible for all first level quality inspection activities.  The Employer shall be given the option to participate in all second and third level quality activities.

The contractor shall use only ISO 9001 accredited suppliers for these products. Evidence of ISO 9001 certification shall be supplied with the delivery documentation. Failure to include this certification at the time of delivery shall result in rejection of the equipment by the employer.
The Notification period for Eskom attendance to Witness & Hold points is 72 hours. The Witness & Hold points must be clearly indicated in the work programme submitted at the commencement of the work or after every progress or review meeting. The Site Supervisor will be responsible for the verification and signature of the Quality Inspection and Test Plans (ITPs) which must be maintained by the Contractor and presented for signing promptly and regularly.
2.6 Programming constraints 

A comprehensive and fully detailed programme is to be submitted within the seven (7) days after the inaugural meeting and should be in MS Project format, indicating all milestones and critical dates. This programme must first be approved by the Project Manager and must be updated fortnightly or as requested by the Project Manager.
The following dates shall be clearly reflected on the programme:

Starting and completion dates for all activities as well as relevant key dates for hold or witness points. All relevant significant activities shall be shown in order to monitor the progress on site or in the workshop. The programme shall also reflect a 2-week period for inspection and correcting of Defects before the completion date.

Updated programme must be displayed on site office and must be available at all project site meetings reflecting progress to date.
2.7 Contractor’s management, supervision and key people

The Contractor is to submit an organogram showing all key people involved in the contract 7 days after contract award.

All key personnel must be appointed in writing, must be current for the specific site and area of work and must be kept on file at all times.
2.8 Invoicing and payment
Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  
The Contractor shall address the tax invoice to 

Eskom Holdings SOC Ltd

Transmission Finance

PO Box 31809

2017 Braamfontein

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

· Name and address of the Contractor and the Project Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

2.9 Insurance provided by the Employer
As stated in “Format A” available on http://www.eskom.co.za/live/content.php?Item_ID=9248. (See Annexure B for basic guidance).
2.10 Contract change management 
Where standard forms are available they should be used.
2.11 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  
The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 
2.12 Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
The Contractor is to keep proof/invoices of all costs incurred for a compensation event and submit them to the Project Manager if requested.

2.13 Training workshops and technology transfer

None.
3 Engineering and the Contractor’s design
3.1 Employer’s design
Eskom has issued the installation guidelines and the detailed scope of work as per the documents Installation of Bird Perch Diverters: 240-156074235 Rev 1 and Scope of Work for the Installation of Bird Perch Diverters and Stainless-steel Straps on the Southern (Free State) Grid Lines. The quantities are given in the bill of quantities.
3.2 Parts of the works which the Contractor is to design

All temporary work designs like workshop details must be submitted to Eskom. 
3.3 Procedure for submission and acceptance of Contractor’s design

All Contractors’ designs are to be submitted to the Project Manager for acceptance and approval by the responsible Eskom Designer.  
3.4 Other requirements of the Contractor’s design
Not applicable
3.5 Use of Contractor’s design

Not applicable
3.6 Design of Equipment
None.
3.7 Equipment required to be included in the works
None.
3.8 As-built drawings, operating manuals and maintenance schedules

The Contractor is to provide Eskom with detailed “as built” records where deviations have been made from construction drawings within 14 days after Completion.
4 Procurement
4.1 People
4.1.1 Minimum requirements of people employed on the Site
All people employed on site by the Contractor shall be vetted through the Grid Security Manager’s office according to the Grid code before accessing site.

All workers will be subject to ad hoc breathalyser tests at any time when on duty.

All workers must wear seat belts at all times when travelling in their vehicles while on Eskom business.
4.1.2 BBBEE and preferencing scheme

Contractor’s BBBEE Level must be maintained and improved. 
4.1.3 Supplier Development Localisation and Industrialisation (SDL&I) 

Tenderer to indicate number of Jobs to be created and/or retained from this contract;

	Number of Jobs to be created
	Number of Jobs to be retained 

	
	


Tenderers are required to propose against the following training initiatives:

	Category
	Eskom Target
	Tenderer Proposal

	Artisans
	BG3 Beta-Hydra 1
	1
	

	Artisans
	BG3 Hydra-Perseus 3
	1
	

	Artisans
	BG3 Hydra-Perseus 2
	2
	


4.2 Subcontracting
4.2.1 Preferred subcontractors

N/A

4.2.2 Subcontract documentation, and assessment of subcontract tenders

N/A
4.2.3 Limitations on subcontracting

N/A
4.2.4 Attendance on subcontractors

The Contractor is responsible for Providing the Works as if he had not subcontracted.
4.3 Plant and Materials
4.3.1 Quality

The contractor shall remain responsible for the quality of all the plant used and materials supplied. If the contractor’s supplier is used for the manufacturing and erection of any steel work the contractor must ensure that the quality is in line with Eskom’s requirements. Any non-conformance must be corrected before handing over. 
4.3.2 Plant & Materials provided “free issue” by the Employer
Not applicable.
4.3.3 Contractor’s procurement of Plant and Materials

Security personnel are to be advised at least 24hours before any delivering of material take place on site.  Failure to do so may result in delays that will to the Contractors account.
4.3.4 Spares and consumables
Not applicable.
4.4 Tests and inspections before delivery

Not applicable.
4.5 Marking Plant and Materials outside the Working Areas

The Contractor shall mark all equipment, plant and material within the working area.
4.6 Contractor’s Equipment (including temporary works).

Contractor to supply all equipment required to complete the scope of work.
4.7 Cataloguing requirements by the Contractor
None.
5 Construction
5.1 Temporary works, Site services & construction constraints

5.1.1 Employer’s Site entry and security control, permits, and Site regulations
Entry to the site is governed by the Grid’s Lines Engineering Assistant and the Contractor shall adhere to all regulations given. All employees are to sign the Workers declaration on entering and leaving the working area.

The Contractor is to have an Eskom certified and authorized ORHVS person available on site at all times in accordance with Eskom’s Construction Safety, Health and Environmental Management 32-136. The authorized ORHVS person is to have a valid first aid level 2 certificate. The authorization procedure for a permit to work shall be done before the Contractor commences work on site.

It is the Contractor’s responsibility to ensure that the authorization procedure for a permit to work is obtained before access to the work can be given. The contact person is Mr Francois Du Toit at +27 57 388 2121 and at email address DuToitGF@eskom.co.za to arrange for the authorization.

The Contractor will be required to have an Eskom certified and authorized ORHVS person available in each area where work is being performed.
5.1.2 Restrictions to access on Site, roads, walkways and barricades

Access on site is restricted to the area in which the Contractor is working and which has been barricaded. Strictly no movement outside the barricaded working area unless escorted by authorized HV Plant personnel.

The majority of the work is to be performed in the live HV Yard and the Contractor will take all necessary precautions and work in conjunction with Eskom personnel.
5.1.3 People restrictions on Site; hours of work, conduct and records

The Contractor is to supply Eskom with Police clearance for all the employees on site before Work commences. The Basic conditions of employment will be adhered to. Any work done outside this duration must be arranged through the Site Supervisor.

The maximum speed limit on site is 40 km/h.

5.1.4 Health and safety facilities on Site 
There are no toilet facilities available on site.  The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction. No work on site will be allowed to commence before the toilet facilities are available on site.
5.1.5 Environmental controls, fauna & flora, dealing with objects of historical interest 

The Contractor shall control his activities and processes in accordance with Eskom’s Construction Safety, Health and Environmental Management 32-136, SHE Specification and all other related Eskom and Construction Regulations.
The Contractor shall establish a refuse control system.  All waste is to be collected and disposed at a registered dumping site as required by Eskom and the Local Authority.
5.1.6 Title to materials from demolition and excavation

The Contractor shall control his activities and processes in accordance with Eskom’s Construction Safety, Health and Environmental Management 32-136, SHE Specification 

The Contractor shall establish a refuse control system.  All waste is to be collected and disposed of as required by Eskom and the Local Authority.
5.1.7 Cooperating with and obtaining acceptance of Others

The Contractor’s attention is drawn to the fact that Eskom employees will be on site and access and interfacing with them will be required.  The Contractor shall allow safe access for Eskom personnel when required.
5.1.8 Publicity and progress photographs 

Warning signs and notices must be clearly displayed at all sites where work is taking place. It is the responsibility of the Contractor to ensure that all its workers and visitors adhere to all signs.

No photographs are to be taken without the permission of Eskom.

5.1.9 Contractor’s Equipment

All equipment must be registered in the equipment register and as per 32-136. The Contractor is responsible for his own insurance of his equipment. The Contractor is to take stock of his material and equipment on a regular basis and any shortage to be reported to the Project Manager immediately, stating if it is hired or owned.
5.1.10 Equipment provided by the Employer
Not applicable.

5.1.11 Site services and facilities
All the water necessary for construction purposes must be provided for by the Contractor. It is the Contractor’s responsibility to test any water before using it for construction purposes. The Contractor must submit a Test Certificate for the water used on site.
Electricity is available on site. The Contractor shall provide all connections, extensions and additional supply points necessary for the works.  Any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense. 
The Contractor shall provide everything else necessary for Providing the Works.

5.1.12 Facilities provided by the Contractor
The Contractor shall provide ablution facilities, first aid and firefighting facilities as required by the Occupational Health and Safety Act.

The Contractor supplies all plant and materials required for Providing the Works.

There are no Office or Telephone facilities available on site.  The Contractor is to provide his own facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction.

There are no Toilet facilities available on site.  The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction. No work on site will be allowed to commence before the toilet facilities are available on site.
5.1.13 Existing premises, inspection of adjoining properties and checking work of Others

The Work is to be carried out on the servitude of Alpha-Beta 1, Alpha-Beta 2 and Beta-Hydra 2 and the Contractor is to take note of the surrounding Eskom property like towers, cables, and equipment, etc.

5.1.14 Survey control and setting out of the works
The Contractor is responsible for setting out the works as shown on the drawings.
5.1.15 Excavations and associated water control

All necessary precautions shall be taken to ensure that deep excavations are safe and that the sides are stable, if not they shall be battered. All excavations are to be properly barricaded at all times.
5.1.16 Underground services, other existing services, cable and pipe trenches and covers

Before any excavation commences, it will be the responsibility of the Contractor to ascertain from the “Senior Official” the position of any existing services on site.  Once these are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account.
5.1.17 Control of noise, dust, water and waste 

The Contractor shall control his processes and procedures so as to minimise noise and dust.  All waste is to be collected and disposed of at registered dumping site as required by Eskom and the Local Authority.
5.1.18 Sequences of construction or installation

To be discussed with the appointed Contractor before commencement of the works.

5.1.19 Giving notice of work to be covered up
The Contractor is to give the Site Supervisor at least 2 days’ notice before covering up the work.

5.1.20 Hook ups to existing works

The works shall be performed on a live line or during outage. This means care should be taken at all time when performing the installation. All workers must have valid training for working at heights and on Eskom servitude. All Eskom requirements and Regulations must be adhered to at all times. 
5.2 Completion, testing, commissioning and correction of Defects

5.2.1 Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

	
	Item of work
	To be completed by

	
	As built drawings of new foundations for the towers.
	Within 14 days after Completion

	
	
	


5.2.2 Use of the works before Completion has been certified

Not applicable.

5.2.3 Materials facilities and samples for tests and inspections 
Inspection to be done after installation and photos taken with tower numbers on all installed towers for records and submitted to Eskom. 

5.2.4 Commissioning
None.

5.2.5 Start-up procedures required to put the works into operation

None.
5.2.6 Take over procedures

The Contractor is to arrange an inspection at least 1 week before completion to inspect and identify any outstanding or incorrect items. The take-over of the Works will be in accordance of NEC ECC3 Completion Certification.

5.2.7 Access given by the Employer for correction of Defects

Clause 43.4 of the NEC3 will apply.

The Contractor will be responsible for ensuring that the area to be worked in is barricaded before correcting any defects.

5.2.8 Performance tests after Completion

Not applicable.

5.2.9 Training and technology transfer

Not applicable.

5.2.10 Operational maintenance after Completion

Not applicable.
6 Plant and Materials standards and workmanship

6.1 Investigation, survey and Site clearance

The work will be done in the Eskom Servitudes and for access to towers, existing roads must be used. If clearance of vegetation is required, Grid must be informed first to ensure no protected species are damaged.
6.2 Building works
The works shall be performed in the existing lines as per the issued specification.
6.3 Civil engineering and structural works
All the works must be completed according to the Eskom specifications and guidelines.
6.4 Electrical & mechanical engineering works

	Title
	Date or revision
	Tick if publicly available

	
	
	

	Eskom Standard Specifications
	
	

	Contractor Safety and Health Requirements 32-136
	Latest Rev.
	(

	Eskom Life-Saving Rules 32-421
	Latest Rev.
	(

	Safety, Health, Environmental and Quality (SHEQ) Policy 32-94
	Latest Rev.
	(

	Smoking Procedure 32-36
	Latest Rev.
	(

	Vehicle and Driver Safety Management 32-93
	Latest Rev.
	(

	Eskom Vehicle Safety 32-345
	Latest Rev.
	(

	Working at Heights 32-418
	Latest Rev.
	(

	32-726 SHE Requirements for Eskom Commercial Process
	Latest Rev.
	(

	Training, assessment and authorization of persons for the operation & maintenance of the Power System Contractor Safety in a High Voltage Environment
	Latest Rev.
	(

	TPC41-283 Non Conformance Procedure
	Latest Rev.
	(

	Occupational Health and Safety Act No. 85 of 1993
	Latest Rev.
	(

	Supplier Contract Quality Requirements Specification QM58
	Latest Rev.
	(

	ISO 9001 Quality Management Systems
	Latest Rev.
	(

	ISO 14001: 2015 Environmental Management System
	Latest Rev.
	(

	Close Proximity Work Authorization
	Latest Rev.
	(

	Climbing of Structures on Live Powerlines to gain access for Non-Electrical Activities 240-132479779
	Latest Rev.
	(

	Standardised Specifications
	
	

	Plastic Bird Perch Diverter Installation Guideline 240-156074235
	Latest Rev.
	

	Scope of Work for the Installation of Plastic Bird Perch Diverters and Stainless-Steel Straps on the Southern (Free State) Grid Lines 240-156074231
	Latest Rev.
	

	Earthing Standards 0.54/393
	Latest Rev.
	(

	Eskom’s Stringing, Cabling, Erection and Earthing Specification for Substations 
	Latest Rev.
	(


6.5 Process control and IT works
All the works must be completed according to the Eskom specifications and guidelines.
6.6 Other [as required]

7 List of drawings

7.1 Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.
Note:  Some drawings may contain both Works Information and Site Information.

	Drawing  number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Contractor’s Works Information

	This section of the Works Information will always be contract specific depending on the nature of the works.

It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1.
Typical sub headings could be

a) 
Contractor’s design

b)
Plant and Materials specifications and schedules

c)
Other



This section could also be compiled as a separate file.




Part C3: Scope of Work
1
C3 ecc3 Cover page

