NEC3 Engineering & Construction Contract

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | Design and construction of EV Infrastructure at Matimba Power Station for Gx Pilot Project Insert title of the works |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| Part C4 | Site Information | [●] |
| CONTRACT No. | [Insert at award stage] |  |

Part C1: Agreements & Contract Data

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Employer | [●] |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

# Design and Construction of EV Infrastructure at

# Matimba Power Station for Gx Pilot Project

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the Options which do not apply

| Options A | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Sub total | R [●] |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number (if applicable) |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Works Information

Part C4		Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | N/A | N/A |

C1.2 ECC3 Contract Data

# Part one - Data provided by the Employer

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.

- Some ECC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining ECC3 options are identified by shading in the left-hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

| ## Clause |  | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option |  |  |  |
|  |  |  | A: Priced contract with activity schedule |  |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |
|  |  | and secondary Options |  |  |  |
|  |  |  | X2 Changes in the law |  |  |
|  |  |  | X7: Delay damages |  |  |
|  |  |  | X15: Limitation of Contractor’s liability for design to reasonable skill and care |  |  |
|  |  |  | X16: Retention |  |  |
|  |  |  | X18: Limitation of liability |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |
|  |  | of the NEC3 Engineering and Construction Contract, April 2013 (ECC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |
| 10.1 |  | The Employer is (Name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |
| 10.1 |  | The Project Manager is: (Name) | TBC |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |
|  |  | Tel | [●] |  |  |
|  |  | Fax | [●] |  |  |
|  |  | e-mail | [●] |  |  |
| 10.1 |  | The Supervisor is: (Name) | TBC |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |
|  |  | Tel No. | [●] |  |  |
|  |  | Fax No. | [●] |  |  |
|  |  | e-mail | [●] |  |  |
| 11.2(13) |  | The works are | Design and construction of EV Infrastructure at Matimba Power Station for Gx Pilot Project |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | - Incremental Weather (ash dust, rain, wind, hailstorm, heatwave) - Labour strike - Traffic Flow Management - Community Unrest - Working at heights - Working in confined space - Unforeseen geological conditions - Fire and smoke - Electrocution - Snakes - Monkeys |  |  |
| 11.2(15) |  | The boundaries of the site are | Administration Building Parking area |  |  |
| 11.2(16) |  | The Site Information is in | Part 4: Site Information |  |  |
| 11.2(19) |  | The Works Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |
| 13.1 |  | The language of this contract is | English |  |  |
| 13.3 |  | The period for reply is | 5 working days |  |  |
| ## 2 |  | ## The Contractor's main responsibilities | Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |
| ## 3 |  | ## Time |  |  |  |
| 11.2(3) |  | The completion date for the whole of the works is | 6 months |  |  |
| 30.1 |  | The access dates are: | Part of the Site |  | Date |
|  |  |  | 1 | Administration building parking area | As per the accepted schedule |
|  |  |  | 2 | [●] | [●] |
|  |  |  | 3 | [●] | [●] |
| 31.1 |  | The Contractor is to submit a first programme for acceptance within | 2 weeks of the Contract Date. |  |  |
| 31.2 |  | The starting date is | TBC |  |  |
| 32.2 |  | The Contractor submits revised programmes at intervals no longer than | 1 week. |  |  |
| 35.1 |  | The Employer is not willing to take over the works before the Completion Date. | TBC |  |  |
| ## 4 |  | ## Testing and Defects |  |  |  |
| 42.2 |  | The defects date is | 52 weeks after Completion of the whole of the works. |  |  |
| 43.2 |  | The defect correction period is | 1 week |  |  |
| ## 5 |  | ## Payment |  |  |  |
| 50.1 |  | The assessment interval is | between the 25th day of each successive month. |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand. |  |  |
| 51.2 |  | The period within which payments are made is | Applicable as per Eskom payment terms as per Vendor registration |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |
| ## 6 |  | ## Compensation events |  |  |  |
| 60.1(13) |  | The place where weather is to be recorded is: | Matimba Power Station |  |  |
|  |  | The weather measurements to be recorded for each calendar month are, | the cumulative rainfall (mm) |  |  |
|  |  |  | the number of days with rainfall more than 10 mm |  |  |
|  |  |  | the number of days with minimum air temperature less than 0 degrees Celsius |  |  |
|  |  |  | the number of days with snow lying at 09:00 hours South African Time |  |  |
|  |  |  | and these measurements: |  |  |
|  |  | The weather measurements are supplied by | The South African Weather Service |  |  |
|  |  | The weather data are the records of past weather measurements for each calendar month which were recorded at: | Matimba Power Station |  |  |
|  |  | and which are available from: | the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer |  |  |
| 60.1(13) |  | Assumed values for the ten-year return weather data for each weather measurement for each calendar month are: | As stated in Annexure A to this Contract Data provided by the Employer. Note: If this arrangement is used, delete the rows above for 60.1(13) and delete this note. |  |  |
| ## 7 |  | ## Title | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |
| ## 8 |  | ## Risks and insurance |  |  |  |
| 80.1 |  | These are additional Employer's risks | None |  |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |
| A |  | Priced contract with activity schedule | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |
| B |  | Priced contract with bill of quantities |  |  |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |
| W1.1 |  | The Adjudicator is | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body. |  |  |
| W1.4(2) |  | The tribunal is: | arbitration. |  |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |
|  |  | The place where arbitration is to be held is | Gauteng, South Africa |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |
| X7 |  | Delay damages (but not if Option X5 is also used) |  |  |  |
| X7.1 |  | Delay damages for Completion of the whole of the works are | 2% per day up to the maximum of 10% of the contract value. |  |  |
| X12 |  | Partnering | Not Applicable |  |  |
| X13 |  | Performance bond | Not Applicable |  |  |
| X14 |  | Advanced payment to the Contractor | Not Applicable |  |  |
| X15 |  | Limitation of the Contractor’s liability for his design to reasonable skill & care | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |
| X16 |  | Retention (not used with Option F) |  |  |  |
|  |  | The retention percentage is | 5% of each invoice |  |  |
| X18 |  | Limitation of liability |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to: | 10% of the Contract price |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to: | the amount of the deductibles relevant to the event |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to | The greater of the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date. |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to: | The total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for Defects due to his design which arise before the Defects Certificate is issued, Defects due to manufacture and fabrication outside the Site, loss of or damage to property (other than the works, Plant and Materials), death of or injury to a person and infringement of an intellectual property right. |  |  |
| X18.5 |  | The end of liability date is | (i) 5 years after the defects date for latent Defects and (ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter. A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect. |  |  |
| Z |  | The Additional conditions of contract are | Z1 to Z15 always apply. |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager. |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |
| Z4 | Confidentiality |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager. |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |
| Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site. warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |
| Z7.1 | Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |
| Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |
| Z8.1 | Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”. |  |  |  |  |
| Z9 | Employer’s limitation of liability |  |  |  |  |
| Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |
| Z9.2 | The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited. |  |  |  |  |
| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |
| Z10.1 | or had a business rescue order granted against it. |  |  |  |  |
| Z11 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |
| Z11.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |

| Z12 | Ethics |  |
| --- | --- | --- |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| Affected Party |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |
| Coercive Action |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |
| Collusive Action |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |
| Committing Party |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees, |
| Corrupt Action |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |
| Fraudulent Action |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |
| Obstructive Action |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |
| Prohibited Action |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |
| Z12.2 | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |
| Z12.3 | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |
| Z13 | Insurance |  |
| Z 13.1 | Replace core clause 84 with the following: |  |

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Contractor provides the insurances stated in the Insurance Table A. |
|  | 84.3 | The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate. |
|  |  | ### INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the works, Plant and Materials; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance. Loss of or damage to Equipment; The replacement cost. Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract; Loss of or damage to property Employer’s property The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance Other property The replacement cost Bodily injury to or death of a person The amount required by applicable law. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law. |
| Z 13.2 |  | Replace core clause 87 with the following: The Employer provides the insurances stated in the Insurance Table B. |
|  |  | #### INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z14 | Nuclear Liability |  |
| --- | --- | --- |
| Z14.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z14.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.3 | Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z14.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z15 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4-hour period. The value at which proactive actions is required to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4-hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z15.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z15.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are affected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z15.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z15.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted to declare the area safe. |  |
| Z15.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z15.6 | The Contractor continues to Provide the Services, without additional control measures presented on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z15.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

C1.2 Contract Data

# Part two - Data provided by the Contractor

[Instructions to the contract compiler:  (delete these notes before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left-hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

- Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | % |
|  | The subcontracted fee percentage is | % |
| 11.2(18) | The working areas are the Site and |  |
| 24.1 | The Contractor's key persons are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key persons data including CVs) are appended to Tender Schedule entitled . |
| 11.2(3) | The completion date for the whole of the works is |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(19) | The Works Information for the Contractor’s design is in: |  |
| 31.1 | The programme identified in the Contract Data is |  |
| A | Priced contract with activity schedule |  |
| 11.2(20) | The activity schedule is in |  |
| 11.2(30) | The tendered total of the Prices is | (in figures) (in words), excluding VAT |
|  | Data for Schedules of Cost Components | Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013). |
| A | Priced contract with activity schedule | Data for the Shorter Schedule of Cost Components |

C1.3 Forms of Securities

# Pro formas for Bonds & Guarantees

## For use with the NEC3 Engineering & Construction Contract

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]

The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X4:	Parent company guarantee

Option X13:	Performance Bond

Option X14:	Advanced payment to the Contractor

Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:	Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.

The Contractor shall guarantee his ASGI-SA Obligations by providing the Employer with an ASGI-SA Guarantee in the form provided here.

[Note to contract compiler:  If there are no ASGI-SA Obligations in this contract, delete the above statement]

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.

# Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)

| Eskom Holdings SOC Limited Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]

Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]

Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]

- In this Guarantee the following words and expressions shall have the following meanings:-

  - “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

  - “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

  - “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

  - “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

  - “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

  - “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

  - “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

  - “Project” - means the…………………………………..

- At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

- A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

  - be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

  - state the amount claimed (“the Demand Amount’);

  - state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

- Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

  - is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

  - is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

- The Bank’s obligations in terms of this Guarantee:

  - shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

  - shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

- Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract.

- Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

- This Guarantee:

  - shall expire on the Expiry Date until which time it is irrevocable;

  - is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

  - shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

  - shall be regarded as a liquid document for the purpose of obtaining a court order; and

  - shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

  - Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

- The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________		Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________		Bank Signatory: ___________________

Witness: ________________________		Witness: _________________________

# Part 2: Pricing Data

ECC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A |  |
| C2.2 | The activity schedule |  |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract, (ECC3) Option A states:

| Identified and defined terms | 11 11.2 | (20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (27) The Price for Work Done to Date is the total of the Prices for each group of completed activities and each completed activity which is not in a group. A completed activity is one which is without Defects which would either delay or be covered by immediately following work. |
|  |  | (30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract. |

This confirms that Option A is a lump sum form of contract where the work is broken down into activities, each of which is priced by the tendering contractor as a lump sum.   Only completed activities are assessed for payment at each assessment date; no part payment is made if the activity is not completed by the assessment date.

# Function of the Activity Schedule

Clause 54.1 in Option A states: “Information in the Activity Schedule is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Activity Schedule but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Activity Schedule.  The Activity Schedule is only a pricing document.

# Link to the programme

Clause 31.4 states that “The Contractor provides information which shows how each activity on the Activity Schedule relates to the operations on each programme which he submits for acceptance”.  Ideally the tendering contractor will develop a high-level programme first then resource each activity and thus arrive at the lump sum price for that activity both of which can be entered into the activity schedule.

# Preparing the activity schedule

Generally, it is the tendering contractor who prepares the activity schedule by breaking down the work described within the Works Information into suitable activities which can be well defined, shown on a programme and priced as a lump sum.

The Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in his activity schedule and be priced accordingly.

It is assumed that in preparing his activity schedule the Contractor:

- Has taken account of the guidance given in the ECC3 Guidance Notes pages 19 and 20.

- Understands the function of the Activity Schedule and how work is priced and paid for.

- Is aware of the need to link the Activity Schedule to activities shown on his programme.

- Has listed and priced activities in the activity schedule which are inclusive of everything necessary and incidental to Providing the Works in accordance with the Works Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk.

- Has priced work he decides not to show as a separate activity within the Prices of other listed activities in order to fulfil the obligation to complete the works for the tendered total of the Prices.

- Understands there is no adjustment to the lump sum Activity Schedule price if the amount, or quantity, of work within that activity later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event.

An activity schedule could have the following format:

| Item No. | Section | Description | Unit | Quantity | Rate | Total |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Designs |  |  |  |  |  |  |
| 1.1 | Designs | Designs and associated documentation for construction works | sum | 1.00 |  |  |
| Total Sub 1 |  |  |  |  |  |  |
| 2. Scan for Existing Services |  |  |  |  |  |  |
| 2.1 | Existing Services | Locate & map underground services; Service Identification Report | sum | 1,00 |  |  |
| 2.2 | Existing Services | Protection/coordination for identified services | sum | 1,00 |  |  |
| Total Sub 2 |  |  |  |  |  |  |
| 3. Traffic control |  |  |  |  |  |  |
| 3.1 | Traffic control | Temporary traffic control & coordination | sum | 1 |  |  |
| Total Sub 3 |  |  |  |  |  |  |
| 4. Removal of existing infrastructure |  |  |  |  |  |  |
| 4.1 | Removals | Uplift & cart existing interlocking paving | m2 | 157,00 |  |  |
| 4.2 | Removals | Remove corrugated iron roof sheeting Inc. Ancillaries | m2 | 50,00 |  |  |
| 4.3 | Removals | Remove existing concrete kerbs incl. bedding | m2 | 50,60 |  |  |
| 4.4 | Removals | Protect manhole during works | item | 1,00 |  |  |
| Total Sub 4 |  |  |  |  |  |  |
| 5. Earthworks, Soil Poisoning and Layer works |  |  |  |  |  |  |
| 5.1 | Earthworks | Clearing & grubbing of platform | m2 | 157,00 |  |  |
| 5.2 | Earthworks | Rip/scarify 150mm & compact to ≥ 90% Mod AASHTO | m3 | 23,55 |  |  |
| 5.3 | Earthworks | in-situ density & moisture tests (min 1/50 m2) | No. | 4,00 |  |  |
| 5.4 | Earthworks | Allowance for rework/retest | sum | 1,00 |  |  |
| 5.5 | Soil Poisoning | Apply weed killer & soil insecticide | m2 | 157,00 |  |  |
| 5.6 | Soil Poisoning | Application certificates & marked-up layout | item | 1,00 |  |  |
| 5.7 | Cable Trenching | Excavate trench for LV cable | m | 25,00 |  |  |
| 5.8 | Cable Trenching | Sand bedding 100mm | m3 | 1,50 |  |  |
| 5.9 | Cable Trenching | Place LV cable in trench (civil handing) | m | 25,00 |  |  |
| 5.10 | Cable Trenching | Protect covers & backfill/compact; reinstate | m | 25,00 |  |  |
| 5.11 | Cable Trenching | Warning tape above protective layer | m | 25,00 |  |  |
| 5.12 | Cable Trenching | QA photos & depth verification | item | 1,00 |  |  |
| 5.13 | Layer works | Blinding/bedding sand 30mm | m3 | 4,71 |  |  |
| 5.14 | Layer works | 80mm grey interlocking pavers in herringbone | m2 | 165,00 |  |  |
| 5.15 | Layer works | Joint filling (river sand) to refusal | m2 | 157,00 |  |  |
| 5.16 | Layer works | Edge restraints (kerbs/mortar) | m | 50,60 |  |  |
| 5.17 | Layer works | Alignment/levelling & compaction of pavers | sum | 1,00 |  |  |
| 5.18 | Layer works | Stop tyre kerbs (2 No.2) | Item | 2 |  |  |
| 5.19 | Layer works | QA tests for layer works | item | 1,00 |  |  |
| 5.20 | Drainage | Maintain slope/ crossfalls; integrate with stormwater | sum | 1,00 |  |  |
| 5.21 | Drainage | Spot level survey & water test, documentation | item | 1,00 |  |  |
| 5.22 | Finishes | Final joint filling & edge treatment | m² | 157.00 |  |  |
| 5.23 | Finishes | Surface cleaning, final compaction & slope verification | Item | 1.00 |  |  |
| 5.24 | Finishes | Finish QA checks & records | Item | 1.00 |  |  |
| Total Sub 5 |  |  |  |  |  |  |
| 6. Concrete Plinth for Charger |  |  |  |  |  |  |
| 5.1 | Concrete Plinth | Set out plinth at identified bay | item | 1,00 |  |  |
| 5.2 | Concrete Plinth | Formwork 1.2x1.2x0.4 m height | m2 | 1,92 |  |  |
| 5.3 | Concrete Plinth | Concrete 35MPa 0.576 m3 | m3 | 0,58 |  |  |
| 5.4 | Concrete Plinth | Concrete cube per SANS 5863 (6No.) | m3 | 6,00 |  |  |
| 5.5 | Concrete Plinth | Dimensional checks & alignment; records | item | 1,00 |  |  |
| Total Sub 6 |  |  |  |  |  |  |
| 7. Installation of new parking shelter |  |  |  |  |  |  |
| 6.1 | Parking Shelter | Supply & install structural steel frame (columns, beams, purlins) | item | 1 |  |  |
| 6.2 | Parking Shelter | Supply & install corrugated iron roof sheet (14m x 7m =98m2) | m2 | 98 |  |  |
| 6.3 | Parking Shelter | Concrete foundations for steel columns | m3 | 2,5 |  |  |
| 6.4 | Parking Shelter | Gutters, downpipes & flashing | item | 1 |  |  |
| 6.5 | Parking Shelter | Painting/ corrosion protection coating | m2 | 60 |  |  |
| 6.6 | Parking Shelter | Erection labour & working-at-height equipment | item | 1 |  |  |
| 6.7 | Parking Shelter | Welding, bolt torquing & QA documentation | item | 1 |  |  |
| Total Sub 7 |  |  |  |  |  |  |
| 8. Electrical Works |  |  |  |  |  |  |
| 8.1 | Electrical Works | 120 mm² , copper 4 core PVC insulated PVC bedded SWA PVC Sheathed 600/1000V cable | sum | 60.00 |  |  |
| 8.2 | Electrical Works | CCG Gland No.5 BW incl. shrouds | sum | 2.00 |  |  |
| 8.3 | Electrical Works | C/Breaker NSX250N 50 KA AC 3P3D 250A (we need a 4-pole MCB or MCCB) | sum | 1.00 |  |  |
| 8.4 | Electrical Works | 300x300mm DBI1P 3KA (Junction box measurement) | sum | 1.00 |  |  |
| 8.5 | Electrical Works | LED canopy luminaire, 150 W, ≥120 lm/W, 4000 K, SANS/SABS approved, IP66 min, IK08 (IK10 preferred). Include driver and mounting kit. | sum | 2.00 |  |  |
| 8.6 | Electrical Works | Type C MCB, 10 A (lighting circuit protection) at distribution board | sum | 2.00 |  |  |
| 8.7 | Electrical Works | Copper conductor, 3-core + earth, 2.5 mm² (T&E or 3-core SWA where required) | sum | 5.00 |  |  |
| 8.8 | Electrical Works | Earth 63 Earth Leakage | sum | 1.00 |  |  |
| 8.9 | Electrical Works | CoC | sum | 1.00 |  |  |
| 8.10 | Electrical Works | Labelling (lighting, cable, switchgear panel and MCB/junction box) | sum | 5.00 |  |  |
| 8.11 | Electrical Works | Labour | sum | 1.00 |  |  |
| 8.12 | Electrical Works | Testing of items, Comissioning | sum | 1.00 |  |  |
| 8.13 | Electrical Works | Sleeve for provision of additional cable | m | 60.00 |  |  |
| 8.14 | Electrical Works | Consumables | sum | 1.00 |  |  |
| Total Sub 8 |  |  |  |  |  |  |
| 9. Documentation & Handover |  |  |  |  |  |  |
| 9.1 | QA & Handover | Complete QA Handover Pack, As Built Drawings, labelling and completion ceritficates | item | 1,00 |  |  |
| Total Sub 9 |  |  |  |  |  |  |
| 10. Preliminairies and General |  |  |  |  |  |  |
| 10.1 | P & G's | Site Establishment and De-establishment | sum | 1.00 |  |  |
| 10.2 | P & G's | Medical | sum | 1.00 |  |  |
| 10.3 | P & G's | Safety File | sum | 1.00 |  |  |
| 10.4 | P & G's | PPE | sum | 1.00 |  |  |
| 10.5 | P & G's | Travelling | sum | 1.00 |  |  |
| 10.6 | P & G's | Accommodation | sum | 1.00 |  |  |
| 10.7 | P & G's | Transport | sum | 1.00 |  |  |
| 10.8 | P & G's | Supervision - Supervisor | sum | 1.00 |  |  |
| 10.9 | P & G's | Safety officer | sum | 1.00 |  |  |
| Total Sub 10 |  |  |  |  |  |  |
| Total for the Works |  |  |  |  |  |  |

C2.2 the activity schedule

Use this page as a cover page to the Contractor’s activity schedule.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Employer’s works Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.

Part 3: Scope of Work	1

C3.1: Employer’s works Information	2

1	Description of the works	5

1.1	Executive overview	5

1.2	Employer’s objectives and purpose of the works	5

1.3	Interpretation and terminology	5

2	Management and start up.	5

2.1	Management meetings	5

2.2	Documentation control	6

2.3	Health and safety risk management	6

2.4	Environmental constraints and management	7

2.5	Quality assurance requirements	7

2.6	Programming constraints	7

2.7	Contractor’s management, supervision and key people	7

2.8	Invoicing and payment	7

2.9	Insurance provided by the Employer	8

2.10	Contract change management	8

2.11	Provision of bonds and guarantees	8

2.12	Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor	8

2.13	Training workshops and technology transfer	8

3	Engineering and the Contractor’s design	9

3.1	Employer’s design	9

3.2	Parts of the works which the Contractor is to design	9

3.3	Procedure for submission and acceptance of Contractor’s design	9

3.4	Other requirements of the Contractor’s design	9

3.5	Use of Contractor’s design	9

3.6	Design of Equipment	9

3.7	Equipment required to be included in the works	10

3.8	As-built drawings, operating manuals and maintenance schedules	10

4	Procurement	11

4.1	People	11

4.1.1	Minimum requirements of people employed on the Site	11

4.1.2	BBBEE and preferencing scheme	11

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	11

4.2	Subcontracting	11

4.2.1	Preferred subcontractors	11

4.2.2	Subcontract documentation, and assessment of subcontract tenders	11

4.2.3	Limitations on subcontracting	12

4.2.4	Attendance on subcontractors	12

4.3	Plant and Materials	12

4.3.1	Quality	12

4.3.2	Plant & Materials provided “free issue” by the Employer	12

4.3.3	Contractor’s procurement of Plant and Materials	12

4.3.4	Spares and consumables	12

4.4	Tests and inspections before delivery	13

4.5	Marking Plant and Materials outside the Working Areas	13

4.6	Contractor’s Equipment (including temporary works).	13

4.7	Cataloguing requirements	13

5	Construction	14

5.1	Temporary works, Site services & construction constraints	14

5.1.1	Employer’s Site entry and security control, permits, and Site regulations	14

5.1.2	Restrictions to access on Site, roads, walkways and barricades	14

5.1.3	People restrictions on Site; hours of work, conduct and records	14

5.1.4	Health and safety facilities on Site	14

5.1.5	Environmental controls, fauna & flora, dealing with objects of historical interest	14

5.1.6	Title to materials from demolition and excavation	14

5.1.7	Cooperating with and obtaining acceptance of Others	15

5.1.8	Publicity and progress photographs	15

5.1.9	Contractor’s Equipment	15

5.1.10	Equipment provided by the Employer	15

5.1.11	Site services and facilities	15

5.1.12	Facilities provided by the Contractor	15

5.1.13	Existing premises, inspection of adjoining properties and checking work of Others	15

5.1.14	Survey control and setting out of the works	16

5.1.15	Excavations and associated water control	16

5.1.16	Underground services, other existing services, cable and pipe trenches and covers	16

5.1.17	Control of noise, dust, water and waste	16

5.1.18	Sequences of construction or installation	16

5.1.19	Giving notice of work to be covered up	16

5.1.20	Hook ups to existing works	16

5.2	Completion, testing, commissioning and correction of Defects	17

5.2.1	Work to be done by the Completion Date	17

5.2.2	Use of the works before Completion has been certified	17

5.2.3	Materials facilities and samples for tests and inspections	17

5.2.4	Commissioning	17

5.2.5	Start-up procedures required to put the works into operation	17

5.2.6	Take over procedures	18

5.2.7	Access given by the Employer for correction of Defects	18

5.2.8	Performance tests after Completion	18

5.2.9	Training and technology transfer	18

5.2.10	Operational maintenance after Completion	18

6	Plant and Materials standards and workmanship	19

6.1	Investigation, survey and Site clearance	19

6.2	Building works	19

6.3	Civil engineering and structural works	19

6.4	Electrical & mechanical engineering works	20

6.5	Process control and IT works	20

6.6	Other [as required]	20

7	List of drawings	21

7.1	Drawings issued by the Employer	21

C3.2	Contractor’s Works Information	22

# 1 Description of the works

## 1.1 Executive overview

Eskom Generation (Gx) has initiated a project to replace its Internal Combustion Engine (ICE) fleet of vehicles with Electric Vehicles (EVs). The project objective is to achieve a more sustainable and environmentally friendly transportation system by reducing Eskom’s vehicles CO2 emissions contribution without compromising the respective vehicle requirements. This is planned to be achieved by transitioning from ICE vehicles to EVs and installing charging infrastructure at Gx Power Stations to support the transition.

EVs are still developing in terms of availability, performance, and infrastructure in South Africa. A pilot project is required to evaluate EV performance under local conditions, assess operational impacts and align with Eskom’s emission reduction targets before rollout across the business.

Matimba Power Station is one of the sites chosen for the pilot phase of the project and required to provide a connection point for a charger and identification of parking bays for the charging station.

Gx Engineering has produced the ROC, SRD, EMAP and Site Scope of Work documents for the whole EV project that is informative and useful for the development of the site-specific documents. Matimba Power Station has developed site-specific ROC, SRD, and Concept Design Report. This document does not constitute a basic detailed design but rather highlights the key design elements of the connection point and parking bays.

## 1.2 Employer’s objectives and purpose of the works

The Employer’s objective is to achieve a more sustainable and environmentally friendly transportation system by reducing Eskom’s vehicles CO2 emissions contribution without compromising the respective vehicle requirements. This is planned to be achieved by transitioning from ICE vehicles to EVs and installing charging infrastructure at Gx Power Stations to support the transition.

The purpose of the works is to define the Contractors’ responsibility in delivering a fully functional EV charging infrastructure system at Matimba Power Station, including design, construction, installation, labelling, testing, commissioning, and handover. The works are limited to the design and construction of EV charging civil infrastructure and installation of power supply to the EV charger. The EV charger will be supplied by the Employer.

## 1.3 Interpretation and terminology

The following abbreviations are used in this Works Information:

| Abbreviation | Description |
| --- | --- |
| AASHTO | American Association of State Highway and Transport Officials |
| AC | Alternating Current |
| CO2 | Carbon Dioxide |
| ECSA | Engineering Council of South Africa |
| EV | Electric Vehicle |
| EMAP | Engineering Management Plan |
| GPR | Ground Penetrating Radar |
| Gx | Generation Business |
| ICE | Internal Combustion Engine |
| kA | Kiloamp |
| KKS | Kraftwerk-Kennzeichen System |
| LV | Low Voltage (≤1000V AC) |
| mA | Milliampere |
| MCCB | Moulded Case Circuit Breaker |
| MPa | Megapascal |
| OEM | Original Equipment Manufacture |
| OHSA | Occupational Health and Safety Act |
| KKS | Kraftwerk-Kennzeichen-System |
| kW | Kilowatt (1000 Watt) |
| ROC | Required Operational Capability |
| SRD | Stakeholder Requirements Definition |
| QA | Quality Assurance |

# 2 Management and start up.

## 2.1 Management meetings

Meetings are held monthly between the Project Manager and the Contractor (and any other co-opted members). The Contractor is represented, at each meeting, by the appropriate members of the staff.

The venue for these meetings is as determined by the Project Manager. The Project Manager writes the minutes of meetings.

Any action of the Project Manager or Contractor implied in the minutes of meetings with contractual implications is confirmed by means of a separate communication given in accordance with this Works Information and NEC.

The Contractor reports the overall progress and as a minimum requirement, the following is

addressed:

- Contractor’s current activity progress and planned finish dates;

- Contractor’s programme agenda compared for delays and milestone targets

- Health, safety, environmental and quality Management;

- The progress of any other relevant activities;

- To discuss any technical or commercial issues;

- Problem areas or concerns.

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Project Kick-Off Meeting | Once, before contract start | Matimba Power Station | Contractor’s Project Manager, Project Supervisor and other attendees at the discretion of the contractor. Employer’s Project Team |
| Progress Meeting | TBC | Matimba Power Station | TBC |
| Progress Report | TBC | Matimba Power Station | TBC |
| Risk Management Review | TBC | Matimba Power Station | TBC |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Such meetings should not prejudice the Employer in terms of cost, quality and schedule. Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## 2.2 Documentation control

Document Management

Document identification

The documentation requirements cover the various engineering stages, from the design stage through fabrication, installation, testing and commissioning and most importantly for the operating, maintenance and training stage of the project.

The Contractor is responsible for the compilation and the supply of the documentation during the various project stages and to provide the documentation programme to link with the milestone dates. Documentation and drawings are programmed for delivery to meet the milestone dates and in accordance with the agreed VDSS supplied Employer.

Documents Submission

All documents and records are submitted according to Technical Document and Record Management Work Instruction (240-76992014) and Gx Projects Documentation Deliverable Requirements Specification (240-65459834) and the Employer ensures that the Contractor is provided with latest revisions of all these documents. To portray a consistent image, it is important that all documents used within the project follow the same standards of layout, style and formatting as described in the documents above. The Contractor is required to submit documents as electronic in .pdf format in a CD and hard copies and are delivered to the Project Manager with a transmittal note.

The Contractor submits the Master Document List to the Employer on a monthly basis for tracking purposes irrespective of whether there are updates or not. The MDL includes list of drawings and documents and contains the following minimum information for each document:

- Date of submission

- Transmittal number

- Transmittal title

- Document description

- Document number

- Document Type

- Revision number

- Document Approval Status

- Document Authorisation Status (i.e. Accepted with Comments, Not Accepted with

- Comments, Accepted)

Documentation Review and Turn-around

The Employer has a minimum four working days to review and consolidate review comments for documentation submitted by the Contractor. The Contractor also has a minimum four working days to respond and / rectify as per the comments by the Employer.

Drawings Format and Layout

The creation, issuing and control of all Engineering Drawings are in accordance with the latest revision of 240-86973501 (Engineering Drawing Office and Engineering Documentation Standard). Drawings issued to the Employer are a minimum of one hardcopy and an electronic copy. All Contractors are required to submit

electronic drawings in Micro Station (DGN) format, and scanned drawings in pdf format. No drawings in TIFF, AUTOCAD or any other electronic format are accepted. Drawings issued to the Employer may not be “Right Protected” or encrypted. The Employer reserves the right to use these drawings to meets it other contractual obligations.

Plant Identification

Plant Coding

Coding of the design is based on the KKS coding system, and the Employer undertakes the coding in line with its standards. The KKS coding is applied during the design review stage(s) and cross referenced to all arrangement drawings, schematics, wiring diagrams, instructions and manuals and where practical to spare parts list/manuals. The Contractor is required to include allocated coding to the electronic design drawings.

The Contractor to use the KKS system for classifying and designating both plant and their associated documents. All technical documentation as per “Technical documentation classification and designation standard – 240-54179170” contain a KKS code as part of the documentation identification relevant to the plant equipment. All plant (Process, Mechanical, Electrical, C&I and Civil) to be coded to KKS breakdown level 3. The KKS code contains break down level 1, break down level 2 and breakdown level 3. Omission of any break down level is not permitted. The system is applied from the concept stage until project closeout.

Detailed nameplate or label list with the service legends and including the KKS Code to be prepared by the Contractor and submitted to the Project Manager for review and comment before commencing manufacture of the labels. All maintainable plant equipment and components to be labelled including pipework and cabling. The rules for applying the KKS and the KKS codes are contained in the Employer’s Standard 240-93576498: KKS Coding Standard and in the publication KKS power plant classification (B105e) 5th Edition 2003 published by Verlag VGB PowerTech Service GmbH (Essen), and the KKS Applications: Guideline and explanations A, B1-4 (B106e).

The Contractor to code all plant within scope of supply according to the KKS Classification System to Breakdown Level 3 where possible. The relevant KKS codes thus allocated appear on all plant related documentation, drawings, lists and correspondence.

The Contractor is responsible for ensuring the accuracy, completeness and consistency of the designations in all documents. This applies both to designations within documents (plant designations) and of Documents (documents designations). The Contractor to submit these for the Project Manager’s acceptance.

A list of the KKS designations allocated is drawn up by the Contractor for each scope of delivery. Methods of KKS designation, list formulation and submission format to be proposed by the Contractor and agreed by the Project Manager.

Plant Labelling

- The Contractor supplies the labelling for all plant, material and equipment provided as part of the works.

- It is the responsibility of the Contractor to manufacture and install labels according to 240-71432150: Plant Labelling Standard.

- Coding and labelling of components inside electrical and C&I panels are completed by the Contractor.

- The Coding practitioner to facilitate baselining of all equipment lists from the Contractor, and only baseline equipment lists to be used as a basis to produce labels.

- Abbreviations to descriptions on the labels are generally not acceptable. Where abbreviations are unavoidable, due to the limited number of characters that can be engraved/etched on labels, the abbreviations are submitted to the Project Manager for acceptance. The Contractor makes use of the Employer’s “Eskom Plant Labelling Abbreviation Standard; 240-109607332.

- The Contractor makes use of the KKS codes and descriptions provided by the Employer.

- The Contractor supplies to the Project Manager, for verification and acceptance purposes, with a label list showing the text only. The Project Manager’s acceptance should be sought for the positioning and designation of labels.

- The KKS codes are used accordingly on documentation (e.g., drawings, manuals, equipment lists, cable schedules etc.) as a unique identification means. References to plant are accompanied by the relevant KKS code for that item of plant.

## 2.3 Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in Annexure ___________ to this Works Information.

General

In carrying out its obligations to the Employer in terms of this contract, which obligations include, amongst others, to Provide the Works; using Plant, Materials and Equipment; and whilst at the site for any reason, the Contractor is the “Employer” in terms of the Occupational Health and Safety Act, No. 85 of 1993, in respect of its activities and in relation to its employees, agents, Subcontractor/s and mandatories.

The Contractor does not consider itself under the supervision or management of the Employer regarding compliance with the Safety Health and Environmental requirements.

Furthermore, the Contractor does not consider himself to be a subordinate or under the supervision of the Project Manager in respect of these matters. The Contractor is responsible for the supervision of its employees, agents, Subcontractors and mandatories and takes full responsibility and accountability for ensuring that they are competent, aware of the Safety Health and Environmental requirements, whilst executing the works in accordance with the Safety Health and Environmental requirements.

The Contractor ensures compliance with, amongst others:

- The provisions of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations (as amended), binding in terms thereof;

- The latest versions of standards, procedures, specifications, rules, systems of work and requirements of the Employer, copies of which are provided to the Contractor on request.

- The Health and Safety Plan prepared by the Contractor in accordance with the Employer’s Safety Health and Environmental Specification – 240-149136837 and requirements.

- The provisions of the National Environmental Management Act (as amended) and all regulations in force from time to time in terms of that Act,

The Contractor ensures that its employees, agents, Subcontractors and mandatories comply with the provisions of the Occupational Health and Safety Act, No. 85 of 1993, and all applicable regulations binding in terms thereof as well as the Employer’s Safety Health and Environmental Specification: 240-149136837 whilst making use of plant, materials and equipment and whilst at the Site for any reason whatsoever.

The Contractor implements a comprehensive health and safety management system, based on the OHSAS 18001 requirements for utilisation at the project.

The Contractor appoints a person, qualified and competent in accordance with the safety health and environmental requirements, as the liaison with the Employer’s Project Safety, Health and Environment Manager/Officer or delegated person for all such matters as pertaining related to safety, health and environment. The Contractor ensures that such a person is contactable 24 hours a day and is registered with a registered professional council approved by the Principal Director of the Department of Labour, as per the requirements of the latest Construction Regulations, inclusive of all exemptions and amendments pertaining thereto.

The Contractor hereby indemnifies the Employer and holds the Employer harmless in respect of any and all loss, costs, claims, demands, liabilities, damage, penalties or expenses that may be made against the Employer and/or suffered or incurred by the Employer (as the case may be) as a result of, any failure of the Contractor, its employees, agents, Subcontractors and mandatories to comply with their obligations, and/or the failure of the Employer to procure the compliance by the Contractor, its employees, agents, Subcontractors and/or mandatories with their responsibilities and/or obligations in terms of or arising from the Occupational Health and Safety Act, No. 85 of 1993.

The Contractor acknowledges that he is fully aware of the requirements of all requirements and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer’s Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

- Supply the Employer’s Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

- Supply the Employer’s Safety Officer with copies of all appointments in respect of Employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

- Do safety audits at the Contractor's premises, its workplaces and on its Employees.

- Refuse any Employees, sub-Contractor or agent of the Contractor access to its premises if such person are found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

- Issue the Contractor with a work stop order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

Mandatory Agreements

The Contractor confirms that:

- In terms of sections 37(1) and 37(2) of the OHSA, the Employer is relieved of any and all of its responsibilities and liabilities pertaining to the activities performed by the Contractor (and its employees, agents, Subcontractors and mandatories) relating to the works; the use of plant, materials and equipment; and whilst at the Site for whatsoever reason.

- The Contractor confirms that, in terms of the Construction Regulations, Regulation 6, it is hereby mandated as the designer and must perform all duties required of a designer. (This will be applicable only where the Contractor is required to do design work as part of their Scope).

The Contractor confirms that he has been provided with sufficient information regarding the health and safety arrangements applicable to the works, the use of Plant, Materials and Equipment, as well as at the Site.

In addition, the Contractor ensures that:

- Prior to the Contractor commencing with any operations/ activities relating to the works and/or prior to gaining access to the Site, the Contractor concludes a written mandatory agreement with the Employer in terms of Section 37(2) of the OHSA and 5(1)(k) under the construction regulations. The agreement constitutes a record of the written arrangements and procedures between the Contractor and Employer regarding health and safety.

- As far as is reasonably practicable, the safety and absence of risks to health in connection with the production, processing, use, handling, storage or transport of articles or substances is maintained;

- As far as is reasonably practicable, all hazards pertaining to the health and safety of persons and harm to the environment that are attached to any work which is performed, any article or substance which is produced, processed, used, handled, stored or transported and any plant or machinery which is used in its business, is clearly identified and, as far as is reasonably practicable, further establishes what precautionary measures should be taken with respect to such work, article, substance, plant or machinery in order to protect the health and safety of persons and or harm to the environment, and provides the necessary means to apply such precautionary measures;

- Such information, instructions, training and supervision as may be necessary to ensure, as far as is reasonably practicable, the health and safety at work of its employees, agents, Subcontractors and mandatories is provided.

- As far as is reasonably practicable, no employee, agent, Subcontractor and transports any article or substance or operates any plant or machinery, unless the precautionary measures contemplated in section 2.3.3 below, or any other precautionary measures which may be prescribed have been taken;

- Such measures as may be necessary in the interest of health & safety, and the environment are enforced.

- Work is performed and that plant, materials or equipment is used under the direct supervision of a person trained to understand the hazards associated with it and who has the authority to ensure that precautionary measures required by the Employer are implemented; and

- All employees are informed of the scope of their authority as contemplated in OHSA.

Health and Safety Obligations

In addition to the mandatory agreements, the Contractor:

- Ensures that all statutory appointments (as required in terms of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations binding in terms thereof, as amended) and other appointments required in terms of the Employer’s Safety Health and Environmental Specification – 240-149136837 and SHE Requirements Procedure (32-726) are in place and that all appointees are cognisant of their duties and responsibilities in terms of such appointments;

- Ensures that such appointees execute their duties and responsibilities as required by such an appointment.

- Ensures that all personnel brought by itself onto site (including employees of Contractors and Subcontractors) are suitably qualified and trained for the performance of the task, duties and functions, which are allocated to them;

- Immediately reports any occupational or other injuries, near miss events, property damage, environmental related incidents as well as any potential threat to the health and safety of individuals at the works or on the site, as soon as he becomes aware thereof, to the Project Manager; Complies with the Employer’s Occupational Health and Safety Incident Management Procedure – 32-95 and Environmental Incident Management Procedure – 240-133087117 relating to the reporting and investigation of incidents. The classification of incidents contained in such document are considered final and are applied by the Contractor relating to any incidents/ injuries relating to its employees, agents, Contractors, Subcontractors and mandatories whilst on Site;

- Conducts a risk assessment regarding the utilisation of PPE and thereafter ensure that PPE of good quality is issued (at its own cost) to its employees, agents, Contractors, Subcontractors and mandatories prior to such individuals accessing the site, alternatively performing activities related to the works at the site, as specified in the Eskom PPE Specification - 240-44175132.

Eskom Life Saving Rules (240-62196227)

Rule 1: OPEN, ISOLATE, TEST, EARTH, BOND, AND/OR INSULATE BEFORE TOUCH

With the aim to ensure a safe electrical work environment, no person may work/operate on, around or near any electrical network, line or apparatus, electrically connected to the power system and/or electrically charged and/or not electrically charged unless:

- He/she is trained and authorised as competent for the task to be done.

- There is a valid permit to work where required and they are being supervised by a competent person.

- A pre-task risk assessment to identify all risks and hazards has been conducted before any work commences.

- He/she follows the requirements on OPEN, ISOLATE, TEST, EARTH, AND CREATE AN EQUIPOTENTIAL ZONE BEFORE TOUCH, based on applicable/related standards, procedures and outcome of risk assessment fit for the type of work or task to be performed.

- The work area shall be within the equipotential zone, with the working earth visible at all times.

- The authorised person has physically shown all team members that the apparatus is safe to work on;

- He/she makes the specific electrical environment safe before performing the work; and

- All the appropriate PPE (including face shield and insulated gloves for 1low voltage work) are worn.

Note: The equipotential zone is only applicable for work being done on medium and high voltage apparatus.

Rule 2: HOOK UP AT HEIGHTS

Working at height is a significant part of work in Eskom Holdings and is regarded as a high-risk activity, and as a result all precautions must be taken to prevent incidents while working at height. Wherever reasonably practicable, preference must be given to the performance of work at ground level as opposed to work in an elevated position. Where work in an elevated position is necessary, the requirements in this document shall apply.

No person may work at height where there is a risk of falling unless:

- A Fall Protection Plan has been developed by a trained fall protection plan developer and communicated to all employees working at height based on the scope of work/task.

- He/she is medically fit to work at height.

- He/she is trained in accordance with Eskom’s requirements for working at height

- A pre-task-specific work at height risk assessment to identify all risks and hazards has been conducted and communicated to all participants before commencing any work of this nature.

- He/she appropriately conducts work as determined by the risk assessment.

- He/she is appropriately secured during ascending and descending where applicable; and

- He/she is using an Eskom-approved fall arrest system where applicable.

Rule 3: BUCKLE UP

Where required, the proper wearing of seat belts for any driver, operator and passenger is mandatory in all vehicles/equipment when driving and/or travelling for Eskom business purposes. The driver is obligated to ensure that he/she as well as all passengers are properly seated and wearing their seatbelts at all times while being transported in the vehicle, as per Eskom specifications.

Note: This rule is applicable on any road or parking lot, irrespective of the speed, and when the vehicle moves in a forward or backward direction.

Rule 4: BE SOBER

No person who is under the influence or who appears to be under the influence of intoxicating liquor or drugs will be permitted to enter or remain on an Eskom site or conduct Eskom business or drive/operate a vehicle/equipment for Eskom business purposes.

This includes any level of alcohol or the presence of any drugs, controlled substances, and/or illegal substances in the body that impairs or could impair mental and physical functioning, irrespective of when the substance was used.

Rule 5: ENSURE THAT YOU HAVE A PERMIT TO WORK

Where an authorisation limitation exists, no person shall work without the required Permit to Work (PTW), which is governed by for example the:

  - Plant Safety Regulations; or

  - Operating Regulations for High Voltage Systems (ORHVS) (handover or permit); or

  - Low Voltage Operating Regulations; or

  - Any other activity where a permit is required, for example, driver and statutory permits.

No apparatus is to be returned to service without the cancellation of all permits on that plant in accordance with procedure, unless permission is granted for a particular plant to be returned to service with permits still open, like in the case of redundant systems.

NOTE: In the case of live work, a “Live Work Declaration Form” is to be completed by the authorised person, who is the person responsible for the safe execution of work according to relevant standards and procedures. Outline the key principles or rules to support the implementation of the standard statement.

RULE 6: ENSURE SAFE LIVE WORKING

To ensure safe live work, each live worker shall:

- Ensure all live work basic principles are adhered to, as outlined (for the method being used) in the High Voltage Live Working Standard for the respective division.

- Observe and maintain the minimum approach distance (MAD).

- Only perform live work (never mix live and dead work on the same site at the same time – Refer to ORHVS Section 7 and 5 handouts respectively).

NOTE: In the case of live work, a “live work declaration form” is to be completed by the authorised person, who is the person responsible for the safe execution of work according to relevant standards and procedures. Outline the key principles or rules to support the implementation of the standard statement.

Consequences of Violating a Life-Saving Rule

In terms of general health and safety in Eskom, if any of the Life-Saving Rules are violated, it will be treated as serious misconduct, and result in a disciplinary process in accordance with the Eskom Disciplinary Code and Procedure.

It must be highlighted that Eskom takes a ZERO TOLERANCE stance to violation of these rules.

Depending on the circumstances, Eskom reserves the right, where a contractors’ manager/supervisor allows the violation of a Life-Saving Rule, to suspend the Contractor’s activities while determining an appropriate sanction.

Where a Contractor employee allegedly violates a Life-Saving Rule, the Contractor shall immediately remove the employee from the site and initiate the disciplinary process. The Contractor shall investigate any violation of a Life-Saving Rule and initiate the disciplinary process within five (5) working days of the violation. The Contractor shall furnish Eskom with a copy of the sanction after the disciplinary process

Matimba Permit to Work System

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she always comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, are trained and on successful completion of Matimba’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

- The conditions of permits and cautionary notices are strictly adhered to

- The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

- The safe work procedures as laid down by Matimba Power Station and as determined by the Risk Assessment, shall be followed

- The workers register and cautionary notices are discussed daily with workers

Health and Safety Plan (Construction Regulations)

The following will be required after contract reward:

The Contractor shall compile a Health and Safety Plan, filed in a Health and Safety File, comprising of the following:

- Proof of the contracting company’s own Health and Safety Policy

- Proof of appointments, assignments and designations as required in terms of the Occupational Health and Safety Act, No 85 of 1993

- Proof of Risk Assessments regarding Hazards identified and proof of training of own employees regarding controls derived from the risk assessment

- Proof of Safe Work Procedures that derived out of the Risk Assessments

- Proof of the contracting company’s own Emergency Plan that will deal with their own emergencies on site

- Proof of a Fall Protection Plan, if required to perform work at elevated levels developed by a competent person appointed by the contracting company

- Proof of “Notification to perform Construction Work” – a copy of the notification addressed to the Department of Labour as required Regulation 3 of the Construction Regulations

- Proof of an Induction Program (it is advised that the Matimba SHE Rules as a Guide) and an attendance register signed by its employees prior the commencement of any construction work on site

- Proof of the contracting company’s employees Medical Fitness Certificate. (Must still be valid – one year. May only have been issued by an occupational health practitioner)

- Proof of Contractors weekly Health and Safety Rep Inspections regarding its own site and where detached work is performed

- Proof of Personal Protective Equipment (PPE) issued to Contractor’s employees

- Proof of contracting company’s Accident/Incident Reporting and Investigation System

- Proof of checklists and where applicable test certificates, regarding Contractor’s tools, equipment, machinery, mobile equipment, vessels under pressure and any other applicable checks required by the Act

- A “Section 37(2) Agreement with Mandatory” needs to be drawn up by the Employer and co-signed by the Contractor before work can commence

- The Contractor shall ensure that his Subcontractors do also have a Health and Safety File and that it must be accepted by the Contractor.

- The Safety Officer employed by Matimba Power Station will audit these Health and Safety Plans to ensure compliance with the provisions of the Act.

In terms of Clause 4 (b) of the Construction Regulations, the Employer points out the hazards or risks that is associated with the works, as indicated in Appendix B, to the Contractor. The hazards or risks it are however not limited to this list.

The Contractor shall comply with the health and safety requirements contained in SHE/OHS Specification and the approved safety file.

The 37-2 agreement to be signed by Contractor and Employer representatives

The SHE/OHS professional conducts internal audits at planned intervals to monitor compliance to the contractual health and safety requirements.

In addition to the requirements of the applicable laws governing the occupational health and safety, Matimba Power Station OHS requirements particular to the service and the Affected Property for this contract shall be adhered to for the duration of the contract.

The minimum requirements for the Contractor to gain access to Matimba Power Station include the but not limited to:

- Valid Medical fitness certificate

- Police clearance

- Identification document (RSA ID or equivalent)

- National Drivers Licence (applicable to drivers)

- Proof of Matimba Power Station Safety Induction

- Applicable risk-based PPE

- Valid letter of good standing always (COIDA)

- Adherence to the Eskom Life-saving rules 3 and 4, Be Sober and Buckle up

BUCKLE UP Rule 3:

No person may drive any vehicle on Eskom business and/or on Eskom premises:

Unless the driver and all passengers are wearing seat belts

BE SOBER Rule 4:

No person is allowed to be under the influence of intoxicating liquor or drugs while on duty

## 2.4 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in Annexure ________

The Contractor shall adhere to all requirements as set out in 240-146112716: Environmental management

requirements for Contractors.

The Contractor provides an Environmental Management Plan applicable during the execution of the Works. The plan provides a guideline on the environmental management of the handling of the works. All waste is handled in an environmentally friendly manner. The Contractor conforms to the “polluter pays principle”, duty of care and other NEMA principles.

The Contractor conforms to all requirements dictated in the document as well as the National Environmental Management Act (NEMA, Act No. 107 of 1998) and the National Environmental Management Waste Act (NEMWA, Act No. 59 of 2008). This is achieved by undertaking inspections, audits, monitoring and reviews, conducted internally by the Contractor and externally by the Project Manager.

The Contractor ensures that all environmental authorization obligations, applicable legislative requirements and Employer’s specific requirements are fulfilled. This includes all national, provincial and local environmental legislation and requirements.

The Contractor issues monthly, Environmental Management Performance and Expenditure Reports to the Project Manager.

The Contractor conducts their environmental management based on the ISO 14001 requirements and implement their environmental management practices accordingly.

Contractor must submit and get approval for:

- A Method Statement

- Environmental policy committing to environmental compliance and duty of care or pollution prevention commitments.

- Asbestos Risk Assessment

- Environmental Aspect and Impact register

- Appointment of Environmental Officer

- Environmental Management Plan

- A list of hazardous chemical substances to be utilised on site accompanied by Safety Data Sheet (SDS)

- Proof of asbestos training/competency for workers who will handle or remove ACMs.

- A Waste Management Plan showing how asbestos, general and hazardous/chemical waste will be handled.

- An Emergency Preparedness and Response Plan (EPRP) covering hydrogen leaks, KOH spills, and asbestos exposure.

All environmental procedures, as listed above, are site-specific and submitted to the Employer for acceptance by the Project Manager before the commencement of construction activities. The Employer provides a copy of the environmental authorisation and Environmental Management Plan to the Contractor for the drafting of the above procedures.

Waste Management

All waste management activities, which includes procurement of control measures, handling and disposal or processing of all waste forms generated on the Contractor’s site, are conducted according to Matimba Power Station Waste Management Procedure – PS/244/001, and all requirements of the Employer as per the Environmental Management Programme. The Contractor must implement proper waste segregation at source, with clearly labelled containers for general, recyclable and hazardous waste. No on-site burning, burying, or uncontrolled disposal of waste is permitted. All costs associated with waste management are the responsibility of the Contractor. Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

Rehabilitation

The Contractor rehabilitates both its lay-down and construction site including all disturbed areas under their jurisdiction and or as directed by Supervisor at the end of the project. The Contractor submits to the Project Manager a rehabilitation plan and schedule at least 2 weeks before finalisation of the works for acceptance by the Project Manager. All rehabilitation costs are the responsibility of the Contractor.

Hazardous Waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Hazardous waste which includes amongst others, chemical containers, oily rags, contaminated soil, and asbestos, must be stored in bunded, secure areas. No hazardous waste may be stored for a period of more than 90 days on the Matimba premises. Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate is submitted to the Project Manager/Matimba Environmental Officer.

Water Management

The Contractor must implement measures to prevent water pollution, including protecting stormwater drains, preventing contamination of natural watercourses, and ensuring that no hydrocarbons, chemicals, electrolyte solutions, or wastewater enter the environment. Drip trays must be used under all stationary equipment, and spill kits must be readily available. Washing, rinsing, or disposal of liquid waste must only occur at designated, approved facilities. All process-related water including water from cleaning, flushing or testing must be collected, contained, and disposed of in line with Matimba’s Water Management Procedures and legal requirements. Any spills must be reported and managed in accordance with the Environmental Incident Management Procedure.

Air Quality Management

The Contractor must implement controls to minimise dust, emissions and fugitive releases during construction, installation, and demolition activities. Dust suppression practices such as water spraying, temporary coverings, or wind-break barriers must be applied in exposed or disturbed areas. Equipment and vehicles must be well maintained to prevent excessive exhaust emissions. Any work generating fumes, smoke or gases (e.g., welding, cutting, or handling chemicals) must be conducted with appropriate ventilation systems. During decommissioning of the old hydrogen plant particularly where asbestos components exist, air quality monitoring must be conducted, and only approved asbestos handling procedures and licensed Contractors may be used.

Biodiversity Management

The Contractor must ensure that construction activities do not negatively impact local flora, fauna or habitats within and around the Matimba Power Station area. Sensitive areas including protected species, nesting sites, trees or natural vegetation must be identified and avoided. No vegetation clearing may occur without approval from the Matimba Environmental Officer. Should fauna be encountered (e.g., reptiles, small mammals or birds), work must stop and the Matimba Environmental Officer must be notified for safe relocation by trained personnel. The Contractor must prevent soil erosion and disturbance to natural surfaces through proper stabilisation, erosion control and rehabilitation measures. All work must comply with NEMBA regarding the protection of indigenous and protected species, and no hunting, killing, trapping or collection of animals or plants is permitted. Rehabilitation of disturbed areas must be completed at the end of the project.

Housekeeping Requirement

The Contractor must always maintain a clean and orderly site. Materials must be stored safely in designated areas, and walkways must remain free of obstructions. Work areas must be cleared of waste, scrap materials, and debris daily. Tools, equipment, and chemicals must be stored neatly and securely when not in use. Any potential pollution sources such as chemical storage, fuel areas, or waste zones must be clearly demarcated, weather-protected, and inspected regularly. Good housekeeping forms part of the environmental compliance audits conducted by Matimba SHEQ Department.

Environmental Management

Matimba has an Environmental Policy, PP/240/001, to which the Contractor and his employees must adhere. It is the responsibility of the Contractor to ensure that he obtains copies of the Matimba Environmental Policy, the legal register applicable to his area of responsibility, the aspect register and the Matimba procedures (applicable to the Contractor’s area of responsibility) and to familiarize themselves on such procedures, within 30 days from the date of commencement of work at Matimba, to assist the Contractor and his/her employees to prevent pollution and to comply with legislative requirements. Copies of the above-mentioned documents shall be obtained from the Project Manager or Environmental Officer on the first day prior to commencement of work at Matimba. The Contractor shall submit proof to the Environmental Officer of Matimba that he and his employees has done all the necessary training on procedures and Policies supplied to them and that they do understand the contents of the procedures, registers and policies and will always adhere to them.

## 2.5 Quality assurance requirements

The Contractor shall implement and maintain a quality management system that as a minimum meets the requirements of 240-105658000 - Supplier Quality Management: Specification. If the Contractor is registered, the appropriate ISO 9001:2015 Registration certificate of compliance must be supplied with the tender.

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Works Information.

The Contractor notifies the Project Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub-contracts.

    - Quality Documents Submitted with the Tender

The Contractor submits a copy of his quality policy and quality system procedures relevant to the Works. The Contractor also submits a typical quality control plan.

The Project Manager and Quality Engineer evaluate the Contractor’s capabilities with regards to quality assurance and quality control based on these submissions and the performance history of the Contractor. The Project Manager and Quality Engineer perform pre-award assessments where necessary, giving further information to aid the selection process

    - Quality Documents Submitted after the Contract Date

Contractor submits a fully detailed Quality Assurance Programme (QAP) for acceptance by the Project Manager within four weeks of the Contract Date.

The documents submitted by the Contractor shall include the following:

- Data Book index

- Copy of the Quality Manual

- Copy of the Quality System Procedure

- Copy of the Contract Quality Plan

- Copy of Quality Control Plans

- Copy of the proposed index of the QA/QC, inspection and test records

The Contractor will further submit the following documents during the contract:

- Non-conformance reports (NCR’s) raised by the Contractor

- Notification of any planned changes to the Contractor’s quality manual, quality system procedures, contract quality management plan or quality plan for acceptance by the Project Manager prior to implementation

- Concession/production permit applications and supporting documentation

- Data books and/or data packages

    - Contract Quality Management Plan Requirement

The Contractor prepares a contract quality plan using template for a Contract Quality Plan (240-43921804):

- Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

- Establishes communication channels between the Contractor and the Project Manager in respect of quality and the integration of such with prescribed contract communication channels

- Indicates how specific subcontractors will be monitored

- Identifies items or activities for which quality control plans will be prepared

- Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

- Identifies the areas or processes requiring special controls

- Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

- Identifies the documents which are to be submitted to the Project Manager

- Identifies the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Project Manager but will not be greater than one year.

## 2.6 Programming constraints

### General

The Contractor submits a single integrated Level 3 programme that incorporates all the work to be performed including that of his subcontractor’s. The interfaces between subcontractors as well as the interfaces between subcontractors and the Contractor are clearly identified. Project key dates are incorporated into the programme.

    - Computerised Planning

Microsoft Projects is the only planning tool which the Employer accepts for this project; therefore, the plan submitted to the Employer must be converted or submitted in this format. The Project Manager does not intend duplicating the Contractor’s planning and scheduling; however, the Accepted Programme is used in the Employer’s internal integrated and Master project programmes for project control purposes, updating and monitoring. The Project Manager requires one project programme to be used and updated during the execution of the Works. This ensures that any changes, deviations to the programme can be carried out on the agreed programme and monitored. The initial programme supplied to the Employer after Contract award is fully resource loaded.

Any changes that are required to be made to the Project/Programme i.e. scope changes, delays and the like, are recorded through the Employer’s change process and documentation, where all parties agree to the changes and sign.

The Contractor and Project Manager agree on the format of how the updates are done, and the frequency of the updates i.e., such as on a weekly basis, or at any other time as required by the Contractor, or as instructed by the Project Manager.

Planning and Scheduling Levels

All planning and scheduling are done based on the Critical Path Method (CPM). The Contractor uses activity codes to define interfaces to be agreed upon between Project Manager and Contractor. The Contractor’s programme shows the actual critical path clearly.

The schedule layout considers the accepted WBS, reflecting the manner the works are to be performed as per the Contractor’s Method Statement and how activities are to be summarised, reported and monitored.

The programme includes:

- Major milestones, interface dates, access dates and key dates (for the new plant, existing plant and between subcontractors).

- The duration of major activities and their relationship to one another.

- Identified long-lead material items.

- Responsibility assignments for accomplishing project objectives end product is a time scaled bar-chart programme developed using logic network.

This programme is separated by unit, by plant area, by phase, by WBS. The work within each plant area is broken down by engineering discipline, procurement, delivery, construction by the Contractor, start-up and commissioning. The programme is resource-loaded, and it forms the basis for progress measurement, progress curves and histograms for each discipline within a plant area. This is used for Evaluations and for the accepted programme after contract award. This is saved and used as the original.

The Contractor’s Forecasted Rate of Invoicing (FRI) also aligns with the resource loading on the programme.

    - Planning Programmes

The Contractor develops a contract programme which includes a bar chart conforming to the project master programme dates included and sufficient detail to indicate the Contractor’s intention for executing the works. This programme covers major items relating to design, procurement, manufacture, delivery, erection, start-up and commissioning. The critical path is clearly shown.

Key milestones, access dates, interface dates and commissioning key dates are clearly identified in the contract programme, including access dates and release of terminal points that involve the Employer or Others.

The programme makes provision for site related preparation such as site establishment, safety induction and medical clearance of the entire Contractor’s staff that will be working on site.

## 2.7 Contractor’s management, supervision and key people

All designs must be signed off by an ECSA registered Professional Engineer; registered in the applicable discipline.

All personnel must be qualified in the position they will be occupying. All welders will be tested by a qualified welder from Matimba Power Station before commencing with the works.

An organogram needs to be submitted before commencing with the works indicating the key personnel as well as up to date certification for the position being filled.

If key personnel are changed in the organogram the Contractor must notify the Project Manager in writing of the changes. Contractor must submit the updated organogram and all associated certified documents as required in section 2.3, within 7 days of the Contractors’ change.

Contractors’ Qualification and experience

For the installation, testing, jointing and termination of LV cables, a formally qualified Electric Cable Jointer is a requirement. An Electric Cable Jointer plans, prepares, installs, joints, and terminates low voltage (LV) (1000V) cables under dead (at zero potential) conditions. The candidate must be trained and qualify for SAQA Level 4.

A qualified Electric Cable Jointer must be able to:

- Plan and prepare for low voltage cable jointing equipment and operations and plan and conduct on-site preparation by setting up equipment for jointing procedures.

- Install, test, joint and terminate low voltage cables (dead) complying with statutory requirements and manufacturer specifications.

The Contractor must have successfully completed five projects in cable jointing and termination in the last 5 years. The summary of track record should indicate the following:

- Number of years’ experience in the cabling associated projects.

- Summary of the nature of project and scope associated with cabling works (Design, installation, testing, jointing and termination).

- Indicate the types of cables that have been jointed.

A qualified Installation Electrician registered with the Department of Employment and Labour is require for the installation of lighting.

The Contractor must have successfully completed five projects in lighting installation in the last 5 years. The summary of track record should indicate the following number of years’ experience in the projects associated with lighting.

## 2.8 Invoicing and payment

There are no additional requirements to the invoicing and payment clauses in Section 5 of the core clauses.

At each assessment interval, the Contractor submits to the Project Manager a forecast rate of invoicing that includes all the expected payments by the Employer to the Contractor on a month-by-month basis.

The Contractor addresses the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- The registered name of the Contractor

- The VAT registration number of the Contractor

- The address of the Contractor

- The Employer’s contract number

- The VAT registration number of the Employer

- The value of the invoice split into payments as per the activity schedule as indicated in the Price Lists.

- Any retention monies to be deducted from the invoice

- Any interest payable

- Escalation formula used where applicable

All invoices in PDF format are emailed straight from your system to an Eskom email address.

- Email addresses for invoice submission: Invoiceseskomlocal@eskom.co.za. The Project Manager is copied when submitting invoices.

- All queries and follow up on invoice payments are made by contacting the FSS Contact Centre: 
Tel: 011 800 5060 or e-mail: fss@eskom.co.za

- For Foreign invoices, the Contractor is required to physically deliver hard copies of original documents to the Project Manager even though the Contractor has e-mailed those invoices.

- The Contractor ensures compliance with the tax Requirement for submitting invoices electronically.

- If there is Cost Price Adjustment (CPA) on your invoice, the Employer recommends that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving CPA issues.

- The base invoice number needs to be mentioned on the CPA invoice.

- Electronic invoicing does not guarantee payment but ensures visibility of all invoices and ensures that no invoices get lost. If the Goods Receipt (GR) is not done the invoice is parked and the system automatically sends an e-mail to the Project Manager to do the goods receipt. This is also tracked by the Employer through the parked invoice report.

The Contractor can request a parked invoice report from the Finance Shared Services (FSS) Contact Centre which can then be followed up and corrected. The Contractor is allowed to forward the details of invoices corrected to the FSS Contact Centre

## 2.9 Insurance provided by the Employer

As stated in the Employer`s Conditions of Contract all Risk Insurance Policy is available on request from Eskom Group Insurance, to be dealt with in accordance with ECC3 Core Clause 87.1, 87.2 and 87.3 and additional requirements are also stipulated in the Z Clauses.

The insurance policies and procedures will form part of the Contract Data and any reference to this will be contained in the Contract Data.

## 2.10 Contract change management

The Contractor or the Project Manager notifies each other of any event which may lead to a change in agreed terms of this contract. Changes are be dealt with in accordance with the conditions set out in the Contract Data and NEC3 ECC.

All project changes, impacting Scope, Cost and Time, follow the internal Governance committee processes (Technical, Investment & Commercial) for approval and is the responsibility of the Project Manager

## 2.11 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

## 2.12 Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor

The Contractor submits the following for compensation event assessment:

- Quotation indicating Current market rate if not included in the short schedule of cost components

- Labour time sheets

- Early warning to the Project Manager

- Project Manager‘s Instruction

- Percentage fee applied

- Cost Price Adjustment (CPA) Calculation where short schedule of cost components rates was utilised

- Signed Record of Decisions (ROD) or design change request form for Project Management design changes

- Revised program where key date and completion date is affected

- Revised program if Contractor is instructed to accelerate by the Project Manager

- Invoice from supplier and service providers

## 2.13 Training workshops and technology transfer

No training required on the equipment and systems included as part of the Works to the various categories.

    - Operating, Maintenance and Engineering Manuals

The Contractor provides Operating, Maintenance and Engineering Manuals.

The quantity of manuals to be supplied is as follows:

| · | Synopsis (Manual) | - | 1 copy |
| --- | --- | --- | --- |
| · | First Draft | - | 1 copy |
| · Final Draft/Pre Print Proof |  | - | 1 copy |
| · | Final Manual | - | 3 copies |

All documentation is also to be handed over in an electronic format for easy reference.

# 3 Engineering and the Contractor’s design

## Eskom Generation (Gx) has initiated a project to replace its Internal Combustion Engine (ICE) fleet of

## vehicles with Electric Vehicles (EVs). The project objective is to achieve a more sustainable and

## environmentally friendly transportation system by reducing Eskom’s vehicles CO2 emissions contribution

## without compromising the respective vehicle requirements. This is planned to be achieved by transitioning

## from ICE vehicles to EVs and installing charging infrastructure at Gx Power Stations to support the

## transition.

## EVs are still developing in terms of availability, performance, and infrastructure in South Africa. A pilot

## project is required to evaluate EV performance under local conditions, assess operational impacts and

## align with Eskom’s emission reduction targets before rollout across the business.

## Matimba Power Station is one of the sites chosen for the pilot phase of the project and required to provide

## a connection point for a charger and identification of parking bays for the charging station.

## Gx Engineering has produced the ROC, SRD, EMAP and Site Scope of Work documents for the whole

## EV project that is informative and useful for the development of the site-specific documents. Matimba

## Power Station has developed site-specific ROC, SRD, and Concept Design Report. This document does

## not constitute a basic detailed design but rather highlights the key design elements of the connection point

## and parking bays.

The following section’s numbering is from the Technical Specification: The identification of the connection point and parking bays for the EV project pilot phase at Matimba Power Station Technical Specification (SP/174/003) not the NEC ECC Contract numbering.

## 2. SUPPORTING CLAUSES

## 2.1 SCOPE

## The document covers the construction EV charging infrastructure and installation of power supply to the

## EV charger.

## 2.1.1 Purpose

## The purpose of the Technical Specification is to specify the necessary criteria or technical requirements

## for the works or work activities of a project or any other undertaking that is to be carried out by a Contractor.

## 2.1.2 Applicability

## This document shall apply to Matimba Power Station.

## 2.2 NORMATIVE/INFORMATIVE REFERENCES

## Parties using this document shall apply the most recent edition of the documents listed in the following

## paragraphs.

## 2.2.1 Normative

## [1] ISO 9001 Quality Management Systems.

## [2] Occupational Health and Safety Act (Act 85 of 1993)

## [3] 240-56227443 Requirements for Control and Power Cables for Power Stations

## [4] 240-56355815 Field Instrument Installation Standard - Junction Boxes and Cable Termination

## [5] 240-56355754 Field Instrument Installation

## [6] 240-93576498 KKS Coding Standard

## [7] 240-86973501 Engineering Drawing Standard – Common Requirements

## [8] 240-76992014 Technical Document and Record Management Work Instruction

## [9] 240-56356396 Earthing and Lighting Protection Standard

## [10] 240-531136385 Design Review Procedure

## [11] 240-56227516 LV Switchgear and Control Gear Assemblies and Associated Equipment for

## Voltage up to and including 1000 AC and 1500V DC Standard

## [12] 240-77301384 Electrical LV Load Schedule Template

## [13] 240-56176097 Electrical Cable Schedule template

## [14] 240-56364545 Structural Design and Engineering Standard

## [15] SANS 10400-A The application of National Building Regulations-Part A: General principles and

## requirements

## [16] SANS 10400-L The application of National Building Regulations-Part L: Roofs

## [17] SANS 10160-Part 1 - Part 8

2.2.2 Informative

## [18] 240-53113685 Design Review Procedure

## [19] 240-43898151 Perform Verification and Validation

## [20] 240-53114002 Engineering Change Management Procedure

## [21] 32-421 - Eskom Life Saving Rules

## [22] 240-82410629 Environmental Management Strategy

2.3 DEFINITIONS

Electric Vehicles: An electric vehicle is a vehicle that uses electricity as a source of power and electric

motors for moving. Electric vehicles cover a wide range of vehicles that used on the road, rail, water, air

and space mediums. This project will focus on Battery Electric and Hybrids vehicles, prioritising the former.

Charging Infrastructure: An electric vehicle charging infrastructure is a system of charging stations or

facilities to recharge electric vehicles. There are fast chargers (expensive Leve 3 DC type chargers) used

at public and office locations and slow chargers (cheaper Level 2 AC type chargers) used in public and

residential areas.

2.3.1 Disclosure Classification

Controlled disclosure: controlled disclosure to external parties (either enforced by law, or discretionary).

2.4 ABBREVIATIONS

| Abbreviation | Description |
| --- | --- |
| AASHTO | American Association of State Highway and Transport Officials |
| AC | Alternating Current |
| CO2 | Carbon Dioxide |
| ECSA | Engineering Council of South Africa |
| EV | Electric Vehicle |
| EMAP | Engineering Management Plan |
| GPR | Ground Penetrating Radar |
| Gx | Generation Business |
| ICE | Internal Combustion Engine |
| kA | Kiloamp |
| KKS | Kraftwerk-Kennzeichen System |
| LV | Low Voltage (≤1000V AC) |
| mA | Milliampere |
| MCCB | Moulded Case Circuit Breaker |
| MPa | Magapascal |
| OEM | Original Equipment Manufacture |
| OHSA | Occupational Health and Safety Act |
| KKS | Kraftwerk-Kennzeichen-System |
| kW | Kilowatt (1000 Watt) |
| ROC | Required Operational Capability |
| SRD | Stakeholder Requirements Definition |
| QA | Quality Assurance |

2.6 PROCESS FOR MONITORING

Not Applicable.

2.7 RELATED/SUPPORTING DOCUMENTS

## [23] RT/170/006 Required Operational Capability for Matimba Power Station Electric Vehicle Project

## [24] RT/170/007 Engineering Change Root Cause Analysis for Matimba Power Station Electric Vehicle

## Project Report

## [25] RT/174/004 Stakeholder Requirements Definition for Matimba Power Station Electric Vehicle Project

## [26] RT/174/003 Concept Design Report for the Identification of the Connection Point and Parking Bays

## for the EV Project Pilot Phase at Matimba Power Station

## 3.1 Employer’s design

This section provides the Employer’s Technical Specification is to specify the necessary criteria or technical requirements for the works or work activities of a project or any other undertaking that is to be carried out by a Contractor.

The document covers the requirements for design and construction EV charging infrastructure and installation of power supply to the EV charger.

A site location has been identified within Matimba Power Station at the administration block car ports, with a functional location code 10-00SAG00BX001 as seen in Figure 1 below.

Figure 1: Identified EV charging infrastructure

The EV parking bay will have 2 parking ports.

| DESCRIPTION | LENGTH (m) | WIDTH (m) |
| --- | --- | --- |
| EV1 | 5 | 3 |
| EV2 | 5 | 3 |
| EV Charger (located space) | 1.5 | 1.5 |

Each charging station will be connected to the Power Station Low Voltage network. The Power Station safety, operation and maintenance shall not be compromised by the installation of the chargers. Failure of any charger shall not lead to Unit load loss or Unit trip or Multiple Unit Trip.

## 3.2 Parts of the works which the Contractor is to design

The Contractor is responsible for delivering a fully functional EV charging infrastructure system at Matimba Power Station, which includes design documentation, removal of existing infrastructure, construction of civil works, installation of electrical works, plant labelling, testing, commissioning, and handover. The works must comply to the following Employers scope works. If the Contractor has alternative solutions these must be submitted to the Project Manager for acceptance prior to implementation, without contractual delays.

3.1.2 Scope of Works

Electrical scope

• Refer to section 3.1.5.4.

Civil works scope

• Refer to section 3.1.5.3.

3.1.3 Design Requirements

All the Electrical Engineering design work is performed by the ECSA-registered Electrical Engineer

appointed by the Contractor as defined in accordance with the requirements of the Engineering Council of

South Africa.

All the Civil Engineering design work is performed by the ECSA-registered personnel (Technician,

Technologies or Engineer) appointed by the Contractor as defined in accordance with the requirements of

the Engineering Council of South Africa.

3.1.4 Manufacturing Requirements

Not Applicable.

3.1.5 Construction Requirements

Before any construction begins, both known and unknown underground services must be identified and

either protected or relocated to prevent damage during excavation and construction activities. This step is

critical to avoid service interruptions and ensure safety during the works.

This includes, but is not limited to, electrical cables, water pipelines, communication lines, and drainage

systems.

3.1.5.1 Survey and Site clearance

The Contractor shall:

• Utilise approved detection methods such as ground-penetrating radar (GPR) or cable locators to

accurately map service locations.

• Verify service positions against available as-built drawings and update records where

discrepancies are found.

• Implement protective measures for all identified services, including physical barriers or rerouting

where necessary to prevent accidental damage.

• Coordinate with relevant service owners for isolation or relocation of critical utilities prior to

excavation.

• Document all findings and protective actions in Service Identification Report, which shall form part

of the project handover documentation.

Failure to comply with these requirements may result in service disruption, safety hazards and

contractual penalties.

Earthworks

The Contractor shall perform all earthworks necessary to prepare the EV parking bay area in accordance

with project specifications. This includes:

• Clearing and Grubbing: Remove vegetation, debris, and unsuitable material from the designated

area.

• Ground Preparation: Rip and scarify to a depth of 150 mm and consolidate to a minimum of 90%

Modified AASHTO density.

• Compaction: Use suitable compaction equipment to achieve uniform density across the platform.

• Moisture Control: Maintain optimal moisture content during compaction to mitigate

shrinkage/settlement and ensure density compliance.

• Dust Control & Disposal: Apply dust suppression; dispose of spoil at approved locations.

Testing Protocols – Earthworks

• In-situ Density & Moisture: Perform nuclear density gauge tests at a minimum frequency of 1 test

per 50 m² per layer (or per each distinct work front/day, whichever yields more tests). Record wet

density, dry density, and moisture content; target ≥ 90% Modified AASHTO.

• Re-work & re-test: Any area failing density/moisture criteria shall be reconditioned (re-wet/re-work

or aerated), re-compacted, and re-tested until compliant.

• Test Records: Tabulate test locations (with grid references), dates, results, and corrective actions;

include in the QA Handover Pack.

Soil poisoning

• Apply weed killer and soil insecticides under floors and shallow furrows as per supplier

specifications to prevent vegetation and pests.

Testing/Verification – Soil Poisoning

• Application Certificates: Obtain and file the applicator’s Method Statement, product Data Sheets,

and Application Certificate indicating product, dosage, coverage rate, and date.

• Coverage Verification: Provide a site layout marked‑up by the applicator confirming treated extents;

include in QA Handover Pack.

3.1.5.2 Protection of existing manhole cover

• The Contractor shall identify the existing manhole located within or adjacent to the construction

area.

• Implement protective measures such as temporary barriers, steel plates, or high-visibility markings

to prevent mechanical damage during construction.

• Ensure access to the manhole is maintained throughout construction.

• No loads shall be placed on the manhole cover that exceed its design loading class.

3.1.5.3 Civil engineering and structural works

Detailed below is civil scope of work that the Contractor is required to perform and it is not limited to:

Installation of new parking shelter

The Contractor shall supply, fabricate, and install a new steel-framed parking shelter covering an area of

14m × 7m, positioned over the designated EV parking bays. This work follows directly after the removal

of existing roofing and kerbs described in Section 3.1.12.

Structural steel framework

• Supply and install hot-rolled or cold-formed steel beams, columns, and purlins suitable for

outdoor carport structures.

• Steel sizing, connections, and spacing must comply with relevant SANS structural standards and

Foundation for steel columns

• Excavate foundation pits for steel columns in accordance with the structural design.

• Cast concrete footings (minimum 25–30MPa unless otherwise specified).

• Install anchor bolts using approved templates to maintain correct spacing and vertical alignment.

Roof installation

• Supply and install corrugated iron roof sheets, matching or exceeding the profile and thickness of

sheets removed earlier.

• Roof area: 14m × 7m = 98m² (allowing for sheets overlap and trimming).

• Fix sheets to purlins using approved roofing fasteners with neoprene washers to prevent ingress.

• Install ridge capping, drip edges, and flashing to ensure weatherproofing.

Structural bracing & stability

• Provide wind bracing, horizontal ties, and moment connections as required by structural design.

• Ensure shelter design withstands local wind loads per SANS 10160.

Rainwater Management

• Install gutters and downpipes (if required by design) to divert water away from parking bays.

• Ensure that drainage aligns with the site drainage requirements outlined in Section 4.4.8.

Painting & finishes

• Apply corrosion‑resistant top‑coat paint where applicable (if not fully galvanised).

• Ensure colour and finish are consistent with existing structures at Matimba Power Station.

Safety & quality requirements

• All working at heights must comply with Eskom Safety Regulations and the OHS Act.

• Welders and structural steel installers must be certified.

Submit welding procedures, material test certificates, and erection method statements prior to works.

Cable Trenching

• Excavate a trench along the designated route from the switchgear panel to the EV charger location

to accommodate the new power cable.

• The trench depth and width must comply with Generation Requirements for Control and Power

Cables for Power Stations Standard, 240-56227443

• Provide a compacted sand bedding at the bottom of the trench to protect the cable.

• Lay the 120 mm², 4-core, PVC-insulated, PVC-bedded, steel wire armoured (SWA), PVC sheathed

600/1000 V cable, manufactured in accordance with SANS 1507-3, and install in compliance with

Eskom Standard 240-56227443.

• Install protective covers (e.g., concrete slabs or cable tiles) above the cable and backfill with

suitable material, ensuring proper compaction.

• Include warning tape above the protective layer to indicate the presence of electrical cables.

• Ensure the trench route maintains natural drainage and does not compromise structural integrity

of the parking bay.

Layer works

The Contractor shall construct the paving platform in accordance with Eskom standards and project

specifications. The process includes:

• Base preparation: Lay ±25–30 mm of concrete sand or river sand as a blinding layer to provide a

uniform bedding surface.

• Paver installation: Place 80 mm grey interlocking paving blocks in a herringbone pattern to ensure

structural stability.

• Joint filling: Fill joints with river sand to refusal, ensuring full penetration and locking of pavers.

• Edge restraints: Install edge restraints (kerbs or mortar) to prevent lateral movement of pavers.

• Alignment & levelling: Check alignment and level of pavers continuously during installation to

maintain design slope and drainage requirements.

• Surface tolerances: Ensure deviations do not exceed 10 mm under a 3 m straightedge; correct any

rocking or unevenness.

• Compaction of pavers: Perform vibratory compaction after joint filling to seat pavers firmly and

stabilize the surface.

• Drainage considerations: Maintain crossfall and slope as per design to prevent water ponding.

• Cleaning & finishing: Sweep excess sand from the surface and ensure the area is free of debris

before handover.

Testing Protocols – Layer works

• Thickness verification: Spot checks for blinding layer thickness at 1 per 50 m².

• Surface tolerances: Straightedge checks for levelness and slope compliance.

• Joint sand penetration: Random lift-and-check of pavers to confirm joint sand penetration.

• Compaction records: Document vibratory compaction passes and equipment used.

Finishes

The Contractor shall ensure that the final surface of the EV parking bay meets the required functional and

aesthetic standards. This includes:

• Joint filling: Apply River sand over the interlocked paving blocks and sweep into joints until refusal

to ensure full penetration and locking of pavers.

• Edge treatment: Use mortar or approved edge restraints at the perimeter to prevent lateral

movement and maintain structural integrity.

• Surface cleaning: Remove excess sand, debris, and construction waste from the paved area before

handover.

• Final compaction: Perform a final vibratory compaction pass after joint filling to stabilize the surface.

• Drainage compliance: Verify that the finished surface maintains the design slope and crossfall for

effective drainage.

• Visual inspection: Ensure uniformity of colour, alignment, and absence of defects such as rocking

pavers or open joints.

Testing/Verification – Finishes

• Straightedge Tolerance: Check surface evenness using a 3 m straightedge; deviations shall not

exceed 10 mm.

• Joint Sand Penetration: Random lift-and-check of pavers to confirm joint sand penetration and

absence of voids.

• Ride Quality: Confirm no rocking or lipping greater than 5 mm.

• Cleanliness: Document final cleaning and finishing in QA records.

Drainage

The Contractor shall ensure that the EV parking bay maintains proper drainage to prevent water

accumulation and structural deterioration. This includes:

• Preserve Natural Slopes: Maintain existing site gradients and crossfalls unless otherwise specified

in the design.

• Surface Profile Compliance: Ensure paving and plinth surfaces follow the design slope for effective

runoff.

• No Ponding: Verify that water does not accumulate within the parking bays or adjacent areas.

• Integration with Existing Systems: Confirm that drainage paths tie into existing stormwater systems

without obstruction.

• Protection During Construction: Implement temporary measures (e.g., berms or channels) to divert

water away from work areas during construction.

Testing/Verification – Drainage

• Level Checks: Perform spot level surveys at corners, midpoints, and centre of each bay to confirm

compliance with design slopes.

• Straightedge Tolerance: Use a 3 m straightedge to check surface evenness; deviations shall not

exceed 10 mm.

• Functional Test: Conduct a water test (hose or water cart) to observe flow paths and confirm no

ponding occurs within 15 minutes after wetting under calm conditions.

• Documentation: Record test results, corrective actions, and photographic evidence in the QA

Handover Pack

Concrete plinth

Location

• The plinth should be positioned at the identified EV parking bay within the administrative block

carports (functional location 10-0UZD01)

• Ensure alignment with the cable trench route from Substation South to the charger location.

Formwork

• Construct robust formwork to the required dimensions for the charger base.

• Ensure formwork is level and adequate supported to prevent deformation during concrete pouring.

Casting Concrete (35MPa)

• Use concrete with a compressive strength of 35MPa as per Eskom structural standards.

• Ensure proper mixing and placement techniques to avoid segregation and honeycombing.

Cube tests

• Prepare and cure concrete cubes according to SANS 5863 for compressive strength testing.

• Test cubes at 7 and 28 days to confirm compliance with the 35 MPa requirement.

Curing Process

• Maintain moisture and temperature control for at least 7 days using wet hessian, plastic sheeting,

or curing compounds.

• Prevent rapid drying to avoid shrinkage cracks and ensure strength development.

3.1.5.4 Electrical engineering works

The following provides a summary description of the EV Charger power supply infrastructure design

outputs and parameters used to carry out the power supply design and the final design outcome:

The combo charger system:

a. Model: BADC142-D.

b. AC input voltage: 380V – 415V, 3P + N + PE.

c. Rated input current: 240A.

d. Input frequency: 50Hz

e. Rated power: 142kW.

f. Protection level: IP55

g. Application place: Indoor/Outdoor

Detailed below is the electrical scope of work that the Contractor is required to perform and it is not limited

to:

• Supply and install a junction box for the EV charger at the EV charger parking area provided by

the employer. The junction box, shall be protected against corrosion, shall be IP 65 rated at

minimum and an IK rating that accommodates site conditions according to SANS 10142 – 1, The

wiring of premises: Low voltage installations standard. The junction box’s final finish shall be

orange. The junction box shall also be equipped with a mounting rail.

• Supply and install a 250A, 4-pole MCCB inside a junction box.

• Supply and install earthing on the junction box in accordance with Eskom Earthing and lightning

protection Standard, 240-56356396.

• Supply and install LED canopy luminaire, 150W, ≥120 lm/W, 4000 K, SANS/SABS approved, IP66

min, IK08 (IK10 preferred) including driver and mounting kit lighting, under the EV parking roof.

• Supply and install a 120 mm², 4-core, PVC insulated, PVC bedded, steel wire armoured (SWA),

PVC sheathed 600/1000 V cable from Substation South in accordance with Generation

Requirements for Control and Power Cables for Power Stations Standard, 240-56227443. The

termination will be done on the 01BHN05AA001 / 01BHN06AA001 panel, 380V Substation South

Board A.

• Excavate a trench along the designated route from the switchgear panel 01BHN05AA001 /

01BHN06AA001 at Substation South to the MCCB at the EV charger location to accommodate the

new power cable.

• Provide a compacted sand bedding at the bottom of the trench to protect the cable.

• Install protective covers (e.g., concrete slabs or cable tiles) above the cable and backfill with

suitable material, ensuring proper compaction.

• Supply and install a cable KKS.

• Terminate the installed power cable at both the switchgear and the junction box in accordance with

Generation Requirements for Control and Power Cables for Power Stations Standard, 240-

56227443.

• Perform a continuity test on the cable.

• Supply and install KKS labels on the 01BHN05AA001 / 01BHN06AA001 panel at Substation South,

the junction box and the power cable in accordance with KKS Coding Standard, 240-93576498.

• Update the red-lined drawings

➢ General arrangement drawing for 380V Substation South Board A and B: 0.58/13192 Rev 6

➢ Summary Sheet 380V Substation South Board A – 0.58/13192 Rev 4

➢ 380V Substation South Board A and B Switchgear Schedule – 0.58/56223 Rev 0

➢ 380V Substation South Board A Cable block diagram – 0.58/13639 Rev 6)

• Provide the CoCs, where needed.

• Provide all electrical drawings.

Junction box accessories

The junction box accessories to be supplied and installed are not limited to the following:

• 250A, 4-pole MCCB

• Type C MCB, 10 A (lighting circuit protection)

• Copper conductor, 3-core + earth, 2.5 mm² (T&E or 3-core SWA where required)

• 63A Earth Leakage

Qualification and experience

The Contractor must have the following:

• 5 years’ relevant experience in electrical installations of LV systems (switchgears, cables, earthing and

bonding systems) with National Diploma or N6 Certificate in electrical Engineering or equivalent

qualification, electrical trade test certificate

• 5 years’ relevant experience as an Installation Electrician with N3 qualification, as a minimum, and

registration with Department of Employment and Labour as an Installation Electrician.

The Contractor must also demonstrate the understanding of the scope by providing the method statement

for the Electrical works.

3.1.6 Temporary works, Site services & construction constraints related to:

Accommodation of traffic

The Contractor shall implement temporary traffic management measures to ensure safe and efficient

movement of vehicles and personnel during construction activities.

There measures shall include, but are not limited to:

• Temporary traffic control measures such as portable STOP and GO signs must be implemented to

maintain safe traffic flow during construction.

• Coordination with site security and operations teams to minimize disruption to normal traffic

patterns within the power station.

• Compliance with Eskom safety standards and applicable road traffic regulations for temporary

traffic control.

• Continuous monitoring and adjustment of traffic control measures based on site conditions and

construction progress.

Failure to comply with these requirements may result in service disruption, safety hazards and contractual

penalties.

Site services and facilities

The Employer provides the Contractor with ablution, water and electricity facilities for site establishment

preparation.

Facilities provided by the Contractor

• The Contractor shall provide all the necessary equipment for the site establishment for

him/her to commence with the construction works of the EV parking bay.

3.1.7 Commissioning Requirements

Use the Contractor’s commissioning checklist to document all steps, test results, and any defects.

Installation: Confirm secure mounting, correct wiring, and proper closure per the manufacturer's manual.

Safety Tests: Perform earthing/grounding, RCD (Residual Current Device) tests, insulation resistance

tests, and ground fault protection verification.

Power: Verify correct voltage, current, and supply phase.

Compliance: Ensure all work adheres to relevant international (IEC 61851-1) safety and performance

standards.

3.1.8 Testing Requirements

Visual Inspection: Check for cable damage, frayed wires, bent pins, and secure connections.

Insulation Resistance: Verify high resistance between live parts and earth.

Earth Loop Impedance: Check for low impedance to ensure fault currents clear quickly.

3.1.9 Operating Requirements

Operating requirements include:

• Operating manual

3.1.10 Maintenance Requirements

Maintenance requirements for the works includes:

• Spares list

• Maintenance tasks definition

• In service inspection and test requirements

• Maintenance periodicities and triggers

• Maintenance manual

3.1.11 Handover Requirements

The Contractor shall compile and submit a complete QA Handover Pack to the Employer upon completion

of the works. This pack shall include, but is not limited to:

• Inspection & Test Plans (ITPs): Approved ITPs for all civil works, electrical installations, and

associated activities.

Test Records:

• Earthworks: In-situ density and moisture test results, locations, and corrective actions.

• Layer works: Thickness checks, straightedge tolerance results, joint sand penetration verification.

• Cable Trenching: Bedding and backfill compaction results, trench depth verification, and

photographic evidence of protective layers and warning tape.

• Concrete Plinth: Cube test results (7-day and 28-day), slump test records, curing logs, and

dimensional checks.

Calibration Certificates:

• For all testing equipment (nuclear density gauge, slump cone, scales, etc.).

Material Compliance Documentation:

• Delivery notes and certificates for sand, pavers, concrete, and cable.

• Product data sheets and application certificates for soil poisoning chemicals.

• As-built drawings: Updated drawings showing trench routes, parking bay layout, drainage slopes,

and plinth dimensions.

Photographic Records:

• Before, during, and after construction stages.

• Key milestones such as cable protection installation, paving completion, and drainage verification.

Service Identification Report:

• Documenting all existing services detected and protection measures implemented.

Traffic Accommodation Records:

• Method statements and photographic evidence of temporary traffic control measures.

Safety Documentation:

• Safety Clearance Certificates, KKS labelling certificates, and environmental compliance records.

QA Completeness Review:

• Signed-off checklist confirming all quality requirements have been met.

Failure to provide a complete QA Handover Pack will result in delayed acceptance and may incur

contractual penalties.

3.1.12 Decommissioning Requirements

The Contractor shall remove existing infrastructure within the footprint of the proposed EV parking bay and

associated works. This includes, but is not limited to, the following:

3.1.12.1 Removal of existing interlocking paving blocks

• Carefully uplift and stockpile existing interlocking paving within the work area for disposal or reuse

as directed by the Engineer.

• Remove and dispose of all underlying bedding material unsuitable for reuse.

• Ensure the exposed surface is free from debris before earthworks commence.

3.1.12.2 Removal of existing corrugated iron zinc parking roof sheets.

• Dismantle existing corrugated iron roofing sheets, including ancillary components such as purlins,

fasteners and gutters where necessary.

• Conduct removal works in a controlled manner to avoid damage to adjacent structures, vehicles or

personnel.

• Transport dismantled materials to an approved disposal facility or reuse area as instructed.

3.1.12.3 Removal of existing concrete kerbs

• Transport dismantled materials to an approved disposal facility or reuse area as instructed.

• Remove kerb bedding/mortar and dispose of waste material in compliance with environmental

management protocols.

• Prepare edges for new kerb installation or edge restraints as per design.

3.2 GENERAL REQUIREMENTS

3.2.1 Health & Safety requirements

The Contractor shall adhere to the following Eskom procedures:

• 32-95 Environmental, Occupational Health and Safety Incident Management Procedure

• 240-62196227 Life- saving Rules.

• 32-1126 Eskom Smoking Policy

• 32-1134 Access Control at Eskom Premises

3.2.2 Quality requirements

The Contractor shall adhere to the ISO 9001 Quality Management Systems during installation,

commissioning and testing.

• Witness and hold points during the termination of power cable.

3.2.3 Environmental requirements

3.2.3.1 Cutting and removal of tree roots beneath the subbase

• Identify and expose tree roots encountered during earthworks or subbase preparation.

• Cut and remove roots using approved horticultural and construction methods to avoid regrowth or

structural damage.

• Backfill voids created by root removal with suitable compacted material to achieve required

subbase integrity.

3.2.4 Documentation requirements

• Signal lists, load lists, cable and equipment schedules,

• Plant Layout and General arrangement drawings.

• Commission documentation: System commissioning procedures, safety clearance documentation,

pre-commissioning inspection reports, etc.

• Testing documentation: All pre-commissioning tests, performance tests, acceptance testing and

non-destructive testing, reports.

• Design report.

• Operating manuals and procedures.

• Maintenance manuals and procedures.

• Updated switchgear, general arrangement and cable block diagrams in Appendix A.

• Handover Documentation.

3.2.5 Plant codification

• All plant, material, equipment, and documentation supplied will be codified as per the current plant

coding applied in existing system.

• KKS Coding and labelling of all Plant & Materials and documentation supplied is part of the Works

and is the responsibility of the Contractor and shall be done in accordance with KKS Coding

standard (240-93576498).

• The Employer shall supply the Contractor with the level 1 KKS codes. It is the responsibility of the

Contractor/Manufacturer to populate the level 2 and 3 components, before any KKS coding is to

be undertaken.

3.2.6 Plant labelling

• The Contractor shall manufacture and install labels according to the 240-71432150 Plant Labelling

Standard.

• Any abbreviations to plant descriptions shall be prepared in accordance with the Employer’s

abbreviation standard, 240-109607332.

3.2.7 Drawing requirements

• The creation and control of all Engineering Drawings shall be in accordance with the latest revision

of Engineering Drawing Standard 240-86973501.

• All required drawings shall be prepared in accordance with the requirements as specified in the

Engineering Drawing Office and Engineering Drawing Standard 240-86973501.

• A drawing register which records the drawing’s information shall be maintained by the Contractor.

3.2.8 Communication requirements

All communications will be done by email through the Project Manager, and a feedback meeting will be

held as per section 2 of the Contract.

## 3.3 Procedure for submission and acceptance of Contractor’s design

The Contractor’s drawings which are to be submitted to the Project Manager for acceptance, will undergo an internal review process by the Employers’ Engineering team refer to section 2.2 for the document management process and associated quality requirements in section 6 of the document.

All design change management must be performed in accordance with the latest revision of the Eskom Project Engineering Change Management Procedure (240-53114026) and the Employer must ensure that Contractor is provided with latest revisions of this procedure. Any uncertainty regarding this procedure should be clarified with the Employer. All design/drawing reviews will be conducted according to the Design Review Procedure (240-53113685).

### Documentation requirements

- Signal lists, load lists, cable and equipment schedules,

- Plant Layout and General arrangement drawings.

- Commission documentation: System commissioning procedures, safety clearance documentation, pre-commissioning inspection reports, etc.

- Testing documentation: All pre-commissioning tests, performance tests, acceptance testing and non-destructive testing, reports.

- Operating manuals and procedures.

- Maintenance manuals and procedures.

- Updated switchgear, general arrangement and cable block diagrams.

- Handover Documentation.

### Drawing requirements

- The creation and control of all Engineering Drawings shall be in accordance with the latest revision of Engineering Drawing Standard 240-86973501.

- All required drawings shall be prepared in accordance with the requirements as specified in the Engineering Drawing Office and Engineering Drawing Standard 240-86973501.

- A drawing register which records the drawing’s information shall be maintained by the Contractor.

## 3.4 Other requirements of the Contractor’s design

### Plant codification

- All plant, material, equipment, and documentation supplied will be codified as per the current plant coding applied in existing system.

- KKS Coding and labelling of all Plant & Materials and documentation supplied is part of the Works and is the responsibility of the Contractor and shall be done in accordance with KKS Coding standard (240-93576498).

- The Employer shall supply the Contractor with the level 1 KKS codes. It is the responsibility of the Contractor/Manufacturer to populate the level 2 and 3 components, before any KKS coding is to be undertaken.

### Plant labelling

- The Contractor shall manufacture and install labels according to the 240-71432150 Plant Labelling Standard.

- Any abbreviations to plant descriptions shall be prepared in accordance with the Employer’s abbreviation standard, 240-109607332.

## 3.5 Use of Contractor’s design

The designs from the Contractor will be used by the Contractor for executing all the civil and electrical works in line with the Employers’ technical specifications requirements listed below:

### Construction Requirements

Before any construction begins, both known and unknown underground services must be identified and either protected or relocated to prevent damage during excavation and construction activities. This step is critical to avoid service interruptions and ensure safety during the works.

This includes, but is not limited to, electrical cables, water pipelines, communication lines, and drainage systems.

## Design of Equipment

Not Applicable

## 3.7 Equipment required to be included in the works

The Contractor must note that the works will be at the remote area, mobile toilets and mobile storage tank for drinking water must be taken into consideration. All equipment for the works will be the responsibility of the contractor. For e.g., specialized rigging requirements, mobile generator for power supply, bush clearing, and welding.

## 3.8 As-built drawings, operating manuals and maintenance schedules

All documentation, including reports, manuals, etc. shall be in the English language.

- Manuals: The technical, training, operating and maintenance manuals are provided for each type of a functional unit.

- Technical manuals include all technical data as well as the technical data and leaflets of each individual component provided. Where generic manuals are provided, an addendum is provided indicating the applicable project specific components.

Documentations are of a good quality and cover the following as a minimum:

- Technical descriptions of the equipment and component parts

- General arrangement drawings

- Installation instructions with drawings or pictures

- Operating and maintenance instructions for all components

- Detailed parts lists (accompanied by exploded view type drawings clearly detailing the part and uniquely identifying it)

- The Contractor compiles Data Books progressively for all manufacturing and construction/erection inspections, operating manuals and test records and documents for every piece of plant required in producing the works. The Contractor submits data books to the Project Manager for their review for all Plant and Materials and work undertaken with the applicable requirements and specifications.

- General Arrangement Drawings

- Electrical single-line diagrams

- Electrical schematic drawings

- Wiring diagrams (including panel layouts and loop diagrams).

- Plant arrangements.

- Piping layouts.

- Equipment lists

- Mechanical drawings,

- P&ID’s drawings,

- Spool drawings,

- Isometric drawings,

Any special instructions pertaining to storage of spare parts, or their shelf life is included in the maintenance manual. All drawings requested for component location, dismantling and reassembly for maintenance are included in the maintenance manual. All special tools required for operating and maintenance of the equipment are presented in a form of a schedule in the operating and maintenance manual, respectively. The content of the training manual is based on the content of the technical, operating and maintenance manuals.

The documents are reviewed by the Project Manager for correctness and conformance to the accepted design.

“As Built” documentation is deemed as a part of the works, hence Completion is not certified until such documentation is accepted by the Project Manager.

# Procurement

## People

### Minimum requirements of people employed on the Site

- All people employed to Provide the Works shall have South African Citizenship or a valid workers permit if not South African nationals.

- Superiors should have experience in the magnitude of the work.

### BBBEE and preferencing scheme

Not Applicable

### Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

## Subcontracting

### Preferred subcontractors

Not Applicable

### Subcontract documentation, and assessment of subcontract tenders

- The Contractor submits the proposed Contract Data for each subcontracting for acceptance to the Project Manager. The Contractor provides a short description of the work it is proposed to sub-contract to each, together with an approximate value of the work to be executed by each. The Contractor will provide details of previous works and references of work done by the intended

- The Contractor prepares subcontracting document as according to the NEC3 Contract.

- The Contractor informs the Project Manager when intending to subcontract some of the works from the contract scope.

- The Contractor takes note that their Subcontractors Safety Files will be accepted by the Contractor Safety Manager before it will be handed to the Matimba SHE practitioner/Officers for verification of compliance before any work commence. Proof of acceptance by the Contractor’s Safety Manager needs to be in the Safety file when handed over to Matimba SHE Practitioners for verification.

- The Contractor only employs qualified Subcontractors.

### Limitations on subcontracting

No more that 30% of the total contract value may be subcontracted

### Attendance on subcontractors

Not Applicable

## Plant and Materials

### Quality

All equipment supplied by the Contractor shall be in accordance with the standards mention in section 6 of this document. It is the responsibility of the Contractor to ascertain the condition of any used equipment or materials, transport to site, corrosion protection, as well as any spares compatibility issues that may present itself in the future.

The Contractor must not use Plant or Materials which are generally recognised as being unsuitable or otherwise to be avoided for the purpose for which they are intended.

Only components of high reliability are utilised, with a proven operating history, to enable the Plant to achieve required reliability and availability. Plant and Material design, engineering, and manufacture accord with the best modern practice applicable to high-grade products of the type to be furnished, to ensure the efficiency and reliability of the works and the strength and suitability of the various parts for the works.

Plant and Materials withstand ambient conditions and the variations of temperature arising under working conditions without distortion, deterioration, or undue strains in any part.

All parts are made accurately, and where practicable, to standard gauges to facilitate replacement and repairs. Like parts are interchangeable.

No repair of defective Plant and/or Materials is permitted without the Project Manager’s acceptance and any such repair, if accepted, is carried out in accordance with the Employer’s requirements.

The Contractor ensures that co-ordinated and formally documented management system is in place for the assurance of quality as specified in ISO 9001, Quality management Systems – Requirements.

The Project Manager is free to specify hold and witness points during the installation and on-site testing stages of the project. The Contractor issues preliminary notification of such hold and witness points by four days advance notice to the Project Manager and confirms such hold and witness points at least four days prior to the activity.

Documentation regarding quality procedures is submitted within thirty days of Contract Award. The Project Manager reviews and comments on the acceptability of these documents within the period for reply. If controlled copies of these documents have been submitted to the Employer, then the controlled copy numbers may be quoted in the submission.

### Plant & Materials provided “free issue” by the Employer

Not Applicable

### Contractor’s procurement of Plant and Materials

- The Contractor supplies and uses suitable and sufficient construction plant, tools and equipment and materials as may be required to carry out the works efficiently.

- The Contractor always provides protection for all plant and materials from damage or loss due to weather, fire, theft, unexplained disappearance or similar.

- The Contractor always protects from damage, due to the Contractor’s service to provide the Works, all plant and materials and equipment and all items on the site that are the property of the Employer or Others.

- The Contractor provides or manages, as part of works everything necessary for the receiving, inspection, safe keeping and storage, issuing, handling, management and administration of all plant and materials purchased by the Contractor.

- The Contractor provides through the Project Manager and relevant Construction Management personnel the documentation for the warranties from suppliers of all any relevant plant and material used in the execution of the works.

- The Contractor arranges all shipments of Plant and Materials and consigns all such shipments to himself as consignee at the project shipping address, freight fully prepaid. The Contractor makes demurrage agreements and settlements with carriers for his shipments.

### Spares and consumables

- The Contractor must provide a comprehensive maintenance programme covering the entire operational lifespan of the Plant. This programme shall include a complete list of components, along with model numbers, serial numbers, and detailed technical descriptions. The list must also identify all critical spare parts necessary for ongoing operation and maintenance.

- The submission shall include a corresponding price list for all components and spare parts, indicating their availability throughout the Plant's lifespan. All quoted prices must be inclusive of packaging, delivery to and offloading at Site, as well as inspection, testing, and adequate protection against corrosion, damage, and weathering during both transit and storage.

- The Contractor must supply warranties for all components of the new Plant. During the warranty period, the Contractor shall be responsible for the repair or replacement of any defective or damaged components, provided that no evidence of negligence or misuse by the Employer is established.

- Furthermore, the Contractor must ensure timely attendance to breakdowns and other warranty-related issues. The Contractor must respond to breakdown notifications within 24 hours and commence on-site repair work within 48 hours of notification, unless otherwise agreed upon in writing with the Employer. All repairs under warranty shall be carried out at no additional cost to the Employer.

## Tests and inspections before delivery

The Contractor arranges and carries out all tests and inspections of the plant, including Factory Acceptance Test (FAT) as required by the Employer before delivery to site.

All inspections and testing to be performed in accordance with the Quality Control Procedure (QCP) developed by the Contractor.

The Employer will be provided access to the Contractor’s premises for the purpose of:

- Establishing compliance with the contractual requirements by means of inspections, surveillance, and audits.

- Witnessing the performance of any tests.

The Employer will inspect equipment forming part of the Plant before they are released from the Contractor’s premises at his discretion. This inspection entails a thorough check to ensure complete compliance with this specification including schedules, design drawings and other applicable standards.

The Contractor obtains clearance from the Employer or the Employer’s agent before despatching of the equipment. This factory release inspection does not release the Contractor of any of his obligations under the contract.

The Employer is entitled delegate a representative to attend and witness such test and inspections; therefore, the Contractor gives the Employer a written notice of not less than twenty-one (21) days indicating the location, date, and time of when such is carried out.

The Contractor provides and carries all costs associated with organization, execution and repetition of tests and inspections. Costs of travel and accommodation shall be borne by the Employer unless stated otherwise.

The Contractor must submit all certificates of tests and inspections report to the Employer within seven (7) days completion of tests and inspections.

## Marking Plant and Materials outside the Working Areas

All Plant and Material paid for by the Employer must be clearly labelled as being the Employer’s property.

The Contractor must manufacture and install KKS labels to identified plant items as per list supplied by the Employer. Labels must be manufactured and installed according to the Employer’s KKS Plant Labelling and Equipment Descriptions Standard. The labelling standard must be supplied as part of the enquiry documents.

## Contractor’s Equipment (including temporary works).

The Contractor is liable for all plant & equipment in the designated area under his control. The Employer will not take any responsibility for any loss or damage to the equipment. See also section 3.6 above relating to the design phase of the Contractor’s Equipment.

## Cataloguing requirements by the Contractor

The Contractor (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

The Contractor provides all cataloguing information for the Employer to register, operate and maintain the completed works within the Employer’s asset management system.

Cataloguing information includes but not limited to:

- Description of component with KKS number,

- Bill of material including spares and consumables,

- Equipment description, manufacturing details, model numbers, serail number, and performance data

- Process and instrumentation diagrams,

- Range, calibration factors, calibrations certificates, data sheets, etc., for all control and instrumentation equipment,

- Electrical diagrams,

- General arrangement and installation drawings and instructions,

- Operating procedures and instructions for normal and emergency conditions, including flow Diagrams,

- Maintenance procedures and instructions for specific plant and equipment,

- All drawings required for component location, dismantling and re-assembly for maintenance,

- Equipment details such as make, model, type, specifications, etc,

- Detailed parts lists and ordering instructions pertaining to storage of spare parts or to their shelf life,

- Exploded view type drawings clearly detailing the part and uniquely identifying it, technical descriptions of the equipment and component parts,

- Troubleshooting and fault-finding guide,

- Safety procedures and instructions,

- All special tools and equipment required for maintaining and operating the works.

The Contractor must submit cataloguing as per documentation submission and recording specifications. All cataloguing data is subject to Employer’s verification and acceptance prior works handover.

# Construction

## Temporary works, Site services & construction constraints

### Employer’s Site entry and security control, permits, and Site regulations

Access Permit- Matimba Power Station is declared a National Key Point Installation

.The Contractor must comply with the following:

- Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety

- Specifications for Contractors (PA/270/003).

- Compliance with Eskom & Matimba No Smoking Policy

- Adhere to the OHS Act 85 of 1993

- All staff will undergo Safety Induction, presented by Matimba Risk Management Department

- Always adhere to Eskom Cardinal Rules.

- The Contractor must conform to the access control requirements as set out in the document called.

- “Health and Safety Practices for Contractors at Matimba Power Station”.

- The Contractor must conform to the requirements set out in the document called “Eskom Environmental

- Practices and Standards”.

- Names and Identity numbers are required seven working days before the contract starts. Photocopies of

- Identity documents are also required. This must be arranged with the Employer’s Representative.

- Lost permits will be paid for by the Contractor to Protective Services at a cost of R300-00 per lost permit.

- Only work vehicles with an approved permit will be allowed on site. No private vehicles will be allowed on

- Site.

- Arrangements must be made with the Employer’s Representative well in advance to allow sub-.

- Contractors on site.

- The transport of any equipment onto site must be declared and documented at Protective Services in

- Order to facilitate the future removal thereof.

- At least one supervisor shall be authorized as a Responsible Person in terms of the Eskom Plant Safety Regulations to take out Permits to Work on plant.

Accommodation of traffic flow

The Contractor shall implement temporary traffic management measures to ensure safe and efficient movement of vehicles and personnel during construction activities.

There measures shall include, but are not limited to:

- Temporary traffic control measures such as portable STOP and GO signs must be implemented to maintain safe traffic flow during construction.

- Coordination with site security and operations teams to minimize disruption to normal traffic patterns within the power station.

- Compliance with Eskom safety standards and applicable road traffic regulations for temporary traffic control.

- Continuous monitoring and adjustment of traffic control measures based on site conditions and construction progress.

Failure to comply with these requirements may result in service disruption, safety hazards and contractual penalties.

### Restrictions to access on Site, roads, walkways and barricades

The Contractor shall adhere to site procedures for roads, walkways, and barricades.

Access to the site is controlled and it is governed by the terms and conditions lay down by Matimba Power Station security officials. The proposed site will be shown to the Contractor during the site meeting or clarification meeting by the Employer.

The Contractor liaises with the Matimba SHE Practitioner/Officers for Safety Induction prior work to commence.

After induction the Contractor will be issued with a copy of the attendance register for the induction attended. This proof of induction will be used by the Employer to verify attendance prior to signing the Personal Site Access document.

The Contractor’s employees take the signed site access documents to security reception official to finalize their site access.

The Contractor ensures that all its employees carry their site access forms with them all the time.

The Contractor is subjected to alcohol testing on a daily basis.

The Contractor submits his application for vehicle permit to the Project Manager. The personnel and vehicles entering and leaving the site are subjected to routine searches.

The Contractor obtains a “Gate Removal Permit” from the Project Manager before materials and equipment can be removed from site. The “Gate Removal permit” gives itemised list of materials and equipment to be removed from site.

The Contractor ensures that a tool list is available on the day of arrival and that all tools are captured on the tool list. The tool list is handed over to the Reception Security official that will stamp the tool list. The tool list is kept safe and used when tools need to be remove from site.

This message is handed over to any Subcontractor working on Matimba Power Station.

### People restrictions on Site; hours of work, conduct and records

Restrictions and hours of work may apply at Matimba Power Station. The Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time. These records may be required in the event of a compensation event for assessment purpose or other cause.

- The Medical Station is available on site during normal working hours. The afterhours emergency telephone number is 014-763-8311 or from a Matimba phone the extension is 5000 that can be phoned for assistance.

- Fire protection and rescue services are available on site 24 hours per day.

- The Contractor provides a First Aid service and SHE representative to his employees and Sub-Contractors. In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities may be available. Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life-threatening situations. The Employer recovers the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

Normal working hours must be maintained as far as possible. The normal working hours on site will be from 07:00am to 16:30pm Monday to Friday. Should the Contractor wish to work outside these normal working hours, he should notify the Project Manager in writing.

The Contractor will only be allowed to work outside the specified hours once the Project Manager has approved the request in writing.

### Health and safety facilities on Site

Eskom Matimba shall ensure that adequate and sufficient facilities are provided to all employees, Business Partner employees and visitors.

- All facilities are clearly identified and demarcated (i.e., sanitation, changing rooms, dining-rooms, drinking water, eating areas and seating/ resting areas, in all respective areas of work.

- All facilities shall be provided in a reasonably practicable condition by Eskom Matimba.

- All persons shall, before and after use, make every facility conducive for continuous use by others.

- All facilities must be checked, cleaned and always maintained and used for reason provided for, if any deviation report to Support services manager- 8393.

Vandalism or misuse of any facilities is Prohibited! employees involved in such act shall be restricted to access site

### Environmental controls, fauna & flora, dealing with objects of historical interest

The Contractor identifies the environmental aspects and impacts associated with the works and keeps an updated register after approval by the Employer's safety department.

The Contractor takes precautions not to disturb any fauna and/or flora (plant or site vegetation) for any purpose, injure or kill any animals, including snakes. The construction site is kept clean and free of litter that can attract pest animal species.

Use of herbicide on site is subject to approval by Employer's safety department. The application must be according to set specifications and under supervision.

The Contractor shall submit an EMP indicating plans for managing environmental aspects. The Contractor includes in his method statements and risk assessments, mitigation measures for environmental impacts and aspects.

The Contractor shall comply with the Employer's site SHE specification, the site Environmental Procedure and any other procedures from the Employer and site pertaining to environmental management

### Title to materials from demolition and excavation

As per Clause 73.2 the Contractor has no title to materials from excavation and demolition. Contractor will remove all redundant material and equipment to an area that will be identified by the Project Manager.

### Cooperating with and obtaining acceptance of Others

The Contractor shares a working space with others when required and co-operate with others in obtaining and providing information required in connection with the works as per core clause 25.1, refer to clause 11.2 (10) for the definition of Others.

### Publicity and progress photographs

Matimba Power Station is a National Key Point. The Contractor adheres to all the requirement of the National Key Points Act 102 of 1980. Cameras and publishing of progress photographs is prohibited. If photographs are required for reporting or progress, an application for a camera permit must be submitted to the Project Manager for approval by the Power Station General manager.

### Contractor’s Equipment

- The Contractor provides all Equipment that is required to complete the works.

- The Contractor ensures that all his construction labour and equipment remain within the fenced off allocated construction area.

- The Contractor ensures that any staff, labour, or equipment moving outside his allocated construction site does not obstruct the normal operation of the power station.

- Any additional access routes required are coordinated with the Project Manager.

- The Contractor keeps daily records of his equipment used on Site and the Working Areas (distinguishing between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times.

- All Equipment used by the Contractor in Providing the Works comply with the General Machinery Regulation 4 of the Occupational Health and Safety Act (Act 85 of 1993).

- Any electrical Equipment, or appliances, used by the Contractor conforms to the applicable OHS Act safety standards and is maintained in a safe and proper working condition. The Project Manager has the right to stop the Contractor's use of any electrical Equipment, or appliance, which, in the opinion of Project Manager, does not conform to the foregoing. Inspection of equipment/appliance will be done as required by OSH Act.

- The Contractor shall register all their equipment and declare all their belongings at the security gate upon arrival. Unregistered belongings upon arrival will not be allowed to be removed offsite.

- The Contractor must provide working procedures for each activity to the Employer’s Representative at least 2 weeks before work may proceed. This procedure will include “Safe working procedures.”

- The Contractor must provide all the material needed for the works. The safeguarding, care and security of all equipment and materials while the Contractor is performing the works is the responsibility of the Contractor.

- At least one person in the service of the Contractor shall be certified competent to inspect scaffolding needed by the Contractor for the works. Certificates as proof of this will be handed to the Employer’s Representative after contract award before the starting date.

- All redundant Contractor’s material must be moved to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap must be cleared of site daily.

- All transport i.e., Tractors, Trucks, L.D.V.’s

- Accommodation is for the Contractor’s own account.

- All tools must be provided by the Contractor for the works.

- All workshop machinery must be provided by the Contractor for the works.

- All office equipment must be provided by the Contractor for the works.

- Any special tools and equipment to be used on site for the execution of the works is the responsibility of the Contractor.

- The employer will not assist the Contractor with the off-loading of equipment, plant, and material.

### Equipment provided by the Employer

No Equipment will be supplied by the Employer.

### Site services and facilities

      - Site yard and security

- It is required, for the proper co-ordination and execution of the works that the Contractor has an office on Site for the duration of the contract.

- A site is made available to the Contractor for his yard within the Power Station security area. The proposed site is shown to the Contractor during site meeting or clarification meeting. The yard is a raw site and will be used by the Contractor for the establishment of his offices, workshop and stores.

- The Contractor includes in his establishment rates for all further treatment and maintenance of the facilities that he considers necessary for his entire operation throughout his period of occupation and under all weather conditions. The Contractor also includes for all security fencing, security and access arrangements.

- The yard is always kept clean and tidy; this includes all workshops and storage areas under the control of the Contractor. Maintenance of the yard is the Contractors responsibility and is for the Project Managers acceptance.

- The Contractor’s plan for the layout of his yard area is accepted by the Project Manager prior to occupying the yard and the Contractor does not occupy any site area other than that allocated to him.

- The Contractor complies with the environmental policy given in the Site Regulations.

- The Contractor provides, erects and maintains for his own use adequate size office accommodation and stores together with such drainage, lighting, heating, and hot and cold-water services as may be required. Provision is also made for adequate parking area adjacent to all the aforesaid structures.

- The Contractor dismantles and clears the yard of all such temporary structures and associated foundations and infrastructure at the direction of the Project Manager on Completion of the whole of the works.

- The Contractor’s yard is subject to periodic inspection by the Project Manager/delegated person.

- The location of the nearest sewer manhole, power distribution point, portable water connection storm water channel and road access point is indicated by the Employer. The Contractor is responsible for connection to the closest point of supply.

- The Contractor will be responsible for providing its own security to protect the equipment and spares that will be utilised for the doing the work, any material that are lost will be the responsibility of the contractor to replace.

      - Supply of electricity

Electricity will be made available for construction purposes free of charge from power points which will be indicated by the Project Manager. The Contractor will be responsible for the provision of the reticulation system from the point of supply. Both 220 (AC) Volt and 380 (AC) Volt are available on request. All points of supply requested by the Contractor are provided in terms of quantity and location at the discretion of the Project Manager. No guarantees of power supply quality are given and power supply breaks of some duration may occur without warning.

The Contractor makes arrangements at his own expense to improve continuity and quality of power where necessary for any reason and no claim of any nature relating to power failures is considered. No connection is made to the permanent installation at the Power Station without the prior acceptance of the Project Manager. The power supply is managed in accordance with the latest revision of the Employer‘s safety regulations, Operating Regulations for High-Voltage Systems and Plant Safety Regulations.

      - Lighting

Area lighting immediately outside the boiler and turbine houses and stairway lighting is provided by the Employer. The Contractor at his own expense provides temporary local lighting in accordance with the requirements of the Occupational Health and Safety Act where necessary. The Project Manager provides no local lighting. All construction lighting is the responsibility of the Contractor.

      - Water

Water is made available on request free of charge from water points on site. The Contractor supplies at his own cost all connections, fittings, piping work, temporary plumbing and pumps necessary to lead water from the Employer’s points of supply to the various points where it is required. The Contractor is responsible for maintaining his equipment and to removal at Completion of the whole of the works.

The Project Manager does not guarantee continuity of supply, and the Contractor makes his own provision for standby supplies to maintain continuity of work. Claims of any nature relating to discontinuity of water supply are not considered.

Water wastage due to un-maintained pipe works or fittings provided by the Contractor will be calculated and will be for the cost of the Contractor.

      - Roads and vehicles

Main access roads are surfaced and complete and may be used by the Contractor with the necessary care. The Employer maintains the Site roads, described above, to a fair condition. Any costs incurred by the Project Manager from damage caused to underground services, structures, etc as a result of the Contractor not using the prescribed routes is recovered from the Contractor. The Contractor provides temporary access points from the prescribed routes and roads to the points where the Contractor is required to perform work, having first obtained permission in writing from the Project Manager.

All vehicles used on site, by the Contractor will be road worthy and fitted with fire extinguishers as required.

All road signs, traffic laws and regulations on site shall be adhered to by the Contractor. Contractor’s employees failing to comply with the above will be denied access onto site.

### Facilities provided by the Contractor

      - Compressed air

The Contractor provides at his own cost, all connection fittings and pipe-work necessary to lead the

compressed air from the point of supply to the various points where it is required. Such fittings must be compatible with the Employer’s fittings so that galvanic corrosion of pipework is prevented. The Contractor is required to maintain all his connections and remove them on completion of the works. Compressed air wastage due to un-maintained pipework or fittings provided by the Contractor will be calculated and the cost will be recovered from Contractor.

      - Housekeeping

Working areas are cleaned daily. All electrical cables and hoses are routed to not cross over floors and walkways. All equipment is packed neatly without interference to access. All excess scaffolding material is removed from working areas after the scaffolding has been erected.  Scrap bins are available on the zero-meter level and emptied daily by the Employer.

      - Barricading

The Contractor must ensure that barricading is visible and should not obstruct operations.

Access to danger zones is done using handrail type guards of at least 1,2 meters high, able to block access to the danger zone. Symbolic safety signs depicting “Danger” and “No entry” are attached to the guards.

      - Radiographic examinations

When radiographic tests are performed in the plant, the danger area is barricaded. Workers are made aware of this fact, and the Radiographic technicians ensure that no person is within or enter the danger area prior to commencing of or during the tests by public announcement according to the procedure. See relevant procedure PA/272/001.

      - Ventilation

The Contractor is responsible for adequate ventilation of the works.

The Contractor shall provide everything else necessary for Providing the Works

#### Sanitary Facilities and Refuse

The Contractor is to supply own sanitary facilities at the Contractor’s yard and construction area.

A refuge control system will be established by the Contractor. All waste and refuge are collected and disposed of as directed by the Project Manager, at the Power Station refuse disposal site.

#### Telecommunications

Neither a network point nor a telephone is available on site. Should the Contractor require one, he is to make his own arrangements with relevant authorities.

Should the Contractor wish to use radio communication equipment on site, he makes his own arrangements with the relevant authorities. In this case, he is requested to liaise with the head of security at the station to ensure that there is no interference with existing channels or equipment.

      - Scaffolding

All scaffolding erected complies with procedure PS/031/001. At least one person in the Contractor’s service shall be competent to inspect scaffolding in the case where the Contractor himself needs scaffolding. Certificates must be handed in at the Project Manager after contract award. The Contractor is responsible for the supply, erection and dismantling of scaffolding.

### Existing premises, inspection of adjoining properties and checking work of Others

The Contractor, in conjunction with the Project Manager inspects the site prior to possession. Any defects established during this inspection are listed on the possession certificate. The Contractor is responsible for any defect or damage to plant not listed on the possession certificate which occurred during installation.

### Survey control and setting out of the works

The Contractor must establish survey control points and the setting out of the works as per designs and submit control points/benchmarking points indicating the coordinates to the Employer prior to construction or excavation activities in a PDF and CAD format which is compatible with Bentley MicroStation.

The Contractor shall be required to do underground scans prior to any excavation work being done. The results of the scans shall be submitted to the Employer in a PDF and CAD format which is compatible with Bentley MicroStation. Any damage caused to existing services shall be repaired by the Contractor at his own expense

### Excavations and associated water control

For all excavations the area needs to be scanned using underground scanning by the Contractor to prevent damaging existing services. All excavations will comply with the regulations and Eskom Safety, Health, Environmental and risk requirements

### Underground services, other existing services, cable and pipe trenches and covers

The Contractor ensures that the necessary tests are done to identify whether there are any underground services before digging any trenches or excavations can be done.   A risk assessment shall be conducted with the inclusion of Project Manager and the relevant Eskom Supervisors before and groundwork can be started.

For all excavations, the area needs to be scanned using underground scanning by the Contractor to prevent damaging existing services.

### Control of noise, dust, water and waste

- The Contractor must comply with the Occupational Health and Safety Act 85 of 1993, the requirements of the Hazardous Chemical Agents Regulations and/or other international best practices, pertain to all Hazardous Chemical Agents.

- The Contractor must comply with the Occupational Health and Safety Act 85 of 1993, the Noise-Induced Hearing Loss Regulations.

- The Contractor maintains a high standard of cleanliness during the conduct of his activities at Matimba Power Station. This includes areas allocated for storage of materials, site offices etc. in accordance with the requirements.

- The Contractor keeps these areas clean and free from accumulation of waste materials and refuse regardless of the source.

- The Contractor is responsible for the prompt removal of all waste to a licensed disposal facility. For the purpose hereof, “waste” any matter, whether liquid or solid or any combination thereof, which is a by-product, emission, residue or remainder of any process or activity carried out in connection with the works and which is not reused on the Site in the ordinary course of carrying out the works within 7 working days of production.

- The Contractor provides an adequate number of marked bins and containers at offices, in yards, at workshops and on the Site for the temporary storage of waste. The waste bins must be fitted with a tamper proof closing device to prevent monkeys and other wild animals from opening them. These bins and containers are subject to the acceptance of the Project Manager.

- The Contractor is required to segregate certain items of waste by type.

- Bins and containers are emptied, and waste removed to the designated area at least once a week. All the temporary storage areas for bins and containers are kept tidy and must not constitute a nuisance to others.

- The Contractor takes all required steps to avoid spillage of waste alongside the bins and containers during removal and disposal thereof.

- All waste that cannot be contained in either a bin or container is placed on a temporary waste site which the Project Manager identifies. The waste is removed as soon as possible but, in any event, at least once a week. No burning of waste is allowed at the Matimba Power Station.

- Hazardous waste is dealt with in accordance with the safety, health and/or environmental requirements of the works and the Contractor is solely responsible for the proper disposal thereof. Hazardous waste will be disposed of at an authorised landfill site. Waste manifest will be kept for record keeping and hand over at the end of the Project.

### Sequences of construction or installation

The Contractor must submit a comprehensive schedule for all the design and construction works to the Employer at contract commencement for acceptance. This schedule will be used for the sequence of construction or installation, Contractor must communicate all changes to the Project Manager in writing for acceptance whether they affect the time, cost or quality of the Works or not.

### Giving notice of work to be covered up

Not applicable

### Hook ups to existing works

Hook up drawings to be provided by the Contractor when required. Contractor must request the information from the Project Manager within 1 day of identified need to prevent project delays.

## Completion, testing, commissioning and correction of Defects

### Work to be done by the Completion Date

On or before the Completion Date the Contractor must have done everything required to Provide the Works

enabling the Employer to take over and use the EV charging infrastructure for its intended purpose as per the Works information requirements.

The Project Manager cannot certify Completion until all the work including the handover pack has been accepted by the Employer and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

The Contractor shall compile and submit a complete QA Handover Pack to the Employer upon completion of the works. This pack shall include, but is not limited to:

- Inspection & Test Plans (ITPs): Approved ITPs for all civil works, electrical installations, and associated activities.

Test Records:

- Earthworks: In-situ density and moisture test results, locations, and corrective actions.

- Layer works: Thickness checks, straightedge tolerance results, joint sand penetration verification.

- Cable Trenching: Bedding and backfill compaction results, trench depth verification, and photographic evidence of protective layers and warning tape.

- Concrete Plinth: Cube test results (7-day and 28-day), slump test records, curing logs, and dimensional checks.

Calibration Certificates:

- For all testing equipment (nuclear density gauge, slump cone, scales, etc.).

Material Compliance Documentation:

- Delivery notes and certificates for sand, pavers, concrete, and cable.

- Product data sheets and application certificates for soil poisoning chemicals.

- As-built drawings: Updated drawings showing trench routes, parking bay layout, drainage slopes, and plinth dimensions.

Photographic Records:

- Before, during, and after construction stages.

- Key milestones such as cable protection installation, paving completion, and drainage verification.

Service Identification Report:

- Documenting all existing services detected and protection measures implemented.

Traffic Accommodation Records:

- Method statements and photographic evidence of temporary traffic control measures.

Safety Documentation:

- Safety Clearance Certificates, KKS labelling certificates, and environmental compliance records.

QA Completeness Review:

- Signed-off checklist confirming all quality requirements have been met.

Electrical Installation Certificate.

Failure to provide a complete QA Handover Pack will result in delayed acceptance and may incur contractual penalties.

### Use of the works before Completion has been certified

The Employer will not use the works before the Completion has been certified in line with applicable regulations by the Contractor.

When the Contractor has done all the work which the Works Information states he is to do by the Completion Date. The Employer will use the works to interface with the EV charging works done by others, but the access will be given to the Contractor to repair defects if there are integration challenges due to the Contractor’s defects. The Project Manager will communicate the access dates with the Contractor when required.

### Materials facilities and samples for tests and inspections

The Contractor must comply with Part 3 of the Employers works information for all materials, and samples for tests and inspections.

### Commissioning

Use a commissioning checklist to document all steps, test results, and any defects.

Installation: Confirm secure mounting, correct wiring, and proper closure per the manufacturer's manual.

Safety Tests: Perform earthing/grounding, RCD (Residual Current Device) tests, insulation resistance tests, and ground fault protection verification.

Power: Verify correct voltage, current, and supply phase.

Compliance: Ensure all work adheres to relevant international (IEC 61851-1) safety and performance standards.

Electrical cable schedule template (240-56176097) and electrical termination schedule template (240-77302094) shall be used to capture cable installation information.

### Start-up procedures required to put the works into operation

The Contractor will be required to do plant checks to ensure that the material used, and workmanship complies with the specified requirements. The Employer’s Engineer will be attending whilst doing this. The results of those checks shall, if so ordered, be made available to the Employer’s Engineer.

The Contractor will work with the Appointed Operator of the plant to put the Works into operation after it has

been safety cleared.

The plant will only be put in operation after relevant safety clearances for all plant and material has been issued by the Contractor and signed off by the Project Manager and Employer’s Engineer.

The Contractor will be required to provide the Employer with the relevant start-up procedures as the EV charger will be supplied by others.

### Take over procedures

Take over is after or at the same time as Completion.

### Access given by the Employer for correction of Defects

The Project Manager arranges for the Employer to allow the Contractor access to and use of a part of the works which has been taken over if needed to correct a Defect as per Clause 43.4 that will be communicated 21 days prior to access requirements.  After the works have been put into operation, the Employer may require the Contractor to undertake certain procedures before such access can be granted, these requirements will be communicated by the Employer when required.

### Performance tests after Completion

Upon completion of installation, the contractor shall carry out performance testing and commissioning of the electrical works. Test results shall be documented and submitted to the Project Manager and Employers’ Engineer for approval.

### Training and technology transfer

Not Applicable

### Operational maintenance after Completion

Not Applicable

# Plant and Materials standards and workmanship

This section of the Works Information contains all the specifications for the work which is left behind; the permanent works.

## Investigation, survey and Site clearance

The Contractor must carry out initial investigations of existing facilities on the Site before commencing final designs. There could be constraints on site clearance especially in pipeline or cable servitudes. In addition, the Contractor must comply with Part 3 of the Employers works information.

## Building works

The car port design and construction works should adhere to the relevant South African National standards and the Eskom structural design standard. All works to comply with the following:

- ISO 9001 Quality Management Systems.

- Occupational Health and Safety Act (Act 85 of 1993)

- 240-89609924 Reasonable Accommodation of Persons with Disabilities Standard

- 200-18202 - KKS Key Part – Fossil power station (NPSZ 45-45)

- 240-93576498 KKS Coding Standard

- 240-86973501 Engineering Drawing Standard – Common Requirements

- 240-76992014 - Technical Document and Record Management Work Instruction

- 240-531136385 Design Review Procedure

## Civil engineering and structural works

- 240-56364545 Eskom structural design standard

- SANS 5863 Compressive strength of hardened concrete

- SANS 10400-A The application of National Building Regulations-Part A: General principles and requirements

- SANS 10400 Part S: Facilities for Persons with Disabilities 2011

- SANS 10400-L The application of National Building Regulations-Part L: Roofs

- SANS 10160-Part 1 - Part 8

## Electrical & mechanical engineering works

240-56356396 Earthing and Lighting Protection Standard

240-56227443 Requirements for Control and Power Cables for Power Stations

240-56355815 Field Instrument Installation Standard - Junction Boxes and Cable Termination

240-56355754 Field Instrument Installation

240-56227516- 	LV Switchgear and Control Gear Assemblies and Associated Equipment for Voltage up to and including 1000 AC and 1500V DC Standard

240-77301384 - Electrical LV Load Schedule Template

240-56176097 - Electrical Cable Schedule template

## Process control and IT works

None

## Other [as required]

Not Applicable

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |
| --- | --- | --- |
| 0.58/13192 Rev 6 |  | General arrangement drawing for 380V Substation South Board A and B |
| 0.58/13192 Rev 4 |  | Summary Sheet 380V Substation South Board A |
| 0.58/56223 Rev 0 |  | 380V Substation South Board A and B Switchgear Schedule |
| 0.58/13639 Rev 6 |  | 380V Substation South Board A Cable block diagram |

# C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical subheadings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file and submitted to the Employer for acceptance prior to construction activities. Refer to Part 3 for the Employers works information requirements.

*Corporate Social Investment: Matimba Power Station support the Local Lephalale Community it is therefore requested that CSI expenditure be considered for Lephalale and surrounding areas and commitment can be formalised with the Matimba Power Station Stakeholder Management.

# Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information |  |
|  | Total number of pages |  |

# Part 4: Site Information

Core clause 11.2(16) states

“Site Information is information which

describes the Site and its surroundings and

is in the documents which the Contract Data states it is in.”

In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.

Site Information is information about the Site at the time of tender upon which the tendering contractor bases his prices. It is fixed and does not include anything about what happens on the Site after award; that is Works Information.

Site Information does not include weather data; that is included in the Contract Data. If the Contractor subsequently encounters conditions which are different to those described here, he may be entitled to notify the Project Manager for a compensation event if deemed acceptable by the Employer.

# General description

A site location has been identified within Matimba Power Station at the administration block car ports with a functional location code 10-00SAG00BX001 as seen in the figure below . The area is paved with concrete block paving. It has buried services (cables and drainage), Contractor must  scan for underground services prior to construction and protect the services while working. There is an operational car washing bay near the working area so there will be shared working space with others. The area also serves as an entrance point for vehicles at the administration block, the Contractor must make allowance for management traffic flow as agreed with the Employer .

# Existing buildings, structures, and plant & machinery on the Site

Contractor must refer to Section 3 of the Works Information and existing drawings for integrating new works with existing buildings, structures etc requirements. For additional information the Contractor must communicate technical queries to the Project Manager  within the stipulated contractual time frames and avoid delays on the accepted Project Programme.

# Subsoil information

Provide details of geotechnical reports

Contractor must refer to Section 3 of the Works Information and existing drawings for integrating new works with existing buildings, structures etc requirements.

# Hidden services

Accurate details are not available Employers’ assumptions is that there are hidden services that may not be detailed in the existing drawings, the Contractor must scan, verify and detail existing services on the construction drawings prior to design freeze concerning such services as indicated in Section 3 of the Works Information. Any damages to existing services will be repaired at Contractor's own costs.

# Other reports and publicly available information

Not applicable

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see www.ecs.co.za