55kW diesel generator, 3 phase specification

Supply cabling, commissioning of generator, include a cement slab for generator