Annexure 1: Bid Specification:

| RFB No: | RFB-3270-2026 -ERP RFB 457010 |
| --- | --- |
| Description | PROCUREMENT OF A SERVICE PROVIDER TO UNDERTAKE REFURBISHMENT OF THE INFORMATION SECURITY SERVICES (ISS) SECURITY OPERATIONS CENTRE AT SITA CENTURION |
| Bid Response Submission Address | The SITA-Supplier Oracle ERP portal is accessible on the URL link as follows: www.suppliers.sita.co.za. |
| BRIEFING SESSION | A Compulsory Virtual Briefing Session will be held as follows: Date: 04 August 2026 Time: 10:00 am (South African Time) Join: https://teams.microsoft.com/meet/340495688268953?p=O3a8DUYoO7TQwas2mW Meeting ID: 340 495 688 268 953 Passcode: HE2rK9zP Right Click- Open with Hyperlink |
| Closing Date for Questions and Answers | 14 August 2026 |
| RFB Closing Details and Time | Date: 21 August 2026 Time: 11:00 (South African Time) |
| RFB Validity Period | 120 Days from the Closing Date |

TECHNICAL, PRICING AND PREFERENCE POINTS REQUIREMENTS

# Contents

1.	Introduction	3

1.1	Purpose	3

1.2	Background	3

2.	Scope of Work	3

2.1	Scope of Bid	3

2.2	Description of Works	3

2.3	Exclusions	5

2.4	Delivery address	5

3.	Bid Evaluation Stages	5

3.1	Mandatory Administrative Responsiveness (Stage 1)	6

3.1.1	Attendance of briefing session.	6

3.1.2	Registered Supplier	6

3.2	Technical returnable documents	6

3.2.1	Instruction and evaluation criteria	6

3.2.2	Technical mandatory requirements (Stage 2)	6

3.3	Special Conditions of Contract Verification (Stage 3)	7

3.3.1	Special Conditions of Contract	7

3.3.2	Declaration of compliance and acceptance SCC	13

3.4	Price and Preference Points Evaluation (Stage 4)	13

3.4.1	Costing and Preference Evaluation	13

3.4.2	Costing and Pricing Conditions	14

3.4.3	Bid Pricing Schedule	14

3.4.4	Declaration of Acceptance	14

3.4.5	Preference Requirements	15

Annex A: Bidder Substantiating Evidence	19

4.	Technical Mandatory Requirement Evidence	19

4.1	CIDB Registration Requirements	19

4.2	Special Conditions of Contracts Verification	19

4.3	Preference Points Preferential Goals Evidence	19

Annex B: CIDB Registration Requirements	20

# Introduction

## Purpose

The purpose of this Request for Bid (RFB) is to invite Suppliers (hereinafter referred to as Bidders) to submit bids for the refurbishment of the Information Security Services (ISS) Security Operations Centre (SOC) at the SITA Centurion Office.

## Background

The refurbishment is intended to optimise the existing internal office space to improve operational efficiency, support modern security operations requirements, enhance ergonomics, and enable future scalability in line with SITA standards.

The existing SOC layout is outdated and no longer supports efficient workflows, collaboration, or future scalability. The refurbishment will be undertaken within the existing footprint to minimise operational disruption while delivering a fit‑for‑purpose environment.

The objectives of this Request for Bid are to:

- Appoint a qualified construction contractor to undertake internal refurbishment works.

- Improve space utilisation, workflow efficiency and collaboration within the ISS SOC.

- Upgrade building finishes and infrastructure to support modern SOC operations.

- Execute refurbishment works within approved cost and time parameters.

# Scope of Work

## Scope of Bid

The bidder shall furnish all labour, materials, plant, equipment, supervision, and services required to complete the refurbishment works in accordance with applicable SANS standards, Occupational Health and Safety regulations, and SITA requirements.

Preparation work and preliminaries.

Demolition of existing partitions and finishes.

Painting works.

Supply and installation of partitions.

Ironmongery.

Limited electrical works.

## Description of Works

Bidders must complete the official Pricing Schedule (Excel) provided. The pricing schedule forms an integral part of this bid.

The following table depicts the unit of measure and quantity of the project scope of work:

Table 1: Description of Works

| Item No | Goods/Service description | Unit of measure | Qty |
| --- | --- | --- | --- |
| 1 | [PREPARATION WORK AND SUPPLY OF MATERIAL] |  |  |
| 1.1 | Preliminaries and General |  |  |
| 1.1.1 | Allow for protection material of existing structure | Sum | 1 |
| 1.1.2 | Removal/Disposal of all debris and surplus materials off site | Sum | 1 |
| 1.1.3 | Remove existing loose office furniture and store in the storeroom as per the above to be returned. | Sum | 1 |
| 1.2 | Demolitions |  |  |
| 1.2.1 | Remove existing partitioning screens and frame. | Sum | 1 |
| 1.2.2 | Remove existing Stainless Steel 304 Satin Door Handle and lock mechanism and replace with new (new installation elsewhere measured). | Sum | 2 |
| 2 | [CONSTRUCTION] |  |  |
| 2.1 | Painting |  |  |
|  | Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and /or masking floors, fittings and similar work. All paint work shall be in accordance with the specification. |  |  |
| 2.1.1 | On walls: Prepare, patch and make good all walls in preparation to receive paint. | m² | 112 |
| 2.1.2 | On walls: Paint two coats on walls with matching colour (broken white paint colour), similar or better. | m² | 112 |
| 2.1.3 | On skirting: Prepare and paint all wooden skirting in the entire room. All cracks shall be patched with a wood filler before painting. | m | 51 |
| 2.1.4 | On window frames: All peeling paint from window sills shall be removed and repainted in all the areas that will receive new paint. | m² | 60 |
| 2.1.5 | On doors: Paint existing doors with matching paint. | m² | 10 |
| 2.2 | PARTITIONS |  |  |
|  | Calculation as Lump Sum for complete task. |  |  |
| 2.2.1 | Supply and install partitioning not exceeding 2800mm high with bottom track plugged and top track fixed to suspended ceiling tees | m | 5 |
| 2.2.2 | Supply and install Type-2 shopfront. Approx. 3520×1800 glass frontage 5mm glazing aluminium shopfront partitioning not exceeding 2800mm high including double doors and laminate/ tint as indicated. | m | 11 |
| 2.3 | Ironmongery |  |  |
| 2.3.1 | Supply and Install Stainless Steel 304 Satin Door Handle with Plate and BB Key Hole | Each | 3 |
| 2.3.2 | Repair existing hinges and apply lubricant spray | Sum | 1 |
| 2.3.3 | Supply and Install 38mm Diameter cylindrical door stop, Ironware 5000 or similar approved | Each | 4 |
| 2.4 | Electrical |  |  |
| 2.4.1 | Supply and Install 4X4 16A Double Switched Socket Outlet White, in junction box mounted in ceiling (projectors) | Each | 2 |
| 2.4.2 | Supply and install GP Wire 2,5mm Sq. | m | 15 |
| 2.4.3 | Supply and install 20A Circuit Breaker | Each | 1 |
| 3 | Contingency Allowance |  |  |
|  | Provide an amount for contingencies equal to 10% of the total preliminaries and building works, all to be used as directed and approved by the client | Item | 1 |

## Exclusions

The following works are excluded from this bid.

Network cabling and ICT infrastructure

Fire detection and suppression systems

CCTV, access control, and other security systems

## Delivery address

The address where the required works must be delivered is:

| Building | Physical Address |
| --- | --- |
| SITA Centurion | John Vorster Drive, Centurion, Pretoria |

# Bid Evaluation Stages

The bid evaluation process consists of four stages, according to the nature of the bid. A bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation. The stages are:

Table 2: Technical Mandatory Requirements

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Mandatory Administrative Responsiveness | YES |
| Stage 2 | Technical Mandatory Responsiveness | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price and Preference Points Evaluation | YES |

## Mandatory Administrative Responsiveness (Stage 1)

### Attendance of briefing session.

- A Compulsory virtual briefing session will be held. Any bidder who fails to attend the compulsory virtual briefing session will be disqualified.

### Registered Supplier

- Only responses from bidders who are registered as a Supplier on National Treasury’s Central Supplier Database (CSD) in terms of National Treasury’s Instruction Note 4A of 2016/17 will be considered for award on this RFB.

## Technical returnable documents

### Instruction and evaluation criteria

- The bidder must comply with ALL the requirements as per the Technical Mandatory Requirements below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS for the bid response to proceed to the next stage of the evaluation.

### Technical mandatory requirements (Stage 2)

Table 3: Technical Mandatory Requirements

| Mandatory Requirements | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - CIDB Registration Requirement |  |  |
| The Bidder, must be registered with Construction Industry Development Board (CIDB) with a minimum rating of 3GB, or higher | The Bidder needs to complete and sign Annex B as evidence that the Bidder is registered with the CIDB with a minimum rating of 3GB or higher and attach this to Annex A. NOTE 1: SITA reserves the right to verify the information provided. NOTE 2: SITA reserves the right to validate the certificate of registration prior to the award of the bid. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 4.1 |
| - Special Conditions of Contract Verification |  |  |
| The Bidder must accept ALL the Special Conditions of Contract. | The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in Declaration of compliance and acceptance under the Special Conditions (Section 3.3.2). NOTE (1): Failure to accept ALL the Special Conditions of Contract will result in disqualification. | <Provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 4.2> |

## Special Conditions of Contract Verification (Stage 3)

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions; or

  - Automatically disqualify a bidder for not accepting these conditions; or

- If the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 3.3. (b) above.

### Special Conditions of Contract

#### Contracting Conditions

- Formal Contract - The supplier must enter into a formal written contract (agreement) with SITA.

- Right to Audit - SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- The site is a National Keypoint and regulations must be observed.

#### Delivery Address

- The supplier must deliver the required products or services at as indicated in Section 2.2, Delivery Address

#### Services and Performance Metrics

  - The Service Provider is responsible to provide the following services as specified in the (SBS):

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Project Planning and Scheduling: - Development of a detailed project schedule with milestones and timelines. - Task allocation and resource planning | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Risk Management: - Identification of potential risks and development of mitigation strategies. - Ongoing risk assessments throughout the project | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Site Preparation Services: - Site Inspection and Surveys - Pre-installation site surveys to assess readiness. - Measurement and documentation of the site’s current condition. - Site Clearance and Preparation - Clearing the site of any obstructions or debris. - Ensuring that all utilities (e.g., power, water) are available and functional. - Health and Safety Compliance - Implementation of health and safety measures for personnel. - Regular health and safety checks throughout the project. | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | The successful bidder will have to present samples of material to be used where required. The samples presented will be agreed upon with SITA project management team, before the commencement of the project. |  |  |

#### Supplier Performance Reporting

- The successful bidder will provide a progress report on a weekly basis to SITA project team/project manager, during the design, preparation work, installation and implementation phase until the project life cycle is completed.

- Scheduled bi-weekly meetings to be scheduled as well as ADHOC meetings when required from both the successful bidder and SITA.

- The report type will be driven by the service level agreement; definitions of the content of each report type will be finalised at the time of concluding the contract service level agreement).

#### Certification, Expertise and Qualification

- The bidder certifies that:

  - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition

  - it is committed to provide the Products or Services; and

  - perform all obligations detailed herein without any interruption to the Customer

  - it has been certified for the Products and Services required

#### Logistical Conditions

- Hours of Work

  - Office hours are defined as business working hours of the customer and is Mondays to Fridays between 08:00 and 16:30

  - After hours of the customer during weekdays are from 16:30 to 08:00

  - All mission critical sites will be managed on a 24 x 7 x 365 basis

- Tools of Trade

  - The bidder is expected to use its own resources (cell phone, laptops etc) to communicate with its own offices or outside of the SITA buildings, including all tools and equipment to render the services effectively.

#### Company and Personnel Security Clearance

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation.

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

    - Copy of identity document.

    - Copy(ies) of qualification(s) if SITA requires verification thereof.

    - Fingerprints – will be taken electronically.

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by SITA or DI. The following documentation will be required for the security clearance process:

- Completed Z204 or DD1057 security clearance application form.

- Fingerprints; and

- Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

#### Confidentiality and non-disclosure conditions

- The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information

- Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain, and which becomes available or accessible to a Party because of this Contract, including information or data which is prohibited from disclosure by virtue of:

  - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000).

  - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract.

  - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality.

  - being information provided by one Party to another Party during contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party.

  - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person.

  - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party.

  - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

  - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

  - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

- Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure.

- Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute.

- Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

#### Guarantee and warranties

- The supplier confirms that:

  - The warranty of goods supplied under this contract remains valid for the duration of 5 years after the goods were delivered and installed with a sign off, including the clients signature

  - Data cables carry a different warranty in line with MIOS requirements as can be located at www.sita.co.za/prodcert.htm under the Network domain.

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period at no expense to SITA;

#### Intellectual Property Rights

- SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

  - termination or expiration date of this Contract;

  - the date of completion of the Services; and

  - the date of rendering of the last of the Deliverables

- If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control

- SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services

- Provide SITA with the compliant Occupational Health and Safety File (required on site for period of installation and proof of compliance).

#### Counter Conditions

- Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

#### Fronting

- The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA will not condone any form of fronting.

- The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

#### Business Continuity and Disaster Recovery Plans

- The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

#### Supplier Due Diligence

- SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced / non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

#### Preference Goal Requirements conditions

- The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

- The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

- Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

- Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

- SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

- SITA reserves the right to verify information / evidence provided by the Bidder.

- SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

### Declaration of compliance and acceptance SCC

I (we), the bidder hereby declare that I (we) accept ALL the Special Conditions of Contract as specified in par 3.3.1 above and shall comply with all stated obligations:

Name of Bidder:_____________________________	Signature: _________________________

Date:______________

## Price and Preference Points Evaluation (Stage 4)

### Costing and Preference Evaluation

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable for this Bid:

  - the 80/20 system (80 Price, 20 Specific Goals) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included)

- The Bidder must complete the 80/20 preference point system based on the offer submitted by the Bidder and submit proof of documentation required in terms of this tender.

- Points will be allocated for each of the Preferential Goal Requirements for this tender as indicated in table 5.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

Table 4: Points Allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

### Costing and Pricing Conditions

- South African Pricing

# The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- Total Price

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - All additional costs as well as cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All services, accessories, upgrades and options required by the solution or specified by the client must be included in the quoted price. If not included, suppliers will be required to supply these accessories at no cost to the client.

  - SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities

- These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

- The bidder must complete the declaration of acceptance as per par 3.4.4 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

### Bid Pricing Schedule

# Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission. The Excel spreadsheet consist of one (1) Sheets

### Declaration of Acceptance

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in par 3.4.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in par 3.4.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and. - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

### Preference Requirements

#### Costing and Preference Evaluation

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in table 5 based on the offer submitted by the Bidder.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to Annex A.

- Preference Goal Requirements

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in Table 5 below.

  - Failure on the part of a bidder to complete 80/20 preference point systems and submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements, will be interpreted to mean that preference points for specific goals are not claimed.

  - The Bidder must indicate how they claim points for each of the preference points.

  - Failure on the part of a bidder to submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding, and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (g), (h) and (i) above.

Table 5: Preference Goal Requirements (Specific Goals)

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements |  |
| --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below | Evidence Reference |
|  | B-BBEE Requirements |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | Evidence: The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for: - Columns A, B, C and D in table 6 # Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act: - B-BBEE certificate (from a SANAS Accredited Agency); # or # Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only; # and/ or - Column D in table 6 # Copy of South African Identification Document (ID); and/ or - Column E in table 6 # Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in table 6. | <provide unique reference to locate substantiating evidence in the bid response – Annex A, par 4.3> |

Table 6: B-BBEE Points as part of the Preference Goal requirements (Preferential Goal Requirements for (80/20) system)

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | EME/QSEs | Black Owned (BO) (51% or more) | Black Woman Owned (BWO) (More than 30%) | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |  |
|  |  |  | (A) | (B) | (C) | (D) | (E) | (F) |  |  |
|  | 1 | Level 1 | 6 | 6 | 4 | 2 | 2 | 20 |  |  |
|  | 2 | Level 1 | 6 | 4 | 2 | 2 | 0 | 14 |  |  |
|  | 3 | Level 1 | 6 | 4 | 2 | 0 | 0 | 12 |  |  |
|  | 4 | Level 1 | 6 | 4 | 0 | 0 | 0 | 10 |  |  |
|  | 5 | Level 2 and 3 | 4 | 2 | 1 | 1 | 1 | 9 |  |  |
|  | 6 | Level 2 and 3 | 4 | 2 | 1 | 1 | 0 | 8 |  |  |
|  | 7 | Level 2 and 3 | 4 | 2 | 1 | 0 | 0 | 7 |  |  |
|  | 8 | Level 2 and 3 | 4 | 2 | 0 | 0 | 0 | 6 |  |  |
|  | 9 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0,5 | 4,5 |  |  |
|  | 10 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0,5 | 0 | 3,5 |  |  |
|  | 11 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0 | 0 | 3 |  |  |
|  | 12 | Level 4 and 5 | 2 | 0,5 | 0 | 0 | 0 | 2,5 |  |  |
|  | 13 | Level 6 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 14 | Level 7 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 15 | Level 8 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 16 | Non-Contributor | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | Total Maximum Score Allocation: |  | 20 |  |  |  |  |  |  |  |

Bidder Substantiating Evidence

# Technical Mandatory Requirement Evidence

## CIDB Registration Requirements

The Bidder needs to complete, sign and submit Annex B as evidence that the Bidder, is registered with the CIDB with a minimum rating of 3GB or higher and attach this here.

NOTE 1:

SITA reserves the right to verify the information provided.

NOTE 2:

SITA reserves the right to validate the certificate of registration prior to the award of the bid.

## Special Conditions of Contracts Verification

The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in Declaration of compliance and acceptance under the Special Conditions (Section 3.3.2).

## Preference Points Preferential Goals Evidence

The Bidder must:

      - Preference Goal Requirements:

          - Bidder to select the section for points they wish to claim (Mark as Y=Yes) in table 6 in section 3.4, dependant on which preference system the Bidder selects in line with section 3.4; and

          - Provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for as set out in table 6 in section 3.4 and attach it here:

    - Columns A, B, C and D in Table 6:

# Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act:

- B-BBEE certificate (from a SANAS Accredited Agency); or

- Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only; and/ or

    - Column D in Table 6:

Copy of South African Identification Document (ID): and/ or

    - Column E in Table 6:

# Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act.

      - Indicate their commitment to claim points for each of the preference points by signing at par 4.3 in the Invitation to Bid document.

CIDB Registration Requirements

The Bidder needs to complete and sign to confirm that the bidder is registered with the Construction Industry Development Board (CIDB) with a minimum rating or higher of 3GB or higher.

      - The Bidder needs to indicate the Bidder, CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating | Bidder to Indicate the Bidder, CIDB rating here | CRS Number |
| --- | --- | --- | --- |
| CIDB Rating | 3GB |  |  |
|  | Higher |  |  |

      - The Bidder confirms and will ensure compliance to the CIDB Basic Guide General Conditions of Contract for Construction Works (GCC 2004).

NOTE 1:

SITA reserves the right to verify the information.

I, the Supplier (Full names) …………………………………………………. Representing (company name) …………………………………………………………….. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus, done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation: