Specs for RFQ: ITS012509RFQ00000051

- ELECTRODE PH FLOW GLASS REFILLABLE W/O TEMP S7 CONN (Electrode: METTLER TOLEDO, pH Sensor LE 420)

*The electrode (picture attached below) should be compatible with the Steroglass Flash automatic titrator.

- ACCESSORY: S7/BNC CABLE FOR PH ELECTRODES