MAKHUDUTHAMAGA LOCAL MUNICIPALITY

PROJECT NO: LIM473/CCTV CAMERA/23/24/048

Maintenance and support of IP Based CCTV Camera Surveillance system for a period of three years.

| ISSUED BY: |  | PREPARED BY: |  |
| --- | --- | --- | --- |
| Supply Chain Management Unit Mr Mothapo KJ Manager: SCM Private Bag X 434 Jane Furse 1085 Tel: 013 265 8607 Fax: 013 265 1975 Email: khalabomj@makhuduthamaga.gov.za |  | Budget & Treasury Department Mr Mathabathe CS Acting Chief Financial Officer Private Bag X 434 Jane Furse 1085 Tel: 013 265 8625 Fax: 013 265 1975 Email:collenm@makhuduthamaga.gov.za |  |
| NAME OF BIDDER |  | : |  |
| TENDER AMOUNT |  | : |  |
| TEL NUMBER |  | : |  |
| FAX NUMBER |  | : |  |
| EMAIL ADDRESS |  | : |  |

Maintenance and support of IP Based CCTV Camera Surveillance system for a period of three years.

Contents

The Bid

Part 1: Bidding Procedures									Page

1.1		Bid Notice and Invitation to Bid					03

Part 2: Returnable Documents

2.1	procedure for Evaluation							05

2.2	List of Returnable Documents						08

Part 3: Agreement and Contract Data

3.1		Form of Offer and Acceptance					17

Part 4: Pricing Data

4.1		Pricing Instructions							19

4.2		Scope of work								20-26

Part 5: Declaration										27

Part 6: MBD9											31

MAKHUDUTHAMAGA LOCAL MUNICIPALITY

Bid Notice and Invitation to Bid

Bidders are hereby invited to bid for the following projects:

| No. | Project No. | Project Description. | Closing Date |
| --- | --- | --- | --- |
| 1. | LIM473/INSURANCE/23/24/049 | Provision of short term comprehensive insurance cover for Makhuduthamaga Local Municipality for a period of (3) three years | 29 April 2024 @ 12H00 PM |
| 2. | LIM473/CAMERA/23/24/050 | Maintenance and Support of IP Based CCTV Camera surveillance system for a period of three years | 29 April 2024 @ 12H00 PM |

The employer is Makhuduthamaga Local Municipality represented by the Municipal Manager.

Bid documents will be obtainable from Makhuduthamaga Local Municipal offices from 09th of April 2024 (Mon-Fri from 08:00-16:30) from the cashiers; at a non-refundable deposit R560.00 for each payable in cash or bank guaranteed cheque. Bid documents can also be downloaded from online service (www.etender.gov.za) at no cost.

Completed and signed tender documents must be sealed in an envelope and marked with the relevant project  number and project description and be deposited in the tender box at Makhuduthamaga Local Municipality Offices in Jane Furse before the closing date and time.

The municipality shall adjudicate and award tenders in accordance with the Preferential Procurement Policy Framework Act. 5/2000 and revised procurement regulation with effect 16 January 2023 on 100 points for functionality and  80/20 points system where 80 points are for the price and 20 points  for municipal specific goals (according to the said legislation).Details of specific goals are in the bid document. Bid will remain valid for 90 (Ninety) days

The lowest and any tender will not necessarily be accepted and the Municipality reserves the right not to consider any tender not fully completed. Bidders are required to initial each page of the tender document and sign where necessary.

For enquiries contact:

Supply Chain Unit		: 	 Mr Mothapo KJ - 013 265 8607

Budget and treasury		: 	 Makgalemane TM - 013 265 8652

Corporate Services		:             Matsimela MJ – 013 265 8655

Mr Moganedi RM

MUNICIPAL MANAGER, PRIVATE BAG X 434, JANE FURSE, 1085

Maintenance and Support of IP Based CCTV Camera Surveillance system for a period of three years

Bid offers will only be accepted if the bidder is free of any common conflict of interest with the Makhuduthamaga Local Municipality.

Part		Bid Data

Number

1.2.1.		The employer is MAKHUDUTHAMAGA LOCAL MUNICIPALITY

1.2.2		The bid documents issued by the employer comprise:

1.1	Bid notice and invitation to bid

1.2	Bid data

2.1	List of returnable documents

Part 1:	Agreements and contracts data

C1.1	Form of offer and acceptance

Part 2:	Pricing data

C2.1	Pricing instructions

C2.2	Specification

1.2.3	The employer’s agent is the  Municipal manager.

Tel:	(013)	265 8600

Fax:	(013)	265 1975

1.2.4	Only Bidders who are registered with central supplier database (CSD) will be considered.

1.2.5	The arrangements for a compulsory clarification meeting are as stated in the Bid Notice and Invitation to Bid.

1.2.6	If a bidder wishes to submit an alternative bid offer, the only criteria permitted for such alternative bid offer is that it demonstrably enables the Employer’s objectives for the services as stated in the Scope of Work to be achieved.

1.2.7 All parts of each bid offer communicated on paper shall be submitted as the original.

1.2.8 The employer’s address for delivery of bid offers and identification details to be shown on each bid offer package is:

BID BOX (TENDER BOX)

MAKHUDUTHAMAGALOCALMUNICIPALITY

GROBLERSDAL ROAD

JANE FURSE

1.2.9	The closing time for submission of bid offers is as stated in the Bid Notice and Invitation to Bid.

1.2.10	Telephonic, telegraphic, telex, facsimile or e-mailed bid offers will not be accepted.

1.2.11	The bid offer validity period is ninety (90) days.

1.2.12	The bidder is required to submit with his/her bid all required documents as listed in the list of returnable documents as part of the eligibility criteria.

1.2.13	The Bid/Proposal will be opened immediately after the closing time for bids only to confirm the bidder, at:

MAKHUDUTHAMAGALOCALMUNICIPALITY

GROBLERSDAL ROAD

JANE FURSE

1.2.14	The procedure for the evaluation of responsive bids will be on 80/20 points system, where 80 points are for price and 20 points are for specific goals.

1.2.15	Bid offers will only be accepted if:

1.2.15.1	The bidder has registered with the central supplier database (CSD);

1.2.15.2	The bidder or any of its directors is not listed on the Register of Bid Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector;

1.2.15.3	The bidder has not:

- abused the Employer’s Supply Chain Management System; 	or

- failed to perform on any previous contract and has been given a written notice to this effect;

1.2.15.4	The bidder has completed the Compulsory Enterprise           questionnaire and there are no conflicts of interest which may impact on the bidder’s ability to perform the contract in the best interests of the employer or potentially compromise the bid process; and

1.2.15.5	Proof of municipal rates and taxes for both the company and the directors are attached not older than three months of the closing date of the tender.

      - The bidder or any of its directors is not employed by the state.

FUNCTIONALITY

The quality criteria and maximum score in respect of each of the criteria are as follows:

| Item | Criterion | Weighting |
| --- | --- | --- |
| A | Company/ Entity’s experience. | 50 |
| B | Experience Key Personnel-team leader | 20 |
| C | Registration with Private Security Industry Regulatory Authority (PSiRA) | 10 |
| D | Organizing and Staffing | 20 |
| TOTAL |  | 100 |

1.Company Experience - in relation to the scope  : (50)

-tick the applicable one and attach the previous appointment letters.

| Item | Experience | Points allocation | Tick the applicable one | Points by the municipality |
| --- | --- | --- | --- | --- |
| 1. | No orders or appointment letters with contactable reference letters attached. | 0 |  |  |
| 2. | 3 to 4 Appointments letters with contactable reference letter | 30 |  |  |
| 3. | 5 appointment letters and above with contactable reference letter | 50 |  |  |

N.B-attach the previous appointment letters or/orders for work done in different institutions Note: The Municipality has the right to verify the validity of the supporting documents.

2. Experience of Project Leader in relation to CCTV cameras maintenance and support (attach CV and qualifications) (20)

| Item | Experience on curriculum vitae | Points allocation | Tick the applicable one | Points by the municipality |
| --- | --- | --- | --- | --- |
| 1. | No CV attached | 0 |  |  |
| 2. | With 1 – 3 years experience | 5 |  |  |
| 3. | With > 3 years experience | 10 |  |  |

3.Registration with Private Security Authority (PSiRA) (10 )

| Item |  | Points allocation | Tick the applicable one | Points by the municipality |
| --- | --- | --- | --- | --- |
| 1. | One team member and Company Registered with Private Security Industry Regulatory Authority (PSiRA) | 10 |  |  |

4. Organizing and Staffing (20)

| Item | Details | Points allocation | Tick the applicable one | Points by the municipality |
| --- | --- | --- | --- | --- |
| 1. | No Organogram attached | 0 |  |  |
| 2. | Organogram attached | 10 |  |  |
| 3. | Organogram with CVs and Qualifications of Team members | 20 |  |  |

Minimum score for functionality is 60%. Bidders who score 60 points and above, will be evaluated further on 80/20 points system where 80 points will be for price and 20 points will be for specific goals .

###### 3.2. Price formula

Np = 80[1 – (Pt – Pmin)]

Pmin

Where-

Ps	=	Points scored for price of tender under consideration;

Pt	=	Price of tender under consideration; and

Pmin	=	Price of lowest acceptable tender.

20 points will be for specific goals

| NO | DESIGNATED GROUP | SPECIFIC GOALS (20 POINTS) |
| --- | --- | --- |
| 1 | Black People | 4 |
| 2 | Youth | 4 |
| 3 | Women- ownership of more than 50 % | 2 |
| 4 | Small, Medium and Micro Enterprises (SMMEs) | 4 |
| 5 | People with disability | 2 |
| 6 | Enterprises within Makhuduthamaga jurisdiction | 4 |

- The points scored by a tenderer in respect of the specific goals above must be added to the points scored for price.

- Only the tender with the highest number of points scored may be selected.

2.1. Criteria for breaking deadlock in scoring

(1) If two or more tenderers score an equal total number of points, the contract must be awarded to the tenderer that scored the highest points for specific goals.

(2) If two or more tenderers score equal total points in all respects, the award must be decided by the drawing of lots.

2.2. Exemption

The Minister may, on request, exempt an organ of state from any or all the provisions of this Act if-

(a) It is in the interest of national security

(b) The likely tenderers are international suppliers; or

(c) It is in the public interest

2.3.AWARD OF CONTRACTS TO TENDERERS NOT SCORING HIGHEST POINTS

    - A contract may be awarded to a tenderer that did not score the highest points only in accordance with Section 2(1)(f) of the Act.

    - If the entity intends to apply objective criteria in terms of Section 2(1)(f) of the Act, the entity should stipulate in the tender documents.

Maintenance and Support of IP Based CCTV Camera surveillance system for a period of three years

3.1	List of Returnable Documents

Returnable schedules required for bid evaluation purposes (This Document)

- Compulsory Enterprise Questionnaire

- Certificate of authority to sign documents (include for Joint Ventures / Consortia agreement where applicable)

- Proposed Amendments and Qualifications

- Certificate for Municipal Services and Payments (for the company and the director(s)). An affidavit from SAPS must be attached in case of bidders who are not paying rates and taxes e.g. in a rural areas. In case of lease, lease agreement must be attached.

- Authorisation for deduction of outstanding amounts owed to Council

- Certified ID copies for all the directors.

- Company profile.

- Company PSiRA Registration certificate

- Team Leader/Project Manager PSiRA Certificate

- COIDA – Letter of Good Standing

- UIF – Proof of registration

3.2.	Other documents that will be incorporated into the contract

    - Original bid document

    - Addendum – if issued

    - Original Proof of purchase of the original bid document

Note   : All copies must be certified

: Use black pen only.

: All correction must be signed by the authorised person.

: Use of correction pen (tippex) is prohibited.

: Failure to adhere any of the above will lead to automatic disqualification

Record of Addendum to Bid Documents

| We confirm that the following communications received from the Employer before the submission of this bid offer, amending the bid documents, have been taken into account in this bid offer: |  |  |
| --- | --- | --- |
|  | Date | Title or Details |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| 4. |  |  |
| 5. |  |  |
| 6. |  |  |
| 7. |  |  |
| 8. |  |  |

Attached additional pages if more space is required.

Signed		___________________________	Date	_________________________

Name		___________________________	Position_________________________

Bidder	__________________________________________________________________

4. Compulsory Enterprise Questionnaire

The following particulars must be furnished. In the case of a joint venture, separate enterprise questionnaires in respect of each partner must be completed and submitted.

Section 1: Name of enterprise: …………………………………………………………………………………..

Section 2: VAT Registration number, if any: …………………………………………………………………..

Section 3: Particulars of sole proprietors and partners in partnerships Name*; Identity Number*; Personal income tax number*. *Complete only if sole proprietor or partnership and attach separate page if more than 3 partners

Section 5: Particulars of companies and close corporations Company registration number ……………………………………………………………………………………………… Close corporation number ………………………………………………………………………………………………….. Tax reference number ……………………………………………………………………………………………………….

Section 6: Record in the service of the state Indicate by marking the relevant boxes with a cross, if any sale proprietor, partner in a partnership or director, manger, principal shareholder or stakeholder in a company or close corporation is currently or has been within the last 12 months in the service of any of the following: a member of any municipal council an employee of any provincial department, national or a member of any provincial legislature, provincial public entity or constitutional institution within the a member of the National Assembly or the meaning of the Public Finance Management Act, (Act 1 of 1999) National Council of Province a member of an accounting authority of any national or a member of the board of directors of any provincial public entity municipal entity an employee of parliament or a provincial legislature an official of any municipality or municipal entity If any of the above boxes are marked, disclose the following: Name of sole proprietor, partner, director, manager, principal shareholder or stakeholder; Name of institution, public office, board or organ of state and position held; Status of service (tick appropriate column). Current; Within last 12 months. *insert separate page if necessary

Section 7: Record of spouses, children and parents in the service of the state Indicate by marking the relevant boxes with a cross, if any spouse, child or parent of a sole proprietor, partner in a partnership or director, manager, principal stakeholder or stakeholder in a company or close corporation is currently or has been within the last 12 months been in the service of any of the following: a member of any municipal council an employee of any provincial department, national or a member of any provincial legislature, provincial public entity or constitutional institution within the a member of the National Assembly or the meaning of the Public Finance Management Act, (Act 1 of 1999) National Council of Province a member of an accounting authority of any national or a member of the board of directors of any provincial public entity municipal entity an employee of parliament or a provincial legislature an official of any municipality or municipal entity Name of spouse, child or parent; Name of institution, public office, board or organ of state and position held; Status of service (tick appropriate column). Curre; Within last 12 months. *insert separate page if necessary

The undersigned, who warrents that he / she is duly authorised to do so on behalf of the enterprise: i) authorizes the Employer to obtain a tax clearance certificate from the South African Revenue Services that my / our tax matters are in order; ii) confirms that the neither the name of the enterprise or the name of any partner, manager, director or other person, who wholly or partly exercises, or may exercise, control over the enterprise appears on the Register of Bid Defaulters established in terms of the Prevention and Combating of Corrupt Activiteis Act of 2004; iii) confirms that no partner, member, director or other person, who wholly or partly excercises, or may exercise, control over the enterprise appears, has within the last five years been convicted of fraud or corruption; iv) confirms that I / we are not associated, linked or involved with any other biding entitities submitting bid offers and have no other relationship with any of the bidders or those responsible for compiling the scope of work that could cause or be interpreted as a conflict of interest; and iv) confirms that the contents of this questionnare are witin my personal knowledge and are to the best of my belief both true and correct.

Signed		_____________________________	    Date _________________________

Name		_____________________________	    Position________________________

Enterprise Name	________________________________________________

Certificate of Authority

Indicate the status of the tenderer by ticking the appropriate box hereunder.  The tenderer must complete the certificate set out below for the relevant category.

| A Company | B Partnership | C Joint Venture | D Sole Proprietor | E Close Corporation |
| --- | --- | --- | --- | --- |

A.	Certificate for company

I,………………………………………………., chairperson of the board of directors of …………………………………………………, hereby confirm that by resolution of the board (copy attached) taken on ……………….20…., Mr/Mrs……………………….acting in the capacity of………………………………………………….,was authorised to sign all documents in connection with this tender and any contract resulting from it on behalf of the company.

As witness

1…………………………………….			………………………………………
.							Chairman

2…………………………………….			………………………………………..
							Date

B.	Certificate of partnership

We, the undersigned, being the key partners in the business trading as ………………………………

hereby authorise Mr/Mrs……………………………………………………, acting in the capacity of…………………………………………to sign all documents in connection with the tender for Contract……………………………………………………………and any contract resulting from it on our behalf.

| NAME | ADDRESS | SIGNATURE | DATE |
| --- | --- | --- | --- |

NOTE:  This certificate is to be completed and signed by all of the key partners upon whom rests the direction of the affairs of the Partnership as a whole.

C.	Certificate for Joint Venture

We, the undersigned, are submitting this tender offer in Joint Venture and hereby authorise Mr/Mrs………………………….., authorised signatory of the company …………………………,

Acting in the capacity of lead partner, to sign all documents in connection with the tender offer for Contract…………………………………………and any other contract resulting from it on our behalf.

This authorisation is evidenced by the attached power of attorney signed by legally authorised signatories of all the partners to the Joint Venture.

| NAME OF FIRM | ADDRESS | AUTHORISING SIGNATURE, NAME & CAPACITY |
| --- | --- | --- |

D.	Certificate for sole proprietor

I, ………………………………………………., hereby confirm that I am the sole owner of the business trading as…………………………………………………………………………………...

As Witness:

1…………………………………………………..		………………………………
								Signature: Sole owner

2………………………………………………….		……………………………….
								Date

E.	Certificate for Close Corporation

We, the undersigned, being the key members in the business trading as………………………………………hereby authorise Mr/Mrs……………………………………

Acting in the capacity of……………………………………………………, to sign all documents in connection with the tender for Contract……………………………………………and any contract resulting from it on our behalf.

| NAME | ADDRESS | SIGNATURE | DATE |
| --- | --- | --- | --- |

NOTE: This certificate is to be completed and signed by all key members upon who rests the direction of the affairs of the Close Corporation as a whole.

5. CERTIFICATE FOR MUNICIPAL SERVICES AND PAYMENTS

TO:	MUNICIPAL MANAGER, MAKHUDUTHAMAGA LOCAL MUNICIPALITY

FROM: _____________________________________________ (Name of Bidder)

FURTHER DETAILS OF BIDDER(S); DIRECTORS/SHAREHOLDERS/PARTNERS, ETC.

| Directors/shareholders/Partner | Physical address of the Business | Municipal Account No. | Physical residential address of the Director/Shareholder/Partner | Municipal Account No. |
| --- | --- | --- | --- | --- |

NB: Please attach certified copy (ies) of ID document(s) and proof of payment not older than 3 months

____________________						______________

Signatory								Date

Witnesses

1. ___________________		________________		______________

Full Names				Signature			Date

2. ___________________		________________		______________

Full Names				Signature			Date

AUTHORISATION FOR DEDUCTION OF OUTSTANDING AMOUNTS OWED TO COUNCIL

TO:	MUNICIPAL MANAGER, MAKHUDUTHAMAGA LOCAL MUNICIPALITY

FROM: ________________________________ (Name of the Bidder or Consortium)

I, ________________________________ the undersigned, hereby authorise the Makhuduthamaga Local Municipality to deduct the full amount outstanding by the business organisation/Director/Shareholder/Partner, etc. from the payment that will be made to me.

Signed at ________________________ Date_____ Month _______ 2023

Print Name: ______________________

Signature: _______________________

Thus done and signed for and on behalf of the bidder

____________________						______________

Signatory								Date

Witnesses

1. ___________________		________________		______________

Full Names				Signature			Date

2. ___________________		________________		______________

Full Names				Signature			Date

6. Maintenance and Support of IP Based CCTV Camera surveillance system for a period of three years

Form of Offer and Acceptance

Offer

The employer, identified in the acceptance signature block, has solicited offers for the

Maintenance and Support of IP Based CCTV Camera surveillance system for a period of three years The bidder, identified in the offer signature block, has examined the documents listed in the bid data and addenda thereto as listed in the returnable schedules, and by submitting this offer has accepted the conditions of bid.

By the representative of the bidder, deemed to be duly authorized, signing this part of this form of offer and acceptance, the bidder offers to perform all of the obligations and liabilities of the service provider under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the contract data.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VALUE ADDED TAX IS: ------------------

------------------------------------------------------------ (Rands VAT Inclusive/ exclusive )

................................................................................................................................................................................................................................................................................................................................................................................................................................................ (Amount In words)

This offer may be accepted by the employer by signing the acceptance part of this form of offer and acceptance and returning one copy of this document to the bidder before the end of the period of validity stated in the bid data, whereupon the bidder becomes the party named as the Service Provider in the conditions of contract identified in the contract data.

for the bidder

Signature	…………………………………………..	Date	……………………………………

Name		…………………………………………..

Capacity	…………………………………………..

(Name and	…………………………………………………………………………………………………

address of

organization)	…………………………………………………………………………………………………

…………………………………………………………………………………………………

Name and

signature

of witness	…………………………………………..		…………………………………….

Acceptance

By signing this part of this form of offer and acceptance, the employer identified below accepts the bidder’s offer.  In consideration thereof, the employer shall pay the service provider the amount due in accordance with the conditions of contract identified in the contract data.  Acceptance of the bidder’s offer shall form an agreement between the employer and the bidder upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the bidder receives on fully completed original copy of this document.  Unless the bidder (now service provider) within five working days of the data of such receipt notifies the employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the parties.

Signature	……………………………………………	Date	…………………………………….

Name		……………………………………………

Capacity	……………………………………………

for the Makhuduthamaga Local Municipality

…………………………………….

……………………………….……

…………………………………….

Name and	……………………………………………	Date	…………………………………….

signature

of witness	……………………………………………

7. 	Data Provided by the Service Provider

| Clause 7.1 7.2 7.3 | The Service Provider is …………………………………………………………. Address: ………………………………………….. Telephone: ………………………………………….. Fax simile: ………………………………………….. The authorized and designated representative of the Service Provider is: Name: …………………………………………. The address for receipt of communication is: Telephone: ………………………………………….. Fax simile: ………………………………………….. Address: …………………………………………. |
| --- | --- |

MAKHUDUTHAMAGA LOCAL MUNICIPALITY

8.	Pricing Instructions

  - Background and Current Infrastructure

The Municipality is currently having a total of five (5) sites with IP based surveillance system that should at all times be operational.

Site 1:  Main office

Number of Cameras   30

Types of Cameras – Hikvision Dome and Bullet cameras

Type and size of NVR (Network Video Recorder) 32 channel Hikvision x 2

Application in use Wisenet

Internet Connectivity at 100mbps

Site 2:  Kgaola Mafiri Building

Number of Cameras 32

Types of Cameras – Hikvision Dome, Bullet and PTZ Cameras

Type and size of NVR (Network Video Recorder) 32 channel Hikvision x 2

Application in use – Wisenet

Internet Connectivity at 100mbps

Site 3: Sekhukhune Traffic Station

Number of Cameras 7

Types of Cameras – Hikvision Dome and Bullet

Type and size of NVR (Network Video Recorder) 32 channel Hikvision x 1

Application in use – Wisenet

Internet Connectivity at 100mbps

Site 4: Nebo Traffic Station

Number of Cameras 8

Types of Cameras – Hikvision Dome and Bullet

Type and size of NVR (Network Video Recorder) 32 channel Hikvision x 1

Application in use – Wisenet

Internet Connectivity at 100mbps

Site 5: Community Services

Number of Cameras 10

Types of Cameras – Hikvision Dome and Bullet

Type and size of NVR (Network Video Recorder) 32 channel Hikvision x 1

Application in use – Wisenet

Internet Connectivity at 100mbps

  - SCOPE

- The scope of work shall include Maintenance and Support of IP based CCTV Camera Surveillance system for period of (03) Three years

Integrated Remote Monitoring System in totality. Including related wiring, conduit laying and civil jobs.    Including full maintenance of the system

- It shall Transmit and Receive H.265+.

- Support for multi user and multi user group environment in addition to user hierarchy.

- System should allow to be used as a distributed or central architecture with support to any number of cameras that may be added in future.

- The system shall provide Broadcast quality Video across IP network including internet.

- The system shall provide real time recording at 30fps with no frame loss.

- The system shall support Multiple IP Video Streams.

- The system shall provide secured recording for evidence purposes and user authentication to protect data integrity.

- Video Stream bit rate shall be selectable from 32 Kbps to 8 Mbps.

- Network Surveillance IP cameras including indoor and outdoor installations.

- Reception of the digital video from all cameras at the Control room called Central Monitoring Station (CMS). Surveillance should be Internet based System and proper interface should be provided to access the recording over the Web Browser from other networks.

- CMS should have a Network Video Recorder for all control, monitoring on a LED display, data

logging and recording. On line replay capability from Backup disks for a period up 6 months

- NEW ITEMS (To be used for new Installations)

  - Outdoor Bullet Camera    				RATE PER UNIT: R

Specifications:

- Supports Resolution2592 × 1944P 4 Mega Pixels

- Waterproof IP67 (IEC 60529-2013), IK10 (IEC 62262:2002)

- 2.8 - 12mm Auto Iris Vari-Focal Lens

- IR Range Up to 60 m Wavelength 850 nm

- Powered-by-DarkFighter technology

- Day & Night ICR Cut

- 2.8-12mm Varifocal Lens

- Lens Type & FOV – 2.8 to 12 mm, horizontal FOV 108° to 30°, vertical FOV 56° to 17°, diagonal FOV 131° to 35°

- 12 VDC ± 25%, reverse polarity protection PoE：802.3at, class 4

- Main stream: H.265+/H.264 Sub-stream: H.265+/H.264/MJPEG Third stream: H.265+/H.264

- Wall mount accessories

  - Bullet Camera Warehousing                          RATE PER UNIT: R

- Small CCTV Camera Enclosure, Compact Weatherproof Housing.

Specifications:

- Forward opening hinged lid

- Aluminum Construction

- Designed for Indoor / Outdoor applications

- Easy access for service and instillation

- Mounting place for outdoor bracket

- Compact design

- 9.5in L (11in with shield) x 4.25in H X 5.5in W

- Bone Colour (off white)

- Works with CCTV and IP security cameras

- Camera Bracket 10”

- Lightning Protection to be installed on all Outdoor Cameras.

  - Indoor Dome Camera.					     RATE PER UNIT: R

Specifications:

- Supports Resolution 2048 × 1536, 4 Mega Pixels

- Waterproof IP66 (IEC 60529-2013), IK10 (IEC 62262:2002)

- 2.8 - 12mm Auto Iris Vari-Focal Lens

- IR Range Up to 40 m Wavelength 800 nm

- 3D Digital Noise Reduction

- Powered-by-DarkFighter technology

- Day & Night ICR Cut

- 2.8-12mm Varifocal Lens

- Lens Type & FOV – 2.8 to 12 mm, horizontal FOV 108° to 30°, vertical FOV 56° to 17°, diagonal FOV 131° to 35°

- 12 VDC ± 25%, reverse polarity protection PoE：802.3at, class 4

- Main stream: H.265+/H.264 Sub-stream: H.265+/H.264/MJPEG Third stream: H.265+/H.264

- Wall mount accessories

- 3 Axis Mounting Bracket for Ceiling or Wall Installation

  - Push to Zoom Camera (PTZ)                                           RATE PER UNIT: R

- Outdoor 2-MP 32 X Network IR PTZ Camera. 1/2.8` Progressive Scan

- Lightning Protection to be installed on all Outdoor Cameras.

Specifications:

- 2MP 32 X Network IR PTZ Camera

- Movement Range (Pan)360° endless

- Pan SpeedPan manual speed: 0.1° to 120°/s,Pan preset speed: 120°/s

- Tilt SpeedTilt manual speed: 0.1° to 80°/s,Tilt preset speed: 80°/s

- Proportional Zoom Rotation speed can be adjusted automatically according to zoom multiples

- Patrol Scan10 patrols, up to 32 presets per patrol

- Color: 0.005 Lux @( F1.6, AGC ON)

- B/W: 0.001 Lux @ (F1.6, AGC ON)

- 1/2.8" progressive scan CMOS

- Up to 1920 × 1080 @ 30fps resolution

- 25× optical zoom, 16× digital zoom

- WDR, HLC, BLC, 3D DNR, Defog, EIS, Regional Exposure, Regional Focus

- Up to 150 m IR distance

- 24 VAC & Hi-PoE

- Support H.265+/H.265 video compression

  - Network Video Recorder (NVR)                                  RATE PER UNIT: R

- 32 channel 1.5U 24 PoE 4K NVR

Specifications:

- Decoding format H.265+/H.265/H.264+/H.264/MPEG4

- Incoming/outgoing bandwidth 256 Mbps - 320Mbps

- Remote connections 128

- Network interface1 RJ-45 10/100/1000 Mbps self-adaptive Ethernet interface

- Alarm in/out16/4 (Optional: 16/8)

- Power supply100 to 240 VAC,≤ 360 W

- Consumption (without HDD and PoE)≤ 20 W

- POE Interface

- Interface24 RJ-45 10/100 Mbps self-adaptive Ethernet interfaces

- Power≤ 210W

- Supported standard IEEE 802.3 af/at

- IP video input 32-ch,Up to 12 MP resolution

- Two-way audio input1-ch, RCA (2.0 Vp-p, 1 k Ω)

- Network protocols TCP/IP, DHCP, DNS, DDNS, NTP, SADP, SNMP, SMTP, NFS, iSCSI, UPnP™, HTTPS

- SATA - 4 SATA interfaces for 4HDDs

- E SATA (optional) - 1 e SATA interface

- Capacity Up to 16 TB capacity for each HDD

  - CCTV Switches                                                                  RATE PER UNIT: R

- 32 Port Fast Ethernet Unmanaged POE Switch

Specifications:

- Port Type RJ45 port, full duplex, MDI/MDI-X adaptive

- Standard IEEE 802.3, IEEE 802.3u, IEEE 802.3x

- Switching Capacity 8.8 Gbps

- Packet Forwarding Rate 6.547 Mbps

- Up to 300 m Long Range PoE Transmission

- Internal Cache 2.75 Mbits

- PoE Power Supply

- PoE Standard IEEE 802.3af, IEEE 802.3at

- PoE Power Budget 370 W

- Max. Power Consumption 400 W

- Power Supply 100 to 240 VAC, 50/60 Hz, Max. 6.5 A

- Power Consumption in Idle30 W

  - Cables                                                                              RATE PER UNIT: R

- CAT6E UTP Network Cable Solid Copper

Specifications:

- 1 White- Blue /Blue 2 White-Orange /Orange 3 White-Green /Green 4 White- Brown /Brown

- Packing Wooden Tray & Carton

- Rip-cord Yes

- Sheath Physical Properties Before Aging Tensile Strength (Mpa) ≥13.5 Elongation (%) ≥150 Aging Period (℃×hrs) 100℃×24h×10d After Aging Tensile Strength (Mpa) ≥12.5 Elongation(%) ≥125 Cold bend(-20±2℃×4h) 8×Cable

- Electrical Characteristics (20℃)1.0-250.0MHz Impedance ((Ω) 100±15 1.0-250.0MHz Delay Skew (ns/100m) ≤45 DC Resistance (Ω/100m) max 9.38 DC Conductor Resistance Unbalance (%) max 5.0

- Material Solid-Bare Copper Content 99.95%

- Insulation

- Sheath

- Material PVC (complies RoHS)

- Color Orange RAL2003

  - Connectors and Boots                                                     RATE PER UNIT: R

- Shielded Connector RJ45 for CAT6 Cable

- RJ45 Boot Anti-Kink Connectors

Specifications:

- 30 Micron gold plated pins

- Designed For: CCTV applications

- Compatibility: Flat Stranded Cable

  - Hard Drives (Storage)                                                RATE PER UNIT: R

- 3.5", 16TB, SATA 6Gb/s ,7200RPM, 256MB cache

Specifications:

- Surveillance system compatible

- 24x7 continuous operation

- rotation vibration sensor

- ImagePerfect firmware

  - Other Accessories                                                    RATE PER UNIT: R

- RJ45 CAT6E Modular Plug

- CAT6 RJ45 Coupler

- IP55 Square Junction Box - Grey

  - 85” LCD Monitor / Smart TV                                   RATE PER UNIT: R

  - Monitor Mounting Bracket                                     RATE PER UNIT: R

Specifications:

- Free Style Display Stand

- Flip Mount for 1 Display

- Clamp Base, with 2arm / 3 joins-110 angle adjustable

- Smart Cable Management

- Aluminum Alloy, Vesa Mounting

- 100x100mm

  - Miscellaneous                                                                          RATE PER UNIT: R

- Box Of 250 Screws

- 20mm Saba Pvc Conduit

- 20mm PVC Saddle

- Trunking 40 X 100mm

- Cable Ties - Black (4.8 X 300mm)

- Insulation Tape - Black (20m)

- Cable Glue – Clear Adhesive

  - Solar System                                                              RATE PER UNIT: R

Specifications:

- Mono-Crystalline Solar Panel 20W Per Outdoor Camera

  - Uninterrupted Power Supply (UPS)                         RATE PER UNIT: R

a.   Smart-UPS SRT 96V 3kVA RM Battery Pack

Specifications:

- 96V

- Maintenance-free sealed Lead-Acid battery with suspended electrolyte: leakproof

- Battery mounting

- Expected Battery Life (years) 3 - 5

- Battery Volt-Amp-Hour Capacity – 1010 Hours

- Standard warranty 2 years repair or replace

- Sustainable Offer Status

- RoHS Compliant

9.16.   Mounting Poles						RATE PER UNIT: R

a. 5m Galvanized Mild Steel Mounting Pole (50mm) to be installed

b. Universal Mounting Bracket to be installed

9.17. 12U Swingframe Incl fan and 5 way Power		           RATE PER UNIT: R

9.18. 24 Port Cat 6 Rack Mount Patch Panel x 2                               RATE PER UNIT: R

9.19. Surge Protector: 24 Ch Network Gigabit

Surge protector POE 					           RATE PER UNIT: R

  - INSTALLATION AND TESTING                                      RATE PER HOUR: R

9.21   General and Administrator Training                       RATE PER HOUR: R

- Provide onsite training for at least 3 days for monitoring and handling the IP based Surveillance System.

- By Senior Technician Accredited by SASSETA and SAQA.

TOTAL RATES:						   R

- Specification for Maintenance and Support

Regular preventative maintenance or servicing should be carried out to ensure that the CCTV system performs to the same level as pertained at the time of commissioning and hand-over of the system. Maintenance, servicing and repair of CCTV systems shall only be carried out by a contractor in possession of a current, valid CCTV Installer's license issued SASSETA and SAQA.

Where any on-site maintenance is carried out, a documented record shall be signed by the maintenance technician/engineer and the client and/or user. Where any agreed remote maintenance is undertaken, the maintenance technician/engineer shall supply the client and/or user with details of the maintenance undertaken.

Modifications made to the CCTV installation or its configuration, shall be documented and notified in writing to the client and/or user and an inspection test shall be carried out on the relevant components or parts of the system.

- Technician (Remote / Onsite Support)                              RATE PER HOUR:        R

- Head Technician (Remote / Onsite Support)                    RATE PER HOUR:        R

- Senior Technician (Remote / Onsite Support)                  RATE PER HOUR:        R

- Senior Engineer (Remote / Onsite Support)                      RATE PER HOUR:       R

- Dedicated 24 hour Control room monitoring          	       RATE PER HOUR        R

- Data backup for all Sites (Cloud)                                                 RATE PER MONTH      R

- Accommodation (rate per Night)                                        RATE PER NIGHT        R

- Travelling Costs (Rate per Kilometer)                                 RATE PER KM:            R

TOTAL RATES (SUPPORT):							R

TOTAL BID AMOUNT (TOTAL RATES (NEW ITEMS) + TOTAL RATES (SUPPORT)

R

Maintenance Tasks

- System History since last maintenance visit checked.

- Signs of deterioration or damage checked for, through visual inspection.

- Cameras, lenses and housing checked and cleaned with Alcohol swap, compressed air and

Micro-Fibre Cloth.

- Check PTZ Cameras functions, such as zoom and pan are working correctly.

- Recording and playback quality checked.

- Lenses and pictures checked for correct field of view and adjusted (if necessary).

- All CCTV control equipment (e.g. monitors, multiplexers, NVR, etc) checked.

- Transmission of images to remote Centre checked (where applicable).

- All test results logged and available for inspection.

- Check the camera lens is focused and adjusted properly.

- Check that the monitors are showing a clear picture and that the brightness and contrast settings are

correctly adjusted.

- Check all of your switches and individual equipment are functioning fully.

- Check that the correct time and date stamp is set.

- Accuracy of recording verified, based on the timestamp and the actual time.

- Check Remote monitoring is active.

- Hard Drives are in Good Health and Recording Footage.

- Moving of old recordings to cloud storage to free space for new recordings

- UPS maintenance and testing

- Upgrade system as and when required

- Install new sites as and when required

- Daily online cloud backup

- Monitor all sites remotely

MAAA NO --------------------------------------------------------------------------------

10.  DURATION OF CONTRACT

It is a 3 years contract.

11.  Payments

Payments will be made within thirty days of submission of (Tax) invoice.

SBD 4.

DECLARATION OF INTEREST

- Any legal person, including persons employed by the state1, or persons having a kinship with persons employed by the state, including a       blood relationship, may make an offer or offers in terms of this invitation to bid (includes a price quotation, advertised competitive bid, limited bid or proposal). In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorized representative declare his/her position in relation to the evaluating/adjudicating authority where-

- The bidder is employed by the state; and/or

- The legal person on whose behalf the bidding document is signed, has a relationship with persons/ a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid.

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

  - Full Name of bidder or his or her representative:……………………………………………………………………………………..

  - Identity Number:…………………………………………………………………………….......

  - Position occupied in the Company (director,trustee.shareholder2):…………………………………………………………….

  - Company registration number:………………………………………………………………

  - Tax Reference Number:………………………………………………………………………….

  - VAT Registration Number:……………………………………………………………………..

    - The names of all directors/ trustees/ shareholders/ members, their individual identity numbers, tax reference numbers and, if applicable, employee/ persal numbers must be indicated in paragraph 3 below.

1“State” means –

  - Any national or provincial department, national or provincial public entity or constitution within the meaning of Public Finance Management Act, 1999 (Act No. 1 of 1999);

  - Any municipality or municipal entity;

  - Provincial legislature;

  - National Assembly or the national Council of provinces; or

  - Parliament.

2”shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.

  - Are you or any person connected with them bidder		YES 	       NO

presently employed by the state?

    - If so, furnish the following particulars:

Name of person / director / trustee/ shareholder/ member: ………………………………………………

Name of state institution at which you or person

connected to the bidder is employed:			………………………………………………..

Position occupied in the public institution: 			………………………………………………...

Any other particulars:

……………………………………………………………………………………

……………………………………………………………………………………

……………………………………………………………………………………

    - If you are presently employed by the state, did you obtain		YES        NO

the appropriate authority to undertake remunerative

work outside employment in the public sector?

      - If yes, did you attached proof of such authority to the bid	  YES      NO

document?

(Note: Failure to submit proof of such authority, where

applicable, may result in the disqualification of the bid.

      - If no, furnish reasons for non-submission of such proof:

……………………………………………………………………………………..

………………………………………………………………………………………

………………………………………………………………………………………

  - Did you or your spouse, or any of the company’s directors/ trustees/ YES         NO

shareholders/ members or their spouses conduct business with the

state in the previous twelve months?

    - If so, furnish particulars:

…………………………………………………………………………………………….

…………………………………………………………………………………………….

……………………………………………………………………………………………..

  - Do you, or any person connected with the bidder, have any relationship YES            NO

(family, friend, other) with a person employed by the state and who may

be involved with the evaluation and or adjudication of this bid?

    - If so, furnish particulars:

…………………………………………………………………………………………………

………………………………………………………………………………………………..

………………………………………………………………………………………………..

  - Are you, or any person connected with the bidder, aware of any YES      NO

relationship (family, friend, other) between any other bidder and any person

employed by the state who may be involved with the evaluation and or

adjustment of this bid?

    - If so, furnish particulars:

……………………………………………………………………………………………….

……………………………………………………………………………………………….

……………………………………………………………………………………………….

  - Do you or any of the directors/ trustees/ shareholders/ members of the

company have any interest in any other related companies whether or

not they are bidding for this contract?

    - If so, furnish particulars:

……………………………………………………………………………………………..

……………………………………………………………………………………………..

……………………………………………………………………………………………..

3.Full details of directors/ trustees/ members/ shareholders.

| Full Names | Identity Number | Personal Tax Reference Number | State Employee Number/ Persal Number |
| --- | --- | --- | --- |

- DECLARATION

I, THE UNDERSIGNED (NAME)…………………………………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPH 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 23 OF THE GENERAL CONDITIONS OF CONTRACT SHOULD THIS DECLARATION PROVE TO BE FALSE.

.......................................				          	 ...................................................

Signature  							 Date

………………………………….... 					.....................................................

Position 							Name Of Bidder

MBD 9.

CERTIFICATE OF INDEPENDENT BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

________________________________________________________________________

(Name of Municipality / Municipal Entity)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:_______________________________________________________that:

(Name of Bidder)

1.	 I have read and I understand the contents of this Certificate;

2.	 I understand that the accompanying bid will be disqualified if this Certificate is found not

to be true and complete in every respect;

3.	 I am authorized by the bidder to sign this Certificate, and to submit the accompanying

bid, on behalf of the bidder;

4.	 Each person whose signature appears on the accompanying bid has been authorized by

the bidder to determine the terms of, and to sign, the bid, on behalf of the bidder;

5. 	For the purposes of this Certificate and the accompanying bid, I understand that the

word “competitor” shall include any individual or organization, other than the bidder,

whether or not affiliated with the bidder, who:

(a) has been requested to submit a bid in response to this bid invitation;

(b) could potentially submit a bid in response to this bid invitation, based on

their qualifications, abilities or experience; and

(c) provides the same goods and services as the bidder and/or is in the same

line of business as the bidder

6. 	The bidder has arrived at the accompanying bid independently from, and without

consultation, communication, agreement or arrangement with any competitor. However

communication between partners in a joint venture or consortium³ will not be construed

as collusive bidding.

MBD 9.

7. 	In particular, without limiting the generality of paragraphs 6 above, there has been no

consultation, communication, agreement or arrangement with any competitor regarding:

(a) prices;

(b) geographical area where product or service will be rendered (market

allocation)

(c) methods, factors or formulas used to calculate prices;

(d) the intention or decision to submit or not to submit, a bid;

(e) the submission of a bid which does not meet the specifications and

conditions of the bid; or

(f) bidding with the intention not to win the bid.

8.	 In addition, there have been no consultations, communications, agreements or

arrangements with any competitor regarding the quality, quantity, specifications and

conditions or delivery particulars of the products or services to which this bid invitation

relates.

9.	 The terms of the accompanying bid have not been, and will not be, disclosed by the

bidder, directly or indirectly, to any competitor, prior to the date and time of the official

bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

MBD 9

10.	 I am aware that, in addition and without prejudice to any other remedy provided to

combat any restrictive practices related to bids and contracts, bids that are suspicious

will be reported to the Competition Commission for investigation and possible imposition

of administrative penalties in terms of section 59 of the Competition Act No. 89 of 1998

and or may be reported to the National Prosecuting Authority (NPA) for criminal

investigation and or may be restricted from conducting business with the public sector

for a period not exceeding ten (10) years in terms of the Prevention and Combating of

Corrupt Activities Act No. 12 of 2004 or any other applicable legislation.

………………………………………………………………………………………………….

Signature					 Date

…………………………………	………………………………………………………………..	Position 					Name of Bidder

MBD1

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF MUNICIPALITY/ MUNICIPAL ENTITY) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: |  |  | CLOSING DATE: |  |  |  |  |  |  |  | CLOSING TIME: |  |  |  |  |  |
| DESCRIPTION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS |  | TCS PIN: |  |  |  |  | OR |  |  | CSD No: |  |  |  |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] |  | Yes No |  |  |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  |  |  | Yes No |  |  |  |  |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  |  |  |  |  | #### ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  |  |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |  |
| #### TOTAL NUMBER OF ITEMS OFFERED |  |  |  |  |  |  |  | #### TOTAL BID PRICE |  |  |  |  |  |  | R |  |
| #### SIGNATURE OF BIDDER |  | ……………………………… |  |  |  |  |  | #### DATE |  |  |  |  |  |  |  |  |
| #### CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |  |  |  |  |  |
| DEPARTMENT |  |  |  |  |  | CONTACT PERSON |  |  |  |  |  |  |  |  |  |  |
| CONTACT PERSON |  |  |  |  |  | TELEPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  |  |  |  | FACSIMILE NUMBER |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  |  |  |  | E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Where the recommended bidder is not tax compliant, the bidder should be notified of their non-compliant status and the bidder must be requested to submit to the municipality or municipal entity, within 7 working days, written proof from SARS of their tax compliance status or proof from SARS that they have made an arrangement to meet their outstanding tax obligations. The proof of tax compliance status submitted by the bidder to the municipality or municipal entity must be verified via the CSD or e-Filing.

The accounting officer should reject a bid submitted by the bidder if such a bidder fails to provide proof of tax compliance status within the timeframe stated above.

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR THE TAX COMPLIANCE STATUS (TCS) CERTIFICATE OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. - FOREIGN SUPPLIERS MUST COMPLETE THE PRE-AWARD QUESTIONNAIRE IN PART B:3. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MU02ST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST E PROVIDED.

- QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

- IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO - DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO - DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO - DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO - IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

DATE:								…………………………………………..

# MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

  - To be completed by the organ of state

(delete whichever is not applicable for this tender)

- The applicable preference point system for this tender is the 80/20 preference point system.

  - Points for this tender shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of

this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 PREFERENCE POINT SYSTEMS

A maximum of 80 points is allocated for price on the following basis:

# 80/20

Ps=801-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- |
| Black People | 4 |  |
| Youth | 4 |  |
| Women- ownership of more than 50 % | 2 |  |
| Small, Medium and Micro Enterprises (SMMEs) | 4 |  |
| People with disability | 2 |  |
| Enterprises within Makhuduthamaga juristiction | 4 |  |
| Total | 20 |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

SBD 8

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

- This Standard Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be disregarded if that bidder, or any of its directors have-

  - abused the institution’s supply chain management system;

  - committed fraud or any other improper conduct in relation to such system; or

  - failed to perform on any previous contract.

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector? (Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied). The Database of Restricted Suppliers now resides on the National Treasury’s website(www.treasury.gov.za) and can be accessed by clicking on its link at the bottom of the home page. | Yes | No |
| 4.1.1 | If so, furnish particulars: |  |  |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? The Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. | Yes | No |
| 4.2.1 | If so, furnish particulars: |  |  |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars: |  |  |
| 4.4 | Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.4.1 | If so, furnish particulars: |  |  |

SBD 8

CERTIFICATION

I, THE UNDERSIGNED (FULL NAME)…………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………………...			…………………………..

Signature 							Date

……………………………………….			…………………………..

Position							Name of Bidder