The Human Sciences Research Council (HSRC) requires a Plumbing Service Provider to provide plumbing services at HSRC Building Pretoria office for a period of 12 months (1 Year).

The service provider will be expected to: Provide a scheduled and reactive (for specific functions) plumbing service to all areas of the HSRC in accordance with the negotiated access times to specific areas.

The plumbing services shall include but not limited to, inter alia:

- Specialists plumbing services

- Repair and service: Sewage pipes, toilets pans, kitchen sinks toilet basins, toilet taps, pressure valves, drainage systems, repair, and installation of geysers and hydroboils where necessary.

- Clean and treat Sewage sump (Twice a year)

- General plumbing repairs and services

- Repair and install pipes inside and outside the building as and when required

- Service stormwater and sewage pumps on quarterly basis

- Clean and treat Hot water hydroboils quarterly

- Attend to any plumbing repairs arise at HSRC Building

- Response to call outs during and after hours

The Service Provider will at all time respond to all plumbing emergency call outs as requested by the HSRC. The Service provider will respond to emergency call outs/technical problems reported to them within reasonable period (24 hours) unless they are major technical problems.

The response must comply the following:

| Types of Calls | Response Time | Repair Time |
| --- | --- | --- |
| - Emergency Call | 2 hours | 6 hours |
| - Adhoc Maintenance | 4 hours | 24 hours |

| SECTION B Labour & transport | Unit Rate | QTY | Normal Hours Rate | After Hours Rate | Holiday Hour Rate | Holiday Hour Rate |
| --- | --- | --- | --- | --- | --- | --- |
| Labour |  |  |  |  |  |  |
| Supervisor | Hour | 1 | R | R | R | R |
| Plumber | hour | 1 | R | R | R | R |
| Plumber assistance | Hour | 1 | R | R | R | R |
| Transport |  |  | Km Rate |  |  |  |
| Cost per Kilometer, within a radius of 70km, AA rate applicable | km | 1 |  |  |  | R |
| TOTAL |  |  |  |  |  | R |

Operating Hours

The service provider will be required to provide services as per the request of the client during and out of working hours. The service provider will be required to provide services 365 days a year (including public holidays) for 24 hours a day where necessary.

Mandatory Requirements of the service provider

- A valid letter of good standing certificate with COIDA is required. The certificate should be issued by the Department of Labour.

- Proof of Public Liability Insurance of not less than R500 000.00

- Service provider must provide proof of registration with the Institute of Plumbing South Africa

- Bidder must provide proof of COIDA (Plumbing Certificate)

- The service provider must provide three (3) positive written contactable references indicating the similar services rendered.

- Proof of valid CIDB Grade 1 -ME Registration