Specifications: Peltier cooled incubator

Peltier cooling essential

Internal volume: minimum 200L

Operating temperature range: at least 15 – 40°C, wider range preferred if possible

Shelves: At least 2 included, with option to add