Security light specification

5x Solar LED flood lights (Daylight lighting)

1. Lamp power - 150 watts

2. Lamp size - 314.4 x 274.4 x 45.4 mm

3. Battery capacity - 30 000 mAh

4. Battery size - 32650 x 6

5. Solar pannel power - 25W

6. Solar panel size - 350 x 535 x 25mm