Extract from ESKOM 240-86601391: TECHNICAL EVALUATION STANDARD FOR LINE INSULATORS

Table A.8: Composite HV Insulator(s) technical evaluation criteria for desktop exercise

| Specification Referred to | - [8] 240-75883896- Outdoor post and long rod insulators for new and refurbished power lines for 66kV and 132kV |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Voltage Class Referred to | 66kV up to and including 132kV |  |  |  |  |
| - Level-1 Basic Compliance: Tender Deliverables and Mandatory Technical Requirements (Weight 80 points) |  |  |  |  |  |
| Activity |  | Clause in [8] | Compliance |  | Qualification Criteria |
| Is completed Technical Schedule submitted? |  | 3.1 | Yes/No |  | Mandatory requirement |
| Is the Design and type test submitted? |  | 4 | Yes/No |  | Mandatory requirement |
| Has the drawing for item submitted? |  | 3.1.6 | Yes/No |  | Mandatory requirement |
| Is all required information submitted in English? |  | 3.1 | Yes/No |  | Mandatory requirement |
| Level 2 – Scoring/Rating on discretionary items (only submission that passes Level 1) (Weight 20 points) |  |  |  |  |  |
| Activity |  | Clause in [8] | Weight | Score |  |
| Acceptable design and Type tests certificates and Characteristic curves |  | 5.2 | 90 | 0 – No information 90 – Detailed Information |  |
| Packaging, Transport and Storage information |  | 3.15 and 3.16 | 10 | 0 – No information 10 – Detailed Information |  |