SPECIFICATIONS FOR UPS REPAIRS

- Roodeplaat Basement UPS

Meissner MP3060 3/3 UPS

Model :MP3040

Serial no.U30852-01

Location :Basement

Scope of work

Replace 2 x Top extractor fans.

Replace 5 x 230VAC fans and fuse.

Replace 9 x 50uF 450VAC capacitors

Replace 12 x 10uF 450VAC capacitors

Replace 18 x 6800uF 250VDC capacitors

- Meissner MP3020 3/3 UPS

Matla 60KVA 3/3

Model :Matla

Serial no.080060 3/3 0002981

Location :Room C15 Switch Room

Scope of Work

Replace Extractor Fan