PROVISION OF ADEQUATE WATER SUPPLY TO IKHALA TVET COLLEGE: EZIBELENI CAMPUS

- BACKGROUND

The Ikhala TVET College is required to comply with the standards set out by the Department of Higher Education and Training in terms of water provision. The DHET requires a permanent and sustainable water source. Ikhala TVET College has therefore incorporated this item as a priority on their Annual Maintenance Plan for the year 2022. The project must comply with the NIAMMS (National Infrastructure Asset Maintenance Management System) standards as a prerequisite.

The College is looking to contract a qualified and registered Contractor to complete the implementation of the project.

- SCOPE OF WORK

- Borehole drilling to be done by sub-contractor.

- Construction of borehole pump manholes, kiosk and M&E installations.

- Construction of 12m Elevated Pressed Steel Water Tank.

- Construction of Bulk Water supply, various sizes.

- Construction of a 10kl ground water reservoir.

- Construction of drinking fountains.

- Construction of standpipe.

- Construction of fire hydrant.

- Construction of fire hose reels.

- Site establishment and de-establishment.

- PROJECT LOCATION

This project is located at Zone D; Gwadana Drive; Ezibeleni; Queenstown; 5326.

- PROJECT DURATION

The project expected duration is 6 months from date of award.

- PROJECT TEAM STRUCTURE

The project team will consist of the Client (Ikhala TVET College) represented by the Project Manager and Admin Officer (Facilities Officer) as well as a 3 member Project Steering Committee (PSC) and the Community Liaison Officer (CLO).

The team will also consist of various Professional Service Providers employed by the Client.

- SKILLS TRANSFER

30% of the project to be allocated to local SMME’s.

- PREFERENCE POINT SYSTEM

The contractor shall make use of local labour but they can bring their own skilled personnel. The contractor will be required to submit EPWP labour forms each end of month.

Labour Intensive work shall be undertaken using local workers who are temporarily employed in terms of the project specification.

- PREFERENCE POINT SYSTEM

The tender will be evaluated on the 80/20 Preference Points system as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000, and Points will be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with legislation.

- EVALUATION PROCESS TO BE FOLLOWED

Evaluation of proposals – All proposals will be evaluated by a team for functionality, price and B-BBEE. Based on the results of the evaluation process, Ikhala College will approve the awarding of the contract to successful tenderer.

A two-phase evaluation process will be followed.

- The first phase will be evaluated based on technical proposal for functionality.

- The second phase will be evaluated based on the pricing proposals and will only be considered after the first phase has been adjudicated and accepted. Only proposals that achieved a minimum qualification score of 60 points for functionality will be further evaluated using the preference points system.

- The 80/20 preference point system will be used where 80 points will be dedicated to price and 20 points to B-BBEE status.

- Proposals with functionality points of less than the pre-determined minimum overall of 60 points will be eliminated from further evaluation.

- EVALUATION CRITERIA

Evaluation Criteria as stipulated in the Tender Document.

- COST OF PROPOSAL

- Tenderers are expected to fully acquaint themselves with the conditions, requirements and specifications of this tender before submitting proposals.

- Each tenderer assumes all risks for resource commitment and expenses, direct or indirect, of proposal preparation and participation throughout the tender process.

- Ikhala College will not be responsible directly or indirectly for any costs incurred by tenderers.

12.	VALIDITY PERIOD OF PROPOSAL

Each proposal shall be valid for a minimum period of six (6) months calculated from the closing date.

- COMPULSORY BRIEFING SESSION

Compulsory site briefing is scheduled as follows:

| SITE | DATE | TIME |
| --- | --- | --- |
| Ikhala Admin Centre, Ezibeleni | 21 NOVEMBER 2023 | 11:00 AM |