C3.4.1

STANDARDISED SPECIFICATIONS FOR CIVIL ENGINEERING CONSTRUCTION

### C3.4.1	STANDARDISED SPECIFICATIONS FOR CIVIL ENGINEERING CONSTRUCTION

The following SANS 1200 Standardised Specifications for Civil Engineering Construction prepared by the South African Bureau of Standards are applicable:

SANS 1200 A:	General

SANS 1200 AB:	Employer’s Agent’s Office

SANS 1200 C:	Site Clearance

SANS 1200 D:	Earthworks

SANS 1200 DB:	Earthworks (Pipe Trenches)

SANS 1200 DK:	Gabions and pitching

SANS 1200 DM:	Earthworks (Roads, subgrade)

SANS 1200 G:	Concrete (Structural)

SANS 1200 H:	Structural Steelwork

SANS 1200 HA:	Structural Steelwork (Sundry items)

SANS 1200 HB:	Cladding and Sheeting

SANS 1200 HC:	Corrosion Protection of Structural Steelwork

SANS 1200 L:	Medium-Pressure Pipelines

SANS 1200 LB:	Bedding (Pipes)

SANS 1200 LC:	Cable ducts

SANS 1200 LD:	Sewers

SANS 1200 LE:	Stormwater Drainage

SANS 1200 ME:	Subbase

SANS 1200 MJ:	Segmented Paving

SANS 1200 MK:	Kerbing and Channeling

The following SANS 2001 Standardised Specifications for Construction Works prepared by the South African Bureau of Standards are applicable:

SANS 2001 CM1:	Masonry Walling

These standardised specifications are available from the South African Bureau of Standards (Liesbeeck Parkway, Rosebank, Cape Town; PO Box 615, Rondebosch Cape Town, 7701; Telephone: 021 681 6700; Fax: 021 681 6701; web www.sabs.co.za). The Contractor shall obtain copies of these documents at his own cost.

Interpretations of and variations to the Standardised Specifications are set out in Portion 2 of the Works Specifications.

Standardised Specifications for Building Work

All building work not covered by the SANS 1200 standardised specifications shall be in accordance with the provisions of:

- Model Preambles for Trades 1999, published by the Association of South African Quantity Surveyors.

This document is available from the Association of South African Quantity Surveyors (Postal address: P.O. Box 3527, Halfway House 1685; Physical address: Suite G6, Building 27, Thornhill Office Park, Bekker Road, Vorna Valley Ext 21, MIDRAND; Contact details: Telephone: 011-3154140; Fax: 011-3153785, E-mail: association@asaqs.co.za). The Contractor shall obtain copies of this document at his own cost.

C3.4.2

AMENDMENTS TO STANDARD CIVIL SPECIFICATIONS

### C3.4.2	AMENDMENTS TO STANDARD CIVIL SPECIFICATIONS

Interpretations of and variations to the standardised specifications listed in Volume 1 are as follows:

The term ‘Project Specification’ must be replaced by the term ‘Scope of Work’, and the term ‘Schedule of Quantities’ must be replaced by ‘Bills of Quantities’ wherever they appear in these standardised specifications

Both the “Factories, Machinery and Building Work Act (Act 22 of 1941)” and the “Machinery and Occupational Safety Act (Act 6 of 1983)" must, wherever they appear in the SABS 1200 standardised specifications, be replaced with the "Occupational Health and Safety Act (Act 85 of 1993).

Introduction

In certain clauses the standard, standardised and particular specifications allow a choice to be specified in the project specifications between alternative materials or methods of construction and for additional requirements to be specified to suit a particular contract. Details of such alternative or additional requirements applicable to this contract are contained in this part of the project specifications. It also contains additional specifications required for this particular contract.

The number of each clause and each payment item in this part of the project specifications consists of the prefix PS followed by a number corresponding to the number of the relevant clause or payment item in the standard specifications. The number of a new clause or payment item, which does not form part of a clause or a payment item in the standard specifications and which is included here, is also prefixed by PS, but followed by a new number which follows on the last clause or item number used in the relevant section of the standard specifications.

TABLE OF CONTENTS

PSA	GENERAL (SANS 1200 A)

PSAB	Engineer'S OFFICE (SANS 1200 AB)

PSC	SITE CLEARANCE

PSD	EARTHWORKS

PSDB	EARTHWORKS (PIPE TRENCHES) (SANS 1200 DB)

PSDK	GABIONS AND PITCHING

PSDM	EARTHWORKS (ROADS, SUBGRADE)

PSG	CONCRETE (SANS 1200 G)

PSH	STRUCTURAL STEELWORK  (SANS 1200 H)

PSHA 	STRUCTURAL STEELWORK (SUNDRY ITEMS) (SANS 1200 HA)

PSHB	CLADDING AND SHEETING

PSHC	CORROSION PROTECTION

PSL	MEDIUM PRESSURE PIPELINES

PSLB	BEDDING (PIPES) (SANS 1200 LB)

PSLC	CABLE DUCTS (SANS 1200 Lc)

PSLD	SEWERS (SANS 1200 LD)

PSLE	STORMWATER DRAINAGE (SANS 1200 LE)

PSLK	VALVE INSTALLATION

PSM	ROADS (GENERAL)

PSME	SUBBASE

PSMF	BASE

PSMH	ASPHALT BASE AND SURFACING

PSMJ	SEGMENTED PAVING

PSMK	KERBING AND CHANNELING

PSMM	ANCILLARY ROADWORKS

PA	PARTICULAR SPECIFICATION FOR MAINTAINING CONTINUITY OF FLOW IN WASTE WATER TREATMENT WORKS

PAF 	FENCING

PGE	EROSION CONTROL MAT

PSA	GENERAL (SANS 1200 A)

PSA 2	INTERPRETATIONS

PSA 2.2	APPLICABLE EDITION OF STANDARDS

- Add at the beginning of Sub-Clause 2.2: "Unless a specific edition is specified"

PSA 2.3	Definitions

- Add the following definitions:

- Commercial source: A source for the supply of materials or services chosen by the Contractor and for which he assumes full responsibility for the quality and supply thereof.

- Water: Refers to all water which may be encountered on site, including rain water, surface water, subsurface water, water from reticulation system, etc.

PSA 2.8	ITEMS IN SCHEDULE OF QUANTITIES

PSA 2.8.1	Principle

- In the fourth line of Sub-Clause 2.8.1 after the word "specification", add "…or in the measurement and payment clause of the standard or particular specification”.

PSA 3	MATERIALS

PSA 3.1	QUALITY

- The Contractor shall furnish the Engineer with certificates showing that materials do comply with the relevant specification.

- Alternative materials or equipment proposed by the Contractor shall be tested. The test, as well as the materials or equipment, shall be approved by the Engineer prior to any such materials or equipment being built into the works, and all costs involved in testing shall be deemed to be included in the rates tendered.

PSA 4	PLANT

PSA 4.2	CONTRACTOR’S OFFICES, STORES AND SERVICES

- The Contractor’s site establishment shall also comply with the requirements of the Environmental Management Specification herein.

PSA 5	CONSTRUCTION

PSA 5.1	SURVEY

PSA 5.1.1	Setting out of the Works

- The setting out of the Works shall be carried out according to the existing boundary lines, roads and survey station pegs.  All dimensions, levels and data necessary for the complete setting out of the Works will be provided on the Drawings.  The Contractor shall not scale dimensions from the Drawings, but shall request from the Engineer any information which is not clearly stated on the Drawings.

- At the start of the contract, the Contractor shall search for and locate all permanent reference pegs shown on the drawings.  These pegs are to be adequately protected from damage for the duration of the contract.  Provision for this work must be included in the rates of the relevant earthworks or P&G items, as no separate payment will be made.

- The Engineer shall arrange for the Contractor to be provided sufficient reference pegs from which to work.  The value of all bench marks shall be given in writing.  The Contractor shall bear the cost of any re-survey and the cost of re-establishment or checking of any pegs, bench marks, etc. disturbed, destroyed or interfered with in any way and the cost of any survey to prove the accuracy of the setting out after any disturbance of or interference with any peg or bench mark.  All surveys or re-survey shall be by Surveyors appointed by the Consultant at the cost of the Contractor.”

PSA 5.4	PROTECTION OF OVERHEAD AND UNDERGROUND SERVICES

- Add the following to Sub-Clause 5.4:-

- (i)	Location and Protection

- All available information relating to known existing services and structures has been included in the plans.  Although this information is reflected as accurately as possible, all positions and levels must be taken as approximate only.  At the commencement of the contract the Contractor shall verify the information on the plans.

- At locations where there is a reasonable possibility of unknown underground services being present, the Contractor shall open trenches across such locations before commencing with excavations and, if services are found, these shall be plotted and thereafter be considered as 'known services'.  Such work is to be carried out only on the instruction of and under the direct control of the Engineer.

- All known services shall be adequately protected from damage during construction operations. The requirements of the relevant service departments relating to limits of heavy plant usage, departmental supervision etc., shall be ascertained and adhered to.

- Any damage to known services shall be made good at the Contractor's expense.

- No pegs or stakes are to be driven into the ground in the vicinity of the underground services, particularly Electricity or Telkom services.

- Any services or structures damaged during construction shall immediately be reported to the Engineer, and as soon as possible after such damage a written report stating the exact circumstances of the occurrence shall be submitted to the Engineer.

- All practical measures shall be taken to effect immediate repairs, either by contacting the relevant authority, or where instructed by the Engineer, the Contractor shall perform temporary repairs himself.

PSA 5.5		SPECIAL WATER CONTROL (Clause 5.5)

- Generally, the dealing of surface and subsurface water by the Contractor shall be included in the rates tendered for excavations under Sections PSD and PSDB of the Document.

- Provision is made under Clause PSA 8.4.2 which shall cover all the Contractor's costs involved with the control of surface and subsurface water, including the additional provision of drainage pumps, not included in the rates for excavation and trench excavations.

PSA 5.6	POLLUTION & DUST (Clause 5.6)

- All dirt, surplus materials, tools, temporary structures, formwork, dead vegetation, and other rubbish shall be collected and disposed of to a landfill waste disposal site in a manner satisfactory to the Engineer. All transportation and dumping costs shall be borne by the Contractor

- The Contractor shall price for the control of scarred areas, to prevent dust. This shall be by any means deemed suitable to the Contractor, yet effective in preventing dust-nuisance. The dust suppression measures could be in the form of watering, temporary straw stabilisation, brush, etc. The payment item for “Management of surfaces to prevent dust” shall be made under PSA 8.4.2.

PSA 5.7		SAFETY PRECAUTIONS (Clause 5.7)

- “The Contractor shall be responsible for ensuring that all equipment supplied and used and all work carried out under this Contract shall be in accordance with the requirements of the Occupational Health and Safety Act, 1993 (Act 5 of 1993) and those regulations under the Factories, Machinery and Building Act of 1941 still remaining in force, as may be amended from time to time.

- The cost of compliance shall be paid under Clause PSA 8.3.5.

PSA 5.8	GROUND AND ACCESS TO THE WORKS

- The Work is to be executed at the Hammarsdale WWTW which will remain operational for the duration of the Contract.

- There is access control at the entrances of the WWTW and the Contractor shall liaise with the Plant Manager with regard to access to the site, time of arriving and leaving and deliveries of materials.

PSA 5.9	MAINTENANCE OF CONTINUITY OF FLOW THROUGH EXISTING WORKS

- The Contractor shall note that the flow of raw sewerage and final effluent is to be maintained through the existing works at all times.  Temporary measures to deviate flow, and special provisions regarding the sequencing of work in this regard are included in the Work Specifications and Drawings. Refer to the Particular Specification PA for Maintaining Continuity of Flow in Wastewater Treatment Works.

PSA 5.10	AS BUILT SURVEYS

- The Contractor shall survey the final position of all buried pipework installed, prior to backfilling.

- The pipework shall be surveyed and the information submitted to the Engineer as the work progresses. No bedding or backfill shall be placed to within 100 mm of the crown of the pipe before the survey information has been approved by the Engineer.

- The pipelines shall be coordinated at centrelines of all bends, specials and fittings and intermediate points at intervals of not more than 20 m.

- The survey data shall be presented in tabular format giving Y-Coordinate, X-Coordinate, chainage and level. All coordinates and levels shall be referenced to the WGS 84 system and Mean Sea Level (MSL).

- No payment for installed services will be made until the As-Built information has been provided as detailed above to the satisfaction of the Engineer.

PSA 5.11	Compliance with the Quality Control Programme

- Prior to the commencing of the Works, the Contractor is to produce and submit a quality control programme (QCP), with associated approval forms, to the Engineer for acceptance. The QCP is to consist of a list of items, which are to be signed off by both the Contractor and Engineer on Site, to ensure that the Works on Site comply with the specifications. Examples of the format for the QCP and the associated forms are shown in Annexes.

- The QCP shall incorporate the requirements of all relevant SANS 1200, project specifications and other specifications referred to.

- The accepted QCP will not relieve the Contractor of any quality control and/or testing responsibilities stated in the relevant specifications.

- Work must be signed off by both the Contractor and the Engineer before it can be processed for payment.

PSA 7	TESTING

- The Contractor shall ensure that properly qualified and experienced staff and resources are available at all times, when required on the site, for the full and proper testing and control of the quality of the construction of the Works.

- The Contractor shall include in the rates tendered in the Bills of Quantities, all costs involved in the execution of quality control, field and laboratory tests, the results of which shall be presented to the Engineer in writing to ensure compliance with the requirements of this specification.

- Concrete (Cube) Compressive Strength tests shall be taken for each portion of the Works, the frequency of such tests as specified in SANS/SABS 1200 G.

- The Contractor shall conduct his own check-tests to ensure that his workmanship meets the specifications. The cost of the Contractors check-tests are deemed to be included in the rates tendered.

- The Engineer reserves the right to carry out any tests he deems necessary to ensure compliance of the materials supplied for use in the works with the requirements of the applicable SANS/SABS 1200 or Particular Specifications, or to ensure that the standard of workmanship meets the requirements of the specification.

- In the event of the Engineer’s check-tests not meeting the requirements of the specification, the cost of such tests shall be to the Contractor's account.  If the tests meet with the requirements of the Specification, the Contractor will be required to pay the account of the laboratory concerned, but such payments shall be recoverable under the prime cost sums allowed for in Clause PSA 8.5.1.  Payment under this clause will be made in terms of Clause 6.6 of the General Conditions of Contract.

- All costs arising from the rejection of materials as a result of these materials not meeting the test requirements shall be borne by the Contractor.”

PSA 8	MEASUREMENT AND PAYMENT

PSA 8.3	FIXED-CHARGE ITEMS

###### PSA 8.1.2.3 Contractor to Price All Items

- Amend Sub clause 8.1.2.3 to include the following:

- “The Contractor shall price all the items in the Schedule of Quantities.

- These items and prices will form the sole basis for cost evaluation in the settlement of variations other than that provided for in the General Conditions of Contract for the applicable section.  In the absence of a price against an item or in the event of a price marked N/A or included against any item, no claim in respect of additional costs or charges for provision of any of the duties, services, facilities or obligations required in respect of that item will be considered.”

PSA 8.3.1	Contractor's Fixed Establishment Costs

- The Contractor shall tender a lump sum in the Bill of Quantities to cover his fixed establishment costs. The amount tendered and paid shall be full compensation to the Contractor for:

- (i)	The establishment of his organisation and equipment on the site, the transfer of all personnel, equipment tools, office, ablution and storage facilities to the site, establishment of water, power and telephone facilities, and the removal of all the above mentioned items on completion of the works.

- (ii)	Access control to the working areas including fencing or hoarding to prevent unauthorised access to the work areas.

- (iii)	Compliance with all other general conditions and requirements which are not specifically measured elsewhere for payment in these Contract Documents.

- Payment shall be effected as follows:

- (i)	Seventy-five percent (75%) of the lump sum tendered shall be paid when the Contractor's stores, offices, etc. are substantially complete, provided that sufficient plant and labour to commence construction at the programmed rate has arrived at the site of the Contract and is in working order.

- (ii)	Twenty-five percent (25%) of the lump sum tendered will be paid after issue of the Certificate of Completion.  The Certificate of Completion will only be issued when the Contractor has cleared the entire site to the satisfaction of the Engineer and removed all the plant, offices and stores that might have been used for the duration of the Contract. Also, this portion will not be paid and the certificate of complete will not be issued until all the as-built information has been provided to the Engineer’s satisfaction.

- Only the tendered amount shall be paid under this item which in no way shall be affected by modifications of the Contract Amount.

Item	Unit

Contractor's fixed establishment cost ……………………………………………………….	Sum

PSA 8.3.5	Contractor’s Fixed Obligations with Respect to Health and Safety (New Clause)

- The Contractor shall tender lump sums in the Schedule of Quantities to cover his fixed costs for the proper compliance with the requirements of the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (OHS Act), the Construction Regulations 2014 issued in terms of Section 43 of the Occupational Health and Safety Act, all other relevant OHS regulations and the Health and Safety Specifications for the project, herein. The amount tendered and paid shall be full compensation for:

- Preparation of Project Specific Health and Safety Plan

- Carrying out a Hazard Identification and Risk Assessment

- Preparation and maintenance of H&S File

- Preparation of Method Statements and Safe Work Procedures

- Emergency Preparedness and Response plan (this item should include:
First Aid, Fire and Explosions, Acts of Nature, Hazardous Chemical Substance and Flammable Substances spillage, Political unrest and
violence and/or Terrorism)

- Occupational health provisions (Medicals – pre- and post-employment; Physical and Psychological for work at elevated heights; Medical surveillance for hazardous work; baseline & audiometric screening tests; HIV and AIDS Programme; etc.)

- Compliance with the requirements of the latest COVID-19 Regulations, published in terms of the Disaster Management Act (Act 57 of 2002).

- Inoculation of Contractor's personnel for working on Wastewater
Treatment Works

- Provision of Personal Protective Equipment and clothing, including but not limited to: Overalls, hard-hats, gloves, safety boots, gumboots, ear protection, dust masks, safety goggles, safety harnesses, reflective vests, etc.

- Provision of Occupational Health and Safety equipment

- Ensuring public health and safety

- Occupational health and safety signage, pictograms and notices

- All other fixed costs associated with complying with the requirements

PSA 8.3.6	Compliance with Environmental Management Specifications  (New Clause)

- The Contractor shall tender a lump sum to cover all fixed costs (over and above the costs of site establishment) for complying with the Environmental Management Specifications contained The amount tendered shall be deemed to be full compensation for all administration, labour, plant, materials, services and risks associated with complying with the Environmental Management Specifications in every respect.

- Payment will be effected in accordance with PSA 8.3.1 above.

- A separate item will be scheduled for the Environmental Awareness Training. The amount tendered shall cover all costs associated with provision of the venue, arranging attendance by personnel and shall be deemed to be full compensation for wages of personnel and loss of production during the period that they are engaged in Environmental Training.  Payment under this item will be made in the first certificate after completion of the training, provided that the Contractor has submitted a copy of the attendance register to the Engineer.

Item	Unit

- Fixed costs with respect to Environmental Management	Sum

- Environmental awareness training	Sum

PSA 8.3.7	Producing and Submitting the Quality Control Programme

- The Contractor shall tender a lump sum in the Schedule of Quantities to cover his costs for producing and submitting the Quality Control Programme (QCP), and associated approval forms, to the Engineer for approval prior to the handing over of the Site to the Contractor.

- Payment will be made for this item only once the QCP has been approved by the Engineer.

Item	Unit

Producing and Submitting the Quality Control Programme	Sum

PSA 8.4	SCHEDULED TIME-RELATED ITEMS

- Add the following:

- “Adjusted Payment for Time-Related Costs

- The payment to the Contractor for time-related costs shall be adjusted in accordance with the following formula in the event of the Engineer granting an extension of time in terms of the provisions of the Contract:

| Sum of Tendered amount for Time-Related items | x | Extended contract period as authorised by Engineer |
| --- | --- | --- |
|  |  | Tender contract period |

- The above mentioned adjustment of the payment for Time-Related Items shall be made in the Completion Payment Certificate and shall be the only payment for additional time-related costs irrespective of the actual period required to complete the Contract including its authorised extensions.

PSA 8.4.2	Time Related Establishment Costs

- The Contractor shall tender a lump sum in the Bill of Quantities to cover his time-related establishment costs.  Other than the items which have been separately scheduled in PSA 8.4.2.2, the amount tendered and paid shall be full compensation to the Contractor for:

- The maintenance of his whole organisation as established for this Contract;

- The maintenance of all insurances, indemnities and guarantees required in terms of the Conditions of Contract or Tender where applicable.

- Compliance with all general conditions and requirements which are not specifically measured elsewhere for payment in these Contract Documents.

- The Contractor shall tender a lump sum for the above-mentioned items.

- Payment of the lump sum shall be made monthly in compliance with method laid down in Sub-Clause 8.2.2 of SANS 1200 A.

Item	Unit

Time related establishment	Sum

PSA 8.4.2.2	Facilities for the Contractor

- a)	Dealing with Water

- The sum tendered shall cover all costs not included in the rates for earthworks or other billed items for complying with Clause 5.5 of SANS 1200 A in dealing with water on the works.

- b)	Search for, record and protect all survey bench marks

- The sum tendered shall be deemed to be full compensation for complying with the requirements of Clause 5.1.2 of SANS 1200 A.

- c)	Maintain continuity of flow through works

- The sum tendered shall cover all costs associated with maintaining continuity of flow as specified Specification PA and shall be full compensation for all the necessary planning and sequencing of work.

- d)	Provide Access for Authorised Personnel

- The sum tendered shall be full compensation for providing access to authorised Ethewini Municipality WWTW personnel to all parts of the Works and ensuring that the construction activities do not obstruct them in any way for the full duration of the Contract.

- e)	Nightwatch and Security

- The sum tendered shall be full compensation for providing Nightwatch and security as stated in Section 3.4 Construction.

Item	Unit

- Dealing with water 	Sum

- Search for, record and protect all survey bench marks	Sum

- Maintain continuity of flow through the works	Sum

- Provide access for authorised personnel	Sum

- Nightwatch and Security	Sum

PSA 8.4.6	Contractor’s Time-Related Obligations with Respect to Health and Safety

- The Contractor shall tender lump sums to cover his time-related costs for on-going compliance with health and safety requirements as stated in PSA 8.3.5, above, for the duration of the Contract.

- a)	Provision of Construction Manager and alternate

- b)	Provision of Assistant Construction Manager(s)

- c)	Provision of Health and Safety Officer

- d)	Provision of Construction supervisors and assistant construction supervisors

- e)	Maintenance of H&S file

- f)	Implementation and Management of the Health and Safety Plan

- g)	Enforcing of Hazard Identification and Risk Assessment

- h)	Implementation of Method Statements and Safe Work Procedures

- i)	Ensuring sub-contractors' compliance with statutory requirements, including compliance with the requirements of the latest COVID-19 Regulations, published in terms of the Disaster Management Act (Act 57 of 2002) and monitoring and auditing of sub-contractors

- j)	Occupational health and safety training, promotion and awareness

- k)	Ensuring public health and safety

- l)	All other time related costs associated with complying with the requirements of the OHS Act, Construction Regulations 2014, all other relevant regulations in terms of the OHS act and the Health and Safety Specifications, for the duration of the Contract.

PSA 8.4.7	Compliance with Environmental Management specifications

- The Contractor shall tender a lump sum to cover all time-related costs (over and above the costs of site establishment) for complying with the Environmental Management specifications contained Section C3.5, Management. The amount tendered shall be deemed to be full compensation for all administration, labour, plant, materials, services and risks associated with complying with the Environmental Management Specifications in every respect.

Item	Unit

Time related costs with respect to environmental management	Sum

PSA 8.4.8	Compliance with the Quality Control Programme

- The Sum shall cover the Contractor’s Time-Related costs of compliance with the Quality Control Programme (QCP). The amount tendered shall be paid monthly, in accordance with the method laid down in Sub-Clause 8.2.2 of SABS 1200A, to the Contractor in compensation for:

- The maintenance of the QCP and forms by the Contractor on Site for the duration of the contract.

- Ensuring that all Sub-Contractors comply with the requirements of the QCP

- Ensuring that all necessary SABS and other specifications are available on site at all times.

- The Contractor’s attention is drawn to PSA5.11 regarding payment for any Work that is to be signed off by both the Contractor and the Engineer.

Item	Unit

Compliance with the Quality Control Programme	Sum

PSA 8.5	PROVISIONAL SUMS (Clause 8.5)

PSA 8.5.1	Testing of materials by Engineer

Item	Unit

a) 	Testing of materials	PC Sum

b) 	Overheads, charges and profit on a) above	%

PSA 8.5.2	Relocation cost of electrical services by local authority

Item	Unit

a) 	Cost of relocating existing electrical services by local authority	PC Sum

b) 	Overheads, charges and profit on a) above	%

###### PSA 8.5.3	Survey by Engineer

- The item shall cover survey work to be undertaken as directed the Engineer and by a competent engineering surveyor appointed by the Contractor.

Item	Unit

a) 	Survey work ordered by Engineer	PC Sum

b) 	Overheads, charges and profit on a) above	%

PSA 8.7	DAYWORK

- Certain amounts have been allowed under Dayworks for items of work which was not measurable at the time of tender. Depending on the overall contract price and budget constraints, some or all of these items may be omitted during the construction stage. Work for these items will be by written instruction only, and will be compensated for on a dayworks basis.

PSA 8.8	Temporary Works

###### PSA 8.8.2	Dealing with Traffic (or accommodation of traffic)

- Add the following:

- The tendered lump sum shall include for all signage, labour, plant, material and all other costs involved in accommodating the traffic in accordance with the latest edition of the South African Road Traffic Signs Manual, so as to be able to complete all the work as shown on the contract drawings and as required in the project specifications.

- The rate shall also cover the additional costs in controlling access to the Site and for working the roadworks and services under traffic as described in the scope of work.

Item	Unit

Traffic Accommodation	Sum

PSA 8.9	Provision for Possible Load Shedding

- The Contractor shall take cognizance of the possibility of power cuts due to load shedding and make sufficient provision for the works to proceed uninterrupted in the event of power cuts. No claims for delays or costs due to power cuts will be accepted.

- Fixed and time related costs associated with providing standby generation equipment etc. shall be included in the rates for fixed and time related establishment.

- The rate tendered under this item shall cover the direct costs of continued production during a power cut, such as fuel for generators.

- The quantity measured shall be the number of hours, as agreed with the Engineer, during which there is no power on site.

Item	Unit

Costs in the event of power cut:

a)	During working hours 	hr

b)	During non-working hours	hr

PSAB	Engineer'S OFFICE (SANS 1200 AB)

PSAB 1	Scope

- Offices for the Engineer shall be provided on the Hammarsdale wastewater treatment works site.

- Contract Nameboards shall be supplied at Hammarsdale WWTW.

PSAB 3	MATERIALS

PSAB 3.1	NAME BOARDS

- Two contract name boards shall be erected at the WWTW, at a position approved by the Engineer. The name boards shall be in English.

- The construction of the boards shall be as specified in Clause 3.1 of SANS 1200 AB, but the painting, decorating and detail shall conform to the eThekwini Municipality’s standard name board as shown on the drawings in Annexure.

- The text to appear on the nameboards shall be confirmed with the Engineer, prior to fabrication.

- The name board shall be erected with the bottom of the board not less than 2,7 m above average ground level.

PSAB 3.2	OFFICE BUILDINGS

- Replace Clause 3.2 with the following:

- The Contractor shall supply, maintain and service three offices (minimum 20 foot containers– 2.3m x 5.9m-each) with lighting for the sole use of the Engineer’s Representative and the Employers representatives. The internal furnishings to be supplied in each office shall include:

- one drawing table

- one table or desk having a top size of at least 1,5m x 0,9m and at least one lockable drawer

- one high stool

- two chairs

- one steel filing cabinet with four drawers

- one drawing hanging cabinet

- acceptable blinds on all windows

- acceptable lighting and two 15 amp single phase power points

- Provision for heating in winter and cooling in summer

- one kettle with cups and saucers

- one bar fridge

- one fire extinguisher

- Carport

- In addition, the Contractor shall provide a carport for 2 vehicles, roofed and enclosed on three sides and adequately designed and constructed to resist wind and other loads. The available area for each vehicle shall be 5.5 m x 2.7 m.  The surface of the carport shall be a free-draining gravelled surface.

- The Contractor shall provide, maintain and service a dedicated toilet and wash hand basin for the sole use by the Engineer and the Engineer’s Representative.

PSAB 3.3	office for site meetings

- The Contractor shall make available, when required, a suitable office with a table and adequate seating for ten people, for the purposes of holding site meetings.

- The Contractor shall provide, site instruction book and daily diary book for the sole use by the Engineer and the Engineer’s Representative.

PSAB 4	PLANT

PSAB 4.1	Telephone

- A fixed line telephone is not required.

- If so directed, the Contractor shall provide one cellular phone, complete with carry case and charger for the exclusive use of the Engineer’s Representative. The phone shall be fully insured.

- The Contractor shall make the necessary arrangements with a service provider for a suitable cell phone contract for the duration of the Contract. On completion of the Works, ownership of the cellular phone will revert to the Contractor.

- A Provisional Sum has been allowed to cover the monthly charges and calls and data and consumables for the telephone/scanner/printer/copier machine.

PSAB 4.2	Computer

- The Contractor shall provide one approved laptop/notebook computer for the exclusive use of the Engineer’s Representative. The minimum specifications of the computer shall be: an i5 processor, a 1 TB hard disk drive, 8 GB internal RAM, 15” display, mouse, A4 inkjet printer, 3G or ADSL or Fibremodem and 16 GB USB flash drive.

- The computer shall have licensed copies of the Microsoft Windows 10 Professional (or later) operating system and the latest version of the Microsoft Office suite installed, plus full-time high-speed internet access with a minimum speed of 4 Mb/s and 10 GB bandwidth per month. The Contractor shall provide all consumables including ink and paper.

- The computer will be supplied with an external hard drive for backing-up work.

- The computer shall include a webcam and shall be suited for video conferencing, via internet, by MS-Teams, or similar approved.

- The computer shall be new and fully insured. Insurance cover shall include any excess, which may be imposed in the event of a claim.

PSAB 4.3	SURVEY EQUIPMENT

- If so requested, the Contractor shall provide the following survey equipment for the use of the Engineer on the site, until the completion of the Works:

- (a)	One Engineer's level and level staff.

- (b)	One steel tape of 100 m and one of 30 m length.

- The Contractor shall service and maintain all survey equipment in good order.  He shall insure them and he shall indemnify the Employer and the Engineer against all claims for loss, damage, breakage or theft of the said equipment.  By mutual agreement, the survey equipment may be shared between the Contractor and the Engineer.

- Upon completion of the Works the equipment shall revert to the Contractor who shall remove it from the site.

PSAB 5	CONSTRUCTION

PSAB 5.1	NAMEBOARDS

- Contract nameboards shall be erected within one month of the acceptance of the Tender and shall be placed where ordered by the Engineer.  Any damage to these boards will be repaired within 14 days of a written instruction received from the Engineer.

- The Engineer may at any time order the removal, repair and/or relocation of the nameboards if any objections are received as to their bad maintenance.

- All name boards shall be removed 14 days prior to the date of the Final Approval Certificate.

PSAB 5.5	SURVEY AND MATERIALS ASSISTANTS

- The Contractor shall make available to the Engineer two suitably experienced survey and materials assistants to assist on and about the Site with surveys, measurements and materials testing, as and when required during normal working hours.  In addition to the equipment referred to in PSAB 4.3, the Contractor shall also make available any other necessary survey and measurement equipment, as required by the Engineer.

PSAB 8	MEASUREMENT AND PAYMENT

- Replace Clause 8 with the following:

- The method of measurement as described in Subclause 8.1.2.1(b) and (d) of SANS/SABS 1200A shall apply and shall be by the lump sum or by number as indicated in Item PSAB 8.3.

PSAB 8.3	SCHEDULED ITEMS

PSAB 8.3.1	Fixed Charge and Value-Related Items

- Payment for fixed charge and value-related items with respect to facilities to be provided for the Engineer will be effected in accordance with Clause PSA 8.3 as applicable.

- The sum for the Engineer’s office shall include the furniture, ablution facilities and carport as specified. It shall also include costs of providing a meeting room as specified.

- The sum for the cellular phone shall include all fixed contract costs associated with providing the cell phone for the Engineer.

- The cost of removing all the specified facilities from site upon completion of the Works shall be included in the rates tendered.

Item	Unit

Fixed Charge Items

(a)	Engineer’s Office	Sum

(b)	Cellular Phone	No

(c)	Computer	No

(d)	Survey Equipment	Sum

(e)	Nameboards	No

PSAB 8.3.2	Time-Related Items

- Payment for time-related items with respect to facilities to be provided for the Engineer, will be effected in accordance with Clause PSA 8.4 as applicable.

- The rate for the cellular phone shall be full compensation for all fixed monthly charges and costs including contract payments and insurance but shall exclude charges for phone calls.

Item	Unit

Time Related Items

(a)	Engineer’s Office	Sum

(b)	Cellular Phone	No

(c)	Computer	No

(d)	Survey Equipment	Sum

(e)	Nameboards	No

PSAB 8.4	SURVEY AND MATERIALS ASSISTANTS

- The unit of payment shall be by man.hour and shall be full compensation for the use of the labour by the Engineer's Representative.

Item	Unit

(a)	Survey Assistants	Man.hours

(b)	Materials Assistants	Man.hours

PSAB 8.6	Cellular phone CALLs

- The Contractor shall pay all cell phone accounts however the cost of phone calls by the Engineer’s representative shall be recoverable from the Employer at the rate tendered, which shall include all Contractor’s profit, administrative charges and overheads.

- The quantity measured shall be the number of minutes of talk time billed as reflected on the cell phone accounts.

Item	Unit

(a)	Cellular phone call charges	min

PSC	SITE CLEARANCE

PSC 1	SCOPE

- This specification includes provisions for the handling of raw sewage, removal and handling of sludge (if necessary).

PSC 1.2	SCOPE OF LABOUR INTENSIVE WORK

- The following items of work shall be carried out by Labour Intensive methods:

- Clearing and grubbing of grass and small bushes

- Taking down existing fences

- Removal of rubble

- Dismantling of specific structural elements

PSC 2.3	DEFINITIONS

- Designated Site / Area

- Add the following:

- The designated site for clearing and grubbing (as defined in SABS 1200C clause 5.3 & 5.4) shall be defined as that falling within the Site boundary shown on the drawings.

- Notwithstanding the above, the Contractor shall prior to any clearing and grubbing agree with the Engineer the areas to be cleared.

PSC 3.1	DISPOSAL OF MATERIAL

- Where the material obtained from clearing and grubbing can be classified as topsoil, the relevant terms of clause 5.2.1.2 of SABS 1200 D and the project specification, as applicable, shall apply.

- Unless otherwise indicated, material and rubble obtained from clearing and demolition, including pipeline cleaning, shall be disposed of off-site at a landfill site selected by the Contractor and approved by the Engineer. Disposal certificates shall be provided for each load of material disposed.

- Waste generated by demolition work shall be removed from site within 14 days of the completion of the demolition work concerned.

- The Contractor shall make all necessary arrangements and acquire such permits as are necessary to comply with this requirement.

- Burning of material on site will not be permitted.

PSC 3.2	RECOVERY OF MATERIAL FROM DEMOLITION

- Where indicated, reusable materials obtained from demolition work shall remain the property of the Employer. Such materials shall be carefully dismantled and neatly stored at a location on the WWTW to be designated by the Engineer. The Contractor shall not dispose any material which could reasonably be construed to be re-usable without authority from the Engineer.

- Where so indicated, certain materials obtained from demolition or dismantling shall be reused in the works (or at other WWTW). Such materials shall be carefully dismantled, set aside and stored for later reuse. The Contractor shall take all necessary precautions to protect such materials from damage during demolition, transport and storage. Any such materials which are lost or damaged as a result of negligence on the part of the Contractor shall be replaced at the Contractor’s own cost.

- Unless specifically stated on the drawings or in the specification, no material shall be reused in the Works without the Engineer’s written authority.

PSC 3.2	Asbestos

- The Existing sewer pipework and roof sheeting which is to be removed around the A-inlet works is asbestos cement. The Contractor shall comply with the relevant legislation and provisions of the Health and Safety Specification in this regard.

PSC 4	PLANT

- PSC 4.2	DEWATERING PLANT  (New Clause)

- The Contractor shall be responsible for designing, supplying, installing, operating and removing from site all the temporary plant necessary for dewatering the sludge, including any pumps and pipelines required to transfer the water extracted from the sludge to the specified discharge point.

PSC 5	CONSTRUCTION

PSC 5.1	AREAS TO BE CLEARED

- The areas to be cleared include the following facilities:

- The surface where the second-class water and potable water will be laid

- The surface at the New and existing inlet works area

- The surface at the New Dewatering (centrifuge) facility

- The surface where new roadways, walkways and parking bays are to be built

- The surface at the existing works main entrance

- Areas to be cleared for the various components of the Works shall be shown on the Drawings or agreed with the Engineer. These shall include the routes of pipelines and areas to be occupied by new structures.

PSC 5.2	CUTTING OF TREES

- Add the following:

- Any tree to be removed shall be marked, in advance, by the Engineer after consultation with the Environmental site officer.

- The trees to be removed are to be spoiled off site in accordance with the Environmental Management Specification.

PSC 5.8	DEMOLITION OF STRUCTURES

PSC 5.8.1	Breaking out of concrete and brickwork

- Breaking out of existing concrete and brickwork is required in a number of areas to effect alterations to existing structures or allow new pipework to pass through existing walls. The extent of the demolition work is indicated on the drawings, but may also be directed by the Engineer on site.

- Wherever a section of a plane surface such as a wall or slab is to be broken out, a saw cut of depth at least 50 mm shall be made on the perimeter of the area to be removed so as to present a clean edge to the broken out section.  Where both faces of the panel are accessible, a saw cut shall be made on each face.

- All edges exposed by demolition shall be made good as specified in section PSG.

PSC 5.8.2	Removal of corroded walkway grating

- The existing walkway gratings at the inlet works channels are to be removed and disposed of.

- The Contractor shall take all necessary precautions to prevent damage to the sub-structure during the removal of the walkway grating.

- The walkway grating shall be removed from site and disposed of by the Contractor.

PSC 5.8.3	Dismantling existing pumps and motors

- Where so indicated, the existing pump and motor equipment shall be dismantled by the Contractor.  Any re-usable materials shall, unless otherwise directed, remain the property of the eThekwini Municipality and shall be moved by the Contractor to a designated store on the WWTW, where the materials shall be stacked in an orderly manner.

- If so instructed however, such materials shall be removed from site and disposed of by the Contractor.

PSC 5.8.4	Dismantling of Existing Mechanical Plant

- Where so indicated, existing mechanical plant shall be dismantled by the Contractor.  Any re-usable materials shall, unless otherwise directed, remain the property of the eThekwini Municipality and shall be moved by the Contractor to a designated store on the WWTW, where the materials shall be stacked in an orderly manner.

PSC8	MEASUREMENT AND PAYMENT (Clause 8)

PSC 8.1	PRINCIPLES

PSC 8.1.1	Demolition

- Payment for demolition work shall only be made after all waste generated from the demolition work concerned has been cleared from site to the satisfaction of the Engineer.

- For all bill items involving the disposal of demolition waste, the Contractor will be deemed to have made allowance in his rate for the salvage value, if any, of any re-usable materials.

- Where indicated that materials recovered from demolition or dismantling of existing structures or plant are to be handed over to the Employer, the rate shall include all costs of removing, transporting and stacking the material at a designated location on the WWTW property. No additional payment will be made for transport of material to any location within the WWTW.

- Where indicated that materials are to be reused in the Works, the rate shall cover all costs associated with dismantling, setting aside and storing the materials and protecting them from damage, until they are reused.

- The Contractor will be deemed to have inspected the site and familiarised himself with all conditions affecting demolition work such as access, working space, nature of materials to be demolished and temporary support required for existing structures. The rates for demolition work shall be deemed to include all necessary scaffolding, access ramps and plant or other provisions for the removal of waste.

PSC 8.2	SCHEDULED ITEMS

PSC 8.2.2	Remove and grub large trees and tree stumps

- The tendered rates for PSC8.2.2 shall also include for the requirements of PSC 5.2.

Item	Unit

Remove and grub large trees and tree stumps

- Over 1m up to 2m	No

- Over 2m up to 3m	No

PSC 8.2.7	Dismantle and Relocate Pipelines, Electricity Transmission Lines, Cables etc (where necessary).

- Where the removal of Asbestos Cement (AC) pipes is identified in the bill of quantities, the rate shall include all costs associated with complying with the relevant Health and Safety Specifications and asbestos legislation (see PSC 8.1.1 above).

- The tendered sum shall include for all costs involved in excavating by hand in all materials, exposing, shoring, decommissioning, cutting into and removing the existing services (only during the times mentioned below), relaying the service along the new route (if the existing pipework is to be reused) as directed by the Engineer, tying new pipework into the existing, reconnecting and re-commissioning the system. The cost for the excavation of the new trench, supply and laying of new pipe lengths, supply and installation of new bends, laying, jointing, bedding, supply of bedding material, backfilling, compacting and pressure testing of new pipework shall be included under Section L.

- In the case of rising mains or gravity mains, the sum shall include for liaison with the plant operator to arrange for pumpstations to be turned off and for the pipes to be drained and emptied, the relocation work to take place at night during periods of low flow, the possible rerouting of existing pipeline beneath the proposed pipeline.

- It is required that the relocations shall done during night, and over the weekends (i.e. Sunday night 11pm – 4am), when the flows to the works are at the lowest. The tendered rates shall also therefore allow for any additional costs associated with doing this work at these times with these limited timeframes. It may also be required that the relocation of each rising main be done on separate nights and this shall also be allowed for in the tendered rates.

- The sum shall also include for the recording and submission of as built information for the relocated services.

- If instructed by the Engineer, the Contractor shall remove or dismantle any service.

- The tendered rate shall include for all costs involved in excavating by hand in all materials, exposing and removing the existing services and relaying the service along the new route as directed by the Engineer, including excavation of the new trench, laying, jointing, bedding, supply of bedding material, backfilling and compacting.

Item	Unit

Relocation of existing services

Type and size of service stated……………………………………………………….	Sum

PSC 8.2.8	Demolish and remove structures / buildings / materials / etc.

- Delete clause 8.2.8 and insert the following:

- The rates tendered shall include full compensation for all necessary excavation, breaking out, removal of fasteners, disposal of debris, making good any damage and backfilling as required.

- The rates shall also include the transport and disposal of the removed material at a licensed municipal disposal facility and shall also include all fees for disposal. The Contractor will be deemed to have made allowance in his rate for the salvage value, if any, of any re-usable materials.

- The Contractor is to take all reasonable care to protect the adjacent structures (if any) from damage during the removal operation.

- The item shall distinguish between the different types of material to be demolished and removed and the unit measured shall be appropriate to the material in question.

PSC 8.2.10	Remove topsoil to nominal depth of 150mm and stockpile

- Add the following:

- The Engineer and Contractor are to agree upon a stockpile site for any topsoil that is to be removed and stockpiled. The costs for transporting, preparing the stockpile site and stockpiling, as per clause 5.6, shall be deemed to be included in the rates.

PSC 8.2.11	Dealing with hazardous material (New Clause)

- The rates tendered shall include full compensation for taking all of the necessary precautions for dealing with hazardous materials during clearing activities. The rates shall include the removal and transport of the materials to a hazardous waste disposal facility and shall also include all fees for disposal. The requirements of the  ‘Health & Safety Specification’ are to be included in the rate for this item of work.

- The item shall distinguish the different types of material to be handled and the unit measured shall be appropriate to the material in question. Payment for each scheduled item will only become payable once the Contractor has supplied the Engineer with a certificate issued by the disposal site.

PSC 8.2.12	Break out concrete or brickwork and make good (New Clause)

- Separate items will be scheduled for different materials and different areas with different working conditions.

- The item shall cover all costs associated with breaking out concrete or brickwork in walls and slabs for the purpose of modifying the existing structures, forming new pipe penetrations, connecting existing pipes to new chambers or for laying pipes below walls or structures. The rate shall include removal from site and disposal of the waste material. It shall also cover for making good the broken edges with an approved epoxy mortar (Sika Monotop 620 or equally approved) with a steel float finish to the Engineer’s satisfaction or as specified in the drawings or rebuilding the wall to a condition approved by the Engineer.

- This work may be required to be done during night and over weekends (e.g. Sunday night after 11pm) when the flows through the works are at the lowest. The tendered rates shall therefore allow for any additional costs associated with doing this work at these hours. It may also be required that the breaking through and the making good of the surfaces be done on separate nights and this shall also be allowed for in the tendered rates.

- The times when this work is to be done shall be approved in writing by the Engineer before the work commences (See Particular Specification PA)

- The quantity measured shall be the net volume of concrete or brickwork required to be removed based on the actual average thickness of the sections to be broken out and the extent of the sections to be broken out shown on the drawings or directed by the Engineer. No payment will be made for overbreak.

Item	Unit

Break out concrete/brickwork, reinstate, make good edges and dispose of waste	m³

PSC 8.2.13	Dismantle and remove existing equipment (New Clause)

- A lump sum shall be tendered for various items of equipment that are to be dismantled and stored or disposed of accordingly.

- The tendered sums shall include all labour and plant required to complete the works, including transportation for disposing or storing, as required.

- The Contractor’s attention is drawn to clause PSC 5.8.3 regarding the disposal of mechanical equipment and materials that may be re-usable. The Contractor is deemed to have inspected the site and noted the full extent of the work required.

- The costs for the installation of new mechanical equipment shall be measured separately.

Item	Unit

- Dismantle and remove existing equipment and dispose	Sum

- Dismantle and remove existing equipment and transport to Ethekwini

Municipality Store	Sum

PSC 8.2.14	Relocation of existing services (New Clause)

- The tendered sum shall include for all costs involved in excavating by hand in all materials, exposing, shoring, decommissioning, cutting into and removing the existing services (only during the times mentioned below), relaying the service along the new route (if the existing pipework is to be reused) as directed by the Engineer, tying new pipework into the existing, reconnecting and re-commissioning the system. The cost for the excavation of the new trench, supply and laying of new pipe lengths, supply and installation of new bends, laying, jointing, bedding, supply of bedding material, backfilling, compacting and pressure testing of new pipework shall be included under Section L.

- In the case of rising mains or gravity mains, the sum shall include for liaison with the plant operator to arrange for pumpstations to be turned off and for the pipes to be drained and emptied, the relocation work to take place at night during periods of low flow, the possible rerouting of existing pipeline beneath the proposed pipeline.

- It is required that the relocations shall done during night, and over the weekends (i.e. Sunday night 11pm – 4am), when the flows to the works are at the lowest. The tendered rates shall also therefore allow for any additional costs associated with doing this work at these times with these limited timeframes. It may also be required that the relocation of each rising main be done on separate nights and this shall also be allowed for in the tendered rates.

- The sum shall also include for the recording and submission of as built information for the relocated services.

Item	Unit

Relocation of existing services

- Type and size of service stated	Sum

PSC 8.2.15	Cleaning of existing raw sewage pipelines (New Clause)

- The unit of measurement shall be the length of raw sewage pipework to be cleaned.

- The tendered rates shall include the provisions of acquiring a specialist Contractor, which shall be approved by the Engineer, to pressure clean the existing pipelines. The Contractor’s mark-up for overheads, etc. on appointing the specialist Contractor shall be included in the Contractor’s rates.

- The costs for gaining access to the entry points of the pipelines, shutting off the flow, cleaning, draining and pumping out any effluent left in the pipe shall be deemed to be included in the rates.

- It is required that the pipe cleaning be done during night, and over the weekends (i.e. Sunday night after 11pm), when the flows through the works are at the lowest. The tendered rates shall also therefore allow for any additional costs associated with doing this work at these hours and during these limited timeframes. It may also be required that the cleaning of each pipeline be done on separate nights and this shall also be allowed for in the tendered rates.

- The Contractor shall liaise with the Plant Manager and Engineer in agreeing to the time and date in which the pipeline cleaning can be done. These times shall be approved in writing by the Engineer before the work commences. No cleaning of any pipes shall commence without the prior approval from the Engineer.

- A lump sum item has been scheduled to allow for the appointment and establishment of the approved specialist contractor who shall clean the rising mains. Separate items shall be scheduled for the various size and type of rising main that is to be cleaned.

- The pipeline cleaning shall be carried out in a manner so as to ensure continuity of incoming raw sewage flow.

- The following existing raw sewage pipelines:

- 900mm diameter A.C. Raw sewer pipeline

- shall only be cleaned once the following items of work are complete:

- 600mm diameter A.C. final effluent pipeline

Item	Unit

- Establishment of pipeline cleaning crew onsite	Sum

- Pressure cleaning of pipeline (type and size specified) 	m

PSC 8.2.16	Saw Cuts through existing surface (New Clause)

- The item shall cover the costs of making saw cuts as specified in surfaces to provide a clean edge to broken out sections.  Separate items will be scheduled for vertical and horizontal panels.

- The quantity measured shall be the net length of cut specified.

Item	Unit

- Saw cut through existing surface (type of surface and depth specified)	m

PSC 8.2.17	Removal of existing kerbing, channelling and edging

- The tendered rate shall be for all costs to lifting and remove existing precast kerbs, including backing and benching concrete, and dispose thereof at a licenced waste disposal facility. The rate tendered shall cover all commonly used kerbs including barrier, mountable, combination and edging and channel sections. The quantity shall be the length of kerb designated for removal.

Item 	Unit

Removal of existing kerbing, channelling and edging:

- Kerbing	m

- Channelling	m

- Paving	m²

PSC 8.2.18	Remove and dispose of existing pavement

- The tendered rate shall be for all costs to break up, rip and remove existing pavement layers, including asphalt surfacing up to 50mm thick and dispose thereof at a licenced waste disposal facility.. The quantity shall be the cubic meter of layerworks removed.

Item	Unit

- Remove and dispose of existing pavement	m³

PSD	EARTHWORKS

PSD 1	SCOPE (Clause 1)

PSD 1.2	SCOPE OF LABOUR INTENSIVE WORK (New Clause)

- The following items of work shall be carried out by Labour Intensive methods:

- Final grading and trimming

- Shaping, trimming and compacting the verges

PSD 3	MATERIALS (Clause 3)

PSD 3.1	CLASSIFICATION FOR EXCAVATION PURPOSES  (Sub-Clause 3.1)

PSD 3.1.1	Method of Classifying  (Sub-Clause 3.1.1)

- The Contractor may use any method he chooses to excavate any class of material but his chosen method of excavation shall not determine the classification of the excavation. The Engineer or his Representative will decide on the classification of the materials. In the first instance the classification will be based on inspection of the material to be excavated and on the criteria given in PSD 3.1.2 below. All material shall be considered to be soft material unless agreed and approved otherwise in writing with the Engineer prior to excavation taking place.

- In the application of this classification, no differentiation shall be made between "bulk" or "restricted” excavations.

PSD 3.1.2	Classes of Excavation  (Sub-Clause 3.1.2)

PSD 3.1.2.1	Classes of Excavation: Conventional Construction

- All material encountered in any excavations for any purpose including restricted excavation will be classified as follows:

- Hard rock excavation

- Hard rock excavation shall be excavation in material (including undecomposed boulders exceeding 0,15 cubic metres in individual volume) that cannot be efficiently removed without blasting or without wedging and splitting.

- Soft excavation

- Soft excavation shall be all material not falling into the category of hard rock excavation.

PSD 3.4	CONCRETE RETAINING BLOCKS

- Concrete retaining blocks shall be ‘Terraforce’ L15 or equally approved blocks complying with SANS 508.

PSD 5	CONSTRUCTION (Clause 5)

PSD 5.1	PRECAUTIONS

PSD 5.1.1	Safety

PSD 5.1.1.2	Safeguarding of excavations

- The Contractor shall be responsible for all lateral support and the safe-guarding of all excavations, and all costs involved with the proper safeguarding of the excavations shall be included in the tendered rates.

PSD 5.2	METHODS AND PROCEDURES

PSD 5.2.2.	Excavation

PSD 5.2.2.1	Excavations for General Earthworks and for Structures (Sub-Clause 5.2.2.1)

- Working space of 1,0 m wide adjacent to the walls of structures has been allowed for in the Quantities. Any additional working space required by the Contractor, or over-excavation, shall be excavated, backfilled and compacted by the Contractor at his own expense.

PSD 5.2.2.3 	Disposal (Sub-clause 5.2.2.3)

- All surplus and unsuitable material shall be removed from site and disposed of by the Contractor who shall, at his own cost, make all necessary arrangements for locating a legal spoil site and haulage.  The Contractor shall be deemed to have conducted all necessary investigations to establish the viability of this operation.

- The Contractor may not dispose of spoil material at a location in lieu of a licensed landfill, unless he provides documentary proof that he may do so legally, and such disposal is approved in writing by the Employer’s Agent.

- The Employer accepts no responsibility for incorrect assumptions made by the Contractor or incorrect information acted on by the Contractor. The associated rates shall remain fixed for the duration of the Contract irrespective of where the Contractor ultimately spoils the material

- Notwithstanding the above, the Employer’s Agent may authorise or instruct in writing that surplus and / or unsuitable material from excavations be placed as compacted fill on the site in accordance with the relevant clauses of SANS 1200 D as amended by this specification.

- Where excavated material is disposed of on site at a location designated by the Employer’s Agent, the topsoil shall be stripped to a depth of 150mm, or as directed, stockpiled, maintained and reinstated to its original depth over the spoil.  The spoil site shall be graded to smooth, free-draining contours.

PSD 5.2.3	Placing and Compaction

PSD 5.2.3.2	Confined Backfilling and Compacting Around Structures

- Backfill against structures, within 1,0 m of the structure, shall be approved clean non-cohesive material, either selected material from the excavations or imported material, and shall be compacted to a minimum of 93% Mod. AASHTO density (100% for sand). Payment for this item shall cover all costs involved in supplying, loading, transporting, placing, spreading and compacting the imported material. The volume of backfill will be calculated on a 1.0m wide area for workspace behind the structure walls, and the Contractor shall make provision in his rates for any additional material required for wider excavations.

PSD 5.2.4.	Finishing

PSD 5.2.4.1	Final Grading (Sub-Clause 5.2.4.1)

- Add the following to Sub-Clause 5.2.4.1:

- After the excavation or filling has been completed final grading slopes shall consist of trimming the existing or previously shaped ground to an even surface and to tolerances given in Clause 6.1 (b)(4).  Trimming shall be done with hand tools.  Machine operations shall only be permitted upon written instruction by the Engineer.

- Trimmed surfaces shall be free of all stones exceeding 50mm in size and all excess material shall be removed.  The surface shall be left slightly rough to facilitate a better blinding with topsoil.

PSD 5.2.4.3	Grassing

- Grassing shall be carried out by hydro-seeding with an approved mix or grass plugs as directed by the Engineer and specified in the Schedule of Quantities.

PSD 5.2.4.6	Concrete Retaining Block Facings (New Clause)

- Slopes with concrete retaining block facings shall be constructed to the lines and dimensions shown on the drawings or as directed by the Engineer.

- A concrete strip footing shall be cast at the base of the facing. The footing shall be given a wood floated finish and the top surface of the concrete shall be sloped back at the correct angle to provide the specified batter. Unless otherwise indicated, the concrete shall be grade 15 MPa/19 mm.

- Each course of blocks shall be arranged along straight lines or smooth curves as indicated, with full interlock between blocks.  Successive courses shall be staggered in stretcher bond and set back as indicated.  Geotextile reinforcement shall be placed as indicated.

- Backfill shall be replaced behind each row of blocks and firmly tamped before laying the next course.  Each course of blocks shall be filled with top soil obtained from other excavations on the Site, before laying the next course.  Filling of all the blocks after completion of the whole facing will not be permitted.

PSD 5.2.5	Transport for earthworks

PSD 5.2.5.1 	Freehaul (Sub-clause 5.2.5.1)

- All haulage within the boundaries of the site and within 1,0 km beyond the site boundaries shall be regarded as free-haul.

- Materials obtained from commercial sources, from designated borrow pits, or borrow pits selected by the Contractor and approved by the Employer’s Agent, shall be supplied inclusive of transport, and no haulage will apply.

- Spoil material transported off sitefor disposal, as per PSD 5.2.2.3, shall be inclusive of transport and no haulage will apply.

PSD 8	MEASUREMENT AND PAYMENT

PSD 8.1	BASIC PRINCIPLES

- Excavations

- The Contractor shall determine at tender stage the appropriate method of bulk and trench excavation (plant, labour etc) and tender rates accordingly.

- Generally, the excavations will be measured in the categories set out hereunder, i.e.

- Cut to Fill, where the unit rate tendered shall be inclusive of all work and costs required for the bulk excavation of all materials from platform and excavation areas, the transport and placement of the material in the required fill areas, and compaction in layers not exceeding 150 mm to 93% Modified AASHTO density.

- Cut to Stockpile where the unit rate tendered shall be inclusive of all works and costs required for the bulk or restricted excavation of materials which are suitable for placement in fill, the loading and transport to the designated stockpile site, and the maintenance of the stockpiles, as directed by the Engineer.

- Cut to Spoil where the unit rate tendered shall be inclusive of all works and costs required for the bulk or restricted excavation of materials which are in excess or are not suitable for placement in fill, the loading and transport and disposal thereof in accordance with PSD 5.2.2.3.

- Hand Excavations. Hand excavation rates will only be paid if ordered by the Engineer in writing where the unit rate tendered shall be an extra-over rate for restricted excavation, which shall include for all additional costs involved in providing labour and hand tools required for excavations by hand.

- Backfilling

- Except for the cut to fill operations described above where measurement and payment of the filling and compaction is included under these items, all other fill construction works and backfilling requires fill material from borrow pits and stockpiles on site or from commercial sources, where the following additional items shall apply;

- Construction of fill platform and embankments; where the unit rate tendered shall be inclusive of all works and costs required for the loading and transport of fill material from the stockpiles or borrow pits on site, the placement of the material in the required fill areas, and compaction in layers not exceeding 150 mm to 93% Modified AASHTO density, as directed by the Engineer.

- Restricted backfilling against structures; where the unit rate tendered shall be inclusive of all works and costs required for the selection, loading and transport of fill material from the stockpiles or borrow pits on site, the placement of the material in the 1,0m working space against structures, and compaction in layers not exceeding 150 mm to 93% Modified AASHTO density (100% for sand), as directed by the Engineer.

- An Extra-over item to item (a) above shall be measured for final shaping and trimming of embankment sides.

- An Extra-over item to item (b) above shall be measured for imported material from commercial sources.

PSD 8.1.3	Dimensions of Excavations

- Excavations to structures will be measured as follows:

- Foundations: Nett plan dimensions of foundations except where the sides of foundations require formwork as ordered by the Engineer, in writing, on site, where a further 1,0 m maximum working space will be added to the nett plan dimensions (measured from the outside of the vertical walls) and up to the bottom of blinding layer beneath the vertical walls.  It is envisaged that generally all footings and bases will be cast against the earth faces of the excavations, in which case no working space will be measured or paid for.

- Structure above foundation level: A maximum space of 1,0 m working space where required, will be allowed for measurement purposes. It shall be measured up to the bottom of the blinding layer beneath the vertical wall. Any excavation exceeding 1,0 m to the finished vertical faces of any structure shall be excavated, backfilled and compacted as specified, to the cost of the Contractor.

PSD 8.2	COMPUTATION OF QUANTITIES

- For this Contract all excavations measured for cut to spoil or cut to stockpile or hand excavation, shall be measured in cut using two surveys of the area concerned (before and after.)

- For this Contract all excavations measured for cut to fill, shall be measured in fill.

- The costs for any temporary stockpiling and multiple handling of materials shall be included in the tendered rate for the relevant item of earthworks.

- The cost of all quality control tests is to be included in the tendered rate for the earthworks operation. The cost of any other tests required due to quality control tests failing shall be borne by the Contractor.

- A provisional sum is allowed in the Bill of Quantities to cover the costs of all ad-hoc tests to be carried out on the written instruction of the Engineer.  However, should any of these test results show that the work or the material does not comply with the specifications, the Contractor will be responsible for the cost of such testing.

PSD 8.3	SCHEDULED ITEMS

PSD 8.3.2	Bulk Excavation

- The Contractor’s attention is drawn to Clause PSA 5.5.

- Unless an item has been specifically scheduled for dewatering, the cost of dewatering of excavations will be held to have been included in the tendered rates for excavation.  Provision is made under item PSA 8.4.2.2(a) which shall cover all the Contractor's costs involved with the control of surface and subsurface water not included in the rates for excavation and trench excavations.

- The Contractor shall provide adequate temporary drains in and around the excavations to control surface water.  Such drains may be self-draining or lead to sumps equipped with pumps.

- Should the Contractor allow saturated conditions to develop he shall take such steps to rectify the conditions as the Engineer may order, entirely at his own cost, including dewatering.

- The tendered price for excavation shall also include for trimming, levelling and compacting the floor of the excavation ready for the application of the blinding layer.

- Where embankments are to be constructed with boulder material, embankments are to be laid and compacted in layers (specified by the Engineer in writing) and boulders of diameter greater than the layer thickness are to be removed before compaction. The cost for this exercise is deemed to be included in the tendered rates.

PSD 8.3.3	Restricted Excavation

- The provisions of PSD 8.3.2 shall apply. Rates tendered shall include for restricted backfilling around structures.

- Add the following items:

- Extra over for:

Item	Unit

- Importation of approved sand fill material from commercial sources	m³

- 5% cement stabilised sand	m³

- Restricted backfilling against structures	m³

PSD 8.3.8	Existing Services

PSD 8.3.8.1	The use or hire of specialist equipment for detection

- Where instructed by the Engineer, the existing services are to be located with the use of radio detection methods. The use of special equipment to locate existing services shall be measured by the number of hours the equipment was used to locate any existing service.

- The tendered rate shall include all plant and labour required to locate existing services by radio detection methods. The Contractor shall submit a written methodology to the Engineer for approval prior to the hiring of any equipment to be associated with locating any existing service. Should the Contractor hire out any equipment and proceed with locating any service without the written instruction or approval from the Engineer, the costs of such work done shall be borne by the Contractor.

- Payment shall only be made for the time that the equipment was in use. Unless for reasons beyond the Contractor’s control, no payment shall be made for “standing time” of the equipment or specialist (if required).

- A lump sum item has been allowed for the administrative costs of hiring and establishing a service detection crew, if required, on site. A separate item has been allowed for the excavation and exposure of services.

Item	Unit

- Establish service detection crew	Sum

- The use or hire of specialist equipment for  detection	Hour

PSD 8.3.14	Shore deep excavations (New Clause)

- This item shall apply where shoring is required or ordered by the Engineer to protect existing structures and/or excavations in collapsing or non-cohesive materials.

- The area of shoring measured for payment will be the actual area of excavation side shored, calculated from the perimeter of structure plus adequate working space and the height of shoring actually used. The maximum depth of shoring is estimated at 5m.

- The rate shall cover the cost, of the design, supply, placing, maintenance and removal of the shoring system, complying with SANS 1200 D, Clause 5.1.1.2 and other support measures together with any cost that results from the inconvenience of working in the supported excavation and the cost of any risks inherent in the operation.

Item	Unit

Shoring to protect existing structures	m²

PSD 8.3.15	Final Grading (New Clause)

- Measurement and payment for final grading shall distinguish between machine grading which can reasonably be done by bulldozer or motor grader, and hand trimming, including areas which cannot be done by machine on account of confined space, steep slopes or difficult shapes.

- Measurement shall be based on the area, in hectares or square metres, graded to the satisfaction of the Engineer.  The rates for hand trimming shall distinguish between areas flatter than 1:4 and areas with slopes steeper than 1:4.

- The tendered rates shall include full compensation for grading and trimming the areas to the specified finishing requirements, including the moving of a small quantity of material which would be inherent in this process and the removal of surplus material and stones.  The rate shall cover the cost for all plant, labour, materials and all other incidentals necessary to complete the work to the satisfaction of the Engineer.

- Where embankments are to be constructed with boulder material, embankments are to be laid and compacted in layers (specified by the Engineer in writing) and boulders of diameter greater than the layer thickness are to be removed before compaction. The cost for this exercise is deemed to be included in the tendered rates.

Item	Unit

Final grading

- Machine grading	m²

- Hand Trimming

- Flat areas with slopes less than 1:4	m²

- Areas with slopes steeper than or equal to 1:4	m²

PSDB	EARTHWORKS (PIPE TRENCHES) (SANS 1200 DB)

PSDB 3	MATERIALS

PSDB 3.1	CLASSES OF EXCAVATION

- The excavation of material will be classified as specified in Clause PSD 3.1. The method of excavation shall be determined at tender stage, and rates shall be tendered accordingly.

PSDB 5	CONSTRUCTION

PSDB 5.1	PRECAUTIONS

PSDB 5.1.2	Stormwater, Seepage and Dewatering of Excavations (Sub-Clause 5.1.2)

- In addition to the Contractor's responsibilities for dealing with water, which are deemed to be included in the rates tendered for the relevant payment items, the Engineer may order the Contractor to place a crushed stone bedding layer (minimum thickness 150 mm) on the trench bottom.

- Should the trench bottom conditions remain unstable due to the nature of the soil and the degree of saturation, the Engineer may order the Contractor to install a Geotextile (as defined in PSLE 3.5) on the trench bottom prior to the provision of the stone layer.  After placing the stone bedding, the geotextile shall be folded over the stone with a minimum overlap of 300 mm to form an enclosed drain.  The specified bedding material shall then be used to bed the pipe.

- The Contractor shall only provide and lay the stone bedding layer and geotextile after receipt of the written order to do so from the Engineer.

PSDB 5.1.5	Shoring of Pipe Trenches

- All trenches deeper than 1,0m shall be shored.

- The Contractor shall assume full responsibility for the safety of excavations, and shall carry out all measures necessary to make the work secure, by timbering and strutting or sheet piling the excavated face or by side sloping where it is not required to act as a mould to concrete work.  All timbering and strutting must be of sufficient strength and be capable of being removed readily as the work proceeds.

- All timbering and strutting or sheet piling shall be subject to the Engineer 's approval but such approval shall not relieve the Contractor of any responsibility with regard to the safety or suitability of the timbering / sheet piling used.

- The Contractor shall further take all precautions to safeguard existing services and structures near or next to excavations carried out by him and shall provide and erect any shoring or underpinning that may be necessary.

- All claims for compensation for damage or injury caused or aggravated by the Contractor not taking all precautions to safeguard persons or property shall be met entirely by the Contractor.

PSDB 5.2	MINIMUM BASE WIDTHS SPECIFIED

- Replace the side allowance table in Clause 5.2 with the following:

| - External diameter of pipe barrel, mm |  | - Side allowance on each side, mm |
| --- | --- | --- |
| - Over | - Up to and including |  |
| - - | - 125 | - 300 (refer to sub-clause (b)) |
| - 125 | - 710 | - 300 |
| - 710 | - 1050 | - 400 |
| - 1050 | - 2020 | - 500 |
| - 2020 | - - | - 600 |

- Add the following to sub-clause 5.2(b):

- The minimum base width for subsurface drains shall be 500.

PSDB 5.4	EXCAVATION

- All trenches are to be excavated to a depth sufficient to accommodate the pipes at the levels and cover as shown on the drawings.  Unless otherwise stated, a minimum cover of 700 mm will generally be required. Allowance must also be made for the required depth of pipe bedding.

PSDB 5.6.3	Disposal of Surplus Material

- Surplus material shall be disposed of off-site or spoiled on site, as directed in writing by the Engineer, in accordance with the provision of PSD 5.2.2.3.

PSDB 5.7	COMPACTION OF TRENCH BACKFILL

PSDB 5.7.1	Areas not Subject to Traffic Loads (Sub-Clause 5.7.1)

- Sand backfilling shall be compacted to 100 percent modified AASHTO maximum density.

PSDB 5.7.2	Areas subject to Traffic Loads (Sub-Clause 5.7.2)

- The provisions of Sub-Clause 5.7.2 with regard to compaction of trenches shall be applicable to all trenches in road reserves.  Sand backfilling shall be compacted to 100 percent modified AASHTO maximum density.

PSDB 7		TESTING

PSDB 7.1 	TESTING

- Replace Clause 7.1 with the following:

- "As part of the process control the Contractor shall be responsible for all tests on the backfilling of pipe trenches.  Testing shall be carried out at not less than the following frequencies:

- One test for every layer of backfill for road crossings and one test for every layer of backfill for every 50-metre length of trench elsewhere."

PSDB 8	MEASUREMENT AND PAYMENT

PSDB 8.3	SCHEDULED ITEMS

PSDB 8.3.2	Excavation

PSDB 8.3.2  (a) 	Excavate in all materials for trenches, dewater, backfill, compact and dispose of surplus 	material or unsuitable material

- Amend this item to read as follows:

- “Excavate in all materials for trenches, backfill, compact and dispose of surplus or unsuitable material, shoring and dewatering, for:

- The Contractor’s attention is drawn to PSDB 5.1.5 for the shoring of pipe trenches and must be included in the rates.  All trenches deeper than 1,0m shall be shored.

- The rate shall allow for any dewatering necessary.

- In addition, the provisions of 8.3.4 (a) shall be included for shoring with the amendments that shoring must take place on both sides of the trench.

PSDB 8.3.2 (b)	Extra-over item (a) above for:

- Remove (1) and (2) and replace with the following:

i)	Hard rock excavation

iii)	Hand excavation

- Hand excavation and hard rock excavation will only be paid when written permission is obtained from the Engineer prior to the excavation operation actually commencing.

###### PSDB 8.3.4 (c)	Excavate by hand in all materials to verify existing services and backfill (New Clause)

- Measurement shall be the cubic metres actually excavated by hand to expose the services or hand excavations as directed by the Engineer.

- The rate shall cover the additional cost of care in excavation necessitated by the presence of the service.

- Excavations by hand will only be paid upon written order by the Engineer to perform excavations by hand.

Item	Unit

Excavate by hand in all materials to verify existing services and backfill	m³

###### PSDB 8.3.4 (d)	Excavate by hand in all materials to expose existing services for removal (New Clause)

- Measurement shall be the cubic metres actually excavated by hand to expose the services sufficient for its removal and subsequent backfilling.

- The rate shall cover the additional cost of care in excavation necessitated by the presence of the service. No additional excavation and backfilling shall be paid for when a new pipe is to be placed in the same location as the existing pipe.

- The cost for removing the pipe is to be paid for elsewhere.

Item	Unit

Excavation by hand in all materials to expose pipe for removal and backfill	m³

PSDB 8.3.5	Existing Services that Intersect or Adjoin a Pipe Trench

- The rate for an item scheduled in terms of (a) and (b) shall in addition to items i) to iv) cover any additional costs in adhering to the requirements stipulated in the wayleave conditions, including excavation by hand if required.

- Replace the dimension “200 mm” in the last sentence of paragraph (a) with “500 mm”.

PSDB 8.3.6	Finishing (Sub-Clause 8.3.6)

PSDB 8.3.6.1Reinstate road surfaces complete with all courses (Sub-Clause 8.3.6.1)

- Add the following:

- The rates tendered shall cover all costs associated with carefully removing, storing and reinstating the respective items to the satisfaction of the Engineer. Should any material be damaged or stolen, the costs of replacing the respective material shall be borne by the Contractor.

- The reinstatement of any material shall comply with the applicable specifications, as laid down in both SABS 1200 and the project specifications, and shall be deemed to be included in the rates. Any material that has been reinstated or reconstructed and does not comply with the applicable specification shall be reworked at the Contractor’s expense.

- The rate shall cover the cost of the reinstatement of the following items:

Item	Unit

- Asphalt of thickness up to 80mm in roadway	m²

- Basecourse material stabilised with 5% cement and compacted to 98% mod

AASHTO density (2 layers of 150m thick)	m²

- Subbase material compacted to 95% mod AASHTO density (150mm thick)	m²

- Concrete interlocking block paving of thickness 80mm to walkway	m²

- Precast kerbing	m

- Class 30MPa/19mm concrete 150mm thick with mesh reinforcement Ref 193	m²

PSDB 8.3.8	Additional shoring (New Clause)

- The quantity measured shall be the area of additional shoring installed over and above the shoring deemed to be included in excavation for trenches deeper than 1 m.

- The rate shall cover the full cost of additional shoring of pipe trenches where instructed to do so by the Engineer. No payment shall be made without the written approval of the Engineer prior to the installation of the shoring.

Item	Unit

Additional shoring of pipe trenches	m²

PSDK	GABIONS AND PITCHING

PSDK 1	SCOPE (Clause 1)

- Gabion and Pitching work required on the project includes gabions and mattresses for erosion protection and pitching of certain stormwater chutes, channels and erosion protection works.

- The construction of gabions shall be carried out by Labour Intensive methods.

PSDK 3	 Materials

PSDK 3.1	GABIONS

PSDK 3.1.1	Stone

- The stone will be subjected to the weathering and durability test.

- The rate for the supply of stone shall include for the following tests:

a)	Weathering test

b)	Durability test

PSDK 3.1.1.1 Quality

- The stone shall not be subjected to the weathering test (see Subclause 7.3).

- The stone shall not be subjected to the durability test (see Subclause 7.4).

PSDK 3.1.2	Wire

PSDK 3.1.2.2 PVC Coating

- PVC coating of the mesh, if required, shall be done in accordance with Subclause 3.1.2.2.  The Engineer shall decide whether PVC coated mesh is to be used.

- An extra over rate shall be tendered for PVC welded mesh.

PSDK 3.1.3	Wire and Mesh

- PVC coated wire is to be used for the manufacture of gabion cages.

- Refer to SABS 1200 DK table 3 for wire and mesh dimension.

PSDK 3.1.4	Geotextile

- Bidim must be used, or similar, approved by the Engineer.

PSDK 5		CONSTRUCTION

PSDK 5.1.6	Diaphragms

- Add to the Subclause:

- Each diaphragm shall be connected in the same manner to the sides and top panels in addition to the bottom panel.

PSDK 5.2.3	Assembly

- Add to the Subclause:

- All gabion and mattress cages shall be connected to adjacent gabion and/or mattress cages by lacing the adjacent together with 2,0mm diameter galvanised steel wire.  The lacing shall be in accordance with Subclause 5.1.7.

PSDK 5.2.4	Rockfilling

- Particular care shall be taken in the filling of gabions and mattresses so as to ensure that the voids in the rockfill are reduced to the minimum which can be reasonably achieved.  In order to minimise the voids in the rockfilling, the filling shall proceed in layers not exceeding 300mm deep and each layer shall be rodded and barred so as to compact the rockfill before filling of the next layer commences.  Where appropriate, hand packing of selected rock particles shall be carried out.

PSDK 8	MEASUREMENT AND PAYMENT

- Add the following:

- All rates shall also make allowance for all tie-ing into existing systems/ pipes/ levels, etc, and making good.

PSDK 8.2.8 	“Terraforce” Blocks or Similar Approved (Function Specified)

- Design and supply of earth retaining wall

- The contractor shall allow for the design and supply of the retaining system, designed in accordance with local codes and standards, and shall be inclusive of the full engineering design and certification from a professionally registered engineer. The design and installation of the earth retaining system shall be subject to approval by the Engineer.

- The quantity of the earth retaining system shall be measured per m2 in the vertical plane as required to retain the embankment as indicated.

- The tendered rate shall allow for the design and supply of the retaining system which shall include full compensation for the excavation and preparation of the bedding and in-situ material, supply of bedding sand as per the manufacturer’s and/or designer’s specification, backfill, the supply and laying of the retaining blocks and all other incidentals necessary to complete the work as depicted in drawing 5312-0-C140. Design specific materials, such as anchors, reinforcement, etc. shall be included in the rate.

- The rate shall make full allowance for the collection, loading and transporting, offloading, stockpiling and handling of all materials and earth-fill material required.

Item	Unit

“Terraforce” blocks or similar approved (function specified)	  m²

PSDM		EARTHWORKS (ROADS, SUBGRADE)

PSDM 1	SCOPE

- The scope of this specification is extended to cover the construction of selected subgrade layers for the concrete apron at the sludge dewatering facility, inlet works and tanker discharge area. etc)

PSDM 3	MATERIALS

PSDM 3.1	CLASSIFICATION FOR EXCAVATION PURPOSES

- Notwithstanding the provisions of this subclause, the excavation of material will, for the purposes of measurement and payment, be classified as specified in Subclause PSD 3.1.

PSDM 3.2	CLASSIFICATION FOR PLACING PURPOSES

PSDM 3.2.3	Selected Layer

- Replace the contents of Subclause (d) with the following:

- A maximum plasticity index (for natural material) of 3 x grading modulus + 10.

PSDM 5	CONSTRUCTION

PSDM 5.1	PRECAUTIONS

PSDM 5.1.2	Accommodation of Traffic

- The requirements of Subclause 5.1.6 of SABS 1200D and PSD 5.1.6 shall apply regarding the control and temporary accommodation of traffic.  Payment for the aforementioned will be effected in terms of Item PSA 8.8.2

PSDM 5.2	METHODS AND PROCEDURES

PSDM 5.2.1	Stripping of Site

- Add the following to Subclause 5.2.1:

- Topsoil shall be stockpiled on site and the stockpiles shall not hinder any access to areas around site as the site will be use during the construction period.

PSDM 5.2.2	Cut and Borrow

PSDM 5.2.2.2 Dimensions of Cuts

- Replace the word “subbase” throughout this subclause with “selected layer or gravel wearing course”.

- Add after “drawings” in the second line of this subclause:

- “which shall include for channels within the road reserve”.

PSDM 5.2.2.3 Use of Material

- Add after “borrow pits” in the second last line of subclause (a) “or commercial sources”.

PSDM 5.2.2.5 Dispose of surplus or unsuitable material

- Add after “directed” in the second line of this Subclause “(refer PSD 5.2.2.3)”.

PSDM 5.2.3.3  Treatment of Roadbed

- Add the following subclause 5.2.3.3c:

PSDM 5.2.3.3c Three Pass Roller Compaction

- Any portion of the roadbed which is specified to be given a three pass roller compaction shall be prepared by shaping and cutting to level and then compacting with a heavy pneumatic-tyred roller.

- The roadbed shall then be inspected for soft spots which shall be removed to a depth ordered by the Engineer and replaced with a G9 material compacted to 95% of Mod. AASHTO density.

PSDM 5.2.4.3 Finishing

- Notwithstanding the provisions of this subclause the requirements of PSDM 5.2.2.7 shall as applicable apply to the finishing off of verges.

PSDM 5.2.8	Transport

PSDM 5.2.8.2 Overhaul

- Delete the term “0,5km” and replace with “2,0km”.

PSDM 5.2.9	Work in confined areas

- Where material cannot be processed satisfactorily in place with normal construction equipment, but has to be processed by hand or with suitable hand operated machines, the work will be classified as “work in confined areas”.

PSDM 5.2.10* Trimming and Grading of Verges

- During the initial earthworks the verge width shall be cut and filled to approximately the final level and shall be kept trimmed and tidy during the works.  After construction of the roads and stormwater drains, where applicable, the verge shall be finished off to the lines and levels shown on the drawings or as instructed by the Engineer and no depressions shall be left.

- The verge material shall consist of that material which would normally be occurring at that position or depth when in cut and shall not be contaminated by foreign materials such as bricks, basecourse material, horticulturally inferior materials from trench excavations, etc.  Verges in fill conditions are to consist of the material as specified for the fills and similarly shall not be contaminated by foreign materials such as bricks, basecourse material, horticulturally inferior materials from trench excavations, etc.

- No vegetation loose or projecting stones, roots, stumps or rubbish shall be left on the verges.

- On completion, the verges shall be watered and treated with a three pass compaction.

PSDM 6	TOLERANCES

PSDM 6.5	DIMENSION AND LEVEL CONTROL

- The requirements of PSM 6.4 shall apply.

PSDM 8	MEASUREMENT AND PAYMENT

PSDM 8.1	BASIC PRINCIPLES

- Add the following:

- The requirements of PSM 8.2 shall apply.  The contractor shall further make provision in the various rates for the construction of the roadbed, fill and selected layer for the cost of his own process control testing and the cost of complying with PSDM 6.5.

PSDM 8.2	COMPUTATION OF QUANTITIES

PSDM 8.2.5	Verifying Quantities

- Replace the first sentence of this subclause “Before the work … quantities” with the following:

- After the roadworks have been set out and the road reserve cleared, the Contractor shall allow the Engineer reasonable time to take cross sections for the purpose of measurement and payment of cut and fill quantities.  The latter being subject to the adjustments stipulated in subclause 8.2.3.

PSDM 8.2.7* Cut to Accommodate Channels within the Road Reserves

- The volume of material excavated to form road side channels and channel cross drains (including cut to accommodate concrete lining) within the road reserve will be measured for payment as cut to fill, cut to spoil, or cut to selected layer, as the case may be.

PSDM 8.3	SCHEDULED ITEMS

PSDM 8.3.3	Treatment of Roadbed

- Add the following subclause:

PSDM 8.3.3(4)

Three pass roller compaction 	Unit: sq. m

- The unit of measurement shall be the square metre of roadbed compacted in accordance with the provisions of Subclause PSDM 5.2.3.3©.

- The rate shall include full compensation for shaping, levelling, providing the rollers and compacting the roadbed by three roller passes.

PSDM 8.3.4	Cut to fill, borrow to fill

- Replace the first sentence of the payment clause “Cut to fill … separately” with the following:

- Cut to fill and borrow to fill from commercial sources or borrow pits located by the Contractor or designated by the Engineer will be scheduled separately.

- Pay items:

- Borrow to fill using material from:

- Sources acquired by the Contractor 		Unit: cubic metre

- Sources designated by the engineer 		Unit: cubic metre

- Add the following:

- The rate tendered for borrow to fill from commercial sources or borrow pits located by the Contractor or Engineer (outside bounds of site) shall cover the cost of acquiring the material, any excavation and selection required, loading, transporting to the point of use irrespective of distance and temporary stockpiling if necessary.

PSDM 8.3.5	Selected Layer Compacted to 93% of Mod AASHTO Maximum Density

- Replace the contents of this subclause with the following:

- Using material cut from road prism 		Unit: cubic metre

- The rate tendered shall cover the cost of excavating as if in soft material, selecting, loading, transporting, placing, watering, compacting, trimming and testing the selected layer.

- Using material from commercial sources or borrow pits located by the

Contractor 		Unit: cubic metre

- Using material from sources designated by the Engineer 		Unit: cubic metre

- The rate tendered shall cover the cost of acquiring the material from commercial sources or borrow pits located by the Contractor (outside bounds of site), any excavation and selection required, loading, transporting to the point of use irrespective of distance, temporary stockpiling if necessary, placing, watering, compacting to percentage of modified AASHTO maximum density stated, trimming and testing the selected layer.

PSDM 8.3.6	Cut to Spoil or Stockpile from:

- Amend Subclauses 8.3.6(b), 8.3.7(c) and 8.3.9(b) to read:

Hard rock excavation 	Unit: cubic metre

PSDM 8.3.11 Extra over 8.3.2, 8.3.4 or 8.3.5 for temporary stockpiling of material

- Add the following:

- The temporary stockpiling of material from commercial source or sources located by the Contractor, or borrow pits designated by the Engineer, will not be measured for payment (refer PSDM 8.3.4 and PSDM 8.3.5(b)).

PSDM 8.3.13 Surface Finishes

- Add to Subclause 8.3.13 the following subclause:

- Trimming and shaping verge 		Unit: sq. m

- The rate tendered shall include for the hauling, placing, spreading and shaping of any fill required and the removal of any surplus material to spoil, and the cost of any plant and incidentals necessary to complete the work including three pass roller compaction.

PSDM 8.3.17

Removal of Unsuitable Ground 	Unit: cubic metre

- The rate shall cover the cost of the removal of unsuitable ground (from confined areas where normal excavation equipment for a continuous operation would not be suitable) and shall include full compensation for excavating the material, loading, transporting and spoiling it as specified for cut to spoil, and for transporting the material to an approved tip site.

PSDM 8.3.18

Extra over for excavating up to existing layerworks 	including benching and saw cutting joint 	Unit: m

- The rate shall include the cost over and above in Clause 8.3.4(a) and 8.3.7, for excavating up to the edge of existing layerworks, including the shaping of benching required for the new layerworks, trimming the existing pavement to the correct dimensions and saw cutting the surface to leave a neat straight joint.

- PSDM 8.3.19*

Replacement of Suitable Ground Removed from Roadbed 	Unit: cubic metre

- The rate shall cover the cost of supplying the G10 material and compacting it to 90% of Mod AASHTO density as described in subclause PSDM 5.2.3.3(c).

PSG	CONCRETE (SANS 1200 G)

PSG 1	SCOPE

- All concrete works are to be carried out in accordance with the requirements of SANS 1200 G. This includes the construction of all reinforced and plain concrete structures, foundations, chambers, thrust blocks, haunching and encasement to pipes.

PSG 2		INTERPRETATIONS

PSG 2.4	EXPLANATION OF TERMS

PSG 2.4.1	Exposure Conditions

- All concrete in the works is deemed to be subject to severe exposure conditions and shall have a minimum cement content of 290 kg/m³.

PSG 3	MATERIALS

PSG 3.2	CEMENT

PSG 3.2.1	Applicable Specifications

- The cement for structural and water-retaining elements shall be common cement of strength class 42,5N or higher that complies with SANS 50197-1, (CEM II/V-S 42.5)

- All cement shall be to the Engineer’s approval and have a guaranteed equivalent Na2O content of less than 0,5%.

- For each cement consignment the Contractor shall furnish a certificate stating that the cement has been tested and analysed by the manufacturer and complies with the above requirements.

- A similar procedure should be followed when use is made of Ready Mixed concrete.

- Extenders shall comply with the relevant part of SANS 1491.

PSG 3.2.3	Storage of Cement

- Cement shall be stored in such a way that the oldest cement is used first. Cement shall not be kept in storage for longer than 8 weeks.

PSG 3.5	ADMIXTURES

PSG 3.5.1	Approval of Admixtures

- Admixtures shall comply with the requirements of ASTM C 494.

PSG 3.5.3	Curing Agents (New Clause)

- Curing agents shall be tested in accordance with ASTM C 156 and shall comply with the requirements of ASTM C 309, except that the loss of water within 72 h shall not exceed 0,40 kg/m².

PSG 3.5.2	Air-Entraining Agents

- The use of air entraining agents will not be permitted.

PSG 3.9	JOINTS

PSG 3.9.1	General

- The jointing materials shall be approved and as shown on the drawings or as scheduled.

- All jointing materials shall be carefully stored and protected to avoid damage, distortion or contamination by other materials prior to use. They shall be applied by trained applicators, strictly in accordance with the manufacturer's instructions and as approved.

PSG 3.9.2.	Primer

- An approved primer fully compatible with and/or manufactured for use with the specified jointing or sealing compound shall be applied to the appropriate joint surfaces where so required.

PSG 3.9.3	Elastomeric Sealant

- Elastomeric sealants shall be polyethylene cured polyurethane "pouring grade" for horizontal joints and "gun grade" for vertical joints, conforming to the physical test requirements of SANS 110.

PSG 3.9.4	Joint Fillers

- Joint fillers shall be closed-cell expanded polyethylene having a density not less than 35 kg/m3, a tensile strength not less than 215 kPa and a minimum tensile elongation at break of 92%.

- Fillers shall have a tear our strip for forming the specified recess for sealant where appropriate.

PSG 3.9.5	Swellable Joint Sealing Profiles

- Swellable joint sealing profiles shall be ‘SikaSwell-P’, ‘Kuniseal C-31’ or equal approved hydrophilic sealing profiles which swell on contact with water. Unless the profile is self-adhesive, it shall be fixed to the substrate with a compatible adhesive, as recommended by the supplier.

- Swellable joint sealing products shall be kept dry during storage.

PSG 3.9.6	Waterstops

- Waterstops shall be of approved manufacture and of the pattern and the widths scheduled and shown on the drawings.  They shall have the appropriate physical properties  as set out below:

- PVC at 25ºC	Rubber at 20ºC

- Tensile strength			13,9 MN/m2	21,09 MN/m2

- Elongation at break		250% (min)	400% (min)

- Hardness BS degrees		40-50		60-70

- Elongation				65% (min)	75% (min)

- Tensile strength			65% (min)	75% (min)

- Joints in PVC shall be heated and pressure applied with a former.  Those in rubber shall be factory made unless otherwise approved.

- Dimensional tolerances of all types of waterstops shall be:

- for width:					± 1,3 mm

- for web thickness:				+1,5 mm or -1 mm

- Minor surface defects shall not exceed 10 mm in length or 2 mm in depth.

PSG 3.10	GRANOLITHIC SCREED (New Clause)

Granolithic concrete shall consist of:

| Cement: | 1 part by pass |
| --- | --- |
| Sand: | 1,25 parts by mass |
| Coarse aggregate: | 2 parts by mass |

The coarse aggregate shall consist of granite or other approved chips which shall pass a 10 mm sieve and be retained on a 5 mm sieve.

- In all other respects the granolithic concrete shall comply with SABS 1200 G.

PSG 3.11	CONCRETE REPAIR PRODUCTS (New Clause) ()

- Concrete repair products shall be as specified or shown on the drawings. They shall be applied by trained and approved applicators, strictly in accordance with the manufacturer's instructions and as approved.

- Where different products are to be used in conjunction, only mutually compatible products shall be used and, if so instructed, the Contractor shall furnish a written assurance from the supplier that any combination of products is acceptable.

PSG 3.12	CRYSTALLINE WATERPROOFING ADDITIVE (New Clause)

Where specified, concrete shall have the crystalline waterproofing additive Xypex Admix. The dosage rate of the additive shall be 1.0 – 1.5% by weight of total cementitious material (including extenders). The W/C ratio shall be below 0.55 for any concrete containing the Xypex Admix C-500NF.

The Contractor shall ensure that the transport, storage and handling of the additive is in line with the recommendations of the manufacturer and shall be included in his costs.

Should the Contractor wish to use an alternative crystalline waterproofing additive, the Contractor shall submit an alternative to the Engineer for approval. This shall include the dosage rate of the alternative additive and the mixing and construction methodology of the concrete. Any additional costs associated with the use of this alternative additive shall be borne by the Contractor.

PSG 3.13	CONSTRUCTION JOINT SEALANT FOR XYPEX CONCRETE STRUCTURES (New Clause)

Where Level 3 construction joints, as per the construction joint details for Xypex concrete structures, are required, Xypex Concentrate slurry coat shall be used. The sealing strip of the joint shall be Xypex Concentrate in Dry-Pac form.

Should the Contractor wish to use an alternative material for the construction joint, he shall submit an alternative, with supporting documentation, indicating that the performance of the alternative is of equal or better performance to that specified.

PSG 3.14	CRYSTALLINE WATERPROOFING COATING (New Clause)

Existing concrete surfaces that require waterproofing treatment shall be treated with Xypex Concentrate or equally approved.

PSG 3.15	CALCIUM ALUMINATE CORROSION RESISTANT COATING (New Clause)

- Existing concrete surfaces that require corrosion resistant coating treatment shall be treated with an approved calcium aluminate mortar, applied strictly in accordance with the manufacturer’s specifications.

PSG 4	PLant

PSG 4.4	Formwork

PSG 4.4.3	Ties

- Formwork ties used in water retaining concrete shall be of an approved design which does not create a path for the passage of water.

PSG 5		CONSTRUCTION

PSG 5.1	REINFORCEMENT

PSG 5.1.2	Fixing

- Welding of reinforcement as a means of securing it against displacement will not be permitted.

PSG 5.1.6	Cutting

- Cutting of reinforcement shall be done cold. The use of cutting torches will not be permitted.

PSG 5.2	FORMWORK

PSG 5.2.6	Formwork to Foundations

- The Engineer may at his discretion, and depending on the nature of the soil, determine on site that the vertical earth excavation sides may form the vertical formwork to footings, bases, etc.  In this situation the Contractor shall not be paid for formwork, and the measurement of the dimensions of the concrete construction shall be determined by the Engineer on site.

PSG 5.5	CONCRETE

PSG 5.5.1	Quality

PSG 5.5.1.7	Strength Concrete

- All concrete to the structures shall be strength concrete to the specified strengths.  Concrete in blinding layers and benching shall be strength concrete grade 10 MPa/19 mm, unless indicated otherwise.

- All exposed concrete shall be of a uniform colour. No change in materials or processes shall be made without the Contractor first satisfying the Engineer that no change in colour will result.

- NOTE: Due to the high exposure condition, all concrete specified to strength mix 35 MPa/ 19 mm shall incorporate Ordinary Portland Cement. The rates tendered in the Schedule of Quantities shall allow for all additional costs necessary for the incorporation of "Low Alkali" cement.

PSG 5.5.7	Construction Joints

- The position and details of all joints is shown on the drawings.

- Should additional joints be required by the Contractor to suit his method of work, these shall be subject to the Engineer 's approval. No payment will be made for such additional joints.

- All joints between slabs and bases of walls shall be formed with a kicker which shall be integrally cast with the slab.

PSG 5.5.7.3	Forming of Joints

- Unless specifically indicated on drawings or directed by the Engineer, no treatment of the surface with mortar, cement slurry, wet-to-dry adhesive etc. will be permitted.

- The joint surface shall be thoroughly scabbled to a rough exposed aggregate finish by wire brushing within 24 hours of casting, in the case of new concrete, or chipping, in the case of existing concrete.

- Concrete older than 3 days shall be thoroughly saturated with water by keeping the surface continuously wet for a period of at least 24 hours prior to casting the new concrete.

PSG 5.5.7.1	Primers

- The concrete to which the primer is to be applied shall be dry and shall be cleaned of all dust and foreign matter by compressed air or other suitable means. The primer shall be applied in accordance with the manufacturer's instructions.

PSG 5.5.7.2	Joint Filler

- The filler strips shall be attached to the completed side of the straight or grooved concrete joint by means of an epoxy glue or by other approved means.

PSG 5.5.7.3	Swellable Joint Sealing Profiles

- Where a swellable joint sealing profile is specified, the profile shall be fixed to the concrete face with the relevant adhesive, strictly in accordance with the manufacturer’s instructions. The adhesive shall be applied to form a solid and continuous bed with full contact between the profile and the substrate.

- The above shall not apply to self-adhesive profiles.

- As far as practical the sealing profile shall be placed centrally within the section, but under no circumstances shall the cover between the edge of the profile and the face of the concrete be less than 75 mm.

- Where concrete is to be saturated in terms of the method for joint preparation, the sealing profile shall only be affixed after the concrete has been saturated. The substrate shall be surface dry, before the sealing profile is applied.

PSG 5.5.7.4	Waterstops

- The greatest care shall be taken to ensure that waterstops are fully bedded in the surrounding concrete and that they are maintained in the correct position and alignment while concrete is being placed. Waterstops that are displaced during concrete operations shall be cut out and reset to the satisfaction of the Engineer.

- Joints in waterstops, that may be straight for continuity or mitred for corners, shall be formed in accordance with the manufacturer's instructions to approval and shall have a tensile strength not less than 75% of that of the original material.  Splices and joints shall be made such that all ribs in the original cross-section are maintained continuously and the joint made dense, homogeneous and free of all porosity.  The Contractor shall test under the direction of the Engineer joints made in waterstops of each type of material used.

- Prior to use, all waterstops shall be carefully stored and handled to avoid damage or contamination by oil, grease, etc.  Rubber and plastic waterstops shall be stored in a cool, well-ventilated place, away from the sunlight.

- All waterstops shall be supplied in lengths as long as practicable in order to reduce site splicing to a minimum.  Nails shall not be driven into waterstops.

PSG 5.5.7.5	Reinforcing Bars Drilled into Concrete

- Where specified, reinforcing bars shall be fixed into existing into existing concrete to form joints between old and new concrete. The bars shall be fixed with an approved epoxy adhesive into holes shall be drilled to the depth and diameter specified by the adhesive supplier.

- The correct quantity of adhesive shall be injected into the hole using a suitable nozzle so that the adhesive is injected from the base of the hole.

- The bars shall be inserted with a rotary motion to ensure that they are uniformly coated with adhesive. After being placed, the bars shall not be moved or loaded for the duration of the adhesive hardening time.

- The Contractor shall comply with all other installation instructions of the adhesive manufacturer.

PSG 5.5.10	Concrete surfaces

PSG 5.5.10.1 Finish to Unformed Surfaces

- All the weirs, tops of walls and chamfers shall receive a steel float finish, and unless specifically stated in the Drawings or in the Bills of Quantities, all other unformed surfaces shall be finished with a wood float.

PSG 5.5.10.4 Wood Float Finish

- Where a wood float finish is specified or scheduled, the surface shall first be given a finish as specified and, after the concrete has hardened sufficiently, it shall be floated to a uniform surface free of trowel marks.

- Measurement will be by the area so finished. The tendered rate shall cover the cost of producing the specified finish.

PSG 5.5.10.5 Steel Float Finish

- Steel trowelling of surfaces shall be carried out when the moisture film has disappeared and the concrete has set sufficiently to prevent laitance from being worked to the surface.  The concrete shall be steel trowelled and free of trowel marks. Further trowelling shall be carried out at intervals of two and four hours or such other intervals as the Engineer may direct.

- Measurement will be by the area so finished. The tendered rate shall cover the cost of producing the specified finish.

PSG 5.5.10.6 Screeds

- Where a screed is specified to the floor of a tank, sump or chamber, it shall be laid to the falls indicated on the drawings. The thickness of the screed shall nowhere be less than 25 mm. Feathered edges will not be permitted.

- The screed shall be formed from granolithic concrete as specified.

PSG 5.6	CONCRETE REPAIRS

- Concrete repairs shall be carried out where specified to reinstate sections of degraded concrete or to finish off rough edge exposed by demolition

PSG 5.6.1	Surface Preparation

- The surface to which repair mortar is to be applied shall be thoroughly cleaned by approved mechanical means, high pressure clean water jetting or by wire brushing and oil free clean compressed air. The surfaces shall be sound, clean and free of loose material, dust, laitance, dirt, grease, oil, paint, corrosion deposits, organic growth, etc.

- In addition, the surface preparation shall comply with any additional requirements of the manufacturer of repair mortar to be used.

- The surface shall be inspected for active hydrostatic leaks. Such leaks shall be brought to the Clients attention and recorded on a suitable evaluation diary. All such leaks shall be sealed with a suitable approved rapid setting cementitious blend (e.g. ‘durarep 60 or 180’).

- Reinforcement

- All exposed reinforcement shall be cleaned of corrosion products by wet grit blasting or other approved means to achieve a surface finish to comply with a standard of steel cleanliness such as SA 2½ (BS7079: Part A1 / ISO8501) or as directed by the Client’s Representative. Special care shall be taken to clean out properly any pitting which may have occurred in the steel bar.

- When the corrosion products have been removed and if directed by the Client’s Representative, the diameter of the reinforcing bar(s) shall be measured. If considered necessary by the Client’s Representative the existing reinforcement shall be cut out and replaced and/or additional bars added in accordance with instructions. Any deep pitting of the reinforcing bars shall be brought to the attention of the Client’s Representative.

- Reinforcement damaged during the removal of concrete or the preparation process shall be brought to the attention of the Client’s Representative and if required, shall be repaired or replaced.

- Where the presence of chloride is determined, it is essential that the cleaning process is completed by pressure washing with clean water the total exposed areas of reinforcing steel to ensure the removal of all residual contamination from the pitted surface of steel.

- Immediately following preparation and cleaning, the reinforcing steel shall be primed with an approved epoxy primer complying with the relevant parts of BS4652 Specification, For Metallic Zinc Rich Priming Paint Type 2. The primer shall be brush applied to the cleaned reinforcement ensuring that all exposed steel is fully coated and comply with any additional requirements of the manufacturer of the primer.

PSG 5.6.2	Mixing and Application

- The bonding agent, primer and repair mortar shall be mixed and applied strictly in accordance with the manufacturer’s instructions by trained applicators and as shown on the detailed drawings.

PSG 5.7	CONCRETE CONTAINING XYPEX ADMIX C500NF OR SIMILAR APPROVED (New Clause)

- Notwithstanding PSG 5.7.1 and PSG 5.7.2, the mixing, placing and curing of concrete shall comply with the standard concrete working practices, as per SABS 2001 – CC1:2007.

PSG 5.7.1	Mixing and placing

- Unless a batch plant is commissioned on site, no mixing of concrete containing the Xypex admix shall be permitted on site. The Contractor shall submit his methodology, as recommended by the manufacturer, to the Engineer for approval prior to the concrete being mixed and cast. The mixing, placing and curing of the concrete shall comply with the manufacturer’s instructions unless directed otherwise by the Engineer.

- It is required that a representative of the manufacturer is present on site when the concrete is poured to ensure that construction of the concrete structure is to the manufacturers specifications. Any costs incurred for acquiring the representative shall be included in the Contractor’s rates.

- If there are any concrete defects (honeycombing, static cracks beyond 0.4mm, failed construction joints) these are to be repaired as per Xypex Repair Methodology and the costs shall be borne by the Contractor.

PSG 5.7.2	Construction joints

- Construction joints shall be shown in drawing no 5312-ST-A500-P Typical Structural Details. The Contractor’s attention is drawn to clause PSG 3.13 for materials required when constructing Level 3 construction joints.

- The rate of application for the Xypex Concentrate in slurry form shall be 1.08kg/m².

- The Contractor shall adhere to the requirements laid down by the manufacturer’s method statements for both constructing the joints and for the application of the Xypex Concentrate in Dry-Pac form for sealing construction joints.

PSG 6	TOLERANCES

- The permitted tolerances in concrete work shall be as specified in Sub-clause 6.2 except as follows:

- Tolerance

- a)	Setting out distances between major units of work	± 25 mm

- b)	Concrete structures Overall dimensions:		± 15 mm

PSG 7		TESTS

PSG 7.1	FREQUENCY OF SAMPLING

- Add: "One sample shall comprise three test cubes of concrete".

- The cost of taking and crushing the concrete cubes shall be to the Contractor's account, including where check tests undertaken by the Engineer have failed.

- Payment for the cost of taking and crushing concrete cubes shall be deemed to be included in the Contractor's rates for concrete.

PSG 7.4	WATERTIGHTNESS AND TESTING OF WATER-RETAINING STRUCTURES

- On completion of the construction of the structures and before mechanical installation they shall be tested for watertightness, in accordance with the following procedure:

- The structure to be tested shall be filled with water, and shall remain full for a period of seven days, sufficient water being added daily to maintain the level in the tank.

- The water level shall then be recorded and the structure allowed to stand for a further seven days without the addition of water. At the end of this period the level shall again be recorded. If the difference in level less the drop in level due to evaporation is less than 50mm during the second period of seven days, then the structure shall be considered watertight.

- In uncovered structures, the evaporation shall be measured by recording the mean drop in level due to evaporation of water in three flat dishes floating in the water.

- In the event of appreciable leakage being evident at any stage of the filling for testing or in the event of the Engineer considering the final degree of watertightness to be unsatisfactory, the Contractor shall discontinue when ordered by the Engineer such filling or testing and shall at his own expense take steps immediately to rectify the leakage and to make the work thoroughly sound to the complete satisfaction of the Engineer. All such work of rectification shall be continued assiduously until a satisfactory test is obtained, which shall prove to the Engineer that a sufficient degree of watertightness has been obtained.

- Water-retaining structures will be finally accepted only when proved to be watertight by carrying out the above test.

- No specific payment will be made for carrying out watertightness tests, and the cost of this work, as well as the supply of water for the testing, and retesting if necessary, including the necessary closing of the openings left for pipes, in the initial tests, will be deemed to be covered by the rates for the scheduled items.

PSG 8		MEASUREMENT AND PAYMENT

PSG 8.4.1	Concrete

“In addition to the requirements as specified under Item 8.4, concrete mixes specified as 35MPa shall meet the following mix design requirements:

- Cement to meet the requirements of CEM II/V 42.5

- Minimum 350kg/m3 cementitious content

- Maximum WC ratio of 0.5

- The rate is to be inclusive of additional materials as specified as well as those required to meet workability requirements such as plasticizers, etc.”

Item	Unit

35MPa/ 19mm concrete	m³

PSG 8.7 	GROUTING

PSG 8.7 (c)	Casting in of existing pipes into new concrete wall

- Certain existing pipes are required to be cast into new concrete walls and the tendered rate for this item shall thus include costs involved in placing the reinforcement and formworks around the existing structure, securing the existing pipe in the correct position during the pouring and curing of the concrete and any associated additional costs.

- The rate shall also include the application of a swellable joint sealing profile (Kuniseal C31 DS or equal approved) around the pipe.

- Separate items will be scheduled for different ranges of pipe diameter.

- The quantity measured shall be number of existing pipes embedded in the concrete,

Item	Unit

Casting in of existing pipes into new concrete wall	No

PSG 8.7 (d)	Casting in of new pipes into concrete wall

- Where new pipes are to be cast into new walls the Contractor shall form a box out hole of adequate size and grout the pipe in afterwards.

- The surface of the box-out shall be roughened and saturated as described in PSG 5.5.7.3. before grouting the pipe in.  The pipe shall be secured in its final position and grouted into the wall with Sika ‘Sikacrete 214’ or an equivalent free-flow repair concrete.

- The tendered rate shall cover the costs for formwork around the pipe (including venting hole), casting the pipe into the wall, and making good the exposed surfaces with grout to form a neat finish to the satisfaction of the Engineer.

- The Contractor may elect to cast the concrete around the pipe without a box out in which case the rate shall be deemed to cover all costs of cutting and fitting the formwork around the pipe and no payment will be made for the corresponding box-out formwork item.

PSG 8.7 (e)	Casting in of ducts into structure

- Certain lengths of ducts are required to be cast into the concrete structure and the tendered rate for this item shall thus include costs involved in placing and fixing the pipe in the correct position and securing of the pipe in position during the pouring and curing of the concrete. The cost of supplying the duct is measured elsewhere.  Separate items will be scheduled for different ranges of pipe diameter.

Item	Unit

Casting in of ducts into structure for ducts:

a)	Up to 50mm diameter 	m

b)	50mm diameter up to 100mm diameter 	m

PSG 8.10	Extra-Over Item 8.4.1 for the Addition of Xypex Admix C500NF Or Equally Approved Admix (New Clause)

- The extra-over shall be to cover the additional costs of adding the admixture Xypex Admix C500NF, or equally approved, to the concrete structures specified.

- Measurement shall be the cubic metre of concrete that is to contain the admixture.

- The tendered rates shall include for the cost of the admixture and the mixing of the admixture into the concrete, at the dosage as specified in PSG 3.12, at the batching plant.

- It is required that a representative of the chemical product is present on site when the concrete is poured to ensure that construction of the concrete structure is to the manufacturers specifications and this shall be deemed to be included in the rates.

- The Contractor’s attention is drawn to clause PSG 3.12 and PSG 5.7 regarding the material and methodology to be adopted for this item and shall be included in the tendered rates.

- The concrete shall be to the manufacturer’s representative and Engineer’s approval.  Any structural defects, pointed out by either the representative or the Engineer, shall be repaired as per the manufacturer’s method statement. Any additional costs for repairs to the concrete structure shall be borne by the Contractor.

- Separate items shall be scheduled various thicknesses of concrete.

Item	Unit

Extra-over item 8.4.1 for the addition of Xypex Admix C500NF or equally approved

admix	m³

PSG 8.11	Construction Joints for Concrete Containing Xypex Admix C500NF or Equally Approved Admix (New Clause)

- Construction joints for concrete structures containing Xypex Admix C500NF, or an equally approved admixture, shall be measured by the length of the joint constructed.

- The tendered rates shall include the costs of constructing a construction joint as per the drawings.

- The Contractor’s attention is drawn to clauses PSG 3.13 and PSG 5.7.2 regarding the construction joint detail and the material types. Should the Contractor propose an alternative type of construction joint, subject to the approval of the Engineer, the Contractor shall bear any additional costs for this alternative.

- It is required that a representative of the chemical product used in the concrete is present on site when the first construction joint is constructed to ensure that the joint meets the specifications as set out by the manufacturer. This shall be included in the tendered rates.

- The construction joint shall be to the manufacturer’s representative and Engineer’s approval.  Any defects, pointed out by either the representative or the Engineer, shall be repaired as per the manufacturer’s applicable method statement. Any additional costs for repairs to the joint, including repairs to the concrete structure, shall be borne by the Contractor.

- Separate items shall be scheduled for various concrete thicknesses and joint types.

Item	Unit

Construction joints for concrete containing Xypex Admix C500NF or equally

approved admix	m

PSG 8.12	Application of Calcium Aluminate Corrosion Protection Coating (New Clause)

- Where existing or new concrete structures are to have a calcium aluminate protection coat, the unit of measurement shall be the area to of the concrete surface that is to be coated.

- The tendered rates shall include the costs of acquiring the compound, mixing the coating and applying according to the method and rate specified by the manufacturer.

- Should the Contractor propose an alternative type of material, subject to the approval of the Engineer, the Contractor shall bear any additional costs for this alternative.

- It is required that the manufacturer’s representative is present on site upon the first application of the coat to ensure that the material and construction methods meet the specifications as set out by the manufacturer. This shall be included in the tendered rates.

- The Contractor shall inform the Engineer prior to the mixing of the coating and shall not mix or apply the coat without the approval from the Engineer. Should the coat be applied to the concrete without prior approval from the Engineer, the Engineer reserves the right to reject the work and the Contractor remove the coating, remix and reapply the coat at his own cost.

- Separate items shall distinguish between various structures where the coat is to be applied.

Item	Unit

Application of calcium aluminate corrosion (sewpercoat) protection, or equally

approved coating system, on concrete structures	m²

PSH	STRUCTURAL STEELWORK  (SANS 1200 H)

PSH 1	SCOPE

- SANS 1200 H, as amended below, shall apply to the following works:

- All Structural steel items.

PSH 3		MATERIALS

PSH 3.1	STRUCTURAL STEEL

- All steel used in the construction of these works shall comply with SABS 1431 Grade S355JR.

PSH 3.6	BOLTS, NUTS AND WASHERS

- All bolts, nuts and washers shall be precision Bolts Grade 8.8.

PSH 5	CONSTRUCTION

PSH 5.1	DRAWINGS AND SHOP DETAILS

- It shall be the structural steel fabricator’s responsibility to prepare full shop details for approval by the Engineer.

- The structural steel fabrication will be executed as a Subcontract to the Civils Works contract.  The Main Contractor will be responsible for providing the Subcontractor with copies of all the relevant drawings and specification clauses to enable him to prepare the required shop details.

PSH 5.1.2	Contractor provides Shop Details

- The shop drawings shall be submitted to the Engineer at least (3) three weeks before fabrication is due to commence.  The Engineer will provide his approval and/or comments within two (2) weeks of receipt of all the shop details.

PSH 5.2	FABRICATION

PSH 5.2.2	Identification

- The Contractor shall maintain adequate records to ensure that all steel can be positively identified in respect of its grade.

PSH 5.2.3	Cutting

- If flame cutting is utilised all edges of plates shall be dressed by grinding to remove all burrs and notches.

PSH 5.2.4	Holes for Fasteners

- No holes may be formed by flame cutting and punching.

PSH 5.6	GROUTING OF SUPPORTS

PSH 5.6.1	Responsibility

- Grouting of base plates may be carried out either by the Civil Contractor or the Structural Steelwork subcontractor as agreed between them.  In either event the following shall apply.

- It is important that the base plates of the portal columns in particular are grouted to ensure full and intimate contact between the underside of the base plate and the foundation.

- No grouting shall commence until the Engineer’s approval is given for grouting to commence.

- All grout shall be mixed and used in strict compliance with the manufacturer’s instructions.  The grout shall be placed in a “Flowable” state and shall be poured into a mould formed around the base plate.  The mould shall be constructed in such a manner that an effective head of grout equal to 50mm above the bottom of the base plate can be achieved and maintained until after the final setting time of the material.

- The grout shall be poured in a manner agreed with the Engineer in advance of the commencement of grouting operations that no air is trapped beneath the base plate.

PSH 7	TESTING

PSH 7.1	TEST CERTIFICATES

- The structural steel fabricator shall obtain and submit to the Engineer certificates from all supplies from whom steel is purchased stating that the material supplied conforms in all respect with SABS 1431 Grade S355JR.

PSH 8	MEASUREMENT AND PAYMENT

PSH 8.3	SCHEDULED ITEMS

PSH 8.3.1.2	Supply and fabrication of steelwork

- The rate is also to include the provision of lugs welded to crane rails as specified on the detail drawings:

Item	Unit

Stainless Steel Specials

- IPE 200 Crane Rail at the Inlet works Pump Station	t

- IPE 200 Crane Rail at the Inlet works Screening area	t

PSHA 	STRUCTURAL STEELWORK (SUNDRY ITEMS) (SANS 1200 HA)

PSHA 1	SCOPE

- SANS 1200 HA, as amended below, shall apply to the following works:

- All structural steel works, metal works, gratings, floor gratings, handrailing, special metal items, stainless steel items, fencing and safety protection works.

- This section of the Works Specifications shall also cover glass-fibre reinforced plastic (GRP) handstops.

PSHA 3	MATERIALS

PSHA 3.1	STRUCTURAL STEEL

- All structural steel shall comply with the requirements of SABS 1431 grade 350W or SANS 50025/EN 10025 grade S 355 JR and shall be legibly marked with the maker's name or trade mark and identification marks.

PSHA 3.2	QUALITY OF MATERIALS

- All materials shall be new, unused and shall be the best of their respective kinds. The Contractor shall ensure that the materials are selected in accordance with the best engineering practice to suit the working conditions and the extremely corrosive environment.

PSHA 3.4	STAINLESS STEEL

- The AISI grade of stainless steel to be used will normally be specified in the detailed specification. Unless otherwise specified, rolled material shall be supplied with a matt, annealed and pickled or otherwise descaled surface finish. For wrought steels the equivalent BS 970 grade may in each case be used. The common applications are as follows:

| - APPLICATION | - AISI | - BS 970 |
| --- | --- | --- |
| - Low corrosion interior: |  |  |
| - Welded | - 304L | - 304S12 |
| - not welded | - 304 | - 304S15 |
| - Exterior and corrosive interior: |  |  |
| - Welded | - 316L | - 316S12 |
| - not welded | - 316 | - 316S16 |

- A manufacturer's test certificate shall be provided for each batch of stainless steel giving details of the material analysis and any mechanical tests carried out on the material.  Each stainless steel item supplied shall be clearly and permanently marked with the grade of stainless steel and cross referenced to the applicable test certificate.

- Where grades 316 and 304 are mentioned in the Tender Documents, these shall be taken synonymously with grades 316 L and grade 304 L, respectively.

PSHA 3.5	3CR12 STEEL

- This is the titanium stabilised, 12% chrome steel as produced by Columbus Stainless, South Africa.

- 3CR12 shall always be supplied with an annealed and pickled finish.  3CR12, in cases where it is to be coated, shall be suitably abrasive blasted to ensure adherence of the prime coat.

PSHA 5	CONSTRUCTION

PSHA 5.1	DRAWINGS AND SHOP DETAILS

- Steel Specials

- Flooring gratings, steel safety railings, manhole covers and specified specials are to be constructed of hot dipped galvanised mild steel unless otherwise specified. All the items shall be painted in the workshops after manufacture and before delivery to site.

- Aluminium hand stops

- Aluminium handstops shall be provided at various locations in the works in accordance with the details shown on the drawings.

- Aluminium handstops shall be manufactured to the dimensions shown on the drawings using grade M575 aluminium, and reinforced with aluminium angle sections as applicable. The frame and plate to be constructed from 5 mm thickness plates.

PSHA 5.1.1	Design Drawings

- The Engineer’s design drawings shall be issued to the Contractor on the Commencement Date.

PSHA 5.1.2	Contractor Provides Shop Details

- All shop details shall be prepared by the Contractor.

- The Contractor shall submit for approval shop drawings of all structural steelwork including stairs, handrails, and walkways. Full details of the welding procedures and standards which he proposes to use shall be shown on these drawings.

- The Contractor shall allow for a period of 1 week for review by the Engineer of the shop details.

PSHA 5.2	FABRICATION AND ASSEMBLY

PSHA 5.2.4	Welding

PSHA 5.2.4.1 General welding requirements

- STANDARDS : Standards complying with good modern practice, and acceptable to the Engineer, shall be adopted.  These include the following:

- BS 5135 -	Arc welding carbon and carbon manganese steelwork.

- BS 4677 -	Arc welding austenitic stainless steel pipework.

- BS 2633 -	Class 1 Arc welding of steel pipework.

- BS 2971 -	Class II Arc welding of steel pipework.

- BS 806  -	Design and construction of ferrous piping in connection with land boilers (Used for 	arc welding specification of all pipe flanges)

- Welders shall be experienced competent artisans approved in accordance with BS 4872.

- WELDING TO BE CONTINUOUS: All welding shall be continuous on all sides of any joint unless otherwise approved in writing by the Engineer.  No crevices will be permitted and where stitch welding has been approved by the Engineer, the crevices so left shall be sealed with an approved filling compound after priming but before further painting.

- WELD APPEARANCE: Welding shall be free of blowholes and all welding flux removed.  All weld spatter and other sharp imperfections shall be removed prior to abrasive blasting.  Prior to painting, weld beads with a surface irregularity exceeding 3 mm or with sharp crests having a radius under 2 mm shall be ground.  Weld grinding must not be performed on 304L or 316L stainless steel, however.

- SITE WELDING: Site welding shall be kept to a minimum and shall only be undertaken with the approval of the Engineer.

PSHA 5.2.4.2 Welding of Stainless Steel and 3CR12

- WELDING STAINLESS STEEL: Stainless steels shall be welded strictly as recommended in "The Stainless Steel User Manual" issued by Columbus Stainless.

- WELDING 3CR12: 3CR12 shall be welded strictly as recommended in "The 3CR12 Fabrication Guide" issued by Columbus Stainless.

- TYPE OF STAINLESS STEEL: Austenitic stainless steels to be welded shall be of the low carbon grade type.  (i.e. 304L, 316L, etc.)

- WELDING RODS : The welding rods used must be the most suitable for the metal and purpose.  Type 309 stainless steel welding rods shall be used for welding 3CR12 unless otherwise approved in writing.

- WELDERS : Only welders experienced with welding stainless materials shall be used.

- GENERAL : All possible steps shall be taken to ensure maximum corrosion resistance and strength of the welds and welded material.  Special care shall be taken to avoid prolonged heating.  Welds shall be passivated. Discolouration and steel contamination must be removed by pickling or electrocleaning as approved by the Engineer but should rather be avoided by taking the appropriate measures.

PSHA 5.3	DRAWINGS AND SHOP DETAILS

- Steel Specials

- Flooring gratings, steel safety railings, manhole covers and specified specials are to be constructed of hot dipped galvanised mild steel unless otherwise specified. All the items shall be painted in the workshops after manufacture and before delivery to site.

- Aluminium hand stops

- Aluminium handstops shall be provided at various locations in the works in accordance with the details shown on the drawings.

- Aluminium handstops shall be manufactured to the dimensions shown on the drawings using grade M575 aluminium, and reinforced with aluminium angle sections as applicable. The frame and plate to be constructed from 5 mm thickness plates.

- GRP handstops

- GRP handstops are specified at certain locations in the works.

- GRP handstops shall be manufactured to the dimensions shown on the drawings and reinforced with GRP angle sections if required in order to limit deflection to less than 3mm at a depth of 1m water head.

PSHA 5.4	ASSEMBLY

PSHA 5.4.5	Bolting

PSHA 5.4.5.1 Fasteners

- STANDARDS: Bolts and nuts shall be hexagon head type complying with SABS 1700 with threads of the coarse pitch series.  Allen head screws of any type shall not be used without the Engineer 's written consent.

- FASTENERS M12 AND SMALLER: All fasteners M12 and smaller shall be manufactured of AISI Grade 316 stainless steel.

- FASTENERS LARGER THAN M12 - IN CORROSIVE AREAS : All fasteners in corrosive areas shall be manufactured of 316 stainless steel.  Corrosive areas shall be taken to include any moist or wet area such as in and above settling tanks, in or in the vicinity of open channels, where a continuous spray can be expected and all internal and external areas in the vicinity of the inlet works of a wastewater treatment works.  All fasteners embedded in brick, concrete or soil shall also be of 316 stainless steel.

- FASTENERS LARGER THAN M12 - NON CORROSIVE AREAS : Fasteners larger than M12 which are in non corrosive areas shall, except when specified otherwise, be hot dip galvanised.

- HIGH TENSILE BOLTS: Where high tensile bolts are necessary, they shall be hot dip galvanised and coated.  The bolt holes and crevices shall be filled and sealed, all to the approval of the Engineer.

- MATERIAL COMPATIBILITY: Fastener material shall always be of equal or better corrosion resistance than the items being fastened, e.g. 316 stainless steel bolts must be used to fasten together 316 stainless steel fabrications or flanges.

- WASHERS: Washers of the same material to the bolts shall be provided under each nut and setscrew head.  Multiple washers or shims shall not be used.  Spring washers or other approved locking arrangement shall be used on all fasteners subject to vibration.

- ANTI-SEIZE COMPOUND: Before assembly, threads shall be treated with a nickel based, anti seize/corrosion protection compound; Chesterton 725 : Nickel Anti Seize Compound, or equivalent.  The thread shall be treated in the area under the final position of the nut.  Compound on the exposed thread shall be cleaned off after installation.  If it is found during inspection that compound has not been applied, the Contractor shall disassemble all fasteners and comply with this requirement.

- THREAD PROJECTION: Bolt threads shall project between 1 and 6 mm from the head of the nuts when fixed.  Longer projections will only be allowed if the Contractor can show that bolts of a more suitable length are not manufactured.

- CORROSION PROTECTION: After installation the exposed surfaces of bolts not made of 316 stainless steel shall be coated as for the items being fastened. If the use of Allen head or equivalent fasteners has been approved by the Engineer, the recessed heads shall be filled with a suitable non hardening sealing compound.

PSHA 5.4.5.2 Anchor Bolts

- HOOK BOLTS: Grade 316 stainless steel hook bolts shall be supplied and grouted by the Contractor into pockets which will be provided in the concrete structure in accordance with the information to be supplied by the Contractor.  The grouting products shall be used strictly in accordance with the manufacturer's instructions.

- ALTERNATIVE ANCHOR BOLTS: The use of 316 stainless steel "Hilti Kwik Bolt" stud bolts or equally approved stud bolts may be used as an alternative where approved by the Engineer.  If steel reinforcing bars are encountered while the holes are being drilled, the Contractor shall knock a hole in the concrete around the steel and grout in a stainless steel hook bolt as described above.

- THROUGH BOLT ANCHORS: Where machinery is anchored by studs or bolts which extend through the supporting structure and is therefore fastened down with the use of nuts from both sides, these, together with associated washers and brackets, shall also be of type 316 stainless steel.

- ANTI-SEIZE COMPOUND: All threads shall be coated with an approved nickel based anti seize/corrosion protection compound before assembly.

PSHA 5.4.10 Protective treatment

- Except where otherwise specified, all steelwork shall be cleaned free of all rust, burr and millscale, and painted with an approved self-etching primer, followed by three coats of an approved epoxy tar, the first coat brown and the second coat black in colour.  Before the application of the final coat the surface shall be cleaned, lightly abraded and solvent washed using coal tar epoxy thinners and a clean rag.  Corrosion protection of steel shall be in accordance with SANS 1200 HC.  Finishing coats shall be painted in colours according to NOSA Specifications.

- Where hot-dipped galvanising is specified, the steelwork shall be hot-dipped galvanised in accordance with SANS 121/ISO 1461.  No drilling or welding of steelwork is to take place after galvanising.  All galvanising is to be double hot-dipped to a G650 spelter.

PSHA 5.4.11 Handrail stanchions and hand railings

- All guard railings shall be of “WECROLOK” or other equal and approved and shall comprise hand and knee rails not less than 31.75 mm diameter and stanchions spaced at not more than 1,8m except where specifically directed otherwise in writing by the Engineer.

- As far as it does not conflict with this Specification, guard railing shall comply with SANS 10104: Code of Practice for Hand and Guard Rails (Safety Aspects) which inter alia calls for: On platforms, walkways, landings or around dangerous areas the vertical height, measured from the top of the hand rails to the floor or surface, shall be at least 1,0m.

- On stairways and fixed ladders the hand rail shall be parallel to the stringers and the vertical height, measured from the top of the hand rail to the nosing of the tread, shall be at least 0,9m. For applications covered by this Specification the hand rail and stanchion shall withstand, without permanent deflection, a proof force of 890N and 1780N respectively, applied at any point and in any direction. The Tenderers shall provide proof that their handrailing has been tested and withstands the loads.

- Rails shall be smoothly finished and free from sharp cornered edges and projections that may injure persons or damage clothing.

- Railings shall be joined using the slip jointing method with separate and neatly fitting tubular inserts fitted into the railing bore. If used, pins shall have their ends peened over and smoothed, or if taper pins are used, shall be filed off flush with the rail. The joint shall be watertight or the rails shall be made self-draining on all external hand rails.

- Railings shall generally, particularly at the bottom of stairways, be ended off with positively fixed (pinned) closure bends. At corners, short radius bends with stanchions on both ends or stanchions specifically designed for such a position shall be employed. No sharp endings shall be permitted.

- Stanchions shall generally be base mounted to suit the arrangement requirements and shall be of solid or welded construction. Welding shall be compatible and shall not impair the strength or corrosion resistance of the material, shall be continuous and shall be smoothly finished and then passivated.

- Stanchions shall be self-draining to suit the mounting arrangement.

- Holes for the rails to go through the stanchions shall have a diametrical clearance not exceeding 1mm but preferably 0,5mm. On stairways with stanchions vertically mounted the hole shall be angled to suit and shall accurately fit the angled rail with the above-mentioned clearances.

- Stanchions shall be smoothly finished and free from sharp corners, edges or projections that may cause injury or damage. Bases shall have the corners rounded or sheared off.

- Stanchions shall be fixed using 316 stainless steel fasteners. A nickel based anti-seize compound shall be applied to all threads before fastening.

- Where stainless steel is specified, type 316L stainless steel shall be used but may be of type 316 stainless steel if no welding is involved in its manufacture. For the insert used in the internal slip joint, a non corrosive material using steel reinforcing will be accepted provided the steel is completely enclosed. A manufacturer’s test certificate shall be provided for each batch of stainless steel giving the chemical analysis of the material.

PSHA 8	MEASUREMENT AND PAYMENT

PSHA 8.3	SCHEDULED ITEMS

PSHA 8.3.8	Steel specials

- Floor gratings, handrails, manhole covers and frames manufactured of 316 stainless steel unless otherwise specified, shall be measured by the number.

- The rates tendered shall include for the cost of manufacture and painting of the particular item, supply to site, supply and installation of frames/supports (angle iron bolted to or cast into concrete), casting or building into structure as applicable, touch up paint work, grouting, etc, all to provide a complete installation to the satisfaction of the Engineer.

Item	Unit

Stainless Steel Specials

- Walkway gratings (size and position in works stated)	No

- Manhole covers and frames (size and position in works stated)	No

- Angles with fishtails (size and position in works stated) ………………………….	No

PSHA 8.4  	Guardrail

- All the guard railings shall be of “WECROLOK” or other equal and approved and shall comprise hand and knee rails not less than 31.75 mm diameter and stanchions spaced at not more than 1,8m except where specifically directed otherwise in writing by the Engineer. As far as it does not conflict with this Specification, guard railing shall comply with SANS 10104: Code of Practice for Hand and Guard Rails (Safety Aspects) which inter alia calls for: On platforms, walkways, landings or around dangerous areas the vertical height, measured from the top of the hand rails to the floor or surface, shall be at least 1,0m.

- The rates tendered shall include for the cost of manufacture and painting of the particular item, supply to site, supply and installation of frames/supports (angle iron bolted to or cast into concrete), casting or building into structure as applicable, touch up paint work, grouting, etc, all to provide a complete installation to the satisfaction of the Engineer.

Item	Unit

- Guard rail assembly complete for road A	m

- Guard rail assembly complete for Dewatering facility under the silos	m

PSHA 8.3.11 Skip Rail

- Screenings and grit from the Inlet works is discharged into a skip which is collected on a regular basis. The Contractor is to design and construct a rail on which the skip can be pulled and pushed in and out of the skip’s new enclosure. Notwithstanding specific specification PSHA, the design shall satisfy the following conditions:

- 1)	Rail

- a) 	Gauge between rails to suit the width of the car

- b) 	End stops must be included to prevent the car from derailing, but should not protrude from the road surface so as to hinder the movement of other vehicles travelling.

- The Contractor shall present the Engineer with detailed drawings of his car and rail design. The Engineer will evaluate the design on the following criteria:

- 1) 	Compliance to the above listed specifications

- 2) 	Compliance to the drawings

- 4) 	Resistance to corrosion

- 5) 	Minimum impact to surrounding structures

- 6) 	Ease of use

- 7) 	Safety

- If the Engineer finds the design to be inadequate for any reason, the Contractor shall make amendments to his design until such time that the Engineer believes the design is adequate in terms of the above criteria. The Engineer shall then give the Contractor written approval of the design for construction.

- The tendered Sum shall include full compensation for the all the necessary design work, drawings, supply of all materials, and construction complete as per Contractors approved design of the rail. The estimated size of the rail is 165x60 PFC and total length of the rail is approximately 35m.

- Directly above the position where the skip is stored are two steel conveyor ducts through which screenings are pushed into the skip. Once the skip is placed on the car, that the headroom between the skip and the ducts will be insufficient. And the ducts will have to be made shorter. The cost of doing so shall be included in the tendered rate.

Item	Unit

Design, supply and cast into concrete road skip rail	Sum

PSHB	CLADDING AND SHEETING

PSHB 1	SCOPE

- Cladding and sheeting will be required, for the roof and side cladding of new structures.

PSHb 3	MATERIALS

PSHb 3.1	THICKNESS OF SHEETING

- The thickness of the sheeting shall not be less than 0,5 mm.

PSHB 3.2	STEEL SHEETING

- The roof sheeting shall be CS444 nickel-free stainless steel sheeting, as indicated on the Drawings.

PSHB 3.3	FASTENERS

- All fasteners shall be of stainless steel and shall comply with SABS 1273.

PSHC	CORROSION PROTECTION

PSHC 3	Materials

PSHC 3.4	Acceptable Materials and Suppliers

- The table below lists acceptable materials and suppliers.  In all cases, other equivalent materials and suppliers are acceptable.

| GENERIC | MATERIAL/SUPPLIER |
| --- | --- |
| - Hot-Dip Galvanizing | - Hot-dip galvanisers shall hold the certification mark for SANS 121. |
| - Powder Coating | - Plascon epoxy/polyester powder : CEP series, Dulux Sigmalining FBE 27. |
| - Universal Undercoat | - Dulux Sigmarine Undercoat, Carboline GP-64 Undercoat, Plascon Plasconamel 189 Undercoat. |
| - High-Gloss Alkyd Enamel | - Carboline AD-51 Finish, Plasconamel 1000 Finish, Dulux Sigmarine BTD Enamel. |
| - HB Epoxy Primer : Two Part | - Plascon Plascotuff HB Epoxy MLE series, Dulux Sigmarite HS zinc primer, Carboline 193 Primer. |
| - Epoxy Primer : Two Part (for hot-dip galvanized surfaces) | - International Interguard 269, Dulux Sigmacover Primer. |
| - Polyamine/Amide Cured Epoxy Sealer/Coating : Two Part | - Carboline Rustbond Penetrating Sealer, Plascon Plascoguard Copon EA3 Primer, Dulux Sigmarite Sealer. |
| - Epoxy Intermediate Coat | - Dulux Sigmacover CM, Carboline 190 HB, Plascon Plascosafe 18 Primer, Dulux Sigmacover CM Mio. |
| - Low Solvent, High Solids, Polyamine/Amide Cured Epoxy : Two Part | - Plascon Plascoguard Copon KSIR88, Dulux Sigmaguard EHB, Ameron Amercoat 385, Carboline 891. |
| - Polyamine/amide Cured Coal Tar Epoxy : Two Part | - Dulux Sigma TCN 300, Carbomastic 200, Ameron Amercoat 78HBB. |
| - Solvent Free Epoxy repair coating | - Plascon Plascoguard Copon Hycote 151, Dulux Sigmaguard CSF 75. |
| - Aluminium Filled Epoxy : Two Part | - Ameron Amerlock 400 AL, Carbomastic 15, Sigmacover Aluprimer. |
| - Two Part Solvent Free Epoxy For Submerged Applications | - Sigmarite Submarine Coating, Carboline 1208, InterZone 954, Jotamastic 87. |
| - Zinc Phosphate Primer | - Carboline GP-18 Primer, Plascon Plascoprime 183 HB, Dulux Bildphos M10 Primer. |
| - Inorganic Zinc Silicate | - Plascon Plascozinc 233, Dulux Sigma Tornusil MC60, Carboline Carbozinc 11, Ameron Dimetcote 11. |
| - Modified Silicon | - Carboline 4631, Plascon Plascotherm Silicone 540 – Aluminium, Dulux Sigmatherm Silicate. |
| - Silicone Acrylic | - Plascon Plascotherm Silicon – Acrylic 200 T, Carboline 1248. |
| - Polyurethane Enamel : Two Part | - Dulux Sigmadur Gloss, Carboline 134 over polyamine/mide coatings, Carboline 133 HB over zinc coatings, International Interthane 990, Plascon Plascothane Recoatable Enamel CPC Series, for two-coat systems, Plascon Plascothane Recoatable Enamel CPQ Series, for single coat systems. |
| - Glass Flake Resin | - Power Blast Vitaglass or equivalent. |
| - Hot-applied Thermoplastic | - Rilsan or equivalent. |
| - Thick Coating for Complex Surfaces | - Sigmacover TCP Coating SF or Carboline Bitumastic 50. |

PSHC 5	CONSTRUCTION

PSHC 5.6	SURFACE PREPARATION

- All oil, grease and contaminants shall be removed prior to painting by means of mechanical wire brushing.

PSHC 5.7	PAINTING SYSTEM

- Corrosion protection shall be carried out in accordance with one of the following systems as specified:

- SYSTEM A

- DESCRIPTION:	Duplex paint system for weathered galvanised steelwork in coastal 	environments.

- SYSTEM SPECIFICATION:	Polyamide cured epoxy zinc sealer, Mio Epoxy Intermediate and Polyurethane to coat.

- SURFACE PREPARATION:	Mechanical wire brush clean.

|  | - DFT (µm) - SABS TM 141 | - Mean |
| --- | --- | --- |
| - PRIMER COAT: - One coat Sigmacover 280 | - 50 – 100 | - 75 |
| - INTERMEDIATE COAT: - One coat Sigmacover 435 | - 80 – 200 | - 140 |
| - TOP COAT: - One coat Sigmadur 550 | - 50 – 100 | - 75 |
| TOTAL | - 180 – 400 | - 290 |

- Note:

- Repair galvanised surfaces with zinc rich epoxy primer repair kit.

- Stripe coating on edges of all steel members.

- SYSTEM  B

- System for Hot-Dip Galvanized Steel (Duplex)

| STEP | PREPARATION/COATING METHOD | Minimum dft (μm) |
| --- | --- | --- |
| 1 | - After hot-dip galvanizing, do not passivate. |  |
| 2 | - Coat epoxy primer (two part for HDG surfaces) | - 75 |
| 3 | - Coat polyurethane enamel (two part) | - 50 |
|  |  | - Total = 125 µm |

PSHC 5.9	APPLICATION OF METAL COATINGS

PSHC 5.9.1	Hot-Dip Galvanizing

- Hot-dip galvanizing shall be done in accordance with SANS 121 and the following shall apply:

- Coatings shall be to the thicknesses detailed in the Standard.

- Hot-dip galvanized material which is to remain unpainted shall be passivated as specified in SANS 121.  Items to be painted after hot-dip galvanizing shall be air dried and not passivated.

- Hot-dip galvanized material shall be substantially free from white rust when it is erected on site.  Stacking and storing shall at all times be done in a manner to prevent white rust forming.

- Damage to hotdip galvanizing caused by welding, grinding, etc. is not acceptable.  Repair to hotdip galvanizing damaged by handling or transport shall be done by cleaning the area and applying 3 coats of a zinc rich primer giving a dry film thickness of at least 100 µm and containing at least 94 % zinc in the dried film.  If the Engineer considers that damage is excessive, such items shall be replaced by the Contractor without cost to the eThekwini Municipality.

- Welding after hot-dip galvanizing is not acceptable.

- The Contractor shall supply a galvanizer's guarantee or test certificate prior to installation.

PSHC 5.9.2	Duplex Systems

- Preparation and application of organic coatings on hot-dip galvanizing shall be done in accordance with the Hot Dip Galvanizers Association Southern Africa’s Code of Practice for Surface Preparation and Application of Organic Coatings.

- The duplex system shall be as follows:

- Hot-dip galvanizing; without passivation of the zinc coating.

- Application of one coat of an epoxy primer (two part; for hot-dip galvanised surfaces) with a dft of 75 µm.

- Polyurethane enamel top coat (two part) with a dft of 50 µm; done on Site after suitable repair to the primer.

- Acceptable coating products are specified elsewhere.

PSHC 5.11	FINAL COLOUR CODE – WASTEWATER TREATMENT WORKS

- The final colour marking shall be in accordance with SANS 10140.

- Where SANS 10140 does not specify a requirement, the colour marking on wastewater treatment works shall comply with the following:

| PIPEWORK |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CONTENTS OF PIPE | BASIC COLOUR | COLOUR OF INDICATOR |  |  |  |  |
|  |  | 1 BAND | 2 BANDS |  | 3 BANDS |  |
| WATER |  |  |  |  |  |  |
| Fresh Water | Cornflower (F29) |  |  |  |  |  |
| Sea Water | Light Brunswick Green (H07) |  |  |  |  |  |
| Cooling Water | Aquamarine (E67) |  |  |  |  |  |
| Final Treated Effluent | Aquamarine (E67) |  |  |  |  |  |
| Fire Fighting | Signal Red (A11) |  |  |  |  |  |
| SLUDGES |  |  |  |  |  |  |
| Interchange | Drakensberg Green (H36) |  |  |  |  |  |
| Raw Sewage | Light Olive Green (H21) |  |  |  |  |  |
| Primary Sludge | Dark Brown (B03) |  |  |  |  |  |
| Waste Activated Sludge | Light Brown (B15) |  |  |  |  |  |
| Digested Sludge | Light Brown (B15) | Light Olive Green (H21) |  |  |  |  |
| Pasteurised Sludge | Light Brown (B15) | Cloud White (G80) |  |  |  |  |
| OTHER LIQUIDS |  |  |  |  |  |  |
| Drainage | Black |  |  |  |  |  |
| Hydraulic Oil | Salmon Pink (A40) |  |  |  |  |  |
| Lubricating Oil | Verdigris Green (E22) |  |  |  |  |  |
| Polyelectrolyte | Aquamarine (E67) | Dark Violet (F06) |  |  |  |  |
| Diesel Fuel | Golden Brown (B13) |  |  |  |  |  |
| GASSES |  |  |  |  |  |  |
| Chlorine, Hypochlorite | Canary Yellow (C61) |  |  |  |  |  |
| Digester Gas | Smoke Grey (F20) |  |  |  |  |  |
| Air | Arctic Blue (F28) |  |  |  |  |  |
| Oxygen | Cloud White (G80) |  |  |  |  |  |
| Ventilation Air | Pale Grey (G62) |  |  |  |  |  |
| Steam | Silver (Aluminium) |  |  |  |  |  |
| Hydrogen | Poppy Red (A14) |  |  |  |  |  |
| Bands shall be 250 mm wide, 4 000 mm apart. |  |  |  |  |  |  |
| Hot liquid lines shall have a 50 mm wide band of Crimson (A03) every 4 000 mm. |  |  |  |  |  |  |

| PLANT AND EQUIPMENT |  |
| --- | --- |
| EQUIPMENT | COLOUR CODE |
| ELECTRICAL EQUIPMENT |  |
| Motors : External | Light Grey (G29) |
| Motors : Fans, Cowl internal surfaces | Light Orange (B26) |
| Electrical switchgear, other than starting and stopping devices and emergency stop controls | Light Orange (B26) |
| Terminal boxes, Conduits | Light Orange (B26) |
| Emergency stop and control stop devices | Signal Red (A11) |
| MECHANICAL EQUIPMENT |  |
| Pumps | To suit liquid being pumped. |
| Blowers, Compressors, incl. ancillary equipment | Strong Blue (F11) |
| Turning shafts, Couplings, Pulleys, Fans, etc. | Light Orange (B26) |
| Baseplates | Black |
| Direction arrows, Unit no., etc. | Black on white, White on other colours. |
| Valves | To suit liquid being handled. |
| Handwheels | Black |
| Bridges for settling tanks | Light Admiralty Grey (E46), or Arctic Blue (F28) |
| Bulk mechanical equipment, Gearboxes, General Fabrications, Brackets, Supports, etc. | Light Grey (G29) |
| Cranes and Crawl Beams | Golden Yellow (B49) |
| DANGER AREAS |  |
| Guards : Internal surfaces | Light Orange (B26) |
| Guards : External surfaces | As per adjacent surfaces, but always contrasting with B26 |
| Turning shafts, couplings, pulleys, fans, etc. | Light Orange (B26) |
| Fire fighting | Signal Red (A11) |
| Protrusions, Low beams, etc. | Black/Golden Yellow Stripes ( - /B49) |
| Guardrails : Top horizontal and chains | Golden Yellow (B49) |
| Guardrails : Bottom horizontal | Black |
| Guardrails : Stanchions | Black |

- Items made of 316 or 316L stainless steel may be left unpainted provided the surface is of uniform self-colour without blemishes, rust, marks  or stains.  If blemished, the surfaces must either be painted or cleaned by pickling and/or electro-cleaning (not grinding or other mechanical means).

PSHC 7	TESTING

PSHC 7.2	QUALITY CONTROL OF COATING APPLICATION

PSHC 7.2.1	Inspections

- The Contractor shall arrange for the coating application on fabricated steelwork to be inspected throughout by the Engineer.  The Engineer may approve inspections by an independent competent person (hereinafter called the Inspector) appointed by and at the cost of the Contractor.  Inspections shall be adequate to ensure compliance with the Specification and shall be done at the following stages as a minimum:

- Coating (Hot-Metal Spray, Paint, etc.

- After fabrication but before surface preparation.

- After surface preparation but before application of the first coat.

- After application of the final hot-metal sprayed coating or after application of the paint primer or first coat (as applicable).

- After the final factory applied paint or sealing coat.

- Hot-dip Galvanizing

- After fabrication but before hot-dip galvanizing.

- After hot-dip galvanizing.

- Duplex Protection (Hot-dip Galvanizing and Coating)

- After fabrication but before hot-dip galvanizing.

- After hot-dip galvanizing but before application of the first coat.

- After application of the primer.

- After the final Site-applied paint coat.

PSHC 7.2.2	Witnessing of Inspection

- If the coating is to be done in the Cape Peninsula by in inspector other than the Engineer, the Contractor shall, nevertheless, arrange for the Engineer to witness the inspections at the latter’s discretion.

PSHC 7.2.3	Inspection Report

- A written report of the inspections, prepared by the Inspector and signed by both the Inspector and the Contractor, shall be submitted for appraisal by the Engineer before delivery of the equipment to Site.

PSHC 7.2.4	Inspector Qualifications

- Inspectors appointed by the Contractor shall hold an appropriate qualification from one of the following:

- Corrosion Institute of Southern Africa.

- South African Institute of Welding.

- South African Institute for Non-Destructive Testing.

- South African Qualification and Certification Committee.

PSHC 7.2.5	Identification of Items

- Every item to be coated shall be identified by a welded or hard-stamped code.  Records shall be maintained for each item.

PSHC 8	MEASUREMENT AND PAYMENT

PSHC 8.2	Scheduled Items

PSHC 8.2.3	Surface Preparation and Coating Application

- Hot dip galvanising of structural steelwork shall be measured by gross mass of steelwork to be coated.

- The rate tendered shall be inclusive of all surface preparation, including removal of slag and welding spatter, grinding of welds to a smooth profile, radiusing of edges, fettling and deburring etc.

- The rate tendered shall be inclusive of all transport to and from the galvanising works, and shall cover the complete galvanising process, including passivating, as specified.

PSL		MEDIUM PRESSURE PIPELINES

PSL 1	SCOPE (Clause 1)

- The pipework required under this contract comprises HDPE pressure pipes joined with rubber ring sockets for sewer pipe, rising main and sundry pipework as shown on the drawings.

PSL 1.2	SCOPE OF LABOUR INTENSIVE WORK

- The following items of work shall be carried out by Labour Intensive methods:

- Laying of pipes, specials and fittings

- Construction of brick manholes

PSL 2	INTERPRETATIONS (Clause 2)

PSL 2.3	DEFINITIONS

- Allowable Operating Pressure: 	Internal pressure, excluding water hammer, that a component can safely and continuously withstand under permanent hydraulic service.

- Maximum Operating Pressure: 	Maximum internal pressure, including water hammer, that a component can safely withstand during service.

- Allowable Test Pressure:	Maximum hydrostatic pressure that can be applied on site to a newly installed component

PSL 2.4	ABBREVIATIONS

- DI	:	Ductile Iron

- DN	:	Nominal Diameter

- GRP	:	Glass Fibre Reinforced Polymer

- HDPE	:	High Density Polyethylene

- SS	:	Stainless Steel

PSL 3	MATERIALS (Clause 3)

PSL 3.1	GENERAL (Sub-Clause 3.1)

- Unless otherwise scheduled or shown on the drawings, the pipes to be used on the contract are as follows:

- Pipes of 50mm diameter or less shall be High Density Polyethylene (HDPE);

- Pipes of 63mm diameter or larger shall be Unplasticised Polyvinyl Chloride (uPVC) ), Glass Fibre Reinforced Polymer, High Density Polyethylene, Stainless Steel or Ductile Iron, as applicable according to the Drawings.

- Add to Sub-Clause 3.1

- The Contractor shall provide adequate storage facilities for pipes, couplings and specials to conform with the following:

- Couplings and specials

- Until required for use the rubber rings shall be stored in a cool dark place, away from grease, oil or harmful chemicals.  If rubber rings have been tied they shall be separated a few days before they are required for use in order to eliminate minor impressions, which the ties may have caused.

- Couplings, into which rubber rings have been fitted, ready for use, shall be stored under cover.  All couplings and specials shall be stacked off the ground to ensure that the protective coatings are not damaged.

- Stacking of pipes.

- Pipes may be placed off the ground alongside the pipe route.  When stacking is necessary the Contractor shall make necessary arrangements for stacking areas and shall stack as recommended by the manufacturer.

- Valves.

- Valves shall be stored under cover and shall be stacked off the ground in a manner which will prevent the ingress of dirt and ensure that the valve faces, spindles and coatings are not damaged.

PSL 3.4	STEEL PIPES, FITTING AND SPECIALS

PSL 3.4.1	General

- Welding and visual examination of carbon steel pipework shall be carried out in accordance with BS 4871 Part 1 and BS 2633 or BS 2971 or an equivalent, except where otherwise indicated. Dye penetration examination to BS 6443 shall be undertaken on not less than 10% of all weld connections.

- Plain ends of pipes and fittings shall be covered and protected against damage whilst being transported and stored.

PSL 3.4.2	Pipes of Nominal Bore up to 150 mm

- Pipework, other than screwed and socketted of sizes up to and including 150 mm nominal bore, shall comply with the requirements of SANS 62 or ASTM A106 or API5L Grade A for seamless steel pipes. These pipes shall be heavy duty and with a minimum wall thickness of 5 mm.

PSL 3.4.3	Pipes of Nominal Bore over 150 mm

- Carbon steel pipes and fittings, other than steam tubing and screwed and socketted pipes for general application, larger than 150 mm diameter, shall be electric resistance welded complying with the requirements of SANS 719 Grade A or ASTM A106 or API5L Grade A and shall have walls of thickness not less than 6 mm for pipe sizes up to 300 mm diameter inclusive and 8 mm for pipe sizes of 350 mm to 500 mm. Helical seam welded pipe will not be permitted unless specifically approved by the Engineer.

PSL 3.4.5	Screwed and Socketted Pipes

- All screwed and socketted pipes and fittings shall comply with the requirements of SABS 62 Heavy class and shall be 'hot dip' galvanised. Unless otherwise specified, screwed and socketted pipes shall not be used for the conveyance of steam gas and compressed air, or liquids containing it.

PSL 3.4.6	Stainless and Steel Alloy Pipework and Fittings

- Stainless steel pipes shall be Grade TP304 L or TP316 L, as indicated, complying with the requirements of ASTM A312 for seamless pipe.

- Stainless steel butt weld fittings shall comply with the requirements of ASTM A403 class WPS and be of the same material as the pipes with which they connect. Dimensions shall comply with ANSI B.16.9 and B.16.28.

- Flanged fittings for stainless steel and alloy pipes shall be manufactured from butt weld fittings as specified above provided with short straight pipe extensions suitable for insertion in slip on or socket weld flanges.

- Unless otherwise indicated the material thickness for all stainless steel pipes and fittings shall be equivalent to Schedule 40 for Pipes up to and including 150 mm diameter and Schedule 20 for pipes exceeding 150 mm diameter.

- Welding and visual examination of stainless steel pipework shall be carried out in accordance with BS 4871 Part 1 and BS 2633 except where stated in the Detailed Specification.  Dye penetration examination to BS 6443 shall be undertaken on not less than 10% of all weld connections.

PSL 3.7	OTHER TYPES OF PIPES  (Sub-Clause 3.7)

PSL 3.7.1	uPVC Pipes

- The uPVC pipes shall be Class 12 spigot and socket complying with SABS 966.

- Welded joints of uPVC pipes will only be allowed where pipes are built into structures. Only the welding cement supplied and recommended by the manufacturer of the pipes used on site shall be permitted.  All other long pipe routes shall be spigot and socket joints with rubber ring seals.

PSL 3.7.2	Polyethylene Pipes  (Sub-Clause 3.7.2)

- High Density Polyethylene (HDPE) pipes shall comply with SANS ISO 4427 using compression fittings and joints. The class of material shall be PE 100. The pressure class shall be as specified on the drawings or in the Bill of Quantities.

- The fittings shall be injection moulded from recognised high quality polypropylene (PP) and must conform to relevant internationally accepted performance requirements.

- The bodies shall have moulded-in manufacturer identification, material and series information and shown the dimensions of the pipe outside diameter and, if necessary, of the threads.  Samples of the fittings shall be issued to the Engineer for approval prior to use.

- Unless otherwise indicated, all bends shall be long radius bends and all branches shall be 45 degree branches.

PSL 3.7.3	GRP Pipes

- GRP pipe, fitting and specials shall comply with the relevant requirements of SANS 1748-1.

PSL 3.8	JOINTING MATERIALS (Sub-Clause 3.8)

PSL 3.8.3	Flanges and Accessories  (Sub-Clause 3.8.3)

- Where new pipework is to be joined onto existing pipework, the Contractor shall measure the existing flanges and report the dimensions to the Engineer. The drilling of new flanges shall match the existing flanges.

- In new installations, where pipes are not coupled onto existing pipework, the flanges shall be in accordance with SANS 1123.

- Flanges shall be machined flat and without a raised joint face.

- Flanges for low-pressure applications (less than 10 bar) shall be of the slip on type. Flanges for high-pressure applications (greater than 10 bar) shall be of the socket weld type, unless otherwise agreed with the Engineer.

- Flanges shall be manufactured from materials equal to or better than the pipes to which they are connected.

- Where pipes pass through and will be built into walls they will be provided with puddle flanges, which shall have the same diameter and thickness as the standard flanges but be undrilled.

PSL 3.8.6	Spigot and socket Pipes  (Sub-Clause 3.8.6)

- Add the following:

- The shortest length of pipe which may be used in the pipeline is 0,5m, thus the shortening of an adjacent pipe may be necessary so as to ensure compliance with the position of specials.  When pipes of 1m or less in length are used or where specials are laid within 1m of each other, they shall be jointed by means of V.J. type coupling, or equally approved.

PSL 3.8.8	Jointing Gaskets (New Clause)

- Jointing gaskets for flanged joints shall comply with the requirements of BS 4865 and be cut to the full width of the flange. The materials shall be suitable for and compatible with the required pressure and temperature duties, and characteristics of the material conveyed.

PSL 3.8.9	Fasteners (New Clause)

- Bolts and nuts shall be hexagon head type complying with SANS 1700 with threads of the coarse pitch series.

- Washers of the same material to the bolts shall be provided under each nut and bolt head.  Multiple washers or shims shall not be used.  Spring washers or other approved locking arrangement shall be used, together with flat washers on all fasteners subject to vibration.

- All fasteners M12 and smaller shall be manufactured of grade 316 stainless steel.

- All fasteners in corrosive areas shall be manufactured of grade 316 stainless steel.  Corrosive areas shall be taken to include any moist or wet area such as in and above settling tanks, in or in the vicinity of open channels, where a continuous spray can be expected and all internal and external areas in the vicinity of the inlet works of a wastewater treatment works.  All fasteners embedded in brick, concrete or soil shall also be of grade 316 stainless steel.

- Fasteners larger than M12 which are in non corrosive areas shall, except when specified otherwise, be hot dip galvanized. Electro-plating and electro-galvanising will not be acceptable.

- Fastener material shall always be of equal or better corrosion resistance than the items being fastened, e.g. 316 stainless steel bolts must be used to fasten together 316 stainless steel fabrications or flanges.

PSL 3.8.10	Anti-seize Compound (New Clause)

- Before assembly, threads shall be treated with a nickel based, anti seize/corrosion protection compound such as Chesterton 725: Nickel Anti Seize Compound, or equivalent and approved.

- Copper based compounds are not acceptable and, if used, shall be cleaned off before the correct compound is applied.

- If it is found during inspection that compound has not been applied, the Contractor shall disassemble all fasteners and comply with this requirement.

- A small amount of compound shall be applied along the full length of the thread before the nut is applied.  Excessive compound visible on the thread after the nut has been applied shall be cleaned off.

PSL 3.8.11	Pipe Supports (New Clause)

- Pipe support brackets/holderbats for mounting pipes against walls shall be stainless steel of an approved design and adequate strength to suit the pipe to be supported.

- Holderbats shall be fixed to wall by means of stainless steel chemical anchors.

PSL 3.8.12	Repair Couplings (New Clause)

- Unless otherwise shown, all couplings shall be Viking Johnson (V.J.) type or equally approved couplings capable of connecting uPVC and AC/FC pipes.

PSL 3.9	CORROSION PROTECTION (Sub-Clause 3.9)

PSL 3.9.6	Corrosive Soil  (Sub-Clause 3.9.6)

- Saddles, cast iron detachable and flanged joints together with their bolts, shall be protected by means of either an approved protective petrolatum based primer, then wrapped with three layers of an approved petrolatum impregnated tape, or other means of inhibiting corrosion approved by the Engineer.  This protection shall also be applied to the bolts and flanges used by the manufacturer in the construction of valves and hydrants.

PSL 5	CONSTRUCTION (Clause 5)

PSL 5.1	LAYING  (Sub-Clause 5.1)

- Add the following :

- Separation of Pipes

- Where the proposed pipelines cross existing services in the form of watermains, sewer pipes or stormwater pipes the distance separating the two shall wherever possible not be less than 150 mm.  Where circumstances make this impossible and where the gap is less than 75 mm a layer of a bitumen impregnated compressible filler material (to be approved by the Engineer) shall be inserted between the two pipes. The minimum thickness of such a layer shall be 25 mm.

- The layer shall consist of 12 mm thick sheets of the required material glued together to make up the required thickness.

- Accommodation of Thermal Movement

- In laying of pipelines with welded joints, provision shall be made for the thermal expansion and contraction of the pipe.

- All measure for accommodation of thermal movement shall be subject to the approval of the Engineer.

PSL 5.1.3	Keeping Pipelines Clean  (Sub-Clause 5.1.3)

- All pipes and specials strung out above ground along the line of the trench shall have both ends closed by means of an adequately fixed plastic cap or other approved material, supplied by the Contractor, in order to prevent the ingress of foreign material.

PSL 5.1.4	Depths and Cover (Sub-Clause 5.1.4)

PSL 5.1.4.1	Add the following to Sub-Clause 5.1.4.1

- Watermains shall be laid so that the cover to the top of the pipe barrel from finished surface level is generally, but not less than, 800 mm in the case of watermains less than 250 mm diameter, and 1.0 m in the case of the 300 mm and larger diameter pipelines.

- The value of 800 mm above shall be increased to 1.0 m within road reserves.

- During construction there shall be not less than 500 mm of cover over the pipes, where construction traffic is liable to cross them. Where road construction is to take place, road crossings shall be provided until the road layers has reached the stage where 500 mm of cover is available.

PSL 5.1.4.3	 Add the following to Sub-Clause 5.1.4.3

- Where the minimum clearance between pipe crossings would be less than 300mm, the watermain shall be laid beneath the service crossed at an invert level which allows for the clear space as specified.  The watermain shall be laid horizontally at this level for a distance of at least 1,0 m on either side of the centreline of the service crossed and then revert to the specified cover.

- No decrease in cover or clear space between the pipe barrels as specified will be permitted unless otherwise instructed by the Engineer in writing.

PSL 5.1.5	Pipes laid in common trench (New Sub-Clause)

- Where two pipes are laid side by side in the same trench, the clear distance between the pipes shall not be less than 300 mm.

PSL 5.1.6	Changes in Direction (New Sub-Clause)

- Vertical and horizontal direction changes less than 11¼º shall be achieved by deflecting the pipes at the joints. The deflection at each joint shall not exceed the value recommended by the pipe manufacturer and if necessary, the specified change in direction shall be achieved over a number of pipe lengths.

PSL 5.2	JOINTING METHODS (Sub-Clause 5.2)

PSL 5.2.1	Detachable Couplings (AC and uPVC Pipelines) (Sub-Clause 5.2.1)

- Add the following to Sub-Clause 5.2.1 :

- Unless otherwise specifically detailed on the drawings, uPVC water pipes, specials and fittings shall be coupled with spigot and socket joints fitted with rubber sealing rings. In the following cases, V.J. couplings (or equally approved) shall be used:

- on one end of each valve and hydrant;

- where pipes have to be cut to fit specials in designated positions, refer to PSL 3.8.6.

PSL 5.2.5	Welding HDPE Pipelines

- Unless otherwise indicated, field joints in HDPE pipes shall be formed by heated tool butt-welding.

- Welding of HDPE pipes shall be in accordance with SANS 10268, and shall only be carried out by thermoplastic welders who are certified by the Plastics Federation of South Africa (PFSA).

PSL 5.2.6	Joints between HDPE and Other Materials

- Joints between HDPE and pipes, valves or fittings of other materials shall be flanged. Flanges shall be loose steel flanges in accordance with SANS 1123.

PSL 5.3	SETTING OF VALVES, SPECIALS AND FITTINGS (Clause 5.3)

- Add the following:

- Valves and hydrants shall be so sited that the valve spindle or hydrant outlet is directly opposite an erf side boundary or splay corner peg, to within 150 mm, or as otherwise dimensioned on the drawing.

- Where specials are required in close proximity of one another the minimum pipe length between specials shall not be less than one metre unless adequate precautions are taken to prevent excessive movement of the numerous flexible couplings.

- The shortening of the adjacent pipes may be necessary to achieve the above and ensure compliance with the position of specials (see sub-clause PSL 3.8.6).

PSL 5.5		THRUST BLOCKS

- All thrust blocks shall be cast against undisturbed material. In the event of the Contractor over-excavating, he shall carry the cost of any additional concrete required to comply with this provision.

- Prior to casting any thrust blocks, the Contractor shall notify the Engineer who shall inspect the nature of the ground against which the thrust block is to be cast and either confirm that the specific conditions do not differ from those on the basis of which the thrust blocks shown on the drawings were designed, or instruct the Contractor to alter the dimensions of the thrust block to suit the actual ground conditions.

- Any pipe laid on a gradient exceeding 25% shall be anchored as directed by the Engineer.

PSL 5.6		VALVE AND HYDRANT CHAMBERS (Sub-Clause 5.6)

PSL 5.6.1	General (Sub-Clause 5.6.1)

- Delete in Sub-Clause 5.6.1. and 5.6.2 the reference to drawings L1, L2, and L3 and replace by "the drawings".

PSL 5.6.2	Construction of Chambers  (Sub-Clause 5.6.2)

- Add the following to Sub-Clause 5.6.2:

- The depth from the cover of the surface box at final level to the top of a valve spindle shall be not less than 75mm nor more than 400mm.  Hydrant outlets shall be not more than 400mm below the level of the hydrant cover.

- To achieve the above cover requirements in the case of hydrants and double air valves, double-flanged distance pieces shall be provided when necessary.

- Where for practical purposes it is not possible to provide the required cover for gate valves, an extension spindle may, subject to approval of the Engineer, be provided.

- The valve covers for general purpose valves shall be painted using an oil based paint in blue and the hydrants in yellow.  The covers of zonal valves shall be painted red.

PSL 5.11	FLEXIBLE JOINTS AT STRUCTURES

- All pipelines connected to structures shall be connected with a flexible joint comprising a 1m length of pipe and two rubber ring jointed couplings to match the type of pipe.

PSL 5.12	CONNECT TO EXISTING MAINS

- Where connections have to be made to the existing water mains, the following procedure has to be followed:

- Liaise with the Local Authority to arrange a suitable time period for the proposed connection.

- Ensure all tools and fittings of the correct size and type are on site prior to requesting the shutdown of the mains.

- Advise the Local Authority at least 3 days in advance of the intention to commence work, in order for them to shut down the mains.

- Arrange with the Local Authority to have an official present on site when the work commences.

- Advise the Local Authority when work is complete and thrust block in place and sufficiently cured, for the system to be recharged. Work to be completed to minimise the disruption to the supply to a maximum of 12 hours.

- All arrangements and planning must be made in close collaboration and with the approval of the Engineer’s Representative on site. Names and contact personnel at the Local Authority will be provided at the required time.

PSL 5.13	AS BUILT SURVEYS (New Clause)

- The Contractor shall survey the final position of all buried pipework installed, as per PSA 5.10

PSL 5.14	Pipe Markers

- Pipe markers shall be installed above the pipeline centreline at all horizontal changes of direction and at intersections with property boundaries.

PSL 7	TESTING (Clause 7)

PSL 7.3	STANDARD HYDRAULIC PIPE TEST  (Clause 7.3)

PSL 7.3.1	Test Pressure and Time of Test  (Sub-Clause 7.3.1)

- Testing shall be carried out as detailed in Clause 7 of the latest SANS 1200 L, except that the test shall not be less than 1.3 or more than 1.5 times the working pressure for the class of pipe under test.

- Payment for field-testing of pipelines shall be included in the rate for supply, lay and bed pipes as described in SABS 1200:L Clause 8.2.1.

- The Contractor shall give the Engineer 24 hours’ notice of his intention to have water admitted to any length of new pipeline for any purpose whatever.

PSL 7.5	COMMISSIONING TEST  ()

- Prior to the handling over to the client of a particular area or zone, it shall be subjected to a commissioning test.

- The section to be tested shall be isolated by closing sluice valves in the line and brought up to a pressure equivalent to the working pressure of 12 bar being applied at the lowest point in the installation.

- The duration of the test and the permissible leakage rates shall be in accordance with SABS 1200:L Clause 7.3.3.

- Payment for commissioning tests of pipelines shall be included in the rate for supply, lay and bed pipes as described in SABS 1200: L Clause 8.2.1.

PSL 8	MEASUREMENT AND PAYMENT (Clause 8)

PSL 8.1	GENERAL  (Sub-Clause 8.1)

- Add the following to Sub-Clause 8.1 :

- The tendered rates for the supply of materials shall cover the cost of all protective coatings and linings, including denso petrolatum tape and priming solution (or equally approved) where required.

- No extra payment will be made for testing which will be held to be included in the price for laying of pipes, valves and specials.

- The cost of conforming to the requirement to install repair couplings as specified in PSL 3.8.12 and PSL 5.2.1 must be allowed for in the cost of the pipes and fittings.

- Notwithstanding instructions for backfilling the Contractor shall bear the cost of finding and repairing leaks.

- Jointing of Pipes

- The rates tendered for all pipes, specials and valves shall include provision for all cutting of pipes, flanges, nuts, bolts, short collar joints and insertion jointing pieces.

- No additional payment shall be made for cutting lengths of pipe, laying or bedding for short lengths for pipework between structures and the costs of all additional cutting of pipes, including wastage of pipe material, in order to construct the pipework to the lengths as shown on the drawings shall be deemed to be included in the tendered rates.

PSL 8.2	SCHEDULED ITEMS

PSL 8.2.1	Supply, Lay and Bed Pipes

- The costs of carrying out as-built surveys of pipelines as specified in PSA 5.10 shall be included in the rate for laying of the pipelines.

- No payment will be made for laying of pipes unless the as-built survey data has been submitted to and approved by the Engineer.

- No additional payment will be made for small changes of direction achieved by deflections at pipe joints as specified in PSL 5.1.6.

PSL 8.2.2	Extra-over 8.2.1 for the Supplying, Laying, and Bedding of Specials Complete with Couplings

- Must comply with a material clause or construction clause or will payment be for the fitting complete with additional fittings to complete the task.

PSL 8.2.4	Extra-over 8.2.1 for the cutting of the pipe and the supplying and fixing of the extra coupling

- Add the following item as specified in PSL 5.11.

Item	Unit

Flexible joints at structures (diameter stated) 	No

PSL 8.2.16	Connect to existing pipelines

- Connection to existing mains shall be measured by number for each diameter of existing pipe.

- The tendered rate shall cover the cost for excavating to expose the existing main, cutting the existing pipeline and reaming if required to suit the new fittings, , compliance with the Asbestos regulations where necessary, dealing with water, supplying and fitting appropriate fittings and special adaptor pieces to suit the old and new pipes, completing the connection, backfilling, disposal of spoil and making good.

Item	Unit

Connect to existing pipeline (diameter stated) 	No.

PSL 8.2.17	Extra Over for dealing with existing flow

- The unit of measurement shall be the number of connections made (No.)

- The tendered rate shall cover all the extra over costs for dealing with the existing flow in the pipe including plant, labour, materials, pumping, delays or any diversions works that may be required. The method of dealing with the existing flow as well as the direct and indirect consequences, spillages, repairs or cleanup thereof is entirely the Contractors responsibility.

Item	Unit

Extra Over Item PSL 8.2.16 for dealing with existing flow	No.

PSL 8.2.18	Stainless steel holderbats

- Measurement shall be the number of holderbats installed per pipe diameter.

- The rates shall cover all the cost involved for supply and installation of the holderbats including drilling, supply and installation of stainless steel chemical anchors and the holderbats into an existing concrete wall.

Item	Unit

Stainless steel holderbats (diameter stated)	No

PSL 8.2.19	Break through wall and cast in pipes

- The unit of measurement shall be the number of pipes entrances through the wall (No.)

- The tendered rate shall cover the cost for breaking or drilling through the wall to create a hole of suitable size for the pipe, at the limited times when the reactor level is low enough to do so, formwork around the pipe (including venting hole), casting the pipe into the wall with an approved flowable non-shrink grout (Sika ‘Sikacrete 214’ or equally approved) as shown on the drawings and making good the exposed surfaces with grout to form a neat finish to the satisfaction of the Engineer.

Item	Unit

Break through existing, cast in pipe and make good for pipes (diameter stated)	No.

PSL 8.2.20	Markers for Valves and Fire Hydrants

- Markers shall be measured by the number, as detailed on the drawings.

- (a)	Marker posts

- The tendered rate shall cover the supply and installation of the marker posts including painting, excavation and disposal of spoil all as detailed on the drawings.

Item	Unit

Markers Posts	No

PSL 8.2.21	Replacement of an existing leaking 600mm dia. gate valve

- The unit of measurement shall be the provisional sum (Prov Sum)

- The tendered rate shall cover the cost for the Replacement or repair to existing Dia 600mm Class 10 Flanged Wedge Type Gate valve. Work to include the supply, installation and removal of temporary “plug” to ensure the continued isolation of the bypass to stormwater overflow during installation. Installations to be completed during a low flow 2 hr shut down of the works.

Item	Unit

Replacement of an existing leaking 600mm dia. gate valve	Prov Sum

PSLB	BEDDING (PIPES) (SANS 1200 LB)

PSLB 3	MATERIALS

PSLB 3.1	SELECTED GRANULAR MATERIAL (BEDDING CRADLE)

- Substitute the clause with the following:

- “Selected granular material shall be an aggregate, sand or granular material, all of a non-cohesive nature and free from any organic material, of which the grading analysis shows 100% passing a 13,2 mm sieve and not more than 5% passing a 0,075 mm sieve and in addition, the PI shall not exceed 2.”

PSLB 3.2	SELECTED FILL MATERIAL (FILL BLANKET)

- Selected fill material shall comply with the provisions of clause 3.2 of SABS 1200 LB.

PSLB 3.3	BEDDING

- The only pipelines to be regarded as flexible are those using High Density Polyethylene (HDPE) with nominal diameter exceeding 200mm.  All other pipes are to be regarded as rigid for the purposes of bedding, and are to be laid on a Class B bedding unless otherwise instructed by the Engineer.

- There are not designated borrow pits, and the Contractor will be expected to make his own arrangements regarding importing bedding and blanket material.

PSLB 5	CONSTRUCTION

PSLB 5.1	GENERAL

PSLB 5.1.4	Compaction

- The degree of compaction required will be 93% Mod. AASHTO density (or 100% for sand).

PSLB 8	MEASUREMENT AND PAYMENT

PSLB 8.2	Scheduled Items

PSLB 8.2.6	Bedding in Waterlogged Conditions (New item; refer to PSDB 5.1.2)

- In the event of waterlogged conditions occurring in the bottom of the trench, the Engineer may order the Contractor to place a crushed stone bedding layer (minimum thickness 150 mm) on the trench bottom.

- Should the trench bottom conditions remain unstable due to the nature of the soil and the degree of saturation, the Engineer may order the Contractor to install a geotextile on the trench bottom prior to the provision of the stone layer. After placing the stone bedding, the geotextile shall be folded over the stone with a minimum overlap of 300 mm to form an enclosed drain. The specified bedding material shall then be used to bed the pipe.

- The Contractor shall only provide and lay the stone bedding layer and geotextile after receipt of the written order to do so from the Engineer.

- The tendered rate shall cover the cost of all additional excavation and preparation of the trench bottom to accommodate the layer of stone, the removal of unsuitable material, the supply and placing of a 150 mm thick layer of stone over at least the specified width, the cost of supply of the geotextile, placing and losses as a result of overlaps and over excavated trench widths and all related activities in order to produce a stable platform.

- Where the use of a layer of crushed stone in the trench bottom has been authorised by the Engineer, it will be measured by volume calculated according to the length multiplied by the minimum base width and specified thickness.

- The cost of dealing with water as specified in SANS 1200 DB, Sub-Clause 5.1.2.1 will be held to have been included in the tendered sums for excavation.

Item	Unit

a)	Single size 19mm stone	m³

b)	Geotextile	m²

PSLC	CABLE DUCTS (SANS 1200 Lc)

PSLC 3	MATERIALS

PSLC 3.1	DUCTS

- Unless otherwise specified on the drawings, ducting shall be uPVC Class 51 heavy duty pipe complying with SANS 791 using spigot and socket rubber ring joint.

PSLC 3.2.3	Compaction

- The bedding material shall be compacted to a minimum 90% mod AASHTO density (100% for sand).

PSLC 3.2.3	backfill

- Notwithstanding the requirements of sub-clause 3.3, backfill material shall not contain rocks or lumps size greater than 100mm. the backfill material shall be compacted to a minimum of 93% mod AASHTO density (100% for sand).

PSLC 5	CONSTRUCTION

PSLC 5.1	EXCAVATION OF TRENCHES

PSLC 5.1.1	Trench Widths and depths

- Notwithstanding the requirements of this sub clause all trenches shall be excavated to a depth such that after the duct has been laid, there is a minimum cover to final road surface of 1000 mm with exception of LV electrical cables which may have a cover of only 750mm, unless otherwise specified on the drawings.

- The minimum trench width shall be 500mm with a minimum side clearance of 200mm between the trench wall and duct.

PSLC 5.3	DUCT LAYING

PSLC 5.3.3	Draw wire

- Add the following:

- The draw wires shall have a 2m free length at each end.

PSLC 5.3.5	Sealing of ends ()

- The ends of electricity ducts shall be sealed using plastic sheeting and baling wire or other approved method.  All other ducts shall be sealed using plastic pipe stoppers."

PSLC 5.8	Road crossing

- Notwithstanding the provisions of this sub clause 5.8 ducts shall extend a distance of 1.0m beyond the paved sidewalks or 1.0m beyond the kerb when there is no sidewalk present.

PSLC 5.10	Position to be marked

- Replace the contents of this Clause with the following:

- “The Contractor shall mark the position and type of all ducts by cutting for each duct or service a 75mm high, 5mm deep groove into the upper surface of the kerb with an angle grinder. The grooves plus 25mm of the concrete surface either sides of the grooves shall then be prepared and painted with approved paint using the following engraved letter and colour coding:

- Electrical			letter “E”, colour red

- Telecommunications	letter “T”, colour green

- Traffic				letter “R”, colour yellow

- All paint used on concrete surfaces must be Poly Acrylic roof paint.  Any re-application of paint ordered by the Engineer as a result of inadequate surface preparation will be to the Contractor’s own account.

PSLC 8	MEASUREMENT AND PAYMENT

- Amend the description of the item 8.2.8 to read as follows:

PSLC 8.2.8	Duct markers

- The rate shall cover the cost of marking all ducts crossing roads as specified in Clause PSLC 5.4.

PSLC 8.2.10 Sealing of duct ends

- Payment will be according to the number and diameter of pipe ends sealed. Electrical ducts are to be measured separately.

Item	Unit

a) 	Electrical ducts	No.

b) 	Non-electrical ducts (diameter stated) 	No.

PSLD	SEWERS (SANS 1200 LD)

PSLD3	MATERIALS

PSLD 3.5	MANHOLES, CHAMBERS, ETC.

PSLD  3.5.2	Precast Concrete Sections

- All sand and aggregate used in concrete for sewer manholes and chambers shall be dolomitic.

PSLD 5 	CONSTRUCTION

PSLD 5.6	MANHOLES

- Manholes over 1m deep shall be provided with copolymer polypropylene steps irons with a 12mm diameter high tensile steel core ( “Calcamite” or approved equivalent) installed according to the manufactures specification.

PSLD 5.11	PIPE LAYING WITH HIGH WATER TABLE

- Where a high water table is encountered and probability exits of water entering the trench after the pipeline has been laid, the Contractor will be permitted to bed and lay the pipes and backfill sufficiently to prevent flotation, prior to testing.

PSLD 6		TOLERANCES (CLAUSE 6)

PSLD 6.1	GENERAL (Sub-Clause 6.1)

- Add the following:

- Except where otherwise indicated, the Degree of Accuracy for sewers shall be I.

PSLD 6.3	MANHOLE INVERT LEVELS (Sub-Clause 6.3)

- Delete “…shall be ± 50mm…” and replace with the following:

- “…shall be ± 20mm…”

PSLD 8	MEASUREMENT AND PAYMENT

PSLD 8.2	SCHEDULED ITEMS

PSLD 8.2.1	Supply lay Joint, Bed and Test Pipeline

- No deductions will be made for internal length of manholes and the cost of all invert channels irrespective of diameter shall be included in the rate tendered for this payment item.

PSLD 8.2.2	Extra-over item PSLD 8.2.1

- The tendered rate shall cover all extra over costs associated with any specials to be supplied and fitted.

PSLD 8.2.3	Manholes

- Manholes will be measured and paid in accordance with Sub-Clause 8.2.3. The tendered rates for the different types of manholes shall cover the cost of the supply and installation of the complete precast concrete, or brick manhole, including flexible joints, step irons, concrete landing slabs where applicable, concrete cover slabs, masonry between concrete covers slabs and covers, as shown on the Drawings.  The rate shall also cover the cost of waterproofing the joints between manhole rings in the case of precast manholes.

- For the purpose of measurement and payment, the depth of a manhole is defined as the depth from the top of the cover to the lowest invert level of the manhole.

PSLD 8.2.4	Extra-over item PSLD 8.2.3 for construction of manholes on existing pipelines

- The tendered rate shall cover all extra over costs associated with constructing a manhole on an existing operational pipeline, irrespective of size of the pipe, such as dealing with existing flow, cutting pipelines, supplying and fitting of channel sections, benching in wet conditions, preventing unacceptable debris entering the drain line and making good and any other additional cost.

- Where the existing pipe is identified as asbestos cement (AC) in the bill of quantities, the rate shall include all costs associated with safe cutting out the AC pipe and disposal of hazardous waste by an Approved Asbestos Contractor in accordance with the relevant asbestos regulations.

- The Contractor shall put forward a methodology for maintaining the existing flow throughout the works to the Engineer and Plant Manager for approval prior to the work commencing. All provisions (such as materials, labour and plant) required to carry out this work, as per the approval methodology, shall be deemed to be included in the Contractor’s rates.

- The unit of measure shall be the number of manholes constructed (No.)

Item	Unit

Extra over for constructing manhole on existing pipeline  	No

PSLD 8.2.7	Discharge Chamber

- Discharge chambers will be measured and paid in accordance with Sub-Clause 8.2.3. The tendered rates chamber shall cover the cost of the construction of a reinforced concrete chamber, including flexible joints, step irons, concrete landing slabs where applicable, concrete cover slabs, masonry between concrete covers slabs and covers, as shown on the Drawings.  The rate shall also cover the cost of waterproofing the joints between manhole rings in the case of precast manholes and the ballast concrete ring in the case of AC manholes.

- For the purpose of measurement and payment, the depth of a manhole is defined as the depth from the top of the cover to the lowest invert level of the manhole.

- The unit of measure shall be the number of chamber constructed (No.)

Item	Unit

i) Tanker washdown   	No

PSLE		STORMWATER DRAINAGE (SANS 1200 LE)

PSLE 1	SCOPE

- SANS 1200 LE as amended by this section shall apply to underdrains and associated pipework.

PSLE 3 	MATERIALS

PSLE 3.1	PIPES (Sub-clause 3.1)

- Pipes for stormwater drainage shall be reinforced concrete Type SC Class 100D, 75D or 50D as scheduled, with spigot and socket type joints.

PSLE 3.5	GEOFABRIC BLANKET

- The geotextile shall conform with the following specification:

|  |  | Units | Value | Test method |
| --- | --- | --- | --- | --- |
| Pore Size, AOS | O90W | ꙡm | 100-250 | Franzius Institute |
|  | O90H | ꙡm | N/A | NFG 38.C17 |
| Minimum Permeability |  | m/s | 10-3 | SABS 0221-88 |
| Min. Percentage Open Area (applicable for wovens) |  | % | 5 |  |
| Min. Porosity (applicable for non-wovens) |  | % | 60 |  |
| Min. Trapezoidal tear (weakest direction) |  | N | 275 | ASTM D4533-85 |
| Min. CBR Puncture |  | kN | 2.0 | SABS 0221-88 |
| Max. Dart Test |  | mm | 24 | CPA 1991 |
| Min. Tensile strength (weakest direction) |  | kN/m | 11 | ASTM D4595 |
| Min. UV Light Stability (150 hrs) |  |  | N/A | ASTM D4355 |

- Where products are tested under other test methods, the methods and results should accompany the Tender. The Engineer retains the right to reject a test method and instruct the Tenderer to have the product tested under the specified tests.

- Geotextiles shall be needle-punched, non-woven polyester.

PSLE 3.6	UNDERDRAINAGE

PSLE 3.6.1	Pipes

- Perforated pipes for underdrainage shall be 110 mm diameter perforated or slotted HDPE subsurface drainage pipes and shall be perforated as shown on the drawings.

- Solid pipes shall be 110 mm diameter solid wall Class 34 (heavy duty) uPVC drainage pipes to SANS 791.

PSLE 3.6.2	Geotextile

- The geotextile for underdrainage shall comply with PSLE 3.5

PSLE 3.6.3	Drainage Medium

- The drainage medium for underdrains shall be 19 mm stone complying with SANS 1083.

PSLE 3.6.4	Backfill

- Backfill shall be clean sand with a Fineness Modulus > 2,8 .

PSLE 5 	CONSTRUCTION

PSLE 5.2	Bedding and laying

- Unless otherwise stated, Contractor shall use a Class C for rigid pipes and Flexible for solid-walled uPVC and HDPE pipes (SANS / SABS 1200 LB)

PSLE 5.9	Connections into existing manhole / Catchpit

- Where two or more new pipes are to connect to an existing manhole/catchpit structure, the Contractor shall request the Engineer to inspect, prior to connecting, to determine whether the structure should be rebuilt or not.  No payment shall be made to the Contractor should the structure be rebuilt without consent from the Engineer.

PSLE 6.1	GENERAL (Sub-Clause 6.1)

- Add the following:

- Except where otherwise indicated, the Degree of Accuracy for stormwater drainage shall be I.

PSLE 8	MEASUREMENT AND PAYMENT

PSLE 8.2	SCHEDULED ITEMS

PSLE 8.2.1 	Supply and lay (specify pipe type, size, make, bedding class)

- Section 1200L and amendments thereto shall apply to the uPVC pipes.

- The rate shall make full allowance of any bends, caps and other necessary fittings to the pipe to achieve the installation as indicated on the drawings.

PSLE 8.2.8	Supply and Install Manholes, Catchpits, and Drainage Structures

- Insert after “brickwork (if any)”, the words “step irons,”.

- Delete the words “but excluding excavation and backfilling, which will be measured separately” and replace with “including dealing with any excavation (in all materials including disposal of surplus) that is additional to that measured under the item for pipe trench excavation (see Sub-Clause 8.2.3 of SABS 1200 DB)”.

- Notwithstanding the provisions of Subclause 8.2.8(c), manholes, catchpits, drainage structures and the like will be scheduled by means of separate items for various categories of depth (increasing by increments of 0,5 m) and /or type.

- For measurement and payment purposes the depth of a manhole is defined as the depth from the top of the cover to the invert level of the manhole.

PSLE 8.2.14 Supply and install sub-surface drains system

- The unit of measurement for the construction of sub-surface drains shall be the metre of drain constructed.

- The tendered rate is to be inclusive of all materials as referenced above and shown on the detail drawings. The rate shall also include compensation for all transport, labour, and installation requirements to complete the works associated with subsoil drainage.

- The pipe for subsoil drainage shall have an internal diameter of 110mm. The pipe shall be manufactured of high-density polyethylene (HDPE) with a solid 5.0mm wall thickness. It shall be extruded in an open lattice wall structure, with 70% of the diameter consisting of open area and a 30% solid area along invert. Perforations in the open structure of the pipe shall be greater than 3mm but less than 12mm. A layer of 19mm stone (single size) is to wrapped   Pipe is to be wrapped in 2 layers of grade 2 geotextile (bidim).

- The rate shall cover the cost of all labour, plant and materials necessary to construct the sub-surface drain complete as shown on drawings, including allowances for cutting and waste.

- Excavations for sub-surface drains as well as the construction of rodding eyes, manholes and outlet structures will be measured separately.

Item	Unit

a) 	Sub-surface drain system complete as shown on drawing 	m

PSLE 8.2.15	 Connections into existing manholes/ catchpit

- The unit of measurement for connecting into existing manholes/catchpits shall be by the number of connections.

- The rate tendered shall include full compensation for breaking into the existing structure, connecting the pipe, modifying or enhancing the benching, cutting pipes, dealing with the existing flows, preventing unacceptable debris entering the drain line and making good any benching, finish walls, covers and frames.

- The rates shall distinguish between type of structure, diameter of connecting pipe or size of culvert.

Item	Unit

Connection into existing manhole/catchpit for pipe (diam)	No.

PSLK	VALVE INSTALLATION

PSLK 3	MAterials

PSLK 3.1	GATE VALVE OR RESILIENT SEAL VALVE

PSLK 3.1.1	General (SUB-clause 3.1.1)

- All valves shall be AVK or similar approved by the Local Authority. Resilient seal valves shall be used for general applications and shall:

- Bear the SABS mark of approval, and have the direction of opening clearly marked on the valve body or spindle cap.

- Be double socketed for the PVC pipes or flanged for steel pipes, or as scheduled by yhe manufacturer;

- Be clockwise opening , anti-clockwise closing;

- Be heavy duty Class 16;

- Have non-rising spindles with a handwheel;

- Be fitted with cast iron cap tops secured with retaining bolts , tops permanently marked with the direction of closing;

- Be protected against corrosion by coating with minimum thickness of 250 micron copon KSIR 88 epoxy paint applied to all internal and external surfaces after it has been thoroughly cleaned by grit blasting to SA 2½ finish in compliance with the requirements of SIS 05 09 00, or similar approved coatings.

- Unless otherwise scheduled or shown on the drawing, the water erf connections shall be High Density Polyethylene (HDPE) and shall comply with SANS ISO 4427 PE 100 PN 16 using compression fittings and joints.

PSLK 5	CONSTRUCTION/ INSTALLATION (CLAUSE 5)

PSLK 5.1	SETTING OF VALVES AND ASSOCIATED SPECIALS (SUB-CLAUSE 5.1)

- Valves shall be sited that the valve spindle outlet is situated as dimensioned on the drawing. In non-paved areas the cover shall protrude 25mm above ground level and will be constructed with a concrete surround as shown on the drawings.

PSM		ROADS (GENERAL)

PSM 5		CONSTRUCTION

- Add the following to Clause 5:

PSM 5.1	ACCOMMODATING TRAFFIC AND PROVIDING ACCESS

- As described in Clause PS 10 the work to be done under this contract involves work on a road which is open to public traffic.  All barricades, signs and delineators required in terms of the south African Road Traffic Signs Manual (Third Edition – 1992) for the safe passage of traffic throughout the length of the road to be worked on shall be provided by the Contractor.

- The temporary barricades, signs and delineators provided shall, nevertheless, be subject to the approval of the Engineer.

PSM 6		TOLERANCES

PSM 6.1	GENERAL

- Add the following to Subclause 6.1:

- The Contractor shall, at the time of calling for check density tests for selected subgrade, subbase and basecourse layers, submit a schedule of levels taken at the designed cross section at the left edge, centre line and right edge.  The differential amounts shall be within the tolerances laid down.

- Results of the Contractor’s own density tests must also be submitted.

- The submission shall be endorsed –

- I hereby certify that the above levels are an accurate record taken on ………………..……. (date) ……………………….. and I now request that check density tests be taken.

- Signed by Site Agent

- The original plus one copy is handed to the Engineer’s Representative.

PSM 6.4	DIMENSION OF LEVEL CONTROL OF ROADBED, SELECTED LAYER AND GRAVEL WEARING COURSE

- The Contractor shall submit to the Engineer a record of the surface levels of the section of roadbed, selected layer or gravel wearing course under consideration, prior to requesting inspection and acceptance control testing.  The levels shall be taken at metreage intervals that coincide with those given on the drawings, in accordance with the requirements of Clause 6.3.

PSM 7		TESTING

PSM 7.1		GENERAL

- Notwithstanding the provisions of this subclause, the Contractor shall note that the random sampling method of TMH 5 for the spotting of positions for field density testing will not necessarily be applied by the Engineer.  Testing shall be carried out where in his opinion the density is suspect.

- The Contractor shall further present the full width of the roadbed, selected layer, or gravel wearing course, subbase or base between the stated linear stake values for acceptance – only in exceptional cases may partial widths be presented.

PSM 7.3		ROUTINE INSPECTION AND TESTING

- Add the following to subclause 7.3.1:

- All requests for acceptance control testing shall be submitted in writing to the Engineer.  Each request shall clearly specify the location of the section and the description of the layer, and shall be accompanied by the dimension and level control data for the section under consideration (refer PSM 6.4) as well as the results of the Contractor’s process control testing (refer 7.2).  On receipt of the aforementioned the Engineer will undertake, or arrange as the case may be, for the necessary inspection and acceptance control tests to be carried out to satisfy himself that the road layer complies with the specification.

- Testing will be carried out as expeditiously as possible and the results of tests made available within 48 hours from the time the request was made, plus the normal time required to do the test.

- The written approval of the submitted section of a road layer shall be obtained from the Engineer before the Contractor may proceed with the placing of material for the following layer.  The Contractor shall also before proceeding with the placing of the material for the following layer, make good any test holes left in the road layer using material complying with the specification for the layer and compacting it to the specified density for that layer, concrete shall not be used.

PSM 7.4		COMPACTION CONTROL

- Add the following to Subclause 7.4:

- Control testing shall be carried out by the Contractor.  Written application to the engineer for check density tests must be made by the Contractor when he considers the section of road is ready.  No check testing will be done before the layer which is to be tested has been passed for surface finish and control density.  Any tests carried out on a layer will in no way prejudice the engineer’s future decision on the surface finish and tolerances of that layer.

- The check tests will be carried out as expeditiously as possible, but the Employer shall not be held responsible for any delays.

- The Contractor shall have no claim for delays caused whilst awaiting results.  Generally results of density tests will be available within 24 hours of testing.

- No check testing will be carried out if the Contractor has failed to provide and maintain conspicuous markers at a maximum interval of 25m just inside the road reserve boundary with meterage values clearly marked thereon.  These markers will have been placed prior to the commencement of excavation and shall be maintained for the duration of the contract.  Control density tests will be carried out on fills, subgrade, selected subgrades, subbase and base at a maximum interval of 60m or at such other intervals as the engineer may decide anywhere within the width of the layer being tested and at suspect places.  A minimum of three tests will be carried out for each section offered for testing.

PSM 8		MEASUREMENT AND PAYMENT

PSM 8.2*	ACCEPTANCE CONTROL TESTING OF A ROAD LAYER

- Should the road layer submitted for acceptance control testing fail to comply with the specification, the Contractor shall, in the case where the tests arranged for by the Engineer were carried out by an approved laboratory bear the invoiced cost of the tests.  Conversely if the road layer is found to comply with the specification the costs of the acceptance control tests will be borne by the Employer.  The cost of refilling and compacting the test holes shall be covered by the rate tendered for the construction of that layer.  (Refer also to PS 10).

PSME	SUBBASE

PSME 3	MATERIALS (CLAUSE 3)

PSME 3.2	STABILISING AGENT ( SUB-CLAUSE 3.3)

- The stabilising agent to be used shall be Portland Cement II 32,5N manufactured to SANS 50197-1.

PSMe 5	construction

PSME 5.4.4	Compaction (Sub- Clause)

PSME 5.4.4.2 The subbase layers shall be compacted to the densities specified on the drawings.

PSME 5.4.4.3 Add the following New Sub-Clause:

- The Contractor must make allowance for the penetration of the subbase gravel material into the selected subgrade layer.

- The layer thickness specified shall be a net homogeneous layer. Only the homogeneous layer will be measured for payment purposes.

- No hardening layer has been specified for the working of cement treated subbase and the contractor shall take all necessary precautions when working the layer to prevent contamination from the underlying supporting layers and shall include any additional costs which may be incurred in the rate tendered for placing and mixing the layer.

PSME 7	TESTING

PSME7.2.1 	Process Control

- In column 3 of Table 2 insert "minimum 3 per source" for the CBR test and "2" tests per lot for the UCS test.

PSME 7.2.2 	Routine Inspection and Testing

- Notwithstanding Sub-Clause 7.2.2 and Table 3, no single test result shall be below the specified density.  Testing of materials for the roadworks shall be carried out in terms of the statistical acceptance control plan given in Appendix B of SABS 1200M.

PSMF		BASE

PSMF 3		MATERIALS

PSMF 3.3	PHYSICAL AND CHEMICAL PROPERTIES

PSMF 3.3.1	Natural Gravel

- The base material for the bitumen surfaced minor roads shall consist of G4 quality material from a source selected by the Contractor.  The minimum CBR shall be 80 at 98% Mod AASHTO density, the maximum PI shall be 6 and the grading shall comply with Table 1.

PSMF 3.3.2	Graded Crushed Stone

- Replace the contents of paragraph (a) with the following:

- (a)	The maximum dimension of crushed stone shall not exceed 37,5mm.

PSMF 5		CONSTRUCTION

PSMF 5.4	PLACING AND COMPACTION

PSMF 5.4.1	Placing

- Add the following:

- The completed thickness of the base layer shall be 150mm.

PSMF 5.10	IONIC SOIL STABILISATION

- Where ionic soil stabilisation of the base layer is specified the following shall apply:

- i)	The in-situ material to be used as base shall be scarified and mixed thoroughly to produce a 	uniform material.

- ii)	The ionic soil stabiliser shall be added to the material, together with the mixing water, at the specified dosage and the material brought to the optimum moisture content.  The stabiliser shall then be thoroughly mixed with the layer material to produce a uniformly mixed material.

- iii)	The layer shall be compacted to a minimum of 98% of Mod AASHTO density and shaped to the required levels.

- iv)	The procedural recommendations of the manufacturer of the ionic soil stabiliser shall be followed at all times unless otherwise ordered by the Engineer.

PSMF 6		TOLERANCES

PSMF 6.1	DIMENSIONS, LEVELS, ETC

PSMF 6.1.2	Grade

- Delete the contents of Subclause (a) and (b) and replace by:

- The height of the edge of the channel above the top of the completed base is to be not less than the minimum thickness of asphalt surfacing, ie 5mm less than the specified thickness.  (See SABS 1200MH 6.3.4).

PSMF 6.1.5	Cross Section

- Delete “25mm” from subclause 6.1.5 and replace by “15mm”.

PSMF 7		TESTING

PSMF 7.3	ROUTINE INSPECTION AND TESTING

PSMF 7.3.2	Routine Inspection and Testing

- Notwithstanding the provisions of Subclause 7.3.2 and Table 4, no single test result which is below the specified density shall be accepted.

PSMH		ASPHALT BASE AND SURFACING

PSMH 3	MATERIALS (CLAUSE 3)

PSMH 3.1	PRIME (Sub-Clause 3.1)

- Prime shall consist of MC 30 cutback bitumen as specified in Sub-clause 3.1.

PSMH 3.4	BITUMINOUS BINDER (Sub-Clause 3.4)

- Notwithstanding the requirements of Sub-clauses 3.4.1 and 3.4.2, the binder used shall be a 50/70 penetration grade bitumen.

PSMH 3.4.3 	Importation of Bitumen (New sub-clause)

- Should it be necessary to import bitumen from other centres due to quality or supply related problems with the local supply, the Employer shall approve the use of imported bitumen provided that the Engineer is satisfied that the quality or supply related problem is acknowledged by the supplier in writing and that the time period predicted for the resumption of suitable local supply is such that it will impact on critical path activities or may have a detrimental effect on the overall quality of the base and supporting layers.

PSMH 3.5	AGGREGATES (Sub-Clause 3.5)

PSMH 3.5.1 	Shape of Aggregates

- Add the following:

- “The flakiness index for asphalt surfacing shall not exceed the values given for Grade I surfacing aggregate.

PSMH 3.5.6 	Grading (Subclause 3.5.6)

- Bitumen treated base shall be continuously graded with a maximum stone size of 26.5mm as per table 1, column 5 and shall be 80mm thick.

- Grading of asphalt surfacing to the roads shall be medium dense continuously graded asphalt, as per Table 2, column 6 and shall be 40mm thick.

- Where surfaced footways are to be constructed the surfacing shall be continuously graded fine asphalt, as per Table 2, column 7 and shall be 30mm thick.

PSMH 5	CONSTRUCTION (CLAUSE 5)

PSMH 5.1	GENERAL REQUIREMENTS (Sub-Clause 5.1)

PSMH 5.1.1 	Preparation of Surface (Sub-Clause 5.1.1)

- Where in the opinion of the Engineer the primed surface has become contaminated or aged such that a satisfactory bond will not be achieved with the asphalt, a tack coat shall be applied.  No additional payment will be made for such a tack coat.

PSMH 5.1.5 	Weather limitations (Sub-Clause 5.1.5)

- Add to sub-clause 5.1.5.1. as point "(d)" and 5.1.5.2 as point "(c)":

- "unless the moisture content of the base is less than 3% or 50% of the optimum moisture content (Mod. AASHTO), whichever is the greater, as determined by the Engineer."

PSMH 5.1.8 	Removal of Surplus Material and Verge Clearing (New Sub-Clause 5.1.8)

- The Contractor shall as soon as possible after asphalting remove off site (or to an approved temporary spoil heap), all surplus material from the road edge and verge.

- The Engineer shall approve no payment for asphalt or asphalt berms until such time as the road edge and verge has been cleared of bituminous surplus material.

PSMH 5.2	PRIME COAT (Sub-Clause 5.2)

- The prime coat shall be applied to the surface of the base at the rate of 0,7 l/m².

PSMH 5.4	TACK COAT (Sub-Clause 5.4)

- Where ordered by the Engineer, a tack coat shall be applied at the rate of 0,25 l/m2 nett cold binder.

PSMH 5.5	DESIGN OF ASPHALT (Sub-Clause 5.5)

PSMH 5.5.5 	Bituminous binder content (Sub-Clause 5.5.5)

- For tender purposes, the binder content for bitumen treated base should be taken as 5,0% and asphalt surfacing should be taken as 5,5% (by mass).

PSMH 5.8	COMPACTION (Subclause 5.8)

- Bitumen Treated Base

- Notwithstanding the requirements of Clause 5.8, asphalt base shall also comply with the following:

- The sequence of rollers used in compaction is at the discretion of the Contractor provided that the completed pavement shall have a density as measured on recovered core equal or greater than 97%, minus the percentage voids in the approved production mix, of the theoretical maximum density, determined as described in TMH1 method C4.

- Surfacing

- The 40mm thick asphalt on the roads shall have a density of at least 92% of the theoretical maximum density, determined as described in TMH1 method C4 (Rice’s density).

PSMH 6	TOLERANCES (CLAUSE 6)

PSMH 6.3.4 	Thickness (Subclause 6.3.4)

- Notwithstanding the requirement of Subclause 6.3.4, for asphalt layers of less than 30 mm nominal thickness, the actual measured thickness shall not be less than the specified thickness.

PSMH 8	MEASUREMENT AND PAYMENT (CLAUSE 8)

PSMH 8.5 	SCHEDULED ITEMS (Sub-Clause 8.5)

- The rates, where applicable, are to include for all costs of handwork where necessary, or where working in restricted or small areas.

PSMH 8.5.9 		Saw Cuts

- The unit of measurement shall be the meter of cut.  The tendered rate shall include full compensation for all material and cutting costs and for all incidentals for cutting the pavement in accordance with the instructions of the Engineer.

- Payment will distinguish between cutting of asphalt and cutting of pavement layers.

Item	Unit

a) 	Cutting asphalt (Thickness stated)	m

b) 	Cutting pavement layers (Thickness stated)	m

PSMJ	SEGMENTED PAVING

PSMJ 3	MAterials

PSMJ 3.2	Units

- Paving units used in trafficked areas shall be Class 40/2.6, 80 mm S-A type interlocking grey concrete pavers.

- Paving units used in pedestrian areas shall be Class 30/2.0, 60 mm S-C type grey concrete pavers.

- Block Pavers for sidewalks shall comply with SABS 541.

PSMJ 5	CONSTRUCTION

PSMJ 5.4	Laying of units

- Replace the text “Joint widths shall be between 2mm and 6mm.” with “Joint widths shall be between 2mm and 4mm.”

- All paving units in both trafficked and pedestrian areas shall be laid in a herringbone pattern.

- Where paving butts up against structures and base slabs, a header row shall be constructed around the perimeter thereof.

PSMJ 5.8	RE-USE OF EXISTING PAVING BLOCKS

- Where instructed by the Engineer, existing block paving on the site is to be lifted, stockpiled and maintained for reuse. This is described and paid under item PSC 8.2.14. When these blocks are to be reused, the contractor shall carefully select all undamaged blocks from the stockpile, transport these to the site in a manner that will eliminate as far as possible damage to the units and lay these in full accordance with SABS 1200 MJ section 5.

PSMJ 6		TOLERANCES

PSMJ 6.2	PERMISSIBLE DEVIATIONS

- The Degree of Accuracy shall be I.

PSMJ 8	MEASUREMENT AND PAYMENT (Clause 8)

PSMJ 8.2	SCHEDULED ITEMS (Subclause 8.2)

PSMJ 8.2.2	Construction of Paving complete

- Paving shall be measured per square metre of completed paving.

- The tendered rate shall include the cost of supplying sand, placing the bedding layer, laying the units, compacting the pavement, filling gaps, laying header course, filling joints, cutting units to fit against the header course at perimeters and edge restraints, removing excess sand and rolling.

- Edge restraints shall be measured separately.

Item 	Unit

Construction of paving complete (specify type and colour) ............................................. m2

PSMK	KERBING AND CHANNELING

PSMK 3	MATERIALS

PSMK 3.9	Bedding Material

- Delete Subclause 3.9 and replace with the following:

- Bedding material upon which kerbs and channels are bedded shall consist of Class 15/6.7 concrete of minimum thickness 60mm unless otherwise stated on the drawings.

- Add the following clause

PSMK 3.10	Cast in-situ concrete

- Cast in-situ concrete comply with SABS 1200G or SABS 1200GA, where applicable. Concrete to be Class 20/13, unless otherwise indicated on the drawings.

PSMK 3.11	Epoxy mortar

- At certain instances, epoxy mortar is indicated on the drawings to bind the pre-cast kerbing on concrete surfaces. This epoxy mortar shall be by SIKADUR 43/ZA or other approved supplier / material.

PSMK 5		CONSTRUCTION

PSMK 5.1.	Excavation and bedding

- Replace “90%” wherever it occurs to “93% (100% for sand)”.

- In certain instances, the concrete bedding material, as indicated above, shall become a hardening blinding layer for cast in-situ concrete units (kerbing, channels, etc.) and shall be treated as such.

PSMK 5.2	Precast concrete kerbing and channelling

- Provision shall be made for expansion joints of width 10mm at intervals not exceeding 10m.

- Joints shall be filled with expanded polyethylene filler- “Jointex” or similar approved and sealed with a 20mm thick two part polysulphide sealant- Durakol G HM” or similar approved.

- Notwithstanding the fact that vertical curves may not have been specified where changes of grade of up to 2% occur, the kerbs and channels shall be laid to levels based on a minimum curve length of 20m. The same shall not apply at intersections.

PSMK 5.11	Kerb Transitions

- The Contractor shall construct the various kerb transitions in 20 MPa concrete, each transition being 1m long, or as per the typical details. Transition shall be cast in-situ and finished off with a smooth steel trowel finish.

PSMK 8		MEASUREMENT AND PAYMENT

PSMK 8.2	SCHEDULED ITEMS

PSMK 8.2.14 Lift and reinstate existing kerbs and channels (New Clause)

The unit of measurement shall be the number of kerbs or channels lifted

The tendered rate shall cover all the costs associated with carefully breaking/cutting out and lifting existing kerbs or channel fully intact, storing and maintaining the kerbs and channels and replacing them in the same position with benching and backing to the original lines and levels.

The reinstatement of existing kerbs and channels shall be to the satisfaction of the Engineer and must conform to the requirements of SABS 1200MK and PSMK.

If any breakage of the kerbs and channels occur, or if they are damage or stolen, the kerb or channel shall be replaced with new kerb or channel at the Contractors cost.

Item 	Unit

Lift & reinstate existing kerbs and channels (type of kerb or channel stated)	No

PSMK 8.2.15 Cast in-situ Kerb Transitions (New Item)

- Cast in-situ kerb transitions shall be measured by number and shall distinguish between different types.

- The tendered rate shall include all items specified in clause 8.2.1 to construct 1,0 metre transition sections.

PSMK 8.2.16 Cast in situ concrete channel

- The unit of measurement shall be the metre of concrete channelling complete as constructed, measured along the centre face of the channel. The tendered rate for each metre of concrete channelling shall include full compensation for the necessary excavation and preparation of bedding, backfilling, formwork, finishing, and for procuring, furnishing and installing all materials, including mesh reinforcement, protection against staining, and filling and pointing all joints.

Item 	Unit

Cast in situ concrete channel ………………………………………………………………………..m

PSMM	ANCILLARY ROADWORKS

PSMM1		SCOPE

PSMM 1.2 	SCOPE OF LABOUR INTENSIVE WORK

- The excavation for and erection of road signs shall be carried out by Labour Intensive methods.

PSMM 3	MATERIALS

PSMM 3.2 	ROAD SIGNS

PSMM 3.2.1		General

- Road traffic signs shall be purchased from an approved manufacturer and shall be fabricated in accordance with the South African Road Traffic Signs Manual and as specified below.

PSMM 3.2.9		Reflective material

- Add the following :

- “Non reflective material shall conform to the respective quality requirements, apart from the reflective quality requirements, of CKS 191.”

PSMM 5	CONSTRUCTION

PSMM 5.2 	ROAD SIGNS

PSMM 5.2.1.1 Supports

- Posts shall be fabricated with 75 mm outside diameter 3mm-thick steel tubing to SABS 657.

- The posts shall be straight with a smooth finished surface free of rust, scale, grease or foreign matter.

- Posts shall be suitably drilled to permit the sign plates or frames being firmly fixed to the posts by at least two (2) M12 galvanised steel bolts, complete with fibre washers.

- The open ends of all posts shall be closed either by the use of standard fittings or by welding on a mild steel plate.

- After the posts have been drilled, all welding completed, and all sharp edges rounded off and smoothed down they shall be zinc coated using the 'hot-dip' process in accordance with SABS Specifications 763 "Hot-dip (Galvanised) Zinc coating".

- Should any modifications be made to posts after galvanising, the posts shall be completely re-galvanised as described above.

PSMM 5.2.1.2 Backing plates and boards

- All Regulatory and Danger Warning sign plates and Information signs having a width of 1,5 metres or less shall be NS 4-H6 or SIC-H4 aluminium alloy plates with a thickness of not less than 2 mm and shall conform to BS 1470.  The plates shall be stiffened by means of aluminium reinforcement to BS 1476 HE19WP, riveted to the back of the sign by means of 5 mm diameter aluminium rivets spaced at 200 mm or less from one another.

PSMM 5.2.4		Installation of road signs

- Steelwork which is to be cast or grouted into concrete shall be cleaned of loose rust, scale, oil or any other material which may in the opinion of the Engineer impair the bond between the concrete and the steel.  The posts for road traffic signs shall be placed in holes of not less than nought comma nine metres (0,9 m) in depth and shall be embedded in well compacted concrete, Grade 15/19, to the full depth of the hole and a minimum of 400 mm x 400 mm in plan dimension.

- The top level of concrete shall be one hundred millimetres (100 mm) below ground level.  Traffic signs shall be securely and firmly fixed to the posts by means of M12 bolts.

- Road traffic signs erected in place shall be true to the required dimensions, free from buckles or dents, shall be vertical in the required position and shall have a neat workmanlike appearance.

PSMM 8	MEASUREMENT AND PAYMENT

PSMM 8.3.6	Statutory signs, street names, No.

- No withstanding that stated in SBS 1200MM 8.3.6, the rate shall also include all costs for the supply, fixing and complete installation of the sign supports, as per PSMM 5.2.1.1, plus necessary excavations for the sign supports.

Item 	Unit

Statutory signs, street names, and the like, supplied and erected complete	 No.

PSMM 8.4 	SCHEDULED ITEMS FOR ROAD MARKINGS

PSMM 8.4.1 Retro-reflective Road Marking

- Not withstanding the requirements of Subclause 8.4.1 measurement will be by the linear metre in the case of painted lines.

- The tendered rates shall cover the cost of supplying all materials and equipment necessary for painting and for the physical painting, reflectorizing and protection of the road markings, including setting out and premarking.

Item 	Unit

Retro-reflective Road Marking Paint Applied at a Nominal Rate of 0,42 l/m2 (or

Proprietary Brand Road Marking Material) complete……………………………………..……..m

CM1	MASONARY WALLING

CM1.1	SCOPE

- Brick walls for brick walling required in terms of the Contract shall comply with the requirements of SANS 2001-CM1, and the specific provisions below.

CM1.4	REQUIREMENTS

CM1.4.1	Materials

CM1.4.1.1	Masonry Units

- Unless otherwise noted, masonry units shall be burnt clay masonry units to SANS 227.

- Facing Bricks

- Facing bricks shall be red-terracotta clay bricks to match those of the existing building as closely as possible. The contractor shall provide samples for the Engineer’s approval, prior to placing orders.

- Efflorescence rating shall be ‘slight’ or less.

CM1.4.1.4	Sand

- Sand shall comply with the requirements of SANS 1090 for Mortar Sand.

CM1.4.1.6	Mortar Admixtures

- Mortar admixtures shall be subject to the approval of the Engineer.

CM1.4.1.12	Wall Ties

- Metal wall ties shall have a minimum thickness of galvanising of 750 g/m².

CM1.4.6	Fair Face and Face Masonry Finishes

CM1.4.6.2	Face Masonry

Face masonry shall be built in stretcher bond, unless otherwise specified, to a true and fair face. Perpends shall be aligned vertically.

Facing bricks shall be mixed to ensure that the proper blending of bricks within the colour range of each facing brick is achieved.

CM1.4.6.3	Reference Panels

Reference panels shall be constructed at a location determined in agreement with the Engineer.