SPECIFICATION

Water Reservoir Hluhluwe. Diameter of 14.4m and height of 1.9m. 1mm galvanized sheets /550gr liner / 50mm outlet / 25mm pipes