The HSRC hereby request the services of a qualified service provider to:

- Remove the old valves

- supply and install 6 HVAC Gate Resilient Seat Valve.

- Supply and install Gate Valve insulation and

- 6 Pressure Gauge 800Kpa

Site visit compulsory on a date to be advised.

See pictures below