ITEMS & DESCRIPTION

- Automation and wiring of Boreholes (Electrical cable from the Solar grid to the borehole- 16mm 3 core x 270m (Pump Protection Relay Motoscope 2.2 kw; Orange Electrical Box 500 x 500 mm and COC) - Borehole Pump , motor, control box 2.2 kw, HDP pipe (32mm x 200m class 10), rope (SKI/Nylon 10mmx 200m) and fittings (Base Plate; 3 x 32mm Compression Male Adaptors; 2 x 32mm Galvanised Elbow Male and Female; 4 core 200m 6mm Submersible Cable; 2 x Cable Joint; 2 x Packets of Cable ties; 2x Insulation Tapes; 4 x Thread Tapes) - Borehole Cage 1,5 m (L) x 1,5 m (W) x 1,5 m (H) with lockable steel-lid of 4 mm, see attached pictures for specification - Refurbishment of 40kl elevated steel tank, see attached pictures - Constructing reinforced boxed concrete tank stand 13 m (L) x 3,5 m (W) x 1m (H), see attached detailed specification - Plumbing (Supply of water from the borehole to the 40kl elevated steel tank and to the nursery holding tanks