{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Pricelist"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900"}

{"sheet":"Pricelist","index":0,"n_rows":428,"n_cols":8,"rows_kept":428,"merged":[[427,1,427,5]]}
["THE SUPPLY AND DELIVERY ESSENTIAL SYSTEM SPARES LPMED0086GX"]
[]
["Item","Material Number","Plant Area","Type Of Spare ","Description","Min Quantity","Rate","Total"]
[1,579820,"Electrical","RECTIFIER BRIDGE","RECT.Bridge 160A NAT AGDB 6C 160A/220V",10]
[2,667300,"Electrical","FUSE","Fuse 5X 20 2A",200]
[3,576712,"Electrical","DRIVER CARD","Driver Card",40]
[4,579819,"Electrical","POWER SUPPLY","Aux.PS.220Vdc (F=24V)",100]
[5,576710,"Electrical","DIGITAL PANEL CARD","Digital panel card",40]
[6,576708,"Electrical","ANALOG CARD","Analog card 220V",40]
[7,576709,"Electrical","CPU","CPU Master",40]
[8,576714,"Electrical","FILTERING CARD","Filtering card",40]
[9,579853,"Electrical","MODBUS CARD","Mod Bus card",40]
[10,581494,"Electrical","CURRENT AMP CARD","Current Amp Card",40]
[11,576713,"Electrical","RELAY CARD","relay card,12 relays",60]
[12,579804,"Electrical","RECTIFIER BRIDGE","3-phase bridge",30]
[13,576711,"Electrical","DIODE","Diode module",60]
[14,576707,"Electrical","FUSE","Fuse brush 80LET",100]
[15,576711,"Electrical","FIRING PIN","Firing pin bussmann TI250",100]
[16,667300,"Electrical","FUSE","Fuse 5 X 20 2A",200]
[17,576712,"Electrical","DRIVER CARD","Driver Card",40]
[18,576710,"Electrical","DIGITAL PANEL CARD","Digital Panel Card",40]
[19,579823,"Electrical","RECTIFIER BRIDGE","Rect.Bridge 650A forced AGDB6C650A/220V",20]
[20,665868,"Electrical","FAN","Fans",40]
[21,654345,"Electrical","FUSE","fuse 5X 20 4A",200]
[22,581495,"Electrical","FANS ALARM CARD","Fans Alarm Card",100]
[23,666350,"Electrical","RECTIFIER FUSE","fuse 160a AR 660V 40X23X95",100]
[24,666344,"Electrical","DC FUSE","Fuses of DC line",100]
[25,579826,"Electrical","FILTER FUSE","160A AR 660V 40X23X95",100]
[26,663785,"Electrical","AUX FUSE","4A 500V Gg 10x38",100]
[27,579827,"Electrical","BYPASS FUSE","bypass fuse",200]
[28,579814,"Electrical","SILICON CONTROLLED RECTIFIER","6 (rectifier SCR) + 3 (static switch SCR)",40]
[29,579811,"Electrical","BATTERY SCR","DCON SCR 1200V 90A SEMIPAK",40]
[30,579808,"Electrical","IGBT INVERTER","IGBT half bridge 1200V 300A",30]
[31,250657,"Electrical","DRIVER CARD","Driver rectifier card",40]
[32,250628,"Electrical","SYSTEM CARD","System card",40]
[33,579831,"Electrical","V/I MASTER CARD","V/I card slave",30]
[34,579830,"Electrical","V/I SLAVE CARD","V/I card master",30]
[35,579832,"Electrical","FILTER CARD","Filter card",40]
[36,250620,"Electrical","CONTROL INVERTER CARD","control interface inverter card",40]
[37,579834,"Electrical","INTERFACE CARD","Interface card",100]
[38,579783,"Electrical","DRIVER STATIC SWITCH CARD","Driver static switch card",100]
[39,579836,"Electrical","VOLTAGE AND CURRENT CARD","Interface voltage and current card",80]
[40,579787,"Electrical","DRIVER CARD CONTACTOR","Driver card contactor TLI",40]
[41,250656,"Electrical","BATTERY SCR CARD","Battery SCR driver card",40]
[42,579789,"Electrical","RS232 CARD","Rs 232 Card",30]
[43,579835,"Electrical","POWER SUPPLY CARD","Power Supply card",200]
[44,"0656014","Electrical","FUSE","AC FILTER FUSE",100]
[45,"0670123","Electrical","BATTERY FUSE","250A AR 660V 40X23X95",100]
[46,"0673720","Electrical","RECTIFIER FUSE","160A AR 660V 40X23X95",100]
[47,579792,"Electrical","RECTIFIER ","DCON SCR 1200V 90A SEMIPAK",40]
[48,579797,"Electrical","INVERTER","IGBT half bridge 1200V 300A",40]
[49,579796,"Electrical","RECTIFIER","DCON SCR 1200V 250A SEMIPAK",40]
[50,579814,"Electrical","Static switch SCR","SCR 1200V 106A SEMIPACK TT1",40]
[51,579829,"Electrical","SYSTEM CARD","System Card",100]
[52,579780,"Electrical","V/I SLAVE CARD","Scheda V/I slave",40]
[53,579781,"Electrical","V/I MASTER CARD","Scheda V/I Master",40]
[54,579782,"Electrical","DRIVER RECTIFIER CARD","driver SCR card (rectifier)",40]
[55,250659,"Electrical","RECTIFIIER CONTROL CARD","Rectifier control card",40]
[56,250658,"Electrical","IGBT INVERTER CARD","IGBT driver card",40]
[57,579784,"Electrical","POWER SUPPLY CARD","Power supply card",100]
[58,579785,"Electrical","POWER SUPPLY CARD","Redundance power supply card",100]
[59,579786,"Electrical","INTERFACE CARD","Interface V/I card",40]
[60,579788,"Electrical","BATTERY SCR CARD","Driver SCR card (battery)",40]
[61,579790,"Electrical","ADAPTER DRIVER CARD","Adapter driver card",40]
[62,"0665868","Electrical","FAN","Fan  7855 ESPAPST",200]
[63,669261,"Electrical","FUSE","FUSE gG   63A 22x58 690V with striker",100]
[64,"0600243","Electrical","FUSE","FUSE gG  160A SIZE 0 500V with striker plastic body (french)",100]
[65,579813,"Electrical","FUSE","FUSE gG    2A 10x38 500V without striker",100]
[66,579817,"Electrical","FUSE","FUSE gG    4A 10x38 500V without striker",100]
[67,579809,"Electrical","13INVERTER BRIDGE","EXOND inverter bridge ifh22s220",100]
[68,579803,"Electrical","INVERTER BRIDGE","Exond inverter bridge IFH22M220",100]
[69,579840,"Electrical","IGBT DRIVER","CDING-00 DRIVER IGBT 3P +15/-7V PCB",100]
[70,579848,"Electrical","INVERTER INTERFACE BOARD","LION-01 DIGITAL inverter interface board",200]
[71,null,"Electrical","FUSE",607,200]
[72,null,"Electrical","POWER SUPPLY MODULE","MODULE THY-THY ITAV =  26A 1200V",40]
[73,593120,"Electrical","POWER SUPPLY MODULE","MODULE THY-THY ITAV =  56A 1200V    ",40]
[74,593122,"Electrical","POWER SUPPLY MODULE","MODULE THY-THY ITAV =  91A 1200V",40]
[75,null,"Electrical","POWER SUPPLY MODULE","MODULE THY-THY ITAV = 250A 1200V",40]
[76,643811,"Electrical","RELAY","RELAY DC PROTECTION + DIODE LED 230V",40]
[77,643887,"Electrical","CURRENT SENSOR","HALL EFFECT CURRENT SENSOR OPEN LOOP 100A (30-250A)",40]
[78,643888,"Electrical","CURRENT SENSOR","HALL EFFECT CURRENT SENSOR OPEN LOOP 300A (250-700A)",40]
[79,null,"Electrical","CURRENT SENSOR","HALL EFFECT CURRENT SENSOR OPEN LOOP 1000A (700-2500A)",40]
[80,null,"Electrical","FUSE","FUSE gG   40A 14x51 500V WITH STRIKER",200]
[81,null,"Electrical","FUSE","FUSE gG   80A 22x58 690V WITH STRIKER",200]
[82,656442,"Electrical","FUSE","FUSE gG  100A 22x58 500V WITH STRIKER",200]
[83,656440,"Electrical","FUSE","FUSE gG  125A 22x58 400V WITH STRIKER",200]
[84,579850,"Electrical","POWER SUPPLY CARD","ALIN-10 POWER SUPPLY CARD FOR INCA 80-300V WITHOUT RJ CAN",200]
[85,656429,"Electrical","FUSE","FUSE gG    6A 10x38 500V WITHOUT STRIKER",100]
[86,656439,"Electrical","FUSE","FUSE gG    8A 10x38 500V WITHOUT STRIKER",100]
[87,656012,"Electrical","FUSE","FUSE UR  125A 6,9 URD 30 TT F 0125",200]
[88,656014,"Electrical","FUSE","FUSE UR  250A 6,9 URD 31 TT F 0250",200]
[89,null,"Electrical","FUSE","FUSE UR  450A 6,9 URD 32 TT F 0450",200]
[90,665868,"Electrical","FAN","FAN 150mm 230VAC 66,70VA/50Hz 7855ESPAPST",200]
[91,656432,"Electrical","FUSE","FUSE AM    4A 10x38 500V WITHOUT STRIKER",200]
[92,656437,"Electrical","FUSE","FUSE AM    8A 10x38 500V WITHOUT STRIKER",200]
[93,626296,"Electrical","TEMPERATURE SENSOR","VIGITHERME M16 \"NC\"  90°C",100]
[94,579849,"Electrical","INVERTER STATIC SWITCH","INVERTER STATIC SWITCH + RC FIRING BOARD",100]
[95,579843,"Electrical","MAINS STATIC SWITCH","MAINS STATIC SWITCH + RC FIRING BOARD",100]
[96,null,"Electrical","FAN","MOTO-TURBINE 250mm 230VAC 7855ES PAPST",100]
[97,null,"Electrical","RESISTOR","RESISTOR RSSD 16x94    70W   4,7 OHMS",40]
[98,null,"Electrical","RESISTOR","RESISTOR RSSD 16x94    70W    22 OHMS",40]
[99,null,"Electrical","CAPACITOR","CAPACITOR     10µF 400VAC",200]
[100,null,"Electrical","CAPACITOR","SEC-00 CAPACITOR SUB ASSEMBLY CHARGER PROTECTION 3uF 400V <70kVA",200]
[101,null,"Electrical","CAPACITOR","CAPACITOR  33000µF  40VDC ARUX",200]
[102,null,"Electrical","CAPACITOR","CAPACITOR  15000µF 40VDC ARUX-HG",200]
[103,null,"Electrical","MODULE","MPPOI-00   INTERCONNECTING CARD FOR FLAT CABLE HE10 26 POINTS",40]
[104,null,"Electrical","MODULE","NRV-20     48/110/220V VOLTMETRIC RELAY BOARD",100]
[105,null,"Electrical","INVERTER BRIDGE","EXOND INVERTER BRIDGE IFH13T220",100]
[106,"0668437","Electrical","MODULE","NRV-20     48/110/220V VOLTMETRIC RELAY BOARD",100]
[107,"0579850","Electrical","POWER SUPPLY CARD","ALIN-10 POWER SUPPLY CARD FOR INCA 80-300V WITHOUT RJ CAN",200]
[108,579851,"Electrical","INTERFACE CAN BOARD","CANIF-00 INTERFACE CAN BOARD",200]
[109,648125,"Electrical","RESISTOR","RESISTOR COIL 1 KOHMS 5% 8W RB60 6x34",40]
[110,648126,"Electrical","RESISTOR","RESISTOR COIL 2,2 KOHMS 5% 8W RB60 6x34",40]
[111,648124,"Electrical","RESISTOR","RESISTOR COIL 27 OHMS 5% 8W RB60 6x34",40]
[112,648123,"Electrical","RESISTOR","RESISTOR COIL 1,2 KOHMS 5% 8W RB60 6x34",40]
[113,648118,"Electrical","RESISTOR","RESISTOR COIL 1,8 KOHMS 5% 8W RB60 6x34",40]
[114,648117,"Electrical","RESISTOR","RESISTOR COIL 2,7 KOHMS 5% 8W RB60 6x34",40]
[115,null,"Electrical","DIODE","BLOCKING DIODE (160A) 70UR/80Y + AR43/95",200]
[116,null,"Electrical","DIODE","BLOCKING DIODE 250A (300A maxi) 2x70UR/80Y + AR43/195",200]
[117,null,"Electrical","DIODE","BLOCKING DIODE (400A) 3x70UR/80Y + AR43/295",200]
[118,null,"Electrical","DIODE","REPLACED BY 5042000029 (BLOCKING DIODE (600A) 2x(2x70UR/80Y + AR43/195) TWINDED)",200]
[119,null,"Electrical","DIODE","BLOCKING DIODE (100A) 45LR80 SUR AR105/3x145",200]
[120,"0579843","Electrical","MAINS STATIC SWITCH","COGAS2-21 MAINS STATIC SWITCH + RC FIRING BOARD",100]
[121,"0579849","Electrical","INVERTER STATIC SWITCH","COGAS2-20 INVERTER STATIC SWITCH + RC FIRING BOARD",100]
[122,579846,"Electrical","OUTPUT CAN BOARD","CAN-00 OUTPUT CAN BOARD",100]
[123,null,"Electrical","BRIDGE RECTIFIER","BRIDGE RECTIFIER 35A 1000V",40]
[124,593534,"Electrical","TRANSISTOR","IGBT TRENCH TRANSISTOR  600V 200A MARKED IN VCESAT",40]
[125,593520,"Electrical","TRANSISTOR","IGBT TRENCH TRANSISTOR  600V 300A MARKED IN VCESAT",40]
[126,null,"Electrical","MODULE","SYMMETRY RESISTORS AND/OR CAPACITORS DISCHARGE 7SR/B 1000 OHMS 9W",40]
[127,null,"Electrical","MODULE","SYMMETRY RESISTORS AND/OR CAPACITORS DISCHARGE 10SR/B 10000 OHMS 11W",40]
[128,null,"Electrical","MODULE","SYMMETRY RESISTORS AND/OR CAPACITORS DISCHARGE 10SR/B 15000 OHMS 11W",40]
[129,579845,"Electrical","RCD SNUBBER CARD","RCD SNUBBER CARD",60]
[130,null,"Electrical","CAPACITOR","DC CAPACITOR   3300µF 400VDC AYUX-HR 85°C",200]
[131,null,"Electrical","CAPACITOR","DC CAPACITOR   4700µF 400VDC AYUX-HR 85°C",200]
[132,null,"Electrical","CAPACITOR","DC CAPACITOR   4700µF 350VDC",200]
[133,null,"Electrical","CAPACITOR","AC CAPACITOR    200µF 270VAC",200]
[134,null,"Electrical","CAPACITOR","AC CAPACITOR    200µF 250VAC",200]
[135,null,"Electrical","CAPACITOR","AC CAPACITOR     70µF 250VAC",200]
[136,null,"Electrical","CAPACITOR","AC CAPACITOR    200µF 650VAC (220nF/1600VDC) POLYPRO MET 5%  P27.5 105°C",200]
[137,656086,"Electrical","CONTACTOR","CONTACTOR BREAKER A9-22-00   220V/230V 50Hz 230V/240V 60Hz",40]
[138,656090,"Electrical","CONTACTOR","CONTACTOR TAE50-30-11 WIDE RANGE  152V TO 264VDC REPLACED BY AF52-30-00-11",40]
[139,656093,"Electrical","CONTACTOR","CONTACTOR TAL9-30-10  WIDE RANGE   17V TO 32VDC REPLACED BY AF09-30-10-13.",40]
[140,656098,"Electrical","CONTACTOR","CONTACTOR TAL9-30-10  WIDE RANGE  152V TO 264VDC REPLACED BY AF09-30-10-13",40]
[141,656099,"Electrical","CONTACTOR","CONTACTOR TAL30-30-10 WIDE RANGE  152V TO 264VDC",400]
[142,656100,"Electrical","CONTACTOR","CONTACTOR TAE50-30-11 WIDE RANGE   17V TO 32VDC REPLACED BY AF52-30-00-11",40]
[143,656102,"Electrical","CONTACTOR","CONTACTOR TAE50-40-00 WIDE RANGE   17V TO 32VDC REPLACED BY AF52-30-00-11",40]
[144,null,"Electrical","CONTACTOR","CONTACTOR DIODE SHUNTING 24V/333A + DRL AND 1 'O' + 1 'F'",40]
[145,null,"Electrical","FUSE","FUSERBLOC 2P   50A 14x51 FOR DIRECT COMMAND SIZE 1",40]
[146,null,"Electrical","FUSE","FUSERBLOC 2P  100A FOR DIRECT COMMAND 22x58",40]
[147,null,"Electrical","FUSE","FUSERBLOC 2P  125A FOR DIRECT COMMAND 22x58",40]
[148,null,"Electrical","FUSE","FUSERBLOC 2P  400A FOR DIRECT COMMAND SIZE 2",40]
[149,null,"Electrical","FUSE","FUSERBLOC 2P  100A + POSITION O I AND TEST",40]
[150,null,"Electrical","FUSE","FUSERBLOC 2P  400A FOR EXTERNAL DIRECT COMMAND SIZE 2",40]
[151,null,"Electrical","FUSE","FUSERBLOC 2P  160A TAILLE 0 FOR RIGHT LATERAL FRONT COMMAND LOCKABLE",40]
[152,null,"Electrical","SWITCH","BYPASS SWITCH 3 PHASES  32A",40]
[153,null,"Electrical","SWITCH","BYPASS SWITCH 3 PHASES  63A + 3 POSITIONS PADLOCKABLE HANDLE",40]
[154,null,"Electrical","SWITCH","BYPASS SWITCH 3 PHASES 150A + 4 POSITIONS PADLOCKABLE HANDLE",40]
[155,null,"Electrical","SWITCH","BYPASS SWITCH 3 PHASES  63A PADLOCKABLE 4 POSITIONS",40]
[156,null,"Electrical","SWITCH","BYPASS SWITCH 3 PHASES  32A PADLOCKABLE 4 POSITIONS",40]
[157,null,"Electrical","CURRENT TRANSFORMER","CURRENT TRANSFORMER  200A/0,2A 3,2VA",40]
[158,null,"Electrical","CURRENT TRANSFORMER","CURRENT TRANSFORMER  100A/0,2A 1,6VA",40]
[159,null,"Electrical","CURRENT TRANSFORMER","CURRENT TRANSFORMER   25A/0,2A  0,8VA CLASS 2,5",40]
[160,null,"Electrical","CURRENT TRANSFORMER","CURRENT TRANSFORMER  600A/0,2A 3,00VA CLASSE 0,5 HIGH TEMPERATURE BOX",40]
[161,null,"Electrical","CURRENT","HALL EFFECT CURRENT SENSOR OPEN LOOP 600A",40]
[162,null,"Electrical","EARTH FAULT MONITOR","EARTH-FAULT MONITOR 12-280VDC (Min 10.8VDC – Max 308VDC)",100]
[163,626296,"Electrical","TEMERATURE SENSOR","VIGITHERME M16 \"NO\"  60°C (+/-3°C) +/5% HYST -15°C",40]
[164,null,"Electrical","FUSE","FUSE Gg 400A SIZE 2 500V WITH STRIKER CERAMIC BODY",100]
[165,579798,"Electrical","INVERTER BRIDGE","EXOND INVERTER BRIDGE IFH425220",40]
[166,579842,"Electrical","CUX BOARD","CUX-00 CUX BOARD",100]
[167,579841,"Electrical","POB PARALLELING BOARD","POB PARALLELING BOARD",10]
[168,579838,"Electrical","CUDSMC SMPS","CUAL-11 CUDSMC SMPS 80/300VDC OUTPUT 24DC ISOLATED ",100]
[169,252704,"Electrical","FUSE","FUSE UR   63A SIZE 000 690V WITH BLOWN-FUSE INDICATOR",200]
[170,null,"Electrical","FUSE","FUSE UR  125A SIZE 000 690V WITH BLOWN-FUSE INDICATOR",200]
[171,null,"Electrical","FUSE","FUSE UR  200A SIZE 00  690V WITH BLOWN-FUSE INDICATOR",200]
[172,null,"Electrical","FUSE","FUSE UR   80A AMERICAN FORM 101 500V",200]
[173,null,"Electrical","FUSE","FUSE UR  250A AMERICAN FORM 101 500V",100]
[174,null,"Electrical","FUSE","FUSE UR  125A SIZE 1* 690V WITH STRIKER",100]
[175,null,"Electrical","FUSE","FUSE UR  200A SIZE 1* 690V WITH STRIKER",100]
[176,null,"Electrical","FUSE","FUSE UR  400A SIZE 1* 690V WITH STRIKER",100]
[177,null,"Electrical","FUSE","FUSE UR  125A SIZE 1 690V WITH STRIKER + MICROSWITCH",100]
[178,null,"Electrical","FUSE","FUSE UR  250A SIZE 1 690V WITH STRIKER + MICROSWITCH",100]
[179,null,"Electrical","BREAKER","CIRCUIT BREAKER 2P    4A S282 CURVE UC-K",40]
[180,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   20A TMAX T1B 160 F FC Cu  - 16kA - TMD20",40]
[181,579852,"Electrical","FAN FAIL CARD","DFVU-OO UNIVERSAL FAN FAIL CARD",100]
[182,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   25A TMAX T1B 160 F FC Cu  - 16kA - TMD25",40]
[183,578947,"Electrical","POWER SUPPLY CARD","ALIN-00 POWER SUPPLY CARD FOR INCA 17-80V WITHOUT RJ CAN",100]
[184,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   40A TMAX T1B 160 F FC Cu  - 16kA - TMD40",40]
[185,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   80A TMAX T1B 160 F FC Cu  - 16kA - TMD80",40]
[186,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  100A TMAX T1B 160 F FC Cu  - 16kA - TMD100",40]
[187,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  125A TMAX T1B 160 F FC Cu  - 16kA - TMD125",40]
[188,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   80A TMAX T1N 160 F FC Cu  - 36kA - TMD80",40]
[189,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  125A TMAX T1N 160 F FC Cu  - 36kA - TMD125",40]
[190,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  160A TMAX T1N 160 F FC Cu  - 36kA - TMD160",40]
[191,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P   25A TMAX T2N 160 F FC Cu  - 36kA - TMD25",40]
[192,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  200A TMAX T3N 250 F FC Cu  - 36kA - TMD200",40]
[193,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  400A TMAX T5N 400 F F      - 36kA - TMA400",40]
[194,null,"Electrical","BREAKER","CIRCUIT BREAKER 3P  630A TMAX T5N 630 F F      - 36kA - PR221-DS-LS/I",40]
[195,null,"Electrical","BREAKER","CIRCUIT BREAKER 4P  160A TMAX T1B 160 F FC     - 16kA - R160",40]
[196,579793,"Electrical","SECONDARY CHARGER BRIDGE DRIVER","CGXH3-00 6 PULSES SECONDARY CHARGE BRIDGE BRIFGE DRIVER 240V",100]
[197,null,"Electrical","BREAKER","CIRCUIT BREAKER 4P   63A TMAX T1B 160 F FC Cu  - 16kA - R63",40]
[198,null,"Electrical","BREAKER","CIRCUIT BREAKER 4P   50A TMAX T1B 160 F FC Cu  - 16kA - TMD",40]
[199,null,"Electrical","BREAKER","CIRCUIT BREAKER 4P   16A TMAX T1B 160 F FC Cu  - 16kA - TMD16",40]
[200,null,"Electrical","LIGHTNING  ARRESTOR","1 PHASE LIGHTNING ARRESTER TYPE 2 BASE WITH REMOTE CONTACT",40]
[201,579844,"Electrical","RELAY BOARD","NRV-10 12/24V VOLTMETER RELAY BOARD",100]
[202,null,"Electrical","LIGHTNING ARRESTOR","1 PHASE LIGHTNING ARRESTER TYPE 2 400VAC (440VAC MAX) 20/40kA",40]
[203,null,"Electrical","LIGHTNING ARRESTOR","1 PHASE LIGHTNING ARRESTER TYPE 2 60VAC (75VAC MAX) 15/40kA",40]
[204,null,"Electrical","LIGHTNING ARRESTOR","COUPLING BAR 2 PHASES LIGHTNING ARRESTER MPB 18/1-2",40]
[205,null,"Electrical","LIGHTNING ARRESTOR","3 PHASES LIGHTNING ARRESTER TYPE 2 240VAC/415VAC 25kA max",40]
[206,null,"Electrical","LIGHTNING ARRESTOR","3 PHASE + NEUTRAL LIGHTNING ARESTER TYPE 2 TYPE 2 240VAC (350VAC MAX) 60/120kA (L-N) - 20/40kA (N-PE)",40]
[207,null,"Electrical","LIGHTNING ARRESTOR","REPLACED BY 5820200031 (COUPLING BAR 2 PHASES LIGHTNING ARRESTER MPB 18/1-2)",40]
[208,null,"Electrical","DIODE","REPLACED BY 5903610238 ( RV19-138   DIRECT CURRENT FOR CHARGER BLOCKING DIODE",100]
[209,null,"Electrical","SENSOR","SMA-07     CTN SENSOR APODYS",40]
[210,null,"Electrical","BRIDGE RECTIFIER","CRIP-03    SHARING PCB BRIDGE  IT*22",40]
[211,null,"Electrical","BRIDGE RECTIFIER","CRIP-04    SHARING PCB BRIDGE  IT*42",40]
[212,null,"Electrical","INVERTER MODULE","LION-03    DIGITAL INVERTER INTERFACE BOARD OPEN LOOP SENSOR BUCK BOOST",200]
[213,"0643808","Electrical","MODULE","LISA-00    SERIAL ISOLATED LINK FOR APODYS CI1122 INDEX 3",40]
[214,644637,"Electrical","SITOP POWER SUPPLY","SITOP POWER SUPPLY 120/230VAC 24VDC 40A",200]
[215,"0643802","Electrical","MODULE","INCA-00    NUMERIC INTERFACE APODYS CHARGER 3 PHASES",100]
[216,null,"Electrical","SUPPLY FILTER","FRT-00     MAIN SUPPLY FILTER 3 PHASES ≤ 415V",100]
[217,null,"Electrical","VOLTMETER","VOLT METER 250VAC 96*96",40]
[218,null,"Electrical","SUPPLY MODULE","FRT-01     MAIN SUPPLY FILTER 3P >415V <480V",40]
[219,null,"Electrical","VOLTMETER","VOLTMETER 30VDC",100]
[220,null,"Electrical","SUPPLY MODULE","FRM-00     MAIN SUPPLY FILTER 1P <250V",40]
[221,579801,"Electrical","LOAD BREAK SWITCH","SOCOMEC LOAD BREAK SWITCH - M2 FRAME 63A 3P",40]
[222,null,"Electrical","MCB","MCB C60H-DC 500VDC 16A 2P C",100]
[223,null,"Electrical","AUXILIARY CONTACT","AUXILIARY CONTACT 1 OC + 1 SD/OC",40]
[224,null,"Electrical","MCB","MCB C60N 1P 16A C CURVE 10KA",40]
[225,null,"Electrical","DRIVER MODULE","CDBB-00    DRIVER CARD BUCK BOOST",40]
[226,579858,"Electrical"," AC UNDERVOLTAGE MONITOR","ELECTRO AC UNDER VOLTAGE MONITOR",100]
[227,579800,"Electrical"," VOLTAGE TRANSDUCER","ELECTRO VOLTAGE TRANSDUCER: 0-300VAC/4-20mA",100]
[228,null,"Electrical","INTERFACE MODULE","INBB-00    NUMERIC INTERFACE BUCK BOOST",100]
[229,null,"Electrical","DISPLAY","DISPLAY KEYBOARD APODYS FOR PREPERCED DOOR (WITH CHLORIDE INDUSTRIAL SYSTEMS LABEL)",100]
[230,579856,"Electrical","INSULATION MONITORING DEVICE","INSULATION MONITORING DEVICE",100]
[231,null,"Electrical","INTERFACE MODULE","INCA2-00   NUMERIC INTERFACE APODYS 2/3 CHARGER 3 PHASES",100]
[232,null,"Electrical","CURRENT TRANSFORMER","CT AMMETERS 50/1A",40]
[233,null,"Electrical","MINI CIRCUIT BREAKER","SCHNEIDER MCB C60N 1P 40A C CURVE 10KA",100]
[234,null,"Electrical","CURRENT TRANSFORMER","CT 0-200 A/1A",40]
[235,null,"Electrical","FUSE","gG FUSE LINK 10 X 38 - 6A/500V",20]
[236,579822,"Electrical","FUSE","FUSE HOLDER",100]
[237,579815,"Electrical","FUSE","4A,10X38",200]
[238,579806,"Electrical","FUSE","FUSE HOLDER",100]
[239,579824,"Electrical","FUSE","FUSE HOLDER 14X51MM,40A",40]
[240,579828,"Electrical","FUSE","GG 2A,10X38, 2 POLES",200]
[241,579821,"Electrical","FUSE","FUSE HOLDER 1 POLE,10X38 without micro switch,without striker",100]
[242,579812,"Electrical","FUSE","FUSE HOLDER 2 POLES WITH MICRO SWITCH AND 2X FUSE Gg 40A (14X51)",100]
[243,579816,"Electrical","FUSE","FUSE HOLDER 2 POLES AND 2X FUSE AM 8A, 10X38",100]
[244,579807,"Electrical","FUSE","FUSE HOLDER 2 POLES AND 2X FUSE Gg40A, 14X51",100]
[245,579825,"Electrical","FUSE","FUSE HOLDER 3 POLE WITH MICROSWITCH AND 3X FUSE Gg 40A, 14X51",100]
[246,579799,"Electrical"," VOLTAGE TRANSDUCER","ELECTRO VOLTAGE TRANSDUCER: 30VDC/4-20mA",100]
[247,579857,"Electrical","AC UNDERVOLTAGE MONITOR","ELECTRO DC UNDER VOLTAGE MONITOR",100]
[248,579855,"Electrical","SITOP SIGNALLING MODULE","SITOP SIGNALLING MODULE IN AC/DC CONVERTER",200]
[249,579794,"Electrical","BRIDGE RECTIFIER","3 PHASE BRIDGE RECTIFIER",40]
[250,579837,"Electrical","RCD SNUBBER CARD","RCD SNUBBER CARDFOR 8OkVA UPS",100]
[251,579791,"Electrical","BRIDGE RECTIFIER","3 PHASE BRIDGE RECTIFIER",40]
[252,null,"Electrical"," SB263 ISOLATOR FOR AC MAINS","63A 2P HAGER SB263 ISOLATOR FOR AC MAINS",100]
[253,null,"Electrical","20A  1P 6KA HAGER NF 120A MCB","20A  1P 6KA HAGER NF 120A",100]
[254,null,"Electrical","32A 2P 10KA HAGER NF232A MCB","32A 2P 10KA HAGER NF232A",100]
[255,null,"Electrical","100A 50MV SINGLE SHUNT CURRENT SHUNT","100A 50MV SINGLE SHUNT",40]
[256,null,"Electrical","80A 2P HAGER 15KA HMD280 LOAD MCB","80A 2P HAGER 15KA HMD280",100]
[257,null,"Electrical","CORDEX CXRC 24-400W 120/208 POWER MODULE  ","CORDEX CXRC 24-400W 120/208",100]
[258,null,"Electrical","CORDEX 19\" 24-400W 120 BILK SHELF","CORDEX 19\" 24-400W 120 BILK SHELF",100]
[259,null,"Electrical","24V DC PROTECTION FOR SUPPLY USED FOR CONTSTANT OUTPUT BR5","24V DC PROTECTION FOR SUPPLY",100]
[260,null,"Electrical","230V AC SURGE ARRESTOR PC CARD BR8- 25KA","230V AC SURGE ARRESTOR PC CARD",100]
[261,null,"Electrical","N/C  AUX CONTACT","BF2501A 32A 3P 400VAC COIL",100]
[262,null,"Electrical","FUSE, GENERIC","4A 10×38  FUSE  34002 (8638)",200]
[263,null,"Electrical","FUSE, GENERIC","10A 10×38  FUSE  34005 (8644)",200]
[264,null,"Electrical","FUSE, GENERIC","2A 10×38  FUSE  34001 (8638)",200]
[265,null,"Electrical","M SERIES SCCOMEC TYPE LOAD ISOLATOR","2200 3003 32A 3P LOAD ISOLATOR",100]
[266,null,"Electrical","ALM CABLE FROM RELAY TO ALM TERMS","0.22mm 4PAIR MYLAR SCREEN CABLE ",40]
[267,null,"Electrical","FUSE, GENERIC","441032 Am 32A 14×51  500V  FUSE",200]
[268,null,"Electrical","Bridge Rectifier","KBPC 35-10 BRIDGE RECTIFIER",40]
[269,null,"Electrical","315VA 690V HIGH SPEED FUSE","Z300057C 6,9 URD 30  TTF0315",200]
[270,null,"Electrical","TTF FUSE MICRO  SWITCH","MS3V1-5, TTF FUSE MICRO SWITCH M/S FOR SIZE 30-33 FUSE(6801)",200]
[271,null,"Electrical","1400 1020 , 200mm 10mm  EXT SHAFT",null,40]
[272,null,"Electrical","1423 2111 ,S2 PISTOL  GRIP","BLACK  125-400A  HANDLE, 10mm",40]
[273,null,"Electrical","460VAC 25KA SURGE PROTECTION","PH1-3 TO  E, PH-PH PROTECTION BR10-460V  25KA",100]
[274,null,"Electrical","24V  DC SURGE DUPPRESSION","STUD TERMINALS BR11-24V 8KA",100]
[275,null,"Electrical","601390240040, 24VDC FINDER","11 PIN, 3 CHANGEOVER RELAY",100]
[276,null,"Electrical","CAPACITOR","33,000UF 63V CAPS C2=17 OFF, C22=1 0FF",200]
[277,null,"Electrical","CAPACITOR","50uf 440V AC MOTOR RUN",200]
[278,null,"Electrical","CAPACITOR","0.47UF 530VAC EPCOS-MKP B32914A5474M",200]
[279,null,"Electrical","GIGAVAC CONTACTOR","GXNC14CA, 350V 24VDC COIL N/C",10]
[280,null,"Electrical","FUSE  LINK","381280,315A 500V 120KA NH1 Q228519C",200]
[281,null,"Electrical","FUSE REMOVAL HANDLE","340001 NH00-4 FUSE HANDLE",40]
[282,null,"Electrical",null,"ALT2699 5052,10mm DIRECT MOUNT 1113 1111 J1 HANDLE 200-400A",40]
[283,null,"Electrical","SOCOMEC ISOLATOR","26AC 3031, 315A 3P ISOLATOR ALT 26003032,SOMEC",40]
[284,null,"Electrical","DROPPING DIODE","INCL BLOCK + REV POL/DIODE,REV 1 08882144, 24/3,2V 228A D/D F45",200]
[285,null,"Electrical","DROPPING DIODE","DROPPING DIODE STACK  FANS -DC",100]
[286,null,"Electrical","DIODES","DIODES 1N5408",100]
[287,null,"Electrical","DIODES","DIODES 1N4007",100]
[288,null,"Electrical","MODULE CONROLLER","24V 5A BTU CONTROLLER  SP116-24V 5A ",100]
[289,null,"Electrical","DCCCT","HAS 300, 300A DCCCT,OPEN LOOP OUTPUT VOLTAGE 4V BLUE",100]
[290,null,"Electrical","24V DC MANAGEMENT SYSTEM REV 3","COMPLETE ASSEMBLY AT STATIC POWER",100]
[291,null,"Electrical","DCMS HARNESS FOR DOUBLE DOOR","SET 0F 24 CABLE DOUBLE DOOR CHARGER",40]
[292,null,"Electrical","MODULE","SP332 HRA 24V ",100]
[293,null,"Electrical","HVA-RESET PUSH BUTTOM PBUTT006M","3A 250V N/O RED P/BUTTON B165M RD",100]
[294,null,"Electrical","MODULE ","SP303-1  HVA-24V , 3 SEC DELAY",100]
[295,null,"Electrical","MODULE","SP303-2  HVA-24V , 3 SEC DELAY",100]
[296,null,"Electrical","INDICATION LAMP RED","CL-530R,380VAC RED LED  LAMP 22mm  1SFA619402R5301",100]
[297,null,"Electrical","INDICATION LAMP GREEN","CL-530R,380VAC GREEN LED  LAMP 22mm 1SFA619403R5422",100]
[298,null,"Electrical","3 phase HARMONIC CHOKE inductor","1.5mH/LEG 527VA 50Hz 24.4Arms",40]
[299,null,"Electrical","L614 INDUCTOR","10.4Arip, 4.73Vrip @600Hz 0.082mH 1206VA, 306Arms, 300Adc",40]
[300,null,"Electrical","L613 INDUCTOR","99.1Arip, 13.5Vrip @300Hz 0.072mH 367VA, 306Arms, 300Adc",40]
[301,null,"Electrical","250A 690V HIGH SPEED FUSE","Y300056C 6,9URD 30 TTF0250",100]
[302,null,"Electrical",null,"26AC 3025 250A 3P SOCOMEC",60]
[303,null,"Electrical","MODULE SP300","SP300 LVA/CFA-24V, 1 SECDELAY",100]
[304,null,"Electrical","MCB","NF306A, 6A TP 10KA HAGER",60]
[305,null,"Electrical","AUX  CONTACT ON/OFF","MZ201, AUX BLOCK (1NO + 1NC)",40]
[306,null,"Electrical","OVER CURRENT RELAY","10A 400V AC 2C/OVER RELAY FINDER  601284000040",100]
[307,null,"Electrical","MOV004P ALT S20K60","CNR14D101  60V MOV",40]
[308,null,"Electrical","4 CONTACTACTS  14 PIN RELAY","4 CONTACTS 14 PIN RELAY 563490240040 24V DC RELAY FINDER",100]
[309,null,"Electrical","Resistor","10 watt resistors 5K6",40]
[310,null,"Electrical","Resistor","5 WATT RESISTORS 2K2  ALT 72M3161 METAL OXIDE 5%",40]
[311,null,"Electrical","Resistor","560K 2W RESISTOR 5% TOL",40]
[312,null,"Electrical","Resistor","5 WATT RESISTORS 2E2 ohm                                         R25=CONNECT 2 IN PARALLEL                                    R28=CONNECT 2 IN PARALLEL",40]
[313,null,"Electrical","Resistor","5 WATT RESISTOR 3K9",40]
[314,null,"Electrical","Resistor","5 WATT RESISTOR 120 ohm",40]
[315,null,"Electrical","Resistor","5 WATTm RESISTOR S 150 oh",40]
[316,null,"Electrical","200A  690V HIGH SPEED FUSE","3000055C 6,9 URD 30 TTF0200",100]
[317,null,"Electrical","8 PIN, 2 CHANGE OVER RELAY","601290240040, 24V DC 8 PIN , 2 CHANGE OVER RELAY",100]
[318,null,"Electrical","MODULE  RS485 PARALLEL COMMS","SP467 CPV",100]
[319,null,"Electrical","SCR STACK BRIDGE ","6×SKKKT162/12E, 6×SKKKE 162/12",60]
[320,null,"Electrical","SCR STACK FANS","SCR STACK FAN",40]
[321,null,"Electrical","MODULE ","SP299 12V024300.36-815S-2SDD  3 POSITION COMPONENT BOARD",100]
[322,null,"Electrical","CAPACITOR","0.22UF 10000V 27.5mm MKP/EPCOS 190-8551P POLYCAP (220N1KVPP)",200]
[323,null,"Electrical","RESISTOR","5 WATT RESISTORS 27 ohm ALT 14M2867 CERAMIC 5%",40]
[324,null,"Electrical","630V DC RC NETWORK","206-7825, 220nf/22E 250V AC SUP5-8 FOR AC FANS, SUP9-10 FOR DC FANS",100]
[325,null,"Electrical","TEMPERATURE SENSOR","LM35DT TEMP SENSOR TO 220 10mV/degree cel",60]
[326,null,"Electrical","ON-DELAY TIMER","T10/400VAC, 10 seconds",60]
[327,null,"Electrical","TRANSFORMER","PRIM/DELTA, DdoY5 3PH DW+ES,16920VA, 400/33.3V",30]
[328,null,"Electrical",null," 1PH DW+ES,250VA, 400/230@1.08A",30]
[329,null,"Electrical",null,"I PRIM=0.225A, +20% MAIN 1PH DW+ES,90VA, 400/24V@3.75",30]
[330,null,"Electrical",null,"V3E 3P 400VAC  MONITOR UNIT CALIBRATED FOR +/-23% MAINS",60]
[331,null,"Electrical","CONTACTOR","BF1100 110A 3P 400VAC COIL",40]
[332,null,"Electrical","FUSE","383070 125A 500V 120KA AM FUSE",100]
[333,null,"Electrical","FUSE","326100 PARTITION WALL NH00",40]
[334,null,"Electrical","screen cable","0.22mm 4PAIR MYLAR SCREEN CABLE MP103044 ",40]
[335,null,"Electrical","690V HIGH SPEED FUSE","1000A 690V HIGH SPEED FUSE B300082C 6.9 URD 33 TTF1000",100]
[336,null,"Electrical","ISOLATOR 98","1401 1532 15mm 320mm EXT SHAFT for 630-1600A SWITCH",40]
[337,null,"Electrical","EXT SHAFT ISOLATOR","1407 0520 200mm 5mm EXT SHAFT ISOLATOR",40]
[338,null,"Electrical","PISTOL GRIP HANDLE ISOLATOR","1443 3111  S4  PISTOL GRIP  BLACK  630-1600A HANDLE 15mm",40]
[339,null,"Electrical","SIRCO M SERIES HANDLE ISOLATOR","1484 1111 RED/YELLOW HANDLE ",60]
[340,null,"Electrical","ISOLATOR","2200 3011 3P 125A ISOLATOR",60]
[341,null,"Electrical","SOCOMEC ISOLATOR ISO139","26AC 3100, 1000A 3P ISOLATOR ALT 2600 3099,SOMEC",40]
[342,null,"Electrical","FUSE","326100 PARTITION WALL NH00",40]
[343,null,"Electrical","CAPACITOR","33 000UF 63V CAPS ONLY",40]
[344,null,"Electrical","DROPPING DIODE CABINET FAN","368800240 FAN W2E250-HL06-01 230VAC @0.56A",100]
[345,null,"Electrical","FAN","36880200 FAN  W2E200 HK3801 230VAC @0.35A  80W CFM607",100]
[346,null,"Electrical","DROPPING DIODES CABINET FAN GUARDS","36880338 FAN GUARD W2E250 FAN",60]
[347,null,"Electrical","FUSE","383070 125A 500V 120KA AM FUSE",100]
[348,null,"Electrical","L619 INDUCTOR","44.5Arip, 4.73Vrip @600Hz 0.02mH 5131VA, 1273Arms, 1250Adc",40]
[349,null,"Electrical","L620 INDUCTOR","477.5Arip, 13.5Vrip @300Hz 0.015mH 1457VA, 786Arms, 625Adc",40]
[350,null,"Electrical","L621 INDUCTOR","477.5Arip, 13.5Vrip @300Hz 0.344mH/LEG 2310VA, 106.9Arms 3PH HARMONIC CHOKE",40]
[351,null,"Electrical","RESISTOR ","5 WATT RESISTOR 1K5  5RES128P",30]
[352,null,"Electrical","RESISTOR","5RES016P ALT 14M4701  WIRE WOUND 5%  5 WATT RESISTORS 0E47 ohm",30]
[353,null,"Electrical","FUSE","6A 10×38  FUSE",200]
[354,null,"Electrical","690V HIGH SPEEDEED FUSE","700A 690V HIGH SPEED FUSE N300070C 6,9 URD 32 TTF0700",100]
[355,null,"Electrical","CAPACITOR","72M1592 100uf 63V  ELEC CAN CAN with screw terminal",200]
[356,null,"Electrical","DIRECT MOUNT HANDLE","ALT 2600  26AC 3161  1600A 3P SOCOMEC ",40]
[357,null,"Electrical","CONTACTOR","BF1100 110A 3P 400VAC COIL",40]
[358,null,"Electrical","690V HIGH DPEED FUSE","E300085C 6,9 URD 33 TTF 1400A 690V HIGH SPEED FUSE",100]
[359,null,"Electrical","DCCT OPEN LOOP OUTPUT VOLTAGE","HAX 1000 1000A DCCT OPEN LOOP OUTPUT  VOLTAGE +-4%",30]
[360,null,"Electrical","DROPPING DIODE 41","INCL BLOCK + REV POL/DIODE,REV 108882146, 24/3,2V 950A D/D F45",100]
[361,null,"Electrical","PUSH BUTTON","PUSH BUTTON BRACKET CLEAR POLYCARB 80W×60D×80H×20LIP×3mm MP174011",40]
[362,null,"Electrical","MOV002M ","RS PART NO:289-7244 CNR14D101  (20S60K) MOV",40]
[363,null,"Electrical","250A 690V HIGH SPEED FUSE","Y300056C 6,9URD 30 TTF0250",100]
[364,null,"Electrical","315VA 690V HIGH SPEED FUSE","Z300057C 6,9 URD 30  TTF0315",100]
[365,null,"Electrical","1400 1020 , 200mm 10mm  EXT SHAFT",null,40]
[366,null,"Electrical","FAN","36880406 FAN GUARD W2E200 FAN ",40]
[367,null,"Electrical","SCR STACK 34","08881387 (B6C) 2 400 (2×625A)F45 SKKT330/18,SKKKE600/12,REV2",40]
[368,null,"Electrical","MODULE","SP116-5A 24V 5A BTU CONTROLLER",100]
[369,null,"Electrical","THERMOSTAT CONTROLLER","OW970 THERMOSTAT CONTROLLER 20-60DEG/C DIN RAIL MOUNT THER4",60]
[370,null,"Electrical","TRANSFORMER TXFR588","I PRIM=0.225A, +20% MAIN 1PH DW+ES,1950VA, 400/230V@8.47A",30]
[371,null,"Electrical","TRANSFORMER TXFR649","PRIM/DELTA, DdoY5 3PH DW+ES,74034VA, 400/33.3V",30]
[372,null,"Electrical","Module","SP454 Power Supply Unit",100]
[373,null,"Electrical","Module","SP455 DC 2 DC conveter",100]
[374,null,"Electrical","Module","SP456 IO CONTROLLER",100]
[375,null,"Electrical","Module","SP457 IO LED MUX",100]
[376,null,"Electrical","Module","SP458A ANALOGUE INPUT CARD (FAST)",100]
[377,null,"Electrical","Module","SP458B ANALOGUE INPUT CARD (SLOW)",100]
[378,null,"Electrical","Module","SP459 ANALOGUE ISOLATION AMPLIFIER",100]
[379,null,"Electrical","Module","SP460 MASTER CONTROL UNIT",100]
[380,null,"Electrical","Module","SP461 SCR FIRING CARD",100]
[381,null,"Electrical","Module","RS485 COMMUNICATION PORT",40]
[382,248214,"Electrical","Module","SP332 HIGH RIPPLE ALARM CARD",100]
[383,null,"Electrical","315VA 690V HIGH SPEED FUSE","Z300057C 6,9 URD 30  TTF0315",100]
[384,117886,"Electrical","FUSE CARTD 80LET","FUSE CARTD 80LET 80A 240 VAC FERRULE",100]
[385,579839,"Electrical","RCD SNUBBER CARD","MODULE:0416012395;RCD SNUBBER CARD",40]
[null,null,"Electrical","AC Incoming Circuit Breaker A","3P 20A",60]
["Total including delivery",null,"Electrical","Battery Isolator A","2P 160A",60]
[null,null,"Electrical","Load Isolator A","2P 125A",60]
[null,null,"Electrical","Charger Isolator A","2P 160A",40]
[null,null,"Electrical","Battery Charger A HMI display A","CCU",60]
[null,null,"Electrical","AC Incoming Circuit Breaker B","3P 20A",60]
[null,null,"Electrical","Battery Charger A HMI display B","CCU",60]
[null,599526,"Electrical","fuse","Fuse - Control (4A) 500V [10 x 38mm] GLASS",120]
[null,643646,"Electrical","fuse","Fuse - Charger thyristor stack GSB (75A) 660V ",120]
[null,"0000669503","Electrical","fuse","Fuse - Stack fans (2A) 500V [10 x 38mm] GLASS",120]
[null,643550,"Electrical","fuse","Fuse - Load fuse (100A) 22 x 58  + striker pin   422200 (Ferraz)",120]
[null,643557,"Electrical","fuse","Fuse - Charger fuse (160A) DIN NH/00  381075",120]
[null,643551,"Electrical","fuse","Fuse - Dropping diode (6A) 500V 120kA [10 x 38mm]",120]
[null,643562,"Electrical","fan","Fans - Thyristor stack",100]
[null,643561,"Electrical","fan","Fans - Dropping Diodes",100]
[null,643558,"Electrical","fan","Fan - Cubicle FK7726.230V AC  1610CuM/hr",100]
[null,615072,"Electrical","lighting arrestor","AC Surge - Lightning arrestor- LP1-65 65kA 280V 25nS",40]
[null,"0580241","Electrical","lighting arrestor","AC surge - BR6 3 phase - 400V - 25KA",60]
[null,580242,"Electrical","dc  surge protection","DC surge protection -  BR5 ",60]
[null,251984,"Electrical","Bridge Rectifier","Bridge rectifier- KBPC25-10",40]
[null,643810,"Electrical","Relay","REL002M 24V DC FINDER RELAY 60.12",60]
[null,660284,"Electrical","Relay","REL006M 24V DC FINDER RELAY 60.13",60]
[null,641872,"Electrical","contactor","CONTACTOR RELAY COIL SW085 -24C  VDC  100A",60]
[null,608174,"Electrical","module","Card Static - Dropping diode control (3 STAGE)",100]
[null,59352,"Electrical","module","Card Static - fan power supply  (24V at 5A)",100]
[null,248718,"Electrical","module","Card Static - High ripple",100]
[null,608177,"Electrical","module","Card Static - Battery fail",100]
[null,608178,"Electrical","module","Card Static - 24V supply",100]
[null,608175,"Electrical","module","Card Static -  Auto Boost fail",100]
[null,608172,"Electrical","module","Card Static - Load low volts urgent",100]
[null,132754,"Electrical","module","Card - RS232/485 [Converter -  bi directional]",100]
[null,593526,"Electrical","module","Card - CCU (A1) + MEMORY",100]
[null,614623,"Electrical","module","A2 ISODRIVE TPC FIRING CARD",100]
[null,593031,"Electrical","module","Card - Front fascia & LCD (A310)",80]
[null,608167,"Electrical","module","Card - temperature probe ",60]
[null,643560,"Electrical","diode","SCR + Dropping diode - Stack-08881152 (B6C)2 400/(2 X 70A)/F45",60]
[null,643559,"Electrical","fan","Thermostat -Fan Controller",60]
[null,614752,"Electrical","module","Card - Relay (4 relays-potential free) (A5.1)",60]
[]
[null,"Total of prices"]