| 3A TEMPERATURE (Off site) |  |  |
| --- | --- | --- |
| EQUIPMENT: VARIOUS | SPECIFICATIONS |  |
| Major Tech Mt 625 Digital Thermometer +1 x type K Thermocouple | (-25°C, 0°C, 30°C) (price per point) |  |
| Fluke 52 K/J Digital Thermometer | (-25°C, 0°C, 30, 100°C, 250°C) (price per point) |  |
| Major Tech Mt665 Thermo Hygrometer + Probe | 25⁰C,30⁰C + 60% RH & 70% RH (price per point) |  |
| Digital Thermometer Quartz | 0°C,50°C, 100°C (price per point) |  |
| Certificate each |  |  |
| Labour/hour |  |  |
| Fetch and deliver cost |  |  |
| Any other cost |  |  |
| 3B ON SITE - Various |  |  |
| Cold room | 4°C (price per point) |  |
| Incubation room & incubators | 27°C (price per point) |  |
| Clima rooms/Culture room | 28°C 65%RH mapping (indicate # probes) |  |
| Ultra low freezers | -80°C (price per point) |  |
| Thermocyclers | 1 cycle @ 4 set points for 10min/ point |  |
| Autoclaves | Temp @121⁰C; Pressure, Time |  |
| Freezer | -20°C (price per point) |  |
| Certificate each |  |  |
| Travel /km |  |  |
| Labour/hour |  |  |
| Any other cost |  |  |
| 3C MASS (Off site) |  |  |
| EQUIPMENT | MASS PIECES AND WEIGHING BALANCES |  |
| Mass pieces (1g-1kg) (price/mass piece) | 1kg |  |
|  | 500g |  |
|  | 200g |  |
|  | 100g |  |
|  | 50g |  |
|  | 20g |  |
|  | 10g |  |
|  | 5g |  |
|  | 2g |  |
|  | 1g |  |
| Mass pieces (20mg- 500mg) (price/mass piece) | 20mg |  |
|  | 50mg |  |
|  | 100mg |  |
|  | 200mg |  |
|  | 500mg |  |
| Certificates |  |  |
| Labour/hour |  |  |
| Fetch and deliver mass pieces |  |  |
| Any other cost |  |  |
| 3D ON SITE- Balances |  |  |
| Balance : Top balance, 5 decimal, digital (Mettler; Precica; Yamato; ADAM; DIGI; Sartoruis; Chyo, RADWAG) | 0-250g |  |
|  | 250-500g |  |
|  | 500-1000g |  |
|  | 2000-5000g |  |
|  | 6000g |  |
|  | 34kg |  |
| Certificates |  |  |
| Travel /km |  |  |
| Labour/hour |  |  |
| Any other cost |  |  |
| 3E VOLUME (Off site) |  |  |
| EQUIPMENT: MICRO PIPETTES (Eppendorf, Labnet, BioPette Plus, Gilson, Smart) |  | SPECIFICATIONS |
| 0.2-2ul |  | 3 points across range |
| 0.4-2ul |  |  |
| 0.5-10ul |  |  |
| 1-10ul |  |  |
| 1-100ul |  |  |
| 10-100ul |  |  |
| 100-1000ul |  |  |
| 2-20ul |  |  |
| 20-200ul |  |  |
| 500-5000ul |  |  |
| Certificate each |  |  |
| Fetch and deliver |  |  |
| Labour/hour |  |  |
| Any other cost |  |  |