| To whom it may concern | Date | 24 March 2026 |
| --- | --- | --- |
|  | Enquiries | Samuel Sekese |
|  | E-mail address | sekeses@ntcsa.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E2638NTCSAMWP |
| --- | --- |
| Description / Project Title | Esselen 88 kV Emergence Bypass – Civil and Stringing & Cabling works.. |
| Tender Questions Closing Date | 05 April 2026 |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | Could you kindly confirm whether the below will be supplied by NTCSA? SUPPLY & DELIVERYOF EQUIPMENT. SCHEDULE 1. PRIMARY PLANT EQUIPMENT. 1; Supply & Delivery of 132kV bypass isolator; No; 1. 2; Supply & Delivery of 275kV bypass isolator; No; 1. 3; supply & Delivery of 132kV Post Insulator (c10-550,25mm/kv Top PCD=226,Bottom PCD=225); No; 9. 4; Supply & Delivery 132KV Post i=Insulator,c4-550 25mm/kv Top/Bottom PCD=225; No.; 15. 5; Supply & Delivery of 275kV Post Insulator; No; 12. 6; Supply & Delivery of 88KV Polymeric Longrod,120KN,25mm/KV; No; 57. | The attached (on the question section) will be supplied by the Supplier and need to also confirm the lead time. | 25/03/2026 |
|  | I hope this mail finds you well. We have noted that the sections under installation of clamps, conductors, and hardware in the BOQ document for the above-mentioned bid are locked, including the cover page. This is restricting our ability to complete the required inputs. Kindly assist by providing an unlocked version of the BOQ at your earliest convenience. Your prompt assistance in this regard will be highly appreciated to avoid any delays in progress. Regards, | BOQ has been unlocked | 07/04/2026 |