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YOU ARE HEREBY INVITED TO QUOTE 

CLOSING DATE:23/05/2024 	  		                                 CLOSING TIME: 14H00

Name of Company:  
Tel:  

RFQ Ref:


NOTE: SERVICE REQUESTED: REPAIR OF ASSESSMENT OF SECURITY TECHNOLOGY 
	
ITEM NO
	Specification
	QTY
	U. O. M

	1. 
	Repair Assessment of CCTV System, Electric Fence, Biometric Fingerprint system at Steelpoort Pump Station and CCTV system design for Steelpoort Residential site.

1.CTV System Fault Assessment

1.1.Inspect the existing CCTV system at the Steelpoort pump station
1.2. Provide a detailed report outlining the repairs needed and proposed solutions.

2. Biometric Fingerprint Device Fault assessment

2.1. Evaluate the Biometric fingerprint device for access control.
2.2. Present recommendations for repairs or replacements as necessary.

3. Electric Fence Fault Assessment

3.1. Conduct a comprehensive inspection of the electric fence surrounding the Steelpoort pump station.
3.2. Identify any faults or malfunctions affecting the fence's operation.

4. Residence CCTV System Design
4.1. Design a CCTV system for the residence.
4.2. Ensure comprehensive coverage of the premises to enhance security.
4.3. Include provisions for remote monitoring and recording capabilities.
4.4. Please include detailed cost estimates in all your reports


Requirements:


a. Valid PSIRA Compliance Certificate. (To be verified online)

b. ONE Traceable completed project in either CCTV repairs, CCTV Installation, Biometric fingerprint repair and installation Electric Fence repair and installation (attach appointment letter & provide project details on LNW reference form)

	1
	



Delivery Address: HEAD OFFICE No:01 Landros Mare Polokwane 0700 

Send quotations/proposals to fax:  086 617 2804

Or Email:  ernestm@lepelle.co.za Tel: 015 295 1853

Technical Enquiry: 

Conditions
· Price(s) quoted must be valid for at least 30 Days from date of your offer.
· Price(s) quoted must be firm and must be VAT inclusive. IF REGISTERED
· Price(s) quoted must include delivery charges and goods must be delivered to the address indicated.
· Delivery period must be indicated.
Suppliers should ensure that quotations are delivered timeously to the correct address. If the quotation is late, it will not be accepted for consideration.
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LEPELLE NORTHERN WATER

Water is our passion




