(“The DSI”)

TERMS OF REFERENCE

APPOINTMENT OF A SERVICE PROVIDER FOR THE MAINTENANCE OF THE FIRE EQUIPMENT AT THE DEPARTMENT OF SCIENCE AND INNOVATION (DSI) FOR SIX MONTHS

N.B.	:   By providing us with your Personal Information, you consent to the DSI processing your Personal Information, which the DSI undertakes to process strictly in accordance with the section 18 informed consent document.

1.	BACKGROUND

The Department has fire equipment that must be serviced to protect officials and property from injury or damage. The maintenance of the said equipment’s will ensure equipment to the Occupational Health with and Safety Act 85 of 1993.

2.	PURPOSE

The purpose of this request is to procure the services of the service provider who will be able to perform the work as per the specifications for a period of six months provider is expected to service the fire extinguishers at the DSI and the two entities National Advisory Council on Innovation (NACI) and National Intellectual Property Management (NIPMO). The two entities are located at The Innovation Hub, Mark Shuttleworth Street, Pretoria.

3.	SPECIFICATION

The appointed service provider will be expected to maintain the fire equipments as specified below:

3.1	SERVICE OF FIRE EQUIPMENTS

3.1.1. The service extinguishers shall be done in the specified areas as indicated below:

| AREA | 4.5KG DCP | 2KG CO² | 5KG CO² | 9KG DCP |
| --- | --- | --- | --- | --- |
| Basement | 13 | N/A | 5 | N/A |
| Parking lot | 7 | N/A | N/A | 1 |
| Ground floor | 17 | N/A | N/A | N/A |
| First floor | 16 | N/A | N/A | N/A |

| Second Floor | 18 | 4 | N/A | N/A |
| --- | --- | --- | --- | --- |
| Third floor | 18 | N/A | N/A | N/A |
| Auditorium STP Powder | 2 | N/A | N/A | N/A |
| NACI | 3 | N/A | N/A | N/A |
| NIPMO | 2 | N/A | N/A | N/A |
| TOTAL | 96 | 4 | 5 | 1 |

3.1.2		The inspection of the fire extinguishers shall be undertaken in accordance to SANS 10105 Part 1, SANS 1475, SANS 1910 and SANS 1567.

3.1.3		The bidder is requested to note that the service of fire extinguishers is due next year, however the bidder is requested to include the service on the quotation.

3.1.3	Service of the fire extinguishers will include:

3.1.3.1	Empty the portable fire extinguisher if necessary;

3.1.3.2	Verify and check pressure indicating devices;

3.1.3.3	Refill the fire extinguishers if necessary;

3.1.3.3	Affix the service label;

3.1.3.4	Check if seals have been broken and repair/ replace if necessary;

3.1.3.5	Check if the extinguisher show signs of leakage; and

3.1.3.6 The hydrostatic testing of CO² and DCP must be undertaken. The Department of Labour approved hydrostatic Labour-approved must be availed to the department.

3.2	Fire Horse Reels

3.2.1.1 The Department of Science and Technology has 36 fire horse reels which must be serviced annually as specified below:

3.2.1.2 Check the horse reel mounting bolts for corrosion and physical damage, check whether the frame is mounted in a secure manner and whethesecurelys freely;

3.2.1.3 Check operation of hose nozzle and repair/replace if necessary;

3.2.1.4 Check the condition of the hose reel frame, if not in good condition, repair/replace f necessary;

3.2.1.5 While hose is under pressure, check for leaks;

3.2.1.6 Ensure that waterway of the hose reel and the horse reel hose can stand a test pressure of 2 000kpa for 3 minutes; and

3.2.1.7 Affix the service label.

3.2.1.8 The bidder is requested to note that the service of fire extinguishers is due next year, however the bidder is requested to include the service on the quotation.

3.3	Fire Hydrant

3.3.3.1	The Department of Science and Innovation has 23 fire hydrants which must be serviced annually as specified

3.3.3.2	Open hydrant and allow water pressure to be release;

3.3.3.3	Check released washer sealing at normal hand tension;

3.3.3.4	Check gland for leaks and attend to leakages if necessary;

3.3.3.5	Check that the hose clip is in correct working order;

3.3.3.5	Affix the service label.

3.3.3.6	The service provider shall notify the project owner of any defects that must be repaired, and approval must be obtained before commencing with such work.

3.3.3.7 In a case of fire extinguishers being used before the service, the Department of Science and Technology shall notify the service provider of fire extinguishers that needs to be refilled.

3.3.3.8	Pressure tests all fire extinguishers and supply test certificates as per

OHS Act 85 of 1997 and recorded in the fire register.

3.3.3.9	Provide a service report after the service.

3.3.3.10 The bidder is requested to note that the service of fire extinguishers is due next year, however the bidder is requested, to include the service on the quotation.

3.4	Quarterly Preventative Maintenance

3.4.1	Public Address System

3.4.1.1 The servicing of the Public Address System shall be done on a quarterly basis and ensure that all speakers in all floors are audible;

3.4.1.2 Connect loose cables and ensure everything works effectively.

3.4.1.3 Check audio levels and make sure that it is within the acceptable limits;

3.4.1.4 Check microphone pop caps and clean/replace if necessary.

3.4.2  Gas Suppression System

3.4.2.1 The department has four gas suppression system:

| QUANTITY | systems |
| --- | --- |
| 4 | 40KG NAFS 125 |
| 4 | 84.5KG FM 200 |

3.4.2.2  The servicing of gas suppression system the  (Ziton) shall be done on a quarterly basis

3.4.2.3 Check the cylinders and refill if necessary;

3.4.2.4 Check the mounting;

3.4.2.5 Check the condition of the manifold;

3.4.2.6 Check gauges;

3.4.2.7 Check gas control unit and supply the key if necessary;

3.4.2.8 Check actuation;

3.4.2.9 Check and replace the discharge nozzle if necessary; and

3.4.3	Fire Panel and Smoke detectors

3.4.3.1 The servicing of the fire panel shall be done quarterly as follows:

3.4.3..1 Check if the fire brigades links are provided;

3.4.3..2 if the alarm is audible and ensure that everything that is connected  is working effectively;

3.4.3..3	Check if the lifts are homing;

3.4.3..4	Check if ventilation interface is provided;

3.4.3..5	Check that battery connections are clean, tight and make contact;

3.4.3..6	Check all manual that all manual alarm system break glass units are in good order and that there is sing or broken. Replace where needed and record on Service report;

3.4.3..7	Check the functionality of fire control panel;

3.4.3..8	Measure battery voltage and note abnormalities;

3.4.4	Remrad System

3.4.4.1	The service shall be done quarterly as follows:

3.4.4.2	Quarterly preventative maintenance inspection visits;

3.4.4.3	24 hour base station support

3.4.4.4	24 hour system 24-hours

ONCE OFF

3.4.4.5	Recommissioning (will be effective from November 2023, however the bidder is requested to quote). The successful bidder to check with the project owner on the current status.

3.4.4.6	Radio license fee will be effective from November 2023. The licence should be for a period of twelve months.,

3.4.5	Fire Service Log Book

3.4.5.1	Once off service logbook which shall be kept at the DSI premises.

3.4.6	Defects

3.4.6.1		The service provider shall notify the project owner of any defects that must be repaired and approval must be obtained before commencing such work.

4.	STATUTORY REQUIREMENTS

4.1	The service provider must comply with the Occupational Health and Safety

Act 85 of 1993.

4.2	The Compensation of Occupational Injuries and Diseases Act 130 of 1993.

4.3	SANS 10105-1 the use and control of firefighting equipment.

5.	EQUIPMENT FOR THE SERVICE PROVIDER

5.1	Registered with the Fire Detection Installers Association and any other relevant Association (proof to be attached), National Occupational Safety Association (NOSA) etc.

5.2	A valid Letter of Good Standing.

6.	PRICING SCHEDULE

6.1	The service provider shall be expected to provide a quotation based on the table below :-

Table 1:

| FIRE EQUIPMENT | QUANTITY | EQUIPMENT INTERVAL | Unit price | Total Price |
| --- | --- | --- | --- | --- |
| Public Address |  | Quarterly |  |  |
| Fire panel and smoke detectors |  | Quarterly |  |  |
| Gas suppression 40kg | 4 | Quarterly |  |  |
| Gas suppression 84.5kg | 4 | Quarterly |  |  |
| Fire extinguisher | 105 | Annually |  |  |
| 9kg DCP fire extinguisher | 1 | Annually |  |  |
| Fire hydrant | 23 | Annually |  |  |
| Fire horse reel | 36 | Annually |  |  |
| Remrad system |  | Read |  |  |
| Recommissioning |  | Once off |  |  |
| Radio license fee |  | Once off |  |  |
| Fire service log book |  | Once off |  |  |
| TOTAL AMOUNT |  |  |  |  |

6.2	PRESSURE TEST/ REFILLING OF PRESSURE EXTINGUISHERS/GAS SUPPRESSION SYSTEMS

6.2.1	The pressure testing of the fire equipment shall be done equipment in a need arises and approval must be sought from the DSI project owner.

6.2.2	The costs for pressure testing/refilling of fire extinguishers/gas suppression systems shall be based on the unit costs as the need cannot be determined at this stage:

Table 2: For as and when a need arises requests.

| DESCRIPTION | UNIT COST |
| --- | --- |
| Pressure test of fire extinguishers |  |
| Pressure test of gas suppression systems |  |
| Pressure test collars |  |
| Internal inspection |  |
| Overhaul of head assembly |  |
| Nitrogen gas per unit |  |
| Co2 gas per unit per KG |  |
| 40% powder ABC per KG |  |
| HTP testing |  |
| Refill of fire extinguishers |  |
| TOTAL AMOUNT |  |

6.2.3	All prices quoted prices must include VAT and with specific tasks to be undertaken.

6.2.4	The Service provider shall be required to provide the services after hours for disruptive services such as the PA and Fire panel.  The servicing of fire extinguishers will be done during working hours.

7.	EVALUATION OF PROPOSALS

7.1.	The evaluation process will comprise of the following phases:

a)  Screening for Compliance;

b)  Functional Evaluation; and

c)  Price and Specific Goals Evaluation.

7.2.	Screening for Compliance

During this phase, a short list will be established, and the shortlisted service providers will be evaluated further. Service providers must meet all the below requirements to proceed further to functional evaluation; failure to submit the following will result in disqualification:

a.   Proof of registration to the Central Supplier Database (CSD) held by

National Treasury.

b.	Compliant tax matters as per CSD or SARS e-filling. c.	Completed and signed SBD 1, SBD 4 and SBD 6.1.

d.	Submit a certified B-BBEE certificate or Sworn Affidavit, failure to submit will not invalid your proposal.

e.	Latest  Company  registration  documents  (CIPC)  with  detailed particulars of ownership, failure to submit will not invalid your proposal but will score 0 points for strategic goals.

f.	A bid that fails to meet any pre-qualifying criteria, specifications/scope of work, terms and conditions stipulated in the tender documents is an unacceptable tender and will be disqualified.

g.	Detailed  company  profile,  which  clearly  spells  out  the  relevant experience, knowledge and accreditation of the company as well as directorship.

h.	Attach  proven  experience  by  providing  a  list  of  current  and  past contracts which are relevant to the required service in the bid specifications, according to the template in Part A:  Client Base.  Only the relevant experience shall be considered for bid evaluation purposes. Reference screening will be undertaken to confirm the validity of referees provided.

N.B.	:   By providing us with your Personal Information, you consent to the DSI processing your Personal Information, which the DSI undertakes to process strictly in accordance with the section 18 informed consent document.

7.3.	Functionality Evaluation

a)	Service providers’ responses will be evaluated for functionality in this stage, based on achieving a minimum score of sixty percent (50%).

b)	The  DSI  panel  members  will  individually  evaluate  the  responses received against the following criteria as set out below:

| FUNCTIONALITY EVALUATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Rating: 1 = Poor 2 = Average 3 = Good 4 = Very good 5 = Excellent |  |  |  |  |  |  |
| CRITERIA |  |  |  |  |  | WEIGHTS |
| 1. Experience and Expertise: Bidders must submit a company profile, which clearly spells out the experience and knowledge of the company in the fire equipment maintenance industry as well as directorship. Number of years of experience in fire equipment maintenance industry shall be evaluated using the following values: in the using the following values:- |  |  |  |  |  | 30 |
|  | 1 -2 years | 3-4 years | 5-6 years | 7-8 years | 9 and above |  |
|  | 1 | 2 | 3 | 4 | 5 |  |
| 2. Current and Previous Projects Bidders must also submit a list of references for current and previous projects, which much cater for the following: institution where the project is/was undertaken (ii) duration of the project and service rendered, (iii) contact person, (iv) his/her contact details (e-mail, telephone, address) |  |  |  |  |  | 30 |
|  | 1 contract | 2 contract | 3 contract | 4 contract | 5 contract |  |
|  | 1 | 2 | 3 | 4 | 5 |  |
| 3. Staff Capacity Organogram detailing the roles and responsibilities of each team member as well as Cv’s; qualifications and experience in fire equipment maintenance industry-values shall be allocated as follows:- |  |  |  |  |  | 30 |
|  | 1 -2 years | 3-4 years | 5-6 years | 7-8 years | 9 and above |  |
|  | 1 | 2 | 3 | 4 | 5 |  |
| 4. Methodology should not be limited to the: |  |  |  |  |  |  |

| CRITERIA |  |  |  |  |  | WEIGHTS |
| --- | --- | --- | --- | --- | --- | --- |
| a. Service provider understanding of the project requirements b. Fire service/equipment management plan c. Personal Protective Equipment; d. Company Environmental Management Policy e. Company OHS policy |  |  |  |  |  | 10 |
|  | Poor | Average | Satifactorly | Good | Excellent |  |
|  | 1 | 2 | 3 | 4 | 5 |  |
| TOTAL SCORE |  |  |  |  |  | 100 |
| MINIMUM THRESHOLD SCORE |  |  |  |  |  | 50 |

c)  Service Providers must take note that any proposal not meeting a minimum score of 50 percent on functional proposal will be disqualified and will not be considered for the next Phase.

d)	The following rating values for evaluation will be used:

i. Each panel member will rate each individual criterion on the score sheets as indicated for each phase, using the following scale:

| Value | Description |
| --- | --- |
| 5 – Excellent | Exceeds the functionality requirements |
| 4 – Very Good | Above average compliance to the requirements |
| 3 – Good | Satisfactory and meets the requirements |
| 2 – Average | Partial compliance to the requirements |
| 1 – Poor | Unacceptable, does not meet set criteria |

ii. The  value  scored  for  each  criterion  will  be  multiplied  with  the specified weighting for the relevant criterion to obtain the marks scored for each criterion. These marks will be added and expressed as a fraction of the best possible score for all criteria.

iii. The scores will be converted to a percentage and ONLY service providers that have met or exceeded the minimum threshold for a phase will be evaluated in terms of the next phase.

iv. Service  providers  must,  as  part  of  their  bid  documents,  submit supporting documentation for all technical requirements. The panel responsible for scoring the respective bids will evaluate and score all bids based on their submissions and the information provided.

v. Service providers will not rate themselves but need to ensure that all information is supplied as required. The DSI panel members will evaluate and score all responsive bids and will verify all documents submitted by the service providers.

7.4.	Price and Specific Goals Evaluation

Price inclusive of VAT will be evaluated as indicated below.

a)	In terms of regulation 4 of the Preferential Procurement Regulations,

2022 pertaining to the Preferential Procurement Policy Framework Act, 2000 (Act 5 of 2000), responsive bids will be adjudicated by the DSI on the 80/20 preference point system in terms of which points are awarded to service providers on the basis of:

-   The bid price (maximum 80 points)

-   Specific Goals mentioned below in Table1 (maximum 20 points)

Service providers can only claim specific goal credentials, by providing a detailed company ownership certificate.

b)	The following formula will be used to calculate the points for price in respect  of  service  providers  with  a  rand  value  equal  to  or  above

R30 000.00 up to R50 000 000.00:



Ps = 80 1 

Pt  P min 



	P min	

Where

Ps = Points scored for price of tender under consideration; Pt = Price of tender under consideration;

Pmin = Price of lowest acceptable tender.

c)   A maximum of 20 points will be awarded to a tenderer for the specific goal (at least 51% ownership) specified for the tender, as per the table below:

Table 1 – Specific goals

| The specific goals allocated points in terms of this tender: | Number of points allocated (80/20 system) |
| --- | --- |
| EMEs and QSEs | 15 |
| Companies owned by black people | 5 |
| Companies owned by women |  |
| Companies owned by youth |  |
| Companies owned by people with disabilities |  |

i.  A bidder must submit proof of its Specific goals’ status.

ii.  Bidder to claim points if their specific goal(s) ownership is at least

51 %.

iii.  A bidder failing to submit proof of Specific goals’ status or failing to meet the Specific goals, may not be disqualified, but (a) may only score points out of 80 for price; and (b) score 0 points out of 20 for Specific goals.

iv.  The points scored by a bidder for Specific goals in accordance with the preceding paragraphs 6.4(c) must be added to the points scored for price under paragraph 6.4(b).

v.  The points scored must be rounded off to the nearest two decimal places.

vi.  If the price offered by a tenderer scoring the highest points is not market-related, the Department may not award the bid to that tenderer.

➢	The Department may negotiate a market-related price with the

tenderer scoring the highest points or cancel the tender.

➢	If the tenderer does not agree to a market-related price, the Department may negotiate a market-related price with the tenderer scoring the second highest points or cancel the tender.

➢	If the tenderer scoring the second highest points does not agree

to a market-related price, the Department may negotiate a market-related price with the tenderer scoring the third highest points or cancel the tender.

➢	If a market-related price is not agreed in all the aforementioned

respects, the Department must cancel the tender.

vii.  In the event that two or more tenderers score an equal total number of points, the contract must be awarded to the tenderer that scored the highest points for specific goals. (2) If two or more tenderers score equal total points in all respects, the award must be decided by the drawing of lots.

viii.  A contract may, on reasonable and justifiable grounds, be awarded to a bid that did not score the highest number of points.

NB: All costs that the service provider may incur due to the preparation of the project for the DSI shall be the sole responsibility of the service provider.

8.	AWARDING OF THE BID

8.1.	The successful service provider will work in close collaboration with the DSI team so as to ensure that the objectives of the Department are accommodated.

8.2.	The successful service provider will be required to enter into a formal contract with DSI for a period of 6 months.

9.	SITE VIEWING

9.1	Site viewing will be carried out on an appointment basis.  The appointment should be scheduled a day prior before 15:00 Monday to Friday. An email to be sent to Nombulelo.Dlalisa@dst.gov.za and copying the Supplier Chain Practitioner who sourced the quotation.

10.	SUBMISSION OF PROPOSALS

10.1	The closing date for submission of proposals is 5 September 2023 at 11:00.

10.2	The proposals should be sent to the relevant SCM Practitioner who sourced quotations using the details provided through the email used to the source. Deliveries can be made at reception in the tender box at the DSI building.

Site viewing will be  arrangement Nombulelo 0764805067

11.	CONTACT PERSONS

Technical Enquiries can be directed to: Nombulelo Dlalisa

Nombulelo.Dlalisa@dst.gov.za

(012) 843 6687 /0764805067

PART A-CLIENT BASE

| Name of client / organization where contract is being executed/was executed |  | Description of Contract Services | Physical Address of the Client/ organization | Contact persons and telephone numbers of your client | Contract period (indicate start and end dates) e.g. 1 April 2012 to 31 March 2015 | Is the contract Current or Past? (please indicate accordingly) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |

NB: DSI reserves the right to verify the contents of this list directly with the service providers’

clients and also conduct site inspections.