Erection and Installation of Electrical and Auxiliary Power and C&I Trunk Cable for Unit 2 to Unit 6 and Common Plant  (Including the Non Lethal Electric Fence and High Mast Lights) for the Kusile Power Station - Package 20A. On the basis of as and when required :

Functionality Threshold Evaluation (Technical) = 70%

- Evaluate submission against functionality criteria

- Rate submission against each criteria

- Apply the penalty system and calculate total functionality score

- Eliminate if supplier is below minimum qualifying threshold of 70%

|  | Criteria | Weighting | Score |
| --- | --- | --- | --- |
| 1 | Company method statements per activity are to be in line with Eskom Standard 240-227443 Requirements for Control and Power Cables for Power Stations and applicable SANS codes. | 100 % |  |
| 1.1 | - Cable Termination LV CABLE =5% - Cable Termination MV CABLE 5=% - Cable terminations (C&I) 5=% - Installing MV Cables =5% - Installing LV Cables =5% - Installing C&I Cables=5% - Installing Fibre Optic Cables=5% - Install Cables Racks/Raceways Power and C&I =4% - Switchgear Installation =4% - LV Cable Integrity Testing =4% - MV Cable Integrity Testing =4% - C&I Cable Testing =4% - VLF Testing MV Cable =4% - Core Drill =4% - Fire Sealing =4% - Earthing installation =4% - Cable Trench Excavations =4% - Installation of Light fixtures =4% - Installation of DB`s, Welding Sockets and Reduction Boxes =5% - Splicing of Fibre Optic =5% - Jointing of MV Single core cables =5% - Installation of High Mast Lights – excavation of the plinth, concrete works, erection of the high mast poles and lighting = 5% - Installation of non-lethal security fencing = 1% - Documents submitted must be of quality, and reflect core skills of executing the work - No submission of method statements per activity=0%. Submission not relevant to criteria =0% |  |  |