ARC PHP Mycology maintenance list with specifications.

| Scales | Manufacturer and model | Serial number | Supplier | Service required |
| --- | --- | --- | --- | --- |
| 1 | Mettle Scale: PE3600_Max 3600g | Mettler-PJ360, SN: 106828 | United Scientific | Service and calibration |  |
| 2 | RADWAG AS-220-R2, Max 220g | SN:557696 | United Scientific | Service and calibration |  |
| Autoclaves | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Sturdy-S.A -300VL Autoclave | 131119011-002 | United Scientific | Repair |  |
| 2 | Hiriyama autoclave: HV-50 | 30317062241 | labotec | Repair |  |
| 3 | ALP CL-32l lasec autoclave | 810202-2324-4 | Lasec | Service and calibration |  |
| 4 | ALP CL-32l lasec autoclave | 810241-23269 | Lasec | Service and calibration |  |
| Centrifuges | Lab equipment name and model | Serial number | Supplier | Service required |  |
| 1 | Hermle Z233M-2 | 51120082 | Lasec | Service and calibration |  |
| 2 | Beckman Coulter-22R centrifuge | MHD05A014 | Beckman Coulter | Repair |  |
| 3 | Orto Alresa Cold start Centrifuge | Buicen-22R |  | Service and calibration |  |
| Laminars | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Class II Biological safety cabinet, 6ft-Vividair | VA1529 | VividAir | Service and Validation |  |
| 2 | Laminar flow cabinet, 6ft | VA2754 | VividAir | Service and Validation- Repair of filters and fan |  |
| 3 | Laminar flow cabinet, 2ft, Fibatron | 3540 | VividAir | Service and Validation |  |
| 4 | Laminar Flow Cabinet, Heal Force OptiClean-I300 | OC170075 | Lasec | Service and Validation |  |
| 5 | Fume hood cabinet, 4ft | Unknown | Lasec | Service and Validation |  |
| Water Distiller | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Elga Micra; Model:Micxxxxxm1 Labotec | SN: MIC00002194 | Labotec Sole supplier | Service and filter change |  |
|  |  |  |  | Calibration |  |
| Orbital Shaker | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Orbital Shaker, Labcon, SPO-MP89 WPFSS | S/N L21973 | Labotec or Lasec | service |  |
| Spectrophotometer | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Spectrophotometer, Jenway-7315 | S/N 55806 | Lasec | Service and calibration |  |
| pH meter | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | pH meter, Eutech | 1279572 | United Scientific | Service and calibration |  |
| Ultra low freezer (-80) | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Snijners labs, Evosafe-series,Thermo scientific, Ultra low Freezer-86 | HF570-86. | United Scientific | Repair |  |
| 2 | Model 712,Labotech , Ultra low Freezer-86 | S/N-804761 | United Scientific | Service and calibration |  |
| 3 | Forma 86 ,Thermo scientific , Ultra low Freezer-86 | S/N: 813549219 | United Scientific | Service and calibration |  |
| 4 | Forma 8600 Series, Model 8708,Thermo scientific, Ultra low Freezer-86 | S/N-832248 | United Scientific | Service and calibration |  |
| 5 | Forma 820 CV ,Thermo scientific | S/N:300234502 | United Scientific | Service and calibration |  |
| 6 | Haider Biomedical | SN:BEOH1JE1T00QGPBS00 | Unknown | Service and calibration |  |
| 7 | Haider Biomedical | SN:BEOH1JE1T00QGPBS0029 | Unknown | Service and calibration |  |
| 8 | Haider Biomedical | SN:BEOH1JE1T00GQPBS0026 | Unknown | Service and calibration |  |
| 9 | Cryomed | SN:300574579 | Unknown | Service and calibration |  |
|  |  |  |  | Service and calibration |  |
| Thermo cycler | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Thermo cycler-Aeris, ESCO-6.5 | S/N AerisBLC01104-12 | Lasec | Service and calibration |  |
| 2 | Bio-Rad PCR thermal cycler, T100 | 621BR72462 | Lasec | Service and calibration |  |
| 3 | Thermal cycler, Biometra Tone, Analytic Jena | LAB000025614 |  | Service and calibration |  |
| 4 | Thermo cycler-A&B Applied Biosystematics, Gene Amp-PCR System-9700 | S/N80553090533 |  | Service and calibration |  |
| UV/VIS Transluminator | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | UV/VIS Transluminator-Syngene, Ingenius 3 | S/N 17310620 | Diase | Service |  |