ARC PHP Mycology maintenance list with specifications.
	Scales
	Manufacturer and model
	Serial number 
	Supplier
	Service required

	
	
	
	
	
	

	1
	Mettle Scale: PE3600_Max 3600g
	Mettler-PJ360, SN: 106828
	United Scientific
	Service and calibration
	

	2
	RADWAG AS-220-R2, Max 220g
	SN:557696
	United Scientific
	Service and calibration
	

	
	
	
	
	
	

	Autoclaves
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Sturdy-S.A -300VL
Autoclave
	131119011-002
	United Scientific
	Repair
	

	2
	Hiriyama autoclave: HV-50 
	30317062241
	labotec
	Repair
	

	3
	ALP CL-32l lasec autoclave
	810202-2324-4
	Lasec
	Service and calibration
	

	4
	ALP CL-32l lasec autoclave
	810241-23269
	Lasec
	Service and calibration
	

	
	
	
	
	
	

	Centrifuges
	Lab equipment name and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Hermle Z233M-2 
	51120082
	Lasec
	Service and calibration
	

	2
	Beckman Coulter-22R centrifuge
	MHD05A014
	Beckman Coulter
	Repair
	

	3
	Orto Alresa Cold start Centrifuge
	Buicen-22R
	
	Service and calibration
	

	
	
	
	
	
	

	Laminars
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Class II Biological safety cabinet, 6ft-Vividair
	VA1529
	VividAir
	Service and Validation
	

	2
	Laminar flow cabinet, 6ft
	VA2754
	VividAir
	Service and Validation- Repair of filters and fan
	

	3
	Laminar flow cabinet, 2ft, Fibatron
	3540
	VividAir
	Service and Validation
	

	4
	Laminar Flow Cabinet, Heal Force OptiClean-I300
	OC170075
	Lasec
	Service and Validation
	

	5
	Fume hood cabinet, 4ft
	Unknown
	Lasec
	Service and Validation
	

	
	
	
	
	
	

	
	
	
	
	
	

	Water Distiller
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Elga Micra; Model:Micxxxxxm1 Labotec
	SN: MIC00002194
	Labotec
Sole supplier
	Service and filter change
	

	
	
	
	
	Calibration
	

	Orbital Shaker
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	Orbital Shaker, Labcon, SPO-MP89 WPFSS
	S/N L21973
	Labotec or Lasec
	service
	

	
	
	
	
	
	

	Spectrophotometer
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	Spectrophotometer, Jenway-7315
	S/N 55806
	Lasec
	Service and calibration
	

	
	
	
	
	
	

	pH meter
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	pH meter, Eutech
	1279572
	United Scientific
	Service and calibration
	

	 
	 
	 
	 
	
	

	Ultra low freezer (-80)
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	Snijners labs, Evosafe-series,Thermo scientific, Ultra low Freezer-86
	HF570-86.
	United Scientific
	Repair
	

	2
	Model 712,Labotech , Ultra low Freezer-86
	S/N-804761
	United Scientific
	Service and calibration
	

	
	
	
	
	
	

	3
	Forma 86 ,Thermo scientific , Ultra low Freezer-86
	S/N: 813549219
	United Scientific
	Service and calibration
	

	4
	Forma 8600 Series, Model 8708,Thermo scientific, Ultra low Freezer-86
	S/N-832248
	United Scientific
	Service and calibration
	

	5
	Forma 820 CV ,Thermo scientific
	S/N:300234502
	United Scientific
	Service and calibration
	

	6
	Haider Biomedical
	SN:BEOH1JE1T00QGPBS00
	Unknown
	Service and calibration
	

	7
	Haider Biomedical
	SN:BEOH1JE1T00QGPBS0029
	Unknown
	Service and calibration
	

	8
	Haider Biomedical
	SN:BEOH1JE1T00GQPBS0026
	Unknown
	Service and calibration
	

	9
	Cryomed
	SN:300574579
	Unknown
	Service and calibration
	

	
	
	
	
	Service and calibration
	

	Thermo cycler
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	Thermo cycler-Aeris, ESCO-6.5
	S/N AerisBLC01104-12
	Lasec
	Service and calibration
	

	2
	Bio-Rad PCR thermal cycler, T100
	621BR72462
	Lasec
	Service and calibration
	

	3
	Thermal cycler, Biometra Tone, Analytic Jena
	LAB000025614

	
	Service and calibration
	

	4
	Thermo cycler-A&B Applied Biosystematics, Gene Amp-PCR System-9700
	S/N80553090533
	
	Service and calibration
	

	
	
	
	
	
	

	UV/VIS Transluminator
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	1
	UV/VIS Transluminator-Syngene, Ingenius 3
	S/N 17310620
	Diase
	Service
	

	
	
	
	
	
	



