| PART B RESPONSE SHEET IN TERMS OF A REQUEST FOR INFORMATION To be completed by the supplier |  |  |  |  |
| --- | --- | --- | --- | --- |
| To | Eskom Holdings SOC Ltd | Date |  | [insert today’s date] |
| Attention | [insert name of Procurement Practitioner as it appears in Part A] |  |  |  |
| Tel no | [insert your tel number] | Fax no and /or e-mail address | [insert your fax number and/or e-mail address] |  |
| From | [insert the registered full legal name of the company] | Address | [insert the business address of the company] |  |
| Address | insert the physical address of the company] |  |  |  |
| Sender | [insert the full name of the sender at the company] |  |  |  |
| Description of the works/goods/services | [insert a description of the works as per part A] |  |  |  |

Scope of work/supply

The scope of this RFI is as follows:

- To provide details of your national and/or internal footprint in terms of MW installed and commissioned.

- To provide details on what reductions (in %) is expected for NOx, SOx, particulate matter and carbon dioxide for your CFBC design.

- To provide details on whether the proposed plant have been subjected to failures, warranty claims, or previous defects followed by any corrective measures.

- To provide a sample calculation for estimated net present value (NPV) for your design implemented in South Africa indicating clearly capacity in MW, Tariff assumed in ZAR/kW-h, estimated coal price, capital cost multiplier etc.

| No. | Questions | Response |
| --- | --- | --- |
| 1 | Provide your experience in the design/construction/supply of CFBC plant. - Specify the number of years and to which sites, both in Africa and internationally, that your plant (and design) was supplied to. |  |
| 2 | Do you have experience specifically in the retrofitting of CFBC boilers to conventional pulverised coal units? If so, please state the following details · Name of power station installed. · Number of units retrofitted. · Unit capacity (MW) · Date of installation. · Commercial operation date (COD). · Operational performance data (including. efficiency). · Emission performance data (gaseous and particulates). · Typical guarantees and warrantees that would be offered for the equipment and systems supplied. |  |
| 3 | Do you provide operation and maintenance service for the first five years post COD of CFBC plant? It this service offered as long-term service agreement, and if so what is the approximate cost of this service? |  |
| 4 | Are you able to provide details around key operational issues in CFBC boiler (eg. Erosion, corrosion etc.) and how these issues are managed? Are there any specific issues on CFBC that affects the overall plant availability? |  |  |
| 5 | Do you have plant data showing a) reduction in SOx, NOx, particulate matter and carbon dioxide for your design? b) improvement in plant thermal efficiency post adoption of CFBC? If so, please share for Eskom’s review clearly indicating coal type used. |  |  |
| 6 | Are you able to share any financial analyses demonstrating the feasibility of CFBC for - Retrofit, and refurbishment of balance of plant? - Total replacement of pulverised fuel MW with CFBC MW (i.e. totally new plant)? |  |  |
| 7 | Please provide indicative costs for your CFBC design for retrofit (with refurbishment) and total pulverised coal for CFBC replacement in $/kW. |  |  |
| 8 | Please indicate a potential demonstration CFBC plant size related to your technology, as well as the turnkey costs, in $/kW, for installation of such a demonstration plant. |  |  |
| 9 | Which portions of your technology can be localised in South Africa? This is to allow to knowledge transfer and to allow for job creation. Please describe clearly how this will be achieved? |  |  |
| 10 | Are you willing to allow a site visit to any of the CFBC sites that you have constructed? For planning purposes, please provide a list of plant sites |  |  |
| 11 | Provide any other additional information in respect of the technology which you may deem necessary to bring to the attention of Eskom. |  |  |

Yours faithfully

| Name | Designation | Signature | Date |
| --- | --- | --- | --- |
| [insert your full name/s] | [Insert your full designation] |  |  |
| Telephone number |  | Fax and/or e-mail address |  |