REQUEST FOR QUOTATION (RFQ)

RFQ NUMBER: […10347260…………………]

REQUEST FOR QUOTATION (RFQ) FOR THE [Appointment of Contractor to Reinstate of 11kV AC lines between Muizenberg- Fish Hoek FOR THE PERIOD OF 12 MONTHS

SECTION 1

1: SBD1

PART A INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF PASSENGER RAIL AGENCY (PRASA) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | …10347260………….. |  |  | CLOSING DATE: | 11 APRIL 2024…………… |  |  | CLOSING TIME: |  |  | …12h00 |
| DESCRIPTION | REQUEST FOR QUOTATION (RFQ) FOR THE [Appointment of Contractor to Reinstate of 11kV AC lines between Muizenberg- Fish Hoek. |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS SHALL BE ADDRESSED AS FOLLOWS: |  |  |  |  |  |  |  |  |  |  |  |
| 1 ADDERLEY STREET METRORAIL SUPPLY CHAIN MANAGEMENT 6TH FLOOR, ROOM 622 PROPNET BUILDING CAPE TOWN Please note: All the Submission must be Manual Drop in the Tender Box or Hand delivery) |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO |  |  |  |  |  |  |  |  |  |  |  |
| CONTACT PERSON |  |  | Bonwell Booi |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  | (021) 837 7945 |  |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  | Bonwell.booi@prasa.com |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  | CODE |  |  | NUMBER |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  | CODE |  |  | NUMBER |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER COMPLIANCE STATUS |  |  | TAX COMPLIANCE SYSTEM PIN: |  |  | OR | CENTRAL SUPPLIER DATABASE No: |  |  | MAAA…………….. |  |
| - ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  |  | - ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  |  | Yes No [IF YES, ANSWER THE QUESTIONNAIRE BELOW] |  |  |
| QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS |  |  |  |  |  |  |  |  |  |  |  |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW. |  |  |  |  |  |  |  |  |  |  |  |

PART B: TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED – (NOT TO BE RE-TYPED) OR IN THE MANNER - PRESCRIBED IN THE BID DOCUMENT. - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. - NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”

NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID NVALID.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE:								…………………………………………...

NB:

- Quotation(s) must be addressed to PRASA before the closing date and time shown above.

- PRASA General Conditions of Purchase shall apply.

SECTION 2

NOTICE TO BIDDERS

# Responses to RFQ

Responses to this RFQ [Quotations] must not include documents or reference relating to any other quotation or proposal. Any additional conditions must be embodied in an accompanying letter.

Proposals must reach the PRASA before the closing hour on the date shown on SBD1 above, and must be enclosed in a sealed envelope.

# Communication

Respondent/s are warned that a response will be liable for disqualification should any attempt be made either directly or indirectly to canvass any SCM Officer(s) or PRASA employee in respect of this RFQ between the closing date and the date of the award of the business.

# BIDDERS COMPLAINTS PROCESS

# Bidders are advised utilize this email address (SCM.Complaints@prasa.co.za) for lodging of complains to PRASA in relation to this bid process. The following minimum information about the bidder must be included in the complaint:

    - Bid/Tender Description

    - Bid/Tender Reference Number

    - Closing date of Bid/Tender

    - Supplier Name;

    - Supplier Contact details

    - The detailed compliant

# Legal Compliance

The successful Respondent shall be in full and complete compliance with any and all applicable national and local laws and regulations.

# Changes to Quotations

Changes by the Respondent to its submission will not be considered after the closing date and time.

# Pricing

All prices must be quoted in South African Rand on a fixed price basis, including all applicable taxes.

# Binding Offer

Any Quotation furnished pursuant to this Request shall be deemed to be an offer. Any exceptions to this statement must be clearly and specifically indicated.

# Disclaimers

# PRASA is not committed to any course of action as a result of its issuance of this RFQ and/or its receipt of a Quotation in response to it. Please note that PRASA reserves the right to:

# Modify the RFQ’s goods / service(s) and request Respondents to re-bid on any changes;

# Reject any Quotation which does not conform to instructions and specifications which are detailed herein;

# Reject Quotations submitted after the stated submission deadline or at the incorrect venue ;

## Should a contract be awarded on the strength of information furnished by the Respondent, which after conclusion of the contract, is proved to have been incorrect, PRASA reserves the right to cancel the contract.

## PRASA reserves the right to award business to the highest scoring bidder/s unless objective criteria justify the award to another Respondent.

## Should the preferred fail to sign or commence with the contract within a reasonable period after being requested to do so, PRASA reserves the right to award the business to the next highest ranked Respondent provided that he/she is still prepared to provide the required goods at the quoted price.

# LEGAL REVIEW

Proposed contractual terms and conditions submitted by a Respondent will be subjected to review and acceptance or rejection by PRASA’s Legal Counsel, prior to consideration for an award of business.

# NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE

# Respondents are required to self-register on National Treasury’s Central Supplier Database (CSD) which has been established to centrally administer supplier information for all organs of state and facilitate the verification of certain key supplier information. PRASA is required to ensure that price quotations are

# invited and accepted from prospective bidders listed on the CSD. Business may not be awarded to a respondent who has failed to register on the CSD.  Only foreign suppliers with no local registered entity need not register on the CSD. The CSD can be accessed at https://secure.csd.gov.za/.

# PROTECTION OF PERSONAL DATA

In responding to this bid, PRASA acknowledges that it may obtain and have access to personal data of the Respondents. PRASA agrees that it shall only process the information disclosed by Respondents in their response to this bid for the purpose of evaluating and subsequent award of business and in accordance with any applicable law.

Furthermore, PRASA will not otherwise modify, amend or alter any personal data submitted by Respondents or disclose or permit the disclosure of any personal data to any Third Party without the prior written consent from the Respondents. Similarly, PRASA requires Respondents to process any personal information disclosed by PRASA in the bidding process in the same manner.

- EVALUATION METHODOLOGY

PRASA will utilise the following criteria [not necessarily in this order] in choosing a Supplier/Service Provider, if so required:

| EVALUATION CRITERIA | WEIGHTING |
| --- | --- |
| Stage 1 – Compliance |  |
| Stage 1A | Mandatory Requirements |
| Stage 1B | Other Mandatory Requirements |
| Stage 2 |  |
| Technical/Functional Requirements | Threshold of 70% |
| Stage 3 |  |
| Price | 80 |
| Specific Goals | 20 |
| TOTAL | 100 |

- ADMINISTRATIVE RESPONSIVENESS

The test for administrative responsiveness will include completeness of response and whether all returnable and/or required documents, certificates; verify completeness of warranties and other bid requirements and formalities have been complied with. Incomplete Bids will be disqualified.

- Validity Period

  - PRASA requires a validity period of ……………60……………. Working Days from the closing date.

  - Respondents are to note that they may be requested to extend the validity period of their response, on the same terms and conditions, if the internal processes are not finalized within the validity period.   However, once the delegated authority has approved the process the validity of the successful respondent(s)’ bid will be deemed to remain valid until finalization of the of award.),

- PUBLICATION OF INFORMATION ON THE National Treasury e-tender portal

# Respondents are to note that, bid awards, amendments and cancellations will be published on the e-tender portal and or media used to advertise the bid. For the award of business, PRASA is required to publish the prices and preferences claimed of the successful and unsuccessful Respondents inter alia on the National Treasury e-Tender Publication Portal, (www.etenders.gov.za), on CIDB website for construction related RFQ’s. (Where applicable).

- Returnable Documents

Returnable Documents means all the documents, Sections and Annexures, as listed in the tables below. There are three types of returnable documents as indicated below and Respondents are urged to ensure that these documents are returned with the quotation based on the consequences of non-submission as indicated below:

# 15.1. Mandatory Returnable Documents

Failure to provide Mandatory Returnable Documents at the Closing Date and time of this RFQ will result in a Respondent’s disqualification. Respondents are therefore urged to ensure that all documents are returned with their Quotations.

SECTION 3

- EVALUATION CRITERIA:

Bidders are to comply with the following requirements and failure to comply may lead to disqualification.

Stage 1A – Mandatory Requirements

If you do not submit/meet the following mandatory documents/requirements, you will be automatically disqualified.

Only bidders who comply with stage 1A will be evaluated further.

| No. | Description of requirement |  |
| --- | --- | --- |
| a) | Completion of ALL RFQ documentation (includes ALL declarations) | Applicable |
| b) | Briefing Session Form D. Bidders must also reflect on the Compulsory Briefing Session Attendance Register (Delete if not applicable) | Applicable |
| c) | Joint Venture , Consortium Agreement or Partnering Agreement signed by all parties. The agreement should indicate the leading bidder where applicable. (Delete if not applicable) |  |
| d) | Proof of CIDB grading …3 EP…. or higher | Applicable |

Stage 1B –Other Mandatory Requirements

If you do not submit/meet the following mandatory documents/requirements, PRASA may request the bidder to submit the information within five (5) working days. Should this information not be provided, your bid proposal will be disqualified.

Only bidders who comply with stage 1B will be evaluated further.

| No. | Description of requirement |  |
| --- | --- | --- |
| a) | Letter of Good Standing: COID. (Delete if not applicable) |  |
| b) | Supply of valid SARS Pin |  |
| c | CSD supplier registration number |  |
| (d) | - Project Manager Electrical Technician: National Diploma or higher Electrical Engineering (Heavy Current). - Artisan/Electrician Trade Test Certificate and N3 or Higher Qualification NB: Provide copies of original qualification and certificate. The copies must be certified by commissioner of oath. The date on the stamp shall be three months or less old, before the closing date of the tender. If the qualification has been awarded in other language either than English, please provide translation in English. |  |

  - Stage 2

Technical / Functionality Requirements

Scoring of Functionality:

The minimum threshold for the Technical/functionality criteria is 70% and bidders who score below this minimum will not be considered for further evaluation in terms of price and Specific Goals.

Details of the scoring methodology presented above are outlined below:

0 - Not submitted / Irrelevant, 10 - Poor; 20 - Average; 30- Good; 40-Very Good, 50- Excellent.

Details of the scoring methodology presented above are outlined below:

0 - Not submitted / Irrelevant, 10 - Poor; 20 - Average; 30- Good; 40-Very Good, 50- Excellent.

| CRITERIA | WEIGHT | SCORES |
| --- | --- | --- |
| - Experience of Key Personnel (based on Submitted CVs) Provide CVs of the key personnel staff detailing experience and knowledge related to Installation/Maintenance and testing of Medium Voltage or High voltage. Score of key personnel staff will be allocated according to the number of years in Installation/Maintenance and testing of Medium Voltage or High voltage. | 5 years’ experience or more. (Equates to a score of 50). Electrical Technician; 10. Artisan/Electrician; 40. 4 years’ experience or more but less than 5 (Equates to a score of 40). Electrical Technician; 8. Artisan/Electrician; 32. 3 years’ experience or more but less than 4 (Equates to a score of 30). Electrical Technician; 6. Artisan/Electrician; 24. 2 years’ experience or more but less than 3 (Equates to a score of 20). Electrical Technician; 4. Artisan/Electrician; 16. 1 year experience and less (Equates to a score of 10). Electrical Technician; 2. Artisan/Electrician; 8. No experience or No CVs submitted. (Equates to a score of 0). Electrical Technician; 0. Artisan/Electrician; 0. | 50 |
| - Organizational Experience The contractor/service provider must provide reference letters of previous experience in the form of completed project related Installation/Maintenance and testing of Medium Voltage or High Voltage. The evidence should come in the form of five (5) completed reference letters, where 1 reference letter equates to 1 project completed. The reference letter must be sent to the company/business where services were previously rendered for. Should the bidder be in possession of an existing letter, the letter shall cover all aspects outlined below: - Previous client and completed works/services information - Name of the organisation - Description of works/goods/services that were provided - Year - Duration - Evaluation of Service Provider’s Performance - Project completed within the stipulated timeframes and adhering to lead times. - Quality. The reference letter must be signed and stamped by the company/business where the services were previously rendered, as not complying with this requirement, bidders will automatically score zero points even though the letter contains other aspects outlined above. | 5 Reference Letters; 50. 4 Reference Letters; 40. 3 Reference Letters; 30. 2 Reference Letters; 20. 1 Reference Letter; 10. No Project or Reference Letter; 0. | 50 |

| QUALITY CRITERIA | INDICATORS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Not submitted / Irrelevant= 0 Points | Poor= 10 Points | Average 20 Points | Good 30 Points | Very good 40 Points | Excellent = 50 points |
| Experience of Key Personnel (based on submitted CVs) Provide CVs of the key personnel staff detailing experience and knowledge related to Installation/Maintenance and testing of Medium Voltage or High Voltage. Score of key personnel staff will be allocated according to the number of years in Installation/Maintenance and testing of Medium Voltage or High Voltage. | No experience or No CVs submitted. (Equates to a score of 0). | All key staff CV’s was submitted. Electrical Technician Artisan/Electrician 1 year experience and less (Equates to a score of 10). Range (1-10) | All key staff CV’s was submitted. Electrical Technician Artisan/Electrician 2 years’ experience or more but less than 3 (Equates to a score of 20). Range (11-20) | All key staff CV’s was submitted. Electrical Technician Artisan/Electrician 3 years’ experience or more but less than 4 (Equates to a score of 30). Range (21-30) | All key staff CV’s was submitted. Electrical Technician Artisan/Electrician 4 years’ experience or more but less than 5 (Equates to a score of 40). Range (31-40) | All key staff CV’s was submitted. Electrical Technician Artisan/Electrician 5 years’ experience or more. (Equates to a score of 50). Range (41-50) |

| QUALITY CRITERIA |  |  | INDICATORS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Not submitted / Irrelevant= 0 Points | Poor= 10 Points | Average20 Points | Good 30 Points | Very good 40 Points | Excellent = 50 points |
| Organizational Experience The contractor/service provider must provide reference letters of previous experience in the form of completed project related Installation/Maintenance and testing of Medium Voltage or High Voltage. The evidence should come in the form of five (5) completed reference letters, where 1 reference letter equates to 1 project completed. The reference letter must be sent to the company/business where services were previously rendered for. Should the bidder be in possession of an existing letter, the letter shall cover all aspects outlined below: - Previous client and completed works/services information i. Name of the organisation ii. Description of works/goods/services that were provided iii. Year iv. Duration - Evaluation of Service Provider’s Performance - Project completed within the stipulated timeframes and adhering to lead times. - Quality. The reference letter must be signed and stamped by the company/business where the services were previously rendered, as not complying with this requirement, bidders will automatically score zero points even though the letter contains other aspects outlined above. | No project completed with zero relevant reference letter equates to a score of 0 | One project completed with one relevant reference letter equates to a score of 10 Note: The reference letter must be signed and stamped by the company/business where the services were previously rendered and comply with the two listed criteria. If the reference letter reflects a negative report attributable to the Supplier, that reference letter will not be considered. If the reference letter does not feature all criteria, then the tenderer will be given the lowest score. | Two project successfully completed with two relevant reference letter equates to a score of 20. Note: The reference letter must be signed and stamped by the company/business where the services were previously rendered and comply with the two listed criteria. If the reference letter reflects a negative report attributable to the Supplier, that reference letter will not be considered. If the reference letters do not feature all criteria, then the tenderer will be given the lower score. | Three projects successfully completed with three relevant reference letters equates to a score of 30. Note: The reference letter must be signed and stamped by the company/business where the services were previously rendered and comply with the two listed criteria If the reference letter reflects a negative report attributable to the Supplier, that reference letter will not be considered. If the reference letters do not feature all criteria, then the tenderer will be given the lower score | Four projects successfully completed with four relevant reference letters equates to a score of 40. Note: The reference letter must be signed and stamped by the company/business where the services were previously rendered and comply with the two listed criteria If the reference letter reflects a negative report attributable to the Supplier, that reference letter will not be considered. If the reference letters do not feature all criteria, then the tenderer will be given the lower score. | Five projects successfully completed with five relevant reference letters equates to a score of 50. Note: The reference letter must be signed and stamped by the company/business where the services were previously rendered and comply with the two listed criteria If the reference letter reflects a negative report attributable to the Supplier, that reference letter will not be considered. If the reference letters do not feature all criteria, then the tenderer will be given the lower score. |

| SPECIFIC GOALS | 20 |
| --- | --- |
| TOTAL POINTS FOR PRICE AND SPECIFIC GOALS | 100 |

FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

POINTS AWARDED FOR PRICE

THE 80/20 PREFERENCE POINT SYSTEMS

A maximum of 80 points is allocated for price on the following basis:

80/20

PS = 80 1-Pt-PminPmin

Where

Ps = Points scored for price of tender under consideration

Pt = 	Price of tender under consideration

Pmin = Price of lowest acceptable tender

POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | ACCEPTABLE EVIDENCE | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- |
| Entities with a B-BBEE Status of at least Level 2 | B-BBEE Certificate Affidavit (in case of JV,a consolidated score card will be accepted ) showing a Level 2 or Level1 | 4 Points |  |
| BLACK Youth Owned | Certified copy of I.D Documents of the Owners | 4 Points |  |
| 51% Black Owned | CIPC Documents / B-BBEE Certificate /Affidavit | 4 Points |  |
| EME or QSE 51% Black Owned | Audited Annual Financial /B-BBEE Certificate/Affidavit | 4 Points |  |
| Black Women Owned | Certified copy of I.D Documents of the Owners | 4 Points |  |

SECTION 4

PRICING AND DELIVERY SCHEDULE

Respondents are required to complete the attached Pricing Schedule Annexure: 28 to 39

- Prices must be quoted in South African Rand, inclusive of all applicable taxes.

- Price offer is firm and clearly indicate the basis thereof.

- Pricing Bill of Quantity is completed in line with schedule if applicable.

- Cost breakdown must be indicated.

- Price escalation basis and formula must be indicated.

- To facilitate like-for like comparison bidders must submit pricing strictly in accordance with this price schedule and not utilise a different format. Deviation from this pricing schedule could result in a bid being declared non-responsive.

- Please note that should you have offered a discounted price(s), PRASA will only consider such price discount(s) in the final evaluation stage on an unconditional basis.

- Respondents are to note that if price offered by the highest scoring bidder is not market related, PRASA may not award the contract to the Respondent. PRASA may:

- negotiate a market-related price with the Respondent scoring the highest points;

- if that Respondent does not agree to a market-related price, negotiate a market-related price with the Respondent scoring the second highest points;

- if the Respondent scoring the second highest points does not agree to a market-related price, negotiate a market-related price with the Respondent scoring the third highest points;

- If a market-related price is not agreed with the Respondent scoring the third highest points, PRASA must cancel the RFQ.

I / We ______________________________________________________________ (Insert Name of Bidding Entity) of _________________________________________________________________________________________

_____________________________________________________________________ code _________________

(Full address) conducting business under the style or title of: _________________________________________    represented by: ________________________________________________________________ in my capacity as:

____________________________________________________________________ being duly authorised, hereby offer to undertake and complete the above-mentioned work/services at the prices quoted in the bills of quantities / schedule of quantities or, where these do not form part of the contract,

at a lumpsum, of                                                                  R _________________________________________________________________ (amount in numbers); _____________________________________________________________________________________________________________________________________________________________    (amount in words) Incl. VAT.

DELIVERY PERIOD: Suppliers are requested to offer their earliest delivery period possible.

Delivery will be affected within …………. working days from date of order. (To be completed by Service provider).

SECTION 5

# PRASA GENERAL CONDITIONS OF PURCHASE

# General

PRASA and the Supplier enter into an order/contract on these conditions to supply the items (goods/services/works) as described in the order/contract.

## Conditions

These conditions form the basis of the contract between PRASA and the Supplier.  Notwithstanding anything to the contrary in any document issued or sent by the Supplier, these conditions apply except as expressly agreed in writing by PRASA.

No servant or agent of PRASA has authority to vary these conditions orally.  These general conditions of purchase are subject to such further special conditions as may be prescribed in writing by PRASA in the order/contract.

## Price and payment

The price or rates for the items stated in the order/contract may include an amount for price adjustment, which is calculated in accordance with the formula stated in the order/contract.

The Supplier may be paid in one currency other than South African Rand.  Only one exchange rate is used to convert from this currency to South African Rand.  Payment to the Supplier in this currency other than South African Rand, does not exceed the amounts stated in the order/contract.  PRASA pays for the item within 30 days of receipt of the Suppliers correct tax invoice.

## Delivery and documents

The Supplier’s obligation is to deliver the items on or before the date stated in the order/contract.  Late deliveries or late completion of the items may be subject to a penalty if this is imposed in the order/contract. No payment is made if the Supplier does not provide the item as stated in order/contract.

Where items are to be delivered the Supplier:

Clearly marks the outside of each consignment or package with the Supplier’s name and full details of the destination in accordance with the order and includes a packing note stating the contents thereof; On dispatch of each consignment, sends to PRASA at the address for delivery of the items, an advice note specifying the means of transport, weight, number of volume as appropriate and the point and date of dispatch;  Sends to PRASA a detailed priced invoice as soon as is reasonably practical after dispatch of the items, and states on all communications in respect of the order the order number and code number (if any).

## Containers / packing material

Unless otherwise stated in the order/contract, no payment is made for containers or packing materials or return to the Supplier.

## Title and risk

Without prejudice to rights of rejection under these conditions, title to and risk in the items passes to PRASA when accepted by PRASA.

## Rejection

If the Supplier fails to comply with his obligations under the order/contract, PRASA may reject any part of the items by giving written notice to the Supplier specifying the reason for rejection and whether and within what period replacement of items or re-work are required.

In the case of items delivered, PRASA may return the rejected items to the Supplier at the Supplier’s risk and expense.  Any money paid to the Supplier in respect of the items not replaced within the time required, together with the costs of returning rejected items to the Supplier and obtaining replacement items from a third party, are paid by the Supplier to PRASA.

In the case of service, the Supplier corrects non-conformances as indicated by PRASA.

## Warranty

Without prejudice to any other rights of PRASA under these conditions, the Supplier warrants that the items are in accordance with PRASA’s requirements and fit for the purpose for which they are intended, and will remain free from defects for a period of one year (unless another period is stated in the Order) from acceptance of the items by PRASA.

## Indemnity

The Supplier indemnifies PRASA against all actions, suits, claims, demands, costs, charges and expenses arising in connection therewith arising from the negligence, infringement of intellectual or legal rights or breach of statutory duty of the Supplier, his subcontractors, agents or servants, or from the Supplier’s defective design, materials or workmanship.

The Supplier indemnifies PRASA against claims, proceedings, compensation and costs payable arising out of infringement by the Supplier of the rights of others, except an infringement which arose out of the use by the Supplier of things provided by PRASA.

## Assignment and sub-contracting

The successful Respondent awarded the contract may only enter into a subcontracting arrangement with PRASA’s prior approval. The contract will be concluded between the successful Respondent and PRASA, therefore, the successful Respondent and not the sub-contractor will be held liable for performance in terms of its contractual obligations.

## Governing law

The order/contract is governed by the law of the Republic of South Africa and the parties hereby submit to the non-exclusive jurisdiction of the South African courts.

SBD4

SECTION 6

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 	Name of bidder

# SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 90/10 preference point system.

- The applicable preference point system for this tender is the 80/20 preference point system.

- Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and Specific Goals | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation.

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts.

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system: or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | ACCEPTABLE EVIDENCE | NUMBER OF POINTS ALLOCATED (80/20 SYSTEM) (To be completed by the organ of state) | NUMBER OF POINTS CLAIMED (80/20 SYSTEM) (To be completed by the tenderer |
| --- | --- | --- | --- |
| Entities with a B-BBEE Status of at least Level 2 | B-BBEE Certificate Affidavit (in case of JV,a consolidated score card will be accepted ) showing a Level 2 or Level1 | 4 Points |  |
| BLACK Youth Owned | Certified copy of I.D Documents of the Owners | 4 Points |  |
| 51% Black Owned | CIPC Documents / B-BBEE Certificate /Affidavit | 4 Points |  |
| EME or QSE 51% Black Owned | Audited Annual Financial /B-BBEE Certificate/Affidavit | 4 Points |  |
| Black Women Owned | Certified copy of I.D Documents of the Owners | 4 Points |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct.

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process.

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation.

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

SECTION 9

CERTIFICATE OF ATTENDANCE OF COMPULSORY RFQ BRIEFING (APPLICABLE)

| Request number: |  |
| --- | --- |
| Request for Proposal: |  |

Attendance

This is to certify that _____________________________________ has / have today attended the site inspection / RFQ briefing session to which this enquiry relates. THUS DONE and SIGNED at ________________________________________________ on this _________________ day of ___________________________ ___________________________ ___________________________ for / on behalf of PRASA Designation

Acknowledgement

This is to certify that the Bidder attended the above mentioned briefing session/ site inspection and has / have acquainted himself / themselves with the Contract, Project Specification / Special Conditions, Specifications and / or Bills of Quantities / Schedule of Quantities / Schedule of Prices, together with the drawings enumerated therein, as laid down by the PRASA for the carrying out of the proposed WORKS to which the enquiry relates

THUS DONE and SIGNED at ________________________________________________ on this _________________ day of ___________________________ DULY AUTHORISED SIGNATORY(IES) WITNESSES 1. ___________________________________ 1. __________________________ 2. ___________________________________ 2. __________________________ 3. ___________________________________ 3. __________________________

SECTION 11

SPECIFICATION/SCOPE OF WORK

Insert Specification / Scope of Work here OR cross-reference to separate Annexure…...

The scope of work for this project shall entail the following activities:

Removal of the existing 11kV Line and 11kV equipment such as transformer, isolator switch etc and installation of the new 11kV Line and associated equipment for the line to be operational. Therefore, the contract shall be responsible of the remove, supply, delivery of material to site, installation, erection, excavation, making-off, connecting, testing, and guarantees of the equipment, materials, and labour on the following aspects of the works

The planned time frame for the implementation of this proposed project is 12 months.

# Description of the works

The scope of works shall include the following:

Removal

Remove, decommission, and transport the existing old equipment from site to Salt River depot.

11kV Overhead Transmission Line

Data

Size (Cross Sectional Area)	-50mm²

Cable type 			- Open Transmission Line ASR (aluminium steel reinforced)

No of phases			- 3 Phases

Current Carrying Capacity	-253 A

In accordance with SANS 10142-1 and SANS 182

- Supply and deliver 11kV AC 3 phases 50mm², ASR Open Transmission Line.

- Completely install 3 phases of Open Transmission Line (11kV 3-phases Aluminium Steel Reinforce - 50mm²)

- Transmission line Make off termination complete, supply material, terminate, joint kit, and connect up 11kV AC 3 phases 50mm².

## Earth Wire

Data

Size (Cross Sectional Area)	-50mm²

Cable type 			- Open Transmission Line (AAC ANT) All Aluminium Conductor

No of phases			- 1

## In accordance with SANS 10142, SANS 182, IEC 61545, and CEE-PFC-84

- Supply and deliver - 50mm² (AAC ANT) All Aluminium Conductor greased earth wire with preformed splicing, earth wire cleats and associated accessory complete.

- Completely install - 50mm² All Aluminium Conductor greased earth wire with preformed splicing, earth wire cleats and associated accessory complete.

- Supply, deliver and install Preformed splice for 50mm² AAC ANT conductor

- Earth wire cleats 50mm ANT AAC.

Insulators

## In accordance with CEE-TNC-4 & SANS 61109

- Supply, deliver and install vandal proof insulators.

Isolator Switches

Data

The technical specification for the 11kV Protection Fuse Holder is as follows:

Name 					-   	Fuse holder

Max. Fuse current rating		-	100A

Breaking capacity			-	4kA (without arc shortening rod)

The technical data specification for the 11kV Protection Fuse is as follows:

Name 					-   	Cut out base assembly

Continuous current 			-	200A

Breaking capacity			-	4kA (without arc shortening rod)

Load break current 			-	5 A

In accordance with CEE-P_003, CEE-PFC-103, CEE-TNC-4, CEE-BBB0906, CEE-PEB-74, IEC61109, IEC60282 and SANS 61644.

- Supply, deliver and Install 11kV 3phase line switch complete with operating rod, switch handle, blades, brackets, clamps, link straps, support pin insulators, bonds, jumper cables, bolts, nuts, indicating plate and other associated equipment.

- Supply, deliver and install galvanised and painted support bracket surge arrestor (E-Frame).

- Supply, deliver and completely connect up 11kV AC surge arrestors complete.

- Supply, deliver and install vandal proof insulators.

- Supply, deliver and connect spark gap complete.

- Supply, deliver and install earth spike with 50mm² Cu insulated earth conductor, earth spike rod, earth spike couplings, earth spike clamps and other associated equipment.

- Supply, deliver and Install 11kV cut out protection Fuse complete with Base and Fuse holder.

- Supply, deliver and install change over on the existing AC/DC distribution panel.

Panel Modification

In accordance with BBB4182 and CEE.0088.92

- Modify the existing 11kV Panel for the 11kV breaker to fit. Currently there is an existing 11kV breaker from ABB, the 11kV panel must be modified to accommodate the current breaker.

Excavation

In accordance with CEE.0023

- Route surveys

- Soil Excavation

- Shuttering

- Supply and install Concrete cable protection slabs

- Supply and install 450mm Plastic cable warning tape.

- Supply and install Pipes at 1000m BFGL.

- Back filling of trenches with soil.

- Back filling of trenches with 10:1 soil/cement mix.

- Importation of soil.

Underground Cable

Data

Size (Cross Sectional Area)	-50mm², 3 core

Cable type 			- XLPE Cu Cable

No of phases			- 3 Phases

In accordance with SANS 1339:

- Supply and deliver High Voltage Cables (3-Core Cu XLPE 6.35/11kV) - 50 mm² with connecting equipment, from the 3phase 11kV line switch to the stepdown transformer.

- Install High Voltage Cables (3-Core Cu XLPE 6.35/11kV) - 50 mm² with connecting equipment, from the 3phase 11kV line switch to the stepdown transformer with the necessary termination kit, joint kit and associated accessory needed to supply the line.

- Cable Outdoor and indoor termination, Supply material and completely terminate, join, and connect the underground cable from the line switch to the 25kVA 11kV/400V transformer that inside the substation.

Transformer

In accordance with SANS 780, SANS 61109, and CEE.0088.92

- Supply and deliver 50kVA, 11/0.4 kV transformer with boxed termination at Fishhoek substation.

- Install and connect up 50kVA, 11/0.4 kV transformer at Fishhoek substation.

- Supply, deliver, install, and connect up 25mm2, 4 core 400V cable at Fishhoek substations from the 25kVA, 11/0.4 kV transformer to the existing panel.

- Supply and deliver 50kVA, 11/0.4 kV transformer at Muizenberg.

- Install and connect up 50kVA, 11/0.4 kV transformer at Muizenberg.

- Supply, deliver and install fibre glass kiosk for the existing transformer at Fishhoek and the new transformer to be installed at Muizenberg.

- Provide all site tests reports as per requirements.

Factory Test for Transformers

- No-Load Losses

- No-Load Excitation Current

- Load Losses and Impedance Voltage

- Dielectric Tests

- Partial Discharge Test

- Insulation resistance

- Short Circuit Test

- Turns Ratio Test

- And any necessary test that’s needed in a transformer

On Site tests for Transformers

- Turns Ratio

- Complete/provide Oil analysis (DGA, Dielectric)

- Hi potential testing (High voltage Pressure test)

- Structure Earth Resistance test (Existing structure)

- Insulation flash over test (Existing Insulators)

- Phase Continuity Test

- Insulation Resistance Test

- Earth Current Injection test

Test and Commissioning

- In accordance with SANS 61109 & SANS 1339

- The contractor shall carry out the Test and Commissioning of all equipment installed on site. Provide Tests Certificates.

- All cost for commissioning tests shall be for the Contractors account, inclusive of Metrorail cost (inclusive on the rates indicated on the BOQ).

General Scope of Work

The contractor is responsible for Verification and confirmation of measurements during site inspection.

10% contingency that will be managed and controlled by the PRASA Project Manager and approval will be required for the use of this contingency from the Prasa Regional engineering Manager.

Figure 1Fibre Glass Kiosk                                        Figure 2: Stollen 11kV Line

Figure 3: Rusted Isolator Switch                                                 Figure 4: back to back Isolator switch

Specification

All prices to include ordering, loading, off-loading, storing, fitting, finishing off, testing, and commissioning.  All joints, screws, fixing material, etc., and labour are to be included.

Dimension of Kiosk

Depth: 1130mm

Width: 1560mm

Height 1270

Material for the kiosk is Fibre Glass.

The technical data specification for the transformers to be supplied at Muizenberg and Fishhoek

Muizenberg and Fishhoek Transformer Name Plate

| HV-Volts | 11 000V |
| --- | --- |
| LV-Volts | 400 V |
| Impedance % | 4.51 |
| Frequency | 50Hz |
| HV - Amps | 2.02 |
| LV - Amps | 72.12 |
| Vector Group | Dyn11 |
| kVA | 50 |

Below is the list of Specifications, Engineering Instructions and Drawings to be used.

| No | Specification, Drawings and Engineering Instruction |  |
| --- | --- | --- |
|  | Description | Specification, Drawing No |
| 1. | Safety arrangements and procedural compliance With the occupational health and safety act (Act 85 of 1993) and applicable regulations. | E.4E Transnet (Jan 2004) |
| 2. | Specification for works on, over, under or adjacent to railway lines and near high voltage equipment | E71 |
| 3. | Electrical Safety Instructions | BFF3690 |
| 4. | Work permits: Administrative procedures | GI.007 |
| 5. | Inspecting and handing over of electrical equipment | CEE-GI.018 |
| 6. | Installation of Low and Medium Voltage Cables | CEE.0023 |
| 7. | Indoor, Medium voltage Metal enclosed switchgear/Panel and Control gear in accordance with IEC 62271-200 | BBB4182 |
| 8. | Installation of Electrical equipment in Indoor substation. | CEE.0088.92 |
| 9. | Earthing and Bonding of Electrical Equipment | CEE-0059 |
| 10. | Spark Gap | CEE-BBB0906 |
| 11. | Bracket Earth Eire make off | CEE-PFC-84 |
| 12. | Vandal Proof Insulators | CEE-TNC-4 |
| 13. | Bracket Surge Arrestor (“E” Frame) | CEE-PFC-103 |
| 14. | Provision of Safety Barriers | CEE-P_016 |
| 15. | Symbols for Electrical Installation | CEE-PA-19 |
| 16. | Procedure for energizing / De-energizing of High Voltage Electrical Equipment. | CEE-GI_019 |
| 17. | Step down point from transmission line for signal relay rooms. | CEE-P_003_ISS_2 |
| 18. | Change Over Panel Circuit | CEE-PEB-74 |
| 19. | Galvanised Steel | CEE-0183 |
| 20. | Painting of steel components of electrical equipment. | CEE-045 |
| 21. | Precast concrete slab cover for cable protection. | CEE PA-0105 |
| 22. | Cross Arm Structure Assembly (Type A) | CEE-TPF-4, CEE-TMFB-61 CEE-TMFB-62 CEE-TN-371 |

Table 1: List of Specifications, Engineering Instructions and Drawings

3.2 Technical Standards

The following technical standards are particularly relevant to the scope of works.  This is not a fully comprehensive listing of all relevant standards and associated normative references but rather a list of the more notable standards

| No. | Description | Number |
| --- | --- | --- |
| 1. | Conductors for overhead electrical transmission line’s part 1-5. | SANS 182 |
| 2. | Standard voltages, currents, and insulation levels for electricity supply. | SANS 1019 |
| 3. | Overhead power lines for conditions prevailing in South Africa. | SANS 10280-1 |
| 4. | Insulators for overhead lines with a nominal voltage above 1000V. | SANS 60383, ANSI C29.11 and IEC61109 |
| 5. | Insulators for overhead lines - Composite suspension and tension insulators for AC. systems with a nominal voltage greater than 1 000 V - Definitions, test methods and acceptance criteria. | SANS 61109 |
| 6. | Connecting devices - Devices for the connection of aluminium conductors in clamping units of any material and copper conductors in aluminium bodied clamping units. | IEC 61545 |
| 7. | Insulators for overhead lines - Composite line post insulators for A.C. systems with a nominal voltage greater than 1 000 V - Definitions, test methods and acceptance criteria. | SANS 61952, and ANSI C29.11 and IEC61109 |
| 8. | Internal and/or external protective coatings for steel tubes - Specification for hot dip galvanized coatings applied in automatic plants. | SANS 32 |
| 9 | Electric cables - Cross-linked polyethylene (XLPE) insulated cables | SANS 1339: |
| 10 | Testing of conductors | SANS 1339 |
| 11 | Transformer installation | SANS 780 |

BOQ/ PRICING SCHEDULE

| BILL OF QUANTITIES APPOINTMENT OF COTRACTOR TO REINSTATE 11KV LINE BETWEEN MUIZENENBERG AND FISH HOEK. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | UNIT | Quantity | Rate | Amount |
| PRELIMINARY AND GENERAL |  |  |  |  |  |
| 1 | Time Related |  |  |  |  |
| 1.1 | Construction Machine | day | 3 | R | R |
| ITEM | DESCRIPTION | UNIT | Quantity | Rate | Amount |
| 2 | Removal |  |  |  |  |
| 2.1 | Remove, decommission and transport of existing old equipment from site to Salt River depot. | sum | 1 | R | R |
| 3 | 11kV Overhead Conductors |  |  |  |  |
| 3.1 | Supply and deliver 11kV AC 3 phases 50mm², ASR Open Transmission Line. | m | 6000 | R | R |
| 3.2 | Completely Install of 11kV AC 3 phases 50mm², ASR Transmission Line. | m | 6000 | R | R |
| 3.3 | Transmission line Make off termination complete, supply material, terminate, joint kit, and connect up 11kV AC 3 phases 50mm². | set | 2 | R | R |
| 4 | Earth wire |  |  |  |  |
| 4.1 | Supply and deliver - 50mm² All Aluminium Conductor greased earth wire with preformed splicing, earth wire cleats and associated accessory complete. | m | 6000 | R | R |
| 4.2 | Completely install - 50mm² All Aluminium Conductor greased earth wire with preformed splicing, earth wire cleats and associated accessory complete. | m | 6000 | R | R |
| 4.3 | 50mm ANT AAC Pre-formed Splice | each | 4 | R | R |
| 4.4 | Earth wire cleats 50mm ANT AAC | each | 15 | R | R |
| 5 | Insulators |  |  |  |  |
| 5.1 | Supply, deliver and install vandal proof insulators. | each | 120 | R | R |
| 6 | Isolator Switches |  |  |  |  |
| 6.1 | Supply, deliver and Install 11kV 3phase line switch complete with operating rod, switch handle, blades, brackets, clamps, link straps, support pin insulators, bonds, jumper cables, bolts, nuts, indicating plate and other associated equipment. | sum | 5 | R | R |
| 6.2 | Supply, deliver and install galvanised and painted support bracket surge arrestor (E-Frame). | each | 5 | R | R |
| 6.3 | Supply, deliver and completely connect up 11kV AC surge arrestors complete. | each | 15 | R | R |
| 6.4 | Supply, deliver and connect spark gap complete. | each | 5 | R | R |
| 6.5 | Supply, deliver and Install Earth spike complete with: 50mm² CU insulated 50 mm2 CU INSU Earth conductor = 10m. • Earth spike rod – PRASA will provide. • Earth spike couplings = 2 • Earth spike clamps = 2 | each | 5 | R | R |
| 6.6 | Supply, deliver and install Cross Arm Structure Assembly (Type A) for the twin tracker. | each | 1 | R | R |
| 6.7 | Supply, deliver and Install 11kV cut out protection Fuse complete with Base and Fuse holder | each | 9 | R | R |
| 6.8 | Supply, deliver and install change over on the existing AC/DC distribution panel. | sum | 1 | R | R |
| 7 | Panel Modification |  |  |  |  |
| 7.1 | Modify the existing 11kV Panel for the 1kV breaker to fit. Currently there is an existing 11kV breaker from ABB, the 11kV panel must be modified to accommodate the current breaker. | each | 1 | R | R |
| 8 | Excavation |  |  |  |  |
| 8.1 | Route surveys | sum | 1 | R | R |
| 8.2 | Soil Excavation | m | 60 | R | R |
| 8.3 | Shuttering | m | 60 | R | R |
| 8.4 | Supply and install Concrete cable protection slabs | m | 60 | R | R |
| 8.5 | Supply and install 450mm Plastic cable warning tape | m | 60 | R | R |
| 8.6 | Supply and install Pipes at 1000m BFGL | m | 60 | R | R |
| 8.7 | Back filling of trenches with soil | sum | 1 | R | R |
| 8.8 | Back filling of trenches with 10:1 soil/cement mix | sum | 1 | R | R |
| 8.9 | Importation of soil | sum | 1 | R | R |
| 9 | Underground Cable |  |  |  |  |
| 9.1 | Supply and deliver High Voltage Cables (3-Core Cu XLPE 6.35/11kV) - 50 mm² with connecting equipment, from the 3phase 11kV line switch to the stepdown transformer. | m | 60 | R | R |
| 9.2 | Install High Voltage Cables (3-Core Cu XLPE 6.35/11kV) - 50 mm² with connecting equipment, from the 3phase 11kV line switch to the stepdown transformer with the necessary termination kit, joint kit and associated accessory needed to supply the line. | m | 60 | R | R |
| 9.3 | Cable Outdoor and indoor termination, Supply material and completely terminate, join, and connect the underground cable from the line switch to the 25kVA 11kV/400V transformer that inside the substation. | set | 2 | R | R |
| 10 | Transformer |  |  |  |  |
| 10.1 | Supply and deliver 50kVA, 11/0.4 kV transformer with boxed termination at Fish Hoek substations. | each | 1 | R | R |
| 10.2 | Install and connect up 50kVA, 11/0.4 kV transformer at Fish Hoek substation. | sum | 1 | R | R |
| 10.3 | Supply, deliver, install, and connect up 25mm2, 4 core 400V cable at Fish Hoek substations from the 25kVA, 11/0.4 kV transformer to the existing panel. | m | 35 | R | R |
| 10.4 | Supply, deliver and install 50kVA, 11/0.4 kV transformer at Muizenberg. | each | 1 | R | R |
| 10.5 | Install and connect up 50kVA, 11/0.4 kV transformer at Muizenberg. | sum | 1 | R | R |
| 10.6 | Supply, deliver and install fibre glass kiosk for the existing transformer at Fish Hoek and the new transformer to be installed at Muizenberg. | each | 2 | R | R |
| 11 | Test and Commission |  |  |  |  |
| 11.1 | Factory Test, Test and Commissioning of all equipment installed on site. Provide Tests Certificates | sum | 1 | R | R |
| Sub Total Amount (Excluding VAT) |  |  |  |  | R |
| VAT @ 15% |  |  |  |  | R |
| Sub Total (Including VAT and P's &G's) |  |  |  |  | R |
| 10% contingency that will be managed and controlled by the Prasa Project Manager and approved will be required for the use of this contingency from the PRASA Regional Engineering Manager |  |  |  |  | R |
| Total (Including Contingency) |  |  |  |  | R |

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.