| - EXTRACTOR FANS SUPPLY & INSTALLATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Quantity |  | Price per Unit |  | Total |
| Extractor Industrial L Case Axial ELTAX Fan 500x400mm, .75kw, 220v Single phase | 2 |  |  |  |  |
| Accessories | 1 |  |  |  |  |
| Labour Incl. Electrical Installation | 2 |  |  |  |  |
| - REPAIRS TO JOHN KANI MAIN HVAC UNIT |  |  |  |  |  |
| 13.5Kg R410a Gas ea | 4 |  |  |  |  |
| Brazing Consumables | 1 |  |  |  |  |
| Skilled Technician @ R450/hour x1 | 6 |  |  |  |  |
| Semi-Skilled Technician @ R220/hour x 1 | 6 |  |  |  |  |
| Quaterpak Hire @ R600/day | 1 |  |  |  |  |
| 0.00 |  |  |  |  |  |
| - SUPPLY AND INSTALLATION OF COMPRESSOR |  |  |  |  |  |
| 18 000 BTU Compressor | 1 |  |  |  |  |
| 13.5kg R410a Gas @ R1685.90 | 0.35 |  |  |  |  |
| Labour | 1 |  |  |  |  |
| - SAMSUNG DVMS E 152 ERROR REPAIRS |  |  |  |  |  |
| Regasing R410a 13.5kg | 12 |  |  |  |  |
| Consumables ( Including/Expansion Valve, 2x Pencil Dryers) | 1 |  |  |  |  |
| Labour | 1 |  |  |  |  |
| Transport | 1 |  |  |  |  |
| - HVAC SYSTEM II RADIATOR REPAIRS (Incl. accessories) |  |  |  |  |  |
| PHW-4A-20x1700x6Rx8Fx20C-Cu/Al/Gi | 1 |  |  |  |  |
| Cu Tube, Al Fin, Gi Casing |  |  |  |  |  |
| Header Size: 2-1/2" |  |  |  |  |  |
| Finned Core Size: 762mm H x 1700mm L x 198mm D |  |  |  |  |  |
| Overall Size: 842mm H x 1780mm L x 220mm D |  |  |  |  |  |
| Regasing R410a 13.5kg | 5 |  |  |  |  |

Company Name: ________________________________

Signature:_______________________________________

Compulsory Supporting documentation that needs to be submitted with your quote:

- SBD 4 : Declaration of Interest (See Attached)

- SBD 6.1: PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017. (See Attached)

- Certified Copy of BBBEE Certificate / Affidavit

- Proof of CIDB Grading (1 ME)

- Proof of CSD registration starting with MAAA…………..