{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Cardiac Consumables"],"not_rendered":{"defined_names":4},"read":"whole","date_system":"1900"}

{"sheet":"Cardiac Consumables","index":0,"n_rows":1149,"n_cols":21,"rows_kept":1149,"merged":[[0,0,0,20],[1,0,2,10],[1,11,1,18],[1,19,1,20],[2,11,2,16],[2,17,2,20],[10,2,10,20],[11,2,11,20],[33,2,33,20],[59,2,59,20],[116,2,116,20],[138,2,138,20],[159,2,159,20],[181,0,181,1],[210,0,210,1],[214,2,214,20],[238,2,238,20],[313,2,313,20],[318,2,318,20],[395,2,395,20],[586,2,586,20],[611,2,611,20],[621,2,621,20],[635,2,635,20],[695,2,695,20],[723,2,723,20],[730,2,730,20],[739,2,739,20],[740,2,740,20],[812,2,812,20],[841,2,841,20],[863,2,863,20],[947,2,947,20],[953,2,953,20],[968,2,968,20],[988,2,988,20],[989,2,989,20],[1137,2,1137,20]]}
["ANNEXURE A: TECHNICAL SPECIFICATIONS AND PRICING SCHEDULE: GT/GDH/028/2025: SUPPLY AND DELIVERY OF CARDIAC CONSUMABLES FOR VARIOUS GAUTENG DEPARTMENT OF HEALTH INSTITUTIONS FOR A PERIOD OF THREE YEARS"]
[{"$nulls":11},"PROVIDE A COST BREAKDOWN AS A PERCENTAGE OF TOTAL UNIT PRICE",{"$nulls":7},"IS PRODUCT IMPORTED OR MANUFACTURED LOCALLY?"]
[{"$nulls":11},"COST BREAKDOWN (PER ITEM)",{"$nulls":5},"RULING DATE"]
["A","B","C","D","E","F","G","H","I","J","K","L","M","N","O","P","Q","R","S","T","U"]
["ITEM NUMBER","SAP NO","ITEM DESCRIPTION","COMPLY YES / NO/NA","EQUIVALENT OR BETTER OPTION OFFERED ","DETAILS OF EQUIVALENT OR BETTER PRODUCT OFFERED","UNIT OF MEASURE","TENDER PRICE/UNIT","STATE PACKAGING /BOX QUANTITY","BRAND","LEAD TIME (DAYS)","DIRECT MATEIRAL: % IMPORTED","DIRECT MATERIAL: % LOCAL CONTENT","%DIRECT LABOUR","% TRANSPORT","% OTHER OVERHEADS AND %PROFITS","% TOTAL","RATE OF EXCHANGE","ADJUSTMENT FREQUENCY","IMPORTED","LOCALLY MANUFACTURED"]
[1,null,"SECTION 1: CARDIAC PACING CONSUMABLES"]
[2,null,"SECTION 2: CORONARY ANGIOGRAPHY AND INTERVENTIONAL CARDIOLOGY"]
[3,null,"SECTION 3:STRUCTURAL CARDIOLOGY"]
[4,null,"SECTION 4:ELECTROPHYSIOLOGY AND MISCELLANEOUS"]
[]
[1,null,"SECTION 1: CARDIAC PACING CONSUMABLES"]
["1.1",null,"IMPLANTABLE SINGLE CHAMBER PACEMAKER:"]
["1.1.1",null," Pacemaker device : Single Chamber with pacing modes:V- Pacing in the ventricle;V- Sensing in the ventricle,I-Inhibit (VVI/R) and  A- Pacing in the atrium; A- Sensing in the atrium;Inhibit (AAI/R)",{"$nulls":3},"each"]
["1.1.2",null," A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.1.3",null,"Ventricular Endocardial Pacing Lead or Atrial Endocardial Pacing Lead",{"$nulls":3},"each"]
["1.1.4",null,"Percutaneous Lead Introducer System, with different types of leads i.e. Tined/Passive or Screw-in/Active Fixation Lead (s),",{"$nulls":3},"each"]
["1.1.5",null,"Different French (F) sizes,including Peel-Away or Cut-Away sheath with or without haemostatic valve:"]
["1.1.5.1",null,"4 F",{"$nulls":3},"each"]
["1.1.5.2",null,"5 F",{"$nulls":3},"each"]
["1.1.5.3",null,"6 F",{"$nulls":3},"each"]
["1.1.5.4",null,"7 F",{"$nulls":3},"each"]
["1.1.5.5",null,"8 F",{"$nulls":3},"each"]
["1.1.5.6",null,"9 F",{"$nulls":3},"each"]
["1.1.6",null,"Leads and devices should meet ISI-1 UNI, Bipolar or Unipolar, torques device for manipulation of lead tip within vasculature, catheter curve of MB-1 UNI.",{"$nulls":3},"each"]
["1.1.7",null,"Latest technology:"]
["1.1.7.1",null,"Magnetic Resonance Imaging (MRI) safe",{"$nulls":3},"each"]
["1.1.7.2",null,"Radio frequency (RF) Ablation capabilities",{"$nulls":3},"each"]
["1.1.7.3",null,"Remote monitoring, capabilities to monitor Atrial Fibrillation (AF)",{"$nulls":3},"each"]
["1.1.8",null,"Size/Dimension – Variable (Manufacture specific)",{"$nulls":3},"each"]
["1.1.9",null,"Sterile Patient test cables - Pacemaker Implant Procedure (Connector adapter with positive and negative poles)",{"$nulls":3},"each"]
["1.1.10",null," Variable Ranges of sizes  length, depth and height of atrial and ventricular leads (Manufacture specific)",{"$nulls":3},"each"]
["1.1.11",null,"Leadless Pacemaker",{"$nulls":3},"each"]
["1.1.12",null,"Leadless Single Chamber Pacemaker Device  - bullet pacemakers ( potentially as a training Initiative technology) ",{"$nulls":3},"each"]
["1.2",null,"IMPLANTABLE DUAL CHAMBER PACEMAKER"]
["1.2.1",null,"Pacemaker Device: Dual chamber with mode (s): "]
["1.2.1.1",null,"Dual-chamber (DDD/R) (rate response, R) pacemakers",{"$nulls":3},"each"]
["1.2.1.2",null,"Ventricular pacing mode (VDD/R)",{"$nulls":3},"each"]
["1.2.2",null,"A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.2.3",null,"Ventricular Endocardial Pacing Lead and"]
["1.2.3.1",null," Atrial Endocardial Pacing Lead",{"$nulls":3},"each"]
["1.2.4",null,"Percutaneous Lead Introducer System (Atrial and Ventricular), with different types of leads i.e. Tined/Passive or Screw-in/Active Fixation Lead (s),",{"$nulls":3},"each"]
["1.2.5",null,"Different French(F) sizes:including Peel-Away or Cut-Away sheath with or without haemostatic valve:"]
["1.2.5.1",null,"4 F",{"$nulls":3},"each"]
["1.2.5.2",null,"5 F",{"$nulls":3},"each"]
["1.2.5.3",null,"6 F",{"$nulls":3},"each"]
["1.2.5.4",null,"7 F",{"$nulls":3},"each"]
["1.2.5.5",null,"8 F",{"$nulls":3},"each"]
["1.2.5.6",null,"9 F",{"$nulls":3},"each"]
["1.2.6",null,"Leads and devices should meet an international standard (named IS1 pacing connector) which all manufacturers adhere to, ISI-1 UNI standards, Bipolar or Unipolar, torques device for manipulation of lead tip within vasculature, catheter curve of MB-1 UNI.",{"$nulls":3},"each"]
["1.2.7",null,"Tip to ring spacing:"]
["1.2.7.1",null,"Adult  (state details)",{"$nulls":3},"each"]
["1.2.7.2",null,"Child/Paediatrics (state details)",{"$nulls":3},"each"]
["1.2.8",null,"Atrial leads:"]
["1.2.8.1",null,"Adult  (state details)",{"$nulls":3},"each"]
["1.2.8.2",null,"Child/Paediatrics (state details)",{"$nulls":3},"each"]
["1.2.9",null,"Ventricular leads:"]
["1.2.9.1",null,"Adult  (state details)",{"$nulls":3},"each"]
["1.2.9.2",null,"Child/Paediatrics (state details)",{"$nulls":3},"each"]
[]
["1.3",null,"General LIST  OF ACCESSORIES ( DUAL & SINGLE CHAMBER PACEMAKER)"]
["1.3.1",null,"Lead End Cap for ISI-1 Pacemaker Leads",{"$nulls":3},"each"]
["1.3.2",null,"Pacemaker ISI-1 Header block PIN",{"$nulls":3},"each"]
["1.3.3",null,"Implant Sleeve - Sterile Plastic  for Programmer Head",{"$nulls":3},"each"]
["1.3.4",null,"Lead Suture/Fixation/anchoring sleeve  ",{"$nulls":3},"each"]
["1.3.5",null,"Different Sizes  (F-French):"]
["1.3.5.1",null,"4 F",{"$nulls":3},"each"]
["1.3.5.2",null,"5 F",{"$nulls":3},"each"]
["1.3.5.3",null,"6 F",{"$nulls":3},"each"]
["1.3.5.4",null,"7 F",{"$nulls":3},"each"]
["1.3.5.5",null,"8 F",{"$nulls":3},"each"]
["1.3.5.6",null,"9 F",{"$nulls":3},"each"]
["1.3.5.7",null,"9.5 F",{"$nulls":3},"each"]
["1.3.6",null,"Lead Extraction System",{"$nulls":3},"each"]
["1.3.7",null,"Screwdriver / Torque-Wrench",{"$nulls":3},"each"]
["1.3.8",null,"Silicone Sterile Glue",{"$nulls":3},"each"]
["1.3.9",null,"Accessory Tool used to unwind/wind Screw-in Leads",{"$nulls":3},"each"]
["1.4",null,"STYLETS (wires for Lead placements):"]
["1.4.1",null,"Stylets: Wire Accessory for Lead Placement during implantation",{"$nulls":3},"each"]
["1.4.2",null,"Stylet Variations: "]
["1.4.2.1",null,"Various Lengths (52 to 85cm Range):"]
["1.4.2.1.1",null,52,{"$nulls":3},"each"]
["1.4.2.1.2",null,53,{"$nulls":3},"each"]
["1.4.2.1.3",null,54,{"$nulls":3},"each"]
["1.4.2.1.4",null,55,{"$nulls":3},"each"]
["1.4.2.1.5",null,56,{"$nulls":3},"each"]
["1.4.2.1.6",null,57,{"$nulls":3},"each"]
["1.4.2.1.7",null,58,{"$nulls":3},"each"]
["1.4.2.1.8",null,59,{"$nulls":3},"each"]
["1.4.2.1.9",null,60,{"$nulls":3},"each"]
["1.4.2.1.10",null,61,{"$nulls":3},"each"]
["1.4.2.1.11",null,62,{"$nulls":3},"each"]
["1.4.2.1.12",null,63,{"$nulls":3},"each"]
["1.4.2.1.13",null,64,{"$nulls":3},"each"]
["1.4.2.1.14",null,65,{"$nulls":3},"each"]
["1.4.2.1.15",null,66,{"$nulls":3},"each"]
["1.4.2.1.16",null,67,{"$nulls":3},"each"]
["1.4.2.1.17",null,68,{"$nulls":3},"each"]
["1.4.2.1.18",null,69,{"$nulls":3},"each"]
["1.4.2.1.19",null,70,{"$nulls":3},"each"]
["1.4.2.1.20",null,71,{"$nulls":3},"each"]
["1.4.2.1.21",null,72,{"$nulls":3},"each"]
["1.4.2.1.22",null,73,{"$nulls":3},"each"]
["1.4.2.1.23",null,74,{"$nulls":3},"each"]
["1.4.2.1.24",null,75,{"$nulls":3},"each"]
["1.4.2.1.25",null,76,{"$nulls":3},"each"]
["1.4.2.1.26",null,77,{"$nulls":3},"each"]
["1.4.2.1.27",null,78,{"$nulls":3},"each"]
["1.4.2.1.28",null,79,{"$nulls":3},"each"]
["1.4.2.1.29",null,80,{"$nulls":3},"each"]
["1.4.2.1.30",null,81,{"$nulls":3},"each"]
["1.4.2.1.31",null,82,{"$nulls":3},"each"]
["1.4.2.1.32",null,83,{"$nulls":3},"each"]
["1.4.2.1.33",null,84,{"$nulls":3},"each"]
["1.4.2.1.34",null,85,{"$nulls":3},"each"]
["1.4.2.2",null,"Stiffness/Thickness/Torque ",{"$nulls":3},"each"]
["1.4.2.3",null,"Shapes: Straight or J-Shaped",{"$nulls":3},"each"]
["1.5",null,"IMPLANTABLE Multisite: Cardio Resynchronized Therapy -Pace only system (CRT-P)"]
["1.5.1",null,"Cardio Resynchronized Therapy = Pace only System consists of: "]
["1.5.1.1",null,"Left Ventricular (LV / Coronary sinus) Endocardial Pacing Lead  ",{"$nulls":3},"each"]
["1.5.1.2",null,"Right Ventricular, right Atrial and left Ventricular",{"$nulls":3},"each"]
["1.5.1.3",null,"A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.5.1.4",null,"Atrial Endocardial Pacing Lead (Tined/Passive or Screw-in/Active Fixation Atrial Lead",{"$nulls":3},"each"]
["1.5.1.5",null,"Accessory kit for implant (Contains various items, example Sheath cutter, wires, etc.)",{"$nulls":3},"each"]
["1.5.1.6",null,"Venogram / Swangans Balloon Catheter(right heart catheter)",{"$nulls":3},"each"]
["1.5.1.7",null,"Percutaneous Lead Introducer Sheath System/Catheter (Right (R) Atrium, Right (R) Ventricle &Left ( L) Ventricle), various specific shapes/curves, depends on heart sizes:"]
["1.5.1.7.1",null,"4 F",{"$nulls":3},"each"]
["1.5.1.7.2",null,"5 F",{"$nulls":3},"each"]
["1.5.1.7.3",null,"6 F",{"$nulls":3},"each"]
["1.5.1.7.4",null,"7 F",{"$nulls":3},"each"]
["1.5.1.7.5",null,"9 F",{"$nulls":3},"each"]
["1.5.1.8",null,"Left-Ventricular (LV) = CORONARY SINUS / OTW = Over The Wire / QP = Quadra-Polar ",{"$nulls":3},"each"]
["1.5.1.9",null,"Swangans Catheter, used for Fluoroscopy imaging",{"$nulls":3},"each"]
["1.5.1.10",null,"Latest technology e.g. MRI safe, RF Capabilities, Remote monitoring, capabilities to monitor Atrial Fibrillation (AF)",{"$nulls":3},"each"]
["1.5.1.11",null,"A delivery system for different anatomy of the coronary sinus ( sealed separately)",{"$nulls":3},"each"]
["1.5.1.12",null,"Size/dimension – Bidder/s to indicate the variable ranges of sizesand dimensions available:",{"$nulls":3},"each"]
["1.5.1.13",null,"Variable ranges of sizes: Bidder/s to indicate the variable ranges of sizes available:",{"$nulls":3},"each"]
["1.5.1.13.1",null," length, depth and height of Atrial leads (Bidder to indicate)",{"$nulls":3},"each"]
["1.5.1.13.2",null," length, depth and height of Ventricular leads (Bidder to indicate)",{"$nulls":3},"each"]
["1.6",null,"IMPLANTABLE Multisite: CRT-D:"]
["1.6.1",null,"CRT-D: Cardio Resynchronized Therapy + Defibrillator = Pace & Shock consists of:"]
["1.6.1.1",null,"Endocardial Implantable Cardioverter-Defibrillator (ICD) Lead",{"$nulls":3},"each"]
["1.6.1.2",null,"Left Ventricular (LV / Coronary sinus) Endocardial Pacing Lead (Over The Wire / Quadra-Polar",{"$nulls":3},"each"]
["1.6.1.3",null,"Right Ventricular, right Atrial and left Ventricular",{"$nulls":3},"each"]
["1.6.1.4",null,"A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.6.1.5",null,"Atrial Endocardial Pacing Lead (Tined/Passive or Screw-in/Active Fixation Atrial Lead",{"$nulls":3},"each"]
["1.6.1.6",null,"Accessory kit for implant (Contains various items, example Sheath cutter, wires, etc.)",{"$nulls":3},"each"]
["1.6.1.7",null,"Venogram / Swangans Balloon Catheter",{"$nulls":3},"each"]
["1.6.1.8",null,"Percutaneous Lead Introducer Sheath System/Catheter (R Atrium, R Ventricle & L Ventricle), various specific shapes/curves, depends on heart size French(F):"]
["1.6.1.8.1",null,"4 F",{"$nulls":3},"each"]
["1.6.1.8.2",null,"5 F",{"$nulls":3},"each"]
["1.6.1.8.3",null,"6 F",{"$nulls":3},"each"]
["1.6.1.8.4",null,"7 F",{"$nulls":3},"each"]
["1.6.1.8.5",null,"9 F",{"$nulls":3},"each"]
["1.6.1.9",null,"Defib Lead: Can be ISI-1 or DF4 (In-line) connector",{"$nulls":3},"each"]
["1.6.1.10",null,"A delivery system for different anatomy of the coronary sinus ( sealed separately)",{"$nulls":3},"each"]
["1.6.1.11",null,"Latest technology:"]
["1.6.1.11.1",null,"MRI safe,",{"$nulls":3},"each"]
["1.6.1.11.2",null,"RF Capabilities",{"$nulls":3},"each"]
["1.6.1.11.3",null,"Remote monitoring, capabilities to monitor Atrial Fibrillation (AF)",{"$nulls":3},"each"]
["1.7",null,"IMPLANTABLE SINGLE SITE : ICD- SINGLE CHAMBER ( Ventricular Only)"]
["1.7.1",null,"VVI/R Internal Cardiac Defibrillator (Pace &Shock) SYSTEM containing:"]
["1.7.1.1",null,"Device: ICD VVI/R Single Chamber Generator with ICD DF - 1 or DF - 4 Connector OR Single Chamber ICD, with Atrial Sensor Lead (One Lead; Ventricular Pace / Shock + Atrial Sensing)",{"$nulls":3},"each"]
["1.7.1.2",null,"A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.7.1.3",null,"Single or Dual coil ICD Lead",{"$nulls":3},"each"]
["1.7.1.4",null,"Ventricular Endocardial ICD Lead (Tined or Screw-in) for RV)",{"$nulls":3},"each"]
["1.7.2",null,"TYPES OF LEADS:"]
["1.7.2.1",null,"DF-1 connector",{"$nulls":3},"each"]
["1.7.2.2",null,"DF-4 connector",{"$nulls":3},"each"]
["1.7.2.3",null,"Tri-Polar",{"$nulls":3},"each"]
["1.7.2.4",null,"Quadra-Polar",{"$nulls":3},"each"]
["1.7.2.5",null,"Penta-Polar",{"$nulls":3},"each"]
["1.7.2.6",null,"Comment: Specify different lengths            "]
["1.7.2.7",null,"Percutaneous Lead Introducer Sheath System/Catheter, Peel-Away or Cut-Away, With or without Haemostatic Valve",{"$nulls":3},"each"]
["1.7.2.8",null,"Defib / Shock Lead (Tined or Screw-in) for  Right Ventricle (RV)",{"$nulls":3},"each"]
["1.7.2.9",null,"French sizes for Right Ventricle (RV):  "]
["1.7.2.9.1",null,"4F",{"$nulls":3},"each"]
["1.7.2.9.2",null,"5F",{"$nulls":3},"each"]
["1.7.2.9.3",null,"6F",{"$nulls":3},"each"]
["1.7.2.9.4",null,"7F",{"$nulls":3},"each"]
["1.7.2.9.5",null,"8F",{"$nulls":3},"each"]
["1.7.2.9.6",null,"9F",{"$nulls":3},"each"]
["1.7.2.10",null,"Latest technology:"]
["1.7.2.10.1",null,"MRI safe",{"$nulls":3},"each"]
["1.7.2.10.2",null,"RF Capabilities",{"$nulls":3},"each"]
["1.7.2.10.3",null,"Remote monitoring, capabilities to monitor Atrial Fibrillation (AF)",{"$nulls":3},"each"]
["1.8",null,"IMPLANTABLE CARDIOVERTER DEFIBRILLATOR (ICD)- DUAL CHAMBER"]
["1.8.1",null,"DUAL CHAMBER PACEMAKER DEFIBRILLATOR (DDD/R) Internal Cardiac Defibrillator (Pace & Shock",{"$nulls":3},"each"]
["1.8.2",null,"Device: ICD DDD/R Dual Chamber ICD  Connector:"]
["1.8.2.1",null,"DF-1 ",{"$nulls":3},"each"]
["1.8.2.2",null,"DF-4 ",{"$nulls":3},"each"]
["1.8.3",null,"Ventricular Endocardial ICD Lead (DEFIB / SHOCK LEAD (Tined or Screw-in) for RV",{"$nulls":3},"each"]
["1.8.4",null,"A lithium iodine battery generated device (pacemaker box)",{"$nulls":3},"each"]
["1.8.5",null,"Coil ICD Lead:"]
["1.8.5.1",null,"Single",{"$nulls":3},"each"]
["1.8.5.2",null,"Dual",{"$nulls":3},"each"]
["1.8.6",null,"TYPES OF LEADS:"]
["1.8.6.1",null,"DF-1 connector",{"$nulls":3},"each"]
["1.8.6.2",null,"DF-4 connector",{"$nulls":3},"each"]
["1.8.6.3",null,"Tri-Polar",{"$nulls":3},"each"]
["1.8.6.4",null,"Quadra-Polar",{"$nulls":3},"each"]
["1.8.6.5",null,"Penta-Polar",{"$nulls":3},"each"]
[null,null,"Comment: Specify different lengths            "]
["1.8.6.6",null,"Atrial Endocardial Pacing Lead (Tined / Passive or Screw-in / Active Fixation for RA)                  ",{"$nulls":3},"each"]
["1.8.6.7",null,"Percutaneous Lead Introducer Sheath System/Catheter (Atrial & Ventricular) ,various specific shapes/curves, depends on heart size for RV, Peel-Away or Cut-Away, with or without Haemostatic Valve: French (F):"]
["1.8.6.7.1",null,"4 F",{"$nulls":3},"each"]
["1.8.6.7.2",null,"5 F",{"$nulls":3},"each"]
["1.8.6.7.3",null,"6 F",{"$nulls":3},"each"]
["1.8.6.7.4",null,"7 F",{"$nulls":3},"each"]
["1.8.6.7.5",null,"8 F",{"$nulls":3},"each"]
["1.8.6.7.6",null,"9 F",{"$nulls":3},"each"]
["1.8.6.8",null,"Latest technology, for example:"]
["1.8.6.8.1",null,"MRI safe",{"$nulls":3},"each"]
["1.8.6.8.2",null,"RF capabilities,",{"$nulls":3},"each"]
["1.8.6.8.3",null,"Remote monitoring, capabilities to monitor Atrial Fibrillation (AF)",{"$nulls":3},"each"]
["1.9",null,"General description  Implantable Cardioverter Defibrillator   (ICD)"]
["1.9.1",null,"Accessories:"]
["1.9.1.1",null,"Accessory Tool used to unwind/wind Screw-in Leads",{"$nulls":3},"each"]
["1.9.1.2",null,"ICD DF-1 Header block PIN",{"$nulls":3},"each"]
["1.9.1.3",null,"ICD DF - 4 Testing Adaptor",{"$nulls":3},"each"]
["1.9.1.4",null,"ICD IS4/DF4 Adaptor",{"$nulls":3},"each"]
["1.9.1.5",null,"Implant Sleeve - Sterile Plastic  for Programmer Head",{"$nulls":3},"each"]
["1.9.1.6",null,"Lead End Cap for ICD DF4/IS4",{"$nulls":3},"each"]
["1.9.1.7",null,"Lead Suture/Fixation/anchoring sleeve  ",{"$nulls":3},"each"]
["1.9.1.8",null,"Various  French (F) sizes: "]
["1.9.1.8.1",null,"4 F",{"$nulls":3},"each"]
["1.9.1.8.2",null,"5 F",{"$nulls":3},"each"]
["1.9.1.8.3",null,"6 F",{"$nulls":3},"each"]
["1.9.1.8.4",null,"7 F",{"$nulls":3},"each"]
["1.9.1.8.5",null,"8 F",{"$nulls":3},"each"]
["1.9.1.8.6",null,"9 F",{"$nulls":3},"each"]
["1.9.1.8.7",null,"9.5 F",{"$nulls":3},"each"]
["1.9.1.8.8",null,"10 F",{"$nulls":3},"each"]
["1.9.1.8.9",null,"10.5 F",{"$nulls":3},"each"]
["1.9.1.9",null,"Lead Extraction System",{"$nulls":3},"each"]
["1.9.1.10",null,"Screwdriver / Torque-Wrench",{"$nulls":3},"each"]
["1.9.1.11",null,"Silicone Sterile Glue",{"$nulls":3},"each"]
["1.9.1.12",null,"Electro-cautery Device ( i.e. Plasma Blade)",{"$nulls":3},"each"]
["1.9.1.13",null,"Lead safe cautery device ",{"$nulls":3},"each"]
["1.9.2",null,"SUTURES"]
["1.9.2.1",null,"Non-absorbable:"]
["1.9.2.1.1",null,"Silk",{"$nulls":3},"each"]
["1.9.2.1.2",null,"Ethibond",{"$nulls":3},"each"]
["1.9.2.2",null,"Absorbable:"]
["1.9.2.2.1",null,"Vicryl",{"$nulls":3},"each"]
["1.9.2.2.2",null,"Monocryl",{"$nulls":3},"each"]
["1.9.2.2.3",null,"V-lock suture system",{"$nulls":3},"each"]
["1.9.3",null,"STYLETS (wires for Lead placements)"]
["1.9.3.1",null,"Stylets: Wire Accessory for Lead Placement during implantation",{"$nulls":3},"each"]
["1.9.3.2",null,"Examples of Stylet Variations: "]
["1.9.3.2.1",null,"Lengths in range of :"]
["1.9.3.2.1.1",null,"52 cm",{"$nulls":3},"each"]
["1.9.3.2.1.2",null,"53 cm",{"$nulls":3},"each"]
["1.9.3.2.1.3",null,"54 cm",{"$nulls":3},"each"]
["1.9.3.2.1.4",null,"55 cm",{"$nulls":3},"each"]
["1.9.3.2.1.5",null,"56 cm",{"$nulls":3},"each"]
["1.9.3.2.1.6",null,"57 cm",{"$nulls":3},"each"]
["1.9.3.2.1.7",null,"58 cm",{"$nulls":3},"each"]
["1.9.3.2.1.8",null,"59 cm",{"$nulls":3},"each"]
["1.9.3.2.1.9",null,"60 cm",{"$nulls":3},"each"]
["1.9.3.2.1.10",null,"61 cm",{"$nulls":3},"each"]
["1.9.3.2.1.11",null,"62 cm",{"$nulls":3},"each"]
["1.9.3.2.1.12",null,"63 cm",{"$nulls":3},"each"]
["1.9.3.2.1.13",null,"64 cm",{"$nulls":3},"each"]
["1.9.3.2.1.14",null,"65 cm",{"$nulls":3},"each"]
["1.9.3.2.1.15",null,"66 cm",{"$nulls":3},"each"]
["1.9.3.2.1.16",null,"67 cm",{"$nulls":3},"each"]
["1.9.3.2.1.17",null,"68 cm",{"$nulls":3},"each"]
["1.9.3.2.1.18",null,"69 cm",{"$nulls":3},"each"]
["1.9.3.2.1.19",null,"70 cm",{"$nulls":3},"each"]
["1.9.3.2.1.20",null,"71 cm",{"$nulls":3},"each"]
["1.9.3.2.1.21",null,"72 cm",{"$nulls":3},"each"]
["1.9.3.2.1.22",null,"73 cm",{"$nulls":3},"each"]
["1.9.3.2.1.23",null,"74 cm",{"$nulls":3},"each"]
["1.9.3.2.1.24",null,"75 cm",{"$nulls":3},"each"]
["1.9.3.2.1.25",null,"76 cm",{"$nulls":3},"each"]
["1.9.3.2.1.26",null,"77 cm",{"$nulls":3},"each"]
["1.9.3.2.1.27",null,"78 cm",{"$nulls":3},"each"]
["1.9.3.2.1.28",null,"79 cm",{"$nulls":3},"each"]
["1.9.3.2.1.29",null,"80 cm",{"$nulls":3},"each"]
["1.9.3.2.1.30",null,"81 cm",{"$nulls":3},"each"]
["1.9.3.2.1.31",null,"82 cm",{"$nulls":3},"each"]
["1.9.3.2.1.32",null,"83 cm",{"$nulls":3},"each"]
["1.9.3.2.1.33",null,"84 cm",{"$nulls":3},"each"]
["1.9.3.2.1.34",null,"85 cm",{"$nulls":3},"each"]
["1.9.3.2.2",null,"Stiffness/Thickness/Torque ",{"$nulls":3},"each"]
["1.9.3.2.3",null,"Shapes: Straight or J-Shaped",{"$nulls":3},"each"]
["1.10",null,"EXTERNAL DUAL CHAMBER TEMPORARY PACING SYSTEM"]
["1.10.1",null,"Dual Chamber External Pacemaker   (Mode: DDD)",{"$nulls":3},"each"]
["1.10.2",null,"Mode: DDD",{"$nulls":3},"each"]
["1.10.3",null,"Atrial Temporary Pacing Cable",{"$nulls":3},"each"]
["1.10.4",null,"Ventricular Temporary External Pacing Cable",{"$nulls":3},"each"]
["1.11",null,"EXTERNAL SINGLE CHAMBER TEMPORARY PACING SYSTEM",{"$nulls":3},"each"]
["1.11.1",null,"Single Chamber External Pacemaker (Mode: VVI)",{"$nulls":3},"each"]
["1.11.2",null,"Mode: VVI",{"$nulls":3},"each"]
["1.11.3",null,"Device: External Pacemaker Device",{"$nulls":3},"each"]
["1.11.4",null,"Ventricular Temporary External Pacing Cable",{"$nulls":3},"each"]
["1.11.5",null,"Pacing lead system, temporary trans-venous, active fixation, two tips at the connector end of the lead with an identifiable, positive and negative pole",{"$nulls":3},"each"]
["1.11.6",null,"Guiding catheter",{"$nulls":3},"each"]
["1.11.7",null,"Y-adaptor (Adapter for Temporary / External Pacing)",{"$nulls":3},"each"]
["1.11.8",null,"Percutaneous haemostasis valve sheath system (Peel-Away or Cut-Away), torque device, for manipulation of lead tip within vasculature, catheter curve of MB-1 UNI shape, Various French (F)sizes:"]
["1.11.8.1",null,"4 F",{"$nulls":3},"each"]
["1.11.8.2",null,"5 F",{"$nulls":3},"each"]
["1.11.8.3",null,"6 F",{"$nulls":3},"each"]
["1.11.8.4",null,"7 F",{"$nulls":3},"each"]
["1.11.8.5",null,"8 F",{"$nulls":3},"each"]
["1.11.8.6",null,"9 F",{"$nulls":3},"each"]
["1.11.9",null,"Plastic Cover",{"$nulls":3},"each"]
["1.11.10",null," Screw-in Temporary Percutaneous Pacing Leads/Wires",{"$nulls":3},"each"]
["1.11.11",null,"Balloon Temporary Percutaneous Pacing Leads/Wires",{"$nulls":3},"each"]
["1.11.12",null,"Pre-Shaped Temporary Percutaneous Pacing Leads/Wires (LEAD CURVES / SHAPES: "]
["1.11.12.1",null,"Straight",{"$nulls":3},"each"]
["1.11.12.2",null,"C-shaped",{"$nulls":3},"each"]
["1.11.12.3",null,"J-shaped",{"$nulls":3},"each"]
["1.12.",null,"CARDIAC RHYTHM MANAGEMENT"]
["1.12.1",null,"IMPLANTABLE LOOP RECORDER:"]
["1.12.1.1",null,"Implantable Loop Recorder (ILR) (i.e. Biotronik = Biomonitor III)",{"$nulls":3},"each"]
["1.12.1.2",null,"For Syncope ",{"$nulls":3},"each"]
["1.12.1.3",null,"For Arrhythmia ",{"$nulls":3},"each"]
[2,null,"SECTION 2: CORONARY ANGIOGRAPHY AND INTERVENTIONAL CARDIOLOGY"]
["2.1",null,"CORONARY ANGIOGRAM:"]
["2.1.1",null,"Adult Angio pack:"]
["2.1.1.1",null,"Includes: Femoral Drapes – include fluid recess/pouch – 48 inch X 48 inch, Table cover 45 inch X 75 inch, kidney bowels(differed sizes), round bowls (different sizes.Define sizes – 6000mls half deep tray, 500ml bowls, 1000ml bowel), Gauze swobs 10 X 10 cm – a pack of 10, sponge stick – 8 inches, Forceps curved, iodine syringes (different sizes), injector pressure line – 50 cm line ( 1200PSI), waste bags, Seldinger needle 18G, J tip 0.35” or  0.38”, C – Arm and Fluoroscopy Cover (Clear Plastic) , Intensifier Cover, Intensifier Bag, four port fluid manifold (minimum 3 port), extra tubing – 15cm)( To include individual descriptions)Vs Manifold with 3 ports with an extra line for. Disposable bag. ",{"$nulls":3},"each"]
["2.1.2",null,"Specify the contents and their descriptions and contrasts:"]
["2.1.2.1",null,"Femoral",{"$nulls":3},"each"]
["2.1.2.2",null,"Radial",{"$nulls":3},"each"]
["2.1.3",null,"C – Arm and Fluoroscopy Cover (Clear Plastic)",{"$nulls":3},"each"]
["2.1.4",null,"Specify the contents and their descriptions: contrast",{"$nulls":3},"each"]
["2.1.5",null,"Intensifier cover",{"$nulls":3},"each"]
["2.1.6",null,"Intensifier bag",{"$nulls":3},"each"]
["2.1.7",null,"High Pressure Angio flex Extension:"]
["2.1.7.1",null,"High Pressure Angio flex Extension 84 BAR /50cm(investigate utility)",{"$nulls":3},"each"]
["2.1.7.2",null,"High Pressure Angio flex Extension 84 BAR /75 cm(investigate utility)"]
["2.1.7.3",null,"High Pressure Angio flex Extension 84 BAR /100cm (investigate utility)"]
["2.1.7.4",null,"High Pressure Angio flex Extension 84 BAR /120cm(investigate utility)"]
["2.1.8",null,"High Pressure Angio flex Extension 70 BAR (investigate utility)",{"$nulls":3},"each"]
["2.1.9",null,"High Pressure Angio flex Extension 1000PSI – 1200PSI 100cm Fixed Luer Lock(investigate utility)",{"$nulls":3},"each"]
["2.1.10",null,"Introducer Thin Wall Needle (Adult)",{"$nulls":3},"each"]
["2.1.11",null,"This item is also included in the angio pack",{"$nulls":3},"each"]
["2.1.12",null,"Introducer Thin Wall Needle (Paediatric)",{"$nulls":3},"each"]
["2.1.13",null,"Radial Introducer Needle ",{"$nulls":3},"each"]
["2.1.14",null,"Angiographic Standard Guidewire 0.035” PTFE coated 180cm( Include in Catheter Pack);different tip",{"$nulls":3},"each"]
["2.1.15",null,"Uniglide 0.035” Guidewire 260 / 320 cm (exchange wire); separate",{"$nulls":3},"each"]
["2.1.16",null,"Angiographic Stiff Guidewire 0.035” – 180 cm;separate",{"$nulls":3},"each"]
["2.1.17",null,"Angiographic Stiff Guidewire 0.035”  - Extra length;260 cm wire",{"$nulls":3},"each"]
["2.1.18",null,"260 cm wire",{"$nulls":3},"each"]
["2.1.19",null,"Hydrophilic Angiographic Guidewire – 0.035” 180cm",{"$nulls":3},"each"]
["2.1.20",null,"Hydrophilic Angiographic Guidewire 0.035” – 260cm",{"$nulls":3},"each"]
["2.1.21",null,"Hydrophilic Angiographic Guidewire 0.035” (300cm)",{"$nulls":3},"each"]
["2.1.22",null,"Uniglide Guidewire 180cm 0.035”",{"$nulls":3},"each"]
["2.1.23",null,"(Straight or J - Tip)",{"$nulls":3},"each"]
["2.1.24",null,"Angiographic Catheter Std 100cm ( Inside the Pack)",{"$nulls":3},"each"]
["2.1.25",null,"Angiographic Catheter Pigtail with side holes",{"$nulls":3},"each"]
["2.1.26",null,"Diagnostic catheter  Angled 145 degrees, Length - Different Curves and Lengths, Material and Branding. Standard – 145 degrees. Accommodate a maximum contrast pressure of 1200PSI, accommodate a guide wire 0.035”. Catheter may also be used for haemodynamic pressure monitoring and fluid administration: French (F)"]
["2.1.26.1",null,"5 F",{"$nulls":3},"each"]
["2.1.26.2",null,"6 F",{"$nulls":3},"each"]
["2.1.27",null,"Diagnostic Angiographic Catheter Pack (Judkins L & R, Wire and Sheath)",{"$nulls":3},"each"]
["2.1.28",null,"Diagnostic catheter  Standard –Accommodate a maximum contrast pressure of 1200PSI, accommodate a guide wire 0.035”. Catheter may also be used for haemodynamic pressure monitoring and fluid administration. Judkins L (left coronary) & R (right coronary) ( 90 – 110 cm): French (F)"]
["2.1.28.1",null,"5 F",{"$nulls":3},"each"]
["2.1.28.2",null,"6 F",{"$nulls":3},"each"]
["2.1.28.3",null,"7 F",{"$nulls":3},"each"]
["2.2",null,"Radial Access kit:"]
["2.2.1",null,"Radial Angiographic Catheter Pack with Sheath (standard and Hydrophilic sheaths) Introducers and Standard Angiographic Guidewires 260 (exchange length) 0.035”  – including radial band",{"$nulls":3},"each"]
["2.2.2",null,"Seldinger Radial Needle:Smaller – less than 18G",{"$nulls":3},"each"]
["2.2.3",null,"Different materials,specify",{"$nulls":3},"each"]
["2.2.4",null,"Radial Introducer wire ( smaller size & shorter) Sole Quotation",{"$nulls":3},"each"]
["2.2.5",null,"Radial Angiographic Catheter ( Dual Purpose Radial Access Catheter to engage both left and right coronary ostia).Sole Quotation. Different Lengths, curves and with or without side holes ",{"$nulls":3},"each"]
["2.2.6",null,"Radial Angiographic Catheter Hydrophillic:Different Lengths, curves and with or without side holes.  Can be sheath less only interventional guide catheters",{"$nulls":3},"each"]
["2.2.7",null,"Diagnostics Specialty Catheters",{"$nulls":3},"each"]
["2.2.8",null,"Different sizes of speciality catheters in ranges of:"]
["2.2.8.1",null,"3.5",{"$nulls":3},"each"]
["2.2.8.2",null,"4.00",{"$nulls":3},"each"]
["2.2.8.3",null,"4.5",{"$nulls":3},"each"]
["2.2.8.4",null,"5.00",{"$nulls":3},"each"]
["2.2.8.5",null,"5.50",{"$nulls":3},"each"]
["2.2.8.6",null,"6.00",{"$nulls":3},"each"]
["2.2.9",null,"Different French Sizes: "]
["2.2.9.1",null," 4 F",{"$nulls":3},"each"]
["2.2.9.2",null,"5 F",{"$nulls":3},"each"]
["2.2.9.3",null,"6 F",{"$nulls":3},"each"]
["2.2.9.4",null,"7 F",{"$nulls":3},"each"]
["2.2.9.5",null,"8 F",{"$nulls":3},"each"]
["2.2.10",null,"Different Catheters:  "]
["2.2.10.1",null,"Williams right posterior catheter",{"$nulls":3},"each"]
["2.2.10.2",null,"Multipurpose catheter",{"$nulls":3},"each"]
["2.2.10.3",null,"Amplatzer (AR -1,2,3,)",{"$nulls":3},"each"]
["2.2.10.4",null,"Amplatzer (AL – 1,2,3,)",{"$nulls":3},"each"]
["2.2.10.5",null,"Left Internal Mammary Artery (LIMA)catheter",{"$nulls":3},"each"]
["2.2.10.6",null,"Right Coronary Bypass (RCB) catheter",{"$nulls":3},"each"]
["2.2.10.7",null,"Left Coronary Artery (LCB)",{"$nulls":3},"each"]
["2.2.11",null,"Guidewire Torque device",{"$nulls":3},"each"]
["2.3",null,"INTERVENTION PROCEDURES "]
["2.3.1",null,"Angiographic Pack with Closure Device Combo",{"$nulls":3},"each"]
["2.3.2",null,"Collagen Plug based vascular closure system, suture based vascular closure device",{"$nulls":3},"each"]
["2.3.3",null,"Closure Device",{"$nulls":3},"each"]
["2.3.4",null,"Collagen Plug based vascular closure system, suture based vascular closure device",{"$nulls":3},"each"]
["2.4",null,"CORONARY INTERVENTION"]
["2.4.1",null,"Coronary Intervention Guiding Catheters:"]
["2.4.1.1",null,"RJ, LJ, AL, AR, 3DRC/Williams, interventional guide catheters with additional back-up, Shepard's Crook Right (SCR), LCB, RCB, IMA, ( with and without side holes) ",{"$nulls":3},"each"]
["2.4.1.2",null,"Different Lengths:"]
["2.4.1.2.1",null,"90 cm",{"$nulls":3},"each"]
["2.4.1.2.2",null,"91 cm",{"$nulls":3},"each"]
["2.4.1.2.3",null,"92 cm",{"$nulls":3},"each"]
["2.4.1.2.4",null,"93 cm",{"$nulls":3},"each"]
["2.4.1.2.5",null,"94 cm",{"$nulls":3},"each"]
["2.4.1.2.6",null,"95 cm",{"$nulls":3},"each"]
["2.4.1.2.7",null,"96 cm",{"$nulls":3},"each"]
["2.4.1.2.8",null,"97 cm",{"$nulls":3},"each"]
["2.4.1.2.9",null,"98 cm",{"$nulls":3},"each"]
["2.4.1.2.10",null,"99 cm",{"$nulls":3},"each"]
["2.4.1.2.11",null,"100 cm",{"$nulls":3},"each"]
["2.4.1.3",null,"Different sizes:  "]
["2.4.1.3.1",null,"AL: 3.5 to 6.0 ",{"$nulls":3},"each"]
["2.4.1.3.2",null,"AR: 0.75 to 3.0 ",{"$nulls":3},"each"]
["2.4.1.4",null,"Different French (F) sizes:"]
["2.4.1.4.1",null,"4 F",{"$nulls":3},"each"]
["2.4.1.4.2",null,"5 F",{"$nulls":3},"each"]
["2.4.1.4.3",null,"6 F",{"$nulls":3},"each"]
["2.4.1.4.4",null,"7 F",{"$nulls":3},"each"]
["2.4.1.4.5",null,"8 F",{"$nulls":3},"each"]
["2.5",null,"CORONARY INTERVENTION / PERIPHERAL GUIDE WIRE:"]
["2.5.1",null,"Coronary interventional wires are pathology and company specific and are not interchangeable.",{"$nulls":3},"each"]
["2.5.2",null,"A list of the commonly used wires in the cardiac centers in Gauteng will be provided. These wires are all 0.014” in diameter size, with different coatings and tip curves and sizes.",{"$nulls":3},"each"]
["2.5.3",null,"Examples of wire descriptions: Coronary Intervention Guide wire for Total Occlusion; Coronary Intervention Specialty Guide wires; Coronary Intervention Specialty Guide wires; Coronary Intervention Steerable Marker Guide wires "]
["2.6",null,"Coronary Intervention Guide Wires Extension System:"]
["2.6.1",null,"Guide Wire Extension for complex interventions. Guide wire Support for Complicated procedures to prevent loss of guide wire position.",{"$nulls":3},"each"]
["2.7",null,"Coronary Intervention for Guide wire Support:"]
["2.7.1",null,"Guide wire Support for Complicated procedures to prevent loss of guide wire position.",{"$nulls":3},"each"]
["2.8",null,"Coronary Intervention Micro-Catheter:"]
["2.8.1",null,"Coronary interventional Micro Catheters are pathology and company specific and are not interchangeable. A list of the commonly used Coronary interventional Micro Catheters in the cardiac centers in Gauteng will be provided. (Equal or Better)",{"$nulls":3},"each"]
["2.8.2",null,"Coronary Intervention Dual Access-Catheter:"]
["2.8.2.1",null,"Dual access microcatheters for complex coronary interventions ",{"$nulls":3},"each"]
["2.8.2.2",null,"Dual access microcatheters for complex coronary interventions ",{"$nulls":3},"each"]
["2.8.3",null,"Coronary Intervention Aspiration-Catheter set:"]
["2.8.3.1",null,"Intra coronary thrombus aspiration device",{"$nulls":3},"each"]
["2.8.3.2",null,"Intra coronary Thrombus Aspiration device  – catheter used to aspirate thrombus from a Coronary Artery (French):"]
["2.8.3.2.1",null,"6F"]
["2.8.3.2.2",null,"7F"]
["2.8.4",null,"Coronary Radial Catheter:"]
["2.8.4.1",null,"Coronary radial catheters ( diagnostic and Interventional)",{"$nulls":3},"each"]
["2.8.4.2",null,"Coronary radial catheters are the same a those used for the femoral access. However, there are unique catheters that are specific for radial access. ",{"$nulls":3},"each"]
["2.8.5",null,"Coronary Intervention Semi-Compliant Balloon Catheter:"]
["2.8.5.1",null,"Sizes: "]
["2.8.5.1.1",null,"1.0 mm– 5.0mm",{"$nulls":3},"each"]
["2.8.5.1.2",null,"6mm – 30mm",{"$nulls":3},"each"]
[null,null,"COMMENTS: Coronary Semi-Compliant Balloons come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Balloon differ. Choice of Balloon used is Patient Anatomy and Lesion Dependant.  Different Balloons from different criteria are needed to ensure right Size and Length is available to avoid having to use a second balloon for a single procedure which is not cost-effective bearing in mind products used and longer theatre-time. "]
["2.8.6",null,"Coronary Intervention Non-Compliant Balloon Catheter:"]
["2.8.6.1",null,"Sizes and lenghth: ",{"$nulls":3},"each"]
["2.8.6.1.1",null,"0.5 – 6.0mm (diamter range",{"$nulls":3},"each"]
["2.8.6.1.2",null,"6 – 48mm(lenghth range)",{"$nulls":3},"each"]
[null,null,"COMMENTS: Coronary Balloons come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Balloon differ. Choice of Balloon used is Patient Anatomy and Lesion Dependant.  Non-Compliant Balloons are used for Calcified Lesions. "]
["2.8.7",null,"Coronary Intervention Balloon Catheter for total Occlusion:"]
["2.8.7.1",null,"Chronic Total Occluded (CTO) balloons",{"$nulls":3},"each"]
["2.8.7.2",null,"Sizes and lenghths: "]
["2.8.7.2.1",null,"0.5 – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.8.7.2.2",null,"6 – 48mm(lenghth range)",{"$nulls":3},"each"]
["2.8.8",null,"Coronary Intervention High Pressure Balloon Catheter (able to reach 40 Ataxia-Telangiectasia mutated protein kinase (ATM):"]
["2.8.8.1",null,"Sizes and lengths:"]
["2.8.8.1.1",null,"0.5 – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.8.8.1.2",null,"6 – 48mm(lenghth range)",{"$nulls":3},"each"]
["2.8.9",null,"Coronary Intervention Drug Coated Balloon Catheter:"]
["2.8.9.1",null,"Drug Eluting balloons Sizes and lenghths:"]
["2.8.9.1.1",null,"0.5 – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.8.9.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
["2.8.9.2",null,"Drug Eluting balloons (Paclitaxel or Sirolimus – Equivalent or better)",{"$nulls":3},"each"]
["2.8.10",null,"Coronary Intervention Calcium Modification Balloons:"]
["2.8.10.1",null,"Sizes and lenghths: "]
["2.8.10.1.1",null,"0.5 – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.8.10.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
["2.8.10.2",null,"Cutting Balloon / Scoring Balloon",{"$nulls":3},"each"]
["2.8.11",null,"Coronary Intervention Focus Force Balloon Catheter:"]
["2.8.11.1",null,"Sizes and lenghths:"]
["2.8.11.1.1",null,"0.5 – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.8.11.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
["2.8.11.2",null,"Lesion preparation for Stent Procedure, In-Stent Re-Stenosis, Ostial Lesions and Small Vessels. ",{"$nulls":3},"each"]
[null,null,"Description:Large sizes if available",{"$nulls":3},"each"]
["2.9",null,"CORONARY INTERVENTION BARE METAL STENT SYSTEM:"]
["2.9.1.",null,"Sizes and lengths:"]
["2.9.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
[null,null,"Description: Coronary Stents come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Stents differ depending on the type of Material used to manufacture the stent. Choice of Stent used is Patient Anatomy and Lesion Dependent. Coronary stents are metal alloy scaffolds used in percutaneous coronary intervention. These scaffolds are mounted on a balloon system to enable optimal deployment."]
["2.9.2.",null,"Coronary Intervention Drug Eluting Stent System:"]
["2.9.2.1",null,"Sizes and lengths:"]
["2.9.2.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.1.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
[null,null,"Description: Coronary Stents come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Stents differ depending on the type of Material used to manufacture the stent. Choice of Stent used is Patient Anatomy and Lesion Dependent. Coronary stents are metal alloy scaffolds used in percutaneous coronary intervention. These scaffolds are mounted on a balloon system to enable optimal deployment."]
["2.9.3.",null,"Coronary Intervention Stent System with a biodegradable polymer:"]
["2.9.3.1",null,"Sizes and lengths:"]
["2.9.3.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2..3.1.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
[null,null,"Description: Coronary Stents come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Stents differ depending on the type of Material used to manufacture the stent. Choice of Stent used is Patient Anatomy and Lesion Dependent. Coronary stents are metal alloy scaffolds used in percutaneous coronary intervention. These scaffolds are mounted on a balloon system to enable optimal deployment. This stent system has a biodegradable polymer, which is a vehicle that carries the eluting drug."]
["2.9.4.",null,"Coronary Intervention Absorbable Stent System:"]
["2.9.4.1",null,"Sizes and lengths:"]
["2.9.4.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.4.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
[null,null,"Description: Coronary Stents come in various Sizes and Lengths. Lesion Crossing Profile and Push ability of Stents differ depending on the type of Material used to manufacture the stent. Choice of Stent used is Patient Anatomy and Lesion Dependent. Coronary stents are metal alloy scaffolds used in percutaneous coronary intervention. These scaffolds are mounted on a balloon system to enable optimal deployment. The entire stent scaffold degrades over time."]
["2.9.5",null,"Coronary Intervention Tapered Drug Eluting Stent System: "]
["2.9.5.1",null,"Sizes and lengths:"]
["2.9.5.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.5.1.2",null,"6 – 60mm(lenghth range)"]
[null,null,"Description:i.e. 2.75 – 2.25/3.0 – 2.25/ 3.5 – 3.0 i.e. 30 – 60mm.These stents are tapering stents, mounted on a tapering balloon "]
["2.9.6",null,"Coronary Intervention Covered Stent System (Primarily used for Coronary Perforations):"]
["2.9.6.1",null,"Sizes: "]
["2.9.6.1.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.6.1.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
["2.9.6.2",null,"Description:A metallic scaffold covered by a continuous poly urethane membrane to prevent extravasation of blood from the vessel once the stent is deployed",{"$nulls":3},"each"]
["2.9.7",null,"Coronary Intervention Vascular Covered Stent System:"]
["2.9.7.1",null,"Large vessel Covered Stent System",{"$nulls":3},"each"]
["2.9.7.2",null,"Sizes:"]
["2.9.7.2.1",null,"2.0mm – 6.0mm (diameter range)",{"$nulls":3},"each"]
["2.9.7.2.2",null,"6 – 60mm(lenghth range)",{"$nulls":3},"each"]
["2.9.7.3",null,"Description:Vascular Covered Stent. Only used for large vessel Emergency Rupture and Vessel Dissection.",{"$nulls":3},"each"]
["2.9.8",null,"Coronary Intervention Protection Device: Filter wire:"]
["2.9.8.1",null,"Intervention Protection Device",{"$nulls":3},"each"]
["2.9.8.2",null," Protect Distal Vessels and Venous Bypass Grafts during Angioplasty Procedure against Thrombus Shift and Occlusion.",{"$nulls":3},"each"]
["2.9.9",null,"Coronary Intervention Protection Device for Carotid Arteries during Transcatheter Aortic Valve Implantation (TAVI) Procedures:"]
["2.9.9.1",null,"Intervention Protection Device",{"$nulls":3},"each"]
["2.9.9.2",null," Protect Proximal Vessels against Plaque and Thrombus Shift and Occlusion.",{"$nulls":3},"each"]
["2.9.9.3",null,"Vena Cava filter set compromises of :"]
["2.9.9.3.1",null,"Vena Cava filter system",{"$nulls":3},"each"]
["2.9.9.3.2",null,"Filter with markers,compatible with a 0.35-inch wire guide:"]
["2.9.9.3.2.1",null,"pre-loaded on a flexible 7F, 65 cm long introduction sheath system,",{"$nulls":3},"each"]
["2.9.9.3.2.2",null,"Pre- dilator hydrophilic coated 10F 20cmm long sheath and introducer",{"$nulls":3},"each"]
["2.9.9.3.3",null,"There are two types, depending on access site:"]
["2.9.9.3.3.1",null,"Femoral access : filter diameter 30mm,length 49mm",{"$nulls":3},"each"]
["2.9.9.3.3.2",null,"Jugular access: filter diameter 30mm,length 49mm",{"$nulls":3},"each"]
["2.9.10",null,"Other Stent / Balloon Systems:"]
["2.9.10.1",null,"Vascular Stent: Nitinol self-expandable stent with radiopaque markers at both ends. ",{"$nulls":3},"each"]
["2.9.10.2",null,"The product provides mechanical support to maintain constant blood flow of the vessel.",{"$nulls":3},"each"]
["2.9.10.3",null,"The stent is supplied preloaded in an introducer catheter. A radiopaque marker on the distal tip of the sheath is used to visualize deployment of the stent. Stent deployment is controlled by means of a hand-held device.",{"$nulls":3},"each"]
["2.9.10.4",null,"Iliac Stent: Vascular Stent is a balloon-expandable bare metal stent or covered stents.",{"$nulls":3},"each"]
["2.9.10.5",null,"It is pre-mounted on an over-the-wire balloon catheter, which serves as the delivery system. The stent is positioned between two radiopaque marker bands, which are located inside the balloon at the proximal and distal tapers of the balloon. Stent deployment controlled by inflation device.",{"$nulls":3},"each"]
["2.9.10.6",null,"Carotid Stent: Nitinol self-expanding stent.",{"$nulls":3},"each"]
["2.9.10.7",null,"Vascular Balloon",{"$nulls":3},"each"]
["2.9.10.8",null,"Expandable",{"$nulls":3},"each"]
["2.9.10.9",null,"Stent: Stent is a balloon-expandable bare metal stent",{"$nulls":3},"each"]
["2.9.10.10",null,"It is pre-mounted on an over-the-wire balloon catheter, which serves as the delivery system. The stent is positioned between two radiopaque marker bands, which are located inside the balloon at the proximal and distal tapers of the balloon. Stent deployment controlled by inflation device.",{"$nulls":3},"each"]
["2.9.10.11",null,"Standard Wall Graft Stents: self-expandable PTFE covered metal stents.",{"$nulls":3},"each"]
["2.9.10.12",null,"It is pre-mounted on an over-the-wire balloon catheter, which serves as the delivery system. The stent is positioned between two radiopaque marker bands, which are located inside the balloon at the proximal and distal tapers of the balloon. Stent deployment controlled by inflation device.",{"$nulls":3},"each"]
["2.9.10.13",null,"Grafts are designed to use as vascular prothesis replacing or bypassing diseased vessels.",{"$nulls":3},"each"]
["2.9.10.14",null,"Different Configurations and sizes are available:"]
["2.9.10.14.1",null,"Standard or thin wall graft",{"$nulls":3},"each"]
["2.9.10.14.2",null,"Fixed rings, removable rings or without rings, Rings provide radial support.",{"$nulls":3},"each"]
["2.9.10.14.3",null,"Tapered, straight or bifurcated",{"$nulls":3},"each"]
["2.9.10.14.4",null,"Woven or knitted",{"$nulls":3},"each"]
["2.9.10.14.5",null,"With or without heparin coating.",{"$nulls":3},"each"]
["2.9.10.15",null,"Expanded Polytetrafluoroethylene (ePTFE), Polytetrafluoroethylene (PTFE) or Dacron Material is used.",{"$nulls":3},"each"]
["2.9.10.16",null,"Graft Heparin Ringed: Artificial vascular graft made of Polytetrafluoroethylene (PTFE) material. Covered with Heparin.",{"$nulls":3},"each"]
["2.9.10.17",null,"Sizes and lengths :"]
["2.9.10.17.1",null,"6mm -36mm (diameter)",{"$nulls":3},"each"]
["2.9.10.17.2",null,"10mm-100mm (length)",{"$nulls":3},"each"]
["2.9.10.18",null,"Graft Thrombectomy Catheter: Fogarty Corkscrew and Graft catheter is radiopaque and flexible.",{"$nulls":3},"each"]
["2.9.10.19",null,"Designed to remove tough, mature thrombus from Synthetic grafts. 4, 5, 6 French catheters sizes:"]
["2.9.10.19.1",null,"4 F",{"$nulls":3},"each"]
["2.9.10.19.2",null,"5 F",{"$nulls":3},"each"]
["2.9.10.19.3",null,"6 F",{"$nulls":3},"each"]
["2.9.10.20",null,"Catheter length 80 cm",{"$nulls":3},"each"]
["2.9.10.21",null,"Membrane extended diameter 2.7 – 6mm",{"$nulls":3},"each"]
["2.9.10.22",null,"Membrane extracted diameter 6 - 18 mm",{"$nulls":3},"each"]
["2.9.10.23",null,"Gel Weave: Dacron vascular graft, collagen coated.",{"$nulls":3},"each"]
["2.9.10.24",null,"Straight: Bore size 6 – 38mm by Usable length: 15 – 40 cm",{"$nulls":3},"each"]
["2.9.10.25",null,"Bifurcated: Bore size: by Usable length: 45 cm:"]
["2.9.10.25.1",null,"12x6 mm",{"$nulls":3},"each"]
["2.9.10.25.2",null,"14x7 mm",{"$nulls":3},"each"]
["2.9.10.25.3",null,"16x8 mm",{"$nulls":3},"each"]
["2.9.10.25.4",null,"18x9 mm",{"$nulls":3},"each"]
["2.9.10.25.5",null,"20x10 mm",{"$nulls":3},"each"]
["2.9.10.25.6",null,"22x11 mm",{"$nulls":3},"each"]
["2.9.10.25.7",null,"24x12 mm",{"$nulls":3},"each"]
["2.9.10.26",null,"Straight Graft: Artificial vascular graft made of Expanded Polytetrafluoroethylene (ePTFE) or Polytetrafluoroethylene (PTFE).",{"$nulls":3},"each"]
["2.9.10.27",null,"Straight configuration.",{"$nulls":3},"each"]
["2.9.10.28",null,"Diameter: 6 – 24mm",{"$nulls":3},"each"]
["2.9.10.29",null,"Lengths: 20 – 70mm",{"$nulls":3},"each"]
["2.9.10.30",null,"Bifurcating Knitted Graft: Artificial Dacron material, Collagen coated.",{"$nulls":3},"each"]
["2.9.10.31",null,"Bifurcated, Knitted graft configuration.",{"$nulls":3},"each"]
["2.9.10.32",null,"Bifurcated: Bore size:  by Usable length: 50 cm:"]
["2.9.10.32.1",null,"12x6 mm",{"$nulls":3},"each"]
["2.9.10.32.2",null,"14x7 mm",{"$nulls":3},"each"]
["2.9.10.32.3",null,"16x8 mm",{"$nulls":3},"each"]
["2.9.10.32.4",null,"18x9 mm",{"$nulls":3},"each"]
["2.9.10.32.5",null,"20x10 mm",{"$nulls":3},"each"]
["2.9.10.32.6",null,"22x11 mm",{"$nulls":3},"each"]
["2.9.10.32.7",null,"24x12 mm",{"$nulls":3},"each"]
["2.9.10.33",null,"Tube Thoracic Woven: Artificial vascular graft made of Expanded Polytetrafluoroethylene (ePTFE), Polytetrafluoroethylene (PTFE) or Dacron material, Collagen coated.",{"$nulls":3},"each"]
["2.9.10.34",null,"Straight, woven configuration",{"$nulls":3},"each"]
["2.9.10.35",null,"Diameter: 24 – 34 mm",{"$nulls":3},"each"]
["2.9.10.36",null,"Lengths: 15 cm",{"$nulls":3},"each"]
["2.10",null,"CORONARY INTERVENTION ACCESSORIES:"]
["2.10.1",null,"Percutaneous Transluminal Coronary Angioplasty (PTCA) Kit:"]
["2.10.1.1",null," Inflation device",{"$nulls":3},"each"]
["2.10.1.2",null," Y- adaptor",{"$nulls":3},"each"]
["2.10.1.3",null,"Tri – Adaptor"]
["2.10.1.4",null,"Wire Torquer",{"$nulls":3},"each"]
["2.10.1.5",null,"Introducer Needle",{"$nulls":3},"each"]
["2.10.1.6",null,"Insertion Tool",{"$nulls":3},"each"]
["2.10.1.7",null,"Torquer Device",{"$nulls":3},"each"]
["2.10.1.8",null,"Inflation Device",{"$nulls":3},"each"]
["2.10.1.9",null,"Y - Adaptor",{"$nulls":3},"each"]
["2.10.1.10",null,"Tri – Adaptor",{"$nulls":3},"each"]
["2.10.1.11",null,"Tree-Way Stopcock",{"$nulls":3},"each"]
["2.10.1.12",null,"Rotating Y-Adaptor",{"$nulls":3},"each"]
["2.10.1.13",null,"Rotating / Push able Y-Adaptor Set",{"$nulls":3},"each"]
["2.10.1.14",null,"Rotating / Push able / Click Y-Adaptor Set",{"$nulls":3},"each"]
["2.10.1.15",null,"Rotating Tri-Adaptor",{"$nulls":3},"each"]
["2.10.1.16",null,"Rotating haemostatic Valve",{"$nulls":3},"each"]
["2.10.1.17",null,"Rotating haemostatic Valve with insertion tool",{"$nulls":3},"each"]
["2.10.1.18",null,"Co-Pilot Bleed back Control Valve ",{"$nulls":3},"each"]
["2.10.1.19",null,"Pericardiocentesis High Flow Catheter Kit",{"$nulls":3},"each"]
["2.10.1.20",null,"Seldinger needle and wire",{"$nulls":3},"each"]
["2.10.1.21",null,"Short (smaller) pigtail catheter  ",{"$nulls":3},"each"]
["2.10.1.22",null,"60 Ml Luer Lock syringe ( a dilator) ",{"$nulls":3},"each"]
["2.10.1.23",null,"Fluid Drainage bag",{"$nulls":3},"each"]
["2.11",null,"PAEDIATRIC INTERVENTION:"]
["2.11.1",null,"Paediatric Angio pack",{"$nulls":3},"each"]
["2.11.2",null,"Paediatric Angiographic",{"$nulls":3},"each"]
["2.11.3",null,"Catheter ( No Packs)",{"$nulls":3},"each"]
["2.11.4",null,"Includes: Femoral Drapes – include fluid recess/pouch – 48 inch X 48 inch, Table cover 45 inch X 75 inch, kidney bowels(differed sizes), round bowls (different sizes*** Define sizes – 6000mls half deep tray, 500ml bowls, 1000ml bowel), Gauze swobs 10 X 10 cm – a pack of 10, sponge stick – 8 inches, Forceps curved, iodine  syringes (different sizes), injector pressure line – 50 cm line ( 1200PSI), waste bags, Seldinger needle 21/22G, J tip 0.35” or  0.38”, C – Arm and Fluoroscopy Cover (Clear Plastic) , Intensifier Cover, Intensifier Bag, four port fluid manifold (minimum 3 port), extra tubing – 15cm)( To include individual descriptions)*** Vs Manifold with 3 ports with an extra",{"$nulls":3},"each"]
["2.11.5",null,"Vessel Sizing Catheter (Paediatrics intervention):"]
["2.11.5.1",null,"18mm",{"$nulls":3},"each"]
["2.11.5.2",null,"24mm",{"$nulls":3},"each"]
["2.11.5.3",null,"34mm",{"$nulls":3},"each"]
["2.11.6",null,"Sizing balloon for atrial septal defect device closure ",{"$nulls":3},"each"]
["2.12",null,"SNARE kit:"]
["2.12.1",null,"5mm x 120cm,",{"$nulls":3},"each"]
["2.12.2",null,"10mm x 120cm",{"$nulls":3},"each"]
["2.12.3",null,"15mm x 120cm",{"$nulls":3},"each"]
["2.12.4",null,"20mm x 120cm",{"$nulls":3},"each"]
["2.12.5",null,"25mm x 120cm",{"$nulls":3},"each"]
["2.12.6",null,"30mm x 120cm",{"$nulls":3},"each"]
["2.12.7",null,"35mm x 120cm",{"$nulls":3},"each"]
["2.12.8",null,"Description: Micro sizes also available",{"$nulls":3},"each"]
["2.12.9",null,"French (F) sizes:"]
["2.12.9.1",null,"4 F",{"$nulls":3},"each"]
["2.12.9.2",null,"6 F",{"$nulls":3},"each"]
["2.12.10",null,"Snares ( Single /Double/Triple Loop) with a snare catheter for percutaneous retrieval and manipulation of atraumatic intravascular foreign body, radiopaque loop ",{"$nulls":3},"each"]
[null,null,"Comment:(Equal or better than)"]
["2.13",null,"PAEDIATRICS CLOSURE DEVICE KITS:"]
["2.13.1",null,"4mm to 40mm",{"$nulls":3},"each"]
["2.13.2",null,"French (F) sizes:"]
["2.13.2.1",null,"6 F",{"$nulls":3},"each"]
["2.13.2.2",null,"7 F",{"$nulls":3},"each"]
["2.13.2.3",null,"8 F",{"$nulls":3},"each"]
["2.13.2.4",null,"9 F",{"$nulls":3},"each"]
["2.13.2.5",null,"10 F",{"$nulls":3},"each"]
["2.13.2.6",null,"12 F",{"$nulls":3},"each"]
["2.13.3",null,"Atrial septal defect  occluder with the delivery system, torque vue all sizes with 45 degrees curve, ‘0.35 intervention Amplatzer  super stiff exchange wire 260cm to 300cm",{"$nulls":3},"each"]
["2.13.4",null,"Sizes:"]
["2.13.4.1",null,"18mm",{"$nulls":3},"each"]
["2.13.4.2",null,"25mm",{"$nulls":3},"each"]
["2.13.4.3",null,"35mm",{"$nulls":3},"each"]
["2.13.5",null," Multi fenestrated (MF) with 45 degrees curve sizes:"]
["2.13.5.1",null,"4mm",{"$nulls":3},"each"]
["2.13.5.2",null,"6mm",{"$nulls":3},"each"]
["2.13.5.3",null,"8mm ",{"$nulls":3},"each"]
["2.13.5.4",null,"10mm",{"$nulls":3},"each"]
["2.13.5.5",null,"12mm",{"$nulls":3},"each"]
["2.13.5.6",null,"14mm",{"$nulls":3},"each"]
["2.13.5.7",null,"16mm",{"$nulls":3},"each"]
["2.13.5.8",null,"18mm",{"$nulls":3},"each"]
["2.13.6",null,"French (F) sizes:"]
["2.13.6.1",null,"6 F",{"$nulls":3},"each"]
["2.13.6.2",null,"7 F",{"$nulls":3},"each"]
["2.13.6.3",null,"8 F",{"$nulls":3},"each"]
["2.13.6.4",null,"9 F",{"$nulls":3},"each"]
["2.13.7",null,"Ventricular septal defect",{"$nulls":3},"each"]
["2.13.8",null,"Muscular Ventricular septal defect occluder device with the delivery system with 45 degrees curve on all sizes,’0.35 intervention super stiff amplatzer Abbott exchange guidewire 260cm to 300cm ",{"$nulls":3},"each"]
["2.13.9",null,"5/4,6/4,",{"$nulls":3},"each"]
["2.13.10",null,"8/6,7/8,",{"$nulls":3},"each"]
["2.13.11",null,"10/8,",{"$nulls":3},"each"]
["2.13.12",null,"12/10,",{"$nulls":3},"each"]
["2.13.13",null,"French (F) sizes:"]
["2.13.13.1",null,"4 F",{"$nulls":3},"each"]
["2.13.13.2",null,"5 F",{"$nulls":3},"each"]
["2.13.13.3",null,"6 F",{"$nulls":3},"each"]
["2.13.13.4",null,"7 F",{"$nulls":3},"each"]
["2.13.14",null,"Duct Occluder 01, Patent ductus arteriosus(PDA) device with delivery system amplatzer torque, low profile(LP) 180degrees curve on all sizes, ‘0.35intervention super stiff amplatzer  guide wire",{"$nulls":3},"each"]
["2.13.15",null,"Sizes:"]
["2.13.15.1",null,"6mm",{"$nulls":3},"each"]
["2.13.15.2",null,"8mm ",{"$nulls":3},"each"]
["2.13.15.3",null,"10mm",{"$nulls":3},"each"]
["2.13.15.4",null,"12mm",{"$nulls":3},"each"]
["2.13.15.5",null,"14mm",{"$nulls":3},"each"]
["2.13.15.6",null,"16mm",{"$nulls":3},"each"]
["2.13.15.7",null,"18mm",{"$nulls":3},"each"]
["2.13.15.8",null,"20mm",{"$nulls":3},"each"]
["2.13.15.9",null,"Additional sizes:"]
["2.13.15.9.1",null,"3x2mm",{"$nulls":3},"each"]
["2.13.15.9.2",null,"3x4mm",{"$nulls":3},"each"]
["2.13.15.9.3",null,"3x6mm",{"$nulls":3},"each"]
["2.13.15.9.4",null,"4x2mm",{"$nulls":3},"each"]
["2.13.15.9.5",null,"4x4mm",{"$nulls":3},"each"]
["2.13.15.9.6",null,"4x6mm",{"$nulls":3},"each"]
["2.13.15.9.7",null,"5x2mm",{"$nulls":3},"each"]
["2.13.15.9.8",null,"5x4mm",{"$nulls":3},"each"]
["2.13.15.9.9",null,"5x6mm",{"$nulls":3},"each"]
["2.13.16",null,"Vascular plug 2 and Prosthetic paravalvular leak (PVL) plugs – Varying shape and sizes ",{"$nulls":3},"each"]
["2.14",null,"BALLOONS-VALVUPLASTY:"]
["2.14.1",null,"4mmx2cm",{"$nulls":3},"each"]
["2.14.2",null,"12mmx2cm,",{"$nulls":3},"each"]
["2.14.3",null,"5.0mmx3cm to 6mmx3cm",{"$nulls":3},"each"]
["2.14.3.1",null,"5.0mmx3cm to 7mmx3cm",{"$nulls":3},"each"]
["2.14.3.2",null,"5.0mmx3cm to 8mmx3cm",{"$nulls":3},"each"]
["2.14.3.3",null,"5.0mmx3cm to 9mmx3cm",{"$nulls":3},"each"]
["2.14.3.4",null,"5.0mmx3cm to 10mmx3cm",{"$nulls":3},"each"]
["2.14.3.5",null,"5.0mmx3cm to 11mmx3cm",{"$nulls":3},"each"]
["2.14.3.6",null,"5.0mmx3cm to 12mmx3cm",{"$nulls":3},"each"]
["2.14.4",null,"8mmx5cm to 10mmx5cm,",{"$nulls":3},"each"]
["2.14.4.1",null,"9mmx5cm to 10mmx5cm,",{"$nulls":3},"each"]
["2.14.4.2",null,"10mmx5cm to 10mmx5cm,",{"$nulls":3},"each"]
["2.14.5",null,"8mmx4cm to 12mmx4cm,",{"$nulls":3},"each"]
["2.14.5.1",null,"9mmx4cm to 12mmx4cm,",{"$nulls":3},"each"]
["2.14.5.2",null,"10mmx4cm to 12mmx4cm,",{"$nulls":3},"each"]
["2.14.5.3",null,"11mmx4cm to 12mmx4cm,",{"$nulls":3},"each"]
["2.14.5.4",null,"12mmx4cm to 12mmx4cm,",{"$nulls":3},"each"]
["2.14.6",null,"9mmx6cm to 12mmx6cm",{"$nulls":3},"each"]
["2.14.6.1",null,"10mmx6cm to 12mmx6cm",{"$nulls":3},"each"]
["2.14.6.2",null,"11mmx6cm to 12mmx6cm",{"$nulls":3},"each"]
["2.14.6.3",null,"12mmx6cm to 12mmx6cm",{"$nulls":3},"each"]
["2.14.7",null,"4mmx10cm",{"$nulls":3},"each"]
["2.14.8",null,"French (F) sizes:"]
["2.14.8.1",null,"4 F",{"$nulls":3},"each"]
["2.14.8.2",null,"5 F",{"$nulls":3},"each"]
["2.14.8.3",null,"6 F",{"$nulls":3},"each"]
["2.14.9",null,"Semi-compliant / Non-compliant Pulmonary Valvuloplasty Balloons: catheter with a distally mounted non-compliant balloon and coaxial construction allowing for extremely fast inflations and deflations, having radiopaque platinum marker bands for reliable positioning, length of between 70cm and 100cm ‘0.021, ‘0.025, ‘0.035 guidewire",{"$nulls":3},"each"]
["2.15",null,"SEPTOSTOMY BALLOON:"]
["2.15.1",null,"9.5mmx0.95c",{"$nulls":3},"each"]
["2.15.2",null,"13.5mmx1.35cm",{"$nulls":3},"each"]
["2.15.3",null,"French (F) sizes:"]
["2.15.3.1",null,"5 F",{"$nulls":3},"each"]
["2.15.3.2",null,"6 F",{"$nulls":3},"each"]
["2.15.4",null,"Catheter, balloon, with angled tip 35degrees, for expanding an atrial septal defect to improve oxygenation of the blood on neonates/children born with complex cyanotic congenital heart disease (TGA), intervention 0.014in guide wire",{"$nulls":3},"each"]
["2.16",null,"STENTS-FOR COARCTATION"]
["2.16.1",null,"French (F) sizes:"]
["2.16.1.1",null,"12 F",{"$nulls":3},"each"]
["2.16.1.2",null,"14 F",{"$nulls":3},"each"]
["2.16.1.3",null,"16 F",{"$nulls":3},"each"]
["2.16.1.4",null,"18 F",{"$nulls":3},"each"]
["2.16.2",null,"BIB (balloon in balloon) stent placement catheter, Covered mounted CP Stent system used for native or recurrent coarctation of the descending Aorta (vessel stenosis in congenital heart)",{"$nulls":3},"each"]
["2.16.3",null,"Guidewire Torque Device (Paediatric)",{"$nulls":3},"each"]
["2.16.4",null,"Vessel seizing Catheter (Paediatrics)",{"$nulls":3},"each"]
[3,null,"SECTION 3: STRUCTURAL HEART CONSUMABLES"]
["3.1",null,"TRANSCATHETER AORTIC VALVE IMPLANTATION (TAVI) EQUIPMENT LIST"]
["3.1.1",null,"Accessories for Transcatheter Aortic Valve Implantation (TAVI):"]
["3.1.1.1",null,"Super stiff wire (0.035 inch) 260 cm e.g. Amplatzer – Equal or better ",{"$nulls":3},"each"]
["3.1.1.2",null,"Pre-shaped Left Ventricular Access  Wires, 0.035 x 275cm.(e.g. Safari  - extra small/small/large wire Boston scientific) (Equal or Better)",{"$nulls":3},"each"]
["3.1.1.3",null,"Extra stiff Left Ventricular Access wire, 300cm.(e.g. Lundequist)",{"$nulls":3},"each"]
["3.1.1.4",null,"Suture Based closure system.(e.g. Proglide or (Equal or Better) - Listed under closure devices)",{"$nulls":3},"each"]
["3.1.1.5",null,"6F – Collagen Plug Non-suture Vascular closure system.(e.g. Angioseal ( Equal or Better) Listed under closure devices)",{"$nulls":3},"each"]
["3.1.1.6",null,"8F – Collagen Plug Non-suture Vascular closure system.(e.g. Angioseal ( Equal or Better) Listed under closure devices)",{"$nulls":3},"each"]
["3.1.1.7",null,"Straight hydrophilic wire,  180cm and 260cm.(e.g.  Terumo) ( Equal or Better)",{"$nulls":3},"each"]
["3.1.1.8",null,"Pacing cables and connection",{"$nulls":3},"each"]
["3.1.1.9",null,"Pre-dilatation balloons different sizes:"]
["3.1.1.9.1",null,"18mm",{"$nulls":3},"each"]
["3.1.1.9.2",null,"19mm",{"$nulls":3},"each"]
["3.1.1.9.3",null,"20mm",{"$nulls":3},"each"]
["3.1.1.9.4",null,"21mm",{"$nulls":3},"each"]
["3.1.1.9.5",null,"22mm",{"$nulls":3},"each"]
["3.1.1.9.6",null,"23mm",{"$nulls":3},"each"]
["3.1.1.9.7",null,"24mm",{"$nulls":3},"each"]
["3.1.1.9.8",null,"25mm",{"$nulls":3},"each"]
["3.1.1.9.9",null,"26mm",{"$nulls":3},"each"]
["3.1.1.10",null,"Semi-compliant “large aortic valve” balloons – large sizes. Different Sizes. (e.g. Cristal Balloons)",{"$nulls":3},"each"]
["3.1.1.11",null,"Post-dilatation balloons:"]
["3.1.1.11.1",null,"18mm",{"$nulls":3},"each"]
["3.1.1.11.2",null,"19mm",{"$nulls":3},"each"]
["3.1.1.11.3",null,"20mm",{"$nulls":3},"each"]
["3.1.1.11.4",null,"21mm",{"$nulls":3},"each"]
["3.1.1.11.5",null,"22mm",{"$nulls":3},"each"]
["3.1.1.11.6",null,"23mm",{"$nulls":3},"each"]
["3.1.1.11.7",null,"24mm",{"$nulls":3},"each"]
["3.1.1.11.8",null,"25mm",{"$nulls":3},"each"]
["3.1.1.11.9",null,"26mm",{"$nulls":3},"each"]
["3.1.1.12",null,"Semi-compliant “large aortic valve” balloons – large sizes. Different Sizes. (e.g. Z-med or Nucleus balloons)",{"$nulls":3},"each"]
["3.1.1.13",null,"Peripheral angioplasty balloons. (Mustang peripheral balloons, different sizes) ( 5 – 8 mm) (e.g. Mustang peripheral balloons, different sizes) ( equal or better )",{"$nulls":3},"each"]
["3.1.1.14",null,"Aortic occlusion balloons ",{"$nulls":3},"each"]
["3.1.1.15",null,"Semi-compliant balloons. e.g. (Tyshak, different sizes) ( Equal or Better )",{"$nulls":3},"each"]
["3.1.1.16",null,"Self-expanding peripheral stents (protégé)",{"$nulls":3},"each"]
["3.1.1.17",null,"Peripheral Vascular covered stents ",{"$nulls":3},"each"]
["3.1.1.18",null,"Peripheral (Femoral Artery) Vascular Covered Stents  e.g. (Different sizes) ( Equal or Better )",{"$nulls":3},"each"]
["3.1.1.19",null,"Large Bore Arterial Access Sheaths :French (F)"]
["3.1.1.19.1",null,"7F",{"$nulls":3},"each"]
["3.1.1.19.2",null,"8F",{"$nulls":3},"each"]
["3.1.1.19.3",null,"9F",{"$nulls":3},"each"]
["3.1.1.19.4",null,"10F",{"$nulls":3},"each"]
["3.1.1.19.5",null,"11F",{"$nulls":3},"each"]
["3.1.1.20",null,"Femoral sheath ,long, reinforced arrow:"]
["3.1.1.20.1",null,"23cm",{"$nulls":3},"each"]
["3.1.1.20.2",null,"24cm",{"$nulls":3},"each"]
["3.1.1.20.3",null,"25cm",{"$nulls":3},"each"]
["3.1.1.20.4",null,"26cm",{"$nulls":3},"each"]
["3.1.1.20.5",null,"27cm",{"$nulls":3},"each"]
["3.1.1.20.6",null,"28cm",{"$nulls":3},"each"]
["3.1.1.20.7",null,"29cm",{"$nulls":3},"each"]
["3.1.1.20.8",null,"30cm",{"$nulls":3},"each"]
["3.1.1.20.9",null,"31cm",{"$nulls":3},"each"]
["3.1.1.20.10",null,"32cm",{"$nulls":3},"each"]
["3.1.1.20.11",null,"33cm",{"$nulls":3},"each"]
["3.1.1.20.12",null,"34cm",{"$nulls":3},"each"]
["3.1.1.20.13",null,"35cm",{"$nulls":3},"each"]
["3.1.1.20.14",null,"36cm",{"$nulls":3},"each"]
["3.1.1.20.15",null,"37cm",{"$nulls":3},"each"]
["3.1.1.20.16",null,"38cm",{"$nulls":3},"each"]
["3.1.1.20.17",null,"39cm",{"$nulls":3},"each"]
["3.1.1.20.18",null,"40cm",{"$nulls":3},"each"]
["3.1.1.20.19",null,"41cm",{"$nulls":3},"each"]
["3.1.1.20.20",null,"42cm",{"$nulls":3},"each"]
["3.1.1.20.21",null,"43cm",{"$nulls":3},"each"]
["3.1.1.20.22",null,"44cm",{"$nulls":3},"each"]
["3.1.1.20.23",null,"45cm",{"$nulls":3},"each"]
["3.1.1.20.24",null,"46cm",{"$nulls":3},"each"]
["3.1.1.20.25",null,"47cm",{"$nulls":3},"each"]
["3.1.1.20.26",null,"48cm",{"$nulls":3},"each"]
["3.1.1.20.27",null,"49cm",{"$nulls":3},"each"]
["3.2",null,"VALVES PLUS DELIVERY KIT SYSTEM: "]
["3.2.1",null,"Balloon expandable Transcatheter Aortic Valve Implantation (TAVI) valves, different sizes:"]
["3.2.1.1",null,"20cm",{"$nulls":3},"each"]
["3.2.1.2",null,"21cm",{"$nulls":3},"each"]
["3.2.1.3",null,"22cm",{"$nulls":3},"each"]
["3.2.1.4",null,"23cm",{"$nulls":3},"each"]
["3.2.1.5",null,"24cm",{"$nulls":3},"each"]
["3.2.1.6",null,"25cm",{"$nulls":3},"each"]
["3.2.1.7",null,"26cm",{"$nulls":3},"each"]
["3.2.1.8",null,"27cm",{"$nulls":3},"each"]
["3.2.1.9",null,"28cm",{"$nulls":3},"each"]
["3.2.1.10",null,"29cm",{"$nulls":3},"each"]
["3.2.1.11",null,"30cm",{"$nulls":3},"each"]
["3.2.1.12",null,"31cm",{"$nulls":3},"each"]
["3.2.1.13",null,"32cm",{"$nulls":3},"each"]
["3.2.2",null,"Self expanding Transcatheter Aortic Valve Implantation (TAVI) valves( Equal or Better):"]
["3.2.2.1",null,"23mm",{"$nulls":3},"each"]
["3.2.2.2",null,"24mm",{"$nulls":3},"each"]
["3.2.2.3",null,"25mm",{"$nulls":3},"each"]
["3.2.2.4",null,"26mm",{"$nulls":3},"each"]
["3.2.2.5",null,"27mm",{"$nulls":3},"each"]
["3.2.2.6",null,"28mm",{"$nulls":3},"each"]
["3.2.2.7",null,"29mm",{"$nulls":3},"each"]
["3.2.2.8",null,"30mm",{"$nulls":3},"each"]
["3.2.2.9",null,"31mm",{"$nulls":3},"each"]
["3.2.2.10",null,"32mm",{"$nulls":3},"each"]
["3.2.2.11",null,"33mm",{"$nulls":3},"each"]
["3.2.2.12",null,"34mm",{"$nulls":3},"each"]
["3.2.3",null," Long description: Valve ,( i.e. Edward Sapiens XT), bovine pericardial tissue, utilizes the same bovine tissue and processes as Edwards surgical valves, low frame height, designed to respect the cardiac anatomy and minimise risk of conduction system interference, high radial strength cobalt-chromium frame, designed to achieve full expansion for apposition at the annulus to minimize paravalvular leak, leaflet matched for thickness and elasticity to enhance coaptation and maximize durability",{"$nulls":3},"each"]
["3.3",null,"BALLOON MITRAL VALVULOPLASTY:"]
["3.3.1",null,"Catheter Trans-Septal Sheath Kit 60cm",{"$nulls":3},"each"]
["3.3.2",null,"Catheter, fast cath trans-septal guiding introducer mullins curve, 60cm sheath, with haemostasis valve and side-port, and dilator, Plus Trans Septal Needle and Extra Sharp Needle (1 unit per box)",{"$nulls":3},"each"]
["3.3.3",null,"French (F) sizes:"]
["3.3.3.1",null,"6 F",{"$nulls":3},"each"]
["3.3.3.2",null,"7 F",{"$nulls":3},"each"]
["3.3.3.3",null,"8 F",{"$nulls":3},"each"]
["3.3.4",null,"Brokenbrough Needles set.Defined as BRK "]
["3.3.4.1",null,"Brokenbrough Needles set.Defined as BRK1",{"$nulls":3},"each"]
["3.3.5",null,"Brokenbrough needle contains sheath, dilator, guide wire and extra needle.",{"$nulls":3},"each"]
["3.3.6",null,"Inoue balloon",{"$nulls":3},"each"]
["3.3.7",null,"Catheter balloon Percutaneous Transvenous Mitral Commissurotomy (PTMC) Kit / Pack",{"$nulls":3},"each"]
["3.3.8",null,"Catheter balloon, Percutaneous Trans-venous Mitral Commissurotomy (PTMC) with the Inoue, designed specifically for mitral commissurotomy and differs substantially from conventional large diameter peripheral arterial or valvuloplasty balloon catheters, 26mm balloon diameter, 70cm 12fr catheter size length/outer diameter",{"$nulls":3},"each"]
["3.3.9",null,"Known sizes:"]
["3.3.9.1",null,26,{"$nulls":3},"each"]
["3.3.9.2",null,28,{"$nulls":3},"each"]
["3.3.9.3",null,30,{"$nulls":3},"each"]
["3.3.10",null,"J-Tip guide wire",{"$nulls":3},"each"]
["3.3.11",null,"Listed in diagnostic wires",{"$nulls":3},"each"]
["3.3.12",null,"0.032 inch",{"$nulls":3},"each"]
["3.3.13",null,"Straight Tip guide wire",{"$nulls":3},"each"]
["3.3.14",null,"0.032 inch",{"$nulls":3},"each"]
["3.4",null," STRUCTURAL HEART CLOSURE DEVICES:"]
["3.4.1",null,"Left Atrial Appendage Closure ( LAAC) device with a delivery Kit / Pack",{"$nulls":3},"each"]
["3.4.2",null,"Left atrial appendage closure ( LAAC) system contains delivery system, LAAC device and guide wire",{"$nulls":3},"each"]
["3.4.3",null,"Types of Left Atrial Appendage Closure (LAAC) devices: "]
["3.4.3.1",null,"Amulet",{"$nulls":3},"each"]
["3.4.3.2",null,"Watchman(The WATCHMAN Implant is a one-time implant for people with non-valvular atrial fibrillation (AFib) to reduce stroke risk without lifelong blood thinners)",{"$nulls":3},"each"]
["3.4.3.3",null,"Watchman FLX(Watchman FLX is a metal and fabric implant the size of a quarter that blocks the opening to the left appendage)",{"$nulls":3},"each"]
["3.4.4",null,"Catheter Trans-Septal Sheath Kit 60cm",{"$nulls":3},"each"]
["3.4.5",null,"Catheter, fast cath trans-septal guiding introducer Mullins curve, 60cm sheath, with haemostasis valve and side-port, and dilator, Plus Trans Septal Needle and Extra Sharp Needle (1 unit per box)",{"$nulls":3},"each"]
["3.4.6",null,"French (F) sizes:"]
["3.4.6.1",null,"6 F",{"$nulls":3},"each"]
["3.4.6.2",null,"7 F",{"$nulls":3},"each"]
["3.4.6.3",null,"8 F"]
["3.4.7",null,"Broken Brough Needles set",{"$nulls":3},"each"]
["3.4.8",null,"Broken Brough needle contains sheath, dilator, guide wire and extra needle.",{"$nulls":3},"each"]
["3.4.9",null,"Needles defined as :"]
["3.4.9.1",null,"BRK (Brockenbrough Curved Needles)  ",{"$nulls":3},"each"]
["3.4.9.2",null,"BRK1 (Brockenbrough Curved Needles) ",{"$nulls":3},"each"]
["3.4.10",null,"Proglide Suture mediated closure system (Femoral)( Same as in TAVI (Transcatheter Aortic Valve Implantation) Section)",{"$nulls":3},"each"]
["3.4.11",null,"Angioseal ( Same as in TAVI (Transcatheter Aortic Valve Implantation)Section)",{"$nulls":3},"each"]
["3.4.12",null," French sizes (F)"]
["3.4.12.1",null,"6 F",{"$nulls":3},"each"]
["3.4.12.2",null,"8 F",{"$nulls":3},"each"]
["3.4.13",null,"Atrial Septal Defect (ASD) & Patent Foramen Ovale (PFO) closure device with a delivery system – with varying sizes:"]
["3.4.13.1",null,"12mm",{"$nulls":3},"each"]
["3.4.13.2",null,"13mm",{"$nulls":3},"each"]
["3.4.13.3",null,"14mm",{"$nulls":3},"each"]
["3.4.13.4",null,"15mm",{"$nulls":3},"each"]
["3.4.13.5",null,"16mm",{"$nulls":3},"each"]
["3.4.13.6",null,"17mm",{"$nulls":3},"each"]
["3.4.13.7",null,"18mm",{"$nulls":3},"each"]
["3.4.13.8",null,"19mm",{"$nulls":3},"each"]
["3.4.13.9",null,"20mm",{"$nulls":3},"each"]
["3.4.13.10",null,"21mm",{"$nulls":3},"each"]
["3.4.13.11",null,"22mm",{"$nulls":3},"each"]
["3.4.13.12",null,"23mm",{"$nulls":3},"each"]
["3.4.13.13",null,"24mm",{"$nulls":3},"each"]
["3.4.13.14",null,"25mm",{"$nulls":3},"each"]
["3.4.13.15",null,"26mm",{"$nulls":3},"each"]
["3.4.13.16",null,"27mm",{"$nulls":3},"each"]
["3.4.13.17",null,"28mm",{"$nulls":3},"each"]
["3.4.13.18",null,"29mm",{"$nulls":3},"each"]
["3.4.13.19",null,"30mm",{"$nulls":3},"each"]
["3.4.13.20",null,"31mm",{"$nulls":3},"each"]
["3.4.13.21",null,"32mm",{"$nulls":3},"each"]
["3.4.13.22",null,"33mm",{"$nulls":3},"each"]
["3.4.13.23",null,"34mm",{"$nulls":3},"each"]
["3.4.13.24",null,"35mm",{"$nulls":3},"each"]
["3.4.13.25",null,"36mm",{"$nulls":3},"each"]
["3.4.13.26",null,"37mm",{"$nulls":3},"each"]
["3.4.13.27",null,"38mm",{"$nulls":3},"each"]
["3.4.14",null,"This are septal occluder which are self-expanding double disc nitinol mesh occlusion device. The 2 disc are connected by a short waist that relates to the defect size. Polyester fabric is securely sewn to each disc in increase occlusion. The device has radio-opaque marker bands for use under fluoroscopy",{"$nulls":3},"each"]
["3.4.15",null,"Delivery system includes:"]
["3.4.15.1",null,"Loader",{"$nulls":3},"each"]
["3.4.15.2",null,"Hamostasis valve with extension tobe and stopcock",{"$nulls":3},"each"]
["3.4.15.3",null,"Delivery sheath",{"$nulls":3},"each"]
["3.4.15.4",null,"Dilator",{"$nulls":3},"each"]
["3.4.15.5",null,"Delivery cable",{"$nulls":3},"each"]
["3.4.15.6",null,"Plastic vise (optional)",{"$nulls":3},"each"]
["3.4.16",null,"Types: e.g.(equal or better):"]
["3.4.16.1",null,"Amplatzer",{"$nulls":3},"each"]
["3.4.16.2",null,"Occlutech",{"$nulls":3},"each"]
["3.4.17",null,"Size (waist):"]
["3.4.17.1",null,"Right Atrial Disc",{"$nulls":3},"each"]
["3.4.17.2",null,"Left Atrial Disc",{"$nulls":3},"each"]
["3.4.17.3",null,"Waist length",{"$nulls":3},"each"]
["3.4.17.4",null,"Sheath size",{"$nulls":3},"each"]
["3.4.17.5",null,"Amplatzer ASD Occluder sizes:"]
["3.4.17.5.1",null,"4mm to 38mm",{"$nulls":3},"each"]
["3.4.17.5.2",null,"12mm to 48mm",{"$nulls":3},"each"]
["3.4.17.5.3",null,"16mm to 54mm",{"$nulls":3},"each"]
["3.4.17.5.4",null,"18mm to 35mm",{"$nulls":3},"each"]
["3.4.17.6",null,"French (F) sizes:"]
["3.4.17.6.1",null,"7 F",{"$nulls":3},"each"]
["3.4.17.6.2",null,"8 F",{"$nulls":3},"each"]
["3.4.17.6.3",null,"9 F",{"$nulls":3},"each"]
["3.4.17.6.4",null,"10 F",{"$nulls":3},"each"]
["3.4.17.6.5",null,"11 F",{"$nulls":3},"each"]
["3.4.17.6.6",null,"12 F",{"$nulls":3},"each"]
["3.4.17.7",null,"Amplatzer MultiFenestrated septal occlude-CRIBRIFORM",{"$nulls":3},"each"]
["3.4.17.8",null,"French (F) sizes:"]
["3.4.17.8.1",null,"8 F",{"$nulls":3},"each"]
["3.4.17.8.2",null,"9 F",{"$nulls":3},"each"]
["3.4.17.9",null,"Amulet  Cardiac plug -Percutaneous Left Atrial Appendage(LAA Occlusion)",{"$nulls":3},"each"]
["3.5",null,"PARAVALVULAR LEAK(PVL) Occluder with delivery kits / packs:"]
["3.5.1",null,"Occlutech Paravalvular leak device (PVL) devices",{"$nulls":3},"each"]
["3.5.2",null,"Amplatzer Vascular Plugs 1 to 4 of different sizes.",{"$nulls":3},"each"]
["3.5.3",null,"See Ventricular Septal Defect (VSD) closure devices section",{"$nulls":3},"each"]
["3.5.4",null,"Accessory Equipment – Operator specific ",{"$nulls":3},"each"]
["3.5.5",null,"V18 control wire 200cm x 0.018",{"$nulls":3},"each"]
["3.6",null,"ROTATIONAL ATHERECTOMY SYSTEM (Company specific):"]
["3.6.1",null,"Control console",{"$nulls":3},"each"]
["3.6.2",null,"Gas cylinder",{"$nulls":3},"each"]
["3.6.3",null,"Rota Glide",{"$nulls":3},"each"]
["3.6.4",null,"Accessories :"]
["3.6.4.1",null,"Rotalink advancer",{"$nulls":3},"each"]
["3.6.4.2",null,"Rotalink Plus -wire clip and Torquer",{"$nulls":3},"each"]
["3.6.4.3",null,"Rota wire (Floppy and Stiff)330 cm",{"$nulls":3},"each"]
["3.6.4.4",null,"Rota Link Burr 1.25  to 2.5",{"$nulls":3},"each"]
["3.6.4.5",null,"Fractional Flow Reserve / Instantaneous Wave Free Ratio Measurement",{"$nulls":3},"each"]
["3.6.5",null,"Consumables:"]
["3.6.5.1",null,"Pressure wire ",{"$nulls":3},"each"]
["3.6.5.2",null,"Guide wire pressure Fractional Flow Reserve (FFR/iFR), 185cm, 0.014” diameter, distal end tip radiopaque 30mm, Polytetrafluoroethylene (PTFE) coating, J or straight tip",{"$nulls":3},"each"]
["3.6.5.3",null,"Intravascuar imaging system",{"$nulls":3},"each"]
["3.6.5.4",null,"Includes – a catheter, monitoring system.",{"$nulls":3},"each"]
["3.7",null,"RHEOLYTIC THROMBECTOMY SYSTEM"]
["3.7.1",null,"Central console ",{"$nulls":3},"each"]
["3.7.2",null,"Machine, angiojet, rheolytic ( hydrodynamic) , thrombus removal, generates 700 BAR internal pressure, utilizes the Bernoulli principle, isovolumetric fluid delivery and removal, support full range catheters for coronary, peripheral arterial, peripheral venous, arterial venous access applications, pulmonary embolism, advanced interactive control system, automates set up, monitors operation, activation time and delivered fluid volume, self-configures for each catheter models via bar code recognition, allows physician specified fluid delivery, automates the set-up of physician specified fluid delivery, highly manoeuvrable console, clear set up prompts, fast system preparation time less than 2 min",{"$nulls":3},"each"]
["3.7.3",null,"Consumables:"]
["3.7.3.1",null,"Coronary Artery Therapy:"]
["3.7.3.1.1",null,"Spiroflex 4F (French)catheters ",{"$nulls":3},"each"]
["3.7.3.1.2",null,"Spiroflex 5F catheters ",{"$nulls":3},"each"]
["3.7.3.2",null,"Peripheral Arterial Therapy:"]
["3.7.3.2.1",null,"Ranges: 50 to 145 cm",{"$nulls":3},"each"]
["3.7.3.2.2",null,"Guide Wires: 0.035mm to 0.089mm",{"$nulls":3},"each"]
["3.7.4",null," Intravascular Lithotripsy system:"]
["3.7.4.1",null,"pulse generator",{"$nulls":3},"each"]
["3.7.4.2",null," IVL connector cable.e.g. Shockwave system ( Equal or Better)",{"$nulls":3},"each"]
["3.7.5",null,"Consumables:"]
["3.7.5.1",null,"IVL catheter (different sizes) specify",{"$nulls":3},"each"]
["3.7.5.2",null,"Diameter: "]
["3.7.5.2.1",null,"2.5",{"$nulls":3},"each"]
["3.7.5.2.2",null,"3.0",{"$nulls":3},"each"]
["3.7.5.2.3",null,"3.5",{"$nulls":3},"each"]
["3.7.5.2.4",null,"4.0",{"$nulls":3},"each"]
[4,null,"SECTION 4:ELECTROPHYSIOLOGY AND MISCELLANEOUS"]
["4.1",null,"DIAGNOSTIC EP CATHETERS/DIAGNOSTIC FIXED CURVE QUAD"]
["4.1.1",null,"Fixed Curve Diagnostic Quad   (2-3 required per SVT case:",{"$nulls":3},"each"]
["4.1.1.1",null,"5 F",{"$nulls":3},"each"]
["4.1.1.2",null,"6 F",{"$nulls":3},"each"]
["4.1.2",null,"Fixed Quad Josephson Curve 7 F",{"$nulls":3},"each"]
["4.1.3",null,"Diagnostic catheter,electrode spacing 2/5/2,length 110cm,Josephson curve type,6 F",{"$nulls":3},"each"]
["4.1.4",null,"Fixed Quad Cournand Curve 7 F",{"$nulls":3},"each"]
["4.1.5",null,"\nDiagnostic Catheter, Electrode Spacing 2/5/2, Length 110cm, Cournand Curve Type, 6 F\n",{"$nulls":3},"each"]
["4.1.6",null,"Fixed Quad Damato Curve 7 F",{"$nulls":3},"each"]
["4.1.7",null,"Diagnostic Catheter, Length 110cm, Damato Curve Type,\n6 F",{"$nulls":3},"each"]
["4.1.8",null,"Fixed Quad Josephson Curve 6 F",{"$nulls":3},"each"]
["4.1.9",null,"Diagnostic Catheter, Electrode Spacing 2/5/2, Length 110cm, Josephson Curve Type, 6 F",{"$nulls":3},"each"]
["4.1.10",null,"Fixed Quad Cournand Curve 6 F",{"$nulls":3},"each"]
["4.1.11",null,"Diagnostic Catheter, Electrode Spacing 2/5/2, Length 110cm, Cournand Curve Type, 6 F",{"$nulls":3},"each"]
["4.1.12",null,"Fixed Quad Damato Curve 6 F",{"$nulls":3},"each"]
["4.1.13",null,"Fixed Quad Josephson Curve 5 F",{"$nulls":3},"each"]
["4.1.14",null,"Diagnostic Catheter, Electrode Spacing 2/5/2, Length 110cm, Josephson Curve Type, 5 F",{"$nulls":3},"each"]
["4.1.15",null,"Fixed Quad Cournand Curve 5 F",{"$nulls":3},"each"]
["4.1.16",null,"Diagnostic catheter,electrode spacing 2/5/2,length 110cm,cournand curve type,5 F",{"$nulls":3},"each"]
["4.1.17",null,"Fixed Quad Damato Curve 5 F",{"$nulls":3},"each"]
["4.1.18",null,"Diagnostic catheter,length 110cm,damato curve type,5 F",{"$nulls":3},"each"]
["4.1.19",null,"Diagnostic fixed curve deca ",{"$nulls":3},"each"]
["4.1.20",null,"5 F Fixed Curve Diagnostic Decapolar (1 used per case / replaced with deflectable Deca)",{"$nulls":3},"each"]
["4.1.21",null,"Fixed Deca Catheter specifications (CS) Curve",{"$nulls":3},"each"]
["4.1.22",null,"Coronary sinus Deca polar diagnostic catheter, electrode spacing  2/8/2, 5 F",{"$nulls":3},"each"]
["4.1.23",null,"Steerable diagnostic quad ",{"$nulls":3},"each"]
["4.1.24",null,"Steerable Diagnostic Quad (used in place of Fixed Quad / used to map with)",{"$nulls":3},"each"]
["4.1.25",null,"Steerable Quad, Small Curve",{"$nulls":3},"each"]
["4.1.26",null,"Steerable diagnostic mapping catheter, electrode spacing 2/5/2, small curve, length 110cm: "]
["4.1.26.1",null,"5 F",{"$nulls":3},"each"]
["4.1.26.2",null,"6 F",{"$nulls":3},"each"]
["4.1.26.3",null,"7 F",{"$nulls":3},"each"]
["4.1.27",null,"Steerable Quad, Medium Curve",{"$nulls":3},"each"]
["4.1.28",null,"Steerable diagnostic Deca ",{"$nulls":3},"each"]
["4.1.29",null,"Steerable Diagnostic Quad (used in place of Fixed Deca/ used to map with)",{"$nulls":3},"each"]
["4.1.30",null,"Steerable CS Deca",{"$nulls":3},"each"]
["4.1.31",null,"7 F Steerable Diagnostic Decapolar",{"$nulls":3},"each"]
["4.1.32",null,"Coronary sinus Deca polar diagnostic catheter, electrode spacing 2/8/2, length 90cm:"]
["4.1.32.1",null,"5 F",{"$nulls":3},"each"]
["4.1.32.2",null,"6 F",{"$nulls":3},"each"]
["4.1.32.3",null,"7 F",{"$nulls":3},"each"]
["4.1.33",null,"Halo/ duo Deca flutter mapping catheter",{"$nulls":3},"each"]
["4.1.34",null,"7 F Steerable Diagnostic Duodecuple",{"$nulls":3},"each"]
["4.1.35",null,"Halo Medium Curve",{"$nulls":3},"each"]
["4.1.36",null,"Steerable duodecapolar mapping catheter, electrode spacing 2/10/2, length 110cm, 20 electrode, loop size: ",{"$nulls":3},"each"]
["4.1.36.1",null,"5 F",{"$nulls":3},"each"]
["4.1.36.2",null,"6 F",{"$nulls":3},"each"]
["4.1.36.3",null,"7 F",{"$nulls":3},"each"]
["4.1.37",null,"Halo Large Curve",{"$nulls":3},"each"]
["4.1.38",null,"Ablation catheters - deflectable only - single curve / Bi-directional Curve",{"$nulls":3},"each"]
["4.1.39",null,"4mm RF (Radio Frequency) Ablation catheter ( non irrigated) ",{"$nulls":3},"each"]
["4.1.40",null,"4mm RF Ablation catheter Small Curve",{"$nulls":3},"each"]
["4.1.41",null,"4mm RF Ablation catheter Medium Curve",{"$nulls":3},"each"]
["4.1.42",null,"4mm RF Ablation catheter Large Curve",{"$nulls":3},"each"]
["4.1.43",null,"8mm RF ablation catheter (non irrigated) - used for flutter ablation",{"$nulls":3},"each"]
["4.1.44",null,"8mm RF Ablation catheter Small Curve",{"$nulls":3},"each"]
["4.1.45",null,"8mm RF Ablation catheter Medium curve",{"$nulls":3},"each"]
["4.1.46",null,"8mm RF Ablation catheter Large curve",{"$nulls":3},"each"]
["4.1.47",null,"Irrigated 4mm / 8mm RF Ablation catheter",{"$nulls":3},"each"]
["4.1.48",null,"4mm Irrigated RF Ablation catheter Small Curve",{"$nulls":3},"each"]
["4.1.49",null,"4mm IrrigatedRF Ablation catheter Medium Curve",{"$nulls":3},"each"]
["4.1.50",null,"4mm Irrigated RF Ablation catheter Large Curve",{"$nulls":3},"each"]
["4.1.51",null,"8mm Irrigated RF Ablation catheter Small Curve",{"$nulls":3},"each"]
["4.1.52",null,"8mm Irrigated RF Ablation catheter Medium Curve",{"$nulls":3},"each"]
["4.1.53",null,"8mm Irrigated RF Ablation catheter Large Curve",{"$nulls":3},"each"]
["4.1.54",null,"Diagnostic cables ",{"$nulls":3},"each"]
["4.1.55",null,"4 pin Diagnostic Cabe",{"$nulls":3},"each"]
["4.1.56",null,"Diagnostic cable for Quadro polar catheters",{"$nulls":3},"each"]
["4.1.57",null,"10 pin Diagnostic cable",{"$nulls":3},"each"]
["4.1.58",null,"Diagnostic cable for Deca polar catheters",{"$nulls":3},"each"]
["4.1.59",null,"20 pin Diagnostic cable",{"$nulls":3},"each"]
["4.1.60",null,"Diagnostic cable for Dua Deca polar catheters ",{"$nulls":3},"each"]
["4.1.61",null,"Ablation cables",{"$nulls":3},"each"]
["4.1.62",null,"4mm Ablation Cabe",{"$nulls":3},"each"]
["4.1.63",null,"Cable from RF Generator to 8mm Ablation Catheter",{"$nulls":3},"each"]
["4.1.64",null,"8mm Ablation cable",{"$nulls":3},"each"]
["4.1.65",null,"Cable from RF Generator to 4mm Ablation Catheter",{"$nulls":3},"each"]
["4.1.66",null,"Accessories:"]
["4.1.66.1",null,"RF Back Patch",{"$nulls":3},"each"]
["4.1.66.2",null,"Indifferent Electrode Patch:to fit specifications of RF Generator (NB - There may be a need for an adaptor to allow for universal connection)",{"$nulls":3},"each"]
["4.1.66.3",null,"Tubing Packs",{"$nulls":3},"each"]
["4.1.66.4",null,"Saline tubing sets",{"$nulls":3},"each"]
["4.1.66.5",null,"To fit specifications of RF Generator pump  (NB - There may be a need for an adaptor to allow for universal connection)",{"$nulls":3},"each"]
["4.1.66.6",null,"Sheaths and Transeptal Needles",{"$nulls":3},"each"]
["4.1.66.7",null,"Transeptal Needle (Brock)",{"$nulls":3},"each"]
["4.1.66.8",null,"Brockenbrough needle (BK)",{"$nulls":3},"each"]
["4.1.66.9",null,"Transseptal Needle, Adult, 71cm Length, 18 Gauge Shaft, 21 Gauge Tip",{"$nulls":3},"each"]
["4.1.66.10",null,"Transseptal Needle, Adult, 71cm Length, 18 Gauge Shaft, 21 Gauge Tip - Extra Length",{"$nulls":3},"each"]
["4.1.66.11",null,"Transseptal Needle, Adult, 18 Gauge Shaft, 21 Gauge Tip - Extra Sharp",{"$nulls":3},"each"]
["4.1.66.12",null,"Long Sheaths & Transeptal Sheaths",{"$nulls":3},"each"]
["4.1.66.13",null,"Non-Deflectable Long Guiding Sheaths",{"$nulls":3},"each"]
["4.1.66.14",null,"Various sizes for stability in RA (Right Atrial) (SR0, SR1, Ramp, SL0, SL1",{"$nulls":3},"each"]
["4.1.66.15",null,"Various sizes for stability in LA (Left Atrial) (SR0, SR1, Ramp, SL0, SL1"]
["4.1.66.16",null,"Transeptal Sheath",{"$nulls":3},"each"]
["4.1.66.17",null,"Deflectable Long Sheath",{"$nulls":3},"each"]
["4.1.66.18",null,"Deflectable Long Sheath - minimal French (F) sizes:",{"$nulls":3},"each"]
["4.1.66.18.1",null,"5 F",{"$nulls":3},"each"]
["4.1.66.18.2",null,"6 F",{"$nulls":3},"each"]
["4.1.66.18.3",null,"7 F",{"$nulls":3},"each"]
["4.1.66.18.4",null,"8 F",{"$nulls":3},"each"]
["4.1.66.19",null,"Cryo ablation therapy",{"$nulls":3},"each"]
["4.1.67",null,"Pulmonary vein ablation",{"$nulls":3},"each"]
["4.1.68",null,"Balloon Catheter for PVI, 10,5Fr, Usable Length 95+-2cm (Total 140cm),  GW 0.032''-0.035'', Deflection Bidirectional 45°, Introducer Sheath 12Fr, Tip Length 8mm, Diameter 23mm",{"$nulls":3},"each"]
["4.1.69",null,"Balloon Catheter for PVI, 10,5Fr, Usable Length 95+-2cm (Total 140cm),  GW 0.032''-0.035'', Deflection Bidirectional 45°, Introducer Sheath 12Fr, Tip Length 8mm, Diameter 28mm",{"$nulls":3},"each"]
["4.1.70",null,"Focal ablation therapy",{"$nulls":3},"each"]
["4.1.71",null,"Cryo Ablation Catheter,4mm Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8F, Reach 47mm, Short,French (F) sizes:"]
["4.1.71.1",null,"5 F",{"$nulls":3},"each"]
["4.1.71.2",null,"6 F",{"$nulls":3},"each"]
["4.1.71.3",null,"7 F",{"$nulls":3},"each"]
["4.1.72",null,"Cryo Ablation Catheter, 5/6/7Fr, 4mm Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8Fr, Reach 53mm, Medium,French (F) sizes:"]
["4.1.72.1",null,"5 F",{"$nulls":3},"each"]
["4.1.72.2",null,"6 F",{"$nulls":3},"each"]
["4.1.72.3",null,"7 F",{"$nulls":3},"each"]
["4.1.73",null,"Cryo Ablation Catheter, 4mm Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8 F, Reach 58mm, Long",{"$nulls":3},"each"]
["4.1.74",null,"Cryo Ablation Catheter, Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8F, Reach 49mm, Short,French (F) sizes:"]
["4.1.74.1",null,"5 F",{"$nulls":3},"each"]
["4.1.74.2",null,"6 F",{"$nulls":3},"each"]
["4.1.74.3",null,"7 F",{"$nulls":3},"each"]
["4.1.75",null,"Cryo Ablation Catheter, 6mm Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8F, Reach 55mm, Medium, French (F) sizes:"]
["4.1.75.1",null,"5 F",{"$nulls":3},"each"]
["4.1.75.2",null,"6 F",{"$nulls":3},"each"]
["4.1.75.3",null,"7 F",{"$nulls":3},"each"]
["4.1.76",null,"Cryo Ablation Catheter, 5/67Fr, 6mm Tip Electrode, 2-5-2, Shaft Length 108cm, Introducer 8F, Reach 60mm, Long,French (F) sizes:"]
["4.1.76.1",null,"5 F",{"$nulls":3},"each"]
["4.1.76.2",null,"6 F",{"$nulls":3},"each"]
["4.1.76.3",null,"7 F",{"$nulls":3},"each"]
["4.1.77",null,"Sheerable sheath",{"$nulls":3},"each"]
["4.1.78",null,"Steerable, Transseptal Sheath, Inner Diameter 12F, Outer Diameter 15Fr, Length 65cm (Overall 81cm), Max Deflection 135°, Reach 5.5cm at 90°, Catheter compatibility up to 10.5F",{"$nulls":3},"each"]
["4.1.79",null,"Circular loop intracardiac EP diagnostic catheter",{"$nulls":3},"each"]
["4.1.80",null,"Circular Loop Mapping Catheter, 3.3F (0.043''), Length 146cm (Overall 165cm), 8 Electrodes (Length 1mm, Spacing 4mm), 15mm Loop Size",{"$nulls":3},"each"]
["4.1.81",null,"Circular Loop Mapping Catheter, 3.3F (0.043''), Length 146cm (Overall 165cm), 8 Electrodes (Length 1mm, Spacing 6mm), 20mm Loop Size",{"$nulls":3},"each"]
["4.1.82",null,"Circular Loop Mapping Catheter, 3.3F (0.043''), Length 146cm (Overall 165cm), 10 Electrodes (Length 1mm, Spacing 6mm), 25mm Loop Size",{"$nulls":3},"each"]
["4.1.83",null,"Accessories",{"$nulls":3},"each"]
["4.1.84",null,"Umbilicals",{"$nulls":3},"each"]
["4.1.85",null,"Electrical umbilical",{"$nulls":3},"each"]
["4.1.86",null,"Electrical Umbilical for use with Cryocath Ablation Catheters",{"$nulls":3},"each"]
["4.1.87",null,"Electrical Umbilical for use with Cryocath Ablation Catheters, Box of 12",{"$nulls":3},"each"]
["4.1.88",null,"Coaxial umbilical",{"$nulls":3},"each"]
["4.1.89",null,"Coaxial Umbilical for use with Cryocath Ablation Catheters",{"$nulls":3},"each"]
["4.1.90",null,"Coaxial Umbilical for use with Cryocath Ablation Catheters, Box of 12",{"$nulls":3},"each"]
["4.1.91",null,"Recording cable ",{"$nulls":3},"each"]
["4.1.92",null,"New achieve advance connection cable ",{"$nulls":3},"each"]
["4.1.93",null,"EGM Recording Cable with 10 pins, for use with Catheters of variable lengths i.e. 25mmm  ",{"$nulls":3},"each"]
["4.1.94",null,"N20 gas/tank",{"$nulls":3},"each"]
["4.1.95",null,"Refridgerant refill",{"$nulls":3},"each"]
["4.1.96",null,"N2O Refridgerant ",{"$nulls":3},"each"]
["4.1.97",null,"Refridgerant tank ",{"$nulls":3},"each"]
["4.1.98",null,"Tank  for N2O Refrigerant",{"$nulls":3},"each"]
["4.2",null,"SPECIALITY 3D MAPPING CONSUMABLES FOR COMPLEX ARRHYTHMIAS:"]
["4.2.1",null,"To fit Abbott 3D Mapping",{"$nulls":3},"each"]
["4.2.2",null,"3D Patches",{"$nulls":3},"each"]
["4.2.3",null,"3D patch Kit ",{"$nulls":3},"each"]
["4.2.4",null,"Back patches for 3D mapping cases",{"$nulls":3},"each"]
["4.2.5",null,"Speciality Mapping Diagnostic Catheters",{"$nulls":3},"each"]
["4.2.6",null,"Multipole Diagnostic Mapping catheters",{"$nulls":3},"each"]
["4.2.7",null,"HD grid for high density mapping (Need for an adaptor to ensure universal connectivity)",{"$nulls":3},"each"]
["4.2.8",null,"Speciality Ablation Catheters",{"$nulls":3},"each"]
["4.2.9",null,"Contact Force Ablation Catheters (Irrigated)",{"$nulls":3},"each"]
["4.2.10",null,"Contact Force ablation catheters - various curve sizes ",{"$nulls":3},"each"]
["4.2.11",null,"Cables for 3D mapping to be added",{"$nulls":3},"each"]